## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4511-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4511-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4511-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4511-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4511-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4511-10_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4511-10_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4511-10_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4511-10_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4511-10_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4511-10_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4511-10_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4511-10_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4511-10_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_4511-10_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4511-10_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4511-10_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_4511-10_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_4511-10_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4511-10_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_4511-10_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_4511-10_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4511-10_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4511-10_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4511-10_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4511-10_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4511-10_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4511-10_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_4511-10_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_4511-10_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_4511-10_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_4511-10_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_4511-10_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4511-10_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_4511-10_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_4511-10_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_4511-10_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4511-10_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_4511-10_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_4511-10_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_4511-10_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4511-10_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4511-10_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4511-10_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_4511-10_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_4511-10_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4511-10_0_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_4511-10_0_3_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_4511-10_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4511-10_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4511-10_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4511-10_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4511-10_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4511-10_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4511-10_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4511-10_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4511-10_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_4511-10_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4511-10_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_4511-10_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4511-10_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_4511-10_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_4511-10_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4511-10_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4511-10_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_4511-10_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4511-10_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_4511-10_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4511-10_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4511-10_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_4511-10_0_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_4511-10_0_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_4511-10_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_4511-10_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4511-10_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_4511-10_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4511-10_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4511-10_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4511-10_0_3_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_4511-10_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_4511-10_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4511-10_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4511-10_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4511-10_0_3_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_4511-10_0_3_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_4511-10_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4511-10_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4511-10_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4511-10_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_MV_414_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4511-10_0_3_load_0 | 0 | 0.0016771 | 0.00042033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4511-10_0_3_load_1 | 1 | 0.0078542 | 0.0019684 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4511-10_0_3_load_2 | 2 | 0.0010498 | 0.00026311 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4511-10_0_3_load_3 | 3 | 0.0034222 | 0.00085768 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4511-10_0_3_load_4 | 4 | 0.0053992 | 0.0013532 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4511-10_0_3_load_5 | 5 | 0.0014076 | 0.00035278 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4511-10_0_3_load_7 | 6 | 0.00066507 | 0.00016668 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4511-10_0_3_load_6 | 7 | 0.0020354 | 0.00051011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4511-10_0_3_load_9 | 9 | 0.0024363 | 0.00061058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4511-10_0_3_load_15 | 11 | 0.0013404 | 0.00033594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4511-10_0_3_load_16 | 12 | 0.0038848 | 0.00097363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4511-10_0_3_load_17 | 13 | 0.0011626 | 0.00029137 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4511-10_0_3_load_12 | 15 | 0.0024812 | 0.00062185 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4511-10_0_3_load_20 | 16 | 0.0032462 | 0.00081358 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4511-10_0_3_load_23 | 17 | 0.0016535 | 0.0004144 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4511-10_0_3_load_13 | 18 | 0.0065187 | 0.0016337 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4511-10_0_3_load_19 | 19 | 0.0010367 | 0.00025983 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4511-10_0_3_load_24 | 20 | 0.0014718 | 0.00036886 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4511-10_0_3_load_14 | 21 | 0.0012139 | 0.00030424 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4511-10_0_3_load_18 | 24 | 0.0018021 | 0.00045166 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4511-10_0_3_load_21 | 25 | 0.0029119 | 0.00072979 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4511-10_0_3_load_46 | 28 | 0.0033347 | 0.00083575 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4511-10_0_3_load_32 | 30 | 0.0016763 | 0.00042011 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4511-10_0_3_load_25 | 32 | 0.00066629 | 0.00016699 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4511-10_0_3_load_54 | 35 | 0.001665 | 0.0004173 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4511-10_0_3_load_30 | 36 | 0.0069414 | 0.0017397 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4511-10_0_3_load_27 | 37 | 0.0021129 | 0.00052955 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4511-10_0_3_load_28 | 38 | 0.0020835 | 0.00052218 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4511-10_0_3_load_29 | 39 | 0.0038167 | 0.00095656 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4511-10_0_3_load_33 | 40 | 0.0044073 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4511-10_0_3_load_35 | 41 | 0.0035866 | 0.00089888 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4511-10_0_3_load_39 | 42 | 0.0017641 | 0.00044213 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4511-10_0_3_load_71 | 44 | 0.0043082 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4511-10_0_3_load_37 | 45 | 0.0028869 | 0.00072353 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4511-10_0_3_load_83 | 46 | 0.00058463 | 0.00014652 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4511-10_0_3_load_65 | 47 | 0.0057752 | 0.0014474 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4511-10_0_3_load_38 | 48 | 0.001734 | 0.00043459 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4511-10_0_3_load_40 | 49 | 0.0025782 | 0.00064616 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4511-10_0_3_load_41 | 50 | 0.0021125 | 0.00052945 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4511-10_0_3_load_42 | 51 | 0.00094612 | 0.00023712 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4511-10_0_3_load_44 | 52 | 0.0010387 | 0.00026031 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4511-10_0_3_load_48 | 54 | 0.0011803 | 0.00029581 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4511-10_0_3_load_47 | 55 | 0.0029113 | 0.00072963 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4511-10_0_3_load_50 | 57 | 0.0072854 | 0.0018259 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4511-10_0_3_load_51 | 58 | 0.0004301 | 0.00010779 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4511-10_0_3_load_63 | 60 | 0.0040681 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4511-10_0_3_load_64 | 62 | 0.00055833 | 0.00013993 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4511-10_0_3_load_59 | 63 | 0.0022565 | 0.00056553 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4511-10_0_3_load_57 | 64 | 0.00073668 | 0.00018463 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4511-10_0_3_load_62 | 66 | 0.0020511 | 0.00051406 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4511-10_0_3_load_60 | 67 | 0.0023039 | 0.00057742 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4511-10_0_3_load_89 | 70 | 0.0005455 | 0.00013671 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4511-10_0_3_load_76 | 71 | 0.00082175 | 0.00020595 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4511-10_0_3_load_73 | 72 | 0.00048039 | 0.0001204 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4511-10_0_3_load_72 | 73 | 0.0048153 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4511-10_0_3_load_66 | 74 | 0.0028262 | 0.00070832 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4511-10_0_3_load_68 | 76 | 0.0020988 | 0.00052601 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4511-10_0_3_load_88 | 78 | 0.0048018 | 0.0012034 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4511-10_0_3_load_78 | 82 | 0.00019124 | 4.7928e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4511-10_0_3_load_85 | 83 | 0.0093128 | 0.002334 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4511-10_0_3_load_77 | 85 | 0.0010274 | 0.00025749 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4511-10_0_3_load_86 | 87 | 0.0023521 | 0.0005895 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4511-10_0_3_load_87 | 88 | 0.0021799 | 0.00054633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4511-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4511-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0025933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4511-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0057287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4511-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.006675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4511-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4511-10_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.032552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4511-10_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.033408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4511-10_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4511-10_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.029656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4511-10_0_3_line_9 | NAYY 4x150 SE | 8 | 11 | 0.024405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4511-10_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.038992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4511-10_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.014652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4511-10_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.010934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4511-10_0_3_line_13 | NAYY 4x150 SE | 10 | 15 | 0.032483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4511-10_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.020921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4511-10_0_3_line_15 | NAYY 4x150 SE | 13 | 24 | 0.0098074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4511-10_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0097535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4511-10_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.026984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4511-10_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.038587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4511-10_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.026814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4511-10_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.007655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4511-10_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.012112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4511-10_0_3_line_22 | NAYY 4x150 SE | 19 | 25 | 0.0092722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4511-10_0_3_line_23 | NAYY 4x150 SE | 20 | 32 | 0.026912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4511-10_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.024848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4511-10_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.021724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4511-10_0_3_line_26 | NAYY 4x150 SE | 23 | 36 | 0.018946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4511-10_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.021271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4511-10_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.029617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4511-10_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.018582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4511-10_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.008229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4511-10_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.015444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4511-10_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.019818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4511-10_0_3_line_33 | NAYY 4x150 SE | 29 | 43 | 0.015387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4511-10_0_3_line_34 | NAYY 4x150 SE | 29 | 44 | 0.015627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4511-10_0_3_line_35 | NAYY 4x150 SE | 30 | 40 | 0.0041452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4511-10_0_3_line_36 | NAYY 4x150 SE | 31 | 50 | 0.015107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4511-10_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.033561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4511-10_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.030437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4511-10_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.020703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4511-10_0_3_line_40 | NAYY 4x150 SE | 34 | 66 | 0.021131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4511-10_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.009214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4511-10_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.01287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4511-10_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0083641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4511-10_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.015762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4511-10_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.011536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4511-10_0_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.0086954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4511-10_0_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.031386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4511-10_0_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.021719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4511-10_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.027781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4511-10_0_3_line_50 | NAYY 4x150 SE | 46 | 81 | 0.019624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4511-10_0_3_line_51 | NAYY 4x150 SE | 47 | 53 | 0.013542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4511-10_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.011455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4511-10_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0066339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4511-10_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.020141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4511-10_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4511-10_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.013045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4511-10_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.037078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4511-10_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.03338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4511-10_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.05564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4511-10_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.01494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4511-10_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.0015065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4511-10_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.040697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4511-10_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.016043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4511-10_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.019831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4511-10_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.010837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4511-10_0_3_line_66 | NAYY 4x150 SE | 62 | 73 | 0.0049301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4511-10_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.018052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4511-10_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.019742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4511-10_0_3_line_69 | NAYY 4x150 SE | 65 | 68 | 0.000734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4511-10_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.025606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4511-10_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.005162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4511-10_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.011792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4511-10_0_3_line_73 | NAYY 4x150 SE | 69 | 72 | 0.00098594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4511-10_0_3_line_74 | NAYY 4x150 SE | 72 | 84 | 0.011284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4511-10_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.011612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4511-10_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.006851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4511-10_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.039846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4511-10_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.021074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4511-10_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.040311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4511-10_0_3_line_80 | NAYY 4x150 SE | 77 | 80 | 0.025573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4511-10_0_3_line_81 | NAYY 4x150 SE | 79 | 82 | 0.015158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4511-10_0_3_line_82 | NAYY 4x150 SE | 80 | 83 | 0.045702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4511-10_0_3_line_83 | NAYY 4x150 SE | 81 | 86 | 0.01173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4511-10_0_3_line_84 | NAYY 4x150 SE | 82 | 86 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4511-10_0_3_line_85 | NAYY 4x150 SE | 83 | 87 | 0.052409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4511-10_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.01303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4511-10_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.03935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4511-10_0_3_trafo_46 | 0.25 MVA 20/0.4 kV | 89 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2737113.0111 | 1264618.2478 | 2737100.8007 | 1264632.0013
1 | 2737113.0111 | 1264618.2478 | 2737114.7329 | 1264616.3084
2 | 2737096.9974 | 1264636.2853 | 2737100.8007 | 1264632.0013
3 | 2737119.1645 | 1264611.3168 | 2737114.7329 | 1264616.3084
4 | 2737096.9974 | 1264636.2853 | 2737081.6182 | 1264653.6081
5 | 2737119.1645 | 1264611.3168 | 2737124.827 | 1264604.9386 | 2737139.236 | 1264585.7167
6 | 2737059.968 | 1264679.0486 | 2737077.3637 | 1264658.4003 | 2737081.6182 | 1264653.6081
7 | 2737146.0996 | 1264576.5604 | 2737139.236 | 1264585.7167
8 | 2737059.968 | 1264679.0486 | 2737040.8608 | 1264701.7285
9 | 2737146.0996 | 1264576.5604 | 2737155.8063 | 1264554.1689
10 | 2737146.0996 | 1264576.5604 | 2737155.2975 | 1264578.8982 | 2737171.707 | 1264585.7188 | 2737181.0413 | 1264592.8238
11 | 2737031.2658 | 1264712.7949 | 2737033.5359 | 1264710.423 | 2737040.8608 | 1264701.7285
12 | 2737022.7075 | 1264705.9567 | 2737031.2658 | 1264712.7949
13 | 2737031.2658 | 1264712.7949 | 2737041.3148 | 1264720.6575 | 2737056.5467 | 1264733.1875
14 | 2737155.8063 | 1264554.1689 | 2737157.8894 | 1264549.3635 | 2737159.238 | 1264533.7377
15 | 2737160.0813 | 1264523.9666 | 2737159.238 | 1264533.7377
16 | 2737022.7075 | 1264705.9567 | 2737015.0004 | 1264699.979
17 | 2737022.7075 | 1264705.9567 | 2737014.216 | 1264717.3486 | 2737012.4384 | 1264720.5771 | 2737010.1322 | 1264729.3702
18 | 2737083.5523 | 1264760.4058 | 2737079.0471 | 1264753.3857 | 2737062.1557 | 1264737.8014 | 2737056.5467 | 1264733.1875
19 | 2736993.6999 | 1264683.6999 | 2736996.1749 | 1264685.3778 | 2737015.0004 | 1264699.979
20 | 2737010.1322 | 1264729.3702 | 2737008.1902 | 1264736.7747
21 | 2737083.5523 | 1264760.4058 | 2737085.1767 | 1264762.9369 | 2737087.7564 | 1264769.9479 | 2737088.05 | 1264771.5551
22 | 2736993.6999 | 1264683.6999 | 2736986.025 | 1264678.497
23 | 2737001.3631 | 1264762.8059 | 2737008.1902 | 1264736.7747
24 | 2737091.1932 | 1264796.186 | 2737089.5011 | 1264779.4975 | 2737088.05 | 1264771.5551
25 | 2737091.1932 | 1264796.186 | 2737080.1916 | 1264797.243 | 2737076.9501 | 1264798.6248 | 2737071.3526 | 1264803.1549
26 | 2737071.3526 | 1264803.1549 | 2737061.5274 | 1264786.9561
27 | 2736968.4183 | 1264666.5612 | 2736986.025 | 1264678.497
28 | 2736968.4183 | 1264666.5612 | 2736947.6278 | 1264652.4217 | 2736943.8356 | 1264649.9315
29 | 2736968.4183 | 1264666.5612 | 2736964.6226 | 1264673.9692 | 2736964.148 | 1264676.8944 | 2736962.9716 | 1264684.0934
30 | 2736943.8356 | 1264649.9315 | 2736937.1906 | 1264645.0507
31 | 2736943.8356 | 1264649.9315 | 2736952.6952 | 1264637.281
32 | 2736959.7756 | 1264703.652 | 2736962.9716 | 1264684.0934
33 | 2736927.4224 | 1264633.1909 | 2736931.6014 | 1264639.1489 | 2736937.1906 | 1264645.0507
34 | 2736937.1906 | 1264645.0507 | 2736935.9882 | 1264650.1166 | 2736934.1669 | 1264660.3762
35 | 2736952.6952 | 1264637.281 | 2736955.0731 | 1264633.8857
36 | 2736959.7756 | 1264703.652 | 2736961.9266 | 1264708.3619 | 2736964.2569 | 1264718.0139
37 | 2736992.6331 | 1264795.2118 | 2737000.6442 | 1264765.5468 | 2737001.3631 | 1264762.8059
38 | 2736992.6331 | 1264795.2118 | 2736984.7039 | 1264824.6006
39 | 2736992.6331 | 1264795.2118 | 2736972.5764 | 1264790.0802
40 | 2736984.7039 | 1264824.6006 | 2736964.313 | 1264819.0562
41 | 2737052.7413 | 1264784.1809 | 2737061.5274 | 1264786.9561
42 | 2737040.4688 | 1264780.3046 | 2737052.7413 | 1264784.1809
43 | 2737032.4931 | 1264777.7854 | 2737040.4688 | 1264780.3046
44 | 2736955.0731 | 1264633.8857 | 2736964.115 | 1264620.9749
45 | 2736970.7326 | 1264611.5258 | 2736964.115 | 1264620.9749
46 | 2736975.7207 | 1264604.4034 | 2736970.7326 | 1264611.5258
47 | 2736927.4224 | 1264633.1909 | 2736923.655 | 1264625.0737 | 2736920.827 | 1264615.766 | 2736918.4217 | 1264603.286
48 | 2736934.1669 | 1264660.3762 | 2736933.1371 | 1264666.177 | 2736930.8453 | 1264681.838
49 | 2736975.7207 | 1264604.4034 | 2736985.0019 | 1264591.1511 | 2736993.8939 | 1264583.6982
50 | 2736915.274 | 1264583.9181 | 2736917.7265 | 1264599.6788 | 2736918.4217 | 1264603.286
51 | 2736928.1795 | 1264695.112 | 2736930.5678 | 1264683.7343 | 2736930.8453 | 1264681.838
52 | 2737003.8948 | 1264578.2877 | 2736996.2353 | 1264581.7357 | 2736993.8939 | 1264583.6982
53 | 2736964.2569 | 1264718.0139 | 2736962.4864 | 1264724.4072
54 | 2736962.4864 | 1264724.4072 | 2736958.5587 | 1264738.5905 | 2736963.5528 | 1264740.7068
55 | 2736928.1795 | 1264695.112 | 2736927.6878 | 1264697.4696 | 2736923.6239 | 1264706.7082
56 | 2736918.3712 | 1264718.6491 | 2736923.6239 | 1264706.7082
57 | 2736903.909 | 1264752.7829 | 2736910.4717 | 1264738.132 | 2736917.8179 | 1264719.9069 | 2736918.3712 | 1264718.6491
58 | 2736903.909 | 1264752.7829 | 2736900.4403 | 1264777.2927 | 2736899.2 | 1264785.8293
59 | 2736903.909 | 1264752.7829 | 2736850.8745 | 1264735.957
60 | 2736897.0519 | 1264800.6143 | 2736899.2 | 1264785.8293
61 | 2736850.8745 | 1264735.957 | 2736849.4385 | 1264735.5015
62 | 2736897.0519 | 1264800.6143 | 2736887.8827 | 1264798.6779 | 2736857.7595 | 1264789.672
63 | 2736834.1463 | 1264730.6498 | 2736849.4385 | 1264735.5015
64 | 2736852.3075 | 1264808.7418 | 2736857.7595 | 1264789.672
65 | 2736857.7595 | 1264789.672 | 2736847.3776 | 1264786.5654
66 | 2736829.447 | 1264729.1589 | 2736834.1463 | 1264730.6498
67 | 2736830.083 | 1264781.3902 | 2736847.3776 | 1264786.5654
68 | 2736824.3564 | 1264800.2868 | 2736830.083 | 1264781.3902
69 | 2736830.083 | 1264781.3902 | 2736829.3798 | 1264781.1737
70 | 2736829.3798 | 1264781.1737 | 2736804.7782 | 1264773.8196
71 | 2736830.8505 | 1264776.2252 | 2736829.3798 | 1264781.1737
72 | 2736801.3975 | 1264785.1189 | 2736804.7782 | 1264773.8196
73 | 2736803.8337 | 1264773.5368 | 2736804.7782 | 1264773.8196
74 | 2736793.0238 | 1264770.2999 | 2736803.8337 | 1264773.5368
75 | 2736884.8574 | 1264647.3522 | 2736878.4867 | 1264657.0602
76 | 2736874.7278 | 1264662.788 | 2736878.4867 | 1264657.0602
77 | 2736884.8574 | 1264647.3522 | 2736875.7589 | 1264640.7241 | 2736867.019 | 1264626.7529 | 2736857.7925 | 1264618.8207
78 | 2736845.1974 | 1264634.6665 | 2736845.462 | 1264630.7244 | 2736853.6453 | 1264623.1955 | 2736857.7925 | 1264618.8207
79 | 2736857.7925 | 1264618.8207 | 2736852.2983 | 1264607.5161 | 2736860.8157 | 1264603.4538 | 2736875.0728 | 1264591.9728
80 | 2736857.7925 | 1264618.8207 | 2736852.2983 | 1264607.5161 | 2736839.7778 | 1264611.0296
81 | 2736875.0728 | 1264591.9728 | 2736884.8984 | 1264589.0086 | 2736889.7061 | 1264588.0857
82 | 2736839.7778 | 1264611.0296 | 2736832.1375 | 1264615.9353 | 2736823.9823 | 1264619.6501 | 2736802.9941 | 1264624.7583 | 2736797.1001 | 1264626.1657
83 | 2736903.6139 | 1264585.4162 | 2736905.6353 | 1264584.9959 | 2736911.1104 | 1264584.4444 | 2736915.274 | 1264583.9181
84 | 2736903.6139 | 1264585.4162 | 2736889.7061 | 1264588.0857
85 | 2736797.1001 | 1264626.1657 | 2736783.4629 | 1264629.422 | 2736774.4262 | 1264633.1387 | 2736752.9412 | 1264652.0417
86 | 2736793.0238 | 1264770.2999 | 2736780.5392 | 1264766.5694
87 | 2736723.3976 | 1264678.0347 | 2736752.9412 | 1264652.0417

## bus_geodata
| x | y | coords
0 | 2737113.0111 | 1264618.2478
1 | 2737100.8007 | 1264632.0013
2 | 2737114.7329 | 1264616.3084
3 | 2737096.9974 | 1264636.2853
4 | 2737119.1645 | 1264611.3168
5 | 2737081.6182 | 1264653.6081
6 | 2737139.236 | 1264585.7167
7 | 2737059.968 | 1264679.0486
8 | 2737146.0996 | 1264576.5604
9 | 2737040.8608 | 1264701.7285
10 | 2737031.2658 | 1264712.7949
11 | 2737155.8063 | 1264554.1689
12 | 2737181.0413 | 1264592.8238
13 | 2737159.238 | 1264533.7377
14 | 2737022.7075 | 1264705.9567
15 | 2737056.5467 | 1264733.1875
16 | 2737015.0004 | 1264699.979
17 | 2737010.1322 | 1264729.3702
18 | 2737083.5523 | 1264760.4058
19 | 2736993.6999 | 1264683.6999
20 | 2737008.1902 | 1264736.7747
21 | 2737088.05 | 1264771.5551
22 | 2737091.1932 | 1264796.186
23 | 2737071.3526 | 1264803.1549
24 | 2737160.0813 | 1264523.9666
25 | 2736986.025 | 1264678.497
26 | 2736968.4183 | 1264666.5612
27 | 2736943.8356 | 1264649.9315
28 | 2736962.9716 | 1264684.0934
29 | 2736937.1906 | 1264645.0507
30 | 2736952.6952 | 1264637.281
31 | 2736959.7756 | 1264703.652
32 | 2737001.3631 | 1264762.8059
33 | 2736992.6331 | 1264795.2118
34 | 2736984.7039 | 1264824.6006
35 | 2736972.5764 | 1264790.0802
36 | 2737061.5274 | 1264786.9561
37 | 2737040.4688 | 1264780.3046
38 | 2737052.7413 | 1264784.1809
39 | 2737032.4931 | 1264777.7854
40 | 2736955.0731 | 1264633.8857
41 | 2736964.115 | 1264620.9749
42 | 2736970.7326 | 1264611.5258
43 | 2736927.4224 | 1264633.1909
44 | 2736934.1669 | 1264660.3762
45 | 2736975.7207 | 1264604.4034
46 | 2736918.4217 | 1264603.286
47 | 2736930.8453 | 1264681.838
48 | 2736993.8939 | 1264583.6982
49 | 2737003.8948 | 1264578.2877
50 | 2736964.2569 | 1264718.0139
51 | 2736962.4864 | 1264724.4072
52 | 2736963.5528 | 1264740.7068
53 | 2736928.1795 | 1264695.112
54 | 2736923.6239 | 1264706.7082
55 | 2736918.3712 | 1264718.6491
56 | 2736903.909 | 1264752.7829
57 | 2736899.2 | 1264785.8293
58 | 2736850.8745 | 1264735.957
59 | 2736897.0519 | 1264800.6143
60 | 2736849.4385 | 1264735.5015
61 | 2736857.7595 | 1264789.672
62 | 2736834.1463 | 1264730.6498
63 | 2736852.3075 | 1264808.7418
64 | 2736847.3776 | 1264786.5654
65 | 2736830.083 | 1264781.3902
66 | 2736964.313 | 1264819.0562
67 | 2736824.3564 | 1264800.2868
68 | 2736829.3798 | 1264781.1737
69 | 2736804.7782 | 1264773.8196
70 | 2736830.8505 | 1264776.2252
71 | 2736801.3975 | 1264785.1189
72 | 2736803.8337 | 1264773.5368
73 | 2736829.447 | 1264729.1589
74 | 2736878.4867 | 1264657.0602
75 | 2736884.8574 | 1264647.3522
76 | 2736874.7278 | 1264662.788
77 | 2736857.7925 | 1264618.8207
78 | 2736845.1974 | 1264634.6665
79 | 2736875.0728 | 1264591.9728
80 | 2736839.7778 | 1264611.0297
81 | 2736915.274 | 1264583.9181
82 | 2736889.7061 | 1264588.0857
83 | 2736797.1001 | 1264626.1657
84 | 2736793.0238 | 1264770.2999
85 | 2736780.5392 | 1264766.5694
86 | 2736903.6139 | 1264585.4162
87 | 2736752.9412 | 1264652.0417
88 | 2736723.3976 | 1264678.0347
89 | 2736968.4183 | 1264666.5612

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1