## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4511-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4511-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4511-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4511-8_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4511-8_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4511-8_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4511-8_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4511-8_0_3_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_4511-8_0_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_4511-8_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4511-8_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4511-8_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4511-8_0_3_node_97 | 0.4 | n |  | TRUE
13 | bus_LV_4511-8_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_4511-8_0_3_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_4511-8_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4511-8_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4511-8_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4511-8_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4511-8_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4511-8_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4511-8_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4511-8_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_4511-8_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4511-8_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_4511-8_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4511-8_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4511-8_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4511-8_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4511-8_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_4511-8_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4511-8_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4511-8_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4511-8_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_4511-8_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_4511-8_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4511-8_0_3_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_4511-8_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4511-8_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4511-8_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4511-8_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_4511-8_0_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_4511-8_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_4511-8_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4511-8_0_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_4511-8_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_4511-8_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4511-8_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4511-8_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_4511-8_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4511-8_0_3_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_4511-8_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_4511-8_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_4511-8_0_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_4511-8_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4511-8_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4511-8_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4511-8_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4511-8_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4511-8_0_3_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_4511-8_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_4511-8_0_3_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_4511-8_0_3_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_4511-8_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4511-8_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_4511-8_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4511-8_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4511-8_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4511-8_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4511-8_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4511-8_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_4511-8_0_3_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_4511-8_0_3_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_4511-8_0_3_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4511-8_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_4511-8_0_3_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_4511-8_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_4511-8_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_4511-8_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4511-8_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_4511-8_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4511-8_0_3_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_4511-8_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_4511-8_0_3_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_4511-8_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4511-8_0_3_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4511-8_0_3_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4511-8_0_3_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_4511-8_0_3_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4511-8_0_3_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_4511-8_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_4511-8_0_3_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4511-8_0_3_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_4511-8_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_4511-8_0_3_node_93 | 0.4 | n |  | TRUE
95 | bus_MV_414_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4511-8_0_3_load_0 | 0 | 0.0002169 | 5.436e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4511-8_0_3_load_6 | 3 | 0.00021181 | 5.3084e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4511-8_0_3_load_8 | 5 | 0.00029795 | 7.4674e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4511-8_0_3_load_7 | 6 | 0.0013992 | 0.00035067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4511-8_0_3_load_83 | 7 | 0.00021362 | 5.3538e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4511-8_0_3_load_75 | 8 | 0.00021592 | 5.4115e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4511-8_0_3_load_9 | 9 | 0.0057794 | 0.0014485 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4511-8_0_3_load_97 | 12 | 0.0010185 | 0.00025527 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4511-8_0_3_load_26 | 13 | 0.001795 | 0.00044986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4511-8_0_3_load_98 | 14 | 0.00089458 | 0.0002242 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4511-8_0_3_load_24 | 15 | 0.0041525 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4511-8_0_3_load_13 | 16 | 0.0026264 | 0.00065824 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4511-8_0_3_load_14 | 17 | 0.0060045 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4511-8_0_3_load_15 | 18 | 0.0016599 | 0.00041601 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4511-8_0_3_load_16 | 19 | 0.0031041 | 0.00077796 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4511-8_0_3_load_17 | 20 | 0.0051449 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4511-8_0_3_load_34 | 24 | 0.0012772 | 0.0003201 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4511-8_0_3_load_30 | 25 | 0.0016946 | 0.0004247 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4511-8_0_3_load_25 | 26 | 0.0015612 | 0.00039127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4511-8_0_3_load_20 | 27 | 0.00070783 | 0.0001774 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4511-8_0_3_load_23 | 28 | 0.00076514 | 0.00019176 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4511-8_0_3_load_21 | 30 | 0.001973 | 0.00049447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4511-8_0_3_load_22 | 31 | 0.001543 | 0.00038672 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4511-8_0_3_load_35 | 32 | 0.00076091 | 0.0001907 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4511-8_0_3_load_36 | 33 | 0.0015976 | 0.0004004 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4511-8_0_3_load_38 | 34 | 0.0011243 | 0.00028177 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4511-8_0_3_load_81 | 36 | 0.0019652 | 0.00049252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4511-8_0_3_load_28 | 37 | 0.0037794 | 0.00094722 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4511-8_0_3_load_29 | 38 | 0.0053659 | 0.0013448 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4511-8_0_3_load_76 | 41 | 0.00026747 | 6.7033e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4511-8_0_3_load_39 | 43 | 0.0020068 | 0.00050295 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4511-8_0_3_load_70 | 44 | 0.004329 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4511-8_0_3_load_80 | 45 | 0.0013386 | 0.00033549 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4511-8_0_3_load_37 | 46 | 0.0027991 | 0.00070151 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4511-8_0_3_load_40 | 47 | 0.00015841 | 3.9702e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4511-8_0_3_load_42 | 48 | 0.00014393 | 3.6073e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4511-8_0_3_load_56 | 49 | 0.00077808 | 0.000195 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4511-8_0_3_load_78 | 50 | 0.0041624 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4511-8_0_3_load_82 | 51 | 0.00087116 | 0.00021833 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4511-8_0_3_load_65 | 53 | 0.00087729 | 0.00021987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4511-8_0_3_load_44 | 54 | 0.0016833 | 0.00042188 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4511-8_0_3_load_45 | 56 | 0.0017591 | 0.00044087 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4511-8_0_3_load_47 | 57 | 0.0058381 | 0.0014632 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4511-8_0_3_load_84 | 59 | 0.0089153 | 0.0022344 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4511-8_0_3_load_57 | 60 | 0.00021641 | 5.4238e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4511-8_0_3_load_88 | 62 | 0.01939 | 0.0048596 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4511-8_0_3_load_49 | 65 | 0.0074679 | 0.0018716 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4511-8_0_3_load_50 | 66 | 0.003008 | 0.00075389 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4511-8_0_3_load_53 | 68 | 0.0032605 | 0.00081717 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4511-8_0_3_load_54 | 69 | 0.0034305 | 0.00085976 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4511-8_0_3_load_60 | 70 | 0.0021504 | 0.00053894 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4511-8_0_3_load_74 | 71 | 0.0029436 | 0.00073774 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4511-8_0_3_load_94 | 72 | 0.0020943 | 0.00052488 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4511-8_0_3_load_58 | 73 | 0.018164 | 0.0045523 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4511-8_0_3_load_72 | 74 | 0.0014011 | 0.00035116 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4511-8_0_3_load_95 | 75 | 0.0001067 | 2.6741e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4511-8_0_3_load_79 | 76 | 0.00042126 | 0.00010558 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4511-8_0_3_load_59 | 77 | 0.02337 | 0.0058571 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4511-8_0_3_load_67 | 79 | 0.013151 | 0.003296 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4511-8_0_3_load_66 | 82 | 0.0010927 | 0.00027386 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4511-8_0_3_load_63 | 83 | 0.010417 | 0.0026107 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4511-8_0_3_load_77 | 84 | 0.0023376 | 0.00058586 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4511-8_0_3_load_68 | 85 | 0.0010889 | 0.00027291 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4511-8_0_3_load_69 | 86 | 0.0022804 | 0.00057151 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4511-8_0_3_load_71 | 87 | 0.0021828 | 0.00054707 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4511-8_0_3_load_73 | 88 | 0.00064331 | 0.00016123 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4511-8_0_3_load_86 | 89 | 0.0020559 | 0.00051527 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4511-8_0_3_load_89 | 92 | 0.00338 | 0.0008471 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4511-8_0_3_load_90 | 93 | 0.0021437 | 0.00053727 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4511-8_0_3_load_93 | 94 | 0.0012876 | 0.0003227 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4511-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4511-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.07965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4511-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.047177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4511-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4511-8_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.016283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4511-8_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4511-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.029382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4511-8_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0066049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4511-8_0_3_line_8 | NAYY 4x150 SE | 8 | 88 | 0.011089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4511-8_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0080724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4511-8_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.005988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4511-8_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.040254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4511-8_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.021457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4511-8_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.021825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4511-8_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.026135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4511-8_0_3_line_15 | NAYY 4x150 SE | 15 | 26 | 0.01209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4511-8_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.0099736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4511-8_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0065242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4511-8_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.010051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4511-8_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.017168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4511-8_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0086246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4511-8_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.014959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4511-8_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.021724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4511-8_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.024245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4511-8_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.025268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4511-8_0_3_line_25 | NAYY 4x150 SE | 22 | 26 | 0.0065958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4511-8_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.019626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4511-8_0_3_line_27 | NAYY 4x150 SE | 24 | 36 | 0.0091159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4511-8_0_3_line_28 | NAYY 4x150 SE | 25 | 37 | 0.0052664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4511-8_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.011467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4511-8_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.028341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4511-8_0_3_line_31 | NAYY 4x150 SE | 29 | 34 | 0.019974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4511-8_0_3_line_32 | NAYY 4x150 SE | 29 | 35 | 0.002273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4511-8_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0049488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4511-8_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.023223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4511-8_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.017416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4511-8_0_3_line_36 | NAYY 4x150 SE | 33 | 46 | 0.0057335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4511-8_0_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.022815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4511-8_0_3_line_38 | NAYY 4x150 SE | 36 | 45 | 0.0051639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4511-8_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4511-8_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.004737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4511-8_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.020149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4511-8_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.043464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4511-8_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.022187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4511-8_0_3_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0018183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4511-8_0_3_line_45 | NAYY 4x150 SE | 42 | 50 | 0.0035282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4511-8_0_3_line_46 | NAYY 4x150 SE | 42 | 51 | 0.022849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4511-8_0_3_line_47 | NAYY 4x150 SE | 43 | 47 | 0.020103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4511-8_0_3_line_48 | NAYY 4x150 SE | 44 | 86 | 0.01784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4511-8_0_3_line_49 | NAYY 4x150 SE | 45 | 76 | 0.01035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4511-8_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0085184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4511-8_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.010887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4511-8_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.018951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4511-8_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.018138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4511-8_0_3_line_54 | NAYY 4x150 SE | 52 | 60 | 0.01453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4511-8_0_3_line_55 | NAYY 4x150 SE | 52 | 57 | 0.0059447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4511-8_0_3_line_56 | NAYY 4x150 SE | 53 | 80 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_4511-8_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.045059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4511-8_0_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.035597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4511-8_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.018745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4511-8_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.031106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4511-8_0_3_line_61 | NAYY 4x150 SE | 59 | 64 | 0.041275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4511-8_0_3_line_62 | NAYY 4x150 SE | 60 | 76 | 0.0071512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4511-8_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.030784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4511-8_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.00474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4511-8_0_3_line_65 | NAYY 4x150 SE | 62 | 92 | 0.01911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4511-8_0_3_line_66 | NAYY 4x150 SE | 63 | 70 | 0.014262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4511-8_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.018619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4511-8_0_3_line_68 | NAYY 4x150 SE | 64 | 89 | 0.044699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4511-8_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.023322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4511-8_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.0084718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4511-8_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0023155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4511-8_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.029324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4511-8_0_3_line_73 | NAYY 4x150 SE | 68 | 71 | 0.01634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4511-8_0_3_line_74 | NAYY 4x150 SE | 69 | 72 | 0.025245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4511-8_0_3_line_75 | NAYY 4x150 SE | 70 | 73 | 0.017048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4511-8_0_3_line_76 | NAYY 4x150 SE | 71 | 74 | 0.010072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4511-8_0_3_line_77 | NAYY 4x150 SE | 72 | 75 | 0.017014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4511-8_0_3_line_78 | NAYY 4x150 SE | 73 | 77 | 0.0014932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4511-8_0_3_line_79 | NAYY 4x150 SE | 74 | 87 | 0.0050142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4511-8_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.015031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4511-8_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.003392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4511-8_0_3_line_82 | NAYY 4x150 SE | 78 | 80 | 0.022145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4511-8_0_3_line_83 | NAYY 4x150 SE | 80 | 83 | 0.013395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4511-8_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.0029093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4511-8_0_3_line_85 | NAYY 4x150 SE | 81 | 83 | 0.017476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4511-8_0_3_line_86 | NAYY 4x150 SE | 82 | 84 | 0.0008569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4511-8_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.013912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4511-8_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.00866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4511-8_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.010923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4511-8_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4511-8_0_3_line_91 | NAYY 4x150 SE | 91 | 94 | 0.013193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4511-8_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.011112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4511-8_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.025098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4511-8_0_3_trafo_82 | 0.25 MVA 20/0.4 kV | 95 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2737393.4733 | 1265019.3717 | 2737364.1727 | 1265018.4789 | 2737362.5848 | 1265018.5893
1 | 2737283.0968 | 1265013.5133 | 2737362.5848 | 1265018.5893
2 | 2737393.4733 | 1265019.3717 | 2737405.0893 | 1264973.6474
3 | 2737283.0968 | 1265013.5133 | 2737262.4985 | 1265020.0413
4 | 2737262.4985 | 1265020.0413 | 2737247.5429 | 1265026.4802
5 | 2737262.4985 | 1265020.0413 | 2737260.0252 | 1265016.5694 | 2737257.62 | 1265007.2491 | 2737257.3444 | 1265001.604 | 2737255.1606 | 1264999.9406 | 2737249.9545 | 1264998.0068 | 2737243.2949 | 1264997.2641
6 | 2737220.5562 | 1265038.099 | 2737247.5429 | 1265026.4802
7 | 2737220.5562 | 1265038.099 | 2737214.4898 | 1265040.7109
8 | 2737204.305 | 1265045.0958 | 2737214.4898 | 1265040.7109
9 | 2736984.7039 | 1264824.6006 | 2736986.8067 | 1264816.8069
10 | 2736983.1384 | 1264830.381 | 2736984.7039 | 1264824.6006
11 | 2736983.1384 | 1264830.381 | 2736979.6092 | 1264842.5442 | 2736975.9776 | 1264855.5502 | 2736962.4993 | 1264851.4581
12 | 2736983.1384 | 1264830.381 | 2737001.7908 | 1264840.9862
13 | 2736962.4993 | 1264851.4581 | 2736941.6157 | 1264845.1177
14 | 2737001.7908 | 1264840.9862 | 2737008.8741 | 1264845.0135 | 2737024.5475 | 1264853.8376
15 | 2737035.0826 | 1264859.7688 | 2737024.5475 | 1264853.8376
16 | 2737057.3617 | 1264828.1193 | 2737061.9323 | 1264819.2546
17 | 2737054.3718 | 1264833.9181 | 2737057.3617 | 1264828.1193
18 | 2737066.6672 | 1264810.3958 | 2737065.8436 | 1264811.6686 | 2737061.9323 | 1264819.2546
19 | 2737046.5041 | 1264849.1776 | 2737054.3718 | 1264833.9181
20 | 2737071.3526 | 1264803.1549 | 2737066.6672 | 1264810.3958
21 | 2737040.8301 | 1264863.0046 | 2737045.206 | 1264851.6952 | 2737046.5041 | 1264849.1776
22 | 2737091.1932 | 1264796.186 | 2737080.1916 | 1264797.243 | 2737076.9501 | 1264798.6248 | 2737071.3526 | 1264803.1549
23 | 2737040.8301 | 1264863.0046 | 2737037.3156 | 1264875.1792 | 2737034.0991 | 1264886.297
24 | 2737040.8301 | 1264863.0046 | 2737063.786 | 1264873.5639
25 | 2737040.8301 | 1264863.0046 | 2737035.0826 | 1264859.7688
26 | 2737091.1932 | 1264796.186 | 2737104.8197 | 1264796.9471 | 2737110.4741 | 1264798.8895
27 | 2737034.0991 | 1264886.297 | 2737031.5657 | 1264895.0538 | 2737031.5657 | 1264895.0538
28 | 2737063.786 | 1264873.5639 | 2737068.5704 | 1264875.7647
29 | 2737120.9112 | 1264803.4939 | 2737116.8684 | 1264801.086 | 2737110.4741 | 1264798.8895
30 | 2737099.8512 | 1264882.1467 | 2737098.5193 | 1264867.4685 | 2737097.9136 | 1264860.7814 | 2737097.4953 | 1264855.7557 | 2737097.306 | 1264853.9203
31 | 2737099.8512 | 1264882.1467 | 2737119.7581 | 1264880.5084
32 | 2737100.0623 | 1264884.4093 | 2737099.8512 | 1264882.1467
33 | 2737120.9112 | 1264803.4939 | 2737125.163 | 1264806.0263
34 | 2737143.9086 | 1264819.6451 | 2737132.1991 | 1264810.217 | 2737125.163 | 1264806.0263
35 | 2737143.9086 | 1264819.6451 | 2737148.4846 | 1264823.3295 | 2737158.6875 | 1264826.4914 | 2737159.5346 | 1264826.6371
36 | 2737165.1851 | 1264827.609 | 2737159.5346 | 1264826.6371
37 | 2737100.0623 | 1264884.4093 | 2737089.7102 | 1264883.4573 | 2737077.9109 | 1264879.5814
38 | 2737031.5657 | 1264895.0538 | 2737030.2933 | 1264900.0585
39 | 2737077.9109 | 1264879.5814 | 2737074.2629 | 1264878.3832 | 2737068.5704 | 1264875.7647
40 | 2737104.4223 | 1264929.2978 | 2737103.9667 | 1264924.5827
41 | 2737103.9667 | 1264924.5827 | 2737124.0674 | 1264925.9716
42 | 2737108.6089 | 1264972.5585 | 2737104.4223 | 1264929.2978
43 | 2737104.4223 | 1264929.2978 | 2737082.2523 | 1264930.1723
44 | 2737124.0674 | 1264925.9716 | 2737125.8814 | 1264926.0969
45 | 2737108.6089 | 1264972.5585 | 2737108.9485 | 1264976.0703
46 | 2737108.6089 | 1264972.5585 | 2737091.6565 | 1264974.8899 | 2737085.9925 | 1264975.8039 | 2737085.9925 | 1264975.8039
47 | 2737082.2523 | 1264930.1723 | 2737062.1651 | 1264930.9646
48 | 2737125.8814 | 1264926.0969 | 2737143.6786 | 1264927.3266
49 | 2737030.2933 | 1264900.0585 | 2737027.7429 | 1264910.0898
50 | 2737062.1651 | 1264930.9646 | 2737053.6533 | 1264931.3003
51 | 2737042.7667 | 1264931.3116 | 2737053.6504 | 1264931.3004 | 2737053.6533 | 1264931.3003
52 | 2737023.8156 | 1264931.3311 | 2737042.7667 | 1264931.3116
53 | 2737085.9925 | 1264975.8039 | 2737083.9877 | 1264977.459 | 2737083.2658 | 1264980.3227 | 2737082.2212 | 1264992.864
54 | 2737023.8156 | 1264931.3311 | 2737024.3946 | 1264923.2591 | 2737025.9808 | 1264917.0205
55 | 2737023.8156 | 1264931.3311 | 2737023.3842 | 1264937.2602
56 | 2737081.0727 | 1265006.6526 | 2737082.2212 | 1264992.864
57 | 2737032.8797 | 1265046.2511 | 2737031.5591 | 1265026.2125 | 2737028.987 | 1265001.3684
58 | 2737032.8797 | 1265046.2511 | 2737039.4514 | 1265047.1265 | 2737064.3334 | 1265050.4509 | 2737064.9909 | 1265054.2587
59 | 2737023.3842 | 1264937.2602 | 2737024.9217 | 1264955.9425
60 | 2737064.9909 | 1265054.2587 | 2737067.915 | 1265071.0982 | 2737069.5588 | 1265084.994 | 2737069.5554 | 1265085.0156
61 | 2737060.234 | 1265125.1718 | 2737067.4064 | 1265098.5348 | 2737069.5554 | 1265085.0156
62 | 2737025.9808 | 1264917.0205 | 2737027.7429 | 1264910.0898
63 | 2737111.875 | 1265054.5016 | 2737111.6535 | 1265063.0713 | 2737111.3129 | 1265076.4429 | 2737111.1245 | 1265085.2766
64 | 2737112.1656 | 1265049.7704 | 2737111.875 | 1265054.5016
65 | 2737111.1245 | 1265085.2766 | 2737111.0571 | 1265088.4373 | 2737111.0074 | 1265094.4753 | 2737110.9391 | 1265101.6361 | 2737110.8852 | 1265104.3847
66 | 2737112.1199 | 1265035.5113 | 2737112.0405 | 1265040.8813 | 2737112.1656 | 1265049.7704
67 | 2737112.1656 | 1265049.7704 | 2737115.3543 | 1265050.0113 | 2737124.9051 | 1265050.7446 | 2737130.746 | 1265050.8543
68 | 2737060.234 | 1265125.1718 | 2737098.6502 | 1265148.0234
69 | 2737154.0643 | 1265051.2924 | 2737130.746 | 1265050.8543
70 | 2737162.5346 | 1265051.4515 | 2737154.0643 | 1265051.2924
71 | 2737162.5346 | 1265051.4515 | 2737164.8433 | 1265051.2748
72 | 2737162.5346 | 1265051.4515 | 2737165.9181 | 1265069.5806 | 2737169.4839 | 1265079.8621
73 | 2737164.8433 | 1265051.2748 | 2737181.1359 | 1265050.0277
74 | 2737187.6539 | 1265096.7862 | 2737174.9309 | 1265087.9629 | 2737169.4839 | 1265079.8621
75 | 2737112.1199 | 1265035.5113 | 2737095.4246 | 1265032.0628
76 | 2737191.0428 | 1265048.4085 | 2737185.9458 | 1265049.6596 | 2737181.1359 | 1265050.0277
77 | 2737187.6539 | 1265096.7862 | 2737201.6347 | 1265106.4818
78 | 2737095.4246 | 1265032.0628 | 2737093.9622 | 1265031.7607
79 | 2737195.9125 | 1265047.2133 | 2737191.0428 | 1265048.4085
80 | 2737079.2422 | 1265028.7202 | 2737093.9622 | 1265031.7607
81 | 2737079.2422 | 1265028.7202 | 2737079.1033 | 1265032.1091
82 | 2737081.0727 | 1265006.6526 | 2737079.2422 | 1265028.7202
83 | 2737081.0727 | 1265006.6526 | 2737094.4109 | 1265007.8888
84 | 2737111.8121 | 1265009.5015 | 2737111.6065 | 1265006.5995
85 | 2737111.8121 | 1265009.5015 | 2737094.4109 | 1265007.8888
86 | 2737111.6065 | 1265006.5995 | 2737111.546 | 1265005.7447
87 | 2737150.1213 | 1264917.4721 | 2737149.1034 | 1264923.5508 | 2737147.9266 | 1264926.5375 | 2737146.3896 | 1264927.5139 | 2737143.6786 | 1264927.3266
88 | 2737195.9125 | 1265047.2133 | 2737203.9939 | 1265045.2297 | 2737204.305 | 1265045.0958
89 | 2737108.0376 | 1265153.6074 | 2737098.6502 | 1265148.0234
90 | 2737124.9407 | 1265150.7856 | 2737118.1077 | 1265154.0303 | 2737108.0376 | 1265153.6074
91 | 2737124.9407 | 1265150.7856 | 2737118.5049 | 1265139.2693
92 | 2737110.8852 | 1265104.3847 | 2737110.8167 | 1265107.8837 | 2737111.3733 | 1265115.4757
93 | 2737111.3733 | 1265115.4757 | 2737111.8638 | 1265122.1661 | 2737116.7672 | 1265136.1599 | 2737118.5049 | 1265139.2693

## bus_geodata
| x | y | coords
0 | 2737362.5848 | 1265018.5893
1 | 2737393.4733 | 1265019.3717
2 | 2737283.0968 | 1265013.5133
3 | 2737405.0893 | 1264973.6474
4 | 2737262.4985 | 1265020.0413
5 | 2737247.5429 | 1265026.4802
6 | 2737243.2949 | 1264997.2641
7 | 2737220.5562 | 1265038.099
8 | 2737214.4898 | 1265040.7109
9 | 2736986.8067 | 1264816.8069
10 | 2736984.7039 | 1264824.6006
11 | 2736983.1384 | 1264830.381
12 | 2736962.4993 | 1264851.4581
13 | 2737001.7908 | 1264840.9862
14 | 2736941.6157 | 1264845.1177
15 | 2737024.5475 | 1264853.8376
16 | 2737057.3617 | 1264828.1193
17 | 2737061.9323 | 1264819.2546
18 | 2737054.3718 | 1264833.9181
19 | 2737066.6672 | 1264810.3958
20 | 2737046.5041 | 1264849.1776
21 | 2737071.3526 | 1264803.1549
22 | 2737040.8301 | 1264863.0046
23 | 2737091.1932 | 1264796.186
24 | 2737034.0991 | 1264886.297
25 | 2737063.786 | 1264873.5639
26 | 2737035.0826 | 1264859.7688
27 | 2737110.4741 | 1264798.8895
28 | 2737097.306 | 1264853.9203
29 | 2737099.8512 | 1264882.1467
30 | 2737120.9112 | 1264803.4939
31 | 2737125.163 | 1264806.0263
32 | 2737143.9086 | 1264819.6451
33 | 2737159.5346 | 1264826.6371
34 | 2737119.7581 | 1264880.5084
35 | 2737100.0623 | 1264884.4093
36 | 2737031.5657 | 1264895.0538
37 | 2737068.5704 | 1264875.7647
38 | 2737077.9109 | 1264879.5814
39 | 2737103.9667 | 1264924.5827
40 | 2737104.4223 | 1264929.2978
41 | 2737124.0674 | 1264925.9716
42 | 2737108.6089 | 1264972.5585
43 | 2737082.2523 | 1264930.1723
44 | 2737125.8814 | 1264926.0969
45 | 2737030.2933 | 1264900.0585
46 | 2737165.1851 | 1264827.609
47 | 2737062.1651 | 1264930.9646
48 | 2737053.6533 | 1264931.3003
49 | 2737042.7667 | 1264931.3116
50 | 2737108.9485 | 1264976.0703
51 | 2737085.9925 | 1264975.8039
52 | 2737023.8156 | 1264931.3311
53 | 2737082.2212 | 1264992.864
54 | 2737028.987 | 1265001.3684
55 | 2737032.8797 | 1265046.2511
56 | 2737024.9217 | 1264955.9425
57 | 2737023.3842 | 1264937.2602
58 | 2737064.9909 | 1265054.2587
59 | 2737069.5554 | 1265085.0156
60 | 2737025.9808 | 1264917.0205
61 | 2737111.875 | 1265054.5016
62 | 2737111.1245 | 1265085.2767
63 | 2737112.1656 | 1265049.7704
64 | 2737060.234 | 1265125.1718
65 | 2737154.0643 | 1265051.2923
66 | 2737130.746 | 1265050.8543
67 | 2737162.5346 | 1265051.4515
68 | 2737164.8433 | 1265051.2748
69 | 2737169.4839 | 1265079.8621
70 | 2737112.1199 | 1265035.5113
71 | 2737181.1359 | 1265050.0277
72 | 2737187.6539 | 1265096.7862
73 | 2737095.4246 | 1265032.0628
74 | 2737191.0428 | 1265048.4085
75 | 2737201.6347 | 1265106.4818
76 | 2737027.7429 | 1264910.0898
77 | 2737093.9622 | 1265031.7607
78 | 2737079.2422 | 1265028.7202
79 | 2737079.1033 | 1265032.1091
80 | 2737081.0727 | 1265006.6526
81 | 2737111.8121 | 1265009.5015
82 | 2737111.6065 | 1265006.5995
83 | 2737094.4109 | 1265007.8888
84 | 2737111.546 | 1265005.7447
85 | 2737150.1213 | 1264917.4721
86 | 2737143.6786 | 1264927.3266
87 | 2737195.9125 | 1265047.2133
88 | 2737204.305 | 1265045.0958
89 | 2737098.6502 | 1265148.0234
90 | 2737108.0376 | 1265153.6074
91 | 2737124.9407 | 1265150.7856
92 | 2737110.8852 | 1265104.3847
93 | 2737111.3733 | 1265115.4757
94 | 2737118.5049 | 1265139.2693
95 | 2737108.6089 | 1264972.5585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1