## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4536-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4536-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4536-3_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4536-3_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4536-3_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4536-3_0_2_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_4536-3_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4536-3_0_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_4536-3_0_2_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_4536-3_0_2_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_4536-3_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4536-3_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4536-3_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4536-3_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4536-3_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4536-3_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4536-3_0_2_node_109 | 0.4 | n |  | TRUE
17 | bus_LV_4536-3_0_2_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_4536-3_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4536-3_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4536-3_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_4536-3_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_4536-3_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4536-3_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4536-3_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4536-3_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4536-3_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4536-3_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_4536-3_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_4536-3_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4536-3_0_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_4536-3_0_2_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_4536-3_0_2_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_4536-3_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4536-3_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4536-3_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4536-3_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_4536-3_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4536-3_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4536-3_0_2_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4536-3_0_2_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_4536-3_0_2_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_4536-3_0_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_4536-3_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4536-3_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4536-3_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4536-3_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4536-3_0_2_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4536-3_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_4536-3_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4536-3_0_2_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_4536-3_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_4536-3_0_2_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4536-3_0_2_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_4536-3_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_4536-3_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_4536-3_0_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4536-3_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4536-3_0_2_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4536-3_0_2_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4536-3_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4536-3_0_2_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4536-3_0_2_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4536-3_0_2_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4536-3_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_4536-3_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4536-3_0_2_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_4536-3_0_2_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_4536-3_0_2_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4536-3_0_2_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4536-3_0_2_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4536-3_0_2_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_4536-3_0_2_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_4536-3_0_2_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_4536-3_0_2_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_4536-3_0_2_node_103 | 0.4 | n |  | TRUE
76 | bus_LV_4536-3_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4536-3_0_2_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4536-3_0_2_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4536-3_0_2_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_4536-3_0_2_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_4536-3_0_2_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_4536-3_0_2_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4536-3_0_2_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4536-3_0_2_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4536-3_0_2_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4536-3_0_2_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_4536-3_0_2_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4536-3_0_2_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4536-3_0_2_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4536-3_0_2_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4536-3_0_2_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_4536-3_0_2_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4536-3_0_2_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_4536-3_0_2_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_4536-3_0_2_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_4536-3_0_2_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4536-3_0_2_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4536-3_0_2_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4536-3_0_2_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_4536-3_0_2_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_4536-3_0_2_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_4536-3_0_2_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_4536-3_0_2_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_4536-3_0_2_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_4536-3_0_2_node_107 | 0.4 | n |  | TRUE
106 | bus_MV_402_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4536-3_0_2_load_0 | 0 | 0.0021682 | 0.0005434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4536-3_0_2_load_1 | 1 | 0.0018025 | 0.00045174 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4536-3_0_2_load_3 | 2 | 0.0020349 | 0.00051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4536-3_0_2_load_5 | 4 | 0.0022736 | 0.00056983 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4536-3_0_2_load_59 | 5 | 0.0001429 | 3.5815e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4536-3_0_2_load_13 | 7 | 0.00062099 | 0.00015563 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4536-3_0_2_load_50 | 8 | 0.0022934 | 0.00057477 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4536-3_0_2_load_34 | 9 | 0.0021442 | 0.00053739 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4536-3_0_2_load_9 | 10 | 0.00074358 | 0.00018636 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4536-3_0_2_load_14 | 11 | 0.0028225 | 0.00070738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4536-3_0_2_load_7 | 12 | 0.0026699 | 0.00066913 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4536-3_0_2_load_8 | 13 | 0.0018691 | 0.00046844 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4536-3_0_2_load_10 | 14 | 0.0022723 | 0.00056949 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4536-3_0_2_load_12 | 15 | 0.001739 | 0.00043584 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4536-3_0_2_load_109 | 16 | 0.0016322 | 0.00040906 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4536-3_0_2_load_32 | 17 | 0.001468 | 0.00036791 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4536-3_0_2_load_15 | 18 | 0.0022261 | 0.00055792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4536-3_0_2_load_16 | 19 | 0.0017662 | 0.00044264 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4536-3_0_2_load_23 | 20 | 0.0017323 | 0.00043417 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4536-3_0_2_load_17 | 22 | 0.00063831 | 0.00015998 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4536-3_0_2_load_18 | 23 | 0.0016566 | 0.00041517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4536-3_0_2_load_19 | 24 | 0.0019505 | 0.00048884 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4536-3_0_2_load_20 | 25 | 0.00088488 | 0.00022177 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4536-3_0_2_load_22 | 27 | 0.0025485 | 0.00063872 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4536-3_0_2_load_30 | 29 | 0.0033589 | 0.00084182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4536-3_0_2_load_68 | 30 | 0.0013226 | 0.00033147 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4536-3_0_2_load_65 | 31 | 0.0015274 | 0.0003828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4536-3_0_2_load_25 | 33 | 0.0021779 | 0.00054584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4536-3_0_2_load_26 | 34 | 0.0012907 | 0.00032348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4536-3_0_2_load_27 | 35 | 0.0012884 | 0.00032291 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4536-3_0_2_load_28 | 36 | 0.0014546 | 0.00036457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4536-3_0_2_load_31 | 37 | 0.0018456 | 0.00046256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4536-3_0_2_load_66 | 40 | 0.0013101 | 0.00032834 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4536-3_0_2_load_74 | 42 | 0.0006905 | 0.00017306 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4536-3_0_2_load_39 | 43 | 0.0026092 | 0.00065392 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4536-3_0_2_load_33 | 44 | 0.0014722 | 0.00036897 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4536-3_0_2_load_35 | 45 | 0.0015853 | 0.0003973 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4536-3_0_2_load_37 | 46 | 0.00117 | 0.00029322 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4536-3_0_2_load_38 | 47 | 0.0023631 | 0.00059225 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4536-3_0_2_load_42 | 48 | 0.0042804 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4536-3_0_2_load_44 | 50 | 0.0040047 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4536-3_0_2_load_45 | 51 | 0.0020364 | 0.00051037 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4536-3_0_2_load_43 | 52 | 0.0035209 | 0.00088243 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4536-3_0_2_load_54 | 53 | 0.0041005 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4536-3_0_2_load_41 | 54 | 0.0023591 | 0.00059124 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4536-3_0_2_load_53 | 55 | 0.0025415 | 0.00063696 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4536-3_0_2_load_55 | 56 | 0.0011968 | 0.00029996 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4536-3_0_2_load_51 | 57 | 0.00053405 | 0.00013385 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4536-3_0_2_load_46 | 58 | 0.001218 | 0.00030527 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4536-3_0_2_load_47 | 59 | 0.0033676 | 0.00084399 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4536-3_0_2_load_48 | 60 | 0.0013117 | 0.00032875 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4536-3_0_2_load_52 | 62 | 0.0015409 | 0.0003862 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4536-3_0_2_load_56 | 63 | 0.00071486 | 0.00017916 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4536-3_0_2_load_57 | 64 | 0.00049558 | 0.00012421 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4536-3_0_2_load_58 | 65 | 0.00061861 | 0.00015504 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4536-3_0_2_load_104 | 66 | 0.0022956 | 0.00057534 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4536-3_0_2_load_60 | 68 | 0.0052464 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4536-3_0_2_load_61 | 69 | 0.0013199 | 0.00033079 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4536-3_0_2_load_64 | 71 | 0.0020651 | 0.00051757 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4536-3_0_2_load_101 | 72 | 0.0025667 | 0.00064326 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4536-3_0_2_load_102 | 73 | 0.0015803 | 0.00039605 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4536-3_0_2_load_100 | 74 | 0.0024657 | 0.00061796 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4536-3_0_2_load_67 | 76 | 0.0011324 | 0.0002838 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4536-3_0_2_load_69 | 77 | 0.0011982 | 0.00030029 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4536-3_0_2_load_70 | 78 | 0.0024044 | 0.00060259 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4536-3_0_2_load_94 | 79 | 0.00093915 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4536-3_0_2_load_93 | 80 | 0.00074775 | 0.0001874 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4536-3_0_2_load_71 | 81 | 0.0014805 | 0.00037105 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4536-3_0_2_load_72 | 82 | 0.00047942 | 0.00012015 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4536-3_0_2_load_73 | 83 | 0.00057481 | 0.00014406 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4536-3_0_2_load_80 | 84 | 0.00045063 | 0.00011294 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4536-3_0_2_load_77 | 85 | 0.0013559 | 0.00033983 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4536-3_0_2_load_83 | 86 | 0.00095084 | 0.0002383 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4536-3_0_2_load_78 | 87 | 0.00086738 | 0.00021739 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4536-3_0_2_load_79 | 88 | 0.0009851 | 0.00024689 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4536-3_0_2_load_81 | 89 | 0.001387 | 0.00034761 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4536-3_0_2_load_82 | 90 | 0.00097173 | 0.00024354 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4536-3_0_2_load_84 | 91 | 0.0013352 | 0.00033463 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4536-3_0_2_load_85 | 92 | 0.0018191 | 0.0004559 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4536-3_0_2_load_86 | 93 | 0.00085494 | 0.00021427 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4536-3_0_2_load_88 | 94 | 0.015102 | 0.0037848 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4536-3_0_2_load_90 | 96 | 0.0017058 | 0.00042751 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4536-3_0_2_load_110 | 99 | 0.001728 | 0.00043307 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4536-3_0_2_load_95 | 100 | 0.0013757 | 0.00034479 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4536-3_0_2_load_96 | 101 | 0.00074336 | 0.0001863 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4536-3_0_2_load_98 | 102 | 0.00068927 | 0.00017275 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4536-3_0_2_load_99 | 103 | 0.0019097 | 0.00047862 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4536-3_0_2_load_106 | 104 | 0.0072009 | 0.0018047 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4536-3_0_2_load_107 | 105 | 0.00071274 | 0.00017863 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4536-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4536-3_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4536-3_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.033724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4536-3_0_2_line_3 | NAYY 4x150 SE | 3 | 6 | 0.001923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4536-3_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.010315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4536-3_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.014267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4536-3_0_2_line_6 | NAYY 4x150 SE | 5 | 8 | 0.017354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4536-3_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.024796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4536-3_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.022427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4536-3_0_2_line_9 | NAYY 4x150 SE | 7 | 11 | 0.0087281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4536-3_0_2_line_10 | NAYY 4x150 SE | 8 | 60 | 0.016739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4536-3_0_2_line_11 | NAYY 4x150 SE | 9 | 17 | 0.0081205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4536-3_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0002923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4536-3_0_2_line_13 | NAYY 4x150 SE | 11 | 18 | 0.0014758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4536-3_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.025119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4536-3_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.014933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4536-3_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.010371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4536-3_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.01526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4536-3_0_2_line_18 | NAYY 4x150 SE | 17 | 44 | 0.020276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4536-3_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.029861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4536-3_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0012281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4536-3_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.024132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4536-3_0_2_line_22 | NAYY 4x150 SE | 21 | 33 | 0.035988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4536-3_0_2_line_23 | NAYY 4x150 SE | 21 | 27 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4536-3_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.013261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4536-3_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0044364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4536-3_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.001471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4536-3_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.022812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4536-3_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.018156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4536-3_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.008362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4536-3_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.03619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4536-3_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.036045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4536-3_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.022478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4536-3_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.0079759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4536-3_0_2_line_34 | NAYY 4x150 SE | 30 | 39 | 0.030317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4536-3_0_2_line_35 | NAYY 4x150 SE | 31 | 40 | 0.0024392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4536-3_0_2_line_36 | NAYY 4x150 SE | 32 | 41 | 0.041333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4536-3_0_2_line_37 | NAYY 4x150 SE | 32 | 42 | 0.018741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4536-3_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0088193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4536-3_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0097783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4536-3_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.021631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4536-3_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.019834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4536-3_0_2_line_42 | NAYY 4x150 SE | 38 | 43 | 0.015873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4536-3_0_2_line_43 | NAYY 4x150 SE | 39 | 72 | 0.022286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4536-3_0_2_line_44 | NAYY 4x150 SE | 39 | 70 | 0.005324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4536-3_0_2_line_45 | NAYY 4x150 SE | 40 | 76 | 0.019029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4536-3_0_2_line_46 | NAYY 4x150 SE | 41 | 84 | 0.021507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4536-3_0_2_line_47 | NAYY 4x150 SE | 41 | 85 | 0.017076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4536-3_0_2_line_48 | NAYY 4x150 SE | 42 | 82 | 0.011497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4536-3_0_2_line_49 | NAYY 4x150 SE | 43 | 48 | 0.021001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4536-3_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0079256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4536-3_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.012831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4536-3_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.020025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4536-3_0_2_line_53 | NAYY 4x150 SE | 47 | 49 | 0.018638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4536-3_0_2_line_54 | NAYY 4x150 SE | 48 | 53 | 0.061349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4536-3_0_2_line_55 | NAYY 4x150 SE | 48 | 54 | 0.01311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4536-3_0_2_line_56 | NAYY 4x150 SE | 49 | 50 | 0.03661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4536-3_0_2_line_57 | NAYY 4x150 SE | 49 | 51 | 0.03503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4536-3_0_2_line_58 | NAYY 4x150 SE | 49 | 52 | 0.015664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4536-3_0_2_line_59 | NAYY 4x150 SE | 50 | 55 | 0.015876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4536-3_0_2_line_60 | NAYY 4x150 SE | 51 | 56 | 0.020922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4536-3_0_2_line_61 | NAYY 4x150 SE | 52 | 54 | 0.025989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4536-3_0_2_line_62 | NAYY 4x150 SE | 56 | 57 | 0.0051714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4536-3_0_2_line_63 | NAYY 4x150 SE | 57 | 61 | 0.015308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4536-3_0_2_line_64 | NAYY 4x150 SE | 58 | 59 | 0.01479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4536-3_0_2_line_65 | NAYY 4x150 SE | 58 | 60 | 0.008905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4536-3_0_2_line_66 | NAYY 4x150 SE | 59 | 61 | 0.034217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4536-3_0_2_line_67 | NAYY 4x150 SE | 61 | 62 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4536-3_0_2_line_68 | NAYY 4x150 SE | 62 | 63 | 0.011046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4536-3_0_2_line_69 | NAYY 4x150 SE | 63 | 64 | 0.015672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4536-3_0_2_line_70 | NAYY 4x150 SE | 64 | 65 | 0.019714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4536-3_0_2_line_71 | NAYY 4x150 SE | 65 | 66 | 0.0060574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4536-3_0_2_line_72 | NAYY 4x150 SE | 66 | 67 | 0.017502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4536-3_0_2_line_73 | NAYY 4x150 SE | 67 | 104 | 0.037115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4536-3_0_2_line_74 | NAYY 4x150 SE | 67 | 105 | 0.035587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4536-3_0_2_line_75 | NAYY 4x150 SE | 68 | 69 | 0.023071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4536-3_0_2_line_76 | NAYY 4x150 SE | 68 | 70 | 0.02846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4536-3_0_2_line_77 | NAYY 4x150 SE | 70 | 71 | 0.030141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4536-3_0_2_line_78 | NAYY 4x150 SE | 71 | 73 | 0.021965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4536-3_0_2_line_79 | NAYY 4x150 SE | 72 | 74 | 0.010215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4536-3_0_2_line_80 | NAYY 4x150 SE | 73 | 75 | 0.027504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4536-3_0_2_line_81 | NAYY 4x150 SE | 74 | 102 | 0.0071855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4536-3_0_2_line_82 | NAYY 4x150 SE | 75 | 103 | 0.04751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4536-3_0_2_line_83 | NAYY 4x150 SE | 76 | 77 | 0.00029501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4536-3_0_2_line_84 | NAYY 4x150 SE | 77 | 78 | 0.048273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4536-3_0_2_line_85 | NAYY 4x150 SE | 78 | 79 | 0.014309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4536-3_0_2_line_86 | NAYY 4x150 SE | 79 | 80 | 0.012053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4536-3_0_2_line_87 | NAYY 4x150 SE | 80 | 97 | 0.019335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4536-3_0_2_line_88 | NAYY 4x150 SE | 81 | 82 | 0.020495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4536-3_0_2_line_89 | NAYY 4x150 SE | 81 | 83 | 0.0071468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4536-3_0_2_line_90 | NAYY 4x150 SE | 84 | 86 | 0.0089317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4536-3_0_2_line_91 | NAYY 4x150 SE | 85 | 87 | 0.0024211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4536-3_0_2_line_92 | NAYY 4x150 SE | 86 | 90 | 0.0045376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4536-3_0_2_line_93 | NAYY 4x150 SE | 87 | 88 | 0.017256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4536-3_0_2_line_94 | NAYY 4x150 SE | 88 | 89 | 0.011135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4536-3_0_2_line_95 | NAYY 4x150 SE | 90 | 91 | 0.026243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4536-3_0_2_line_96 | NAYY 4x150 SE | 91 | 92 | 0.0035396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4536-3_0_2_line_97 | NAYY 4x150 SE | 92 | 93 | 0.0014625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4536-3_0_2_line_98 | NAYY 4x150 SE | 94 | 95 | 0.030017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4536-3_0_2_line_99 | NAYY 4x150 SE | 95 | 96 | 0.051023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4536-3_0_2_line_100 | NAYY 4x150 SE | 96 | 97 | 0.021487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4536-3_0_2_line_101 | NAYY 4x150 SE | 97 | 98 | 0.024557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4536-3_0_2_line_102 | NAYY 4x150 SE | 98 | 99 | 0.026945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4536-3_0_2_line_103 | NAYY 4x150 SE | 100 | 101 | 0.034855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4536-3_0_2_line_104 | NAYY 4x150 SE | 101 | 102 | 0.0086343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4536-3_0_2_trafo_23 | 0.25 MVA 20/0.4 kV | 106 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2698412.3298 | 1280447.9857 | 2698393.8643 | 1280435.3279 | 2698390.8769 | 1280432.0318
1 | 2698390.8769 | 1280432.0318 | 2698383.7736 | 1280424.1942 | 2698381.9792 | 1280416.9357 | 2698381.9567 | 1280414.0827
2 | 2698393.0614 | 1280383.0908 | 2698386.4146 | 1280392.8996 | 2698383.2471 | 1280401.2875 | 2698381.9165 | 1280408.9943 | 2698381.9567 | 1280414.0827
3 | 2698393.0614 | 1280383.0908 | 2698394.1397 | 1280381.4963
4 | 2698393.0614 | 1280383.0908 | 2698383.3711 | 1280379.5548
5 | 2698493.0436 | 1280406.7061 | 2698489.1125 | 1280416.7682 | 2698487.8518 | 1280419.995
6 | 2698499.3587 | 1280390.542 | 2698493.0436 | 1280406.7061
7 | 2698394.1397 | 1280381.4963 | 2698408.0474 | 1280360.9679
8 | 2698394.1397 | 1280381.4963 | 2698414.6924 | 1280390.4707
9 | 2698383.3711 | 1280379.5548 | 2698375.1718 | 1280376.5629
10 | 2698505.4498 | 1280374.9509 | 2698499.3587 | 1280390.542
11 | 2698412.6021 | 1280354.245 | 2698408.0474 | 1280360.9679
12 | 2698414.9603 | 1280390.5877 | 2698414.6924 | 1280390.4707
13 | 2698373.7855 | 1280376.057 | 2698375.1718 | 1280376.5629
14 | 2698414.9603 | 1280390.5877 | 2698426.9763 | 1280395.8346 | 2698438.943 | 1280396.8177
15 | 2698438.943 | 1280396.8177 | 2698453.8255 | 1280398.0403
16 | 2698453.8255 | 1280398.0403 | 2698453.8255 | 1280398.0403 | 2698457.6865 | 1280388.4143
17 | 2698457.6865 | 1280388.4143 | 2698463.3673 | 1280374.2513
18 | 2698412.6021 | 1280354.245 | 2698423.9748 | 1280337.4584
19 | 2698345.7338 | 1280365.8209 | 2698373.7855 | 1280376.057
20 | 2698345.7338 | 1280365.8209 | 2698344.5801 | 1280365.3999 | 2698344.5801 | 1280365.3999
21 | 2698335.5291 | 1280386.0338 | 2698337.105 | 1280386.5828 | 2698344.5801 | 1280365.3999
22 | 2698335.5291 | 1280386.0338 | 2698327.2688 | 1280411.5074 | 2698336.0949 | 1280414.2458
23 | 2698335.5291 | 1280386.0338 | 2698315.5745 | 1280379.0349
24 | 2698284.5407 | 1280368.1502 | 2698297.0539 | 1280372.5391
25 | 2698280.3543 | 1280366.6819 | 2698284.5407 | 1280368.1502
26 | 2698297.0539 | 1280372.5391 | 2698298.442 | 1280373.0259
27 | 2698258.8278 | 1280359.1317 | 2698280.3543 | 1280366.6819
28 | 2698298.442 | 1280373.0259 | 2698315.5745 | 1280379.0349
29 | 2698254.8736 | 1280366.5056 | 2698258.8278 | 1280359.1317
30 | 2698258.8278 | 1280359.1317 | 2698268.4521 | 1280324.2453
31 | 2698254.8736 | 1280366.5056 | 2698239.5429 | 1280399.1276
32 | 2698254.8736 | 1280366.5056 | 2698232.9459 | 1280361.5607
33 | 2698270.5732 | 1280316.5566 | 2698268.4521 | 1280324.2453
34 | 2698226.6482 | 1280426.5661 | 2698239.5429 | 1280399.1276
35 | 2698232.9459 | 1280361.5607 | 2698230.5665 | 1280361.0241
36 | 2698281.5673 | 1280276.7048 | 2698270.5732 | 1280316.5566
37 | 2698270.5732 | 1280316.5566 | 2698252.3269 | 1280312.2792
38 | 2698336.5368 | 1280314.7624 | 2698341.6123 | 1280309.6124 | 2698342.5876 | 1280308.3585
39 | 2698342.5876 | 1280308.3585 | 2698348.5908 | 1280300.6399
40 | 2698348.5908 | 1280300.6399 | 2698353.5578 | 1280294.2537 | 2698361.3441 | 1280283.176
41 | 2698372.7493 | 1280266.9498 | 2698361.3441 | 1280283.176
42 | 2698372.7493 | 1280266.9498 | 2698382.3928 | 1280262.5846 | 2698387.5921 | 1280261.6213
43 | 2698226.6482 | 1280426.5661 | 2698205.136 | 1280432.3863
44 | 2698226.2517 | 1280431.8752 | 2698226.6482 | 1280426.5661
45 | 2698212.004 | 1280356.838 | 2698230.5665 | 1280361.0241
46 | 2698281.5673 | 1280276.7048 | 2698287.2865 | 1280255.9726
47 | 2698281.5673 | 1280276.7048 | 2698265.0685 | 1280272.3012
48 | 2698252.3269 | 1280312.2792 | 2698242.8412 | 1280310.0555 | 2698241.1671 | 1280309.5309
49 | 2698387.5921 | 1280261.6213 | 2698392.7996 | 1280260.6565 | 2698406.8418 | 1280264.6053 | 2698407.8609 | 1280265.0644
50 | 2698428.4202 | 1280330.8969 | 2698423.9748 | 1280337.4584
51 | 2698428.4202 | 1280330.8969 | 2698434.6527 | 1280321.6975 | 2698435.6222 | 1280320.2776
52 | 2698435.6222 | 1280320.2776 | 2698446.9141 | 1280303.74
53 | 2698457.4237 | 1280288.3482 | 2698446.9141 | 1280303.74
54 | 2698407.8609 | 1280265.0644 | 2698419.1531 | 1280204.7633
55 | 2698419.8143 | 1280270.4488 | 2698407.8609 | 1280265.0644
56 | 2698457.4237 | 1280288.3482 | 2698478.7036 | 1280258.5575
57 | 2698457.4237 | 1280288.3482 | 2698489.0938 | 1280303.3172
58 | 2698457.4237 | 1280288.3482 | 2698443.3063 | 1280281.5607
59 | 2698478.7036 | 1280258.5575 | 2698487.9316 | 1280245.6388
60 | 2698489.0938 | 1280303.3172 | 2698508.009 | 1280312.2575
61 | 2698419.8143 | 1280270.4488 | 2698425.8402 | 1280273.1632 | 2698443.3063 | 1280281.5607
62 | 2698512.6844 | 1280314.4674 | 2698508.009 | 1280312.2575
63 | 2698526.5241 | 1280321.0088 | 2698512.6844 | 1280314.4674
64 | 2698508.6903 | 1280366.6564 | 2698514.0726 | 1280352.88
65 | 2698508.6903 | 1280366.6564 | 2698505.4498 | 1280374.9509
66 | 2698526.5241 | 1280321.0088 | 2698514.0726 | 1280352.88
67 | 2698526.5241 | 1280321.0088 | 2698538.1586 | 1280326.1916
68 | 2698538.1586 | 1280326.1916 | 2698548.2486 | 1280330.6864
69 | 2698548.2486 | 1280330.6864 | 2698562.5642 | 1280337.0635
70 | 2698580.5726 | 1280345.0857 | 2698562.5642 | 1280337.0635
71 | 2698580.5726 | 1280345.0857 | 2698586.1058 | 1280347.5505
72 | 2698601.8951 | 1280355.0984 | 2698588.8023 | 1280348.7517 | 2698586.1058 | 1280347.5505
73 | 2698601.8951 | 1280355.0984 | 2698631.9128 | 1280343.0453 | 2698636.294 | 1280341.1652
74 | 2698601.8951 | 1280355.0984 | 2698634.1435 | 1280370.1467
75 | 2698251.2373 | 1280445.487 | 2698271.2153 | 1280457.0264
76 | 2698226.2517 | 1280431.8752 | 2698240.164 | 1280439.0911 | 2698251.2373 | 1280445.487
77 | 2698226.2517 | 1280431.8752 | 2698224.4419 | 1280461.962
78 | 2698224.4419 | 1280461.962 | 2698223.123 | 1280483.8875
79 | 2698195.1202 | 1280434.3692 | 2698203.5721 | 1280432.8095 | 2698205.136 | 1280432.3863
80 | 2698214.0108 | 1280509.1616 | 2698216.9066 | 1280504.8838 | 2698221.367 | 1280497.3292 | 2698222.947 | 1280486.813 | 2698223.123 | 1280483.8875
81 | 2698195.1202 | 1280434.3692 | 2698188.0541 | 1280435.6732
82 | 2698214.0108 | 1280509.1616 | 2698186.6001 | 1280495.1484 | 2698171.2644 | 1280488.4731
83 | 2698211.7162 | 1280356.7731 | 2698212.004 | 1280356.838
84 | 2698164.6259 | 1280346.1537 | 2698211.7162 | 1280356.7731
85 | 2698150.6671 | 1280343.0058 | 2698164.6259 | 1280346.1537
86 | 2698150.6671 | 1280343.0058 | 2698138.9093 | 1280340.3543
87 | 2698120.0478 | 1280336.1008 | 2698138.9093 | 1280340.3543
88 | 2698221.502 | 1280305.3626 | 2698225.4137 | 1280304.5938 | 2698241.1671 | 1280309.5309
89 | 2698219.6292 | 1280312.2597 | 2698221.502 | 1280305.3626
90 | 2698289.5044 | 1280247.3252 | 2698289.0673 | 1280249.517 | 2698287.2865 | 1280255.9726
91 | 2698265.0685 | 1280272.3012 | 2698262.7293 | 1280271.6769
92 | 2698290.3916 | 1280242.8752 | 2698289.5044 | 1280247.3252
93 | 2698246.0569 | 1280267.227 | 2698262.7293 | 1280271.6769
94 | 2698243.0867 | 1280277.9587 | 2698246.0569 | 1280267.227 | 2698246.0569 | 1280267.227
95 | 2698290.3916 | 1280242.8752 | 2698295.5232 | 1280217.139
96 | 2698295.5232 | 1280217.139 | 2698296.2154 | 1280213.6677
97 | 2698296.5013 | 1280212.2334 | 2698296.2154 | 1280213.6677
98 | 2698130.0726 | 1280273.6461 | 2698158.9468 | 1280281.8495
99 | 2698130.0726 | 1280273.6461 | 2698120.3196 | 1280288.6525 | 2698109.5169 | 1280308.0566 | 2698108.0405 | 1280317.7739 | 2698108.332 | 1280318.8228
100 | 2698120.0478 | 1280336.1008 | 2698113.7745 | 1280330.7251 | 2698109.947 | 1280324.6338 | 2698108.332 | 1280318.8228
101 | 2698120.0478 | 1280336.1008 | 2698117.8873 | 1280339.0786 | 2698117.4199 | 1280342.7852 | 2698118.7873 | 1280351.3488 | 2698120.6855 | 1280359.6099
102 | 2698126.4748 | 1280385.9294 | 2698122.9191 | 1280369.389 | 2698120.6855 | 1280359.6099
103 | 2698145.2521 | 1280443.221 | 2698159.7242 | 1280440.008 | 2698179.5558 | 1280437.1954
104 | 2698179.5558 | 1280437.1954 | 2698180.6347 | 1280437.0424 | 2698188.0541 | 1280435.6732

## bus_geodata
| x | y | coords
0 | 2698412.3298 | 1280447.9857
1 | 2698390.8769 | 1280432.0318
2 | 2698381.9567 | 1280414.0827
3 | 2698393.0614 | 1280383.0908
4 | 2698487.8518 | 1280419.995
5 | 2698493.0436 | 1280406.7061
6 | 2698394.1397 | 1280381.4963
7 | 2698383.3711 | 1280379.5548
8 | 2698499.3587 | 1280390.542
9 | 2698408.0474 | 1280360.9679
10 | 2698414.6924 | 1280390.4707
11 | 2698375.1718 | 1280376.5629
12 | 2698414.9603 | 1280390.5877
13 | 2698438.943 | 1280396.8177
14 | 2698453.8255 | 1280398.0403
15 | 2698457.6865 | 1280388.4143
16 | 2698463.3673 | 1280374.2513
17 | 2698412.6021 | 1280354.245
18 | 2698373.7855 | 1280376.057
19 | 2698345.7338 | 1280365.8209
20 | 2698344.5801 | 1280365.3999
21 | 2698335.5291 | 1280386.0338
22 | 2698284.5407 | 1280368.1502
23 | 2698297.0539 | 1280372.5391
24 | 2698280.3543 | 1280366.6819
25 | 2698298.442 | 1280373.0259
26 | 2698258.8278 | 1280359.1317
27 | 2698315.5745 | 1280379.0349
28 | 2698254.8736 | 1280366.5056
29 | 2698268.4521 | 1280324.2453
30 | 2698239.5429 | 1280399.1276
31 | 2698232.9459 | 1280361.5607
32 | 2698270.5732 | 1280316.5566
33 | 2698336.0949 | 1280414.2458
34 | 2698336.5368 | 1280314.7624
35 | 2698342.5876 | 1280308.3585
36 | 2698348.5908 | 1280300.6399
37 | 2698361.3441 | 1280283.176
38 | 2698372.7493 | 1280266.9498
39 | 2698226.6482 | 1280426.5661
40 | 2698230.5665 | 1280361.0241
41 | 2698281.5673 | 1280276.7048
42 | 2698252.3269 | 1280312.2792
43 | 2698387.5921 | 1280261.6213
44 | 2698423.9748 | 1280337.4584
45 | 2698428.4202 | 1280330.8969
46 | 2698435.6222 | 1280320.2776
47 | 2698446.9141 | 1280303.74
48 | 2698407.8609 | 1280265.0644
49 | 2698457.4237 | 1280288.3482
50 | 2698478.7036 | 1280258.5575
51 | 2698489.0938 | 1280303.3172
52 | 2698443.3063 | 1280281.5607
53 | 2698419.1531 | 1280204.7633
54 | 2698419.8143 | 1280270.4488
55 | 2698487.9316 | 1280245.6388
56 | 2698508.009 | 1280312.2575
57 | 2698512.6844 | 1280314.4674
58 | 2698508.6903 | 1280366.6564
59 | 2698514.0726 | 1280352.88
60 | 2698505.4498 | 1280374.9509
61 | 2698526.5241 | 1280321.0088
62 | 2698538.1586 | 1280326.1916
63 | 2698548.2486 | 1280330.6864
64 | 2698562.5642 | 1280337.0635
65 | 2698580.5726 | 1280345.0857
66 | 2698586.1058 | 1280347.5505
67 | 2698601.8951 | 1280355.0984
68 | 2698251.2373 | 1280445.487
69 | 2698271.2153 | 1280457.0264
70 | 2698226.2517 | 1280431.8752
71 | 2698224.4419 | 1280461.962
72 | 2698205.136 | 1280432.3863
73 | 2698223.123 | 1280483.8875
74 | 2698195.1202 | 1280434.3692
75 | 2698214.0108 | 1280509.1616
76 | 2698212.004 | 1280356.838
77 | 2698211.7162 | 1280356.7731
78 | 2698164.6259 | 1280346.1537
79 | 2698150.6671 | 1280343.0058
80 | 2698138.9093 | 1280340.3543
81 | 2698221.502 | 1280305.3626
82 | 2698241.1671 | 1280309.5309
83 | 2698219.6292 | 1280312.2597
84 | 2698287.2865 | 1280255.9726
85 | 2698265.0685 | 1280272.3012
86 | 2698289.5044 | 1280247.3252
87 | 2698262.7293 | 1280271.6769
88 | 2698246.0569 | 1280267.227
89 | 2698243.0867 | 1280277.9587
90 | 2698290.3916 | 1280242.8752
91 | 2698295.5232 | 1280217.139
92 | 2698296.2154 | 1280213.6677
93 | 2698296.5013 | 1280212.2334
94 | 2698158.9468 | 1280281.8495
95 | 2698130.0726 | 1280273.6461
96 | 2698108.332 | 1280318.8228
97 | 2698120.0478 | 1280336.1008
98 | 2698120.6855 | 1280359.6099
99 | 2698126.4748 | 1280385.9294
100 | 2698145.2521 | 1280443.221
101 | 2698179.5558 | 1280437.1954
102 | 2698188.0541 | 1280435.6732
103 | 2698171.2644 | 1280488.4731
104 | 2698636.294 | 1280341.1652
105 | 2698634.1435 | 1280370.1467
106 | 2698335.5291 | 1280386.0338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1