## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4536-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4536-5_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4536-5_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4536-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4536-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4536-5_0_5_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_4536-5_0_5_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_4536-5_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_4536-5_0_5_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_4536-5_0_5_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_4536-5_0_5_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_4536-5_0_5_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_4536-5_0_5_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_4536-5_0_5_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_4536-5_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4536-5_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4536-5_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4536-5_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4536-5_0_5_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_4536-5_0_5_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_4536-5_0_5_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_4536-5_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4536-5_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4536-5_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4536-5_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4536-5_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4536-5_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4536-5_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4536-5_0_5_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_4536-5_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4536-5_0_5_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_4536-5_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4536-5_0_5_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_4536-5_0_5_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_4536-5_0_5_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_4536-5_0_5_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_4536-5_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4536-5_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4536-5_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4536-5_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4536-5_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4536-5_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4536-5_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4536-5_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4536-5_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4536-5_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4536-5_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4536-5_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4536-5_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4536-5_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4536-5_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4536-5_0_5_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_4536-5_0_5_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_4536-5_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4536-5_0_5_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_4536-5_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4536-5_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4536-5_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4536-5_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4536-5_0_5_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_4536-5_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_4536-5_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4536-5_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4536-5_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4536-5_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4536-5_0_5_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_4536-5_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4536-5_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_4536-5_0_5_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4536-5_0_5_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4536-5_0_5_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_4536-5_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4536-5_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4536-5_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_4536-5_0_5_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4536-5_0_5_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4536-5_0_5_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_4536-5_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_4536-5_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4536-5_0_5_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4536-5_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4536-5_0_5_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_4536-5_0_5_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_4536-5_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4536-5_0_5_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_4536-5_0_5_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_4536-5_0_5_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_4536-5_0_5_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4536-5_0_5_node_105 | 0.4 | n |  | TRUE
89 | bus_LV_4536-5_0_5_node_101 | 0.4 | n |  | TRUE
90 | bus_LV_4536-5_0_5_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_4536-5_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_4536-5_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_4536-5_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_4536-5_0_5_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_4536-5_0_5_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_4536-5_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4536-5_0_5_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_4536-5_0_5_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_4536-5_0_5_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_4536-5_0_5_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_4536-5_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_4536-5_0_5_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_4536-5_0_5_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_4536-5_0_5_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_4536-5_0_5_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_4536-5_0_5_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_4536-5_0_5_node_107 | 0.4 | n |  | TRUE
108 | bus_MV_402_0_node_326 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4536-5_0_5_load_0 | 0 | 0.012135 | 0.0030414 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4536-5_0_5_load_1 | 2 | 0.0007412 | 0.00018576 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4536-5_0_5_load_3 | 3 | 0.0010232 | 0.00025645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4536-5_0_5_load_54 | 6 | 0.015486 | 0.0038812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4536-5_0_5_load_31 | 7 | 0.0011968 | 0.00029994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4536-5_0_5_load_55 | 9 | 0.00062704 | 0.00015715 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4536-5_0_5_load_53 | 10 | 0.0019566 | 0.00049037 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4536-5_0_5_load_51 | 11 | 0.0028273 | 0.00070858 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4536-5_0_5_load_60 | 12 | 0.00164 | 0.00041101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4536-5_0_5_load_61 | 13 | 0.0022026 | 0.00055203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4536-5_0_5_load_6 | 14 | 0.0029337 | 0.00073526 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4536-5_0_5_load_7 | 15 | 0.0032348 | 0.00081072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4536-5_0_5_load_8 | 16 | 0.00048549 | 0.00012167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4536-5_0_5_load_69 | 19 | 0.0014615 | 0.00036629 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4536-5_0_5_load_67 | 20 | 0.0058559 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4536-5_0_5_load_10 | 21 | 0.0010242 | 0.00025669 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4536-5_0_5_load_13 | 24 | 0.0017481 | 0.00043812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4536-5_0_5_load_14 | 25 | 0.0032251 | 0.00080828 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4536-5_0_5_load_15 | 26 | 0.00074276 | 0.00018615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4536-5_0_5_load_18 | 27 | 0.0016597 | 0.00041595 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4536-5_0_5_load_82 | 28 | 0.0010056 | 0.00025203 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4536-5_0_5_load_19 | 29 | 0.0014948 | 0.00037463 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4536-5_0_5_load_81 | 30 | 0.0021795 | 0.00054622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4536-5_0_5_load_16 | 31 | 0.0087541 | 0.002194 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4536-5_0_5_load_92 | 32 | 0.0036184 | 0.00090687 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4536-5_0_5_load_86 | 33 | 0.0015692 | 0.00039329 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4536-5_0_5_load_94 | 34 | 0.0044707 | 0.0011205 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4536-5_0_5_load_93 | 35 | 0.0038786 | 0.00097208 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4536-5_0_5_load_20 | 36 | 0.0011907 | 0.00029843 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4536-5_0_5_load_21 | 37 | 0.0010456 | 0.00026206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4536-5_0_5_load_22 | 38 | 0.0021028 | 0.00052702 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4536-5_0_5_load_23 | 39 | 0.0010941 | 0.0002742 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4536-5_0_5_load_24 | 40 | 0.0012472 | 0.00031259 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4536-5_0_5_load_25 | 41 | 0.0012233 | 0.00030659 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4536-5_0_5_load_26 | 42 | 0.0024277 | 0.00060844 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4536-5_0_5_load_27 | 43 | 0.0019749 | 0.00049495 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4536-5_0_5_load_30 | 44 | 0.0013824 | 0.00034645 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4536-5_0_5_load_35 | 45 | 0.0005584 | 0.00013995 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4536-5_0_5_load_34 | 48 | 0.0006426 | 0.00016105 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4536-5_0_5_load_39 | 49 | 0.0018286 | 0.00045828 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4536-5_0_5_load_36 | 50 | 0.0043592 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4536-5_0_5_load_59 | 51 | 0.0011951 | 0.00029952 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4536-5_0_5_load_78 | 52 | 0.0021122 | 0.00052937 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4536-5_0_5_load_37 | 53 | 0.0021625 | 0.00054197 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4536-5_0_5_load_58 | 54 | 0.0052943 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4536-5_0_5_load_38 | 55 | 0.0028485 | 0.00071389 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4536-5_0_5_load_44 | 57 | 0.002732 | 0.0006847 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4536-5_0_5_load_40 | 58 | 0.0020861 | 0.00052283 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4536-5_0_5_load_79 | 59 | 0.0029973 | 0.0007512 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4536-5_0_5_load_41 | 60 | 0.0035542 | 0.00089077 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4536-5_0_5_load_43 | 61 | 0.003199 | 0.00080173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4536-5_0_5_load_45 | 62 | 0.0012415 | 0.00031114 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4536-5_0_5_load_46 | 64 | 0.0013081 | 0.00032785 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4536-5_0_5_load_89 | 65 | 0.0014151 | 0.00035467 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4536-5_0_5_load_50 | 66 | 0.0025978 | 0.00065107 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4536-5_0_5_load_47 | 67 | 0.000716 | 0.00017945 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4536-5_0_5_load_48 | 68 | 0.00084755 | 0.00021242 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4536-5_0_5_load_49 | 69 | 0.00062653 | 0.00015702 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4536-5_0_5_load_56 | 71 | 0.016467 | 0.004127 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4536-5_0_5_load_57 | 72 | 0.0037162 | 0.00093138 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4536-5_0_5_load_62 | 73 | 0.0018575 | 0.00046554 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4536-5_0_5_load_63 | 74 | 0.0062296 | 0.0015613 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4536-5_0_5_load_64 | 75 | 0.0020937 | 0.00052474 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4536-5_0_5_load_65 | 76 | 0.0033285 | 0.00083419 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4536-5_0_5_load_66 | 77 | 0.003018 | 0.00075639 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4536-5_0_5_load_70 | 78 | 0.00089513 | 0.00022434 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4536-5_0_5_load_71 | 79 | 0.0010507 | 0.00026334 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4536-5_0_5_load_72 | 80 | 0.0013737 | 0.00034429 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4536-5_0_5_load_108 | 81 | 0.0018259 | 0.0004576 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4536-5_0_5_load_73 | 83 | 0.0017639 | 0.00044208 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4536-5_0_5_load_74 | 84 | 0.0011111 | 0.00027846 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4536-5_0_5_load_76 | 85 | 0.0021469 | 0.00053807 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4536-5_0_5_load_77 | 87 | 0.00049193 | 0.00012329 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4536-5_0_5_load_105 | 88 | 0.0017754 | 0.00044496 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4536-5_0_5_load_104 | 90 | 0.0011716 | 0.00029364 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4536-5_0_5_load_80 | 91 | 0.0039191 | 0.00098222 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4536-5_0_5_load_83 | 92 | 0.011296 | 0.0028311 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4536-5_0_5_load_84 | 93 | 0.0022334 | 0.00055974 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4536-5_0_5_load_88 | 96 | 0.0031463 | 0.00078853 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4536-5_0_5_load_95 | 97 | 0.0014698 | 0.00036837 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4536-5_0_5_load_96 | 98 | 0.0052021 | 0.0013038 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4536-5_0_5_load_100 | 99 | 0.0011681 | 0.00029276 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4536-5_0_5_load_91 | 100 | 0.0019677 | 0.00049314 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4536-5_0_5_load_109 | 101 | 0.0034455 | 0.00086351 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4536-5_0_5_load_110 | 102 | 0.0039767 | 0.00099666 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4536-5_0_5_load_102 | 104 | 0.0016643 | 0.00041712 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4536-5_0_5_load_97 | 105 | 0.0012108 | 0.00030345 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4536-5_0_5_load_103 | 106 | 0.0014016 | 0.00035128 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4536-5_0_5_load_107 | 107 | 0.0020286 | 0.0005084 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4536-5_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4536-5_0_5_line_1 | NAYY 4x150 SE | 1 | 4 | 0.014725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4536-5_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.026779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4536-5_0_5_line_3 | NAYY 4x150 SE | 3 | 5 | 0.015446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4536-5_0_5_line_4 | NAYY 4x150 SE | 4 | 6 | 0.023382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4536-5_0_5_line_5 | NAYY 4x150 SE | 5 | 7 | 0.021413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4536-5_0_5_line_6 | NAYY 4x150 SE | 5 | 8 | 0.026634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4536-5_0_5_line_7 | NAYY 4x150 SE | 6 | 9 | 0.0044558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4536-5_0_5_line_8 | NAYY 4x150 SE | 8 | 44 | 0.019037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4536-5_0_5_line_9 | NAYY 4x150 SE | 8 | 43 | 0.009984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4536-5_0_5_line_10 | NAYY 4x150 SE | 9 | 71 | 0.020484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4536-5_0_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0078289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4536-5_0_5_line_12 | NAYY 4x150 SE | 11 | 69 | 0.0038776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4536-5_0_5_line_13 | NAYY 4x150 SE | 12 | 13 | 0.03018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4536-5_0_5_line_14 | NAYY 4x150 SE | 13 | 73 | 0.0085178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4536-5_0_5_line_15 | NAYY 4x150 SE | 14 | 15 | 0.012799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4536-5_0_5_line_16 | NAYY 4x150 SE | 14 | 16 | 0.001654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4536-5_0_5_line_17 | NAYY 4x150 SE | 15 | 17 | 0.014538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4536-5_0_5_line_18 | NAYY 4x150 SE | 17 | 18 | 0.017779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4536-5_0_5_line_19 | NAYY 4x150 SE | 18 | 19 | 0.016735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4536-5_0_5_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0028926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4536-5_0_5_line_21 | NAYY 4x150 SE | 19 | 78 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4536-5_0_5_line_22 | NAYY 4x150 SE | 20 | 77 | 0.0254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4536-5_0_5_line_23 | NAYY 4x150 SE | 21 | 22 | 0.016805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4536-5_0_5_line_24 | NAYY 4x150 SE | 21 | 23 | 0.030683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4536-5_0_5_line_25 | NAYY 4x150 SE | 22 | 24 | 0.01136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4536-5_0_5_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0066711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4536-5_0_5_line_27 | NAYY 4x150 SE | 23 | 26 | 0.028979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4536-5_0_5_line_28 | NAYY 4x150 SE | 24 | 27 | 0.021649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4536-5_0_5_line_29 | NAYY 4x150 SE | 26 | 28 | 0.023959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4536-5_0_5_line_30 | NAYY 4x150 SE | 27 | 29 | 2.1369e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4536-5_0_5_line_31 | NAYY 4x150 SE | 28 | 30 | 0.023038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4536-5_0_5_line_32 | NAYY 4x150 SE | 29 | 36 | 0.01547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4536-5_0_5_line_33 | NAYY 4x150 SE | 30 | 91 | 0.0001878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4536-5_0_5_line_34 | NAYY 4x150 SE | 31 | 32 | 0.13783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4536-5_0_5_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0063095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4536-5_0_5_line_36 | NAYY 4x150 SE | 33 | 93 | 0.011815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4536-5_0_5_line_37 | NAYY 4x150 SE | 34 | 35 | 0.021637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4536-5_0_5_line_38 | NAYY 4x150 SE | 35 | 95 | 0.016968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4536-5_0_5_line_39 | NAYY 4x150 SE | 36 | 37 | 0.015958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4536-5_0_5_line_40 | NAYY 4x150 SE | 37 | 38 | 0.011164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4536-5_0_5_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0053863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4536-5_0_5_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0031625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4536-5_0_5_line_43 | NAYY 4x150 SE | 40 | 41 | 0.018071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4536-5_0_5_line_44 | NAYY 4x150 SE | 41 | 42 | 0.012844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4536-5_0_5_line_45 | NAYY 4x150 SE | 42 | 43 | 0.013981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4536-5_0_5_line_46 | NAYY 4x150 SE | 44 | 45 | 0.017864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4536-5_0_5_line_47 | NAYY 4x150 SE | 46 | 47 | 0.004818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4536-5_0_5_line_48 | NAYY 4x150 SE | 46 | 48 | 0.017919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4536-5_0_5_line_49 | NAYY 4x150 SE | 47 | 49 | 0.042092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4536-5_0_5_line_50 | NAYY 4x150 SE | 47 | 50 | 0.020394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4536-5_0_5_line_51 | NAYY 4x150 SE | 48 | 51 | 0.003594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4536-5_0_5_line_52 | NAYY 4x150 SE | 49 | 52 | 0.033728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4536-5_0_5_line_53 | NAYY 4x150 SE | 50 | 53 | 0.0059409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4536-5_0_5_line_54 | NAYY 4x150 SE | 51 | 54 | 0.004582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4536-5_0_5_line_55 | NAYY 4x150 SE | 52 | 59 | 0.00019592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4536-5_0_5_line_56 | NAYY 4x150 SE | 53 | 55 | 0.013657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4536-5_0_5_line_57 | NAYY 4x150 SE | 54 | 72 | 0.013174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4536-5_0_5_line_58 | NAYY 4x150 SE | 55 | 56 | 0.012615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4536-5_0_5_line_59 | NAYY 4x150 SE | 56 | 57 | 0.019319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_4536-5_0_5_line_60 | NAYY 4x150 SE | 56 | 58 | 0.016917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4536-5_0_5_line_61 | NAYY 4x150 SE | 57 | 63 | 0.024239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4536-5_0_5_line_62 | NAYY 4x150 SE | 58 | 60 | 0.010929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4536-5_0_5_line_63 | NAYY 4x150 SE | 59 | 91 | 0.024327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4536-5_0_5_line_64 | NAYY 4x150 SE | 60 | 61 | 0.0078265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4536-5_0_5_line_65 | NAYY 4x150 SE | 61 | 62 | 0.02969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4536-5_0_5_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0039851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4536-5_0_5_line_67 | NAYY 4x150 SE | 63 | 65 | 0.015605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_4536-5_0_5_line_68 | NAYY 4x150 SE | 63 | 66 | 0.015069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4536-5_0_5_line_69 | NAYY 4x150 SE | 65 | 70 | 0.0073236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_4536-5_0_5_line_70 | NAYY 4x150 SE | 66 | 68 | 0.00091409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4536-5_0_5_line_71 | NAYY 4x150 SE | 67 | 68 | 0.016324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4536-5_0_5_line_72 | NAYY 4x150 SE | 67 | 69 | 0.0079787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4536-5_0_5_line_73 | NAYY 4x150 SE | 70 | 100 | 0.010208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4536-5_0_5_line_74 | NAYY 4x150 SE | 70 | 96 | 0.024682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4536-5_0_5_line_75 | NAYY 4x150 SE | 71 | 72 | 0.017258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4536-5_0_5_line_76 | NAYY 4x150 SE | 73 | 74 | 0.015644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4536-5_0_5_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0062986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4536-5_0_5_line_78 | NAYY 4x150 SE | 75 | 76 | 0.020843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4536-5_0_5_line_79 | NAYY 4x150 SE | 76 | 77 | 0.00014779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4536-5_0_5_line_80 | NAYY 4x150 SE | 78 | 79 | 0.024359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4536-5_0_5_line_81 | NAYY 4x150 SE | 79 | 80 | 0.003617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4536-5_0_5_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0029134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4536-5_0_5_line_83 | NAYY 4x150 SE | 81 | 82 | 0.013521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4536-5_0_5_line_84 | NAYY 4x150 SE | 82 | 107 | 0.012418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4536-5_0_5_line_85 | NAYY 4x150 SE | 82 | 90 | 0.01701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4536-5_0_5_line_86 | NAYY 4x150 SE | 83 | 84 | 0.022386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4536-5_0_5_line_87 | NAYY 4x150 SE | 84 | 85 | 0.012701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4536-5_0_5_line_88 | NAYY 4x150 SE | 85 | 86 | 0.0068143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4536-5_0_5_line_89 | NAYY 4x150 SE | 86 | 89 | 0.012071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4536-5_0_5_line_90 | NAYY 4x150 SE | 87 | 88 | 0.024418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4536-5_0_5_line_91 | NAYY 4x150 SE | 88 | 90 | 0.028889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4536-5_0_5_line_92 | NAYY 4x150 SE | 89 | 104 | 0.033602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4536-5_0_5_line_93 | NAYY 4x150 SE | 89 | 98 | 0.015867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4536-5_0_5_line_94 | NAYY 4x150 SE | 92 | 93 | 0.0036271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4536-5_0_5_line_95 | NAYY 4x150 SE | 92 | 94 | 0.030089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4536-5_0_5_line_96 | NAYY 4x150 SE | 94 | 95 | 0.018199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4536-5_0_5_line_97 | NAYY 4x150 SE | 94 | 96 | 0.011415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4536-5_0_5_line_98 | NAYY 4x150 SE | 95 | 97 | 0.015687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4536-5_0_5_line_99 | NAYY 4x150 SE | 95 | 98 | 0.015362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4536-5_0_5_line_100 | NAYY 4x150 SE | 97 | 99 | 0.0082016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4536-5_0_5_line_101 | NAYY 4x150 SE | 99 | 103 | 0.017983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4536-5_0_5_line_102 | NAYY 4x150 SE | 100 | 101 | 0.021855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4536-5_0_5_line_103 | NAYY 4x150 SE | 101 | 102 | 0.014906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4536-5_0_5_line_104 | NAYY 4x150 SE | 102 | 107 | 0.010541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4536-5_0_5_line_105 | NAYY 4x150 SE | 103 | 105 | 0.00656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4536-5_0_5_line_106 | NAYY 4x150 SE | 104 | 106 | 0.00148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4536-5_0_5_trafo_42 | 0.25 MVA 20/0.4 kV | 108 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2698314.2719 | 1280634.8651 | 2698321.1569 | 1280649.4705 | 2698326.1711 | 1280657.7948 | 2698327.5145 | 1280671.3736 | 2698327.4044 | 1280678.4961
1 | 2698314.2719 | 1280634.8651 | 2698309.046 | 1280637.4247 | 2698300.3429 | 1280639.4925
2 | 2698323.9866 | 1280756.2896 | 2698323.9866 | 1280756.2896 | 2698325.3373 | 1280747.3709 | 2698326.1433 | 1280729.6305
3 | 2698315.4066 | 1280768.991 | 2698318.7993 | 1280765.5446 | 2698323.9866 | 1280756.2896
4 | 2698300.3429 | 1280639.4925 | 2698297.8342 | 1280653.8856 | 2698295.7259 | 1280662.4002
5 | 2698315.4066 | 1280768.991 | 2698307.5276 | 1280764.4446 | 2698299.4744 | 1280758.1826 | 2698297.9619 | 1280756.7038
6 | 2698298.2178 | 1280789.378 | 2698315.4066 | 1280768.991
7 | 2698294.655 | 1280666.7254 | 2698295.7259 | 1280662.4002
8 | 2698298.2178 | 1280789.378 | 2698309.4917 | 1280804.7175
9 | 2698298.2178 | 1280789.378 | 2698291.4507 | 1280796.7188
10 | 2698294.655 | 1280666.7254 | 2698294.113 | 1280668.9146 | 2698292.8706 | 1280683.0508 | 2698292.5313 | 1280687.0742
11 | 2698255.7097 | 1280642.6936 | 2698250.3127 | 1280643.1731 | 2698247.9062 | 1280643.3145
12 | 2698244.0353 | 1280643.542 | 2698247.9062 | 1280643.3145
13 | 2698302.0626 | 1280601.523 | 2698282.5383 | 1280578.5098
14 | 2698282.5383 | 1280578.5098 | 2698279.0729 | 1280574.4252 | 2698276.9217 | 1280572.1089
15 | 2698189.6704 | 1280496.718 | 2698201.0661 | 1280502.5439
16 | 2698189.6704 | 1280496.718 | 2698188.1977 | 1280495.9651
17 | 2698214.0108 | 1280509.1616 | 2698201.0661 | 1280502.5439
18 | 2698227.1134 | 1280521.2238 | 2698214.0108 | 1280509.1616
19 | 2698227.1134 | 1280521.2238 | 2698217.3932 | 1280534.8465
20 | 2698227.1134 | 1280521.2238 | 2698229.1814 | 1280523.2463
21 | 2698217.3932 | 1280534.8465 | 2698210.2379 | 1280544.8746 | 2698209.5155 | 1280545.9037
22 | 2698247.3404 | 1280541.0061 | 2698229.1814 | 1280523.2463
23 | 2698219.8422 | 1280900.6146 | 2698205.3263 | 1280892.1476
24 | 2698178.8225 | 1280876.6882 | 2698205.3263 | 1280892.1476
25 | 2698219.8422 | 1280900.6146 | 2698219.3035 | 1280894.1777 | 2698221.153 | 1280889.6397
26 | 2698178.8225 | 1280876.6882 | 2698172.9698 | 1280873.4866
27 | 2698178.8225 | 1280876.6882 | 2698189.3693 | 1280854.5665 | 2698191.2757 | 1280850.5219
28 | 2698229.9715 | 1280869.9105 | 2698227.3704 | 1280874.3835 | 2698221.153 | 1280889.6397
29 | 2698201.4913 | 1280828.8494 | 2698191.2757 | 1280850.5219
30 | 2698229.9823 | 1280869.8921 | 2698229.9715 | 1280869.9105
31 | 2698201.4913 | 1280828.8494 | 2698211.3141 | 1280808.0102
32 | 2698237.7591 | 1280856.5188 | 2698229.9823 | 1280869.8921
33 | 2698211.3942 | 1280807.8403 | 2698211.3141 | 1280808.0102
34 | 2698139.2711 | 1280701.4532 | 2698051.0134 | 1280807.3227
35 | 2698139.2711 | 1280701.4532 | 2698140.2033 | 1280695.213
36 | 2698140.2033 | 1280695.213 | 2698141.949 | 1280683.5279
37 | 2698121.8334 | 1280688.0958 | 2698125.3118 | 1280666.7403
38 | 2698127.1423 | 1280649.8727 | 2698125.4229 | 1280666.0583 | 2698125.3118 | 1280666.7403
39 | 2698237.7591 | 1280856.5188 | 2698242.025 | 1280849.1832 | 2698247.1678 | 1280843.762
40 | 2698247.1678 | 1280843.762 | 2698254.8515 | 1280835.6625
41 | 2698258.5585 | 1280831.7548 | 2698254.8515 | 1280835.6625
42 | 2698258.5585 | 1280831.7548 | 2698260.7351 | 1280829.4605
43 | 2698273.172 | 1280816.3505 | 2698260.7351 | 1280829.4605
44 | 2698281.9748 | 1280806.9982 | 2698279.5899 | 1280809.5853 | 2698273.172 | 1280816.3505
45 | 2698281.9748 | 1280806.9982 | 2698291.4507 | 1280796.7188
46 | 2698309.4917 | 1280804.7175 | 2698320.0713 | 1280819.1123
47 | 2698258.6091 | 1280719.5453 | 2698262.145 | 1280722.8293
48 | 2698262.145 | 1280722.8293 | 2698266.5574 | 1280712.7384 | 2698273.0133 | 1280710.2883
49 | 2698258.6091 | 1280719.5453 | 2698235.9557 | 1280755.0213
50 | 2698258.6091 | 1280719.5453 | 2698249.8227 | 1280709.0452 | 2698244.7658 | 1280704.6466
51 | 2698276.4322 | 1280711.3963 | 2698273.0133 | 1280710.2883 | 2698273.0133 | 1280710.2883
52 | 2698235.9557 | 1280755.0213 | 2698221.8366 | 1280785.6519
53 | 2698244.7658 | 1280704.6466 | 2698240.2833 | 1280700.7478
54 | 2698276.4322 | 1280711.3963 | 2698280.791 | 1280712.809 | 2698280.791 | 1280712.809
55 | 2698221.8366 | 1280785.6519 | 2698221.7546 | 1280785.8298
56 | 2698228.4285 | 1280694.0068 | 2698239.5899 | 1280700.1447 | 2698240.2833 | 1280700.7478
57 | 2698290.4181 | 1280704.1867 | 2698290.3976 | 1280704.306 | 2698286.2838 | 1280709.5532 | 2698280.791 | 1280712.809
58 | 2698216.5118 | 1280689.8957 | 2698227.911 | 1280693.7222 | 2698228.4285 | 1280694.0068
59 | 2698216.5118 | 1280689.8957 | 2698211.7811 | 1280684.8346 | 2698208.5338 | 1280678.2081 | 2698207.931 | 1280673.2323
60 | 2698216.5118 | 1280689.8957 | 2698208.3478 | 1280704.7122
61 | 2698204.3728 | 1280649.3356 | 2698206.6419 | 1280658.3146 | 2698207.3783 | 1280668.6693 | 2698207.931 | 1280673.2323
62 | 2698208.3478 | 1280704.7122 | 2698203.1111 | 1280714.2161 | 2698203.0358 | 1280714.1983
63 | 2698221.7546 | 1280785.8298 | 2698221.1167 | 1280787.2136 | 2698211.3942 | 1280807.8403
64 | 2698203.0358 | 1280714.1983 | 2698195.4193 | 1280712.3976 | 2698195.4193 | 1280712.3976
65 | 2698195.4193 | 1280712.3976 | 2698189.6351 | 1280716.9163 | 2698186.7307 | 1280724.419 | 2698188.8771 | 1280734.4525 | 2698192.7789 | 1280735.5145
66 | 2698196.6241 | 1280736.5611 | 2698192.7789 | 1280735.5145
67 | 2698204.3728 | 1280649.3356 | 2698188.795 | 1280650.2567
68 | 2698204.3728 | 1280649.3356 | 2698218.9299 | 1280645.4432
69 | 2698181.4842 | 1280650.689 | 2698188.795 | 1280650.2567
70 | 2698218.9299 | 1280645.4432 | 2698219.813 | 1280645.2071
71 | 2698236.0704 | 1280644.0099 | 2698220.9728 | 1280644.897 | 2698219.813 | 1280645.2071
72 | 2698236.0704 | 1280644.0099 | 2698244.0353 | 1280643.542
73 | 2698181.4842 | 1280650.689 | 2698179.5585 | 1280640.6645
74 | 2698181.4842 | 1280650.689 | 2698156.8038 | 1280650.3767
75 | 2698292.5313 | 1280687.0742 | 2698291.7375 | 1280696.4882 | 2698290.4181 | 1280704.1867
76 | 2698266.28 | 1280560.6418 | 2698275.5898 | 1280570.6749 | 2698276.9217 | 1280572.1089
77 | 2698266.28 | 1280560.6418 | 2698261.9957 | 1280556.0247
78 | 2698247.446 | 1280541.1095 | 2698255.1196 | 1280548.6144 | 2698261.9957 | 1280556.0247
79 | 2698247.3404 | 1280541.0061 | 2698247.446 | 1280541.1095
80 | 2698209.5155 | 1280545.9037 | 2698207.5217 | 1280548.7439 | 2698205.4483 | 1280555.9602 | 2698198.2665 | 1280567.2505
81 | 2698198.2665 | 1280567.2505 | 2698198.2665 | 1280567.2505 | 2698195.9452 | 1280570.0244
82 | 2698194.0754 | 1280572.2586 | 2698195.9452 | 1280570.0244
83 | 2698185.3978 | 1280582.6276 | 2698194.0754 | 1280572.2586
84 | 2698185.3978 | 1280582.6276 | 2698183.5397 | 1280587.7456 | 2698181.7583 | 1280594.4877
85 | 2698185.3978 | 1280582.6276 | 2698171.5926 | 1280572.689
86 | 2698109.8304 | 1280567.5909 | 2698109.8045 | 1280569.1465 | 2698111.4367 | 1280589.9126
87 | 2698112.4319 | 1280602.5744 | 2698111.4367 | 1280589.9126
88 | 2698112.9659 | 1280609.3678 | 2698112.4319 | 1280602.5744
89 | 2698112.9659 | 1280609.3678 | 2698116.5977 | 1280620.8828
90 | 2698150.5114 | 1280553.0733 | 2698134.4759 | 1280536.5394 | 2698133.4041 | 1280535.662
91 | 2698171.5926 | 1280572.689 | 2698164.777 | 1280567.7823 | 2698150.5114 | 1280553.0733
92 | 2698116.5977 | 1280620.8828 | 2698125.213 | 1280618.2238 | 2698148.452 | 1280610.1984
93 | 2698116.5977 | 1280620.8828 | 2698119.6103 | 1280633.4885 | 2698120.2613 | 1280636.3213
94 | 2698142.4153 | 1280679.9385 | 2698142.4414 | 1280680.2318 | 2698141.949 | 1280683.5279
95 | 2698145.39 | 1280650.2322 | 2698141.5995 | 1280670.7983 | 2698142.4153 | 1280679.9385
96 | 2698127.1423 | 1280649.8727 | 2698129.7163 | 1280650.0268 | 2698145.39 | 1280650.2322
97 | 2698145.39 | 1280650.2322 | 2698156.8038 | 1280650.3767
98 | 2698127.1423 | 1280649.8727 | 2698111.4822 | 1280648.9473
99 | 2698127.1423 | 1280649.8727 | 2698125.6839 | 1280647.6798 | 2698123.9524 | 1280645.2044 | 2698121.1162 | 1280640.0415 | 2698120.2613 | 1280636.3213
100 | 2698111.4822 | 1280648.9473 | 2698110.8952 | 1280648.9126 | 2698103.2878 | 1280648.604
101 | 2698085.3196 | 1280647.8752 | 2698103.2878 | 1280648.604
102 | 2698176.2222 | 1280619.3092 | 2698175.6053 | 1280622.5664 | 2698177.0327 | 1280627.5167 | 2698179.5585 | 1280640.6645
103 | 2698176.2222 | 1280619.3092 | 2698178.8093 | 1280605.6492 | 2698179.0656 | 1280604.6793
104 | 2698179.0656 | 1280604.6793 | 2698181.7583 | 1280594.4877
105 | 2698085.3196 | 1280647.8752 | 2698091.7845 | 1280646.7617
106 | 2698149.8509 | 1280609.7152 | 2698148.452 | 1280610.1984

## bus_geodata
| x | y | coords
0 | 2698327.4044 | 1280678.4961
1 | 2698314.2719 | 1280634.8651
2 | 2698326.1433 | 1280729.6305
3 | 2698323.9866 | 1280756.2896
4 | 2698300.3428 | 1280639.4925
5 | 2698315.4066 | 1280768.991
6 | 2698295.7259 | 1280662.4002
7 | 2698297.9619 | 1280756.7038
8 | 2698298.2178 | 1280789.378
9 | 2698294.655 | 1280666.7254
10 | 2698255.7097 | 1280642.6936
11 | 2698247.9062 | 1280643.3145
12 | 2698302.0626 | 1280601.523
13 | 2698282.5383 | 1280578.5098
14 | 2698189.6704 | 1280496.718
15 | 2698201.0661 | 1280502.5439
16 | 2698188.1977 | 1280495.9651
17 | 2698214.0108 | 1280509.1616
18 | 2698227.1134 | 1280521.2238
19 | 2698217.3932 | 1280534.8465
20 | 2698229.1814 | 1280523.2463
21 | 2698205.3263 | 1280892.1476
22 | 2698219.8422 | 1280900.6146
23 | 2698178.8225 | 1280876.6882
24 | 2698221.153 | 1280889.6397
25 | 2698172.9698 | 1280873.4866
26 | 2698191.2757 | 1280850.5219
27 | 2698229.9715 | 1280869.9105
28 | 2698201.4913 | 1280828.8494
29 | 2698229.9823 | 1280869.8921
30 | 2698211.3141 | 1280808.0102
31 | 2698051.0134 | 1280807.3227
32 | 2698139.2711 | 1280701.4532
33 | 2698140.2033 | 1280695.213
34 | 2698121.8334 | 1280688.0958
35 | 2698125.3118 | 1280666.7403
36 | 2698237.7591 | 1280856.5188
37 | 2698247.1678 | 1280843.762
38 | 2698254.8515 | 1280835.6625
39 | 2698258.5585 | 1280831.7548
40 | 2698260.7351 | 1280829.4605
41 | 2698273.172 | 1280816.3505
42 | 2698281.9748 | 1280806.9982
43 | 2698291.4507 | 1280796.7188
44 | 2698309.4917 | 1280804.7175
45 | 2698320.0713 | 1280819.1123
46 | 2698262.145 | 1280722.8293
47 | 2698258.6091 | 1280719.5453
48 | 2698273.0133 | 1280710.2883
49 | 2698235.9557 | 1280755.0213
50 | 2698244.7658 | 1280704.6466
51 | 2698276.4322 | 1280711.3963
52 | 2698221.8366 | 1280785.6519
53 | 2698240.2833 | 1280700.7478
54 | 2698280.791 | 1280712.809
55 | 2698228.4285 | 1280694.0068
56 | 2698216.5118 | 1280689.8957
57 | 2698207.931 | 1280673.2323
58 | 2698208.3478 | 1280704.7122
59 | 2698221.7546 | 1280785.8298
60 | 2698203.0358 | 1280714.1983
61 | 2698195.4193 | 1280712.3976
62 | 2698192.7789 | 1280735.5145
63 | 2698204.3728 | 1280649.3356
64 | 2698196.6241 | 1280736.5611
65 | 2698188.795 | 1280650.2567
66 | 2698218.9299 | 1280645.4432
67 | 2698236.0704 | 1280644.0099
68 | 2698219.813 | 1280645.2071
69 | 2698244.0353 | 1280643.542
70 | 2698181.4842 | 1280650.689
71 | 2698292.5313 | 1280687.0742
72 | 2698290.4181 | 1280704.1867
73 | 2698276.9217 | 1280572.1089
74 | 2698266.28 | 1280560.6418
75 | 2698261.9957 | 1280556.0247
76 | 2698247.446 | 1280541.1095
77 | 2698247.3404 | 1280541.0061
78 | 2698209.5155 | 1280545.9037
79 | 2698198.2665 | 1280567.2505
80 | 2698195.9452 | 1280570.0244
81 | 2698194.0754 | 1280572.2586
82 | 2698185.3978 | 1280582.6276
83 | 2698109.8304 | 1280567.5909
84 | 2698111.4367 | 1280589.9126
85 | 2698112.4319 | 1280602.5744
86 | 2698112.9659 | 1280609.3678
87 | 2698133.4041 | 1280535.662
88 | 2698150.5114 | 1280553.0733
89 | 2698116.5977 | 1280620.8828
90 | 2698171.5926 | 1280572.689
91 | 2698211.3942 | 1280807.8403
92 | 2698142.4153 | 1280679.9385
93 | 2698141.949 | 1280683.5279
94 | 2698145.39 | 1280650.2322
95 | 2698127.1423 | 1280649.8727
96 | 2698156.8038 | 1280650.3767
97 | 2698111.4822 | 1280648.9473
98 | 2698120.2613 | 1280636.3213
99 | 2698103.2878 | 1280648.604
100 | 2698179.5585 | 1280640.6645
101 | 2698176.2222 | 1280619.3092
102 | 2698179.0656 | 1280604.6793
103 | 2698085.3196 | 1280647.8752
104 | 2698148.452 | 1280610.1984
105 | 2698091.7845 | 1280646.7617
106 | 2698149.8509 | 1280609.7152
107 | 2698181.7583 | 1280594.4877
108 | 2698204.3728 | 1280649.3356

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1