## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4536-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4536-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4536-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4536-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4536-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4536-9_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4536-9_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4536-9_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4536-9_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4536-9_0_3_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_4536-9_0_3_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_4536-9_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4536-9_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4536-9_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4536-9_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4536-9_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4536-9_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4536-9_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4536-9_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4536-9_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_4536-9_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_4536-9_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4536-9_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4536-9_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_4536-9_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4536-9_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4536-9_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4536-9_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4536-9_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_4536-9_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_4536-9_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4536-9_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_4536-9_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4536-9_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4536-9_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4536-9_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4536-9_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4536-9_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4536-9_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_4536-9_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4536-9_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_4536-9_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_4536-9_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_4536-9_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_4536-9_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_4536-9_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_4536-9_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_4536-9_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_4536-9_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_4536-9_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_4536-9_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_4536-9_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_4536-9_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_4536-9_0_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_4536-9_0_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_4536-9_0_3_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_4536-9_0_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_4536-9_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_4536-9_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_4536-9_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_4536-9_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_4536-9_0_3_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_4536-9_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_4536-9_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_4536-9_0_3_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_4536-9_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_4536-9_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4536-9_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4536-9_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_4536-9_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_4536-9_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_4536-9_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4536-9_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4536-9_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4536-9_0_3_node_103 | 0.4 | n |  | TRUE
75 | bus_LV_4536-9_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_4536-9_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_4536-9_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4536-9_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4536-9_0_3_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_4536-9_0_3_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_4536-9_0_3_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_4536-9_0_3_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_4536-9_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4536-9_0_3_node_104 | 0.4 | n |  | TRUE
85 | bus_LV_4536-9_0_3_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_4536-9_0_3_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_4536-9_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_4536-9_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_4536-9_0_3_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4536-9_0_3_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_4536-9_0_3_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_4536-9_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_4536-9_0_3_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_4536-9_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4536-9_0_3_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_4536-9_0_3_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4536-9_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_4536-9_0_3_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_4536-9_0_3_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_4536-9_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_MV_402_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4536-9_0_3_load_0 | 0 | 0.001108 | 0.0002777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4536-9_0_3_load_1 | 1 | 0.00063596 | 0.00015939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4536-9_0_3_load_3 | 3 | 0.00075026 | 0.00018803 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4536-9_0_3_load_4 | 4 | 0.0032848 | 0.00082325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4536-9_0_3_load_7 | 5 | 0.00077928 | 0.00019531 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4536-9_0_3_load_5 | 6 | 0.0042656 | 0.0010691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4536-9_0_3_load_8 | 7 | 0.0011228 | 0.00028139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4536-9_0_3_load_6 | 8 | 0.0033153 | 0.0008309 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4536-9_0_3_load_85 | 9 | 0.001953 | 0.00048946 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4536-9_0_3_load_84 | 10 | 0.0052373 | 0.0013126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4536-9_0_3_load_9 | 11 | 0.0015629 | 0.0003917 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4536-9_0_3_load_10 | 12 | 0.00098425 | 0.00024668 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4536-9_0_3_load_11 | 13 | 0.00044793 | 0.00011226 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4536-9_0_3_load_13 | 18 | 0.0034456 | 0.00086354 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4536-9_0_3_load_34 | 19 | 0.0041098 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4536-9_0_3_load_35 | 20 | 0.0012597 | 0.00031572 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4536-9_0_3_load_14 | 21 | 0.0032106 | 0.00080465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4536-9_0_3_load_16 | 22 | 0.0015726 | 0.00039412 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4536-9_0_3_load_24 | 23 | 0.0012543 | 0.00031435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4536-9_0_3_load_21 | 24 | 0.0013245 | 0.00033194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4536-9_0_3_load_25 | 25 | 0.0071627 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4536-9_0_3_load_22 | 26 | 0.0012044 | 0.00030186 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4536-9_0_3_load_26 | 28 | 0.0022287 | 0.00055856 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4536-9_0_3_load_27 | 29 | 0.0014592 | 0.0003657 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4536-9_0_3_load_31 | 31 | 0.00034731 | 8.7043e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4536-9_0_3_load_29 | 32 | 0.0009605 | 0.00024072 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4536-9_0_3_load_30 | 33 | 0.0027833 | 0.00069756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4536-9_0_3_load_32 | 34 | 0.00132 | 0.00033082 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4536-9_0_3_load_36 | 35 | 0.0025763 | 0.00064569 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4536-9_0_3_load_37 | 36 | 0.0011613 | 0.00029106 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4536-9_0_3_load_38 | 37 | 0.00085923 | 0.00021534 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4536-9_0_3_load_40 | 39 | 0.00029213 | 7.3215e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4536-9_0_3_load_42 | 40 | 0.00050747 | 0.00012719 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4536-9_0_3_load_43 | 41 | 0.00038075 | 9.5426e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4536-9_0_3_load_41 | 42 | 0.0018276 | 0.00045803 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4536-9_0_3_load_44 | 44 | 0.00053511 | 0.00013411 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4536-9_0_3_load_50 | 45 | 0.00043022 | 0.00010782 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4536-9_0_3_load_46 | 46 | 0.00043586 | 0.00010924 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4536-9_0_3_load_47 | 47 | 0.0017198 | 0.00043102 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4536-9_0_3_load_51 | 48 | 0.00094017 | 0.00023563 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4536-9_0_3_load_53 | 49 | 0.00053686 | 0.00013455 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4536-9_0_3_load_48 | 50 | 0.0022795 | 0.00057129 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4536-9_0_3_load_49 | 51 | 0.0014441 | 0.00036193 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4536-9_0_3_load_54 | 52 | 0.001073 | 0.00026891 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4536-9_0_3_load_76 | 55 | 0.0055466 | 0.0013901 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4536-9_0_3_load_77 | 56 | 0.0027211 | 0.00068198 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4536-9_0_3_load_52 | 57 | 0.00053391 | 0.00013381 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4536-9_0_3_load_56 | 58 | 0.0005094 | 0.00012767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4536-9_0_3_load_61 | 62 | 0.0015156 | 0.00037983 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4536-9_0_3_load_58 | 63 | 0.0019353 | 0.00048502 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4536-9_0_3_load_101 | 64 | 0.0050865 | 0.0012748 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4536-9_0_3_load_64 | 65 | 0.0023826 | 0.00059714 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4536-9_0_3_load_59 | 66 | 0.00022269 | 5.5811e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4536-9_0_3_load_60 | 67 | 0.0015525 | 0.0003891 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4536-9_0_3_load_62 | 68 | 0.0054034 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4536-9_0_3_load_63 | 69 | 0.0012829 | 0.00032152 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4536-9_0_3_load_65 | 70 | 0.00075966 | 0.00019039 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4536-9_0_3_load_66 | 71 | 0.0011579 | 0.00029019 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4536-9_0_3_load_103 | 74 | 0.07487 | 0.018764 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4536-9_0_3_load_69 | 75 | 0.0025441 | 0.00063762 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4536-9_0_3_load_70 | 76 | 0.0011345 | 0.00028434 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4536-9_0_3_load_71 | 77 | 0.0013158 | 0.00032976 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4536-9_0_3_load_73 | 78 | 0.00065929 | 0.00016523 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4536-9_0_3_load_94 | 79 | 0.0021052 | 0.00052762 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4536-9_0_3_load_95 | 80 | 0.0015031 | 0.00037672 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4536-9_0_3_load_99 | 82 | 0.0020401 | 0.00051131 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4536-9_0_3_load_104 | 84 | 0.00023186 | 5.811e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4536-9_0_3_load_100 | 86 | 0.00051036 | 0.00012791 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4536-9_0_3_load_79 | 87 | 0.0011692 | 0.00029302 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4536-9_0_3_load_80 | 88 | 0.0035427 | 0.00088788 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4536-9_0_3_load_92 | 90 | 0.00071665 | 0.00017961 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4536-9_0_3_load_81 | 91 | 0.0018269 | 0.00045787 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4536-9_0_3_load_86 | 92 | 0.0033424 | 0.0008377 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4536-9_0_3_load_82 | 93 | 0.0032366 | 0.00081117 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4536-9_0_3_load_83 | 95 | 0.0023916 | 0.00059939 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4536-9_0_3_load_90 | 97 | 0.001188 | 0.00029774 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4536-9_0_3_load_89 | 98 | 0.0011383 | 0.00028528 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4536-9_0_3_load_97 | 99 | 0.00025888 | 6.4882e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4536-9_0_3_load_96 | 100 | 0.00078846 | 0.00019761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4536-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0072126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4536-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4536-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4536-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0060892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4536-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4536-9_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4536-9_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.039301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4536-9_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.030447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4536-9_0_3_line_8 | NAYY 4x150 SE | 7 | 11 | 0.0088938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4536-9_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.035871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4536-9_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.015095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4536-9_0_3_line_11 | NAYY 4x150 SE | 10 | 95 | 0.02043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_4536-9_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.025994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4536-9_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.059462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4536-9_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.015909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4536-9_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.011606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4536-9_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.03543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4536-9_0_3_line_17 | NAYY 4x150 SE | 16 | 23 | 0.055032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4536-9_0_3_line_18 | NAYY 4x150 SE | 16 | 24 | 0.028657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4536-9_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.004659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4536-9_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.02053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4536-9_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.017995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4536-9_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.02581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4536-9_0_3_line_23 | NAYY 4x150 SE | 20 | 35 | 0.015987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4536-9_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.014728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4536-9_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.056475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4536-9_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0021043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4536-9_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.023453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4536-9_0_3_line_28 | NAYY 4x150 SE | 26 | 30 | 0.026407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4536-9_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.025728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4536-9_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.019225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4536-9_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.014248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4536-9_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0099018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4536-9_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.047439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4536-9_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.20229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4536-9_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.027717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4536-9_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.034939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4536-9_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.005496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4536-9_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0026031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4536-9_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.02704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4536-9_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.015561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4536-9_0_3_line_41 | NAYY 4x150 SE | 38 | 42 | 0.037985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4536-9_0_3_line_42 | NAYY 4x150 SE | 39 | 43 | 0.029664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4536-9_0_3_line_43 | NAYY 4x150 SE | 40 | 44 | 0.018012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4536-9_0_3_line_44 | NAYY 4x150 SE | 41 | 45 | 0.010727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4536-9_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.016494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4536-9_0_3_line_46 | NAYY 4x150 SE | 43 | 47 | 0.031169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4536-9_0_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.039911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4536-9_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.019003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4536-9_0_3_line_49 | NAYY 4x150 SE | 48 | 57 | 0.026453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4536-9_0_3_line_50 | NAYY 4x150 SE | 49 | 52 | 0.050786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4536-9_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.019585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4536-9_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.032964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4536-9_0_3_line_53 | NAYY 4x150 SE | 52 | 59 | 0.016131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4536-9_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.026064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4536-9_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.040688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4536-9_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.02351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4536-9_0_3_line_57 | NAYY 4x150 SE | 54 | 81 | 0.023896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4536-9_0_3_line_58 | NAYY 4x150 SE | 54 | 82 | 0.051965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4536-9_0_3_line_59 | NAYY 4x150 SE | 55 | 83 | 0.0093358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4536-9_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.00094707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4536-9_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.005546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4536-9_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.016866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_4536-9_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4536-9_0_3_line_64 | NAYY 4x150 SE | 60 | 63 | 0.042436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4536-9_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.025364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4536-9_0_3_line_66 | NAYY 4x150 SE | 62 | 65 | 0.01591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4536-9_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.019234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4536-9_0_3_line_68 | NAYY 4x150 SE | 64 | 86 | 0.0027423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_4536-9_0_3_line_69 | NAYY 4x150 SE | 65 | 69 | 0.0040562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4536-9_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.00020083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4536-9_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.011746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4536-9_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.018307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4536-9_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0040665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4536-9_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.043194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4536-9_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.01213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4536-9_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.012892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4536-9_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.016083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4536-9_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.019851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4536-9_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.025571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4536-9_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0056832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4536-9_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.025937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4536-9_0_3_line_82 | NAYY 4x150 SE | 80 | 100 | 0.0048423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4536-9_0_3_line_83 | NAYY 4x150 SE | 81 | 84 | 0.022315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4536-9_0_3_line_84 | NAYY 4x150 SE | 81 | 85 | 0.020858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4536-9_0_3_line_85 | NAYY 4x150 SE | 82 | 86 | 0.026628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_4536-9_0_3_line_86 | NAYY 4x150 SE | 83 | 87 | 0.026722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4536-9_0_3_line_87 | NAYY 4x150 SE | 83 | 88 | 0.02368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4536-9_0_3_line_88 | NAYY 4x150 SE | 85 | 99 | 0.039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4536-9_0_3_line_89 | NAYY 4x150 SE | 85 | 89 | 0.025538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4536-9_0_3_line_90 | NAYY 4x150 SE | 87 | 91 | 0.0012724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_4536-9_0_3_line_91 | NAYY 4x150 SE | 88 | 92 | 0.038088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4536-9_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.033292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4536-9_0_3_line_93 | NAYY 4x150 SE | 90 | 98 | 0.0093423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4536-9_0_3_line_94 | NAYY 4x150 SE | 91 | 93 | 0.0027276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_4536-9_0_3_line_95 | NAYY 4x150 SE | 92 | 94 | 0.018477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4536-9_0_3_line_96 | NAYY 4x150 SE | 93 | 95 | 0.017606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_4536-9_0_3_line_97 | NAYY 4x150 SE | 94 | 96 | 0.01647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4536-9_0_3_line_98 | NAYY 4x150 SE | 96 | 97 | 0.019266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4536-9_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.010305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4536-9_0_3_trafo_48 | 0.25 MVA 20/0.4 kV | 101 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2698333.1149 | 1281231.1425 | 2698337.9616 | 1281236.4839
1 | 2698306.523 | 1281200.5458 | 2698318.664 | 1281215.2167 | 2698333.1149 | 1281231.1425
2 | 2698337.9616 | 1281236.4839 | 2698338.644 | 1281237.236 | 2698348.3096 | 1281246.6773
3 | 2698306.523 | 1281200.5458 | 2698307.3528 | 1281194.5133
4 | 2698348.3096 | 1281246.6773 | 2698355.6941 | 1281253.8906 | 2698366.2471 | 1281262.333
5 | 2698307.3528 | 1281194.5133 | 2698309.4122 | 1281179.5421 | 2698310.1145 | 1281170.0903
6 | 2698366.2471 | 1281262.333 | 2698372.4898 | 1281267.3271 | 2698387.3208 | 1281278.3176 | 2698399.2278 | 1281283.1428 | 2698399.2278 | 1281283.1428
7 | 2698320.5258 | 1281141.9668 | 2698314.8249 | 1281150.907 | 2698311.864 | 1281159.0982 | 2698310.1871 | 1281169.1124 | 2698310.1145 | 1281170.0903
8 | 2698399.2278 | 1281283.1428 | 2698408.0366 | 1281284.3699
9 | 2698338.8264 | 1281111.1231 | 2698325.7851 | 1281133.7191 | 2698320.5258 | 1281141.9668
10 | 2698344.0712 | 1281097.0239 | 2698340.3113 | 1281108.5502 | 2698338.8264 | 1281111.1231
11 | 2698349.5711 | 1281077.3597 | 2698346.4702 | 1281089.6696 | 2698344.0712 | 1281097.0239
12 | 2698408.0366 | 1281284.3699 | 2698412.2892 | 1281284.9623 | 2698433.9817 | 1281285.5511
13 | 2698433.9817 | 1281285.5511 | 2698493.4218 | 1281287.1644
14 | 2698509.3251 | 1281287.5961 | 2698493.4218 | 1281287.1644
15 | 2698509.3251 | 1281287.5961 | 2698509.1123 | 1281294.4875 | 2698511.2831 | 1281294.4793 | 2698513.8099 | 1281294.744
16 | 2698513.8099 | 1281294.744 | 2698512.707 | 1281330.1569
17 | 2698512.707 | 1281330.1569 | 2698510.994 | 1281385.162
18 | 2698512.707 | 1281330.1569 | 2698541.333 | 1281331.483
19 | 2698508.0387 | 1281329.9453 | 2698512.707 | 1281330.1569
20 | 2698508.0387 | 1281329.9453 | 2698507.3964 | 1281350.4648
21 | 2698507.3964 | 1281350.4648 | 2698506.8334 | 1281368.4515
22 | 2698511.1299 | 1281220.9593 | 2698511.8287 | 1281195.1592
23 | 2698511.8287 | 1281195.1592 | 2698512.2616 | 1281179.1784
24 | 2698506.3727 | 1281383.172 | 2698506.8334 | 1281368.4515
25 | 2698510.994 | 1281385.162 | 2698509.236 | 1281441.6092
26 | 2698541.333 | 1281331.483 | 2698543.4351 | 1281331.5804
27 | 2698508.506 | 1281465.0504 | 2698509.236 | 1281441.6092
28 | 2698569.8137 | 1281332.8024 | 2698543.4351 | 1281331.5804
29 | 2698508.506 | 1281465.0504 | 2698507.9623 | 1281490.7726
30 | 2698507.9623 | 1281490.7726 | 2698507.556 | 1281509.9929
31 | 2698569.8137 | 1281332.8024 | 2698584.0616 | 1281332.6777
32 | 2698593.963 | 1281332.591 | 2698584.0616 | 1281332.6777
33 | 2698593.963 | 1281332.591 | 2698604.2791 | 1281332.5006 | 2698614.505 | 1281328.7016 | 2698626.8273 | 1281305.565 | 2698626.8273 | 1281305.565
34 | 2698626.8273 | 1281305.565 | 2698756.6823 | 1281460.675
35 | 2698512.2616 | 1281179.1784 | 2698513.012 | 1281151.4712
36 | 2698513.9579 | 1281116.5446 | 2698513.012 | 1281151.4712
37 | 2698513.9579 | 1281116.5446 | 2698519.4693 | 1281116.659
38 | 2698513.9579 | 1281116.5446 | 2698514.0668 | 1281113.9438
39 | 2698519.4693 | 1281116.659 | 2698546.5031 | 1281117.2253
40 | 2698519.4693 | 1281116.659 | 2698519.8943 | 1281101.575 | 2698519.9177 | 1281101.1047
41 | 2698519.4693 | 1281116.659 | 2698518.39 | 1281154.6284
42 | 2698515.3082 | 1281084.3054 | 2698514.3703 | 1281106.7095 | 2698514.2207 | 1281110.2657 | 2698514.0668 | 1281113.9438
43 | 2698546.5031 | 1281117.2253 | 2698556.3366 | 1281117.4313 | 2698564.4121 | 1281116.1489
44 | 2698520.4506 | 1281090.3904 | 2698519.9177 | 1281101.1047
45 | 2698515.3082 | 1281084.3054 | 2698507.7264 | 1281084.034 | 2698499.5249 | 1281082.1843 | 2698499.0933 | 1281081.9326
46 | 2698515.3082 | 1281084.3054 | 2698516.2983 | 1281053.1522
47 | 2698520.4506 | 1281090.3904 | 2698522.0104 | 1281059.0284 | 2698522.176 | 1281050.5202
48 | 2698516.2983 | 1281053.1522 | 2698516.4654 | 1281047.8926 | 2698516.8998 | 1281034.1586
49 | 2698522.176 | 1281050.5202 | 2698522.6907 | 1281024.0718
50 | 2698516.8998 | 1281034.1586 | 2698518.5054 | 1280983.3981
51 | 2698432.6367 | 1281030.3892 | 2698448.3153 | 1281042.1262
52 | 2698410.4479 | 1281006.23 | 2698426.7704 | 1281025.9976 | 2698432.6367 | 1281030.3892
53 | 2698519.0153 | 1280967.2751 | 2698518.5054 | 1280983.3981
54 | 2698410.4479 | 1281006.23 | 2698419.8883 | 1281000.0154 | 2698426.2484 | 1280993.3935 | 2698426.8525 | 1280987.8097
55 | 2698410.4479 | 1281006.23 | 2698400.9024 | 1281008.8397 | 2698391.2535 | 1281013.594 | 2698379.6943 | 1281024.3439 | 2698376.6813 | 1281027.3411
56 | 2698410.4479 | 1281006.23 | 2698399.4015 | 1280985.4765
57 | 2698426.8525 | 1280987.8097 | 2698427.0836 | 1280985.6673 | 2698424.3099 | 1280976.7909 | 2698419.7175 | 1280967.9732 | 2698418.3784 | 1280965.8489
58 | 2698426.8525 | 1280987.8097 | 2698436.4608 | 1280983.2439 | 2698438.5568 | 1280981.4217 | 2698450.7454 | 1280963.1424 | 2698453.9562 | 1280961.1387 | 2698458.8148 | 1280959.4183 | 2698466.4335 | 1280958.845
59 | 2698370.0625 | 1281033.925 | 2698376.6813 | 1281027.3411
60 | 2698522.6907 | 1281024.0718 | 2698522.7092 | 1281023.1249
61 | 2698519.0153 | 1280967.2751 | 2698524.5063 | 1280968.1676
62 | 2698519.0153 | 1280967.2751 | 2698520.1155 | 1280950.4453
63 | 2698524.5063 | 1280968.1676 | 2698525.2196 | 1280956.8047
64 | 2698524.5063 | 1280968.1676 | 2698565.0591 | 1280980.6672
65 | 2698520.1155 | 1280950.4453 | 2698506.5301 | 1280950.2738 | 2698502.2907 | 1280950.9035 | 2698499.4562 | 1280951.5122 | 2698495.1338 | 1280953.0628
66 | 2698526.2162 | 1280940.9257 | 2698525.3459 | 1280954.7921 | 2698525.2196 | 1280956.8047
67 | 2698565.0591 | 1280980.6672 | 2698583.4397 | 1280986.3326
68 | 2698495.1338 | 1280953.0628 | 2698492.5526 | 1280953.9888
69 | 2698526.4703 | 1280936.8775 | 2698526.2162 | 1280940.9257
70 | 2698583.6316 | 1280986.3918 | 2698583.4397 | 1280986.3326
71 | 2698594.8561 | 1280989.8515 | 2698583.6316 | 1280986.3918
72 | 2698526.4703 | 1280936.8775 | 2698527.6172 | 1280918.6066
73 | 2698527.8719 | 1280914.548 | 2698527.6172 | 1280918.6066
74 | 2698535.3869 | 1280873.1545 | 2698535.4596 | 1280874.6459 | 2698535.7211 | 1280877.8754 | 2698535.4864 | 1280879.7842 | 2698532.1944 | 1280883.944 | 2698529.3651 | 1280890.5248 | 2698528.3973 | 1280906.178 | 2698527.8719 | 1280914.548
75 | 2698523.34 | 1280874.8547 | 2698535.3869 | 1280873.1545
76 | 2698523.34 | 1280874.8547 | 2698523.5888 | 1280881.0866 | 2698523.256 | 1280887.7333
77 | 2698479.82 | 1280841.2888 | 2698486.5005 | 1280826.659
78 | 2698479.82 | 1280841.2888 | 2698471.5741 | 1280859.3465
79 | 2698471.5741 | 1280859.3465 | 2698460.9524 | 1280882.6068
80 | 2698460.9524 | 1280882.6068 | 2698458.5917 | 1280887.7765
81 | 2698445.6028 | 1280910.1933 | 2698456.5418 | 1280892.2655 | 2698458.5917 | 1280887.7765
82 | 2698443.0806 | 1280914.3269 | 2698443.0806 | 1280914.3269 | 2698445.6028 | 1280910.1933
83 | 2698418.3784 | 1280965.8489 | 2698435.0472 | 1280950.9585
84 | 2698407.2562 | 1280948.1811 | 2698418.3784 | 1280965.8489
85 | 2698466.4335 | 1280958.845 | 2698488.7633 | 1280955.3481 | 2698492.5526 | 1280953.9888
86 | 2698370.0625 | 1281033.925 | 2698358.5769 | 1281052.4164 | 2698356.7518 | 1281057.0221
87 | 2698370.0625 | 1281033.925 | 2698350.9813 | 1281019.902
88 | 2698407.2562 | 1280948.1811 | 2698424.9479 | 1280932.3068 | 2698435.7628 | 1280921.583
89 | 2698384.9578 | 1280958.3402 | 2698390.4318 | 1280957.9979 | 2698395.4059 | 1280957.4582 | 2698407.2562 | 1280948.1811
90 | 2698356.7518 | 1281057.0221 | 2698356.283 | 1281058.2051
91 | 2698350.9813 | 1281019.902 | 2698320.2904 | 1280997.3468
92 | 2698384.9578 | 1280958.3402 | 2698368.8289 | 1280959.3498 | 2698360.2911 | 1280960.9866 | 2698355.2179 | 1280963.4152 | 2698352.7053 | 1280964.6819
93 | 2698344.8037 | 1280969.6371 | 2698350.3925 | 1280965.848 | 2698352.7053 | 1280964.6819
94 | 2698355.2782 | 1281060.7408 | 2698356.283 | 1281058.2051
95 | 2698305.4016 | 1280986.4048 | 2698320.2904 | 1280997.3468
96 | 2698349.5711 | 1281077.3597 | 2698351.1038 | 1281071.2751 | 2698355.2782 | 1281060.7408
97 | 2698292.5111 | 1280976.1031 | 2698305.4016 | 1280986.4048
98 | 2698292.5111 | 1280976.1031 | 2698287.8556 | 1280989.5151 | 2698286.0941 | 1280994.2685
99 | 2698443.0806 | 1280914.3269 | 2698435.7628 | 1280921.583

## bus_geodata
| x | y | coords
0 | 2698333.1149 | 1281231.1425
1 | 2698337.9616 | 1281236.4839
2 | 2698306.523 | 1281200.5458
3 | 2698348.3096 | 1281246.6773
4 | 2698307.3528 | 1281194.5133
5 | 2698366.2471 | 1281262.333
6 | 2698310.1145 | 1281170.0903
7 | 2698399.2278 | 1281283.1428
8 | 2698320.5258 | 1281141.9668
9 | 2698338.8264 | 1281111.1231
10 | 2698344.0712 | 1281097.0239
11 | 2698408.0366 | 1281284.3699
12 | 2698433.9817 | 1281285.5511
13 | 2698493.4218 | 1281287.1644
14 | 2698509.3251 | 1281287.5961
15 | 2698513.8099 | 1281294.744
16 | 2698512.707 | 1281330.1569
17 | 2698508.0387 | 1281329.9453
18 | 2698507.3964 | 1281350.4648
19 | 2698511.1299 | 1281220.9593
20 | 2698511.8287 | 1281195.1592
21 | 2698506.8334 | 1281368.4515
22 | 2698506.3727 | 1281383.172
23 | 2698510.994 | 1281385.162
24 | 2698541.333 | 1281331.483
25 | 2698509.236 | 1281441.6092
26 | 2698543.4351 | 1281331.5804
27 | 2698508.506 | 1281465.0504
28 | 2698507.9623 | 1281490.7726
29 | 2698507.556 | 1281509.9929
30 | 2698569.8137 | 1281332.8024
31 | 2698584.0616 | 1281332.6777
32 | 2698593.963 | 1281332.591
33 | 2698626.8273 | 1281305.565
34 | 2698756.6823 | 1281460.675
35 | 2698512.2616 | 1281179.1784
36 | 2698513.012 | 1281151.4712
37 | 2698513.9579 | 1281116.5446
38 | 2698519.4693 | 1281116.659
39 | 2698514.0668 | 1281113.9438
40 | 2698546.5031 | 1281117.2253
41 | 2698519.9177 | 1281101.1047
42 | 2698518.39 | 1281154.6284
43 | 2698515.3082 | 1281084.3054
44 | 2698564.4121 | 1281116.1489
45 | 2698520.4506 | 1281090.3904
46 | 2698499.0933 | 1281081.9326
47 | 2698516.2983 | 1281053.1522
48 | 2698522.176 | 1281050.5202
49 | 2698516.8998 | 1281034.1586
50 | 2698448.3153 | 1281042.1262
51 | 2698432.6367 | 1281030.3892
52 | 2698518.5054 | 1280983.3981
53 | 2698410.4479 | 1281006.23
54 | 2698426.8525 | 1280987.8097
55 | 2698376.6813 | 1281027.3411
56 | 2698399.4015 | 1280985.4765
57 | 2698522.6907 | 1281024.0718
58 | 2698522.7092 | 1281023.1249
59 | 2698519.0153 | 1280967.2751
60 | 2698524.5063 | 1280968.1676
61 | 2698520.1155 | 1280950.4453
62 | 2698525.2196 | 1280956.8047
63 | 2698565.0591 | 1280980.6672
64 | 2698495.1338 | 1280953.0628
65 | 2698526.2162 | 1280940.9257
66 | 2698583.4397 | 1280986.3326
67 | 2698583.6316 | 1280986.3918
68 | 2698594.8561 | 1280989.8515
69 | 2698526.4703 | 1280936.8775
70 | 2698527.6172 | 1280918.6066
71 | 2698527.8719 | 1280914.548
72 | 2698535.3869 | 1280873.1545
73 | 2698523.34 | 1280874.8547
74 | 2698523.256 | 1280887.7333
75 | 2698479.82 | 1280841.2888
76 | 2698486.5005 | 1280826.659
77 | 2698471.5741 | 1280859.3465
78 | 2698460.9524 | 1280882.6068
79 | 2698458.5917 | 1280887.7765
80 | 2698445.6028 | 1280910.1933
81 | 2698418.3784 | 1280965.8489
82 | 2698466.4335 | 1280958.845
83 | 2698370.0625 | 1281033.925
84 | 2698435.0472 | 1280950.9585
85 | 2698407.2562 | 1280948.1811
86 | 2698492.5526 | 1280953.9888
87 | 2698356.7518 | 1281057.0221
88 | 2698350.9813 | 1281019.902
89 | 2698384.9578 | 1280958.3402
90 | 2698352.7053 | 1280964.6819
91 | 2698356.283 | 1281058.2051
92 | 2698320.2904 | 1280997.3468
93 | 2698355.2782 | 1281060.7408
94 | 2698305.4016 | 1280986.4048
95 | 2698349.5711 | 1281077.3597
96 | 2698292.5111 | 1280976.1031
97 | 2698286.0941 | 1280994.2685
98 | 2698344.8037 | 1280969.6371
99 | 2698435.7628 | 1280921.583
100 | 2698443.0806 | 1280914.3269
101 | 2698410.4479 | 1281006.23

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1