## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4641-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4641-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4641-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4641-12_0_4_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_4641-12_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_4641-12_0_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_4641-12_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4641-12_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4641-12_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4641-12_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4641-12_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4641-12_0_4_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_4641-12_0_4_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_4641-12_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_4641-12_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4641-12_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4641-12_0_4_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_4641-12_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4641-12_0_4_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_4641-12_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4641-12_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4641-12_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4641-12_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4641-12_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4641-12_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4641-12_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4641-12_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4641-12_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4641-12_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_4641-12_0_4_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_4641-12_0_4_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_4641-12_0_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_4641-12_0_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_4641-12_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4641-12_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4641-12_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4641-12_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4641-12_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_4641-12_0_4_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_4641-12_0_4_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_4641-12_0_4_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_4641-12_0_4_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_4641-12_0_4_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_4641-12_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4641-12_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4641-12_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4641-12_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_4641-12_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_4641-12_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_4641-12_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_4641-12_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4641-12_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_4641-12_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4641-12_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4641-12_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4641-12_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4641-12_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4641-12_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4641-12_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4641-12_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_4641-12_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4641-12_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_4641-12_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_4641-12_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4641-12_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_4641-12_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4641-12_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4641-12_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4641-12_0_4_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_4641-12_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_4641-12_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4641-12_0_4_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_4641-12_0_4_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_4641-12_0_4_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_4641-12_0_4_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_4641-12_0_4_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_4641-12_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_4641-12_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4641-12_0_4_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4641-12_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4641-12_0_4_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_4641-12_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_4641-12_0_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_4641-12_0_4_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_4641-12_0_4_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_4641-12_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4641-12_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4641-12_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4641-12_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_4641-12_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_4641-12_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_MV_442_0_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4641-12_0_4_load_0 | 0 | 0.0045759 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4641-12_0_4_load_1 | 1 | 0.00085802 | 0.00021504 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4641-12_0_4_load_2 | 2 | 0.00083722 | 0.00020983 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4641-12_0_4_load_66 | 5 | 0.003236 | 0.00081103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4641-12_0_4_load_3 | 6 | 0.001144 | 0.00028671 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4641-12_0_4_load_4 | 7 | 0.00059447 | 0.00014899 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4641-12_0_4_load_5 | 8 | 0.0039426 | 0.0009881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4641-12_0_4_load_6 | 9 | 0.0010073 | 0.00025245 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4641-12_0_4_load_7 | 10 | 0.0020573 | 0.0005156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4641-12_0_4_load_63 | 11 | 0.00038355 | 9.6128e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4641-12_0_4_load_72 | 12 | 0.0031217 | 0.00078238 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4641-12_0_4_load_16 | 13 | 0.0035141 | 0.0008807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4641-12_0_4_load_8 | 14 | 0.0026414 | 0.00066201 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4641-12_0_4_load_9 | 15 | 0.0014335 | 0.00035928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4641-12_0_4_load_88 | 16 | 0.002674 | 0.00067017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4641-12_0_4_load_10 | 17 | 0.00046031 | 0.00011536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4641-12_0_4_load_89 | 18 | 0.0017569 | 0.00044031 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4641-12_0_4_load_14 | 19 | 0.0035916 | 0.00090015 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4641-12_0_4_load_12 | 20 | 0.0045849 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4641-12_0_4_load_13 | 21 | 0.0038756 | 0.00097132 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4641-12_0_4_load_15 | 22 | 0.0030139 | 0.00075536 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4641-12_0_4_load_17 | 23 | 0.0042412 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4641-12_0_4_load_18 | 24 | 0.001797 | 0.00045038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4641-12_0_4_load_20 | 26 | 0.00061762 | 0.00015479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4641-12_0_4_load_21 | 27 | 0.0014276 | 0.0003578 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4641-12_0_4_load_22 | 28 | 0.0011429 | 0.00028643 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4641-12_0_4_load_71 | 29 | 0.0010362 | 0.00025971 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4641-12_0_4_load_76 | 30 | 0.0014188 | 0.0003556 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4641-12_0_4_load_77 | 31 | 0.0019035 | 0.00047705 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4641-12_0_4_load_75 | 32 | 0.00086063 | 0.0002157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4641-12_0_4_load_23 | 33 | 0.0028496 | 0.00071417 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4641-12_0_4_load_24 | 34 | 0.0033724 | 0.00084521 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4641-12_0_4_load_26 | 36 | 0.022654 | 0.0056775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4641-12_0_4_load_27 | 37 | 0.0013298 | 0.00033328 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4641-12_0_4_load_85 | 38 | 0.003134 | 0.00078545 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4641-12_0_4_load_86 | 40 | 0.0036296 | 0.00090966 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4641-12_0_4_load_82 | 41 | 0.0035572 | 0.00089151 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4641-12_0_4_load_78 | 42 | 0.00078164 | 0.0001959 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4641-12_0_4_load_28 | 43 | 0.0010305 | 0.00025826 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4641-12_0_4_load_29 | 44 | 0.0012653 | 0.00031711 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4641-12_0_4_load_30 | 45 | 0.0016379 | 0.00041049 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4641-12_0_4_load_31 | 46 | 0.002403 | 0.00060225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4641-12_0_4_load_32 | 47 | 0.00092094 | 0.00023081 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4641-12_0_4_load_43 | 48 | 0.0016925 | 0.00042419 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4641-12_0_4_load_41 | 50 | 0.0012972 | 0.00032512 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4641-12_0_4_load_70 | 51 | 0.0010313 | 0.00025848 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4641-12_0_4_load_33 | 52 | 0.0006729 | 0.00016865 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4641-12_0_4_load_34 | 53 | 0.0019495 | 0.00048858 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4641-12_0_4_load_37 | 56 | 0.0021607 | 0.00054152 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4641-12_0_4_load_50 | 58 | 0.002234 | 0.0005599 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4641-12_0_4_load_57 | 59 | 0.0031047 | 0.00077811 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4641-12_0_4_load_54 | 60 | 0.0037339 | 0.0009358 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4641-12_0_4_load_49 | 62 | 0.0035501 | 0.00088974 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4641-12_0_4_load_52 | 63 | 0.0033386 | 0.00083672 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4641-12_0_4_load_61 | 64 | 0.0018877 | 0.00047309 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4641-12_0_4_load_65 | 65 | 0.0011581 | 0.00029026 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4641-12_0_4_load_39 | 66 | 0.0014013 | 0.0003512 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4641-12_0_4_load_40 | 67 | 0.00070134 | 0.00017577 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4641-12_0_4_load_42 | 68 | 0.0029865 | 0.00074849 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4641-12_0_4_load_55 | 69 | 0.010447 | 0.0026182 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4641-12_0_4_load_44 | 71 | 0.0020381 | 0.00051079 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4641-12_0_4_load_45 | 72 | 0.0018622 | 0.00046671 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4641-12_0_4_load_46 | 73 | 0.0020404 | 0.00051136 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4641-12_0_4_load_47 | 74 | 0.0046483 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4641-12_0_4_load_48 | 75 | 0.0017531 | 0.00043937 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4641-12_0_4_load_51 | 76 | 0.0032577 | 0.00081645 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4641-12_0_4_load_56 | 77 | 0.0052034 | 0.0013041 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4641-12_0_4_load_58 | 78 | 0.0021203 | 0.0005314 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4641-12_0_4_load_59 | 79 | 0.007267 | 0.0018213 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4641-12_0_4_load_60 | 80 | 0.0011191 | 0.00028047 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4641-12_0_4_load_62 | 81 | 0.00086295 | 0.00021627 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4641-12_0_4_load_91 | 82 | 0.0012583 | 0.00031535 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4641-12_0_4_load_90 | 83 | 0.0025846 | 0.00064776 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4641-12_0_4_load_64 | 84 | 0.0031049 | 0.00077817 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4641-12_0_4_load_79 | 85 | 0.0029265 | 0.00073346 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4641-12_0_4_load_81 | 86 | 0.0026456 | 0.00066304 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4641-12_0_4_load_84 | 87 | 0.00099939 | 0.00025047 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4641-12_0_4_load_83 | 88 | 0.0029273 | 0.00073366 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4641-12_0_4_load_92 | 89 | 0.0020947 | 0.00052497 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4641-12_0_4_load_87 | 90 | 0.011529 | 0.0028894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4641-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.049154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4641-12_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4641-12_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.012842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4641-12_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.009472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4641-12_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4641-12_0_4_line_5 | NAYY 4x150 SE | 4 | 13 | 0.015803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4641-12_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.02333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4641-12_0_4_line_7 | NAYY 4x150 SE | 5 | 84 | 0.025759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4641-12_0_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.013279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4641-12_0_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.0044445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4641-12_0_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.01167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4641-12_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.010759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4641-12_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.010313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4641-12_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0043984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4641-12_0_4_line_14 | NAYY 4x150 SE | 12 | 31 | 0.010807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4641-12_0_4_line_15 | NAYY 4x150 SE | 13 | 19 | 0.00045268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4641-12_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.034556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4641-12_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.17929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4641-12_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.039911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4641-12_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.089525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4641-12_0_4_line_20 | NAYY 4x150 SE | 18 | 83 | 0.011993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4641-12_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.015663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4641-12_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.012361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4641-12_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.019561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4641-12_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4641-12_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.017913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4641-12_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0099956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4641-12_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0062622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4641-12_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.023739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4641-12_0_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.0039102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4641-12_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0059827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4641-12_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0069549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4641-12_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.041825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4641-12_0_4_line_33 | NAYY 4x150 SE | 32 | 51 | 0.0017393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4641-12_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0019636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4641-12_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.037584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4641-12_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.013145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4641-12_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0096595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4641-12_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0028944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4641-12_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.023185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4641-12_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.004053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4641-12_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.028593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4641-12_0_4_line_42 | NAYY 4x150 SE | 39 | 42 | 0.017497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4641-12_0_4_line_43 | NAYY 4x150 SE | 40 | 90 | 0.015301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4641-12_0_4_line_44 | NAYY 4x150 SE | 41 | 56 | 0.0088717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4641-12_0_4_line_45 | NAYY 4x150 SE | 42 | 85 | 0.026867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4641-12_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0012972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4641-12_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.013998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4641-12_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0020822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4641-12_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.019448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4641-12_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.021927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4641-12_0_4_line_51 | NAYY 4x150 SE | 47 | 49 | 0.023101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4641-12_0_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0054901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4641-12_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.038986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4641-12_0_4_line_54 | NAYY 4x150 SE | 50 | 66 | 0.0010067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4641-12_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.020205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4641-12_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.018427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4641-12_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.014443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4641-12_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.028828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4641-12_0_4_line_59 | NAYY 4x150 SE | 54 | 57 | 0.02619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4641-12_0_4_line_60 | NAYY 4x150 SE | 55 | 58 | 0.015117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4641-12_0_4_line_61 | NAYY 4x150 SE | 55 | 59 | 0.029732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4641-12_0_4_line_62 | NAYY 4x150 SE | 57 | 60 | 0.028714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4641-12_0_4_line_63 | NAYY 4x150 SE | 57 | 61 | 0.001606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_4641-12_0_4_line_64 | NAYY 4x150 SE | 58 | 62 | 0.0014187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4641-12_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.023254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4641-12_0_4_line_66 | NAYY 4x150 SE | 61 | 64 | 0.029793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4641-12_0_4_line_67 | NAYY 4x150 SE | 61 | 65 | 0.020834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4641-12_0_4_line_68 | NAYY 4x150 SE | 62 | 75 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4641-12_0_4_line_69 | NAYY 4x150 SE | 63 | 76 | 0.02201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4641-12_0_4_line_70 | NAYY 4x150 SE | 64 | 79 | 0.0048573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4641-12_0_4_line_71 | NAYY 4x150 SE | 65 | 84 | 0.020051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4641-12_0_4_line_72 | NAYY 4x150 SE | 66 | 67 | 0.0098824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4641-12_0_4_line_73 | NAYY 4x150 SE | 68 | 69 | 0.028036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4641-12_0_4_line_74 | NAYY 4x150 SE | 69 | 70 | 0.029051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4641-12_0_4_line_75 | NAYY 4x150 SE | 70 | 77 | 0.027393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4641-12_0_4_line_76 | NAYY 4x150 SE | 70 | 76 | 0.02828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4641-12_0_4_line_77 | NAYY 4x150 SE | 71 | 72 | 0.021933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4641-12_0_4_line_78 | NAYY 4x150 SE | 71 | 73 | 0.0219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4641-12_0_4_line_79 | NAYY 4x150 SE | 72 | 74 | 0.021519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4641-12_0_4_line_80 | NAYY 4x150 SE | 73 | 75 | 0.020865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4641-12_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.021908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4641-12_0_4_line_82 | NAYY 4x150 SE | 78 | 80 | 0.020165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4641-12_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.016333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4641-12_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.0051128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4641-12_0_4_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0068042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4641-12_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.00071289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4641-12_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.049228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4641-12_0_4_line_88 | NAYY 4x150 SE | 87 | 89 | 0.022751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4641-12_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.031484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4641-12_0_4_trafo_67 | 0.25 MVA 20/0.4 kV | 91 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2736510.6797 | 1275184.9867 | 2736521.5908 | 1275195.53 | 2736503.1213 | 1275215.6116 | 2736498.3162 | 1275210.9463
1 | 2736480.5451 | 1275193.692 | 2736498.3162 | 1275210.9463
2 | 2736471.3311 | 1275184.7459 | 2736480.5451 | 1275193.692
3 | 2736465.1703 | 1275191.9551 | 2736471.3311 | 1275184.7459
4 | 2736471.3311 | 1275184.7459 | 2736487.5978 | 1275166.8008
5 | 2736465.1703 | 1275191.9551 | 2736453.918 | 1275180.8593
6 | 2736465.1703 | 1275191.9551 | 2736449.532 | 1275209.2674
7 | 2736504.8977 | 1275147.716 | 2736487.5978 | 1275166.8008
8 | 2736439.3411 | 1275220.5492 | 2736430.4398 | 1275230.4033
9 | 2736439.3411 | 1275220.5492 | 2736442.3203 | 1275217.2511
10 | 2736430.4398 | 1275230.4033 | 2736422.6174 | 1275239.0631
11 | 2736442.3203 | 1275217.2511 | 2736449.532 | 1275209.2674
12 | 2736422.6174 | 1275239.0631 | 2736415.7045 | 1275246.7161
13 | 2736415.7045 | 1275246.7161 | 2736412.7561 | 1275249.98
14 | 2736405.5121 | 1275257.9995 | 2736412.7561 | 1275249.98
15 | 2736453.5957 | 1275180.5415 | 2736453.918 | 1275180.8593
16 | 2736583.5756 | 1275491.7304 | 2736607.7949 | 1275467.0823
17 | 2736642.9271 | 1275291.2648 | 2736607.7949 | 1275467.0823
18 | 2736583.5756 | 1275491.7304 | 2736555.6029 | 1275520.1982
19 | 2736596.2233 | 1275214.8871 | 2736642.9271 | 1275291.2648
20 | 2736589.9767 | 1275204.6498 | 2736596.2233 | 1275214.8871
21 | 2736453.5957 | 1275180.5415 | 2736443.9643 | 1275171.0441 | 2736442.7839 | 1275169.4041 | 2736442.7735 | 1275169.2886
22 | 2736449.0183 | 1275159.2086 | 2736443.4043 | 1275165.6703 | 2736442.6044 | 1275167.4091 | 2736442.7735 | 1275169.2886
23 | 2736461.8476 | 1275144.4424 | 2736449.0183 | 1275159.2086
24 | 2736391.5289 | 1275273.4797 | 2736381.1693 | 1275284.9482
25 | 2736369.1617 | 1275298.2412 | 2736381.1693 | 1275284.9482
26 | 2736391.5289 | 1275273.4797 | 2736398.2291 | 1275266.0622
27 | 2736369.1617 | 1275298.2412 | 2736364.9165 | 1275302.8448
28 | 2736369.1617 | 1275298.2412 | 2736352.211 | 1275288.1284 | 2736349.1326 | 1275285.5732
29 | 2736398.2291 | 1275266.0622 | 2736400.8502 | 1275263.1605
30 | 2736344.5292 | 1275281.7521 | 2736349.1326 | 1275285.5732
31 | 2736405.5121 | 1275257.9995 | 2736400.8502 | 1275263.1605
32 | 2736323.258 | 1275246.0011 | 2736341.7771 | 1275279.4677 | 2736344.5292 | 1275281.7521
33 | 2736323.258 | 1275246.0011 | 2736322.4158 | 1275244.4793
34 | 2736648.2772 | 1275058.4673 | 2736647.0016 | 1275056.9745
35 | 2736622.5859 | 1275028.4015 | 2736647.0016 | 1275056.9745
36 | 2736622.5859 | 1275028.4015 | 2736632.4418 | 1275019.7035
37 | 2736622.5859 | 1275028.4015 | 2736615.3809 | 1275034.8354
38 | 2736634.612 | 1275017.7883 | 2736632.4418 | 1275019.7035
39 | 2736598.0872 | 1275050.2784 | 2736599.9688 | 1275048.5981 | 2736615.3809 | 1275034.8354
40 | 2736634.612 | 1275017.7883 | 2736637.6508 | 1275015.1064
41 | 2736598.0872 | 1275050.2784 | 2736580.2089 | 1275066.236 | 2736576.922 | 1275069.4947
42 | 2736598.0872 | 1275050.2784 | 2736586.6079 | 1275037.0741
43 | 2736649.1233 | 1275004.9817 | 2736637.6508 | 1275015.1064
44 | 2736570.6217 | 1275075.7408 | 2736576.922 | 1275069.4947
45 | 2736586.6079 | 1275037.0741 | 2736568.9809 | 1275016.7984
46 | 2736340.5989 | 1275172.2436 | 2736339.6856 | 1275173.1649
47 | 2736329.8304 | 1275183.1061 | 2736339.6856 | 1275173.1649
48 | 2736340.5989 | 1275172.2436 | 2736342.0648 | 1275170.7649
49 | 2736316.1384 | 1275196.9176 | 2736329.8304 | 1275183.1061
50 | 2736342.0648 | 1275170.7649 | 2736357.5021 | 1275155.193
51 | 2736299.8745 | 1275213.3234 | 2736316.1384 | 1275196.9176
52 | 2736361.3673 | 1275151.294 | 2736357.5021 | 1275155.193
53 | 2736299.8745 | 1275213.3234 | 2736307.0149 | 1275218.7159 | 2736314.0344 | 1275229.3329 | 2736322.4158 | 1275244.4793
54 | 2736361.3673 | 1275151.294 | 2736362.076 | 1275150.5791
55 | 2736584.3239 | 1275110.254 | 2736570.4138 | 1275110.1973 | 2736565.2542 | 1275106.5917
56 | 2736550.1497 | 1275096.0367 | 2736565.2542 | 1275106.5917
57 | 2736598.6101 | 1275111.7958 | 2736591.395 | 1275110.2829 | 2736584.3239 | 1275110.254
58 | 2736550.1497 | 1275096.0367 | 2736570.6217 | 1275075.7408
59 | 2736550.1497 | 1275096.0367 | 2736533.2671 | 1275116.0993
60 | 2736598.6101 | 1275111.7958 | 2736602.2328 | 1275112.547 | 2736611.8321 | 1275118.7278
61 | 2736598.6101 | 1275111.7958 | 2736601.5945 | 1275104.7134 | 2736609.0904 | 1275098.6476 | 2736620.3923 | 1275093.5374 | 2736620.3923 | 1275093.5374
62 | 2736533.2671 | 1275116.0993 | 2736519.6309 | 1275109.9667 | 2736507.0399 | 1275104.4114
63 | 2736532.3565 | 1275117.424 | 2736533.2671 | 1275116.0993
64 | 2736613.0249 | 1275119.4959 | 2736611.8321 | 1275118.7278
65 | 2736485.7645 | 1275095.0243 | 2736507.0399 | 1275104.4114
66 | 2736532.3565 | 1275117.424 | 2736542.7629 | 1275127.2745 | 2736550.8174 | 1275140.4745
67 | 2736532.3565 | 1275117.424 | 2736518.3641 | 1275132.8602
68 | 2736613.0249 | 1275119.4959 | 2736619.7211 | 1275123.8074 | 2736627.5984 | 1275128.5405
69 | 2736466.7863 | 1275083.8761 | 2736485.7645 | 1275095.0243 | 2736485.7645 | 1275095.0243
70 | 2736550.8174 | 1275140.4745 | 2736553.3475 | 1275144.6209
71 | 2736504.8977 | 1275147.716 | 2736518.3641 | 1275132.8602
72 | 2736369.0335 | 1275143.5609 | 2736362.076 | 1275150.5791
73 | 2736402.2115 | 1275110.0934 | 2736421.9495 | 1275090.1831
74 | 2736442.4019 | 1275069.5521 | 2736421.9495 | 1275090.1831
75 | 2736442.4019 | 1275069.5521 | 2736453.7288 | 1275050.3617 | 2736457.5028 | 1275046.9176
76 | 2736442.4019 | 1275069.5521 | 2736466.7863 | 1275083.8761
77 | 2736665.9043 | 1275124.5591 | 2736684.156 | 1275112.3968
78 | 2736665.9043 | 1275124.5591 | 2736656.6841 | 1275130.7032 | 2736646.8907 | 1275135.3032 | 2736646.8907 | 1275135.3032
79 | 2736684.156 | 1275112.3968 | 2736691.1046 | 1275107.7664 | 2736700.7339 | 1275098.7831
80 | 2736646.8907 | 1275135.3032 | 2736636.4328 | 1275133.8486 | 2736627.5984 | 1275128.5405
81 | 2736564.7587 | 1275163.3219 | 2736553.3475 | 1275144.6209
82 | 2736564.7587 | 1275163.3219 | 2736575.2621 | 1275180.5352
83 | 2736583.7694 | 1275194.4771 | 2736575.2621 | 1275180.5352
84 | 2736583.7694 | 1275194.4771 | 2736586.4325 | 1275198.8416
85 | 2736589.9767 | 1275204.6498 | 2736586.4325 | 1275198.8416
86 | 2736568.5131 | 1275016.2604 | 2736568.9809 | 1275016.7984
87 | 2736568.5131 | 1275016.2604 | 2736544.4987 | 1274973.2867
88 | 2736544.4987 | 1274973.2867 | 2736554.8527 | 1274963.4255 | 2736560.8661 | 1274957.4854
89 | 2736544.4987 | 1274973.2867 | 2736541.2402 | 1274976.3901 | 2736519.3274 | 1274992.1366

## bus_geodata
| x | y | coords
0 | 2736510.6797 | 1275184.9867
1 | 2736498.3162 | 1275210.9463
2 | 2736480.5451 | 1275193.692
3 | 2736471.3311 | 1275184.7459
4 | 2736465.1703 | 1275191.9551
5 | 2736487.5978 | 1275166.8008
6 | 2736439.3411 | 1275220.5492
7 | 2736430.4398 | 1275230.4033
8 | 2736442.3203 | 1275217.2511
9 | 2736422.6174 | 1275239.0631
10 | 2736449.532 | 1275209.2674
11 | 2736415.7045 | 1275246.7161
12 | 2736412.7561 | 1275249.98
13 | 2736453.918 | 1275180.8593
14 | 2736607.7949 | 1275467.0823
15 | 2736583.5756 | 1275491.7304
16 | 2736642.9271 | 1275291.2648
17 | 2736555.6029 | 1275520.1982
18 | 2736596.2233 | 1275214.8871
19 | 2736453.5957 | 1275180.5415
20 | 2736442.7735 | 1275169.2886
21 | 2736449.0183 | 1275159.2086
22 | 2736461.8476 | 1275144.4424
23 | 2736381.1693 | 1275284.9482
24 | 2736391.5289 | 1275273.4797
25 | 2736369.1617 | 1275298.2412
26 | 2736398.2291 | 1275266.0622
27 | 2736364.9165 | 1275302.8448
28 | 2736349.1326 | 1275285.5732
29 | 2736400.8502 | 1275263.1605
30 | 2736344.5292 | 1275281.7521
31 | 2736405.5121 | 1275257.9995
32 | 2736323.258 | 1275246.0011
33 | 2736647.0016 | 1275056.9745
34 | 2736648.2772 | 1275058.4673
35 | 2736622.5859 | 1275028.4015
36 | 2736632.4418 | 1275019.7035
37 | 2736615.3809 | 1275034.8354
38 | 2736634.612 | 1275017.7883
39 | 2736598.0872 | 1275050.2784
40 | 2736637.6508 | 1275015.1064
41 | 2736576.922 | 1275069.4947
42 | 2736586.6079 | 1275037.0741
43 | 2736339.6856 | 1275173.1649
44 | 2736340.5989 | 1275172.2436
45 | 2736329.8304 | 1275183.1061
46 | 2736342.0648 | 1275170.7649
47 | 2736316.1384 | 1275196.9176
48 | 2736357.5021 | 1275155.193
49 | 2736299.8745 | 1275213.3234
50 | 2736361.3673 | 1275151.294
51 | 2736322.4158 | 1275244.4793
52 | 2736565.2542 | 1275106.5917
53 | 2736584.3239 | 1275110.254
54 | 2736550.1497 | 1275096.0367
55 | 2736598.6101 | 1275111.7958
56 | 2736570.6217 | 1275075.7408
57 | 2736533.2671 | 1275116.0993
58 | 2736611.8321 | 1275118.7278
59 | 2736620.3923 | 1275093.5374
60 | 2736507.0399 | 1275104.4114
61 | 2736532.3565 | 1275117.424
62 | 2736613.0249 | 1275119.4959
63 | 2736485.7645 | 1275095.0243
64 | 2736550.8174 | 1275140.4745
65 | 2736518.3641 | 1275132.8602
66 | 2736362.076 | 1275150.5791
67 | 2736369.0335 | 1275143.5609
68 | 2736402.2115 | 1275110.0934
69 | 2736421.9495 | 1275090.1831
70 | 2736442.4019 | 1275069.5521
71 | 2736665.9043 | 1275124.5591
72 | 2736684.156 | 1275112.3968
73 | 2736646.8907 | 1275135.3032
74 | 2736700.7339 | 1275098.7831
75 | 2736627.5984 | 1275128.5405
76 | 2736466.7863 | 1275083.8761
77 | 2736457.5028 | 1275046.9176
78 | 2736564.7587 | 1275163.3219
79 | 2736553.3475 | 1275144.6209
80 | 2736575.2621 | 1275180.5352
81 | 2736583.7694 | 1275194.4771
82 | 2736586.4325 | 1275198.8416
83 | 2736589.9767 | 1275204.6498
84 | 2736504.8977 | 1275147.716
85 | 2736568.9809 | 1275016.7984
86 | 2736568.5131 | 1275016.2604
87 | 2736544.4987 | 1274973.2867
88 | 2736519.3274 | 1274992.1366
89 | 2736560.8661 | 1274957.4854
90 | 2736649.1233 | 1275004.9817
91 | 2736533.2671 | 1275116.0993

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1