## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4646-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4646-7_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4646-7_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4646-7_0_2_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_4646-7_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4646-7_0_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_4646-7_0_2_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_4646-7_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4646-7_0_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_4646-7_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4646-7_0_2_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_4646-7_0_2_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_4646-7_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4646-7_0_2_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_4646-7_0_2_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_4646-7_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4646-7_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4646-7_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4646-7_0_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_4646-7_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4646-7_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4646-7_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4646-7_0_2_node_103 | 0.4 | n |  | TRUE
23 | bus_LV_4646-7_0_2_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_4646-7_0_2_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_4646-7_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4646-7_0_2_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_4646-7_0_2_node_107 | 0.4 | n |  | TRUE
28 | bus_LV_4646-7_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4646-7_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4646-7_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4646-7_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4646-7_0_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_4646-7_0_2_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_4646-7_0_2_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_4646-7_0_2_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_4646-7_0_2_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_4646-7_0_2_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_4646-7_0_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_4646-7_0_2_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_4646-7_0_2_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4646-7_0_2_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_4646-7_0_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_4646-7_0_2_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_4646-7_0_2_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_4646-7_0_2_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_4646-7_0_2_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_4646-7_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4646-7_0_2_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4646-7_0_2_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_4646-7_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4646-7_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4646-7_0_2_node_19 | 0.4 | n |  | TRUE
53 | bus_LV_4646-7_0_2_node_20 | 0.4 | n |  | TRUE
54 | bus_LV_4646-7_0_2_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_4646-7_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4646-7_0_2_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4646-7_0_2_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_4646-7_0_2_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_4646-7_0_2_node_27 | 0.4 | n |  | TRUE
60 | bus_LV_4646-7_0_2_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_4646-7_0_2_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_4646-7_0_2_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_4646-7_0_2_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_4646-7_0_2_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_4646-7_0_2_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_4646-7_0_2_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_4646-7_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_4646-7_0_2_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_4646-7_0_2_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4646-7_0_2_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4646-7_0_2_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_4646-7_0_2_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_4646-7_0_2_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4646-7_0_2_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4646-7_0_2_node_38 | 0.4 | n |  | TRUE
76 | bus_LV_4646-7_0_2_node_40 | 0.4 | n |  | TRUE
77 | bus_LV_4646-7_0_2_node_39 | 0.4 | n |  | TRUE
78 | bus_LV_4646-7_0_2_node_41 | 0.4 | n |  | TRUE
79 | bus_LV_4646-7_0_2_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_4646-7_0_2_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4646-7_0_2_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_4646-7_0_2_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_4646-7_0_2_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_4646-7_0_2_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_4646-7_0_2_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4646-7_0_2_node_56 | 0.4 | n |  | TRUE
87 | bus_LV_4646-7_0_2_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_4646-7_0_2_node_52 | 0.4 | n |  | TRUE
89 | bus_LV_4646-7_0_2_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_4646-7_0_2_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_4646-7_0_2_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_4646-7_0_2_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_4646-7_0_2_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4646-7_0_2_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_4646-7_0_2_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_4646-7_0_2_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_4646-7_0_2_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4646-7_0_2_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_4646-7_0_2_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4646-7_0_2_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_4646-7_0_2_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_4646-7_0_2_node_99 | 0.4 | n |  | TRUE
103 | bus_MV_441_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4646-7_0_2_load_0 | 0 | 0.0065126 | 0.0016322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4646-7_0_2_load_58 | 3 | 0.0013363 | 0.0003349 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4646-7_0_2_load_60 | 6 | 0.0066016 | 0.0016545 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4646-7_0_2_load_102 | 10 | 0.0025221 | 0.00063211 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4646-7_0_2_load_101 | 11 | 0.0020877 | 0.00052322 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4646-7_0_2_load_71 | 13 | 0.0030084 | 0.00075397 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4646-7_0_2_load_70 | 14 | 0.0043462 | 0.0010893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4646-7_0_2_load_43 | 18 | 0.002739 | 0.00068646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4646-7_0_2_load_103 | 22 | 0.0065091 | 0.0016313 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4646-7_0_2_load_88 | 23 | 0.012443 | 0.0031184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4646-7_0_2_load_83 | 24 | 0.0022271 | 0.00055816 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4646-7_0_2_load_86 | 26 | 0.0017467 | 0.00043776 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4646-7_0_2_load_107 | 27 | 0.0026907 | 0.00067434 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4646-7_0_2_load_24 | 30 | 0.0021769 | 0.00054559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4646-7_0_2_load_21 | 31 | 0.0026826 | 0.00067231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4646-7_0_2_load_64 | 33 | 0.003581 | 0.00089749 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4646-7_0_2_load_76 | 34 | 0.0071351 | 0.0017882 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4646-7_0_2_load_79 | 35 | 0.0011493 | 0.00028803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4646-7_0_2_load_97 | 37 | 0.0026159 | 0.00065561 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4646-7_0_2_load_44 | 38 | 0.0059413 | 0.001489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4646-7_0_2_load_87 | 39 | 0.0013159 | 0.00032978 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4646-7_0_2_load_106 | 43 | 0.0030653 | 0.00076822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4646-7_0_2_load_105 | 44 | 0.005927 | 0.0014854 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4646-7_0_2_load_90 | 45 | 0.0014079 | 0.00035284 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4646-7_0_2_load_82 | 46 | 0.001267 | 0.00031754 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4646-7_0_2_load_59 | 48 | 0.0062374 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4646-7_0_2_load_57 | 49 | 0.0020013 | 0.00050157 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4646-7_0_2_load_51 | 50 | 0.0034647 | 0.00086833 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4646-7_0_2_load_50 | 51 | 0.0010063 | 0.0002522 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4646-7_0_2_load_19 | 52 | 0.0021921 | 0.00054938 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4646-7_0_2_load_20 | 53 | 0.002531 | 0.00063433 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4646-7_0_2_load_22 | 54 | 0.0014859 | 0.0003724 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4646-7_0_2_load_49 | 55 | 0.001618 | 0.00040552 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4646-7_0_2_load_37 | 56 | 0.0047577 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4646-7_0_2_load_33 | 57 | 0.004409 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4646-7_0_2_load_78 | 58 | 0.0010455 | 0.00026203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4646-7_0_2_load_27 | 59 | 0.00090725 | 0.00022738 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4646-7_0_2_load_28 | 60 | 0.00052477 | 0.00013152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4646-7_0_2_load_30 | 62 | 0.00088188 | 0.00022102 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4646-7_0_2_load_32 | 64 | 0.0023168 | 0.00058064 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4646-7_0_2_load_92 | 65 | 0.00054633 | 0.00013692 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4646-7_0_2_load_69 | 67 | 0.0019933 | 0.00049957 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4646-7_0_2_load_93 | 68 | 0.0009845 | 0.00024674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4646-7_0_2_load_42 | 69 | 0.0031309 | 0.00078467 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4646-7_0_2_load_53 | 70 | 0.0015453 | 0.00038729 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4646-7_0_2_load_34 | 71 | 0.0063212 | 0.0015842 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4646-7_0_2_load_36 | 72 | 0.00099248 | 0.00024874 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4646-7_0_2_load_68 | 73 | 0.0059014 | 0.001479 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4646-7_0_2_load_67 | 74 | 0.0031145 | 0.00078057 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4646-7_0_2_load_38 | 75 | 0.0032767 | 0.00082122 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4646-7_0_2_load_40 | 76 | 0.0060721 | 0.0015218 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4646-7_0_2_load_39 | 77 | 0.0040621 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4646-7_0_2_load_66 | 80 | 0.0041052 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4646-7_0_2_load_47 | 82 | 0.0039362 | 0.00098652 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4646-7_0_2_load_62 | 85 | 0.0033007 | 0.00082724 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4646-7_0_2_load_56 | 86 | 0.0031118 | 0.00077989 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4646-7_0_2_load_63 | 87 | 0.0015692 | 0.00039328 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4646-7_0_2_load_52 | 88 | 0.00085946 | 0.0002154 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4646-7_0_2_load_54 | 89 | 0.0021356 | 0.00053523 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4646-7_0_2_load_55 | 90 | 0.0050305 | 0.0012608 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4646-7_0_2_load_77 | 91 | 0.0022739 | 0.0005699 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4646-7_0_2_load_89 | 93 | 0.0007712 | 0.00019328 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4646-7_0_2_load_81 | 94 | 0.0021588 | 0.00054104 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4646-7_0_2_load_84 | 95 | 0.0016043 | 0.00040207 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4646-7_0_2_load_91 | 97 | 0.0029857 | 0.00074829 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4646-7_0_2_load_104 | 98 | 0.0031619 | 0.00079245 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4646-7_0_2_load_96 | 99 | 0.00044755 | 0.00011217 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4646-7_0_2_load_95 | 100 | 0.00073222 | 0.00018351 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4646-7_0_2_load_94 | 101 | 0.00053475 | 0.00013402 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4646-7_0_2_load_99 | 102 | 0.0040342 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4646-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4646-7_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4646-7_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4646-7_0_2_line_3 | NAYY 4x150 SE | 3 | 7 | 0.013844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4646-7_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.004369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4646-7_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0050007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4646-7_0_2_line_6 | NAYY 4x150 SE | 5 | 31 | 0.00095651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4646-7_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.010307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4646-7_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.013391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4646-7_0_2_line_9 | NAYY 4x150 SE | 8 | 35 | 0.022566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4646-7_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.022229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4646-7_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.02262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4646-7_0_2_line_12 | NAYY 4x150 SE | 11 | 36 | 0.052934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4646-7_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.050535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4646-7_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.01029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4646-7_0_2_line_15 | NAYY 4x150 SE | 13 | 37 | 0.040104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4646-7_0_2_line_16 | NAYY 4x150 SE | 14 | 25 | 0.022115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4646-7_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.011604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4646-7_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.004177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4646-7_0_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.010892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4646-7_0_2_line_20 | NAYY 4x150 SE | 16 | 27 | 0.012621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4646-7_0_2_line_21 | NAYY 4x150 SE | 16 | 20 | 0.041558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4646-7_0_2_line_22 | NAYY 4x150 SE | 17 | 24 | 0.0028414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4646-7_0_2_line_23 | NAYY 4x150 SE | 18 | 38 | 0.01948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4646-7_0_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4646-7_0_2_line_25 | NAYY 4x150 SE | 19 | 21 | 0.065946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4646-7_0_2_line_26 | NAYY 4x150 SE | 19 | 22 | 0.032831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4646-7_0_2_line_27 | NAYY 4x150 SE | 20 | 23 | 0.021489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4646-7_0_2_line_28 | NAYY 4x150 SE | 21 | 25 | 0.005773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4646-7_0_2_line_29 | NAYY 4x150 SE | 21 | 26 | 0.033662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4646-7_0_2_line_30 | NAYY 4x150 SE | 26 | 39 | 0.01934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4646-7_0_2_line_31 | NAYY 4x150 SE | 27 | 46 | 0.0063436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4646-7_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.010112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4646-7_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.012319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4646-7_0_2_line_34 | NAYY 4x150 SE | 29 | 47 | 0.020366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4646-7_0_2_line_35 | NAYY 4x150 SE | 29 | 48 | 0.015553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4646-7_0_2_line_36 | NAYY 4x150 SE | 31 | 52 | 0.014491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4646-7_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.036244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4646-7_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.016983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4646-7_0_2_line_39 | NAYY 4x150 SE | 33 | 87 | 0.010663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4646-7_0_2_line_40 | NAYY 4x150 SE | 34 | 91 | 0.039826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4646-7_0_2_line_41 | NAYY 4x150 SE | 35 | 58 | 0.0053978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4646-7_0_2_line_42 | NAYY 4x150 SE | 36 | 92 | 0.017212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4646-7_0_2_line_43 | NAYY 4x150 SE | 37 | 92 | 0.034451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4646-7_0_2_line_44 | NAYY 4x150 SE | 38 | 81 | 0.018022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4646-7_0_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.031965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4646-7_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.004668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4646-7_0_2_line_47 | NAYY 4x150 SE | 41 | 45 | 0.0086319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4646-7_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.034269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4646-7_0_2_line_49 | NAYY 4x150 SE | 42 | 43 | 0.032177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4646-7_0_2_line_50 | NAYY 4x150 SE | 42 | 44 | 0.03503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4646-7_0_2_line_51 | NAYY 4x150 SE | 45 | 93 | 0.015911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4646-7_0_2_line_52 | NAYY 4x150 SE | 46 | 66 | 0.029527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4646-7_0_2_line_53 | NAYY 4x150 SE | 47 | 56 | 0.011669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4646-7_0_2_line_54 | NAYY 4x150 SE | 47 | 57 | 0.015078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4646-7_0_2_line_55 | NAYY 4x150 SE | 48 | 49 | 0.010246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4646-7_0_2_line_56 | NAYY 4x150 SE | 50 | 51 | 0.052731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4646-7_0_2_line_57 | NAYY 4x150 SE | 51 | 88 | 0.02631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4646-7_0_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.0074914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4646-7_0_2_line_59 | NAYY 4x150 SE | 53 | 54 | 0.018864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4646-7_0_2_line_60 | NAYY 4x150 SE | 54 | 55 | 0.00067895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4646-7_0_2_line_61 | NAYY 4x150 SE | 56 | 58 | 0.015245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4646-7_0_2_line_62 | NAYY 4x150 SE | 57 | 71 | 0.0036827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4646-7_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.040084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4646-7_0_2_line_64 | NAYY 4x150 SE | 59 | 61 | 0.031241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4646-7_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0043349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4646-7_0_2_line_66 | NAYY 4x150 SE | 61 | 63 | 0.016769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4646-7_0_2_line_67 | NAYY 4x150 SE | 61 | 64 | 0.013524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4646-7_0_2_line_68 | NAYY 4x150 SE | 62 | 65 | 0.027291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4646-7_0_2_line_69 | NAYY 4x150 SE | 63 | 66 | 0.046366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4646-7_0_2_line_70 | NAYY 4x150 SE | 63 | 67 | 0.02183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4646-7_0_2_line_71 | NAYY 4x150 SE | 65 | 68 | 0.00015904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4646-7_0_2_line_72 | NAYY 4x150 SE | 66 | 69 | 0.028888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4646-7_0_2_line_73 | NAYY 4x150 SE | 67 | 70 | 0.033644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4646-7_0_2_line_74 | NAYY 4x150 SE | 68 | 99 | 0.02399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4646-7_0_2_line_75 | NAYY 4x150 SE | 69 | 76 | 0.027755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4646-7_0_2_line_76 | NAYY 4x150 SE | 70 | 88 | 0.028673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4646-7_0_2_line_77 | NAYY 4x150 SE | 71 | 72 | 0.013303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4646-7_0_2_line_78 | NAYY 4x150 SE | 72 | 73 | 0.00056861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4646-7_0_2_line_79 | NAYY 4x150 SE | 73 | 74 | 0.010251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4646-7_0_2_line_80 | NAYY 4x150 SE | 74 | 80 | 0.026546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4646-7_0_2_line_81 | NAYY 4x150 SE | 75 | 76 | 0.01605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4646-7_0_2_line_82 | NAYY 4x150 SE | 77 | 78 | 0.012006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4646-7_0_2_line_83 | NAYY 4x150 SE | 78 | 79 | 0.018817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4646-7_0_2_line_84 | NAYY 4x150 SE | 78 | 80 | 0.015276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4646-7_0_2_line_85 | NAYY 4x150 SE | 79 | 81 | 0.008504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4646-7_0_2_line_86 | NAYY 4x150 SE | 81 | 82 | 0.023271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4646-7_0_2_line_87 | NAYY 4x150 SE | 81 | 83 | 0.003883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4646-7_0_2_line_88 | NAYY 4x150 SE | 83 | 84 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4646-7_0_2_line_89 | NAYY 4x150 SE | 83 | 85 | 0.0063601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4646-7_0_2_line_90 | NAYY 4x150 SE | 84 | 86 | 0.016009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4646-7_0_2_line_91 | NAYY 4x150 SE | 85 | 87 | 0.012015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4646-7_0_2_line_92 | NAYY 4x150 SE | 86 | 90 | 0.00023344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4646-7_0_2_line_93 | NAYY 4x150 SE | 89 | 90 | 0.011036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4646-7_0_2_line_94 | NAYY 4x150 SE | 92 | 102 | 0.06852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4646-7_0_2_line_95 | NAYY 4x150 SE | 93 | 96 | 0.019736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4646-7_0_2_line_96 | NAYY 4x150 SE | 94 | 95 | 0.041058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4646-7_0_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.014787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4646-7_0_2_line_98 | NAYY 4x150 SE | 96 | 97 | 0.0068576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4646-7_0_2_line_99 | NAYY 4x150 SE | 97 | 98 | 0.043235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4646-7_0_2_line_100 | NAYY 4x150 SE | 99 | 100 | 0.014379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4646-7_0_2_line_101 | NAYY 4x150 SE | 100 | 101 | 0.0055594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4646-7_0_2_trafo_44 | 0.25 MVA 20/0.4 kV | 103 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2723294.8847 | 1281142.6138 | 2723312.5691 | 1281146.3952
1 | 2723283.871 | 1281151.6144 | 2723292.5729 | 1281153.6427 | 2723293.7619 | 1281148.1623 | 2723294.8847 | 1281142.6138
2 | 2723283.871 | 1281151.6144 | 2723268.7816 | 1281148.1035
3 | 2723255.2977 | 1281144.9662 | 2723268.7816 | 1281148.1035
4 | 2723245.7463 | 1281138.2935 | 2723245.2273 | 1281142.6312
5 | 2723245.7463 | 1281138.2935 | 2723246.2365 | 1281134.2554 | 2723247.138 | 1281134.0152
6 | 2723244.2752 | 1281142.5399 | 2723245.2273 | 1281142.6312
7 | 2723255.2977 | 1281144.9662 | 2723245.2273 | 1281142.6312
8 | 2723254.7473 | 1281158.3453 | 2723255.2977 | 1281144.9662
9 | 2723254.7473 | 1281158.3453 | 2723252.6934 | 1281166.032 | 2723249.7401 | 1281174.3338 | 2723246.79 | 1281179.3256
10 | 2722953.9788 | 1281030.3542 | 2722953.699 | 1281008.127
11 | 2722953.699 | 1281008.127 | 2722931.5236 | 1281012.589
12 | 2722879.6298 | 1281023.0306 | 2722931.5236 | 1281012.589
13 | 2723011.508 | 1281068.9355 | 2722972.1171 | 1281062.5967 | 2722961.9857 | 1281059.3558
14 | 2723011.508 | 1281068.9355 | 2723014.8305 | 1281078.6747
15 | 2722923.2755 | 1281048.9083 | 2722955.6769 | 1281057.3377 | 2722961.9857 | 1281059.3558
16 | 2723021.9709 | 1281099.6055 | 2723014.8305 | 1281078.6747
17 | 2723084.0628 | 1281148.793 | 2723089.1712 | 1281138.3674
18 | 2723091.0075 | 1281134.6132 | 2723089.1712 | 1281138.3674
19 | 2723089.1712 | 1281138.3674 | 2723099.306 | 1281142.3589
20 | 2723084.0628 | 1281148.793 | 2723078.5071 | 1281160.1323
21 | 2723046.1345 | 1281131.8073 | 2723059.7695 | 1281137.9199 | 2723084.0628 | 1281148.793
22 | 2723091.0075 | 1281134.6132 | 2723093.6267 | 1281135.7149
23 | 2723099.306 | 1281142.3589 | 2723102.1435 | 1281143.4764 | 2723109.4774 | 1281145.9096 | 2723117.8727 | 1281148.2028
24 | 2723046.1345 | 1281131.8073 | 2723050.3664 | 1281120.5403
25 | 2723023.8325 | 1281105.0718 | 2723028.4157 | 1281106.124 | 2723043.166 | 1281111.359 | 2723065.9428 | 1281123.268 | 2723064.2119 | 1281127.3691 | 2723050.3664 | 1281120.5403
26 | 2723050.3664 | 1281120.5403 | 2723048.5966 | 1281119.6692 | 2723038.3677 | 1281114.8511 | 2723032.4334 | 1281112.6696 | 2723026.4039 | 1281111.0868 | 2723019.427 | 1281110.5828
27 | 2723046.1345 | 1281131.8073 | 2723024.7185 | 1281130.0385
28 | 2723023.8325 | 1281105.0718 | 2723021.9709 | 1281099.6055
29 | 2723023.8325 | 1281105.0718 | 2723012.6545 | 1281103.9709 | 2723003.9694 | 1281104.7237 | 2722995.0001 | 1281107.2168 | 2722990.7739 | 1281108.4505
30 | 2722990.7739 | 1281108.4505 | 2722972.2084 | 1281113.8702
31 | 2723078.5071 | 1281160.1323 | 2723075.6665 | 1281165.8043
32 | 2723257.2814 | 1281223.2162 | 2723248.5937 | 1281217.9963
33 | 2723257.2814 | 1281223.2162 | 2723261.2512 | 1281215.1581 | 2723262.6039 | 1281212.1083
34 | 2723248.5937 | 1281217.9963 | 2723231.0608 | 1281207.542
35 | 2723248.5937 | 1281217.9963 | 2723244.0303 | 1281232.8643
36 | 2723229.8277 | 1281141.5472 | 2723234.9934 | 1281141.6497 | 2723244.2752 | 1281142.5399
37 | 2723199.3119 | 1281139.0238 | 2723163.2552 | 1281142.7018
38 | 2723199.3119 | 1281139.0238 | 2723198.189 | 1281122.0776
39 | 2723152.6522 | 1281143.8317 | 2723155.7898 | 1281143.4633 | 2723163.2552 | 1281142.7018
40 | 2723173.8911 | 1281106.2723 | 2723197.0906 | 1281105.5007 | 2723198.189 | 1281122.0776
41 | 2723244.0437 | 1281183.9725 | 2723246.79 | 1281179.3256
42 | 2722891.8545 | 1281035.1859 | 2722879.6298 | 1281023.0306
43 | 2722891.8545 | 1281035.1859 | 2722907.6096 | 1281043.767 | 2722916.6808 | 1281047.1927 | 2722923.2755 | 1281048.9083
44 | 2723135.8064 | 1281149.5963 | 2723125.9624 | 1281149.3683 | 2723118.075 | 1281148.2581 | 2723117.8727 | 1281148.2028
45 | 2722941.5238 | 1281122.8277 | 2722972.2084 | 1281113.8702
46 | 2722941.5238 | 1281122.8277 | 2722943.1074 | 1281127.2205
47 | 2722943.1074 | 1281127.2205 | 2722946.0328 | 1281135.3416
48 | 2722943.1074 | 1281127.2205 | 2722918.4982 | 1281135.0705 | 2722920.9289 | 1281143.1511
49 | 2722920.9289 | 1281143.1511 | 2722923.2051 | 1281142.4312 | 2722926.5074 | 1281138.2628 | 2722931.7545 | 1281134.8578 | 2722936.7448 | 1281134.0388 | 2722939.1981 | 1281135.6359 | 2722940.5785 | 1281138.9679 | 2722939.4775 | 1281142.0479 | 2722936.6453 | 1281143.8461
50 | 2722920.9289 | 1281143.1511 | 2722887.5411 | 1281153.7501
51 | 2722951.425 | 1281150.3107 | 2722946.0328 | 1281135.3416
52 | 2723062.4442 | 1281192.2057 | 2723075.6665 | 1281165.8043
53 | 2723231.0608 | 1281207.542 | 2723236.5634 | 1281197.2518
54 | 2723231.0608 | 1281207.542 | 2723218.0217 | 1281199.9699
55 | 2723243.2545 | 1281243.031 | 2723243.2545 | 1281243.031 | 2723243.1439 | 1281238.6244 | 2723243.7807 | 1281233.6774 | 2723244.0303 | 1281232.8643
56 | 2723200.0939 | 1281285.1129 | 2723150.4878 | 1281267.2309
57 | 2723125.7365 | 1281258.3085 | 2723150.4878 | 1281267.2309
58 | 2723229.8277 | 1281141.5472 | 2723224.6607 | 1281141.4447 | 2723222.3414 | 1281141.5845
59 | 2723222.3414 | 1281141.5845 | 2723212.8814 | 1281142.1548 | 2723203.5373 | 1281143.0441
60 | 2723202.8614 | 1281143.1084 | 2723203.5373 | 1281143.0441
61 | 2723236.5634 | 1281197.2518 | 2723240.0595 | 1281190.7139 | 2723244.0437 | 1281183.9725
62 | 2723214.8371 | 1281198.1205 | 2723218.0217 | 1281199.9699
63 | 2722997.6337 | 1281227.9547 | 2722980.5451 | 1281227.453 | 2722957.9952 | 1281231.9182
64 | 2723028.4694 | 1281232.3241 | 2723008.0983 | 1281228.2619 | 2722997.6337 | 1281227.9547
65 | 2722953.7429 | 1281232.7602 | 2722957.9952 | 1281231.9182
66 | 2723045.0588 | 1281235.0951 | 2723028.4694 | 1281232.3241
67 | 2723028.4694 | 1281232.3241 | 2723025.8592 | 1281245.5934
68 | 2722953.7429 | 1281232.7602 | 2722930.5471 | 1281237.3532 | 2722927.1421 | 1281238.6549
69 | 2723045.0588 | 1281235.0951 | 2723047.685 | 1281225.5297 | 2723057.4974 | 1281202.0897 | 2723062.4442 | 1281192.2057
70 | 2723045.0588 | 1281235.0951 | 2723066.4135 | 1281239.627
71 | 2722926.9935 | 1281238.7117 | 2722927.1421 | 1281238.6549
72 | 2723062.4442 | 1281192.2057 | 2723082.6466 | 1281195.7196 | 2723090.9866 | 1281194.8815
73 | 2723098.7621 | 1281248.5848 | 2723084.6457 | 1281243.4961 | 2723066.4135 | 1281239.627
74 | 2722926.9935 | 1281238.7117 | 2722906.2692 | 1281246.6338 | 2722904.7586 | 1281247.6178
75 | 2723090.9866 | 1281194.8815 | 2723095.0153 | 1281194.4766 | 2723105.477 | 1281191.025 | 2723116.7128 | 1281192.2274 | 2723118.0938 | 1281192.0733
76 | 2723098.7621 | 1281248.5848 | 2723125.7365 | 1281258.3085
77 | 2723214.8371 | 1281198.1205 | 2723203.3331 | 1281191.4398
78 | 2723202.8414 | 1281191.1542 | 2723203.3331 | 1281191.4398
79 | 2723202.8414 | 1281191.1542 | 2723193.9768 | 1281186.0064
80 | 2723171.0211 | 1281172.6754 | 2723193.9768 | 1281186.0064
81 | 2723118.0938 | 1281192.0733 | 2723124.8527 | 1281191.3188 | 2723131.4856 | 1281184.8733
82 | 2723157.8111 | 1281165.004 | 2723152.3588 | 1281175.7004
83 | 2723141.4188 | 1281155.6749 | 2723157.8111 | 1281165.004
84 | 2723157.8111 | 1281165.004 | 2723171.0211 | 1281172.6754
85 | 2723141.4188 | 1281155.6749 | 2723136.6898 | 1281151.8947 | 2723135.8064 | 1281149.5963
86 | 2723135.8064 | 1281149.5963 | 2723144.6683 | 1281148.6471 | 2723158.9624 | 1281147.2866
87 | 2723134.4021 | 1281145.9746 | 2723135.8064 | 1281149.5963
88 | 2723122.6953 | 1281145.374 | 2723134.4021 | 1281145.9746
89 | 2723134.4021 | 1281145.9746 | 2723140.7188 | 1281145.2329
90 | 2723122.6953 | 1281145.374 | 2723121.1076 | 1281129.4441
91 | 2723140.7188 | 1281145.2329 | 2723152.6522 | 1281143.8317
92 | 2723121.0844 | 1281129.2119 | 2723121.1076 | 1281129.4441
93 | 2723119.9899 | 1281118.2304 | 2723121.0844 | 1281129.2119
94 | 2722891.8545 | 1281035.1859 | 2722892.9515 | 1281044.1841 | 2722901.0108 | 1281052.9049 | 2722911.1157 | 1281061.1568 | 2722917.2763 | 1281065.1001 | 2722928.2266 | 1281071.3566 | 2722933.1523 | 1281076.8757 | 2722935.6306 | 1281083.7562
95 | 2722952.8503 | 1281166.4835 | 2722949.2339 | 1281156.1871 | 2722953.0416 | 1281154.7985 | 2722951.425 | 1281150.3107
96 | 2722992.3532 | 1281189.4048 | 2722977.2276 | 1281189.8922 | 2722970.7292 | 1281179.8247 | 2722973.1532 | 1281172.7463 | 2722966.9865 | 1281170.8204
97 | 2722952.8503 | 1281166.4835 | 2722965.4059 | 1281170.3268 | 2722966.9865 | 1281170.8204
98 | 2722952.8503 | 1281166.4835 | 2722946.3126 | 1281168.5533
99 | 2722905.0944 | 1281181.6024 | 2722946.3126 | 1281168.5533
100 | 2722892.7102 | 1281255.4663 | 2722904.7586 | 1281247.6178
101 | 2722888.052 | 1281258.5007 | 2722892.7102 | 1281255.4663

## bus_geodata
| x | y | coords
0 | 2723312.5691 | 1281146.3952
1 | 2723294.8847 | 1281142.6138
2 | 2723283.871 | 1281151.6144
3 | 2723268.7816 | 1281148.1035
4 | 2723245.7463 | 1281138.2935
5 | 2723245.2273 | 1281142.6312
6 | 2723247.138 | 1281134.0152
7 | 2723255.2977 | 1281144.9662
8 | 2723254.7473 | 1281158.3453
9 | 2722953.699 | 1281008.127
10 | 2722953.9788 | 1281030.3542
11 | 2722931.5236 | 1281012.589
12 | 2723011.508 | 1281068.9355
13 | 2722961.9857 | 1281059.3558
14 | 2723014.8305 | 1281078.6747
15 | 2723089.1712 | 1281138.3674
16 | 2723084.0628 | 1281148.793
17 | 2723091.0075 | 1281134.6132
18 | 2723099.306 | 1281142.3589
19 | 2723050.3664 | 1281120.5403
20 | 2723046.1345 | 1281131.8073
21 | 2723023.8325 | 1281105.0718
22 | 2723019.427 | 1281110.5828
23 | 2723024.7185 | 1281130.0385
24 | 2723093.6267 | 1281135.7149
25 | 2723021.9709 | 1281099.6055
26 | 2722990.7739 | 1281108.4505
27 | 2723078.5071 | 1281160.1323
28 | 2723257.2814 | 1281223.2162
29 | 2723248.5937 | 1281217.9963
30 | 2723262.6039 | 1281212.1083
31 | 2723244.2752 | 1281142.5399
32 | 2723199.3119 | 1281139.0238
33 | 2723163.2552 | 1281142.7018
34 | 2723198.189 | 1281122.0776
35 | 2723246.79 | 1281179.3256
36 | 2722879.6298 | 1281023.0306
37 | 2722923.2755 | 1281048.9083
38 | 2723117.8727 | 1281148.2028
39 | 2722972.2084 | 1281113.8702
40 | 2722941.5238 | 1281122.8277
41 | 2722943.1074 | 1281127.2205
42 | 2722920.9289 | 1281143.1511
43 | 2722936.6453 | 1281143.8461
44 | 2722887.5411 | 1281153.7501
45 | 2722946.0328 | 1281135.3416
46 | 2723075.6665 | 1281165.8043
47 | 2723231.0608 | 1281207.542
48 | 2723244.0303 | 1281232.8643
49 | 2723243.2545 | 1281243.031
50 | 2723200.0939 | 1281285.1129
51 | 2723150.4878 | 1281267.2309
52 | 2723229.8277 | 1281141.5472
53 | 2723222.3414 | 1281141.5845
54 | 2723203.5373 | 1281143.0441
55 | 2723202.8614 | 1281143.1084
56 | 2723236.5634 | 1281197.2519
57 | 2723218.0217 | 1281199.9699
58 | 2723244.0437 | 1281183.9725
59 | 2722997.6337 | 1281227.9547
60 | 2722957.9952 | 1281231.9182
61 | 2723028.4694 | 1281232.3241
62 | 2722953.7429 | 1281232.7602
63 | 2723045.0588 | 1281235.0951
64 | 2723025.8592 | 1281245.5934
65 | 2722927.1421 | 1281238.6549
66 | 2723062.4442 | 1281192.2057
67 | 2723066.4135 | 1281239.627
68 | 2722926.9935 | 1281238.7117
69 | 2723090.9866 | 1281194.8815
70 | 2723098.7621 | 1281248.5848
71 | 2723214.8371 | 1281198.1205
72 | 2723203.3331 | 1281191.4398
73 | 2723202.8414 | 1281191.1542
74 | 2723193.9768 | 1281186.0064
75 | 2723131.4856 | 1281184.8733
76 | 2723118.0938 | 1281192.0733
77 | 2723152.3588 | 1281175.7004
78 | 2723157.8111 | 1281165.004
79 | 2723141.4188 | 1281155.6749
80 | 2723171.0211 | 1281172.6754
81 | 2723135.8064 | 1281149.5963
82 | 2723158.9624 | 1281147.2866
83 | 2723134.4021 | 1281145.9746
84 | 2723122.6953 | 1281145.374
85 | 2723140.7188 | 1281145.2329
86 | 2723121.1076 | 1281129.4441
87 | 2723152.6522 | 1281143.8317
88 | 2723125.7365 | 1281258.3085
89 | 2723119.9899 | 1281118.2304
90 | 2723121.0844 | 1281129.2119
91 | 2723173.8911 | 1281106.2723
92 | 2722891.8545 | 1281035.1859
93 | 2722951.425 | 1281150.3107
94 | 2722992.3532 | 1281189.4048
95 | 2722966.9865 | 1281170.8204
96 | 2722952.8503 | 1281166.4835
97 | 2722946.3126 | 1281168.5533
98 | 2722905.0944 | 1281181.6024
99 | 2722904.7586 | 1281247.6178
100 | 2722892.7102 | 1281255.4663
101 | 2722888.052 | 1281258.5007
102 | 2722935.6306 | 1281083.7562
103 | 2723135.8064 | 1281149.5963

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1