## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4666-1_1_3_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_4666-1_1_3_node_96 | 0.4 | n |  | TRUE
2 | bus_LV_4666-1_1_3_node_187 | 0.4 | n |  | TRUE
3 | bus_LV_4666-1_1_3_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_4666-1_1_3_node_95 | 0.4 | n |  | TRUE
5 | bus_LV_4666-1_1_3_node_182 | 0.4 | n |  | TRUE
6 | bus_LV_4666-1_1_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_4666-1_1_3_node_120 | 0.4 | n |  | TRUE
8 | bus_LV_4666-1_1_3_node_119 | 0.4 | n |  | TRUE
9 | bus_LV_4666-1_1_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_4666-1_1_3_node_183 | 0.4 | n |  | TRUE
11 | bus_LV_4666-1_1_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_4666-1_1_3_node_170 | 0.4 | n |  | TRUE
13 | bus_LV_4666-1_1_3_node_171 | 0.4 | n |  | TRUE
14 | bus_LV_4666-1_1_3_node_169 | 0.4 | n |  | TRUE
15 | bus_LV_4666-1_1_3_node_186 | 0.4 | n |  | TRUE
16 | bus_LV_4666-1_1_3_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_4666-1_1_3_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_4666-1_1_3_node_185 | 0.4 | n |  | TRUE
19 | bus_LV_4666-1_1_3_node_181 | 0.4 | n |  | TRUE
20 | bus_LV_4666-1_1_3_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_4666-1_1_3_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_4666-1_1_3_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_4666-1_1_3_node_178 | 0.4 | n |  | TRUE
24 | bus_LV_4666-1_1_3_node_177 | 0.4 | n |  | TRUE
25 | bus_LV_4666-1_1_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_4666-1_1_3_node_104 | 0.4 | n |  | TRUE
27 | bus_LV_4666-1_1_3_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_4666-1_1_3_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_4666-1_1_3_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_4666-1_1_3_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_4666-1_1_3_node_176 | 0.4 | n |  | TRUE
32 | bus_LV_4666-1_1_3_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_4666-1_1_3_node_168 | 0.4 | n |  | TRUE
34 | bus_LV_4666-1_1_3_node_157 | 0.4 | n |  | TRUE
35 | bus_LV_4666-1_1_3_node_136 | 0.4 | n |  | TRUE
36 | bus_LV_4666-1_1_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_4666-1_1_3_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_4666-1_1_3_node_98 | 0.4 | n |  | TRUE
39 | bus_LV_4666-1_1_3_node_122 | 0.4 | n |  | TRUE
40 | bus_LV_4666-1_1_3_node_121 | 0.4 | n |  | TRUE
41 | bus_LV_4666-1_1_3_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_4666-1_1_3_node_114 | 0.4 | n |  | TRUE
43 | bus_LV_4666-1_1_3_node_184 | 0.4 | n |  | TRUE
44 | bus_LV_4666-1_1_3_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_4666-1_1_3_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_4666-1_1_3_node_180 | 0.4 | n |  | TRUE
47 | bus_LV_4666-1_1_3_node_179 | 0.4 | n |  | TRUE
48 | bus_LV_4666-1_1_3_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_4666-1_1_3_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_4666-1_1_3_node_117 | 0.4 | n |  | TRUE
51 | bus_LV_4666-1_1_3_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_4666-1_1_3_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_4666-1_1_3_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_4666-1_1_3_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_4666-1_1_3_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_4666-1_1_3_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_4666-1_1_3_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_4666-1_1_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_4666-1_1_3_node_144 | 0.4 | n |  | TRUE
60 | bus_LV_4666-1_1_3_node_141 | 0.4 | n |  | TRUE
61 | bus_LV_4666-1_1_3_node_149 | 0.4 | n |  | TRUE
62 | bus_LV_4666-1_1_3_node_147 | 0.4 | n |  | TRUE
63 | bus_LV_4666-1_1_3_node_154 | 0.4 | n |  | TRUE
64 | bus_LV_4666-1_1_3_node_156 | 0.4 | n |  | TRUE
65 | bus_LV_4666-1_1_3_node_142 | 0.4 | n |  | TRUE
66 | bus_LV_4666-1_1_3_node_123 | 0.4 | n |  | TRUE
67 | bus_LV_4666-1_1_3_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_4666-1_1_3_node_125 | 0.4 | n |  | TRUE
69 | bus_LV_4666-1_1_3_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_4666-1_1_3_node_127 | 0.4 | n |  | TRUE
71 | bus_LV_4666-1_1_3_node_128 | 0.4 | n |  | TRUE
72 | bus_LV_4666-1_1_3_node_138 | 0.4 | n |  | TRUE
73 | bus_LV_4666-1_1_3_node_132 | 0.4 | n |  | TRUE
74 | bus_LV_4666-1_1_3_node_174 | 0.4 | n |  | TRUE
75 | bus_LV_4666-1_1_3_node_134 | 0.4 | n |  | TRUE
76 | bus_LV_4666-1_1_3_node_135 | 0.4 | n |  | TRUE
77 | bus_LV_4666-1_1_3_node_137 | 0.4 | n |  | TRUE
78 | bus_LV_4666-1_1_3_node_167 | 0.4 | n |  | TRUE
79 | bus_LV_4666-1_1_3_node_130 | 0.4 | n |  | TRUE
80 | bus_LV_4666-1_1_3_node_129 | 0.4 | n |  | TRUE
81 | bus_LV_4666-1_1_3_node_131 | 0.4 | n |  | TRUE
82 | bus_LV_4666-1_1_3_node_133 | 0.4 | n |  | TRUE
83 | bus_LV_4666-1_1_3_node_150 | 0.4 | n |  | TRUE
84 | bus_LV_4666-1_1_3_node_158 | 0.4 | n |  | TRUE
85 | bus_LV_4666-1_1_3_node_151 | 0.4 | n |  | TRUE
86 | bus_LV_4666-1_1_3_node_139 | 0.4 | n |  | TRUE
87 | bus_LV_4666-1_1_3_node_146 | 0.4 | n |  | TRUE
88 | bus_LV_4666-1_1_3_node_140 | 0.4 | n |  | TRUE
89 | bus_LV_4666-1_1_3_node_145 | 0.4 | n |  | TRUE
90 | bus_LV_4666-1_1_3_node_173 | 0.4 | n |  | TRUE
91 | bus_LV_4666-1_1_3_node_166 | 0.4 | n |  | TRUE
92 | bus_LV_4666-1_1_3_node_165 | 0.4 | n |  | TRUE
93 | bus_LV_4666-1_1_3_node_143 | 0.4 | n |  | TRUE
94 | bus_LV_4666-1_1_3_node_159 | 0.4 | n |  | TRUE
95 | bus_LV_4666-1_1_3_node_160 | 0.4 | n |  | TRUE
96 | bus_LV_4666-1_1_3_node_152 | 0.4 | n |  | TRUE
97 | bus_LV_4666-1_1_3_node_148 | 0.4 | n |  | TRUE
98 | bus_LV_4666-1_1_3_node_172 | 0.4 | n |  | TRUE
99 | bus_LV_4666-1_1_3_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_4666-1_1_3_node_155 | 0.4 | n |  | TRUE
101 | bus_LV_4666-1_1_3_node_164 | 0.4 | n |  | TRUE
102 | bus_LV_4666-1_1_3_node_162 | 0.4 | n |  | TRUE
103 | bus_LV_4666-1_1_3_node_175 | 0.4 | n |  | TRUE
104 | bus_LV_4666-1_1_3_node_192 | 0.4 | n |  | TRUE
105 | bus_LV_4666-1_1_3_node_161 | 0.4 | n |  | TRUE
106 | bus_LV_4666-1_1_3_node_163 | 0.4 | n |  | TRUE
107 | bus_LV_4666-1_1_3_node_193 | 0.4 | n |  | TRUE
108 | bus_MV_488_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4666-1_1_3_load_187 | 2 | 0.0031335 | 0.00078533 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4666-1_1_3_load_182 | 5 | 0.00021893 | 5.487e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4666-1_1_3_load_120 | 7 | 0.0010674 | 0.00026752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4666-1_1_3_load_119 | 8 | 0.0037206 | 0.00093247 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4666-1_1_3_load_183 | 10 | 0.00090989 | 0.00022804 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4666-1_1_3_load_170 | 12 | 0.0010719 | 0.00026863 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4666-1_1_3_load_171 | 13 | 0.00066881 | 0.00016762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4666-1_1_3_load_169 | 14 | 0.0033043 | 0.00082814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4666-1_1_3_load_186 | 15 | 0.00031526 | 7.9012e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4666-1_1_3_load_90 | 16 | 0.00044609 | 0.0001118 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4666-1_1_3_load_89 | 17 | 0.00055141 | 0.0001382 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4666-1_1_3_load_185 | 18 | 0.00026124 | 6.5474e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4666-1_1_3_load_181 | 19 | 0.0002042 | 5.1178e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4666-1_1_3_load_93 | 21 | 0.0004728 | 0.00011849 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4666-1_1_3_load_94 | 22 | 0.00037636 | 9.4324e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4666-1_1_3_load_178 | 23 | 0.0007684 | 0.00019258 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4666-1_1_3_load_177 | 24 | 0.0032496 | 0.00081444 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4666-1_1_3_load_105 | 27 | 0.0001327 | 3.3257e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4666-1_1_3_load_102 | 28 | 0.00050009 | 0.00012533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4666-1_1_3_load_85 | 29 | 0.0020011 | 0.00050153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4666-1_1_3_load_86 | 30 | 0.0002058 | 5.1578e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4666-1_1_3_load_176 | 31 | 0.0014317 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4666-1_1_3_load_118 | 32 | 0.0036226 | 0.00090791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4666-1_1_3_load_157 | 34 | 0.0002818 | 7.0625e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4666-1_1_3_load_87 | 36 | 0.00028216 | 7.0716e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4666-1_1_3_load_97 | 37 | 0.00078703 | 0.00019725 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4666-1_1_3_load_122 | 39 | 0.0011648 | 0.00029192 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4666-1_1_3_load_121 | 40 | 0.00069203 | 0.00017344 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4666-1_1_3_load_92 | 41 | 0.00017897 | 4.4853e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4666-1_1_3_load_115 | 44 | 0.0017994 | 0.00045097 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4666-1_1_3_load_109 | 45 | 0.0017258 | 0.00043252 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4666-1_1_3_load_180 | 46 | 0.00060494 | 0.00015161 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4666-1_1_3_load_103 | 48 | 0.0017534 | 0.00043943 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4666-1_1_3_load_99 | 49 | 0.0019767 | 0.00049541 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4666-1_1_3_load_117 | 50 | 0.0051723 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4666-1_1_3_load_100 | 51 | 0.00028034 | 7.026e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4666-1_1_3_load_101 | 52 | 0.0020692 | 0.0005186 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4666-1_1_3_load_116 | 53 | 8.986e-05 | 2.2521e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4666-1_1_3_load_106 | 54 | 0.0016074 | 0.00040286 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4666-1_1_3_load_111 | 57 | 0.0012105 | 0.00030338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4666-1_1_3_load_141 | 60 | 0.0007127 | 0.00017862 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4666-1_1_3_load_149 | 61 | 0.0017669 | 0.00044283 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4666-1_1_3_load_156 | 64 | 0.0057194 | 0.0014334 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4666-1_1_3_load_142 | 65 | 0.0009985 | 0.00025025 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4666-1_1_3_load_123 | 66 | 0.0036539 | 0.00091575 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4666-1_1_3_load_124 | 67 | 0.00093167 | 0.0002335 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4666-1_1_3_load_126 | 69 | 0.0011843 | 0.0002968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4666-1_1_3_load_127 | 70 | 0.0012288 | 0.00030797 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4666-1_1_3_load_128 | 71 | 0.00096684 | 0.00024231 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4666-1_1_3_load_174 | 74 | 0.0012397 | 0.0003107 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4666-1_1_3_load_135 | 76 | 0.00027018 | 6.7712e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4666-1_1_3_load_137 | 77 | 0.00063426 | 0.00015896 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4666-1_1_3_load_167 | 78 | 0.0079374 | 0.0019893 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4666-1_1_3_load_130 | 79 | 0.0025724 | 0.00064469 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4666-1_1_3_load_129 | 80 | 0.0012711 | 0.00031856 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4666-1_1_3_load_131 | 81 | 0.0041807 | 0.0010478 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4666-1_1_3_load_133 | 82 | 0.00064012 | 0.00016043 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4666-1_1_3_load_150 | 83 | 0.00060244 | 0.00015099 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4666-1_1_3_load_158 | 84 | 0.0018591 | 0.00046593 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4666-1_1_3_load_139 | 86 | 0.00098059 | 0.00024576 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4666-1_1_3_load_146 | 87 | 0.00094411 | 0.00023662 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4666-1_1_3_load_140 | 88 | 0.00062044 | 0.0001555 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4666-1_1_3_load_145 | 89 | 0.0003224 | 8.0802e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4666-1_1_3_load_173 | 90 | 0.0010017 | 0.00025105 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4666-1_1_3_load_166 | 91 | 0.0010896 | 0.00027309 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4666-1_1_3_load_165 | 92 | 0.00023119 | 5.7942e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4666-1_1_3_load_143 | 93 | 0.00084082 | 0.00021073 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4666-1_1_3_load_159 | 94 | 0.00084918 | 0.00021282 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4666-1_1_3_load_152 | 96 | 0.0013212 | 0.00033112 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4666-1_1_3_load_148 | 97 | 0.00023725 | 5.9461e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4666-1_1_3_load_172 | 98 | 0.00109 | 0.00027317 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4666-1_1_3_load_153 | 99 | 0.0057961 | 0.0014526 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4666-1_1_3_load_155 | 100 | 0.0012229 | 0.00030649 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4666-1_1_3_load_162 | 102 | 0.0007672 | 0.00019228 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4666-1_1_3_load_175 | 103 | 0.000455 | 0.00011403 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4666-1_1_3_load_192 | 104 | 0.001257 | 0.00031502 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4666-1_1_3_load_161 | 105 | 0.00086719 | 0.00021734 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4666-1_1_3_load_163 | 106 | 0.0011782 | 0.00029529 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4666-1_1_3_load_193 | 107 | 0.00086035 | 0.00021562 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4666-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4666-1_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.050325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4666-1_1_3_line_2 | NAYY 4x150 SE | 1 | 19 | 0.02009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4666-1_1_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.03635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4666-1_1_3_line_4 | NAYY 4x150 SE | 2 | 15 | 0.013432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4666-1_1_3_line_5 | NAYY 4x150 SE | 3 | 4 | 0.050755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4666-1_1_3_line_6 | NAYY 4x150 SE | 3 | 5 | 0.052149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4666-1_1_3_line_7 | NAYY 4x150 SE | 4 | 18 | 0.027453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4666-1_1_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.017529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4666-1_1_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.10507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4666-1_1_3_line_10 | NAYY 4x150 SE | 6 | 8 | 0.1784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4666-1_1_3_line_11 | NAYY 4x150 SE | 7 | 31 | 0.023847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4666-1_1_3_line_12 | NAYY 4x150 SE | 8 | 32 | 0.074477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4666-1_1_3_line_13 | NAYY 4x150 SE | 9 | 10 | 0.029051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4666-1_1_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.017089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4666-1_1_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.028345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4666-1_1_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.019064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4666-1_1_3_line_17 | NAYY 4x150 SE | 12 | 33 | 0.018285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4666-1_1_3_line_18 | NAYY 4x150 SE | 13 | 31 | 0.020435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4666-1_1_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.00013415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4666-1_1_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.11947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4666-1_1_3_line_21 | NAYY 4x150 SE | 19 | 47 | 0.048349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4666-1_1_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.021158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4666-1_1_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.21146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4666-1_1_3_line_24 | NAYY 4x150 SE | 21 | 27 | 0.010262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4666-1_1_3_line_25 | NAYY 4x150 SE | 22 | 43 | 0.043237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4666-1_1_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.054021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4666-1_1_3_line_27 | NAYY 4x150 SE | 24 | 47 | 0.030732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4666-1_1_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.022886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4666-1_1_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.038654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4666-1_1_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.014856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4666-1_1_3_line_31 | NAYY 4x150 SE | 26 | 39 | 0.027306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4666-1_1_3_line_32 | NAYY 4x150 SE | 26 | 40 | 0.027586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4666-1_1_3_line_33 | NAYY 4x150 SE | 28 | 38 | 0.035202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4666-1_1_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.013017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4666-1_1_3_line_35 | NAYY 4x150 SE | 30 | 36 | 0.0090402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4666-1_1_3_line_36 | NAYY 4x150 SE | 32 | 50 | 0.024859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4666-1_1_3_line_37 | NAYY 4x150 SE | 33 | 98 | 0.030982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4666-1_1_3_line_38 | NAYY 4x150 SE | 33 | 85 | 0.016125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4666-1_1_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.020947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4666-1_1_3_line_40 | NAYY 4x150 SE | 35 | 84 | 0.032298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4666-1_1_3_line_41 | NAYY 4x150 SE | 35 | 75 | 0.027061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4666-1_1_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.0040687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4666-1_1_3_line_43 | NAYY 4x150 SE | 37 | 38 | 0.030067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4666-1_1_3_line_44 | NAYY 4x150 SE | 38 | 48 | 0.017126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4666-1_1_3_line_45 | NAYY 4x150 SE | 38 | 49 | 0.032752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4666-1_1_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.022361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4666-1_1_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.022873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4666-1_1_3_line_48 | NAYY 4x150 SE | 42 | 45 | 0.029975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4666-1_1_3_line_49 | NAYY 4x150 SE | 43 | 46 | 0.025371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4666-1_1_3_line_50 | NAYY 4x150 SE | 44 | 53 | 0.0098098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4666-1_1_3_line_51 | NAYY 4x150 SE | 45 | 55 | 0.044966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4666-1_1_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.052352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4666-1_1_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.043348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4666-1_1_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.011432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4666-1_1_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0071142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4666-1_1_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.01081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4666-1_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.049185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4666-1_1_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.10356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4666-1_1_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.015999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4666-1_1_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.066043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4666-1_1_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.020102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4666-1_1_3_line_62 | NAYY 4x150 SE | 59 | 63 | 0.02785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4666-1_1_3_line_63 | NAYY 4x150 SE | 59 | 64 | 0.016908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4666-1_1_3_line_64 | NAYY 4x150 SE | 60 | 65 | 0.015654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4666-1_1_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.071696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4666-1_1_3_line_66 | NAYY 4x150 SE | 62 | 97 | 0.026104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4666-1_1_3_line_67 | NAYY 4x150 SE | 62 | 89 | 0.028666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4666-1_1_3_line_68 | NAYY 4x150 SE | 63 | 96 | 0.02392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4666-1_1_3_line_69 | NAYY 4x150 SE | 65 | 93 | 0.0046368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4666-1_1_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.0057655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4666-1_1_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.015895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4666-1_1_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.032264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4666-1_1_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.015853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4666-1_1_3_line_74 | NAYY 4x150 SE | 68 | 71 | 0.014236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4666-1_1_3_line_75 | NAYY 4x150 SE | 69 | 72 | 0.019449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4666-1_1_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.018382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4666-1_1_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.014179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4666-1_1_3_line_78 | NAYY 4x150 SE | 73 | 78 | 0.021406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4666-1_1_3_line_79 | NAYY 4x150 SE | 73 | 79 | 0.025742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4666-1_1_3_line_80 | NAYY 4x150 SE | 74 | 90 | 0.0095326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4666-1_1_3_line_81 | NAYY 4x150 SE | 75 | 76 | 0.024307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4666-1_1_3_line_82 | NAYY 4x150 SE | 75 | 77 | 0.016272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4666-1_1_3_line_83 | NAYY 4x150 SE | 76 | 86 | 0.014529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4666-1_1_3_line_84 | NAYY 4x150 SE | 77 | 87 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4666-1_1_3_line_85 | NAYY 4x150 SE | 78 | 84 | 0.019774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4666-1_1_3_line_86 | NAYY 4x150 SE | 79 | 80 | 0.0086421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4666-1_1_3_line_87 | NAYY 4x150 SE | 80 | 81 | 0.013227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4666-1_1_3_line_88 | NAYY 4x150 SE | 81 | 82 | 0.0067638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4666-1_1_3_line_89 | NAYY 4x150 SE | 82 | 83 | 0.0021355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4666-1_1_3_line_90 | NAYY 4x150 SE | 83 | 85 | 0.013348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4666-1_1_3_line_91 | NAYY 4x150 SE | 86 | 88 | 0.016127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4666-1_1_3_line_92 | NAYY 4x150 SE | 87 | 89 | 0.020334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4666-1_1_3_line_93 | NAYY 4x150 SE | 88 | 91 | 0.0068989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4666-1_1_3_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0068636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4666-1_1_3_line_95 | NAYY 4x150 SE | 92 | 101 | 0.0098095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4666-1_1_3_line_96 | NAYY 4x150 SE | 93 | 94 | 0.029698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4666-1_1_3_line_97 | NAYY 4x150 SE | 94 | 95 | 0.073887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4666-1_1_3_line_98 | NAYY 4x150 SE | 95 | 103 | 0.012599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4666-1_1_3_line_99 | NAYY 4x150 SE | 96 | 99 | 0.0033124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4666-1_1_3_line_100 | NAYY 4x150 SE | 99 | 100 | 0.030364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4666-1_1_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.0077152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4666-1_1_3_line_102 | NAYY 4x150 SE | 101 | 102 | 0.039866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4666-1_1_3_line_103 | NAYY 4x150 SE | 102 | 105 | 0.00061988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4666-1_1_3_line_104 | NAYY 4x150 SE | 103 | 104 | 0.01346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4666-1_1_3_line_105 | NAYY 4x150 SE | 104 | 107 | 0.015338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4666-1_1_3_line_106 | NAYY 4x150 SE | 105 | 106 | 0.0040695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4666-1_1_3_trafo_19 | 0.25 MVA 20/0.4 kV | 108 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2730009.3868 | 1275531.0631 | 2730024.4838 | 1275524.7229 | 2730030.4042 | 1275519.5038
1 | 2730009.3868 | 1275531.0631 | 2730027.4364 | 1275578.0394
2 | 2730030.4042 | 1275519.5038 | 2730024.641 | 1275500.258
3 | 2730030.4042 | 1275519.5038 | 2730037.8104 | 1275512.7271 | 2730063.2274 | 1275505.5914
4 | 2730039.4752 | 1275572.0822 | 2730027.4364 | 1275578.0394 | 2730027.4364 | 1275578.0394
5 | 2730063.2274 | 1275505.5914 | 2730076.842 | 1275501.3429 | 2730102.1871 | 1275494.0612 | 2730111.6584 | 1275490.4887
6 | 2730111.6584 | 1275490.4887 | 2730114.0531 | 1275493.3999 | 2730114.398 | 1275498.9017 | 2730111.4847 | 1275541.6696
7 | 2730063.2274 | 1275505.5914 | 2730065.9366 | 1275478.272
8 | 2730110.2935 | 1275559.1583 | 2730111.4847 | 1275541.6696
9 | 2729813.0351 | 1274898.3647 | 2729721.7165 | 1274882.3861 | 2729709.5184 | 1274880.3499
10 | 2729813.0351 | 1274898.3647 | 2729914.1962 | 1274915.7849 | 2729920.9188 | 1274917.5345 | 2729931.9766 | 1274922.2046 | 2729948.2465 | 1274933.3513 | 2729960.4943 | 1274942.3741 | 2729972.8598 | 1274955.6147 | 2729975.041 | 1274958.6639
11 | 2729709.5184 | 1274880.3499 | 2729685.9969 | 1274876.4235
12 | 2730011.5638 | 1275023.3768 | 2730006.6776 | 1275011.6801 | 2729997.1582 | 1274993.5197 | 2729979.9003 | 1274965.457 | 2729975.041 | 1274958.6639
13 | 2730110.2935 | 1275559.1583 | 2730091.4121 | 1275558.0855 | 2730081.6359 | 1275560.7753
14 | 2729637.6482 | 1274870.4833 | 2729640.5942 | 1274853.6504
15 | 2729637.6482 | 1274870.4833 | 2729646.263 | 1274870.6615 | 2729662.0928 | 1274872.4332 | 2729665.8408 | 1274873.0588
16 | 2729637.6482 | 1274870.4833 | 2729618.6383 | 1274871.9197
17 | 2729643.7464 | 1274835.6393 | 2729640.5942 | 1274853.6504
18 | 2729685.9969 | 1274876.4235 | 2729665.8408 | 1274873.0588
19 | 2730219.1356 | 1275148.5121 | 2730219.269 | 1275148.5267
20 | 2730100.995 | 1275158.1774 | 2730121.933 | 1275154.0349 | 2730162.9412 | 1275146.5652 | 2730176.2934 | 1275145.0471 | 2730193.6879 | 1275145.7426 | 2730219.1356 | 1275148.5121
21 | 2730010.7714 | 1275453.9414 | 2730024.641 | 1275500.258
22 | 2730100.995 | 1275158.1774 | 2730079.8614 | 1275157.1638
23 | 2730100.995 | 1275158.1774 | 2730095.7825 | 1275204.5739 | 2730094.3529 | 1275217.8997 | 2730092.5166 | 1275234.6643 | 2730082.379 | 1275327.0522 | 2730077.576 | 1275368.3366
24 | 2730069.6113 | 1275156.6723 | 2730079.8614 | 1275157.1638
25 | 2730072.5796 | 1275411.2842 | 2730077.576 | 1275368.3366
26 | 2729980.376 | 1275458.4776 | 2729926.9466 | 1275466.4516
27 | 2730010.7714 | 1275453.9414 | 2729980.376 | 1275458.4776
28 | 2730031.0013 | 1275154.8206 | 2730031.34 | 1275169.1308 | 2730029.8888 | 1275176.2835 | 2730029.1366 | 1275177.3123
29 | 2730031.0013 | 1275154.8206 | 2730069.6113 | 1275156.6723
30 | 2730031.0013 | 1275154.8206 | 2730029.5978 | 1275140.031
31 | 2730029.1366 | 1275177.3123 | 2730032.5741 | 1275183.0825 | 2730037.4039 | 1275188.116 | 2730045.2331 | 1275189.8012 | 2730050.8872 | 1275189.5144
32 | 2730029.1366 | 1275177.3123 | 2730025.5313 | 1275182.2265 | 2730017.6226 | 1275188.5807 | 2730006.2966 | 1275187.9062
33 | 2730017.6333 | 1275106.9244 | 2730029.5978 | 1275140.031
34 | 2729976.341 | 1275119.3751 | 2729969.1165 | 1275123.0603 | 2729968.2505 | 1275127.8903
35 | 2729976.341 | 1275119.3751 | 2729978.8141 | 1275118.1135 | 2729984.833 | 1275116.3787
36 | 2730018.2994 | 1275047.2656 | 2730018.0702 | 1275045.1522 | 2730015.1552 | 1275034.4444 | 2730011.5638 | 1275023.3768 | 2730011.5638 | 1275023.3768
37 | 2729674.0037 | 1274837.6391 | 2729667.3979 | 1274839.8072 | 2729660.0408 | 1274839.5454 | 2729643.7464 | 1274835.6393
38 | 2729643.7464 | 1274835.6393 | 2729647.2063 | 1274819.889
39 | 2729633.6725 | 1274678.4224 | 2729612.849 | 1274676.1495
40 | 2729633.6725 | 1274678.4224 | 2729632.4347 | 1274710.6968
41 | 2729633.6725 | 1274678.4224 | 2729660.6623 | 1274681.2957
42 | 2729984.833 | 1275116.3787 | 2729988.7425 | 1275115.2518
43 | 2730017.6333 | 1275106.9244 | 2729988.7425 | 1275115.2518
44 | 2730017.6333 | 1275106.9244 | 2730015.3472 | 1275099.4112 | 2730014.5655 | 1275091.2083 | 2730014.6826 | 1275090.1824
45 | 2730017.6333 | 1275106.9244 | 2730048.3461 | 1275095.5481
46 | 2730108.9461 | 1275082.7577 | 2730106.6017 | 1275104.995
47 | 2730108.9461 | 1275082.7577 | 2730086.3769 | 1275086.4704
48 | 2730108.9461 | 1275082.7577 | 2730112.49 | 1275052.9931
49 | 2730072.5796 | 1275411.2842 | 2730048.7003 | 1275419.856
50 | 2730086.3769 | 1275086.4704 | 2730081.4642 | 1275087.2785 | 2730076.7461 | 1275088.3169
51 | 2730116.8696 | 1275008.2605 | 2730116.0542 | 1275023.0568 | 2730112.49 | 1275052.9931
52 | 2730010.7714 | 1275453.9414 | 2730018.8049 | 1275446.3443 | 2730027.3489 | 1275433.3311 | 2730032.8985 | 1275427.203 | 2730043.4189 | 1275421.7518 | 2730048.7003 | 1275419.856
53 | 2730018.2994 | 1275047.2656 | 2730018.9889 | 1275053.6251 | 2730019.2737 | 1275060.4935 | 2730018.6414 | 1275067.3418 | 2730015.5347 | 1275082.7215 | 2730014.6826 | 1275090.1824
54 | 2730048.3461 | 1275095.5481 | 2730054.8705 | 1275093.1315 | 2730059.2406 | 1275092.1697
55 | 2730059.2406 | 1275092.1697 | 2730066.1885 | 1275090.6405
56 | 2730076.7461 | 1275088.3169 | 2730066.1885 | 1275090.6405
57 | 2730116.8696 | 1275008.2605 | 2730110.2338 | 1275003.2649 | 2730104.026 | 1274996.2547 | 2730099.3605 | 1274984.4516 | 2730093.0813 | 1274966.7065
58 | 2730058.5336 | 1274869.074 | 2730093.0813 | 1274966.7065
59 | 2730058.5336 | 1274869.074 | 2730054.9783 | 1274870.0077 | 2730043.3487 | 1274874.2111
60 | 2729831.8741 | 1274688.2991 | 2729867.4001 | 1274695.2762 | 2729896.5257 | 1274702.5907
61 | 2729896.5257 | 1274702.5907 | 2729894.1583 | 1274707.6324 | 2729890.7407 | 1274711.8724 | 2729885.8736 | 1274716.3585 | 2729884.0185 | 1274717.9849
62 | 2729804.1225 | 1274685.1858 | 2729812.6296 | 1274685.829 | 2729831.8741 | 1274688.2991
63 | 2729831.8741 | 1274688.2991 | 2729832.4123 | 1274685.3748 | 2729832.1174 | 1274680.6638 | 2729831.3042 | 1274676.2639 | 2729829.4372 | 1274671.9075
64 | 2729884.0185 | 1274717.9849 | 2729881.6786 | 1274720.0364 | 2729874.341 | 1274721.9546 | 2729869.4633 | 1274722.8417
65 | 2729664.4539 | 1274601.8916 | 2729668.4387 | 1274596.1402 | 2729676.1202 | 1274591.5824 | 2729692.0855 | 1274585.861 | 2729714.555 | 1274579.8711 | 2729729.6132 | 1274575.976
66 | 2729664.4539 | 1274601.8916 | 2729667.6018 | 1274582.2085 | 2729667.9276 | 1274576.0462
67 | 2729664.4539 | 1274601.8916 | 2729661.3948 | 1274616.1714 | 2729659.3136 | 1274630.0789
68 | 2729804.1225 | 1274685.1858 | 2729798.2228 | 1274684.9892 | 2729782.3174 | 1274685.2619 | 2729780.2146 | 1274685.4265
69 | 2729864.9014 | 1274723.6714 | 2729869.4633 | 1274722.8417
70 | 2729664.3923 | 1274751.3384 | 2729664.7787 | 1274754.045 | 2729665.5597 | 1274756.9741
71 | 2729662.1457 | 1274735.6027 | 2729664.3923 | 1274751.3384
72 | 2729673.6423 | 1274788.2051 | 2729672.4423 | 1274782.7854 | 2729665.5597 | 1274756.9741
73 | 2729662.1457 | 1274735.6027 | 2729663.9638 | 1274730.9048 | 2729663.857 | 1274720.0898
74 | 2729662.1457 | 1274735.6027 | 2729656.2785 | 1274739.0661 | 2729649.1595 | 1274741.1682
75 | 2729677.847 | 1274807.1943 | 2729673.6423 | 1274788.2051
76 | 2729635.8031 | 1274751.5395 | 2729637.7391 | 1274745.921 | 2729643.2731 | 1274742.9063 | 2729649.1595 | 1274741.1682
77 | 2729677.847 | 1274807.1943 | 2729691.8047 | 1274809.6871
78 | 2729635.8031 | 1274751.5395 | 2729632.343 | 1274730.4149
79 | 2729635.8031 | 1274751.5395 | 2729636.7772 | 1274777.2625
80 | 2729701.2188 | 1274810.9012 | 2729699.1525 | 1274810.9994 | 2729691.8047 | 1274809.6871
81 | 2729660.6623 | 1274681.2957 | 2729684.8814 | 1274683.3584
82 | 2729660.6623 | 1274681.2957 | 2729658.7484 | 1274665.1369
83 | 2729699.3577 | 1274684.5914 | 2729684.8814 | 1274683.3584
84 | 2729657.9139 | 1274650.3434 | 2729658.4738 | 1274662.8188 | 2729658.7484 | 1274665.1369
85 | 2729632.343 | 1274730.4149 | 2729631.8046 | 1274727.1282 | 2729632.4347 | 1274710.6968
86 | 2729636.7772 | 1274777.2625 | 2729637.1042 | 1274785.8985
87 | 2729640.8007 | 1274798.5842 | 2729637.1212 | 1274786.3463 | 2729637.1042 | 1274785.8985
88 | 2729640.8007 | 1274798.5842 | 2729642.7482 | 1274805.0615
89 | 2729642.7482 | 1274805.0615 | 2729643.3631 | 1274807.1066
90 | 2729647.2063 | 1274819.889 | 2729643.3631 | 1274807.1066
91 | 2729699.3577 | 1274684.5914 | 2729715.4262 | 1274685.9599
92 | 2729657.9139 | 1274650.3434 | 2729657.8378 | 1274648.6467 | 2729658.8468 | 1274633.1985 | 2729659.3136 | 1274630.0789
93 | 2729715.4262 | 1274685.9599 | 2729719.284 | 1274686.2885 | 2729722.2977 | 1274686.5734
94 | 2729729.1309 | 1274687.2194 | 2729722.2977 | 1274686.5734
95 | 2729738.9077 | 1274687.9325 | 2729736.4563 | 1274687.9119 | 2729729.1309 | 1274687.2194
96 | 2729835.842 | 1274729.5999 | 2729839.9227 | 1274728.2145 | 2729864.9014 | 1274723.6714
97 | 2729773.7284 | 1274768.6533 | 2729776.3231 | 1274766.2636 | 2729795.6327 | 1274750.7288 | 2729810.3464 | 1274741.3767 | 2729828.6018 | 1274732.0581 | 2729835.842 | 1274729.5999
98 | 2729773.7284 | 1274768.6533 | 2729768.6878 | 1274757.1067
99 | 2729776.9123 | 1274685.6851 | 2729780.2146 | 1274685.4265
100 | 2729776.9123 | 1274685.6851 | 2729756.5889 | 1274687.276 | 2729746.6176 | 1274687.6462
101 | 2729738.9077 | 1274687.9325 | 2729746.6176 | 1274687.6462
102 | 2729738.9077 | 1274687.9325 | 2729727.7629 | 1274726.2085
103 | 2729727.5897 | 1274726.8037 | 2729727.7629 | 1274726.2085
104 | 2729768.6878 | 1274757.1067 | 2729763.3026 | 1274744.7709
105 | 2729757.1658 | 1274730.7136 | 2729763.3026 | 1274744.7709
106 | 2729726.452 | 1274730.711 | 2729727.5897 | 1274726.8037

## bus_geodata
| x | y | coords
0 | 2730009.3868 | 1275531.0631
1 | 2730030.4042 | 1275519.5038
2 | 2730027.4364 | 1275578.0394
3 | 2730111.6584 | 1275490.4887
4 | 2730063.2274 | 1275505.5914
5 | 2730111.4847 | 1275541.6696
6 | 2729813.0351 | 1274898.3647
7 | 2729709.5184 | 1274880.3499
8 | 2729975.041 | 1274958.6639
9 | 2730110.2935 | 1275559.1583
10 | 2730081.6359 | 1275560.7753
11 | 2729637.6482 | 1274870.4833
12 | 2729640.5942 | 1274853.6504
13 | 2729665.8408 | 1274873.0588
14 | 2729618.6383 | 1274871.9197
15 | 2730039.4752 | 1275572.0822
16 | 2730219.269 | 1275148.5267
17 | 2730219.1356 | 1275148.5121
18 | 2730065.9366 | 1275478.272
19 | 2730024.641 | 1275500.258
20 | 2730100.995 | 1275158.1774
21 | 2730079.8614 | 1275157.1638
22 | 2730077.576 | 1275368.3366
23 | 2729926.9466 | 1275466.4516
24 | 2729980.376 | 1275458.4776
25 | 2730031.0013 | 1275154.8206
26 | 2730029.1366 | 1275177.3123
27 | 2730069.6113 | 1275156.6723
28 | 2730029.5978 | 1275140.031
29 | 2729968.2505 | 1275127.8903
30 | 2729976.341 | 1275119.3751
31 | 2729685.9969 | 1274876.4235
32 | 2730011.5638 | 1275023.3768
33 | 2729643.7464 | 1274835.6392
34 | 2729612.849 | 1274676.1495
35 | 2729633.6725 | 1274678.4224
36 | 2729984.833 | 1275116.3787
37 | 2729988.7425 | 1275115.2518
38 | 2730017.6333 | 1275106.9244
39 | 2730050.8872 | 1275189.5144
40 | 2730006.2966 | 1275187.9062
41 | 2730106.6017 | 1275104.995
42 | 2730108.9461 | 1275082.7577
43 | 2730072.5796 | 1275411.2842
44 | 2730086.3769 | 1275086.4704
45 | 2730112.49 | 1275052.9931
46 | 2730048.7003 | 1275419.856
47 | 2730010.7714 | 1275453.9414
48 | 2730014.6826 | 1275090.1824
49 | 2730048.3461 | 1275095.5481
50 | 2730018.2994 | 1275047.2656
51 | 2730059.2406 | 1275092.1697
52 | 2730066.1885 | 1275090.6405
53 | 2730076.7461 | 1275088.3169
54 | 2730093.0813 | 1274966.7065
55 | 2730116.8696 | 1275008.2605
56 | 2730058.5336 | 1274869.074
57 | 2730043.3487 | 1274874.2111
58 | 2729896.5257 | 1274702.5907
59 | 2729831.8741 | 1274688.2991
60 | 2729884.0185 | 1274717.9849
61 | 2729729.6132 | 1274575.976
62 | 2729664.4539 | 1274601.8916
63 | 2729804.1225 | 1274685.1858
64 | 2729829.4372 | 1274671.9075
65 | 2729869.4633 | 1274722.8417
66 | 2729664.3923 | 1274751.3384
67 | 2729665.5597 | 1274756.9741
68 | 2729662.1457 | 1274735.6027
69 | 2729673.6423 | 1274788.2051
70 | 2729663.857 | 1274720.0898
71 | 2729649.1595 | 1274741.1682
72 | 2729677.847 | 1274807.1943
73 | 2729635.8031 | 1274751.5395
74 | 2729691.8047 | 1274809.6871
75 | 2729660.6623 | 1274681.2957
76 | 2729684.8814 | 1274683.3584
77 | 2729658.7484 | 1274665.1369
78 | 2729632.343 | 1274730.4149
79 | 2729636.7772 | 1274777.2625
80 | 2729637.1042 | 1274785.8985
81 | 2729640.8007 | 1274798.5842
82 | 2729642.7482 | 1274805.0615
83 | 2729643.3631 | 1274807.1066
84 | 2729632.4347 | 1274710.6968
85 | 2729647.2063 | 1274819.889
86 | 2729699.3577 | 1274684.5914
87 | 2729657.9139 | 1274650.3434
88 | 2729715.4262 | 1274685.9599
89 | 2729659.3136 | 1274630.0789
90 | 2729701.2188 | 1274810.9012
91 | 2729722.2977 | 1274686.5734
92 | 2729729.1309 | 1274687.2194
93 | 2729864.9014 | 1274723.6714
94 | 2729835.842 | 1274729.5999
95 | 2729773.7284 | 1274768.6533
96 | 2729780.2146 | 1274685.4265
97 | 2729667.9276 | 1274576.0462
98 | 2729674.0037 | 1274837.6391
99 | 2729776.9123 | 1274685.6851
100 | 2729746.6176 | 1274687.6462
101 | 2729738.9077 | 1274687.9325
102 | 2729727.7629 | 1274726.2085
103 | 2729768.6878 | 1274757.1067
104 | 2729763.3026 | 1274744.7709
105 | 2729727.5897 | 1274726.8037
106 | 2729726.452 | 1274730.711
107 | 2729757.1658 | 1274730.7136
108 | 2729637.6482 | 1274870.4833

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1