## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4681-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4681-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4681-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4681-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4681-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4681-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4681-3_0_2_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_4681-3_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4681-3_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4681-3_0_2_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_4681-3_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4681-3_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4681-3_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4681-3_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4681-3_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4681-3_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4681-3_0_2_node_129 | 0.4 | n |  | TRUE
17 | bus_LV_4681-3_0_2_node_130 | 0.4 | n |  | TRUE
18 | bus_LV_4681-3_0_2_node_99 | 0.4 | n |  | TRUE
19 | bus_LV_4681-3_0_2_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_4681-3_0_2_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_4681-3_0_2_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_4681-3_0_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_4681-3_0_2_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_4681-3_0_2_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_4681-3_0_2_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_4681-3_0_2_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_4681-3_0_2_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_4681-3_0_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_4681-3_0_2_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_4681-3_0_2_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_4681-3_0_2_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_4681-3_0_2_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_4681-3_0_2_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_4681-3_0_2_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_4681-3_0_2_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_4681-3_0_2_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_4681-3_0_2_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_4681-3_0_2_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_4681-3_0_2_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_4681-3_0_2_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4681-3_0_2_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_4681-3_0_2_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_4681-3_0_2_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_4681-3_0_2_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_4681-3_0_2_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_4681-3_0_2_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_4681-3_0_2_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_4681-3_0_2_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_4681-3_0_2_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_4681-3_0_2_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_4681-3_0_2_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_4681-3_0_2_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_4681-3_0_2_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_4681-3_0_2_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_4681-3_0_2_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_4681-3_0_2_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_4681-3_0_2_node_100 | 0.4 | n |  | TRUE
58 | bus_MV_442_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4681-3_0_2_load_0 | 0 | 0.00092345 | 0.00023144 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4681-3_0_2_load_1 | 1 | 0.003246 | 0.00081353 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4681-3_0_2_load_9 | 7 | 0.0033123 | 0.00083014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4681-3_0_2_load_6 | 8 | 0.0013508 | 0.00033854 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4681-3_0_2_load_94 | 9 | 0.0011915 | 0.00029862 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4681-3_0_2_load_7 | 10 | 0.0023868 | 0.0005982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4681-3_0_2_load_8 | 11 | 0.00077202 | 0.00019349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4681-3_0_2_load_10 | 12 | 0.0036768 | 0.0009215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4681-3_0_2_load_11 | 13 | 0.00086815 | 0.00021758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4681-3_0_2_load_12 | 14 | 0.00036288 | 9.0946e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4681-3_0_2_load_13 | 15 | 0.0028453 | 0.00071311 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4681-3_0_2_load_129 | 16 | 0.00063987 | 0.00016037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4681-3_0_2_load_99 | 18 | 0.00084594 | 0.00021201 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4681-3_0_2_load_55 | 19 | 0.0016777 | 0.00042046 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4681-3_0_2_load_56 | 20 | 0.0017296 | 0.00043348 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4681-3_0_2_load_58 | 21 | 0.0015513 | 0.0003888 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4681-3_0_2_load_84 | 25 | 0.0019014 | 0.00047653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4681-3_0_2_load_66 | 26 | 0.00117 | 0.00029323 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4681-3_0_2_load_67 | 27 | 0.001198 | 0.00030024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4681-3_0_2_load_61 | 28 | 0.0013914 | 0.00034871 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4681-3_0_2_load_62 | 29 | 0.0014854 | 0.00037227 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4681-3_0_2_load_63 | 30 | 0.0015053 | 0.00037725 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4681-3_0_2_load_64 | 31 | 0.0015508 | 0.00038868 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4681-3_0_2_load_65 | 32 | 0.0015445 | 0.00038709 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4681-3_0_2_load_72 | 33 | 0.0014676 | 0.00036783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4681-3_0_2_load_68 | 34 | 0.0015625 | 0.0003916 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4681-3_0_2_load_69 | 35 | 0.00117 | 0.00029323 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4681-3_0_2_load_70 | 36 | 0.0026326 | 0.00065978 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4681-3_0_2_load_71 | 37 | 0.0018301 | 0.00045867 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4681-3_0_2_load_75 | 38 | 0.0023584 | 0.00059106 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4681-3_0_2_load_83 | 39 | 0.0013519 | 0.00033882 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4681-3_0_2_load_73 | 40 | 0.0029825 | 0.00074749 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4681-3_0_2_load_74 | 41 | 0.0023623 | 0.00059205 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4681-3_0_2_load_76 | 42 | 0.0038309 | 0.00096013 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4681-3_0_2_load_81 | 43 | 0.0028389 | 0.0007115 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4681-3_0_2_load_77 | 44 | 0.0037995 | 0.00095225 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4681-3_0_2_load_78 | 45 | 0.002019 | 0.00050602 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4681-3_0_2_load_80 | 46 | 0.00075129 | 0.00018829 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4681-3_0_2_load_82 | 47 | 0.0016713 | 0.00041887 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4681-3_0_2_load_86 | 49 | 0.0035536 | 0.00089062 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4681-3_0_2_load_90 | 50 | 0.003068 | 0.00076892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4681-3_0_2_load_91 | 51 | 0.0066485 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4681-3_0_2_load_95 | 53 | 0.0038034 | 0.00095322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4681-3_0_2_load_96 | 54 | 0.0019536 | 0.00048962 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4681-3_0_2_load_97 | 55 | 0.00090658 | 0.00022721 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4681-3_0_2_load_100 | 57 | 0.00074296 | 0.0001862 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4681-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4681-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4681-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4681-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4681-3_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4681-3_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.008506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4681-3_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.029331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4681-3_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.020442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4681-3_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.015107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4681-3_0_2_line_9 | NAYY 4x150 SE | 6 | 22 | 0.083801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4681-3_0_2_line_10 | NAYY 4x150 SE | 6 | 19 | 0.01904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4681-3_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.024814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4681-3_0_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.013137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4681-3_0_2_line_13 | NAYY 4x150 SE | 9 | 52 | 0.0047644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4681-3_0_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.017197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4681-3_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.011419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4681-3_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.031678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4681-3_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.013794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4681-3_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0049256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4681-3_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.049621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4681-3_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.018374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4681-3_0_2_line_21 | NAYY 4x150 SE | 18 | 55 | 0.0058048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4681-3_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0071008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4681-3_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.034825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4681-3_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.021236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4681-3_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.014933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4681-3_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.075185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4681-3_0_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.017841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4681-3_0_2_line_28 | NAYY 4x150 SE | 23 | 27 | 0.035022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4681-3_0_2_line_29 | NAYY 4x150 SE | 24 | 46 | 0.0022758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4681-3_0_2_line_30 | NAYY 4x150 SE | 24 | 44 | 0.060621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4681-3_0_2_line_31 | NAYY 4x150 SE | 25 | 48 | 0.049197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4681-3_0_2_line_32 | NAYY 4x150 SE | 26 | 35 | 7.981e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4681-3_0_2_line_33 | NAYY 4x150 SE | 27 | 36 | 0.038043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4681-3_0_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.0073765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4681-3_0_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4681-3_0_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.0098861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4681-3_0_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.013449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4681-3_0_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.0091595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4681-3_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.019292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4681-3_0_2_line_40 | NAYY 4x150 SE | 33 | 39 | 0.0088182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4681-3_0_2_line_41 | NAYY 4x150 SE | 34 | 35 | 0.00037737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4681-3_0_2_line_42 | NAYY 4x150 SE | 36 | 37 | 0.024994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4681-3_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0016951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4681-3_0_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.0052195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4681-3_0_2_line_45 | NAYY 4x150 SE | 40 | 41 | 0.022298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4681-3_0_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0019865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4681-3_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.005423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4681-3_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0017594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4681-3_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.048625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4681-3_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.12447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4681-3_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4681-3_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.014698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4681-3_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0046868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4681-3_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.02409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4681-3_0_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.027486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4681-3_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.01442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4681-3_0_2_trafo_58 | 0.25 MVA 20/0.4 kV | 58 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2735436.1093 | 1274323.6803 | 2735390.5094 | 1274309.9613 | 2735386.7242 | 1274308.8227
1 | 2735455.1862 | 1274329.4197 | 2735436.1093 | 1274323.6803
2 | 2735354.4541 | 1274297.9783 | 2735360.603 | 1274299.7877 | 2735363.3748 | 1274300.6076 | 2735376.2189 | 1274305.6627 | 2735386.7242 | 1274308.8227
3 | 2735455.1862 | 1274329.4197 | 2735447.7044 | 1274341.1039
4 | 2735455.1862 | 1274329.4197 | 2735464.1442 | 1274316.0121 | 2735466.9756 | 1274312.5959 | 2735476.7389 | 1274300.8084 | 2735491.9832 | 1274285.1985 | 2735505.9786 | 1274271.8956
5 | 2735354.4541 | 1274297.9783 | 2735353.467 | 1274292.4836 | 2735352.2113 | 1274289.8411
6 | 2735447.7044 | 1274341.1039 | 2735440.1517 | 1274356.5347 | 2735438.636 | 1274360.9598 | 2735436.222 | 1274368.0327
7 | 2735447.7044 | 1274341.1039 | 2735453.7829 | 1274344.0129 | 2735463.6081 | 1274350.8117 | 2735464.9969 | 1274351.8855
8 | 2735505.9786 | 1274271.8956 | 2735516.8659 | 1274282.3683
9 | 2735304.7037 | 1274222.9531 | 2735305.1791 | 1274229.1144 | 2735306.4467 | 1274234.5155 | 2735309.2371 | 1274240.4297 | 2735319.4001 | 1274254.8101 | 2735331.8672 | 1274269.0876 | 2735349.5008 | 1274287.0095 | 2735352.2113 | 1274289.8411
10 | 2735352.2113 | 1274289.8411 | 2735356.5903 | 1274283.5576 | 2735360.9813 | 1274280.0326 | 2735366.3414 | 1274277.9513
11 | 2735429.1099 | 1274391.7953 | 2735430.3576 | 1274386.7063 | 2735434.6925 | 1274372.514 | 2735436.222 | 1274368.0327
12 | 2735464.9969 | 1274351.8855 | 2735475.39 | 1274359.9211
13 | 2735520.2996 | 1274285.6712 | 2735516.8659 | 1274282.3683
14 | 2735489.3256 | 1274369.9877 | 2735480.8649 | 1274364.1542 | 2735475.39 | 1274359.9211
15 | 2735429.1099 | 1274391.7953 | 2735426.3909 | 1274402.8862
16 | 2735418.8479 | 1274433.6534 | 2735426.3909 | 1274402.8862
17 | 2735418.8479 | 1274433.6534 | 2735415.5634 | 1274447.0508
18 | 2735414.3906 | 1274451.8348 | 2735415.5634 | 1274447.0508
19 | 2735398.2192 | 1274498.6679 | 2735405.5673 | 1274480.9969 | 2735411.886 | 1274461.645 | 2735412.8716 | 1274458.0307 | 2735414.3906 | 1274451.8348
20 | 2735398.2192 | 1274498.6679 | 2735414.2397 | 1274507.6651
21 | 2735419.301 | 1274510.5076 | 2735414.2397 | 1274507.6651
22 | 2735366.3414 | 1274277.9513 | 2735370.7717 | 1274276.2311 | 2735373.0834 | 1274275.8178
23 | 2735373.0834 | 1274275.8178 | 2735379.4272 | 1274274.6836 | 2735386.891 | 1274272.2969 | 2735393.7072 | 1274268.9611 | 2735404.4694 | 1274261.749
24 | 2735422.1105 | 1274249.9272 | 2735404.4694 | 1274261.749
25 | 2735304.7037 | 1274222.9531 | 2735304.7812 | 1274219.5737 | 2735305.0838 | 1274208.0249
26 | 2735304.7037 | 1274222.9531 | 2735297.2995 | 1274224.7073 | 2735285.7248 | 1274230.2141 | 2735275.4575 | 1274237.0967 | 2735254.2227 | 1274253.1926 | 2735240.8696 | 1274261.5473
27 | 2735422.1105 | 1274249.9272 | 2735419.2366 | 1274245.6905 | 2735414.966 | 1274238.4076 | 2735412.0528 | 1274235.2742
28 | 2735422.1105 | 1274249.9272 | 2735424.9065 | 1274248.0562 | 2735437.0152 | 1274237.3123 | 2735447.6348 | 1274226.0631
29 | 2735305.0838 | 1274208.0249 | 2735305.1436 | 1274205.7499
30 | 2735305.0838 | 1274208.0249 | 2735341.0663 | 1274195.0148 | 2735346.9044 | 1274193.0022 | 2735354.8753 | 1274198.0232 | 2735361.3485 | 1274199.9811
31 | 2735196.6428 | 1274282.7248 | 2735204.7198 | 1274278.1942 | 2735226.1932 | 1274270.0559 | 2735234.3659 | 1274265.6165 | 2735240.8696 | 1274261.5473
32 | 2735412.0528 | 1274235.2742 | 2735411.9985 | 1274235.2157
33 | 2735447.6348 | 1274226.0631 | 2735466.4269 | 1274206.1566 | 2735458.8998 | 1274198.5979
34 | 2735375.5626 | 1274236.6021 | 2735375.5626 | 1274236.6021 | 2735368.2394 | 1274235.7173
35 | 2735375.5626 | 1274236.6021 | 2735385.6893 | 1274227.2542
36 | 2735368.2394 | 1274235.7173 | 2735367.2664 | 1274235.5997 | 2735360.7005 | 1274241.617
37 | 2735385.6893 | 1274227.2542 | 2735388.9648 | 1274224.2306 | 2735397.8615 | 1274222.9265
38 | 2735353.9478 | 1274247.8054 | 2735360.7005 | 1274241.617
39 | 2735411.7416 | 1274234.9393 | 2735400.248 | 1274222.5767 | 2735397.8615 | 1274222.9265
40 | 2735347.4467 | 1274253.7633 | 2735353.9478 | 1274247.8054
41 | 2735411.9985 | 1274235.2157 | 2735411.7416 | 1274234.9393
42 | 2735441.2633 | 1274180.8872 | 2735458.8998 | 1274198.5979
43 | 2735440.0672 | 1274179.686 | 2735441.2633 | 1274180.8872
44 | 2735436.3842 | 1274175.9876 | 2735440.0672 | 1274179.686
45 | 2735436.3842 | 1274175.9876 | 2735427.3563 | 1274166.9217 | 2735420.6515 | 1274160.1866
46 | 2735419.25 | 1274158.7788 | 2735420.6515 | 1274160.1866
47 | 2735415.424 | 1274154.9355 | 2735419.25 | 1274158.7788
48 | 2735363.0326 | 1274200.4904 | 2735361.3485 | 1274199.9811
49 | 2735307.7035 | 1274157.319 | 2735306.576 | 1274161.013 | 2735306.0815 | 1274170.1106 | 2735305.1436 | 1274205.7499
50 | 2735196.6428 | 1274282.7248 | 2735257.5241 | 1274391.2909
51 | 2735532.0987 | 1274297.0222 | 2735530.8918 | 1274295.8612
52 | 2735520.2996 | 1274285.6712 | 2735530.8918 | 1274295.8612
53 | 2735410.2938 | 1274532.1928 | 2735407.5754 | 1274536.0106
54 | 2735410.2938 | 1274532.1928 | 2735416.3119 | 1274523.7409 | 2735418.9594 | 1274516.539 | 2735419.301 | 1274510.5076 | 2735419.301 | 1274510.5076
55 | 2735393.9728 | 1274559.7861 | 2735401.0241 | 1274545.2113 | 2735407.5754 | 1274536.0106
56 | 2735393.9728 | 1274559.7861 | 2735384.0768 | 1274552.8078 | 2735382.3581 | 1274551.2636

## bus_geodata
| x | y | coords
0 | 2735436.1093 | 1274323.6803
1 | 2735386.7242 | 1274308.8227
2 | 2735455.1862 | 1274329.4197
3 | 2735354.4541 | 1274297.9783
4 | 2735447.7044 | 1274341.1039
5 | 2735505.9786 | 1274271.8956
6 | 2735352.2113 | 1274289.8411
7 | 2735436.222 | 1274368.0327
8 | 2735464.9969 | 1274351.8855
9 | 2735516.8659 | 1274282.3683
10 | 2735475.39 | 1274359.9211
11 | 2735489.3256 | 1274369.9877
12 | 2735429.1099 | 1274391.7953
13 | 2735426.3909 | 1274402.8862
14 | 2735418.8479 | 1274433.6534
15 | 2735415.5634 | 1274447.0508
16 | 2735414.3906 | 1274451.8348
17 | 2735398.2192 | 1274498.6679
18 | 2735414.2397 | 1274507.6651
19 | 2735366.3414 | 1274277.9513
20 | 2735373.0834 | 1274275.8178
21 | 2735404.4694 | 1274261.749
22 | 2735304.7037 | 1274222.9531
23 | 2735422.1105 | 1274249.9272
24 | 2735305.0838 | 1274208.0249
25 | 2735240.8696 | 1274261.5473
26 | 2735412.0528 | 1274235.2742
27 | 2735447.6348 | 1274226.0631
28 | 2735375.5626 | 1274236.6021
29 | 2735368.2394 | 1274235.7173
30 | 2735385.6893 | 1274227.2542
31 | 2735360.7005 | 1274241.617
32 | 2735397.8615 | 1274222.9265
33 | 2735353.9478 | 1274247.8054
34 | 2735411.7416 | 1274234.9394
35 | 2735411.9985 | 1274235.2157
36 | 2735458.8998 | 1274198.5979
37 | 2735441.2633 | 1274180.8872
38 | 2735440.0672 | 1274179.686
39 | 2735347.4467 | 1274253.7633
40 | 2735436.3842 | 1274175.9876
41 | 2735420.6515 | 1274160.1866
42 | 2735419.25 | 1274158.7788
43 | 2735415.424 | 1274154.9355
44 | 2735361.3485 | 1274199.9811
45 | 2735363.0326 | 1274200.4904
46 | 2735305.1436 | 1274205.7499
47 | 2735307.7035 | 1274157.319
48 | 2735196.6428 | 1274282.7248
49 | 2735257.5241 | 1274391.2909
50 | 2735532.0987 | 1274297.0222
51 | 2735530.8918 | 1274295.8612
52 | 2735520.2996 | 1274285.6712
53 | 2735410.2938 | 1274532.1928
54 | 2735407.5754 | 1274536.0106
55 | 2735419.301 | 1274510.5076
56 | 2735393.9728 | 1274559.7861
57 | 2735382.3581 | 1274551.2636
58 | 2735404.4694 | 1274261.749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1