## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4681-3_1_3_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_4681-3_1_3_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_4681-3_1_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_4681-3_1_3_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_4681-3_1_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_4681-3_1_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_4681-3_1_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4681-3_1_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_4681-3_1_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4681-3_1_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4681-3_1_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_4681-3_1_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_4681-3_1_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_4681-3_1_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_4681-3_1_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4681-3_1_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_4681-3_1_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_4681-3_1_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_4681-3_1_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_4681-3_1_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_4681-3_1_3_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_4681-3_1_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_4681-3_1_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_4681-3_1_3_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_4681-3_1_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4681-3_1_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_4681-3_1_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_4681-3_1_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_4681-3_1_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_4681-3_1_3_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4681-3_1_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_4681-3_1_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_4681-3_1_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_4681-3_1_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_4681-3_1_3_node_139 | 0.4 | n |  | TRUE
35 | bus_LV_4681-3_1_3_node_136 | 0.4 | n |  | TRUE
36 | bus_LV_4681-3_1_3_node_144 | 0.4 | n |  | TRUE
37 | bus_LV_4681-3_1_3_node_159 | 0.4 | n |  | TRUE
38 | bus_LV_4681-3_1_3_node_161 | 0.4 | n |  | TRUE
39 | bus_LV_4681-3_1_3_node_137 | 0.4 | n |  | TRUE
40 | bus_LV_4681-3_1_3_node_145 | 0.4 | n |  | TRUE
41 | bus_LV_4681-3_1_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_4681-3_1_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4681-3_1_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4681-3_1_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_4681-3_1_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4681-3_1_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_4681-3_1_3_node_125 | 0.4 | n |  | TRUE
48 | bus_LV_4681-3_1_3_node_126 | 0.4 | n |  | TRUE
49 | bus_LV_4681-3_1_3_node_127 | 0.4 | n |  | TRUE
50 | bus_LV_4681-3_1_3_node_128 | 0.4 | n |  | TRUE
51 | bus_LV_4681-3_1_3_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_4681-3_1_3_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_4681-3_1_3_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_4681-3_1_3_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_4681-3_1_3_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_4681-3_1_3_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_4681-3_1_3_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_4681-3_1_3_node_102 | 0.4 | n |  | TRUE
59 | bus_LV_4681-3_1_3_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_4681-3_1_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_4681-3_1_3_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_4681-3_1_3_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_4681-3_1_3_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_4681-3_1_3_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_4681-3_1_3_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_4681-3_1_3_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_4681-3_1_3_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_4681-3_1_3_node_109 | 0.4 | n |  | TRUE
69 | bus_LV_4681-3_1_3_node_114 | 0.4 | n |  | TRUE
70 | bus_LV_4681-3_1_3_node_115 | 0.4 | n |  | TRUE
71 | bus_LV_4681-3_1_3_node_116 | 0.4 | n |  | TRUE
72 | bus_LV_4681-3_1_3_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_4681-3_1_3_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_4681-3_1_3_node_117 | 0.4 | n |  | TRUE
75 | bus_LV_4681-3_1_3_node_118 | 0.4 | n |  | TRUE
76 | bus_LV_4681-3_1_3_node_119 | 0.4 | n |  | TRUE
77 | bus_LV_4681-3_1_3_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_4681-3_1_3_node_121 | 0.4 | n |  | TRUE
79 | bus_LV_4681-3_1_3_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_4681-3_1_3_node_157 | 0.4 | n |  | TRUE
81 | bus_LV_4681-3_1_3_node_156 | 0.4 | n |  | TRUE
82 | bus_LV_4681-3_1_3_node_134 | 0.4 | n |  | TRUE
83 | bus_LV_4681-3_1_3_node_135 | 0.4 | n |  | TRUE
84 | bus_LV_4681-3_1_3_node_155 | 0.4 | n |  | TRUE
85 | bus_LV_4681-3_1_3_node_138 | 0.4 | n |  | TRUE
86 | bus_LV_4681-3_1_3_node_140 | 0.4 | n |  | TRUE
87 | bus_LV_4681-3_1_3_node_141 | 0.4 | n |  | TRUE
88 | bus_LV_4681-3_1_3_node_158 | 0.4 | n |  | TRUE
89 | bus_LV_4681-3_1_3_node_142 | 0.4 | n |  | TRUE
90 | bus_LV_4681-3_1_3_node_143 | 0.4 | n |  | TRUE
91 | bus_LV_4681-3_1_3_node_147 | 0.4 | n |  | TRUE
92 | bus_LV_4681-3_1_3_node_150 | 0.4 | n |  | TRUE
93 | bus_LV_4681-3_1_3_node_146 | 0.4 | n |  | TRUE
94 | bus_LV_4681-3_1_3_node_148 | 0.4 | n |  | TRUE
95 | bus_LV_4681-3_1_3_node_149 | 0.4 | n |  | TRUE
96 | bus_LV_4681-3_1_3_node_151 | 0.4 | n |  | TRUE
97 | bus_LV_4681-3_1_3_node_154 | 0.4 | n |  | TRUE
98 | bus_LV_4681-3_1_3_node_152 | 0.4 | n |  | TRUE
99 | bus_LV_4681-3_1_3_node_160 | 0.4 | n |  | TRUE
100 | bus_MV_442_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4681-3_1_3_load_14 | 0 | 0.0010357 | 0.00025958 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4681-3_1_3_load_15 | 1 | 0.0011647 | 0.0002919 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4681-3_1_3_load_17 | 3 | 0.0015189 | 0.00038068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4681-3_1_3_load_19 | 5 | 0.00074971 | 0.0001879 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4681-3_1_3_load_20 | 6 | 0.00018134 | 4.5448e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4681-3_1_3_load_21 | 7 | 0.000334 | 8.3708e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4681-3_1_3_load_22 | 8 | 0.000334 | 8.3708e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4681-3_1_3_load_23 | 9 | 0.0003648 | 9.1428e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4681-3_1_3_load_24 | 10 | 0.00068061 | 0.00017058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4681-3_1_3_load_25 | 11 | 0.00069608 | 0.00017445 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4681-3_1_3_load_26 | 12 | 0.0003478 | 8.7168e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4681-3_1_3_load_30 | 14 | 0.00068838 | 0.00017252 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4681-3_1_3_load_32 | 15 | 0.00058351 | 0.00014624 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4681-3_1_3_load_28 | 18 | 0.0026016 | 0.00065202 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4681-3_1_3_load_53 | 20 | 0.00045414 | 0.00011382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4681-3_1_3_load_54 | 21 | 0.0016475 | 0.0004129 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4681-3_1_3_load_45 | 22 | 0.0016407 | 0.0004112 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4681-3_1_3_load_52 | 23 | 0.0018099 | 0.00045361 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4681-3_1_3_load_33 | 25 | 0.0016339 | 0.00040951 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4681-3_1_3_load_34 | 26 | 0.0019259 | 0.00048267 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4681-3_1_3_load_36 | 27 | 0.0008959 | 0.00022453 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4681-3_1_3_load_38 | 28 | 0.00036003 | 9.0232e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4681-3_1_3_load_42 | 29 | 0.0061881 | 0.0015509 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4681-3_1_3_load_43 | 31 | 0.0010103 | 0.00025321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4681-3_1_3_load_41 | 33 | 0.0062695 | 0.0015713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4681-3_1_3_load_136 | 35 | 0.0030463 | 0.00076346 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4681-3_1_3_load_144 | 36 | 0.00053376 | 0.00013377 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4681-3_1_3_load_159 | 37 | 0.00084863 | 0.00021269 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4681-3_1_3_load_161 | 38 | 0.0027019 | 0.00067715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4681-3_1_3_load_137 | 39 | 0.0027545 | 0.00069034 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4681-3_1_3_load_145 | 40 | 0.00062796 | 0.00015738 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4681-3_1_3_load_44 | 41 | 0.0021707 | 0.00054402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4681-3_1_3_load_46 | 42 | 0.0010989 | 0.00027542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4681-3_1_3_load_47 | 43 | 0.00090911 | 0.00022784 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4681-3_1_3_load_48 | 44 | 0.00152 | 0.00038095 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4681-3_1_3_load_49 | 45 | 0.0014444 | 0.000362 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4681-3_1_3_load_50 | 46 | 0.0012233 | 0.00030659 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4681-3_1_3_load_125 | 47 | 0.002004 | 0.00050225 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4681-3_1_3_load_126 | 48 | 0.00042951 | 0.00010765 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4681-3_1_3_load_127 | 49 | 0.0041897 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4681-3_1_3_load_104 | 51 | 0.0012368 | 0.00030996 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4681-3_1_3_load_87 | 52 | 0.0022734 | 0.00056978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4681-3_1_3_load_88 | 53 | 0.0016733 | 0.00041937 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4681-3_1_3_load_89 | 54 | 0.0007511 | 0.00018824 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4681-3_1_3_load_124 | 55 | 0.00057215 | 0.00014339 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4681-3_1_3_load_123 | 56 | 0.00059139 | 0.00014822 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4681-3_1_3_load_101 | 57 | 0.0030687 | 0.00076908 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4681-3_1_3_load_111 | 59 | 0.00047484 | 0.00011901 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4681-3_1_3_load_103 | 60 | 0.0023928 | 0.00059969 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4681-3_1_3_load_110 | 61 | 0.0010065 | 0.00025226 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4681-3_1_3_load_112 | 62 | 0.00029317 | 7.3475e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4681-3_1_3_load_113 | 63 | 0.00026922 | 6.7472e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4681-3_1_3_load_105 | 64 | 0.00086243 | 0.00021615 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4681-3_1_3_load_106 | 65 | 0.00086243 | 0.00021615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4681-3_1_3_load_108 | 67 | 0.00086244 | 0.00021615 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4681-3_1_3_load_109 | 68 | 0.0010887 | 0.00027285 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4681-3_1_3_load_114 | 69 | 0.00043569 | 0.00010919 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4681-3_1_3_load_115 | 70 | 0.002685 | 0.00067292 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4681-3_1_3_load_116 | 71 | 0.00095154 | 0.00023848 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4681-3_1_3_load_132 | 72 | 0.00060782 | 0.00015233 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4681-3_1_3_load_117 | 74 | 0.00068324 | 0.00017124 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4681-3_1_3_load_118 | 75 | 0.0044913 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4681-3_1_3_load_119 | 76 | 0.00071028 | 0.00017801 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4681-3_1_3_load_120 | 77 | 0.00071006 | 0.00017796 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4681-3_1_3_load_121 | 78 | 0.00071008 | 0.00017796 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4681-3_1_3_load_122 | 79 | 0.0039458 | 0.00098891 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4681-3_1_3_load_157 | 80 | 0.0032965 | 0.00082618 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4681-3_1_3_load_156 | 81 | 0.00084758 | 0.00021242 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4681-3_1_3_load_134 | 82 | 0.0034209 | 0.00085735 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4681-3_1_3_load_135 | 83 | 0.00087957 | 0.00022044 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4681-3_1_3_load_155 | 84 | 0.00047596 | 0.00011929 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4681-3_1_3_load_138 | 85 | 0.0027545 | 0.00069034 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4681-3_1_3_load_140 | 86 | 0.0023491 | 0.00058874 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4681-3_1_3_load_141 | 87 | 0.0038584 | 0.00096701 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4681-3_1_3_load_158 | 88 | 0.0013116 | 0.00032872 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4681-3_1_3_load_142 | 89 | 0.00067671 | 0.0001696 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4681-3_1_3_load_143 | 90 | 0.00036356 | 9.1116e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4681-3_1_3_load_147 | 91 | 0.0020193 | 0.00050608 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4681-3_1_3_load_150 | 92 | 0.0050928 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4681-3_1_3_load_146 | 93 | 0.00032479 | 8.14e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4681-3_1_3_load_148 | 94 | 0.00023965 | 6.0061e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4681-3_1_3_load_149 | 95 | 0.0011691 | 0.00029299 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4681-3_1_3_load_151 | 96 | 0.0023497 | 0.0005889 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4681-3_1_3_load_154 | 97 | 0.0039835 | 0.00099835 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4681-3_1_3_load_152 | 98 | 0.002936 | 0.00073584 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4681-3_1_3_load_160 | 99 | 0.0028397 | 0.00071169 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4681-3_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4681-3_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4681-3_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4681-3_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.042321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4681-3_1_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.028153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4681-3_1_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.007135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4681-3_1_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.011169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4681-3_1_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0094923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4681-3_1_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.023086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4681-3_1_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.024791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4681-3_1_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.018191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4681-3_1_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.019729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4681-3_1_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.015612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4681-3_1_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.031403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4681-3_1_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.011784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4681-3_1_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.022478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4681-3_1_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.014053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4681-3_1_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.030281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4681-3_1_3_line_18 | NAYY 4x150 SE | 17 | 24 | 0.032495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4681-3_1_3_line_19 | NAYY 4x150 SE | 17 | 25 | 0.026097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4681-3_1_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.011651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4681-3_1_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.022858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4681-3_1_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.015512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4681-3_1_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.02513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4681-3_1_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.015687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4681-3_1_3_line_25 | NAYY 4x150 SE | 23 | 46 | 0.024968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4681-3_1_3_line_26 | NAYY 4x150 SE | 24 | 29 | 0.024423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4681-3_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0025458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4681-3_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.010526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4681-3_1_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.01484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4681-3_1_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.055425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4681-3_1_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.025157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4681-3_1_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.009823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4681-3_1_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.033417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4681-3_1_3_line_34 | NAYY 4x150 SE | 31 | 41 | 0.013421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4681-3_1_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.010205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4681-3_1_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.039526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4681-3_1_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.020672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4681-3_1_3_line_38 | NAYY 4x150 SE | 34 | 37 | 0.018486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4681-3_1_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.01185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4681-3_1_3_line_40 | NAYY 4x150 SE | 35 | 39 | 0.016275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4681-3_1_3_line_41 | NAYY 4x150 SE | 36 | 40 | 0.0017719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4681-3_1_3_line_42 | NAYY 4x150 SE | 37 | 88 | 0.0077384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4681-3_1_3_line_43 | NAYY 4x150 SE | 38 | 83 | 0.0023956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4681-3_1_3_line_44 | NAYY 4x150 SE | 39 | 85 | 0.0068371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4681-3_1_3_line_45 | NAYY 4x150 SE | 40 | 93 | 0.036159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4681-3_1_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.013762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4681-3_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.00034282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4681-3_1_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0086573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4681-3_1_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.022231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4681-3_1_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.025039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4681-3_1_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.00033554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4681-3_1_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.074654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4681-3_1_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.4167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4681-3_1_3_line_54 | NAYY 4x150 SE | 51 | 60 | 0.0030018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4681-3_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.018056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4681-3_1_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.02269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4681-3_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0077165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4681-3_1_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.012743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4681-3_1_3_line_59 | NAYY 4x150 SE | 56 | 79 | 0.0052816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4681-3_1_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.014995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4681-3_1_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.081682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4681-3_1_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.023248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4681-3_1_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.00091481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4681-3_1_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.011904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4681-3_1_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.019684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4681-3_1_3_line_66 | NAYY 4x150 SE | 63 | 69 | 0.00076642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4681-3_1_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0085905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4681-3_1_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.013916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4681-3_1_3_line_69 | NAYY 4x150 SE | 65 | 67 | 0.0085889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4681-3_1_3_line_70 | NAYY 4x150 SE | 66 | 68 | 0.018926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4681-3_1_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.0032407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4681-3_1_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.024397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4681-3_1_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0020304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4681-3_1_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.014697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4681-3_1_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.032335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4681-3_1_3_line_76 | NAYY 4x150 SE | 73 | 82 | 0.003777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4681-3_1_3_line_77 | NAYY 4x150 SE | 73 | 83 | 0.021858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4681-3_1_3_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0030232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4681-3_1_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.019196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4681-3_1_3_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0018067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4681-3_1_3_line_81 | NAYY 4x150 SE | 76 | 78 | 0.001544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4681-3_1_3_line_82 | NAYY 4x150 SE | 77 | 79 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4681-3_1_3_line_83 | NAYY 4x150 SE | 78 | 80 | 0.0093171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4681-3_1_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.01391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4681-3_1_3_line_85 | NAYY 4x150 SE | 81 | 84 | 0.0025638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4681-3_1_3_line_86 | NAYY 4x150 SE | 82 | 84 | 0.029407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4681-3_1_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4681-3_1_3_line_88 | NAYY 4x150 SE | 86 | 87 | 0.0024206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4681-3_1_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.013692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4681-3_1_3_line_90 | NAYY 4x150 SE | 88 | 99 | 0.016855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4681-3_1_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0052108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4681-3_1_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.01583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4681-3_1_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.016974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4681-3_1_3_line_94 | NAYY 4x150 SE | 92 | 96 | 0.032283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4681-3_1_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.016492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4681-3_1_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.009575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4681-3_1_3_line_97 | NAYY 4x150 SE | 95 | 97 | 0.046399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4681-3_1_3_line_98 | NAYY 4x150 SE | 96 | 98 | 0.0078883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4681-3_1_3_trafo_136 | 0.25 MVA 20/0.4 kV | 100 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2735073.0081 | 1274882.1161 | 2735094.2481 | 1274900.3398
1 | 2735063.3123 | 1274873.7972 | 2735073.0081 | 1274882.1161
2 | 2735094.2481 | 1274900.3398 | 2735115.8416 | 1274918.8667
3 | 2735063.3123 | 1274873.7972 | 2735050.5528 | 1274863.4507 | 2735064.7374 | 1274841.7873
4 | 2735064.7374 | 1274841.7873 | 2735070.5128 | 1274832.9552 | 2735080.1539 | 1274818.2304
5 | 2735080.1539 | 1274818.2304 | 2735084.0623 | 1274812.261
6 | 2735084.0623 | 1274812.261 | 2735087.4877 | 1274807.0293 | 2735090.26 | 1274802.9696
7 | 2735090.26 | 1274802.9696 | 2735095.6131 | 1274795.1307
8 | 2735108.6322 | 1274776.0659 | 2735104.8966 | 1274781.536 | 2735095.6131 | 1274795.1307
9 | 2735108.6322 | 1274776.0659 | 2735122.6131 | 1274755.5932
10 | 2735132.9666 | 1274740.6369 | 2735129.9712 | 1274744.8184 | 2735122.6131 | 1274755.5932
11 | 2735132.9666 | 1274740.6369 | 2735141.5249 | 1274728.6893 | 2735144.7745 | 1274724.8469
12 | 2735154.8529 | 1274712.9234 | 2735150.1524 | 1274718.4879 | 2735144.7745 | 1274724.8469
13 | 2735154.8529 | 1274712.9234 | 2735176.6493 | 1274735.5304
14 | 2735154.8529 | 1274712.9234 | 2735163.1521 | 1274704.5579
15 | 2735195.6037 | 1274742.0964 | 2735191.7238 | 1274744.0205 | 2735186.6918 | 1274743.7049 | 2735182.2998 | 1274741.391 | 2735176.6493 | 1274735.5304
16 | 2735173.2666 | 1274694.805 | 2735166.7635 | 1274700.9177 | 2735163.1521 | 1274704.5579
17 | 2735195.6037 | 1274742.0964 | 2735186.6256 | 1274771.0155
18 | 2735173.2666 | 1274694.805 | 2735183.2537 | 1274686.3254 | 2735198.6004 | 1274674.3763
19 | 2735173.2666 | 1274694.805 | 2735160.4815 | 1274678.3517 | 2735157.7329 | 1274673.8665
20 | 2735218.0937 | 1274698.7356 | 2735227.3177 | 1274691.618
21 | 2735218.0937 | 1274698.7356 | 2735232.0952 | 1274716.804
22 | 2735218.0937 | 1274698.7356 | 2735208.4019 | 1274686.6245
23 | 2735227.3177 | 1274691.618 | 2735247.213 | 1274676.266
24 | 2735198.6004 | 1274674.3763 | 2735208.4019 | 1274686.6245
25 | 2735266.9805 | 1274661.0127 | 2735247.213 | 1274676.266
26 | 2735198.6004 | 1274674.3763 | 2735218.2149 | 1274659.8242
27 | 2735157.7329 | 1274673.8665 | 2735156.4027 | 1274671.6958
28 | 2735150.9028 | 1274662.7209 | 2735156.4027 | 1274671.6958
29 | 2735150.9028 | 1274662.7209 | 2735143.1488 | 1274650.0678
30 | 2735120.3129 | 1274599.7771 | 2735121.7661 | 1274604.3037 | 2735123.2735 | 1274608.7648 | 2735125.6984 | 1274614.8708 | 2735133.032 | 1274632.9119 | 2735141.3192 | 1274647.0822 | 2735143.1488 | 1274650.0678
31 | 2735218.2149 | 1274659.8242 | 2735238.4188 | 1274644.8348
32 | 2735120.5819 | 1274590.007 | 2735119.9528 | 1274595.1421 | 2735120.3129 | 1274599.7771
33 | 2735120.3129 | 1274599.7771 | 2735101.5405 | 1274605.6421 | 2735089.6065 | 1274612.4709
34 | 2735249.197 | 1274636.8384 | 2735238.4188 | 1274644.8348
35 | 2735120.5819 | 1274590.007 | 2735122.1443 | 1274579.9218
36 | 2735120.5819 | 1274590.007 | 2735110.1696 | 1274585.1973 | 2735090.6385 | 1274575.5853 | 2735084.8267 | 1274573.1845
37 | 2735089.6065 | 1274612.4709 | 2735088.066 | 1274613.3524 | 2735083.2425 | 1274616.7342 | 2735077.3333 | 1274620.892 | 2735073.132 | 1274624.8633
38 | 2735122.1443 | 1274579.9218 | 2735140.6275 | 1274580.2403
39 | 2735122.1443 | 1274579.9218 | 2735123.9552 | 1274568.2107
40 | 2735068.8019 | 1274572.2369 | 2735071.6248 | 1274571.6241 | 2735078.0092 | 1274571.6813 | 2735083.7688 | 1274572.7475 | 2735084.8267 | 1274573.1845
41 | 2735071.8444 | 1274626.0805 | 2735073.132 | 1274624.8633
42 | 2735148.3647 | 1274580.3737 | 2735140.6275 | 1274580.2403
43 | 2735124.3213 | 1274565.8432 | 2735123.9552 | 1274568.2107
44 | 2735068.8019 | 1274572.2369 | 2735063.839 | 1274573.3143 | 2735062.1612 | 1274573.8412
45 | 2735071.8444 | 1274626.0805 | 2735059.413 | 1274637.8319 | 2735046.8523 | 1274652.1576
46 | 2735249.197 | 1274636.8384 | 2735259.5448 | 1274629.1613 | 2735260.2461 | 1274628.6333
47 | 2735284.5811 | 1274647.4314 | 2735284.8525 | 1274647.222
48 | 2735284.8525 | 1274647.222 | 2735291.7065 | 1274641.9332 | 2735291.7065 | 1274641.9332
49 | 2735284.5811 | 1274647.4314 | 2735266.9805 | 1274661.0127
50 | 2734645.5492 | 1274019.0485 | 2734666.8987 | 1274032.1319
51 | 2734645.2631 | 1274018.8732 | 2734645.5492 | 1274019.0485
52 | 2734730.5511 | 1274071.1394 | 2734666.8987 | 1274032.1319
53 | 2735022.8402 | 1274368.1394 | 2734730.5511 | 1274071.1394
54 | 2735022.8402 | 1274368.1394 | 2735022.8883 | 1274368.1651 | 2735025.0357 | 1274370.1839
55 | 2735238.0383 | 1274415.9748 | 2735233.6178 | 1274421.5746 | 2735226.852 | 1274430.1485
56 | 2735226.852 | 1274430.1485 | 2735212.7965 | 1274447.9603
57 | 2735208.0163 | 1274454.0179 | 2735212.7965 | 1274447.9603
58 | 2735208.0163 | 1274454.0179 | 2735200.1226 | 1274464.0211
59 | 2735200.1226 | 1274464.0211 | 2735196.8508 | 1274468.1672
60 | 2735041.9737 | 1274386.1082 | 2735053.308 | 1274376.2912
61 | 2735106.0974 | 1274438.6234 | 2735053.308 | 1274376.2912
62 | 2735041.9737 | 1274386.1082 | 2735025.0357 | 1274370.1839
63 | 2735106.0974 | 1274438.6234 | 2735105.4347 | 1274439.254
64 | 2735105.4347 | 1274439.254 | 2735096.8113 | 1274447.4606
65 | 2735082.5521 | 1274461.0306 | 2735096.8113 | 1274447.4606
66 | 2735082.5521 | 1274461.0306 | 2735081.9969 | 1274461.559
67 | 2735073.4276 | 1274469.714 | 2735067.2047 | 1274475.6362
68 | 2735057.1239 | 1274485.2298 | 2735067.2047 | 1274475.6362
69 | 2735079.6494 | 1274463.793 | 2735073.4276 | 1274469.714
70 | 2735057.1239 | 1274485.2298 | 2735071.3761 | 1274497.6828
71 | 2735079.6494 | 1274463.793 | 2735081.9969 | 1274461.559
72 | 2735071.3761 | 1274497.6828 | 2735078.1692 | 1274503.6182 | 2735089.7451 | 1274513.7386
73 | 2735091.2737 | 1274515.075 | 2735089.7451 | 1274513.7386
74 | 2735091.2737 | 1274515.075 | 2735102.3381 | 1274524.7484
75 | 2735127.9848 | 1274544.2983 | 2735115.584 | 1274536.3288 | 2735102.3381 | 1274524.7484
76 | 2735127.9848 | 1274544.2983 | 2735129.3536 | 1274540.778
77 | 2735127.9848 | 1274544.2983 | 2735126.4356 | 1274552.1705 | 2735124.3213 | 1274565.8432
78 | 2735181.4532 | 1274486.3506 | 2735183.5761 | 1274484.1981
79 | 2735167.7023 | 1274499.7289 | 2735171.7417 | 1274496.1973 | 2735181.4532 | 1274486.3506
80 | 2735184.7464 | 1274482.8222 | 2735183.6698 | 1274484.103 | 2735183.5761 | 1274484.1981
81 | 2735167.7023 | 1274499.7289 | 2735166.5399 | 1274500.7452
82 | 2735184.7464 | 1274482.8222 | 2735193.5751 | 1274472.3183 | 2735196.8508 | 1274468.1672
83 | 2735166.5399 | 1274500.7452 | 2735159.5256 | 1274506.8777
84 | 2735149.0536 | 1274516.0332 | 2735159.5256 | 1274506.8777
85 | 2735147.1235 | 1274517.7206 | 2735149.0536 | 1274516.0332
86 | 2735147.1235 | 1274517.7206 | 2735146.1061 | 1274518.6101 | 2735137.0759 | 1274527.9904 | 2735130.998 | 1274536.5485 | 2735129.3536 | 1274540.778
87 | 2735062.1612 | 1274573.8412 | 2735045.9418 | 1274578.9349
88 | 2735045.9418 | 1274578.9349 | 2735045.6189 | 1274579.0363 | 2735043.632 | 1274579.6588
89 | 2735043.632 | 1274579.6588 | 2735030.5658 | 1274583.7522 | 2735030.5658 | 1274583.7522
90 | 2735165.2176 | 1274580.6642 | 2735148.3647 | 1274580.3737
91 | 2735025.4436 | 1274584.7092 | 2735030.5658 | 1274583.7522
92 | 2735010.316 | 1274581.1691 | 2735013.2194 | 1274582.8545 | 2735019.3919 | 1274584.6085 | 2735025.2631 | 1274584.743 | 2735025.4436 | 1274584.7092
93 | 2735010.316 | 1274581.1691 | 2735009.9682 | 1274580.9672 | 2734995.6347 | 1274572.6491
94 | 2734995.6347 | 1274572.6491 | 2734993.7271 | 1274571.5421 | 2734988.8422 | 1274569.3949 | 2734984.6048 | 1274568.5305 | 2734978.311 | 1274568.1306 | 2734964.7174 | 1274570.5333 | 2734964.42 | 1274570.604
95 | 2735035.9796 | 1274664.5581 | 2735046.8523 | 1274652.1576
96 | 2735029.6672 | 1274671.7576 | 2735035.9796 | 1274664.5581
97 | 2735029.6672 | 1274671.7576 | 2735019.3767 | 1274683.4941 | 2735009.4059 | 1274698.503 | 2735003.5858 | 1274709.8708
98 | 2734956.7458 | 1274572.4297 | 2734964.42 | 1274570.604

## bus_geodata
| x | y | coords
0 | 2735073.0081 | 1274882.1161
1 | 2735094.2481 | 1274900.3398
2 | 2735063.3123 | 1274873.7972
3 | 2735115.8416 | 1274918.8667
4 | 2735064.7374 | 1274841.7873
5 | 2735080.1539 | 1274818.2304
6 | 2735084.0623 | 1274812.261
7 | 2735090.26 | 1274802.9696
8 | 2735095.6131 | 1274795.1307
9 | 2735108.6322 | 1274776.0659
10 | 2735122.6131 | 1274755.5932
11 | 2735132.9666 | 1274740.6369
12 | 2735144.7745 | 1274724.8469
13 | 2735154.8529 | 1274712.9234
14 | 2735176.6493 | 1274735.5304
15 | 2735163.1521 | 1274704.5579
16 | 2735195.6037 | 1274742.0964
17 | 2735173.2666 | 1274694.805
18 | 2735186.6256 | 1274771.0155
19 | 2735218.0937 | 1274698.7356
20 | 2735227.3177 | 1274691.618
21 | 2735232.0952 | 1274716.804
22 | 2735208.4019 | 1274686.6245
23 | 2735247.213 | 1274676.266
24 | 2735198.6004 | 1274674.3763
25 | 2735157.7329 | 1274673.8665
26 | 2735156.4027 | 1274671.6958
27 | 2735150.9028 | 1274662.7209
28 | 2735143.1488 | 1274650.0678
29 | 2735218.2149 | 1274659.8242
30 | 2735120.3129 | 1274599.7771
31 | 2735238.4188 | 1274644.8348
32 | 2735120.5819 | 1274590.007
33 | 2735089.6065 | 1274612.4709
34 | 2735122.1443 | 1274579.9218
35 | 2735084.8267 | 1274573.1845
36 | 2735073.132 | 1274624.8633
37 | 2735140.6275 | 1274580.2403
38 | 2735123.9552 | 1274568.2107
39 | 2735068.8019 | 1274572.2369
40 | 2735071.8444 | 1274626.0805
41 | 2735249.197 | 1274636.8384
42 | 2735260.2461 | 1274628.6333
43 | 2735284.8525 | 1274647.222
44 | 2735284.5811 | 1274647.4314
45 | 2735291.7065 | 1274641.9332
46 | 2735266.9805 | 1274661.0127
47 | 2734645.5492 | 1274019.0485
48 | 2734666.8987 | 1274032.1319
49 | 2734645.2631 | 1274018.8732
50 | 2734730.5511 | 1274071.1394
51 | 2735022.8402 | 1274368.1394
52 | 2735238.0383 | 1274415.9748
53 | 2735226.852 | 1274430.1485
54 | 2735212.7965 | 1274447.9602
55 | 2735208.0163 | 1274454.0179
56 | 2735200.1226 | 1274464.0211
57 | 2735053.308 | 1274376.2912
58 | 2735041.9737 | 1274386.1082
59 | 2735106.0974 | 1274438.6234
60 | 2735025.0357 | 1274370.1839
61 | 2735105.4347 | 1274439.254
62 | 2735096.8113 | 1274447.4606
63 | 2735082.5521 | 1274461.0306
64 | 2735067.2047 | 1274475.6362
65 | 2735073.4276 | 1274469.714
66 | 2735057.1239 | 1274485.2298
67 | 2735079.6494 | 1274463.793
68 | 2735071.3761 | 1274497.6828
69 | 2735081.9969 | 1274461.559
70 | 2735089.7451 | 1274513.7386
71 | 2735091.2737 | 1274515.075
72 | 2735102.3381 | 1274524.7484
73 | 2735127.9848 | 1274544.2983
74 | 2735181.4532 | 1274486.3506
75 | 2735183.5761 | 1274484.1981
76 | 2735167.7023 | 1274499.7289
77 | 2735184.7464 | 1274482.8222
78 | 2735166.5399 | 1274500.7452
79 | 2735196.8508 | 1274468.1672
80 | 2735159.5256 | 1274506.8777
81 | 2735149.0536 | 1274516.0332
82 | 2735129.3536 | 1274540.778
83 | 2735124.3213 | 1274565.8432
84 | 2735147.1235 | 1274517.7206
85 | 2735062.1612 | 1274573.8412
86 | 2735045.9418 | 1274578.9349
87 | 2735043.632 | 1274579.6588
88 | 2735148.3647 | 1274580.3737
89 | 2735030.5658 | 1274583.7522
90 | 2735025.4436 | 1274584.7092
91 | 2735010.316 | 1274581.1691
92 | 2734995.6347 | 1274572.6491
93 | 2735046.8523 | 1274652.1576
94 | 2735035.9796 | 1274664.5581
95 | 2735029.6672 | 1274671.7576
96 | 2734964.42 | 1274570.604
97 | 2735003.5858 | 1274709.8708
98 | 2734956.7458 | 1274572.4297
99 | 2735165.2176 | 1274580.6642
100 | 2735120.5819 | 1274590.007

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1