## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4681-5_2_3_node_84 | 0.4 | n |  | TRUE
1 | bus_LV_4681-5_2_3_node_85 | 0.4 | n |  | TRUE
2 | bus_LV_4681-5_2_3_node_86 | 0.4 | n |  | TRUE
3 | bus_LV_4681-5_2_3_node_87 | 0.4 | n |  | TRUE
4 | bus_LV_4681-5_2_3_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_4681-5_2_3_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_4681-5_2_3_node_89 | 0.4 | n |  | TRUE
7 | bus_LV_4681-5_2_3_node_90 | 0.4 | n |  | TRUE
8 | bus_LV_4681-5_2_3_node_189 | 0.4 | n |  | TRUE
9 | bus_LV_4681-5_2_3_node_178 | 0.4 | n |  | TRUE
10 | bus_LV_4681-5_2_3_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_4681-5_2_3_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_4681-5_2_3_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_4681-5_2_3_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_4681-5_2_3_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_4681-5_2_3_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_4681-5_2_3_node_98 | 0.4 | n |  | TRUE
17 | bus_LV_4681-5_2_3_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_4681-5_2_3_node_158 | 0.4 | n |  | TRUE
19 | bus_LV_4681-5_2_3_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_4681-5_2_3_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_4681-5_2_3_node_102 | 0.4 | n |  | TRUE
22 | bus_LV_4681-5_2_3_node_106 | 0.4 | n |  | TRUE
23 | bus_LV_4681-5_2_3_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_4681-5_2_3_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_4681-5_2_3_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_4681-5_2_3_node_107 | 0.4 | n |  | TRUE
27 | bus_LV_4681-5_2_3_node_154 | 0.4 | n |  | TRUE
28 | bus_LV_4681-5_2_3_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_4681-5_2_3_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_4681-5_2_3_node_110 | 0.4 | n |  | TRUE
31 | bus_LV_4681-5_2_3_node_113 | 0.4 | n |  | TRUE
32 | bus_LV_4681-5_2_3_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_4681-5_2_3_node_153 | 0.4 | n |  | TRUE
34 | bus_LV_4681-5_2_3_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_4681-5_2_3_node_114 | 0.4 | n |  | TRUE
36 | bus_LV_4681-5_2_3_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_4681-5_2_3_node_116 | 0.4 | n |  | TRUE
38 | bus_LV_4681-5_2_3_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_4681-5_2_3_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_4681-5_2_3_node_126 | 0.4 | n |  | TRUE
41 | bus_LV_4681-5_2_3_node_127 | 0.4 | n |  | TRUE
42 | bus_LV_4681-5_2_3_node_128 | 0.4 | n |  | TRUE
43 | bus_LV_4681-5_2_3_node_151 | 0.4 | n |  | TRUE
44 | bus_LV_4681-5_2_3_node_152 | 0.4 | n |  | TRUE
45 | bus_LV_4681-5_2_3_node_161 | 0.4 | n |  | TRUE
46 | bus_LV_4681-5_2_3_node_155 | 0.4 | n |  | TRUE
47 | bus_LV_4681-5_2_3_node_156 | 0.4 | n |  | TRUE
48 | bus_LV_4681-5_2_3_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_4681-5_2_3_node_160 | 0.4 | n |  | TRUE
50 | bus_LV_4681-5_2_3_node_223 | 0.4 | n |  | TRUE
51 | bus_LV_4681-5_2_3_node_159 | 0.4 | n |  | TRUE
52 | bus_LV_4681-5_2_3_node_162 | 0.4 | n |  | TRUE
53 | bus_LV_4681-5_2_3_node_163 | 0.4 | n |  | TRUE
54 | bus_LV_4681-5_2_3_node_164 | 0.4 | n |  | TRUE
55 | bus_LV_4681-5_2_3_node_165 | 0.4 | n |  | TRUE
56 | bus_LV_4681-5_2_3_node_166 | 0.4 | n |  | TRUE
57 | bus_LV_4681-5_2_3_node_167 | 0.4 | n |  | TRUE
58 | bus_LV_4681-5_2_3_node_168 | 0.4 | n |  | TRUE
59 | bus_LV_4681-5_2_3_node_182 | 0.4 | n |  | TRUE
60 | bus_LV_4681-5_2_3_node_169 | 0.4 | n |  | TRUE
61 | bus_LV_4681-5_2_3_node_172 | 0.4 | n |  | TRUE
62 | bus_LV_4681-5_2_3_node_181 | 0.4 | n |  | TRUE
63 | bus_LV_4681-5_2_3_node_170 | 0.4 | n |  | TRUE
64 | bus_LV_4681-5_2_3_node_171 | 0.4 | n |  | TRUE
65 | bus_LV_4681-5_2_3_node_215 | 0.4 | n |  | TRUE
66 | bus_LV_4681-5_2_3_node_173 | 0.4 | n |  | TRUE
67 | bus_LV_4681-5_2_3_node_174 | 0.4 | n |  | TRUE
68 | bus_LV_4681-5_2_3_node_177 | 0.4 | n |  | TRUE
69 | bus_LV_4681-5_2_3_node_176 | 0.4 | n |  | TRUE
70 | bus_LV_4681-5_2_3_node_175 | 0.4 | n |  | TRUE
71 | bus_LV_4681-5_2_3_node_180 | 0.4 | n |  | TRUE
72 | bus_LV_4681-5_2_3_node_179 | 0.4 | n |  | TRUE
73 | bus_LV_4681-5_2_3_node_212 | 0.4 | n |  | TRUE
74 | bus_LV_4681-5_2_3_node_183 | 0.4 | n |  | TRUE
75 | bus_LV_4681-5_2_3_node_184 | 0.4 | n |  | TRUE
76 | bus_LV_4681-5_2_3_node_185 | 0.4 | n |  | TRUE
77 | bus_LV_4681-5_2_3_node_217 | 0.4 | n |  | TRUE
78 | bus_LV_4681-5_2_3_node_213 | 0.4 | n |  | TRUE
79 | bus_LV_4681-5_2_3_node_186 | 0.4 | n |  | TRUE
80 | bus_LV_4681-5_2_3_node_187 | 0.4 | n |  | TRUE
81 | bus_LV_4681-5_2_3_node_188 | 0.4 | n |  | TRUE
82 | bus_LV_4681-5_2_3_node_190 | 0.4 | n |  | TRUE
83 | bus_LV_4681-5_2_3_node_201 | 0.4 | n |  | TRUE
84 | bus_LV_4681-5_2_3_node_199 | 0.4 | n |  | TRUE
85 | bus_LV_4681-5_2_3_node_200 | 0.4 | n |  | TRUE
86 | bus_LV_4681-5_2_3_node_216 | 0.4 | n |  | TRUE
87 | bus_LV_4681-5_2_3_node_207 | 0.4 | n |  | TRUE
88 | bus_LV_4681-5_2_3_node_220 | 0.4 | n |  | TRUE
89 | bus_LV_4681-5_2_3_node_202 | 0.4 | n |  | TRUE
90 | bus_LV_4681-5_2_3_node_203 | 0.4 | n |  | TRUE
91 | bus_LV_4681-5_2_3_node_204 | 0.4 | n |  | TRUE
92 | bus_LV_4681-5_2_3_node_205 | 0.4 | n |  | TRUE
93 | bus_LV_4681-5_2_3_node_206 | 0.4 | n |  | TRUE
94 | bus_LV_4681-5_2_3_node_219 | 0.4 | n |  | TRUE
95 | bus_LV_4681-5_2_3_node_208 | 0.4 | n |  | TRUE
96 | bus_LV_4681-5_2_3_node_209 | 0.4 | n |  | TRUE
97 | bus_LV_4681-5_2_3_node_210 | 0.4 | n |  | TRUE
98 | bus_LV_4681-5_2_3_node_211 | 0.4 | n |  | TRUE
99 | bus_LV_4681-5_2_3_node_214 | 0.4 | n |  | TRUE
100 | bus_LV_4681-5_2_3_node_218 | 0.4 | n |  | TRUE
101 | bus_LV_4681-5_2_3_node_221 | 0.4 | n |  | TRUE
102 | bus_LV_4681-5_2_3_node_222 | 0.4 | n |  | TRUE
103 | bus_MV_442_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4681-5_2_3_load_84 | 0 | 0.0022022 | 0.00055194 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4681-5_2_3_load_85 | 1 | 0.0017205 | 0.00043121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4681-5_2_3_load_87 | 3 | 0.0004616 | 0.00011569 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4681-5_2_3_load_88 | 4 | 0.00046132 | 0.00011562 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4681-5_2_3_load_91 | 5 | 0.00085757 | 0.00021493 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4681-5_2_3_load_178 | 9 | 0.002415 | 0.00060526 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4681-5_2_3_load_92 | 10 | 0.00033029 | 8.2777e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4681-5_2_3_load_95 | 12 | 0.0015701 | 0.0003935 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4681-5_2_3_load_94 | 13 | 0.00053737 | 0.00013468 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4681-5_2_3_load_97 | 15 | 0.0013694 | 0.0003432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4681-5_2_3_load_98 | 16 | 0.0016377 | 0.00041044 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4681-5_2_3_load_158 | 18 | 0.00075021 | 0.00018802 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4681-5_2_3_load_99 | 19 | 0.00245 | 0.00061404 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4681-5_2_3_load_101 | 20 | 0.0011722 | 0.00029379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4681-5_2_3_load_106 | 22 | 0.00056307 | 0.00014112 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4681-5_2_3_load_103 | 23 | 0.00048433 | 0.00012138 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4681-5_2_3_load_104 | 24 | 0.00037827 | 9.4803e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4681-5_2_3_load_105 | 25 | 0.00037834 | 9.482e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4681-5_2_3_load_107 | 26 | 0.001865 | 0.00046741 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4681-5_2_3_load_154 | 27 | 0.00056307 | 0.00014112 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4681-5_2_3_load_110 | 30 | 0.0012687 | 0.00031796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4681-5_2_3_load_113 | 31 | 0.00074826 | 0.00018753 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4681-5_2_3_load_111 | 32 | 0.0014045 | 0.00035201 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4681-5_2_3_load_153 | 33 | 0.00063225 | 0.00015846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4681-5_2_3_load_114 | 35 | 0.0044614 | 0.0011181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4681-5_2_3_load_116 | 37 | 0.0021553 | 0.00054017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4681-5_2_3_load_117 | 38 | 0.0011211 | 0.00028099 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4681-5_2_3_load_118 | 39 | 0.002541 | 0.00063683 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4681-5_2_3_load_126 | 40 | 0.0011214 | 0.00028104 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4681-5_2_3_load_127 | 41 | 0.0012779 | 0.00032028 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4681-5_2_3_load_128 | 42 | 0.0036929 | 0.00092553 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4681-5_2_3_load_151 | 43 | 0.00024483 | 6.1359e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4681-5_2_3_load_152 | 44 | 0.0023359 | 0.00058542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4681-5_2_3_load_161 | 45 | 0.0015444 | 0.00038707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4681-5_2_3_load_155 | 46 | 0.00046378 | 0.00011623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4681-5_2_3_load_156 | 47 | 0.00030452 | 7.6321e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4681-5_2_3_load_160 | 49 | 0.0011243 | 0.00028178 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4681-5_2_3_load_223 | 50 | 0.00088485 | 0.00022177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4681-5_2_3_load_159 | 51 | 0.0016928 | 0.00042425 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4681-5_2_3_load_162 | 52 | 0.0012456 | 0.00031219 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4681-5_2_3_load_163 | 53 | 0.0019369 | 0.00048544 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4681-5_2_3_load_165 | 55 | 0.0018137 | 0.00045457 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4681-5_2_3_load_166 | 56 | 0.0004935 | 0.00012368 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4681-5_2_3_load_167 | 57 | 0.00074458 | 0.00018661 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4681-5_2_3_load_168 | 58 | 0.00012287 | 3.0794e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4681-5_2_3_load_182 | 59 | 0.00023406 | 5.866e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4681-5_2_3_load_169 | 60 | 0.00038582 | 9.6696e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4681-5_2_3_load_172 | 61 | 0.00017343 | 4.3467e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4681-5_2_3_load_181 | 62 | 0.00013311 | 3.3361e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4681-5_2_3_load_171 | 64 | 0.0018589 | 0.00046588 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4681-5_2_3_load_215 | 65 | 0.0038904 | 0.00097503 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4681-5_2_3_load_173 | 66 | 0.0032018 | 0.00080246 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4681-5_2_3_load_175 | 70 | 0.0027821 | 0.00069726 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4681-5_2_3_load_180 | 71 | 0.00076209 | 0.000191 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4681-5_2_3_load_179 | 72 | 0.00035299 | 8.8468e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4681-5_2_3_load_212 | 73 | 0.0010548 | 0.00026435 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4681-5_2_3_load_184 | 75 | 0.0001863 | 4.6691e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4681-5_2_3_load_185 | 76 | 0.0010234 | 0.00025649 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4681-5_2_3_load_217 | 77 | 0.0013982 | 0.00035042 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4681-5_2_3_load_213 | 78 | 0.0002919 | 7.3156e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4681-5_2_3_load_186 | 79 | 0.00048465 | 0.00012147 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4681-5_2_3_load_187 | 80 | 0.0020846 | 0.00052244 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4681-5_2_3_load_190 | 82 | 0.00032936 | 8.2545e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4681-5_2_3_load_201 | 83 | 0.0013339 | 0.00033431 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4681-5_2_3_load_199 | 84 | 0.0008362 | 0.00020957 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4681-5_2_3_load_216 | 86 | 0.00048052 | 0.00012043 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4681-5_2_3_load_207 | 87 | 0.0022383 | 0.00056096 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4681-5_2_3_load_220 | 88 | 0.00083703 | 0.00020978 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4681-5_2_3_load_202 | 89 | 0.00062109 | 0.00015566 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4681-5_2_3_load_203 | 90 | 0.0015056 | 0.00037733 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4681-5_2_3_load_204 | 91 | 0.0014782 | 0.00037046 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4681-5_2_3_load_205 | 92 | 0.0002939 | 7.3658e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4681-5_2_3_load_206 | 93 | 0.00092144 | 0.00023094 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4681-5_2_3_load_219 | 94 | 0.00023871 | 5.9828e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4681-5_2_3_load_208 | 95 | 0.00021331 | 5.346e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4681-5_2_3_load_209 | 96 | 0.00014462 | 3.6245e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4681-5_2_3_load_210 | 97 | 0.0007153 | 0.00017927 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4681-5_2_3_load_211 | 98 | 0.00025701 | 6.4414e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4681-5_2_3_load_214 | 99 | 8.0496e-05 | 2.0174e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4681-5_2_3_load_218 | 100 | 0.00011399 | 2.8569e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4681-5_2_3_load_221 | 101 | 0.00048084 | 0.00012051 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4681-5_2_3_load_222 | 102 | 0.00048099 | 0.00012055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4681-5_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4681-5_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4681-5_2_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4681-5_2_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4681-5_2_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.031725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_4681-5_2_3_line_5 | NAYY 4x150 SE | 5 | 10 | 0.010348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4681-5_2_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.016123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4681-5_2_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.31575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4681-5_2_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.07204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4681-5_2_3_line_9 | NAYY 4x150 SE | 8 | 83 | 0.039379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4681-5_2_3_line_10 | NAYY 4x150 SE | 8 | 80 | 0.040566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4681-5_2_3_line_11 | NAYY 4x150 SE | 9 | 72 | 0.0064001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4681-5_2_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.026231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4681-5_2_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.016098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4681-5_2_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4681-5_2_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0043169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4681-5_2_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.024988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4681-5_2_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.021508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4681-5_2_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0097572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4681-5_2_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.00445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4681-5_2_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.010308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4681-5_2_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.042479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4681-5_2_3_line_22 | NAYY 4x150 SE | 18 | 51 | 0.0077357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4681-5_2_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0092759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4681-5_2_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.028177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4681-5_2_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0063298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4681-5_2_3_line_26 | NAYY 4x150 SE | 22 | 27 | 0.010874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4681-5_2_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.013855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4681-5_2_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0060934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4681-5_2_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.028876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4681-5_2_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0095804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4681-5_2_3_line_31 | NAYY 4x150 SE | 27 | 46 | 0.019271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4681-5_2_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.013678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4681-5_2_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.017375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4681-5_2_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.021558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4681-5_2_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.02017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4681-5_2_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.0099805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4681-5_2_3_line_37 | NAYY 4x150 SE | 31 | 36 | 0.018243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4681-5_2_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.059038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4681-5_2_3_line_39 | NAYY 4x150 SE | 33 | 43 | 0.012235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4681-5_2_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.029187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4681-5_2_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.0011806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4681-5_2_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.013527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4681-5_2_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.010735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4681-5_2_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.01488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4681-5_2_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.020251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4681-5_2_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.023737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4681-5_2_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0039941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4681-5_2_3_line_48 | NAYY 4x150 SE | 45 | 49 | 0.023674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4681-5_2_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.022493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4681-5_2_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.037787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4681-5_2_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.016637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4681-5_2_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.14752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4681-5_2_3_line_53 | NAYY 4x150 SE | 50 | 102 | 0.024414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4681-5_2_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0014336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_4681-5_2_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.043133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_4681-5_2_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.047863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_4681-5_2_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.015594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_4681-5_2_3_line_58 | NAYY 4x150 SE | 54 | 57 | 0.046679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4681-5_2_3_line_59 | NAYY 4x150 SE | 54 | 58 | 0.010891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4681-5_2_3_line_60 | NAYY 4x150 SE | 55 | 59 | 0.021321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4681-5_2_3_line_61 | NAYY 4x150 SE | 56 | 60 | 0.051797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4681-5_2_3_line_62 | NAYY 4x150 SE | 57 | 61 | 0.0064738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_4681-5_2_3_line_63 | NAYY 4x150 SE | 58 | 62 | 0.044604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4681-5_2_3_line_64 | NAYY 4x150 SE | 59 | 73 | 0.30798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4681-5_2_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.11067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_4681-5_2_3_line_66 | NAYY 4x150 SE | 61 | 66 | 0.0082473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_4681-5_2_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.051554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_4681-5_2_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.032523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_4681-5_2_3_line_69 | NAYY 4x150 SE | 65 | 86 | 0.061624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_4681-5_2_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.021956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_4681-5_2_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.018268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_4681-5_2_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.015833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4681-5_2_3_line_73 | NAYY 4x150 SE | 68 | 71 | 0.011584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4681-5_2_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.0073011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4681-5_2_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.01432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4681-5_2_3_line_76 | NAYY 4x150 SE | 73 | 78 | 0.012839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4681-5_2_3_line_77 | NAYY 4x150 SE | 73 | 99 | 0.053839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4681-5_2_3_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4681-5_2_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.0030123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4681-5_2_3_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0029377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4681-5_2_3_line_81 | NAYY 4x150 SE | 76 | 78 | 0.0202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4681-5_2_3_line_82 | NAYY 4x150 SE | 77 | 100 | 0.0041016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4681-5_2_3_line_83 | NAYY 4x150 SE | 79 | 80 | 0.048862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4681-5_2_3_line_84 | NAYY 4x150 SE | 79 | 81 | 0.0051533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4681-5_2_3_line_85 | NAYY 4x150 SE | 81 | 82 | 0.0168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4681-5_2_3_line_86 | NAYY 4x150 SE | 83 | 89 | 0.054221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4681-5_2_3_line_87 | NAYY 4x150 SE | 84 | 85 | 0.03236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4681-5_2_3_line_88 | NAYY 4x150 SE | 85 | 86 | 0.01854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_4681-5_2_3_line_89 | NAYY 4x150 SE | 85 | 87 | 0.019913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4681-5_2_3_line_90 | NAYY 4x150 SE | 85 | 88 | 0.01404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_4681-5_2_3_line_91 | NAYY 4x150 SE | 87 | 93 | 0.0013814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4681-5_2_3_line_92 | NAYY 4x150 SE | 88 | 101 | 0.0064596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_4681-5_2_3_line_93 | NAYY 4x150 SE | 89 | 90 | 0.008456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4681-5_2_3_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0013559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4681-5_2_3_line_95 | NAYY 4x150 SE | 91 | 93 | 0.02296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4681-5_2_3_line_96 | NAYY 4x150 SE | 92 | 94 | 0.12369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4681-5_2_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.019199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4681-5_2_3_line_98 | NAYY 4x150 SE | 95 | 97 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4681-5_2_3_line_99 | NAYY 4x150 SE | 96 | 98 | 0.004726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4681-5_2_3_line_100 | NAYY 4x150 SE | 98 | 99 | 0.0052545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4681-5_2_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.010484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4681-5_2_3_trafo_88 | 0.25 MVA 20/0.4 kV | 103 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2735995.7272 | 1271232.0251 | 2735977.9849 | 1271220.3736
1 | 2736014.9328 | 1271244.6375 | 2735995.7272 | 1271232.0251
2 | 2736014.9328 | 1271244.6375 | 2736017.8596 | 1271231.8464
3 | 2736014.9328 | 1271244.6375 | 2736027.8359 | 1271252.8014
4 | 2736027.8359 | 1271252.8014 | 2736054.6456 | 1271269.7641
5 | 2736063.3901 | 1271275.2968 | 2736054.6456 | 1271269.7641
6 | 2735824.1517 | 1271158.4855 | 2735828.9165 | 1271143.0801
7 | 2735828.9165 | 1271143.0801 | 2735951.8464 | 1270852.2478
8 | 2735824.1517 | 1271158.4855 | 2735804.181 | 1271227.7017
9 | 2735951.8464 | 1270852.2478 | 2735979.7341 | 1270866.815 | 2735982.359 | 1270866.5641 | 2735987.0582 | 1270864.1589
10 | 2735951.8464 | 1270852.2478 | 2735967.3021 | 1270822.6637 | 2735971.0114 | 1270816.507
11 | 2735804.181 | 1271227.7017 | 2735802.4068 | 1271233.8509
12 | 2736085.4611 | 1271289.4724 | 2736067.5824 | 1271277.9493 | 2736063.3901 | 1271275.2968
13 | 2736085.4611 | 1271289.4724 | 2736099.6155 | 1271297.1394
14 | 2736085.4611 | 1271289.4724 | 2736090.3338 | 1271279.1257
15 | 2736103.4113 | 1271299.1955 | 2736099.6155 | 1271297.1394
16 | 2736103.4113 | 1271299.1955 | 2736125.3813 | 1271311.1004
17 | 2736103.4113 | 1271299.1955 | 2736092.3736 | 1271317.6555
18 | 2736133.9599 | 1271315.749 | 2736125.3813 | 1271311.1004
19 | 2736090.09 | 1271321.4748 | 2736092.3736 | 1271317.6555
20 | 2736143.0426 | 1271320.6743 | 2736133.9599 | 1271315.749
21 | 2736133.9599 | 1271315.749 | 2736142.9743 | 1271297.2165 | 2736145.0178 | 1271296.0625 | 2736150.9023 | 1271294.7858 | 2736152.9605 | 1271293.3207 | 2736157.9983 | 1271283.5696
22 | 2736086.1201 | 1271328.1141 | 2736090.09 | 1271321.4748
23 | 2736162.256 | 1271275.3286 | 2736157.9983 | 1271283.5696
24 | 2736143.0426 | 1271320.6743 | 2736129.1068 | 1271341.807 | 2736127.3906 | 1271344.098
25 | 2736143.0426 | 1271320.6743 | 2736148.6001 | 1271323.7042
26 | 2736120.871 | 1271352.8012 | 2736127.3906 | 1271344.098
27 | 2736148.6001 | 1271323.7042 | 2736153.8639 | 1271326.5739 | 2736160.287 | 1271331.1042
28 | 2736165.2275 | 1271334.6665 | 2736164.705 | 1271334.2202 | 2736160.287 | 1271331.1042
29 | 2736165.2275 | 1271334.6665 | 2736187.1842 | 1271353.4202
30 | 2736194.469 | 1271359.6423 | 2736187.1842 | 1271353.4202
31 | 2736120.871 | 1271352.8012 | 2736109.3175 | 1271368.2244
32 | 2736194.469 | 1271359.6423 | 2736205.3468 | 1271367.9791
33 | 2736194.469 | 1271359.6423 | 2736183.7473 | 1271373.3146
34 | 2736205.3468 | 1271367.9791 | 2736224.1514 | 1271378.5217
35 | 2736205.3468 | 1271367.9791 | 2736214.2694 | 1271353.4262 | 2736215.7188 | 1271350.6859
36 | 2736177.5884 | 1271381.1682 | 2736183.7473 | 1271373.3146
37 | 2736240.0644 | 1271387.4433 | 2736224.1514 | 1271378.5217
38 | 2736243.3223 | 1271298.4984 | 2736215.7188 | 1271350.6859
39 | 2736170.0384 | 1271390.7959 | 2736177.5884 | 1271381.1682
40 | 2736243.3223 | 1271298.4984 | 2736217.2356 | 1271285.2504
41 | 2736240.0644 | 1271387.4433 | 2736241.0681 | 1271388.0649
42 | 2736240.0644 | 1271387.4433 | 2736232.7 | 1271398.79
43 | 2736250.1944 | 1271393.7176 | 2736241.0681 | 1271388.0649
44 | 2736232.7 | 1271398.79 | 2736225.3711 | 1271410.082 | 2736224.9125 | 1271411.4241
45 | 2736224.9125 | 1271411.4241 | 2736221.9814 | 1271420.0023 | 2736215.2887 | 1271428.9653
46 | 2736215.2887 | 1271428.9653 | 2736213.5479 | 1271431.2966 | 2736210.1786 | 1271432.509 | 2736204.8229 | 1271431.0952 | 2736195.3059 | 1271424.2773
47 | 2736103.8801 | 1271442.5915 | 2736106.9221 | 1271445.1797
48 | 2736103.8801 | 1271442.5915 | 2736085.8492 | 1271427.25
49 | 2736109.3175 | 1271368.2244 | 2736095.8324 | 1271386.2263
50 | 2736073.1779 | 1271416.4687 | 2736095.8324 | 1271386.2263
51 | 2736073.1779 | 1271416.4687 | 2736085.8492 | 1271427.25
52 | 2736073.1779 | 1271416.4687 | 2735977.0713 | 1271528.3827
53 | 2735977.0713 | 1271528.3827 | 2735962.5769 | 1271544.0903 | 2735960.2302 | 1271546.0233
54 | 2735692.9506 | 1271353.0993 | 2735691.9964 | 1271354.1691
55 | 2735721.6616 | 1271320.9097 | 2735692.9506 | 1271353.0993
56 | 2735691.9964 | 1271354.1691 | 2735660.1375 | 1271389.8879
57 | 2735721.6616 | 1271320.9097 | 2735735.0256 | 1271326.867 | 2735735.8917 | 1271327.2876
58 | 2735721.6616 | 1271320.9097 | 2735730.6435 | 1271307.6587 | 2735741.4102 | 1271301.2221 | 2735757.8587 | 1271293.6041
59 | 2735721.6616 | 1271320.9097 | 2735711.3046 | 1271317.541
60 | 2735660.1375 | 1271389.8879 | 2735645.9458 | 1271405.799
61 | 2735735.8917 | 1271327.2876 | 2735782.4865 | 1271349.9114
62 | 2735763.7331 | 1271290.8834 | 2735757.8587 | 1271293.6041
63 | 2735711.3046 | 1271317.541 | 2735701.7547 | 1271314.4348 | 2735668.8718 | 1271303.7941
64 | 2735645.9458 | 1271405.799 | 2735401.0615 | 1271592.5722
65 | 2735782.4865 | 1271349.9114 | 2735875.3113 | 1271410.1738
66 | 2735763.7331 | 1271290.8834 | 2735771.2167 | 1271287.4174
67 | 2735875.3113 | 1271410.1738 | 2735879.3881 | 1271419.0874 | 2735894.2486 | 1271458.1052
68 | 2735894.2486 | 1271458.1052 | 2735905.8245 | 1271488.4987
69 | 2735927.7579 | 1271546.087 | 2735905.8245 | 1271488.4987
70 | 2735789.9618 | 1271276.2139 | 2735781.0565 | 1271282.86 | 2735771.2167 | 1271287.4174
71 | 2735789.9618 | 1271276.2139 | 2735792.369 | 1271269.7185 | 2735795.2256 | 1271258.7401
72 | 2735789.9618 | 1271276.2139 | 2735796.8368 | 1271275.0597 | 2735805.718 | 1271274.3632
73 | 2735795.2256 | 1271258.7401 | 2735798.4369 | 1271247.6099
74 | 2735805.718 | 1271274.3632 | 2735812.5901 | 1271276.8293
75 | 2735798.4369 | 1271247.6099 | 2735802.4068 | 1271233.8509
76 | 2735401.0615 | 1271592.5722 | 2735407.9354 | 1271603.4159
77 | 2735401.0615 | 1271592.5722 | 2735396.2957 | 1271585.0541 | 2735384.557 | 1271567.3122 | 2735377.9569 | 1271559.7869 | 2735367.1226 | 1271551.476
78 | 2735420.363 | 1271623.0206 | 2735427.5728 | 1271631.5164 | 2735439.2309 | 1271644.376
79 | 2735420.363 | 1271623.0206 | 2735418.7502 | 1271620.4764
80 | 2735439.2309 | 1271644.376 | 2735441.204 | 1271646.5525
81 | 2735407.9354 | 1271603.4159 | 2735418.7502 | 1271620.4764
82 | 2735443.9588 | 1271649.5913 | 2735441.204 | 1271646.5525
83 | 2735996.2269 | 1270774.654 | 2735971.0114 | 1270816.507
84 | 2735998.8864 | 1270770.2399 | 2735996.2269 | 1270774.654
85 | 2735998.8864 | 1270770.2399 | 2735984.1724 | 1270762.1321
86 | 2735987.0582 | 1270864.1589 | 2736006.8599 | 1270819.7383 | 2736012.4318 | 1270820.1454
87 | 2735934.591 | 1271563.3204 | 2735940.2974 | 1271572.3717 | 2735947.6839 | 1271580.6831 | 2735955.2752 | 1271587.996
88 | 2735934.591 | 1271563.3204 | 2735929.9987 | 1271551.9703 | 2735927.7579 | 1271546.087
89 | 2735934.591 | 1271563.3204 | 2735927.6289 | 1271568.5986 | 2735920.1601 | 1271576.9127
90 | 2735934.591 | 1271563.3204 | 2735946.5127 | 1271555.9052
91 | 2735919.2369 | 1271577.9404 | 2735920.1601 | 1271576.9127
92 | 2735946.5127 | 1271555.9052 | 2735951.9978 | 1271552.4935
93 | 2736012.4318 | 1270820.1454 | 2736020.8653 | 1270820.7618 | 2736020.8653 | 1270820.7618
94 | 2735903.8931 | 1271595.0209 | 2735902.987 | 1271596.0295
95 | 2735903.8931 | 1271595.0209 | 2735919.2369 | 1271577.9404
96 | 2735902.987 | 1271596.0295 | 2735824.8116 | 1271691.881
97 | 2735341.2895 | 1271538.0115 | 2735351.511 | 1271542.4862 | 2735358.4995 | 1271546.4627
98 | 2735341.2895 | 1271538.0115 | 2735322.4857 | 1271529.7796
99 | 2735362.6072 | 1271548.7999 | 2735358.4995 | 1271546.4627
100 | 2735362.6072 | 1271548.7999 | 2735366.5831 | 1271551.0622 | 2735367.1226 | 1271551.476
101 | 2735960.2302 | 1271546.0233 | 2735953.5405 | 1271551.534 | 2735951.9978 | 1271552.4935

## bus_geodata
| x | y | coords
0 | 2735995.7272 | 1271232.0251
1 | 2735977.9849 | 1271220.3736
2 | 2736014.9328 | 1271244.6375
3 | 2736017.8596 | 1271231.8464
4 | 2736027.8359 | 1271252.8014
5 | 2736054.6456 | 1271269.7641
6 | 2735828.9165 | 1271143.0801
7 | 2735824.1517 | 1271158.4855
8 | 2735951.8464 | 1270852.2478
9 | 2735804.181 | 1271227.7017
10 | 2736063.3901 | 1271275.2968
11 | 2736085.4611 | 1271289.4724
12 | 2736099.6155 | 1271297.1394
13 | 2736090.3338 | 1271279.1257
14 | 2736103.4113 | 1271299.1955
15 | 2736125.3813 | 1271311.1004
16 | 2736092.3736 | 1271317.6555
17 | 2736133.9599 | 1271315.749
18 | 2736090.09 | 1271321.4748
19 | 2736157.9983 | 1271283.5696
20 | 2736162.256 | 1271275.3286
21 | 2736143.0426 | 1271320.6743
22 | 2736127.3906 | 1271344.098
23 | 2736148.6001 | 1271323.7042
24 | 2736160.287 | 1271331.1042
25 | 2736165.2275 | 1271334.6665
26 | 2736187.1842 | 1271353.4202
27 | 2736120.871 | 1271352.8012
28 | 2736194.469 | 1271359.6423
29 | 2736205.3468 | 1271367.9791
30 | 2736183.7473 | 1271373.3146
31 | 2736224.1514 | 1271378.5217
32 | 2736215.7189 | 1271350.6859
33 | 2736177.5884 | 1271381.1682
34 | 2736243.3223 | 1271298.4984
35 | 2736217.2356 | 1271285.2504
36 | 2736240.0644 | 1271387.4433
37 | 2736241.0681 | 1271388.0649
38 | 2736232.7 | 1271398.79
39 | 2736250.1944 | 1271393.7176
40 | 2736224.9125 | 1271411.4241
41 | 2736215.2887 | 1271428.9653
42 | 2736195.3059 | 1271424.2773
43 | 2736170.0384 | 1271390.7959
44 | 2736106.9221 | 1271445.1797
45 | 2736103.8801 | 1271442.5915
46 | 2736109.3175 | 1271368.2244
47 | 2736095.8324 | 1271386.2263
48 | 2736073.1779 | 1271416.4687
49 | 2736085.8492 | 1271427.25
50 | 2735977.0713 | 1271528.3827
51 | 2736086.1201 | 1271328.1141
52 | 2735692.9506 | 1271353.0993
53 | 2735691.9964 | 1271354.1691
54 | 2735721.6616 | 1271320.9097
55 | 2735660.1375 | 1271389.8879
56 | 2735735.8917 | 1271327.2876
57 | 2735757.8587 | 1271293.6041
58 | 2735711.3046 | 1271317.541
59 | 2735645.9458 | 1271405.799
60 | 2735782.4865 | 1271349.9114
61 | 2735763.7331 | 1271290.8834
62 | 2735668.8718 | 1271303.7941
63 | 2735875.3113 | 1271410.1738
64 | 2735894.2486 | 1271458.1052
65 | 2735905.8245 | 1271488.4987
66 | 2735771.2167 | 1271287.4174
67 | 2735789.9618 | 1271276.2139
68 | 2735795.2256 | 1271258.7401
69 | 2735805.718 | 1271274.3632
70 | 2735812.5901 | 1271276.8293
71 | 2735798.4369 | 1271247.6099
72 | 2735802.4068 | 1271233.8509
73 | 2735401.0615 | 1271592.5722
74 | 2735420.363 | 1271623.0206
75 | 2735439.2309 | 1271644.376
76 | 2735418.7502 | 1271620.4764
77 | 2735441.204 | 1271646.5525
78 | 2735407.9354 | 1271603.4159
79 | 2735996.2269 | 1270774.654
80 | 2735971.0114 | 1270816.507
81 | 2735998.8864 | 1270770.2399
82 | 2735984.1724 | 1270762.1321
83 | 2735987.0582 | 1270864.1589
84 | 2735955.2752 | 1271587.996
85 | 2735934.591 | 1271563.3204
86 | 2735927.7579 | 1271546.087
87 | 2735920.1601 | 1271576.9127
88 | 2735946.5127 | 1271555.9052
89 | 2736012.4318 | 1270820.1454
90 | 2736020.8653 | 1270820.7618
91 | 2735903.8931 | 1271595.0209
92 | 2735902.987 | 1271596.0295
93 | 2735919.2369 | 1271577.9404
94 | 2735824.8116 | 1271691.881
95 | 2735341.2895 | 1271538.0115
96 | 2735358.4995 | 1271546.4627
97 | 2735322.4857 | 1271529.7796
98 | 2735362.6072 | 1271548.7999
99 | 2735367.1226 | 1271551.476
100 | 2735443.9588 | 1271649.5913
101 | 2735951.9978 | 1271552.4935
102 | 2735960.2302 | 1271546.0233
103 | 2736014.9328 | 1271244.6375

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1