## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4683-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4683-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4683-11_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4683-11_0_4_node_151 | 0.4 | n |  | TRUE
4 | bus_LV_4683-11_0_4_node_152 | 0.4 | n |  | TRUE
5 | bus_LV_4683-11_0_4_node_87 | 0.4 | n |  | TRUE
6 | bus_LV_4683-11_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4683-11_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4683-11_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4683-11_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4683-11_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4683-11_0_4_node_131 | 0.4 | n |  | TRUE
12 | bus_LV_4683-11_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_4683-11_0_4_node_130 | 0.4 | n |  | TRUE
14 | bus_LV_4683-11_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4683-11_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4683-11_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4683-11_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4683-11_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4683-11_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4683-11_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4683-11_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4683-11_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4683-11_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4683-11_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4683-11_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4683-11_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4683-11_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4683-11_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4683-11_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4683-11_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_4683-11_0_4_node_154 | 0.4 | n |  | TRUE
32 | bus_LV_4683-11_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4683-11_0_4_node_155 | 0.4 | n |  | TRUE
34 | bus_LV_4683-11_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4683-11_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4683-11_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4683-11_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_4683-11_0_4_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_4683-11_0_4_node_147 | 0.4 | n |  | TRUE
40 | bus_LV_4683-11_0_4_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_4683-11_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_4683-11_0_4_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_4683-11_0_4_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_4683-11_0_4_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_4683-11_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4683-11_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4683-11_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4683-11_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4683-11_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_4683-11_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_4683-11_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4683-11_0_4_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_4683-11_0_4_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_4683-11_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4683-11_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4683-11_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_4683-11_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4683-11_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4683-11_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4683-11_0_4_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_4683-11_0_4_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_4683-11_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4683-11_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_4683-11_0_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_4683-11_0_4_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_4683-11_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_4683-11_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4683-11_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4683-11_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4683-11_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_4683-11_0_4_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_4683-11_0_4_node_150 | 0.4 | n |  | TRUE
73 | bus_LV_4683-11_0_4_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_4683-11_0_4_node_149 | 0.4 | n |  | TRUE
75 | bus_LV_4683-11_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_4683-11_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_4683-11_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_4683-11_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4683-11_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4683-11_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4683-11_0_4_node_114 | 0.4 | n |  | TRUE
82 | bus_LV_4683-11_0_4_node_125 | 0.4 | n |  | TRUE
83 | bus_LV_4683-11_0_4_node_128 | 0.4 | n |  | TRUE
84 | bus_LV_4683-11_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4683-11_0_4_node_145 | 0.4 | n |  | TRUE
86 | bus_LV_4683-11_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_4683-11_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4683-11_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4683-11_0_4_node_123 | 0.4 | n |  | TRUE
90 | bus_LV_4683-11_0_4_node_129 | 0.4 | n |  | TRUE
91 | bus_LV_4683-11_0_4_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_4683-11_0_4_node_59 | 0.4 | n |  | TRUE
93 | bus_LV_4683-11_0_4_node_60 | 0.4 | n |  | TRUE
94 | bus_LV_4683-11_0_4_node_61 | 0.4 | n |  | TRUE
95 | bus_LV_4683-11_0_4_node_62 | 0.4 | n |  | TRUE
96 | bus_LV_4683-11_0_4_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_4683-11_0_4_node_64 | 0.4 | n |  | TRUE
98 | bus_LV_4683-11_0_4_node_65 | 0.4 | n |  | TRUE
99 | bus_LV_4683-11_0_4_node_136 | 0.4 | n |  | TRUE
100 | bus_LV_4683-11_0_4_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_4683-11_0_4_node_146 | 0.4 | n |  | TRUE
102 | bus_LV_4683-11_0_4_node_144 | 0.4 | n |  | TRUE
103 | bus_LV_4683-11_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_4683-11_0_4_node_112 | 0.4 | n |  | TRUE
105 | bus_LV_4683-11_0_4_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_4683-11_0_4_node_69 | 0.4 | n |  | TRUE
107 | bus_LV_4683-11_0_4_node_70 | 0.4 | n |  | TRUE
108 | bus_LV_4683-11_0_4_node_71 | 0.4 | n |  | TRUE
109 | bus_LV_4683-11_0_4_node_72 | 0.4 | n |  | TRUE
110 | bus_LV_4683-11_0_4_node_73 | 0.4 | n |  | TRUE
111 | bus_LV_4683-11_0_4_node_74 | 0.4 | n |  | TRUE
112 | bus_LV_4683-11_0_4_node_99 | 0.4 | n |  | TRUE
113 | bus_LV_4683-11_0_4_node_90 | 0.4 | n |  | TRUE
114 | bus_LV_4683-11_0_4_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_4683-11_0_4_node_97 | 0.4 | n |  | TRUE
116 | bus_LV_4683-11_0_4_node_89 | 0.4 | n |  | TRUE
117 | bus_LV_4683-11_0_4_node_78 | 0.4 | n |  | TRUE
118 | bus_LV_4683-11_0_4_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_4683-11_0_4_node_92 | 0.4 | n |  | TRUE
120 | bus_LV_4683-11_0_4_node_85 | 0.4 | n |  | TRUE
121 | bus_LV_4683-11_0_4_node_86 | 0.4 | n |  | TRUE
122 | bus_LV_4683-11_0_4_node_153 | 0.4 | n |  | TRUE
123 | bus_LV_4683-11_0_4_node_88 | 0.4 | n |  | TRUE
124 | bus_LV_4683-11_0_4_node_84 | 0.4 | n |  | TRUE
125 | bus_LV_4683-11_0_4_node_148 | 0.4 | n |  | TRUE
126 | bus_LV_4683-11_0_4_node_140 | 0.4 | n |  | TRUE
127 | bus_LV_4683-11_0_4_node_138 | 0.4 | n |  | TRUE
128 | bus_LV_4683-11_0_4_node_95 | 0.4 | n |  | TRUE
129 | bus_LV_4683-11_0_4_node_126 | 0.4 | n |  | TRUE
130 | bus_LV_4683-11_0_4_node_110 | 0.4 | n |  | TRUE
131 | bus_LV_4683-11_0_4_node_127 | 0.4 | n |  | TRUE
132 | bus_LV_4683-11_0_4_node_105 | 0.4 | n |  | TRUE
133 | bus_LV_4683-11_0_4_node_104 | 0.4 | n |  | TRUE
134 | bus_LV_4683-11_0_4_node_108 | 0.4 | n |  | TRUE
135 | bus_LV_4683-11_0_4_node_109 | 0.4 | n |  | TRUE
136 | bus_LV_4683-11_0_4_node_111 | 0.4 | n |  | TRUE
137 | bus_LV_4683-11_0_4_node_113 | 0.4 | n |  | TRUE
138 | bus_LV_4683-11_0_4_node_118 | 0.4 | n |  | TRUE
139 | bus_LV_4683-11_0_4_node_115 | 0.4 | n |  | TRUE
140 | bus_LV_4683-11_0_4_node_116 | 0.4 | n |  | TRUE
141 | bus_LV_4683-11_0_4_node_117 | 0.4 | n |  | TRUE
142 | bus_LV_4683-11_0_4_node_119 | 0.4 | n |  | TRUE
143 | bus_LV_4683-11_0_4_node_122 | 0.4 | n |  | TRUE
144 | bus_LV_4683-11_0_4_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_4683-11_0_4_node_132 | 0.4 | n |  | TRUE
146 | bus_LV_4683-11_0_4_node_133 | 0.4 | n |  | TRUE
147 | bus_LV_4683-11_0_4_node_134 | 0.4 | n |  | TRUE
148 | bus_LV_4683-11_0_4_node_135 | 0.4 | n |  | TRUE
149 | bus_LV_4683-11_0_4_node_141 | 0.4 | n |  | TRUE
150 | bus_LV_4683-11_0_4_node_142 | 0.4 | n |  | TRUE
151 | bus_MV_442_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4683-11_0_4_load_0 | 0 | 0.00023288 | 5.8365e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4683-11_0_4_load_1 | 1 | 0.0006074 | 0.00015223 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4683-11_0_4_load_152 | 4 | 0.0038504 | 0.00096499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4683-11_0_4_load_87 | 5 | 0.0025691 | 0.00064387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4683-11_0_4_load_7 | 6 | 0.00014451 | 3.6218e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4683-11_0_4_load_5 | 7 | 0.00014451 | 3.6218e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4683-11_0_4_load_6 | 10 | 0.00041388 | 0.00010373 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4683-11_0_4_load_130 | 13 | 0.00024249 | 6.0775e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4683-11_0_4_load_8 | 14 | 0.00030115 | 7.5476e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4683-11_0_4_load_15 | 15 | 0.00023782 | 5.9604e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4683-11_0_4_load_9 | 16 | 0.00012193 | 3.0559e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4683-11_0_4_load_12 | 18 | 0.00029649 | 7.4308e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4683-11_0_4_load_17 | 22 | 0.00026864 | 6.7328e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4683-11_0_4_load_20 | 23 | 0.0004225 | 0.00010589 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4683-11_0_4_load_21 | 24 | 0.00078307 | 0.00019626 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4683-11_0_4_load_22 | 25 | 0.0002109 | 5.2857e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4683-11_0_4_load_23 | 26 | 0.0030441 | 0.00076292 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4683-11_0_4_load_24 | 27 | 0.001338 | 0.00033534 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4683-11_0_4_load_26 | 29 | 0.0014618 | 0.00036637 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4683-11_0_4_load_27 | 30 | 0.011788 | 0.0029542 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4683-11_0_4_load_154 | 31 | 0.001827 | 0.00045789 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4683-11_0_4_load_28 | 32 | 0.008453 | 0.0021185 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4683-11_0_4_load_155 | 33 | 0.0018294 | 0.0004585 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4683-11_0_4_load_68 | 37 | 0.0032731 | 0.00082032 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4683-11_0_4_load_120 | 38 | 0.0019473 | 0.00048803 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4683-11_0_4_load_147 | 39 | 0.00081332 | 0.00020384 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4683-11_0_4_load_107 | 40 | 0.0024814 | 0.00062191 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4683-11_0_4_load_121 | 42 | 0.0028141 | 0.00070527 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4683-11_0_4_load_106 | 44 | 0.00081332 | 0.00020384 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4683-11_0_4_load_32 | 45 | 0.0017203 | 0.00043114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4683-11_0_4_load_33 | 46 | 0.0027421 | 0.00068723 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4683-11_0_4_load_34 | 47 | 0.0038163 | 0.00095646 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4683-11_0_4_load_35 | 48 | 0.00074338 | 0.00018631 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4683-11_0_4_load_47 | 50 | 0.0089593 | 0.0022454 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4683-11_0_4_load_43 | 51 | 0.003908 | 0.00097944 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4683-11_0_4_load_81 | 52 | 0.0025561 | 0.00064062 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4683-11_0_4_load_37 | 54 | 0.0029668 | 0.00074355 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4683-11_0_4_load_40 | 57 | 0.0022074 | 0.00055322 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4683-11_0_4_load_41 | 58 | 0.001338 | 0.00033534 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4683-11_0_4_load_42 | 59 | 0.0010413 | 0.00026097 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4683-11_0_4_load_103 | 60 | 0.0038447 | 0.00096358 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4683-11_0_4_load_102 | 61 | 0.00060916 | 0.00015267 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4683-11_0_4_load_44 | 62 | 0.0014476 | 0.0003628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4683-11_0_4_load_46 | 63 | 0.0021086 | 0.00052847 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4683-11_0_4_load_48 | 66 | 0.0017018 | 0.00042651 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4683-11_0_4_load_49 | 67 | 0.00098176 | 0.00024605 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4683-11_0_4_load_50 | 68 | 0.0010762 | 0.00026973 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4683-11_0_4_load_51 | 69 | 0.0014621 | 0.00036645 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4683-11_0_4_load_52 | 70 | 0.0017891 | 0.00044838 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4683-11_0_4_load_91 | 71 | 0.0017424 | 0.00043668 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4683-11_0_4_load_149 | 74 | 0.001734 | 0.00043458 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4683-11_0_4_load_53 | 75 | 0.0022205 | 0.00055651 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4683-11_0_4_load_54 | 76 | 0.0011147 | 0.00027938 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4683-11_0_4_load_58 | 80 | 0.003863 | 0.00096817 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4683-11_0_4_load_114 | 81 | 0.0011339 | 0.00028418 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4683-11_0_4_load_125 | 82 | 0.0047861 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4683-11_0_4_load_128 | 83 | 0.0023958 | 0.00060044 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4683-11_0_4_load_79 | 84 | 0.00054948 | 0.00013771 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4683-11_0_4_load_145 | 85 | 0.00093484 | 0.00023429 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4683-11_0_4_load_75 | 88 | 0.0043648 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4683-11_0_4_load_123 | 89 | 0.0037337 | 0.00093575 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4683-11_0_4_load_129 | 90 | 0.0039854 | 0.00099884 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4683-11_0_4_load_59 | 92 | 0.0027197 | 0.00068163 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4683-11_0_4_load_63 | 96 | 0.0031273 | 0.00078377 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4683-11_0_4_load_64 | 97 | 0.0011223 | 0.00028129 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4683-11_0_4_load_65 | 98 | 0.0027941 | 0.00070027 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4683-11_0_4_load_136 | 99 | 0.0011044 | 0.00027678 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4683-11_0_4_load_94 | 100 | 0.0011946 | 0.00029939 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4683-11_0_4_load_146 | 101 | 0.00085596 | 0.00021452 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4683-11_0_4_load_112 | 104 | 0.00057621 | 0.00014441 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4683-11_0_4_load_98 | 105 | 0.00061412 | 0.00015391 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4683-11_0_4_load_69 | 106 | 0.0045648 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4683-11_0_4_load_70 | 107 | 0.0014531 | 0.00036418 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4683-11_0_4_load_72 | 109 | 0.001641 | 0.00041127 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4683-11_0_4_load_73 | 110 | 0.002132 | 0.00053433 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4683-11_0_4_load_74 | 111 | 0.0010858 | 0.00027213 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4683-11_0_4_load_90 | 113 | 0.00046349 | 0.00011616 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4683-11_0_4_load_101 | 114 | 0.0010558 | 0.00026461 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4683-11_0_4_load_97 | 115 | 0.0002178 | 5.4586e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4683-11_0_4_load_89 | 116 | 0.00061962 | 0.00015529 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4683-11_0_4_load_78 | 117 | 0.00068509 | 0.0001717 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4683-11_0_4_load_92 | 119 | 0.00043979 | 0.00011022 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4683-11_0_4_load_85 | 120 | 0.0017781 | 0.00044563 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4683-11_0_4_load_153 | 122 | 0.00078558 | 0.00019689 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4683-11_0_4_load_88 | 123 | 0.0029967 | 0.00075104 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4683-11_0_4_load_84 | 124 | 0.0018296 | 0.00045853 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4683-11_0_4_load_148 | 125 | 0.001549 | 0.00038821 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4683-11_0_4_load_140 | 126 | 0.00056403 | 0.00014136 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4683-11_0_4_load_138 | 127 | 0.001454 | 0.0003644 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4683-11_0_4_load_95 | 128 | 0.0045337 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4683-11_0_4_load_110 | 130 | 0.00032144 | 8.0559e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4683-11_0_4_load_127 | 131 | 0.0018994 | 0.00047605 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4683-11_0_4_load_105 | 132 | 0.0041883 | 0.0010497 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4683-11_0_4_load_104 | 133 | 0.0011579 | 0.00029019 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4683-11_0_4_load_108 | 134 | 0.00081174 | 0.00020344 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4683-11_0_4_load_109 | 135 | 0.0023268 | 0.00058316 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4683-11_0_4_load_111 | 136 | 0.00050648 | 0.00012694 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4683-11_0_4_load_113 | 137 | 0.0052925 | 0.0013264 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4683-11_0_4_load_118 | 138 | 0.0012187 | 0.00030545 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4683-11_0_4_load_115 | 139 | 0.0011982 | 0.00030031 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4683-11_0_4_load_116 | 140 | 0.00074477 | 0.00018666 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4683-11_0_4_load_117 | 141 | 0.0024173 | 0.00060584 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4683-11_0_4_load_119 | 142 | 0.0012083 | 0.00030283 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4683-11_0_4_load_122 | 143 | 0.0031788 | 0.00079668 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4683-11_0_4_load_137 | 144 | 0.00042269 | 0.00010594 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4683-11_0_4_load_132 | 145 | 0.0010516 | 0.00026355 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4683-11_0_4_load_133 | 146 | 0.0022246 | 0.00055753 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4683-11_0_4_load_134 | 147 | 0.00046474 | 0.00011647 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4683-11_0_4_load_141 | 149 | 0.00089782 | 0.00022502 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4683-11_0_4_load_142 | 150 | 0.0010741 | 0.00026919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4683-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4683-11_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4683-11_0_4_line_2 | NAYY 4x150 SE | 2 | 6 | 0.0037849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4683-11_0_4_line_3 | NAYY 4x150 SE | 2 | 7 | 0.0065514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4683-11_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.051054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4683-11_0_4_line_5 | NAYY 4x150 SE | 3 | 5 | 0.021009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4683-11_0_4_line_6 | NAYY 4x150 SE | 5 | 121 | 0.023475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4683-11_0_4_line_7 | NAYY 4x150 SE | 6 | 14 | 0.0098544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4683-11_0_4_line_8 | NAYY 4x150 SE | 7 | 10 | 0.020134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4683-11_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.07796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4683-11_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.029409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4683-11_0_4_line_11 | NAYY 4x150 SE | 9 | 15 | 0.085622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4683-11_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.41714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4683-11_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.033499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4683-11_0_4_line_14 | NAYY 4x150 SE | 12 | 22 | 0.027605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4683-11_0_4_line_15 | NAYY 4x150 SE | 13 | 142 | 0.026551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4683-11_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.016722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4683-11_0_4_line_17 | NAYY 4x150 SE | 15 | 19 | 0.01563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4683-11_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.051161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4683-11_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.067156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4683-11_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.049887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4683-11_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4683-11_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.06645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4683-11_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.027515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4683-11_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.036359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4683-11_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.028361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4683-11_0_4_line_26 | NAYY 4x150 SE | 26 | 27 | 0.039098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4683-11_0_4_line_27 | NAYY 4x150 SE | 26 | 28 | 0.019582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4683-11_0_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0077152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4683-11_0_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0067898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4683-11_0_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0093547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4683-11_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.051976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4683-11_0_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.0093537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4683-11_0_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.028962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4683-11_0_4_line_34 | NAYY 4x150 SE | 33 | 124 | 0.0093557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4683-11_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.017647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4683-11_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.02045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4683-11_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4683-11_0_4_line_38 | NAYY 4x150 SE | 35 | 38 | 0.031187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4683-11_0_4_line_39 | NAYY 4x150 SE | 36 | 39 | 0.02206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4683-11_0_4_line_40 | NAYY 4x150 SE | 36 | 40 | 0.017413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4683-11_0_4_line_41 | NAYY 4x150 SE | 37 | 41 | 0.023308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4683-11_0_4_line_42 | NAYY 4x150 SE | 38 | 42 | 0.035194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4683-11_0_4_line_43 | NAYY 4x150 SE | 39 | 43 | 0.015637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4683-11_0_4_line_44 | NAYY 4x150 SE | 40 | 44 | 0.0010656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4683-11_0_4_line_45 | NAYY 4x150 SE | 41 | 50 | 0.020631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_4683-11_0_4_line_46 | NAYY 4x150 SE | 43 | 138 | 0.045284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4683-11_0_4_line_47 | NAYY 4x150 SE | 43 | 101 | 0.011431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4683-11_0_4_line_48 | NAYY 4x150 SE | 43 | 137 | 0.026729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4683-11_0_4_line_49 | NAYY 4x150 SE | 44 | 134 | 0.00011407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4683-11_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.027832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4683-11_0_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.025852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4683-11_0_4_line_52 | NAYY 4x150 SE | 46 | 48 | 0.025307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4683-11_0_4_line_53 | NAYY 4x150 SE | 48 | 49 | 0.038703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4683-11_0_4_line_54 | NAYY 4x150 SE | 49 | 50 | 0.023883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_4683-11_0_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4683-11_0_4_line_56 | NAYY 4x150 SE | 51 | 62 | 0.031831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4683-11_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.040771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4683-11_0_4_line_58 | NAYY 4x150 SE | 53 | 124 | 0.024457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4683-11_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.014809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4683-11_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.00059705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4683-11_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.021028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4683-11_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.024755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4683-11_0_4_line_63 | NAYY 4x150 SE | 56 | 59 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4683-11_0_4_line_64 | NAYY 4x150 SE | 58 | 60 | 0.0063756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4683-11_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.048774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4683-11_0_4_line_66 | NAYY 4x150 SE | 61 | 133 | 0.0016019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4683-11_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.014402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4683-11_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4683-11_0_4_line_69 | NAYY 4x150 SE | 64 | 65 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4683-11_0_4_line_70 | NAYY 4x150 SE | 65 | 104 | 0.0069335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4683-11_0_4_line_71 | NAYY 4x150 SE | 65 | 105 | 0.009813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4683-11_0_4_line_72 | NAYY 4x150 SE | 66 | 67 | 0.0062123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4683-11_0_4_line_73 | NAYY 4x150 SE | 66 | 68 | 0.0032179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4683-11_0_4_line_74 | NAYY 4x150 SE | 67 | 69 | 0.0081717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4683-11_0_4_line_75 | NAYY 4x150 SE | 68 | 70 | 0.025958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4683-11_0_4_line_76 | NAYY 4x150 SE | 69 | 71 | 0.013597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4683-11_0_4_line_77 | NAYY 4x150 SE | 70 | 72 | 0.0063224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4683-11_0_4_line_78 | NAYY 4x150 SE | 71 | 73 | 0.015933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4683-11_0_4_line_79 | NAYY 4x150 SE | 72 | 74 | 0.016122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4683-11_0_4_line_80 | NAYY 4x150 SE | 73 | 126 | 0.011836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4683-11_0_4_line_81 | NAYY 4x150 SE | 73 | 127 | 0.011268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4683-11_0_4_line_82 | NAYY 4x150 SE | 74 | 125 | 0.0022453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4683-11_0_4_line_83 | NAYY 4x150 SE | 75 | 76 | 0.00947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4683-11_0_4_line_84 | NAYY 4x150 SE | 75 | 77 | 0.037668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4683-11_0_4_line_85 | NAYY 4x150 SE | 76 | 78 | 0.022304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4683-11_0_4_line_86 | NAYY 4x150 SE | 77 | 79 | 0.022142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4683-11_0_4_line_87 | NAYY 4x150 SE | 77 | 80 | 0.031689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4683-11_0_4_line_88 | NAYY 4x150 SE | 78 | 81 | 0.025284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4683-11_0_4_line_89 | NAYY 4x150 SE | 79 | 82 | 0.016909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4683-11_0_4_line_90 | NAYY 4x150 SE | 79 | 83 | 0.019368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4683-11_0_4_line_91 | NAYY 4x150 SE | 80 | 84 | 0.0075882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4683-11_0_4_line_92 | NAYY 4x150 SE | 81 | 85 | 0.0022391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4683-11_0_4_line_93 | NAYY 4x150 SE | 82 | 89 | 0.034284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4683-11_0_4_line_94 | NAYY 4x150 SE | 83 | 90 | 0.020807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4683-11_0_4_line_95 | NAYY 4x150 SE | 84 | 91 | 0.021189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4683-11_0_4_line_96 | NAYY 4x150 SE | 86 | 87 | 0.017625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4683-11_0_4_line_97 | NAYY 4x150 SE | 86 | 88 | 0.024941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4683-11_0_4_line_98 | NAYY 4x150 SE | 87 | 118 | 0.012973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4683-11_0_4_line_99 | NAYY 4x150 SE | 87 | 119 | 0.030781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4683-11_0_4_line_100 | NAYY 4x150 SE | 88 | 91 | 0.022493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4683-11_0_4_line_101 | NAYY 4x150 SE | 89 | 143 | 0.032621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4683-11_0_4_line_102 | NAYY 4x150 SE | 91 | 117 | 0.02065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4683-11_0_4_line_103 | NAYY 4x150 SE | 92 | 93 | 0.0877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4683-11_0_4_line_104 | NAYY 4x150 SE | 92 | 94 | 0.076846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4683-11_0_4_line_105 | NAYY 4x150 SE | 93 | 95 | 0.019454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4683-11_0_4_line_106 | NAYY 4x150 SE | 93 | 96 | 0.024841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4683-11_0_4_line_107 | NAYY 4x150 SE | 94 | 97 | 0.018843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4683-11_0_4_line_108 | NAYY 4x150 SE | 94 | 98 | 0.052374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
109 | LV_4683-11_0_4_line_109 | NAYY 4x150 SE | 95 | 99 | 0.036345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4683-11_0_4_line_110 | NAYY 4x150 SE | 95 | 100 | 0.018969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4683-11_0_4_line_111 | NAYY 4x150 SE | 98 | 101 | 0.022724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
112 | LV_4683-11_0_4_line_112 | NAYY 4x150 SE | 99 | 102 | 0.02379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4683-11_0_4_line_113 | NAYY 4x150 SE | 100 | 103 | 0.0073448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4683-11_0_4_line_114 | NAYY 4x150 SE | 102 | 148 | 0.010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4683-11_0_4_line_115 | NAYY 4x150 SE | 103 | 128 | 0.038899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4683-11_0_4_line_116 | NAYY 4x150 SE | 103 | 119 | 0.006732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4683-11_0_4_line_117 | NAYY 4x150 SE | 104 | 130 | 0.020595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4683-11_0_4_line_118 | NAYY 4x150 SE | 105 | 115 | 0.0023846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4683-11_0_4_line_119 | NAYY 4x150 SE | 106 | 107 | 0.0092278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4683-11_0_4_line_120 | NAYY 4x150 SE | 106 | 108 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4683-11_0_4_line_121 | NAYY 4x150 SE | 107 | 109 | 0.022932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4683-11_0_4_line_122 | NAYY 4x150 SE | 108 | 110 | 0.007346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4683-11_0_4_line_123 | NAYY 4x150 SE | 108 | 111 | 0.037494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4683-11_0_4_line_124 | NAYY 4x150 SE | 109 | 112 | 0.01798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4683-11_0_4_line_125 | NAYY 4x150 SE | 110 | 113 | 0.01788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4683-11_0_4_line_126 | NAYY 4x150 SE | 112 | 114 | 0.017328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4683-11_0_4_line_127 | NAYY 4x150 SE | 112 | 115 | 0.023799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4683-11_0_4_line_128 | NAYY 4x150 SE | 113 | 116 | 0.016713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4683-11_0_4_line_129 | NAYY 4x150 SE | 114 | 129 | 0.021167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4683-11_0_4_line_130 | NAYY 4x150 SE | 118 | 122 | 0.014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4683-11_0_4_line_131 | NAYY 4x150 SE | 118 | 123 | 0.023989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4683-11_0_4_line_132 | NAYY 4x150 SE | 120 | 121 | 0.018032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4683-11_0_4_line_133 | NAYY 4x150 SE | 121 | 123 | 0.018404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4683-11_0_4_line_134 | NAYY 4x150 SE | 126 | 149 | 0.023346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4683-11_0_4_line_135 | NAYY 4x150 SE | 127 | 144 | 0.0022718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4683-11_0_4_line_136 | NAYY 4x150 SE | 129 | 131 | 0.032822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4683-11_0_4_line_137 | NAYY 4x150 SE | 129 | 132 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4683-11_0_4_line_138 | NAYY 4x150 SE | 130 | 136 | 0.0010951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4683-11_0_4_line_139 | NAYY 4x150 SE | 131 | 144 | 0.036448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4683-11_0_4_line_140 | NAYY 4x150 SE | 132 | 133 | 0.010108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4683-11_0_4_line_141 | NAYY 4x150 SE | 134 | 135 | 0.012544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4683-11_0_4_line_142 | NAYY 4x150 SE | 138 | 140 | 0.00749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4683-11_0_4_line_143 | NAYY 4x150 SE | 139 | 140 | 0.015957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_4683-11_0_4_line_144 | NAYY 4x150 SE | 139 | 141 | 0.018974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_4683-11_0_4_line_145 | NAYY 4x150 SE | 141 | 142 | 0.0082565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4683-11_0_4_line_146 | NAYY 4x150 SE | 145 | 146 | 0.0061208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_4683-11_0_4_line_147 | NAYY 4x150 SE | 145 | 147 | 0.0005012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_4683-11_0_4_line_148 | NAYY 4x150 SE | 146 | 148 | 0.030039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_4683-11_0_4_line_149 | NAYY 4x150 SE | 149 | 150 | 0.00019225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4683-11_0_4_trafo_65 | 0.25 MVA 20/0.4 kV | 151 | 98 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2732316.2646 | 1274652.9144 | 2732318.8226 | 1274653.6449 | 2732322.6834 | 1274652.5303 | 2732328.786 | 1274650.0536 | 2732334.1587 | 1274645.998
1 | 2732352.8731 | 1274638.4713 | 2732344.9319 | 1274640.7621 | 2732334.7383 | 1274645.5605 | 2732334.1587 | 1274645.998
2 | 2732352.8731 | 1274638.4713 | 2732353.3708 | 1274642.2233
3 | 2732352.8731 | 1274638.4713 | 2732352.258 | 1274631.9488
4 | 2733034.0651 | 1274455.6505 | 2733030.5603 | 1274441.6357 | 2733027.5457 | 1274428.5662 | 2733027.0231 | 1274420.3909 | 2733028.3843 | 1274415.7281 | 2733030.977 | 1274411.8272 | 2733034.8323 | 1274407.9584
5 | 2733034.0651 | 1274455.6505 | 2733049.7868 | 1274452.2349 | 2733054.6205 | 1274451.3168
6 | 2733077.6832 | 1274446.9363 | 2733054.6205 | 1274451.3168
7 | 2732354.6668 | 1274651.9921 | 2732353.3708 | 1274642.2233
8 | 2732352.258 | 1274631.9488 | 2732352.1258 | 1274630.5468 | 2732349.9963 | 1274621.8796 | 2732345.4271 | 1274613.2093
9 | 2732407.4337 | 1274568.716 | 2732389.1632 | 1274571.4533 | 2732372.8292 | 1274574.3676 | 2732350.001 | 1274580.4505 | 2732331.7159 | 1274587.1916
10 | 2732331.7159 | 1274587.1916 | 2732345.4271 | 1274613.2093
11 | 2732407.4337 | 1274568.716 | 2732480.266 | 1274558.1732 | 2732489.4361 | 1274557.7675 | 2732492.2318 | 1274558.3273
12 | 2732926.4451 | 1274195.1506 | 2732607.2152 | 1274463.6541
13 | 2732926.4451 | 1274195.1506 | 2732953.0423 | 1274174.7844
14 | 2732607.2152 | 1274463.6541 | 2732587.6763 | 1274483.1541
15 | 2732974.1226 | 1274158.6427 | 2732953.0423 | 1274174.7844
16 | 2732354.6668 | 1274651.9921 | 2732356.8658 | 1274668.5686
17 | 2732505.6901 | 1274565.7846 | 2732499.696 | 1274561.0788 | 2732495.0668 | 1274558.895 | 2732492.2318 | 1274558.3273
18 | 2732363.4839 | 1274719.2988 | 2732359.9087 | 1274690.9356 | 2732357.7492 | 1274675.2274 | 2732356.8658 | 1274668.5686
19 | 2732363.4839 | 1274719.2988 | 2732412.389 | 1274673.2746
20 | 2732505.6901 | 1274565.7846 | 2732541.2277 | 1274530.6705
21 | 2732541.2277 | 1274530.6705 | 2732543.3754 | 1274534.1666
22 | 2732541.2277 | 1274530.6705 | 2732571.9148 | 1274498.8843 | 2732587.6763 | 1274483.1541
23 | 2732543.3754 | 1274534.1666 | 2732524.3546 | 1274554.0484
24 | 2732499.22 | 1274580.3207 | 2732524.3546 | 1274554.0484
25 | 2732499.22 | 1274580.3207 | 2732497.4393 | 1274582.182 | 2732481.7762 | 1274602.6651
26 | 2732926.8131 | 1274018.1512 | 2732934.2158 | 1274030.2654 | 2732938.8768 | 1274038.3894 | 2732940.801 | 1274046.4628 | 2732941.0371 | 1274052.3405 | 2732940.9008 | 1274053.6864
27 | 2732938.9278 | 1274073.1688 | 2732940.9008 | 1274053.6864
28 | 2732926.8131 | 1274018.1512 | 2732922.7901 | 1274011.5679
29 | 2732938.9278 | 1274073.1688 | 2732945.5864 | 1274074.497
30 | 2732917.9123 | 1274003.5856 | 2732922.7901 | 1274011.5679
31 | 2732992.9001 | 1274058.7656 | 2732992.4054 | 1274058.9817 | 2732984.7612 | 1274064.07 | 2732969.9692 | 1274072.9121 | 2732963.2164 | 1274075.4958 | 2732957.4701 | 1274076.1448 | 2732949.2991 | 1274075.2377 | 2732945.5864 | 1274074.497
32 | 2732913.035 | 1273995.6041 | 2732917.9123 | 1274003.5856
33 | 2733020.0468 | 1274048.7278 | 2733000.42 | 1274055.4811 | 2732992.9001 | 1274058.7656
34 | 2732908.1566 | 1273987.6209 | 2732913.035 | 1273995.6041
35 | 2733020.0468 | 1274048.7278 | 2733037.1143 | 1274044.0523
36 | 2733020.0468 | 1274048.7278 | 2733021.5601 | 1274056.336 | 2733023.5103 | 1274060.9177 | 2733027.9409 | 1274067.2459
37 | 2733037.1143 | 1274044.0523 | 2733051.3925 | 1274039.7922
38 | 2733037.1143 | 1274044.0523 | 2733019.6873 | 1274018.1892
39 | 2733027.9409 | 1274067.2459 | 2733040.6009 | 1274085.3122
40 | 2733027.9409 | 1274067.2459 | 2733015.0567 | 1274078.9599
41 | 2733073.3564 | 1274032.0019 | 2733053.472 | 1274039.1718 | 2733051.3925 | 1274039.7922
42 | 2733019.6873 | 1274018.1892 | 2733009.8713 | 1274003.6214 | 2732998.7719 | 1273989.927
43 | 2733048.898 | 1274098.5486 | 2733044.3885 | 1274090.7172 | 2733040.6009 | 1274085.3122
44 | 2733014.2682 | 1274079.6768 | 2733015.0567 | 1274078.9599
45 | 2733073.3564 | 1274032.0019 | 2733061.0399 | 1274015.4507
46 | 2733048.898 | 1274098.5486 | 2733035.462 | 1274109.968 | 2733015.3614 | 1274127.0651 | 2733014.3591 | 1274127.8326
47 | 2733048.898 | 1274098.5486 | 2733053.7551 | 1274108.8959
48 | 2733048.898 | 1274098.5486 | 2733067.5699 | 1274079.4232
49 | 2733014.2682 | 1274079.6768 | 2733014.1838 | 1274079.7535
50 | 2732986.0642 | 1273927.3823 | 2733004.4644 | 1273948.2646
51 | 2732986.0642 | 1273927.3823 | 2732968.973 | 1273907.9857
52 | 2733021.195 | 1273967.2521 | 2733004.4644 | 1273948.2646
53 | 2733046.7819 | 1273996.2905 | 2733021.195 | 1273967.2521
54 | 2733046.7819 | 1273996.2905 | 2733061.0399 | 1274015.4507
55 | 2733046.7819 | 1273996.2905 | 2733054.6428 | 1273989.9392 | 2733058.679 | 1273987.2986
56 | 2733058.679 | 1273987.2986 | 2733062.728 | 1273984.6497 | 2733068.3422 | 1273983.197 | 2733074.244 | 1273984.3311 | 2733088.6536 | 1273989.1162
57 | 2732895.4042 | 1273966.7521 | 2732921.9376 | 1273935.7964
58 | 2732895.4042 | 1273966.7521 | 2732908.1566 | 1273987.6209
59 | 2733197.4098 | 1273850.1339 | 2733192.5243 | 1273864.1142
60 | 2733192.5243 | 1273864.1142 | 2733192.3273 | 1273864.6778
61 | 2733197.4098 | 1273850.1339 | 2733188.2897 | 1273831.1867
62 | 2733192.3273 | 1273864.6778 | 2733187.6729 | 1273878.5863 | 2733183.5133 | 1273887.7768
63 | 2733192.3273 | 1273864.6778 | 2733200.5233 | 1273860.492 | 2733206.7097 | 1273856.2359
64 | 2733180.8845 | 1273893.5852 | 2733183.5133 | 1273887.7768
65 | 2733161.7263 | 1273938.4273 | 2733164.2037 | 1273931.8865 | 2733172.4006 | 1273912.3301 | 2733180.8845 | 1273893.5852
66 | 2733161.7263 | 1273938.4273 | 2733161.1589 | 1273939.9253
67 | 2733098.7771 | 1273999.0145 | 2733096.478 | 1273995.0539 | 2733088.6536 | 1273989.1162 | 2733088.6536 | 1273989.1162
68 | 2733108.785 | 1274018.0092 | 2733107.8022 | 1274014.5615 | 2733098.7771 | 1273999.0145
69 | 2733118.6934 | 1274023.5936 | 2733112.9115 | 1274019.8152 | 2733108.785 | 1274018.0092
70 | 2733118.6934 | 1274023.5936 | 2733114.154 | 1274028.8345
71 | 2733118.6934 | 1274023.5936 | 2733124.778 | 1274015.8948
72 | 2733051.6988 | 1273897.6878 | 2733056.3542 | 1273901.8011
73 | 2733051.6988 | 1273897.6878 | 2733049.2874 | 1273895.5571
74 | 2733056.3542 | 1273901.8011 | 2733062.4779 | 1273907.2118
75 | 2733049.2874 | 1273895.5571 | 2733029.8347 | 1273878.3694
76 | 2733072.6675 | 1273916.2149 | 2733062.4779 | 1273907.2118
77 | 2733025.0968 | 1273874.1832 | 2733029.8347 | 1273878.3694
78 | 2733084.6071 | 1273926.7644 | 2733072.6675 | 1273916.2149
79 | 2733025.0968 | 1273874.1832 | 2733013.0748 | 1273863.4415
80 | 2733084.6071 | 1273926.7644 | 2733092.5004 | 1273917.9441
81 | 2733084.6071 | 1273926.7644 | 2733093.0518 | 1273934.2247
82 | 2733011.4005 | 1273861.9454 | 2733013.0748 | 1273863.4415
83 | 2733188.2031 | 1274438.2907 | 2733184.7094 | 1274429.4886
84 | 2733201.6093 | 1274473.4906 | 2733191.9612 | 1274447.7589 | 2733188.2031 | 1274438.2907
85 | 2733166.1426 | 1274419.3265 | 2733176.8245 | 1274421.2694 | 2733181.1783 | 1274424.9824 | 2733184.7094 | 1274429.4886
86 | 2733223.255 | 1274468.5409 | 2733201.6093 | 1274473.4906
87 | 2733201.6093 | 1274473.4906 | 2733188.6733 | 1274476.446 | 2733170.6574 | 1274480.2799
88 | 2733166.1426 | 1274419.3265 | 2733168.0781 | 1274414.8881 | 2733177.1797 | 1274396.584
89 | 2733223.255 | 1274468.5409 | 2733239.7652 | 1274464.8915
90 | 2733223.255 | 1274468.5409 | 2733218.385 | 1274449.7954
91 | 2733163.2354 | 1274481.8594 | 2733170.6574 | 1274480.2799
92 | 2733178.1766 | 1274394.5791 | 2733177.1797 | 1274396.584
93 | 2733273.2406 | 1274457.492 | 2733239.7652 | 1274464.8915
94 | 2733218.385 | 1274449.7954 | 2733213.1531 | 1274429.6568
95 | 2733142.5104 | 1274486.2698 | 2733163.2354 | 1274481.8594
96 | 2733127.0206 | 1274423.1034 | 2733130.5797 | 1274440.3671
97 | 2733130.5797 | 1274440.3671 | 2733132.4143 | 1274448.3941 | 2733133.2358 | 1274451.9828 | 2733136.6371 | 1274464.5566
98 | 2733116.0474 | 1274430.0738 | 2733127.0206 | 1274423.1034
99 | 2733127.0206 | 1274423.1034 | 2733120.6089 | 1274392.998
100 | 2733142.5104 | 1274486.2698 | 2733136.6371 | 1274464.5566
101 | 2733305.0928 | 1274450.4514 | 2733273.2406 | 1274457.492
102 | 2733142.5104 | 1274486.2698 | 2733138.1818 | 1274485.1043 | 2733132.9663 | 1274486.9107 | 2733124.4262 | 1274493.2706
103 | 2733109.8833 | 1274341.6043 | 2733107.0247 | 1274326.6252 | 2733098.9187 | 1274291.8642 | 2733091.1677 | 1274255.934
104 | 2733074.9631 | 1274180.8161 | 2733091.1677 | 1274255.934
105 | 2733109.8833 | 1274341.6043 | 2733113.778 | 1274360.6662
106 | 2733091.7808 | 1274358.5125 | 2733104.6824 | 1274345.0904 | 2733109.8833 | 1274341.6043
107 | 2733074.9631 | 1274180.8161 | 2733093.2052 | 1274176.0961
108 | 2733074.9631 | 1274180.8161 | 2733064.066 | 1274137.7175 | 2733062.4102 | 1274132.7642 | 2733061.5529 | 1274130.2077
109 | 2733113.778 | 1274360.6662 | 2733149.342 | 1274353.1742
110 | 2733113.778 | 1274360.6662 | 2733117.6913 | 1274379.2269
111 | 2733053.7551 | 1274108.8959 | 2733056.2113 | 1274114.1286 | 2733058.9568 | 1274122.4653 | 2733061.5529 | 1274130.2077
112 | 2733172.6211 | 1274348.2702 | 2733149.342 | 1274353.1742
113 | 2733119.2066 | 1274386.4137 | 2733117.6913 | 1274379.2269
114 | 2733182.9236 | 1274346.0338 | 2733172.6211 | 1274348.2702
115 | 2733119.2066 | 1274386.4137 | 2733096.633 | 1274390.8089 | 2733090.6055 | 1274391.596 | 2733087.0569 | 1274391.1934 | 2733081.2179 | 1274388.9596
116 | 2733119.2066 | 1274386.4137 | 2733120.6089 | 1274392.998
117 | 2733114.154 | 1274028.8345 | 2733101.6481 | 1274043.2729 | 2733100.6398 | 1274044.3743
118 | 2733126.2566 | 1274014.024 | 2733124.778 | 1274015.8948
119 | 2733189.3606 | 1274002.0444 | 2733180.2077 | 1274000.8706
120 | 2733204.9733 | 1274000.5174 | 2733197.2555 | 1274001.8556 | 2733189.3606 | 1274002.0444
121 | 2733180.2077 | 1274000.8706 | 2733177.045 | 1274000.465 | 2733157.5087 | 1273997.6105
122 | 2733204.9733 | 1274000.5174 | 2733211.8789 | 1273998.0122
123 | 2733204.9733 | 1274000.5174 | 2733208.0202 | 1274004.8236 | 2733211.526 | 1274010.1301 | 2733215.4453 | 1274015.446 | 2733229.6378 | 1274028.4573
124 | 2733139.8029 | 1273994.4858 | 2733156.3374 | 1273997.4394 | 2733157.5087 | 1273997.6105
125 | 2733227.617 | 1273989.5806 | 2733222.9382 | 1273992.426 | 2733213.4296 | 1273997.4496 | 2733211.8789 | 1273998.0122
126 | 2733139.8029 | 1273994.4858 | 2733145.6154 | 1273981.9158 | 2733146.8032 | 1273978.6453
127 | 2733139.8029 | 1273994.4858 | 2733131.276 | 1274007.673 | 2733126.2566 | 1274014.024
128 | 2733241.8949 | 1273980.8935 | 2733238.8478 | 1273982.7534 | 2733237.2919 | 1273983.697 | 2733227.617 | 1273989.5806
129 | 2733154.029 | 1273958.7497 | 2733146.8032 | 1273978.6453
130 | 2733116.0474 | 1274430.0738 | 2733107.0891 | 1274418.0823
131 | 2733116.0474 | 1274430.0738 | 2733098.1758 | 1274441.4263 | 2733095.4558 | 1274442.1577
132 | 2733077.6832 | 1274446.9363 | 2733079.775 | 1274464.8466
133 | 2733077.6832 | 1274446.9363 | 2733095.4558 | 1274442.1577
134 | 2733092.5004 | 1273917.9441 | 2733108.069 | 1273900.5472
135 | 2733094.7544 | 1273935.7288 | 2733093.0518 | 1273934.2247
136 | 2733154.029 | 1273958.7497 | 2733130.9519 | 1273942.3912 | 2733126.9061 | 1273940.3424
137 | 2733154.029 | 1273958.7497 | 2733157.5785 | 1273949.3784
138 | 2733100.6398 | 1274044.3743 | 2733099.9003 | 1274045.1821
139 | 2733094.7544 | 1273935.7288 | 2733102.772 | 1273942.8117 | 2733106.164 | 1273944.8346 | 2733109.0831 | 1273945.1452 | 2733113.5347 | 1273944.2113 | 2733119.1457 | 1273941.2349 | 2733122.4061 | 1273940.0851 | 2733126.9061 | 1273940.3424
140 | 2733157.5785 | 1273949.3784 | 2733161.1589 | 1273939.9253
141 | 2733004.9026 | 1274088.1916 | 2733014.1838 | 1274079.7535
142 | 2733008.4122 | 1274132.3862 | 2733014.3591 | 1274127.8326
143 | 2732995.7428 | 1274142.0876 | 2733008.4122 | 1274132.3862
144 | 2732995.7428 | 1274142.0876 | 2732980.678 | 1274153.6231
145 | 2732974.1226 | 1274158.6427 | 2732980.678 | 1274153.6231
146 | 2733204.0986 | 1274373.7512 | 2733198.9801 | 1274370.395
147 | 2733204.0986 | 1274373.7512 | 2733204.5177 | 1274374.026
148 | 2733182.9236 | 1274346.0338 | 2733190.2372 | 1274363.2377 | 2733194.9787 | 1274367.7714 | 2733198.9801 | 1274370.395
149 | 2733108.069 | 1273900.5472 | 2733108.1972 | 1273900.4039

## bus_geodata
| x | y | coords
0 | 2732316.2646 | 1274652.9144
1 | 2732334.1587 | 1274645.998
2 | 2732352.8731 | 1274638.4713
3 | 2733034.0651 | 1274455.6505
4 | 2733034.8323 | 1274407.9584
5 | 2733054.6205 | 1274451.3168
6 | 2732353.3708 | 1274642.2233
7 | 2732352.258 | 1274631.9488
8 | 2732331.7159 | 1274587.1916
9 | 2732407.4337 | 1274568.716
10 | 2732345.4271 | 1274613.2093
11 | 2732926.4451 | 1274195.1506
12 | 2732607.2152 | 1274463.6541
13 | 2732953.0423 | 1274174.7844
14 | 2732354.6668 | 1274651.9921
15 | 2732492.2318 | 1274558.3273
16 | 2732356.8658 | 1274668.5686
17 | 2732363.4839 | 1274719.2988
18 | 2732412.389 | 1274673.2746
19 | 2732505.6901 | 1274565.7846
20 | 2732541.2277 | 1274530.6705
21 | 2732543.3754 | 1274534.1666
22 | 2732587.6763 | 1274483.1541
23 | 2732524.3546 | 1274554.0484
24 | 2732499.22 | 1274580.3207
25 | 2732481.7762 | 1274602.6651
26 | 2732940.9008 | 1274053.6864
27 | 2732926.8131 | 1274018.1512
28 | 2732938.9278 | 1274073.1688
29 | 2732922.7901 | 1274011.5679
30 | 2732945.5864 | 1274074.497
31 | 2732917.9123 | 1274003.5856
32 | 2732992.9001 | 1274058.7656
33 | 2732913.035 | 1273995.6041
34 | 2733020.0468 | 1274048.7278
35 | 2733037.1143 | 1274044.0523
36 | 2733027.9409 | 1274067.2459
37 | 2733051.3925 | 1274039.7922
38 | 2733019.6873 | 1274018.1892
39 | 2733040.6009 | 1274085.3122
40 | 2733015.0567 | 1274078.9599
41 | 2733073.3564 | 1274032.0019
42 | 2732998.7719 | 1273989.927
43 | 2733048.898 | 1274098.5486
44 | 2733014.2682 | 1274079.6768
45 | 2732986.0642 | 1273927.3823
46 | 2733004.4644 | 1273948.2646
47 | 2732968.973 | 1273907.9857
48 | 2733021.195 | 1273967.2521
49 | 2733046.7819 | 1273996.2905
50 | 2733061.0399 | 1274015.4507
51 | 2733058.6791 | 1273987.2986
52 | 2732921.9376 | 1273935.7964
53 | 2732895.4042 | 1273966.7521
54 | 2733192.5243 | 1273864.1142
55 | 2733197.4098 | 1273850.1339
56 | 2733192.3273 | 1273864.6778
57 | 2733188.2897 | 1273831.1867
58 | 2733183.5133 | 1273887.7768
59 | 2733206.7097 | 1273856.2359
60 | 2733180.8845 | 1273893.5852
61 | 2733161.7263 | 1273938.4273
62 | 2733088.6536 | 1273989.1162
63 | 2733098.7771 | 1273999.0145
64 | 2733108.785 | 1274018.0092
65 | 2733118.6934 | 1274023.5936
66 | 2733051.6988 | 1273897.6878
67 | 2733056.3542 | 1273901.8011
68 | 2733049.2874 | 1273895.5571
69 | 2733062.4779 | 1273907.2118
70 | 2733029.8347 | 1273878.3694
71 | 2733072.6675 | 1273916.2149
72 | 2733025.0968 | 1273874.1832
73 | 2733084.6071 | 1273926.7644
74 | 2733013.0748 | 1273863.4415
75 | 2733188.2031 | 1274438.2907
76 | 2733184.7094 | 1274429.4886
77 | 2733201.6093 | 1274473.4906
78 | 2733166.1426 | 1274419.3265
79 | 2733223.255 | 1274468.5409
80 | 2733170.6574 | 1274480.2799
81 | 2733177.1797 | 1274396.584
82 | 2733239.7652 | 1274464.8915
83 | 2733218.385 | 1274449.7954
84 | 2733163.2354 | 1274481.8594
85 | 2733178.1766 | 1274394.5791
86 | 2733130.5797 | 1274440.3671
87 | 2733127.0206 | 1274423.1034
88 | 2733136.6371 | 1274464.5566
89 | 2733273.2406 | 1274457.492
90 | 2733213.1531 | 1274429.6568
91 | 2733142.5104 | 1274486.2698
92 | 2733091.1677 | 1274255.934
93 | 2733109.8833 | 1274341.6043
94 | 2733074.9631 | 1274180.8161
95 | 2733113.778 | 1274360.6662
96 | 2733091.7808 | 1274358.5125
97 | 2733093.2052 | 1274176.0961
98 | 2733061.5529 | 1274130.2077
99 | 2733149.342 | 1274353.1742
100 | 2733117.6913 | 1274379.2269
101 | 2733053.7551 | 1274108.8959
102 | 2733172.6211 | 1274348.2702
103 | 2733119.2066 | 1274386.4137
104 | 2733114.154 | 1274028.8345
105 | 2733124.778 | 1274015.8948
106 | 2733189.3606 | 1274002.0444
107 | 2733180.2077 | 1274000.8706
108 | 2733204.9733 | 1274000.5174
109 | 2733157.5087 | 1273997.6105
110 | 2733211.8789 | 1273998.0122
111 | 2733229.6378 | 1274028.4573
112 | 2733139.8029 | 1273994.4858
113 | 2733227.617 | 1273989.5806
114 | 2733146.8032 | 1273978.6453
115 | 2733126.2566 | 1274014.024
116 | 2733241.8949 | 1273980.8935
117 | 2733124.4262 | 1274493.2706
118 | 2733116.0474 | 1274430.0738
119 | 2733120.6089 | 1274392.998
120 | 2733079.775 | 1274464.8466
121 | 2733077.6832 | 1274446.9363
122 | 2733107.0891 | 1274418.0823
123 | 2733095.4558 | 1274442.1577
124 | 2732908.1566 | 1273987.6209
125 | 2733011.4005 | 1273861.9454
126 | 2733092.5004 | 1273917.9441
127 | 2733093.0518 | 1273934.2247
128 | 2733081.2179 | 1274388.9596
129 | 2733154.029 | 1273958.7497
130 | 2733100.6398 | 1274044.3743
131 | 2733126.9061 | 1273940.3424
132 | 2733157.5785 | 1273949.3785
133 | 2733161.1589 | 1273939.9253
134 | 2733014.1838 | 1274079.7535
135 | 2733004.9026 | 1274088.1916
136 | 2733099.9003 | 1274045.1821
137 | 2733067.5699 | 1274079.4232
138 | 2733014.3591 | 1274127.8326
139 | 2732995.7428 | 1274142.0876
140 | 2733008.4122 | 1274132.3862
141 | 2732980.678 | 1274153.6231
142 | 2732974.1226 | 1274158.6427
143 | 2733305.0928 | 1274450.4514
144 | 2733094.7544 | 1273935.7288
145 | 2733204.0986 | 1274373.7512
146 | 2733198.9801 | 1274370.395
147 | 2733204.5177 | 1274374.026
148 | 2733182.9236 | 1274346.0338
149 | 2733108.069 | 1273900.5472
150 | 2733108.1972 | 1273900.4039
151 | 2733048.898 | 1274098.5486

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1