## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4696-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4696-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4696-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4696-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4696-14_0_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_4696-14_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4696-14_0_5_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_4696-14_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4696-14_0_5_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_4696-14_0_5_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_4696-14_0_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_4696-14_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4696-14_0_5_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_4696-14_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4696-14_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_4696-14_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4696-14_0_5_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_4696-14_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_4696-14_0_5_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_4696-14_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4696-14_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_4696-14_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4696-14_0_5_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_4696-14_0_5_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_4696-14_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4696-14_0_5_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_4696-14_0_5_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_4696-14_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4696-14_0_5_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_4696-14_0_5_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_4696-14_0_5_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_4696-14_0_5_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_4696-14_0_5_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_4696-14_0_5_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_4696-14_0_5_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_4696-14_0_5_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_4696-14_0_5_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_4696-14_0_5_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4696-14_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4696-14_0_5_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_4696-14_0_5_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_4696-14_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_4696-14_0_5_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_4696-14_0_5_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_4696-14_0_5_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_4696-14_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4696-14_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_4696-14_0_5_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_4696-14_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4696-14_0_5_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4696-14_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4696-14_0_5_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_4696-14_0_5_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4696-14_0_5_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_4696-14_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4696-14_0_5_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_4696-14_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4696-14_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4696-14_0_5_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4696-14_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4696-14_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4696-14_0_5_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_4696-14_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4696-14_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4696-14_0_5_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_4696-14_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4696-14_0_5_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4696-14_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_4696-14_0_5_node_70 | 0.4 | n |  | TRUE
69 | bus_MV_441_0_node_287 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4696-14_0_5_load_0 | 0 | 0.00086667 | 0.00021721 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4696-14_0_5_load_45 | 6 | 0.007052 | 0.0017674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4696-14_0_5_load_44 | 8 | 0.0066858 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4696-14_0_5_load_58 | 9 | 0.0053058 | 0.0013297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4696-14_0_5_load_59 | 10 | 0.0028366 | 0.00071091 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4696-14_0_5_load_26 | 14 | 0.0080923 | 0.0020281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4696-14_0_5_load_32 | 16 | 0.0055532 | 0.0013918 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4696-14_0_5_load_29 | 17 | 0.0048642 | 0.0012191 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4696-14_0_5_load_46 | 18 | 0.0046615 | 0.0011683 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4696-14_0_5_load_50 | 20 | 0.00071165 | 0.00017836 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4696-14_0_5_load_53 | 22 | 0.0055976 | 0.0014029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4696-14_0_5_load_47 | 23 | 0.0045107 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4696-14_0_5_load_67 | 25 | 0.0042039 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4696-14_0_5_load_54 | 28 | 0.002806 | 0.00070324 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4696-14_0_5_load_68 | 32 | 0.0073501 | 0.0018421 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4696-14_0_5_load_71 | 33 | 0.0064923 | 0.0016271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4696-14_0_5_load_72 | 34 | 0.0024017 | 0.00060193 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4696-14_0_5_load_62 | 35 | 0.0017516 | 0.000439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4696-14_0_5_load_57 | 36 | 0.0050171 | 0.0012574 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4696-14_0_5_load_30 | 38 | 0.0042975 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4696-14_0_5_load_56 | 40 | 0.0024407 | 0.00061169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4696-14_0_5_load_16 | 42 | 0.0055729 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4696-14_0_5_load_21 | 45 | 0.0033425 | 0.00083772 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4696-14_0_5_load_25 | 46 | 0.0023809 | 0.00059671 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4696-14_0_5_load_22 | 47 | 0.0017525 | 0.00043922 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4696-14_0_5_load_38 | 48 | 0.010763 | 0.0026975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4696-14_0_5_load_24 | 49 | 0.0083039 | 0.0020811 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4696-14_0_5_load_61 | 53 | 0.013082 | 0.0032787 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4696-14_0_5_load_63 | 55 | 0.0083039 | 0.0020811 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4696-14_0_5_load_33 | 56 | 0.0055327 | 0.0013866 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4696-14_0_5_load_34 | 57 | 0.0032606 | 0.00081719 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4696-14_0_5_load_35 | 58 | 0.0021467 | 0.00053801 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4696-14_0_5_load_74 | 61 | 0.0094869 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4696-14_0_5_load_39 | 62 | 0.0062643 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4696-14_0_5_load_41 | 63 | 0.0091846 | 0.0023019 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4696-14_0_5_load_73 | 64 | 0.016792 | 0.0042084 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4696-14_0_5_load_55 | 65 | 0.00094985 | 0.00023806 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4696-14_0_5_load_69 | 67 | 0.0052856 | 0.0013247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4696-14_0_5_load_70 | 68 | 0.012154 | 0.0030461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4696-14_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.085989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4696-14_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4696-14_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.005218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4696-14_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.006244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4696-14_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4696-14_0_5_line_5 | NAYY 4x150 SE | 4 | 19 | 0.027088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4696-14_0_5_line_6 | NAYY 4x150 SE | 4 | 20 | 0.039853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4696-14_0_5_line_7 | NAYY 4x150 SE | 5 | 6 | 0.019671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4696-14_0_5_line_8 | NAYY 4x150 SE | 5 | 7 | 0.0098656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4696-14_0_5_line_9 | NAYY 4x150 SE | 5 | 8 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4696-14_0_5_line_10 | NAYY 4x150 SE | 6 | 35 | 0.04019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4696-14_0_5_line_11 | NAYY 4x150 SE | 7 | 9 | 0.017461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4696-14_0_5_line_12 | NAYY 4x150 SE | 7 | 10 | 0.011256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4696-14_0_5_line_13 | NAYY 4x150 SE | 9 | 36 | 0.016251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4696-14_0_5_line_14 | NAYY 4x150 SE | 10 | 37 | 0.017768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4696-14_0_5_line_15 | NAYY 4x150 SE | 11 | 12 | 0.037161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4696-14_0_5_line_16 | NAYY 4x150 SE | 11 | 13 | 0.029119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4696-14_0_5_line_17 | NAYY 4x150 SE | 11 | 14 | 0.029611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4696-14_0_5_line_18 | NAYY 4x150 SE | 12 | 37 | 0.012285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4696-14_0_5_line_19 | NAYY 4x150 SE | 13 | 18 | 0.034079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4696-14_0_5_line_20 | NAYY 4x150 SE | 15 | 16 | 0.043093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4696-14_0_5_line_21 | NAYY 4x150 SE | 15 | 17 | 0.026168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4696-14_0_5_line_22 | NAYY 4x150 SE | 17 | 38 | 0.0061922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4696-14_0_5_line_23 | NAYY 4x150 SE | 19 | 21 | 0.016456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4696-14_0_5_line_24 | NAYY 4x150 SE | 19 | 22 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4696-14_0_5_line_25 | NAYY 4x150 SE | 21 | 23 | 0.1357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4696-14_0_5_line_26 | NAYY 4x150 SE | 22 | 27 | 0.040005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4696-14_0_5_line_27 | NAYY 4x150 SE | 23 | 26 | 0.01175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4696-14_0_5_line_28 | NAYY 4x150 SE | 24 | 25 | 0.017944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4696-14_0_5_line_29 | NAYY 4x150 SE | 24 | 26 | 0.025224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4696-14_0_5_line_30 | NAYY 4x150 SE | 26 | 39 | 0.008238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4696-14_0_5_line_31 | NAYY 4x150 SE | 27 | 28 | 0.014863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4696-14_0_5_line_32 | NAYY 4x150 SE | 28 | 41 | 0.031882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4696-14_0_5_line_33 | NAYY 4x150 SE | 29 | 30 | 0.039227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4696-14_0_5_line_34 | NAYY 4x150 SE | 29 | 31 | 0.024167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4696-14_0_5_line_35 | NAYY 4x150 SE | 29 | 32 | 0.009788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4696-14_0_5_line_36 | NAYY 4x150 SE | 30 | 33 | 0.005612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4696-14_0_5_line_37 | NAYY 4x150 SE | 30 | 34 | 0.029778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4696-14_0_5_line_38 | NAYY 4x150 SE | 31 | 66 | 0.015512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4696-14_0_5_line_39 | NAYY 4x150 SE | 31 | 55 | 0.0048089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4696-14_0_5_line_40 | NAYY 4x150 SE | 35 | 54 | 0.0090591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_4696-14_0_5_line_41 | NAYY 4x150 SE | 37 | 53 | 0.0174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4696-14_0_5_line_42 | NAYY 4x150 SE | 38 | 51 | 0.018338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4696-14_0_5_line_43 | NAYY 4x150 SE | 39 | 40 | 0.015397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4696-14_0_5_line_44 | NAYY 4x150 SE | 40 | 65 | 0.029281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4696-14_0_5_line_45 | NAYY 4x150 SE | 41 | 59 | 0.021276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4696-14_0_5_line_46 | NAYY 4x150 SE | 41 | 57 | 0.0138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4696-14_0_5_line_47 | NAYY 4x150 SE | 42 | 43 | 0.020972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4696-14_0_5_line_48 | NAYY 4x150 SE | 43 | 44 | 0.01868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4696-14_0_5_line_49 | NAYY 4x150 SE | 43 | 45 | 0.017406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4696-14_0_5_line_50 | NAYY 4x150 SE | 44 | 46 | 0.038074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4696-14_0_5_line_51 | NAYY 4x150 SE | 44 | 47 | 0.063742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4696-14_0_5_line_52 | NAYY 4x150 SE | 45 | 48 | 0.036284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4696-14_0_5_line_53 | NAYY 4x150 SE | 48 | 51 | 0.013696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4696-14_0_5_line_54 | NAYY 4x150 SE | 49 | 50 | 0.03339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4696-14_0_5_line_55 | NAYY 4x150 SE | 50 | 52 | 0.036582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4696-14_0_5_line_56 | NAYY 4x150 SE | 51 | 54 | 0.024792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4696-14_0_5_line_57 | NAYY 4x150 SE | 52 | 64 | 0.004907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4696-14_0_5_line_58 | NAYY 4x150 SE | 52 | 60 | 0.02031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4696-14_0_5_line_59 | NAYY 4x150 SE | 54 | 55 | 0.036483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4696-14_0_5_line_60 | NAYY 4x150 SE | 56 | 57 | 0.011261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4696-14_0_5_line_61 | NAYY 4x150 SE | 56 | 58 | 0.028495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4696-14_0_5_line_62 | NAYY 4x150 SE | 59 | 62 | 0.012854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4696-14_0_5_line_63 | NAYY 4x150 SE | 59 | 60 | 0.083539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_4696-14_0_5_line_64 | NAYY 4x150 SE | 60 | 61 | 0.010643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4696-14_0_5_line_65 | NAYY 4x150 SE | 62 | 63 | 0.028775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4696-14_0_5_line_66 | NAYY 4x150 SE | 66 | 67 | 0.006408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4696-14_0_5_line_67 | NAYY 4x150 SE | 66 | 68 | 0.025038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4696-14_0_5_trafo_65 | 0.25 MVA 20/0.4 kV | 69 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2727237.6152 | 1279971.0678 | 2727254.6365 | 1280055.3553
1 | 2727262.6577 | 1280096.3965 | 2727259.9276 | 1280081.5565 | 2727254.6365 | 1280055.3553
2 | 2727237.6152 | 1279971.0678 | 2727242.7469 | 1279970.0441
3 | 2727262.6577 | 1280096.3965 | 2727268.3654 | 1280098.9666
4 | 2727234.899 | 1279930.5253 | 2727242.7469 | 1279970.0441
5 | 2727268.3654 | 1280098.9666 | 2727269.5978 | 1280105.2215 | 2727269.9208 | 1280106.6188 | 2727270.4363 | 1280108.8431 | 2727271.7389 | 1280111.852 | 2727273.5297 | 1280114.1706 | 2727275.9672 | 1280115.7692 | 2727283.0776 | 1280119.1482
6 | 2727268.3654 | 1280098.9666 | 2727260.598 | 1280059.8777
7 | 2727234.899 | 1279930.5253 | 2727253.9432 | 1279925.5973
8 | 2727225.3826 | 1279933.1226 | 2727229.7608 | 1279931.8491 | 2727234.899 | 1279930.5253
9 | 2727234.899 | 1279930.5253 | 2727231.3218 | 1279912.8529
10 | 2727292.8519 | 1279915.529 | 2727253.9432 | 1279925.5973
11 | 2727225.3826 | 1279933.1226 | 2727208.6183 | 1279938.0069
12 | 2727225.3826 | 1279933.1226 | 2727224.1078 | 1279924.9983 | 2727223.5059 | 1279922.026
13 | 2727193.0163 | 1279942.5525 | 2727208.6183 | 1279938.0069
14 | 2727219.9793 | 1279904.6117 | 2727223.5059 | 1279922.026
15 | 2727217.5417 | 1279892.5696 | 2727212.8431 | 1279869.3568 | 2727210.1573 | 1279867.4192 | 2727208.1409 | 1279857.4438
16 | 2727208.1409 | 1279857.4438 | 2727209.1727 | 1279856.9879 | 2727214.3018 | 1279855.7417 | 2727217.7589 | 1279872.7662 | 2727223.0031 | 1279871.7561
17 | 2727208.1409 | 1279857.4438 | 2727180.1612 | 1279867.1376
18 | 2727217.5417 | 1279892.5696 | 2727219.9793 | 1279904.6117
19 | 2727223.0031 | 1279871.7561 | 2727256.4705 | 1279865.329
20 | 2727330.5609 | 1279856.1621 | 2727289.1385 | 1279868.0441
21 | 2727330.5609 | 1279856.1621 | 2727327.9891 | 1279882.2033
22 | 2727327.9891 | 1279882.2033 | 2727327.3805 | 1279888.3655
23 | 2727281.2819 | 1280132.0108 | 2727277.807 | 1280130.7791 | 2727281.0259 | 1280123.6861 | 2727283.0776 | 1280119.1482
24 | 2727283.0776 | 1280119.1482 | 2727296.658 | 1280125.2806 | 2727297.8287 | 1280125.7664
25 | 2727281.2819 | 1280132.0108 | 2727299.2006 | 1280138.3593 | 2727308.7457 | 1280141.3794 | 2727319.0766 | 1280143.1486 | 2727327.469 | 1280143.8749 | 2727335.4995 | 1280145.3498 | 2727341.619 | 1280146.939 | 2727356.2488 | 1280152.4937 | 2727387.2966 | 1280165.677 | 2727392.5326 | 1280168.8599 | 2727400.1524 | 1280175.7757 | 2727406.6083 | 1280179.5667
26 | 2727336.8309 | 1280131.0313 | 2727327.2251 | 1280132.2139 | 2727319.3207 | 1280131.854 | 2727312.0611 | 1280130.5182 | 2727303.7551 | 1280128.2256 | 2727297.8287 | 1280125.7664
27 | 2727415.2295 | 1280187.0457 | 2727412.9736 | 1280183.3044 | 2727406.6083 | 1280179.5667
28 | 2727439.2174 | 1280166.3772 | 2727440.3478 | 1280184.2858
29 | 2727415.2295 | 1280187.0457 | 2727427.4893 | 1280185.0865 | 2727440.3478 | 1280184.2858
30 | 2727415.2295 | 1280187.0457 | 2727407.8533 | 1280190.7566
31 | 2727336.8309 | 1280131.0313 | 2727334.507 | 1280116.3512
32 | 2727331.9356 | 1280084.6138 | 2727332.9831 | 1280106.7245 | 2727334.507 | 1280116.3512
33 | 2727282.3411 | 1279954.9839 | 2727279.1893 | 1279962.7901 | 2727272.0204 | 1279964.2035 | 2727276.4284 | 1279987.2877
34 | 2727306.0242 | 1279949.8345 | 2727282.3411 | 1279954.9839
35 | 2727279.6439 | 1279945.5721 | 2727282.3411 | 1279954.9839
36 | 2727276.4284 | 1279987.2877 | 2727270.9047 | 1279988.3695
37 | 2727276.4284 | 1279987.2877 | 2727281.0892 | 1280010.8445 | 2727275.483 | 1280012.2693
38 | 2727306.0242 | 1279949.8345 | 2727309.5751 | 1279964.937
39 | 2727306.0242 | 1279949.8345 | 2727310.672 | 1279948.6003
40 | 2727301.6221 | 1279913.2595 | 2727292.8519 | 1279915.529
41 | 2727219.9793 | 1279904.6117 | 2727208.3524 | 1279907.5081 | 2727207.0748 | 1279902.2429
42 | 2727325.5782 | 1279906.6147 | 2727327.3805 | 1279888.3655
43 | 2727407.8533 | 1280190.7566 | 2727401.4902 | 1280182.7113 | 2727397.6899 | 1280179.2505
44 | 2727372.0435 | 1280165.5168 | 2727387.6062 | 1280172.2123 | 2727395.0352 | 1280176.8328 | 2727397.6899 | 1280179.2505
45 | 2727331.9356 | 1280084.6138 | 2727336.5302 | 1280075.7599 | 2727342.344 | 1280071.6815 | 2727345.7775 | 1280069.2644
46 | 2727331.9356 | 1280084.6138 | 2727320.2937 | 1280077.2035
47 | 2727391.1383 | 1279891.0375 | 2727389.239 | 1279879.4853 | 2727396.9972 | 1279874.4208
48 | 2727391.1383 | 1279891.0375 | 2727409.3638 | 1279886.7048
49 | 2727391.1383 | 1279891.0375 | 2727374.2038 | 1279895.0612
50 | 2727409.3638 | 1279886.7048 | 2727426.7486 | 1279852.8319
51 | 2727409.3638 | 1279886.7048 | 2727470.6762 | 1279869.2748
52 | 2727338.903 | 1279903.4487 | 2727374.2038 | 1279895.0612
53 | 2727325.5782 | 1279906.6147 | 2727338.903 | 1279903.4487
54 | 2727336.8348 | 1279989.3492 | 2727350.3517 | 1279969.5774 | 2727355.7832 | 1279961.8572
55 | 2727336.8348 | 1279989.3492 | 2727355.0499 | 1280000.7758 | 2727370.0321 | 1279998.386
56 | 2727301.6221 | 1279913.2595 | 2727325.5782 | 1279906.6147
57 | 2727369.4536 | 1279993.5132 | 2727370.0321 | 1279998.386
58 | 2727370.0321 | 1279998.386 | 2727372.4138 | 1280018.557
59 | 2727301.6221 | 1279913.2595 | 2727307.3605 | 1279936.328 | 2727310.672 | 1279948.6003
60 | 2727320.2937 | 1280077.2035 | 2727310.794 | 1280071.1568
61 | 2727283.9275 | 1280071.1089 | 2727304.2442 | 1280066.9877 | 2727310.794 | 1280071.1568
62 | 2727345.7775 | 1280069.2644 | 2727358.6064 | 1280068.462
63 | 2727345.7775 | 1280069.2644 | 2727342.344 | 1280071.6815 | 2727337.3074 | 1280045.0135 | 2727374.3852 | 1280030.9449 | 2727372.4138 | 1280018.557
64 | 2727372.4138 | 1280018.557 | 2727361.8465 | 1280020.0636
65 | 2727379.2295 | 1280060.2447 | 2727379.249 | 1280068.3753 | 2727359.3887 | 1280068.413 | 2727358.6064 | 1280068.462
66 | 2727309.5751 | 1279964.937 | 2727303.3077 | 1279966.3586
67 | 2727309.5751 | 1279964.937 | 2727313.3494 | 1279983.6144 | 2727307.5455 | 1279985.1461

## bus_geodata
| x | y | coords
0 | 2727254.6365 | 1280055.3553
1 | 2727237.6152 | 1279971.0678
2 | 2727262.6577 | 1280096.3965
3 | 2727242.7469 | 1279970.0441
4 | 2727268.3654 | 1280098.9666
5 | 2727234.899 | 1279930.5253
6 | 2727253.9432 | 1279925.5973
7 | 2727225.3826 | 1279933.1226
8 | 2727231.3218 | 1279912.8529
9 | 2727208.6183 | 1279938.0069
10 | 2727223.5059 | 1279922.026
11 | 2727208.1409 | 1279857.4438
12 | 2727217.5417 | 1279892.5696
13 | 2727223.0031 | 1279871.7561
14 | 2727180.1612 | 1279867.1376
15 | 2727330.5609 | 1279856.1621
16 | 2727289.1385 | 1279868.0441
17 | 2727327.9891 | 1279882.2033
18 | 2727256.4705 | 1279865.329
19 | 2727283.0776 | 1280119.1482
20 | 2727260.598 | 1280059.8777
21 | 2727281.2819 | 1280132.0108
22 | 2727297.8287 | 1280125.7664
23 | 2727406.6083 | 1280179.5667
24 | 2727440.3478 | 1280184.2858
25 | 2727439.2174 | 1280166.3772
26 | 2727415.2295 | 1280187.0457
27 | 2727336.8309 | 1280131.0313
28 | 2727334.507 | 1280116.3512
29 | 2727282.3411 | 1279954.9839
30 | 2727276.4284 | 1279987.2877
31 | 2727306.0242 | 1279949.8345
32 | 2727279.6439 | 1279945.5721
33 | 2727270.9047 | 1279988.3695
34 | 2727275.483 | 1280012.2693
35 | 2727292.8519 | 1279915.529
36 | 2727193.0163 | 1279942.5525
37 | 2727219.9793 | 1279904.6117
38 | 2727327.3805 | 1279888.3655
39 | 2727407.8533 | 1280190.7566
40 | 2727397.6899 | 1280179.2505
41 | 2727331.9356 | 1280084.6138
42 | 2727396.9972 | 1279874.4208
43 | 2727391.1383 | 1279891.0375
44 | 2727409.3638 | 1279886.7048
45 | 2727374.2038 | 1279895.0612
46 | 2727426.7486 | 1279852.8319
47 | 2727470.6762 | 1279869.2748
48 | 2727338.903 | 1279903.4487
49 | 2727355.7832 | 1279961.8572
50 | 2727336.8348 | 1279989.3492
51 | 2727325.5782 | 1279906.6147
52 | 2727370.0321 | 1279998.386
53 | 2727207.0748 | 1279902.2429
54 | 2727301.6221 | 1279913.2595
55 | 2727310.672 | 1279948.6003
56 | 2727310.794 | 1280071.1568
57 | 2727320.2937 | 1280077.2035
58 | 2727283.9275 | 1280071.1089
59 | 2727345.7775 | 1280069.2644
60 | 2727372.4138 | 1280018.557
61 | 2727361.8465 | 1280020.0636
62 | 2727358.6064 | 1280068.462
63 | 2727379.2295 | 1280060.2447
64 | 2727369.4536 | 1279993.5132
65 | 2727372.0435 | 1280165.5168
66 | 2727309.5751 | 1279964.937
67 | 2727303.3077 | 1279966.3586
68 | 2727307.5455 | 1279985.1461
69 | 2727303.3077 | 1279966.3586

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1