## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4696-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4696-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4696-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4696-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4696-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4696-1_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4696-1_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4696-1_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_4696-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4696-1_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_4696-1_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4696-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4696-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4696-1_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4696-1_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4696-1_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4696-1_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4696-1_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4696-1_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_4696-1_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_4696-1_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_4696-1_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_4696-1_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_4696-1_0_3_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_4696-1_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4696-1_0_3_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_4696-1_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_4696-1_0_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_4696-1_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_4696-1_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_4696-1_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_4696-1_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4696-1_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4696-1_0_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_4696-1_0_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_4696-1_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4696-1_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4696-1_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4696-1_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4696-1_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4696-1_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4696-1_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4696-1_0_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4696-1_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4696-1_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4696-1_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4696-1_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4696-1_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4696-1_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_4696-1_0_3_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_4696-1_0_3_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_4696-1_0_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_4696-1_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4696-1_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_4696-1_0_3_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_4696-1_0_3_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_4696-1_0_3_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_4696-1_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4696-1_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4696-1_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4696-1_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4696-1_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4696-1_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4696-1_0_3_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_4696-1_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_4696-1_0_3_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_4696-1_0_3_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_4696-1_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4696-1_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4696-1_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_4696-1_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_4696-1_0_3_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_4696-1_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_4696-1_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4696-1_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_4696-1_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_4696-1_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4696-1_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4696-1_0_3_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_4696-1_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_4696-1_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_4696-1_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4696-1_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_4696-1_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_4696-1_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4696-1_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_4696-1_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_4696-1_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_4696-1_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_MV_489_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4696-1_0_3_load_0 | 0 | 0.00091345 | 0.00022893 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4696-1_0_3_load_1 | 1 | 0.00087252 | 0.00021867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4696-1_0_3_load_3 | 3 | 0.00074042 | 0.00018557 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4696-1_0_3_load_4 | 4 | 0.00069262 | 0.00017359 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4696-1_0_3_load_13 | 6 | 0.035713 | 0.0089506 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4696-1_0_3_load_5 | 8 | 0.00020971 | 5.2559e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4696-1_0_3_load_22 | 9 | 0.0006795 | 0.0001703 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4696-1_0_3_load_6 | 10 | 0.00063337 | 0.00015874 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4696-1_0_3_load_7 | 11 | 0.0024307 | 0.0006092 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4696-1_0_3_load_8 | 12 | 0.0005518 | 0.00013829 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4696-1_0_3_load_9 | 13 | 0.00025896 | 6.4901e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4696-1_0_3_load_10 | 14 | 0.00014541 | 3.6442e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4696-1_0_3_load_11 | 15 | 0.0084611 | 0.0021205 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4696-1_0_3_load_17 | 17 | 0.00023504 | 5.8906e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4696-1_0_3_load_18 | 18 | 0.00043636 | 0.00010936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4696-1_0_3_load_26 | 21 | 0.00072999 | 0.00018295 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4696-1_0_3_load_55 | 23 | 0.0010746 | 0.00026933 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4696-1_0_3_load_86 | 25 | 0.0032038 | 0.00080296 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4696-1_0_3_load_52 | 26 | 0.0012694 | 0.00031814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4696-1_0_3_load_53 | 27 | 0.00091245 | 0.00022868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4696-1_0_3_load_54 | 28 | 0.00014798 | 3.7088e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4696-1_0_3_load_48 | 32 | 0.016223 | 0.0040659 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4696-1_0_3_load_76 | 33 | 0.00053828 | 0.00013491 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4696-1_0_3_load_28 | 35 | 0.0010308 | 0.00025834 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4696-1_0_3_load_29 | 36 | 0.0010215 | 0.00025602 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4696-1_0_3_load_30 | 37 | 0.0011279 | 0.00028268 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4696-1_0_3_load_31 | 38 | 0.0010586 | 0.00026532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4696-1_0_3_load_40 | 40 | 0.001408 | 0.00035287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4696-1_0_3_load_37 | 41 | 0.00058492 | 0.00014659 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4696-1_0_3_load_46 | 42 | 0.0014195 | 0.00035576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4696-1_0_3_load_38 | 43 | 0.0013457 | 0.00033726 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4696-1_0_3_load_33 | 44 | 0.0012578 | 0.00031524 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4696-1_0_3_load_34 | 45 | 0.0012631 | 0.00031657 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4696-1_0_3_load_36 | 47 | 0.0040705 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4696-1_0_3_load_63 | 49 | 0.0026199 | 0.00065662 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4696-1_0_3_load_68 | 50 | 0.0083533 | 0.0020935 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4696-1_0_3_load_91 | 54 | 0.0046726 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4696-1_0_3_load_93 | 55 | 0.0038175 | 0.00095675 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4696-1_0_3_load_92 | 56 | 0.0046104 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4696-1_0_3_load_51 | 57 | 0.00087755 | 0.00021993 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4696-1_0_3_load_39 | 58 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4696-1_0_3_load_41 | 59 | 0.0012844 | 0.00032191 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4696-1_0_3_load_42 | 60 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4696-1_0_3_load_44 | 61 | 0.0013884 | 0.00034796 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4696-1_0_3_load_61 | 64 | 0.0019607 | 0.0004914 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4696-1_0_3_load_87 | 65 | 0.001253 | 0.00031403 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4696-1_0_3_load_82 | 66 | 0.0016903 | 0.00042362 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4696-1_0_3_load_59 | 67 | 0.0012356 | 0.00030967 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4696-1_0_3_load_45 | 68 | 0.00074159 | 0.00018586 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4696-1_0_3_load_57 | 69 | 0.00086429 | 0.00021661 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4696-1_0_3_load_84 | 70 | 0.00058035 | 0.00014545 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4696-1_0_3_load_85 | 71 | 0.00055751 | 0.00013972 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4696-1_0_3_load_56 | 73 | 0.00063422 | 0.00015895 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4696-1_0_3_load_58 | 74 | 0.00088696 | 0.00022229 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4696-1_0_3_load_60 | 75 | 0.001226 | 0.00030726 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4696-1_0_3_load_62 | 76 | 0.0015126 | 0.0003791 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4696-1_0_3_load_70 | 77 | 0.00060203 | 0.00015088 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4696-1_0_3_load_78 | 78 | 0.00074121 | 0.00018576 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4696-1_0_3_load_77 | 79 | 0.0017795 | 0.000446 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4696-1_0_3_load_80 | 80 | 0.00062255 | 0.00015603 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4696-1_0_3_load_75 | 81 | 0.0014928 | 0.00037412 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4696-1_0_3_load_71 | 82 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4696-1_0_3_load_72 | 83 | 0.0025012 | 0.00062686 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4696-1_0_3_load_79 | 84 | 0.0023123 | 0.00057951 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4696-1_0_3_load_81 | 85 | 0.0029616 | 0.00074223 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4696-1_0_3_load_89 | 86 | 0.0020266 | 0.0005079 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4696-1_0_3_load_88 | 87 | 0.0012277 | 0.00030769 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4696-1_0_3_load_90 | 88 | 0.0014074 | 0.00035273 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4696-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4696-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4696-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0094635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4696-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4696-1_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.021233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4696-1_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.061058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4696-1_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.064999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4696-1_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.31771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4696-1_0_3_line_8 | NAYY 4x150 SE | 6 | 16 | 0.045383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4696-1_0_3_line_9 | NAYY 4x150 SE | 6 | 15 | 0.109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4696-1_0_3_line_10 | NAYY 4x150 SE | 7 | 24 | 0.071533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4696-1_0_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.036755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4696-1_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.036419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4696-1_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.0076727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4696-1_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.016279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4696-1_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.048478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4696-1_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.010501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4696-1_0_3_line_17 | NAYY 4x150 SE | 16 | 29 | 0.02418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4696-1_0_3_line_18 | NAYY 4x150 SE | 16 | 30 | 0.039115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4696-1_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.011872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4696-1_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.048046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4696-1_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.004784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4696-1_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0068017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4696-1_0_3_line_23 | NAYY 4x150 SE | 20 | 26 | 0.029061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4696-1_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.027771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4696-1_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.16766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4696-1_0_3_line_26 | NAYY 4x150 SE | 23 | 28 | 0.024972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4696-1_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.057748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4696-1_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.012826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4696-1_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.025717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4696-1_0_3_line_30 | NAYY 4x150 SE | 29 | 33 | 0.013191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4696-1_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.009502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4696-1_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.039888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4696-1_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0096825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4696-1_0_3_line_34 | NAYY 4x150 SE | 33 | 72 | 0.016175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4696-1_0_3_line_35 | NAYY 4x150 SE | 34 | 57 | 0.03337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4696-1_0_3_line_36 | NAYY 4x150 SE | 34 | 47 | 0.023518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4696-1_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4696-1_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.00028375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4696-1_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 8.8088e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4696-1_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.02811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4696-1_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4696-1_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0041443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4696-1_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0019724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4696-1_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.000344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4696-1_0_3_line_45 | NAYY 4x150 SE | 42 | 61 | 0.015538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4696-1_0_3_line_46 | NAYY 4x150 SE | 43 | 58 | 0.0083826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4696-1_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.029182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4696-1_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4696-1_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.044827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4696-1_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.064338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4696-1_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.016957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4696-1_0_3_line_52 | NAYY 4x150 SE | 48 | 51 | 0.02266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4696-1_0_3_line_53 | NAYY 4x150 SE | 48 | 49 | 0.014534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4696-1_0_3_line_54 | NAYY 4x150 SE | 51 | 56 | 0.004658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4696-1_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.019019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4696-1_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.070648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4696-1_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.021143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4696-1_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.006532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4696-1_0_3_line_59 | NAYY 4x150 SE | 57 | 69 | 0.018581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4696-1_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0036127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4696-1_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.022302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4696-1_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.008932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4696-1_0_3_line_63 | NAYY 4x150 SE | 61 | 68 | 0.0061438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4696-1_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.003424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4696-1_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.016624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4696-1_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.026687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4696-1_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.011401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4696-1_0_3_line_68 | NAYY 4x150 SE | 64 | 67 | 0.00040823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4696-1_0_3_line_69 | NAYY 4x150 SE | 65 | 86 | 0.00037454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4696-1_0_3_line_70 | NAYY 4x150 SE | 66 | 84 | 0.013129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4696-1_0_3_line_71 | NAYY 4x150 SE | 67 | 75 | 0.022735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4696-1_0_3_line_72 | NAYY 4x150 SE | 69 | 73 | 0.018256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4696-1_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.015024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4696-1_0_3_line_74 | NAYY 4x150 SE | 71 | 85 | 0.024117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4696-1_0_3_line_75 | NAYY 4x150 SE | 72 | 81 | 0.025446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4696-1_0_3_line_76 | NAYY 4x150 SE | 72 | 82 | 0.011047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4696-1_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 2.4056e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4696-1_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0078784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4696-1_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.010728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4696-1_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.015776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4696-1_0_3_line_81 | NAYY 4x150 SE | 77 | 79 | 0.023871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4696-1_0_3_line_82 | NAYY 4x150 SE | 78 | 80 | 0.0046154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4696-1_0_3_line_83 | NAYY 4x150 SE | 79 | 81 | 0.014958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4696-1_0_3_line_84 | NAYY 4x150 SE | 80 | 85 | 0.0079195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4696-1_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.03097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4696-1_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.018629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4696-1_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.00015576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4696-1_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 89 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2728701.5825 | 1278961.0265 | 2728696.7658 | 1278950.2008
1 | 2728745.0447 | 1279061.0617 | 2728715.4146 | 1278992.1146 | 2728701.5825 | 1278961.0265
2 | 2728692.9188 | 1278941.5546 | 2728696.7658 | 1278950.2008
3 | 2728745.0447 | 1279061.0617 | 2728755.9856 | 1279087.9816
4 | 2728692.9188 | 1278941.5546 | 2728691.0289 | 1278937.307 | 2728684.3339 | 1278922.1341
5 | 2728755.9856 | 1279087.9816 | 2728778.9749 | 1279144.5465
6 | 2728497.1832 | 1279294.9623 | 2728436.3524 | 1279317.8654
7 | 2728497.1832 | 1279294.9623 | 2728792.8137 | 1279178.5968
8 | 2728393.9113 | 1279333.9402 | 2728419.5849 | 1279324.1785 | 2728436.3524 | 1279317.8654
9 | 2728436.3524 | 1279317.8654 | 2728461.722 | 1279423.8669
10 | 2728792.8137 | 1279178.5968 | 2728807.1298 | 1279172.4256 | 2728847.2818 | 1279157.388 | 2728843.1338 | 1279144.9964
11 | 2728792.8137 | 1279178.5968 | 2728778.9749 | 1279144.5465
12 | 2728684.3339 | 1278922.1341 | 2728669.6318 | 1278888.8149
13 | 2728666.5344 | 1278881.7952 | 2728669.6318 | 1278888.8149
14 | 2728659.9625 | 1278866.9015 | 2728666.5344 | 1278881.7952
15 | 2728651.2948 | 1278819.7273 | 2728654.4639 | 1278854.4399 | 2728659.9625 | 1278866.9015
16 | 2728650.3401 | 1278809.2697 | 2728651.2948 | 1278819.7273
17 | 2728385.5756 | 1279311.2478 | 2728391.0242 | 1279325.3801 | 2728393.9113 | 1279333.9402
18 | 2728393.9113 | 1279333.9402 | 2728357.4925 | 1279348.4839
19 | 2729074.9149 | 1279082.1259 | 2729063.7634 | 1279086.1993
20 | 2729120.1785 | 1279066.022 | 2729104.0738 | 1279071.4748 | 2729074.9149 | 1279082.1259
21 | 2729120.1785 | 1279066.022 | 2729118.4804 | 1279061.5471
22 | 2729120.1785 | 1279066.022 | 2729121.3364 | 1279069.0837 | 2729121.5874 | 1279069.6342 | 2729121.873 | 1279069.9741 | 2729122.3392 | 1279070.3068 | 2729122.9649 | 1279070.5652 | 2729123.5871 | 1279070.6345 | 2729124.1893 | 1279070.592
23 | 2729118.4804 | 1279061.5471 | 2729091.1543 | 1279071.439
24 | 2729005.3189 | 1279102.511 | 2729031.432 | 1279093.0582
25 | 2728843.1338 | 1279144.9964 | 2729005.3189 | 1279102.511
26 | 2729031.432 | 1279093.0582 | 2729054.9128 | 1279084.5583
27 | 2728843.1338 | 1279144.9964 | 2728835.0499 | 1279120.8185 | 2728827.3908 | 1279089.4869
28 | 2729091.1543 | 1279071.439 | 2729079.0939 | 1279075.8048
29 | 2729054.9128 | 1279084.5583 | 2729079.0939 | 1279075.8048
30 | 2728385.5756 | 1279311.2478 | 2728380.4324 | 1279299.1006
31 | 2728348.6099 | 1279351.9273 | 2728357.4925 | 1279348.4839
32 | 2728348.6099 | 1279351.9273 | 2728334.4784 | 1279357.6031 | 2728313.2877 | 1279365.4719 | 2728311.3547 | 1279366.1677
33 | 2728302.2444 | 1279369.4467 | 2728311.3547 | 1279366.1677
34 | 2728374.1257 | 1279284.2056 | 2728380.4324 | 1279299.1006
35 | 2728302.2444 | 1279369.4467 | 2728292.5477 | 1279338.8393 | 2728291.3183 | 1279339.1297
36 | 2728302.2444 | 1279369.4467 | 2728280.2388 | 1279377.7431
37 | 2728241.8262 | 1279244.3447 | 2728234.9037 | 1279226.2842
38 | 2728241.8262 | 1279244.3447 | 2728241.9278 | 1279244.6097
39 | 2728234.8722 | 1279226.202 | 2728234.9037 | 1279226.2842
40 | 2728251.9885 | 1279270.8578 | 2728241.9278 | 1279244.6097
41 | 2728251.9885 | 1279270.8578 | 2728238.4356 | 1279276.0116
42 | 2728251.9885 | 1279270.8578 | 2728255.773 | 1279269.1687
43 | 2728238.4356 | 1279276.0116 | 2728236.5919 | 1279276.7126
44 | 2728255.773 | 1279269.1687 | 2728256.0871 | 1279269.0285
45 | 2728222.0686 | 1279282.2354 | 2728236.5919 | 1279276.7126
46 | 2728263.7419 | 1279265.6121 | 2728256.0871 | 1279269.0285
47 | 2728234.2881 | 1279379.0015 | 2728226.5457 | 1279350.8657
48 | 2728238.2936 | 1279393.5571 | 2728234.2881 | 1279379.0015
49 | 2728238.2936 | 1279393.5571 | 2728280.2388 | 1279377.7431
50 | 2728238.2936 | 1279393.5571 | 2728259.5617 | 1279454.2787
51 | 2728259.5617 | 1279454.2787 | 2728268.3687 | 1279450.8446 | 2728275.5252 | 1279448.5874
52 | 2728263.0503 | 1279473.5288 | 2728266.2314 | 1279472.3858 | 2728259.5617 | 1279454.2787
53 | 2728259.5617 | 1279454.2787 | 2728245.8826 | 1279459.1898
54 | 2728263.0503 | 1279473.5288 | 2728258.6856 | 1279475.1911
55 | 2728263.0503 | 1279473.5288 | 2728265.8479 | 1279481.0303 | 2728269.6961 | 1279491.3574
56 | 2728247.914 | 1279536.0939 | 2728243.0078 | 1279523.6195 | 2728241.1063 | 1279518.4509 | 2728275.0987 | 1279505.8779 | 2728269.6961 | 1279491.3574
57 | 2728247.914 | 1279536.0939 | 2728259.5855 | 1279531.8992 | 2728267.8083 | 1279528.9363
58 | 2728263.5736 | 1279493.682 | 2728269.6961 | 1279491.3574
59 | 2728291.3183 | 1279339.1297 | 2728273.2354 | 1279343.4011
60 | 2728267.0409 | 1279264.1396 | 2728263.7419 | 1279265.6121
61 | 2728267.0409 | 1279264.1396 | 2728277.7449 | 1279259.3623 | 2728287.4497 | 1279255.1469
62 | 2728295.6422 | 1279251.5884 | 2728287.4497 | 1279255.1469
63 | 2728222.0686 | 1279282.2354 | 2728216.326 | 1279284.4192
64 | 2728298.7907 | 1279250.2222 | 2728295.6422 | 1279251.5884
65 | 2728295.6422 | 1279251.5884 | 2728301.4302 | 1279267.1722
66 | 2728298.7907 | 1279250.2222 | 2728289.2601 | 1279225.2949
67 | 2728298.7907 | 1279250.2222 | 2728309.3067 | 1279245.8194
68 | 2728301.5723 | 1279267.5549 | 2728301.4302 | 1279267.1722
69 | 2728289.2601 | 1279225.2949 | 2728289.1264 | 1279224.9451
70 | 2728321.4173 | 1279240.7488 | 2728309.3067 | 1279245.8194
71 | 2728301.5723 | 1279267.5549 | 2728306.6739 | 1279281.2906 | 2728308.4021 | 1279289.1865
72 | 2728255.4688 | 1279347.5979 | 2728273.2354 | 1279343.4011
73 | 2728360.5092 | 1279320.2163 | 2728346.363 | 1279325.2777
74 | 2728346.363 | 1279325.2777 | 2728323.6554 | 1279333.4023
75 | 2728374.1257 | 1279284.2056 | 2728350.3164 | 1279293.1844
76 | 2728374.1257 | 1279284.2056 | 2728370.1868 | 1279273.8843
77 | 2728255.4454 | 1279347.6034 | 2728255.4688 | 1279347.5979
78 | 2728308.4021 | 1279289.1865 | 2728309.9342 | 1279296.1871 | 2728310.1864 | 1279296.8531
79 | 2728313.9849 | 1279306.8857 | 2728310.1864 | 1279296.8531
80 | 2728313.9849 | 1279306.8857 | 2728317.0044 | 1279315.2372 | 2728318.2659 | 1279318.7348 | 2728319.3452 | 1279321.7226
81 | 2728313.9849 | 1279306.8857 | 2728336.3204 | 1279298.4625
82 | 2728319.3452 | 1279321.7226 | 2728320.9132 | 1279326.0634
83 | 2728350.3164 | 1279293.1844 | 2728336.3204 | 1279298.4625
84 | 2728320.9132 | 1279326.0634 | 2728323.5746 | 1279333.4312 | 2728323.6554 | 1279333.4023
85 | 2728370.1868 | 1279273.8843 | 2728359.1445 | 1279244.9499
86 | 2728282.4734 | 1279207.5443 | 2728289.1264 | 1279224.9451
87 | 2728282.4734 | 1279207.5443 | 2728282.4178 | 1279207.3988

## bus_geodata
| x | y | coords
0 | 2728701.5825 | 1278961.0265
1 | 2728696.7658 | 1278950.2008
2 | 2728745.0447 | 1279061.0617
3 | 2728692.9188 | 1278941.5546
4 | 2728755.9856 | 1279087.9816
5 | 2728497.1832 | 1279294.9623
6 | 2728436.3524 | 1279317.8654
7 | 2728792.8137 | 1279178.5968
8 | 2728684.3339 | 1278922.1341
9 | 2728778.9749 | 1279144.5465
10 | 2728669.6318 | 1278888.8149
11 | 2728666.5344 | 1278881.7952
12 | 2728659.9625 | 1278866.9015
13 | 2728651.2948 | 1278819.7273
14 | 2728650.3401 | 1278809.2697
15 | 2728461.722 | 1279423.8669
16 | 2728393.9113 | 1279333.9402
17 | 2729063.7634 | 1279086.1993
18 | 2729074.9149 | 1279082.1259
19 | 2729120.1785 | 1279066.022
20 | 2729118.4804 | 1279061.5471
21 | 2729124.1893 | 1279070.592
22 | 2729005.3189 | 1279102.511
23 | 2729031.432 | 1279093.0582
24 | 2728843.1338 | 1279144.9964
25 | 2728827.3908 | 1279089.4869
26 | 2729091.1543 | 1279071.439
27 | 2729079.0939 | 1279075.8048
28 | 2729054.9128 | 1279084.5583
29 | 2728385.5756 | 1279311.2478
30 | 2728357.4925 | 1279348.4839
31 | 2728348.6099 | 1279351.9273
32 | 2728311.3547 | 1279366.1677
33 | 2728380.4324 | 1279299.1006
34 | 2728302.2444 | 1279369.4467
35 | 2728241.8262 | 1279244.3447
36 | 2728234.9037 | 1279226.2842
37 | 2728241.9278 | 1279244.6097
38 | 2728234.8722 | 1279226.202
39 | 2728251.9885 | 1279270.8578
40 | 2728238.4356 | 1279276.0116
41 | 2728255.773 | 1279269.1687
42 | 2728236.5919 | 1279276.7126
43 | 2728256.0871 | 1279269.0285
44 | 2728234.2881 | 1279379.0015
45 | 2728226.5457 | 1279350.8657
46 | 2728238.2936 | 1279393.5571
47 | 2728280.2388 | 1279377.7431
48 | 2728259.5617 | 1279454.2787
49 | 2728245.8826 | 1279459.1898
50 | 2728275.5252 | 1279448.5874
51 | 2728263.0503 | 1279473.5288
52 | 2728247.914 | 1279536.0939
53 | 2728269.6961 | 1279491.3574
54 | 2728267.8083 | 1279528.9363
55 | 2728263.5736 | 1279493.682
56 | 2728258.6856 | 1279475.1911
57 | 2728291.3183 | 1279339.1297
58 | 2728263.7419 | 1279265.6121
59 | 2728267.0409 | 1279264.1396
60 | 2728287.4497 | 1279255.1469
61 | 2728222.0686 | 1279282.2354
62 | 2728295.6422 | 1279251.5884
63 | 2728298.7907 | 1279250.2222
64 | 2728301.4302 | 1279267.1722
65 | 2728289.2601 | 1279225.2949
66 | 2728309.3067 | 1279245.8194
67 | 2728301.5723 | 1279267.5549
68 | 2728216.326 | 1279284.4192
69 | 2728273.2354 | 1279343.4011
70 | 2728360.5092 | 1279320.2163
71 | 2728346.363 | 1279325.2777
72 | 2728374.1257 | 1279284.2056
73 | 2728255.4688 | 1279347.5979
74 | 2728255.4454 | 1279347.6034
75 | 2728308.4021 | 1279289.1865
76 | 2728310.1864 | 1279296.8531
77 | 2728313.9849 | 1279306.8857
78 | 2728319.3452 | 1279321.7226
79 | 2728336.3204 | 1279298.4625
80 | 2728320.9132 | 1279326.0634
81 | 2728350.3164 | 1279293.1844
82 | 2728370.1868 | 1279273.8843
83 | 2728359.1445 | 1279244.9499
84 | 2728321.4173 | 1279240.7488
85 | 2728323.6554 | 1279333.4023
86 | 2728289.1264 | 1279224.9451
87 | 2728282.4735 | 1279207.5443
88 | 2728282.4178 | 1279207.3988
89 | 2728391.0242 | 1279325.3801

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1