## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4696-30_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4696-30_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4696-30_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4696-30_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4696-30_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4696-30_0_2_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_4696-30_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4696-30_0_2_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_4696-30_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4696-30_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4696-30_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4696-30_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4696-30_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4696-30_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4696-30_0_2_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_4696-30_0_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4696-30_0_2_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_4696-30_0_2_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_4696-30_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4696-30_0_2_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_4696-30_0_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_4696-30_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4696-30_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4696-30_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4696-30_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4696-30_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4696-30_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4696-30_0_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_4696-30_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_4696-30_0_2_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4696-30_0_2_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_4696-30_0_2_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_4696-30_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4696-30_0_2_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4696-30_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4696-30_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4696-30_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4696-30_0_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4696-30_0_2_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_4696-30_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4696-30_0_2_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_4696-30_0_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_4696-30_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_4696-30_0_2_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4696-30_0_2_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4696-30_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4696-30_0_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_4696-30_0_2_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_4696-30_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_4696-30_0_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_4696-30_0_2_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_4696-30_0_2_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4696-30_0_2_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4696-30_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4696-30_0_2_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_4696-30_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4696-30_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_4696-30_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4696-30_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4696-30_0_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4696-30_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4696-30_0_2_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_4696-30_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_MV_441_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4696-30_0_2_load_0 | 0 | 0.0021598 | 0.00054129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4696-30_0_2_load_1 | 1 | 0.0032178 | 0.00080646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4696-30_0_2_load_2 | 2 | 0.001182 | 0.00029625 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4696-30_0_2_load_3 | 3 | 0.0020126 | 0.00050442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4696-30_0_2_load_4 | 4 | 0.0044029 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4696-30_0_2_load_32 | 5 | 0.0022095 | 0.00055376 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4696-30_0_2_load_10 | 6 | 0.0011822 | 0.0002963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4696-30_0_2_load_33 | 7 | 0.0029002 | 0.00072686 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4696-30_0_2_load_11 | 8 | 0.0012218 | 0.00030621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4696-30_0_2_load_5 | 9 | 0.0031056 | 0.00077834 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4696-30_0_2_load_6 | 10 | 0.0045247 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4696-30_0_2_load_7 | 11 | 0.0034635 | 0.00086804 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4696-30_0_2_load_8 | 12 | 0.0025373 | 0.0006359 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4696-30_0_2_load_9 | 13 | 0.0040918 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4696-30_0_2_load_41 | 14 | 0.002076 | 0.0005203 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4696-30_0_2_load_26 | 15 | 0.0023072 | 0.00057825 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4696-30_0_2_load_40 | 16 | 0.0030997 | 0.00077686 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4696-30_0_2_load_36 | 17 | 0.0047773 | 0.0011973 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4696-30_0_2_load_12 | 18 | 0.0037597 | 0.00094228 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4696-30_0_2_load_46 | 19 | 0.0012215 | 0.00030614 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4696-30_0_2_load_30 | 20 | 0.0013832 | 0.00034667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4696-30_0_2_load_13 | 21 | 0.002617 | 0.00065588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4696-30_0_2_load_14 | 22 | 0.0018026 | 0.00045177 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4696-30_0_2_load_17 | 25 | 0.0014087 | 0.00035306 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4696-30_0_2_load_18 | 26 | 0.0036804 | 0.00092239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4696-30_0_2_load_38 | 27 | 0.0039871 | 0.00099925 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4696-30_0_2_load_35 | 28 | 0.0020006 | 0.00050139 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4696-30_0_2_load_54 | 29 | 0.0049975 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4696-30_0_2_load_55 | 30 | 0.0038363 | 0.00096147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4696-30_0_2_load_19 | 32 | 0.0027558 | 0.00069068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4696-30_0_2_load_22 | 34 | 0.0029075 | 0.0007287 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4696-30_0_2_load_23 | 35 | 0.0022082 | 0.00055342 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4696-30_0_2_load_24 | 36 | 0.0034011 | 0.00085239 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4696-30_0_2_load_39 | 37 | 0.0047482 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4696-30_0_2_load_57 | 38 | 0.0028657 | 0.0007182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4696-30_0_2_load_66 | 40 | 0.0018728 | 0.00046937 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4696-30_0_2_load_63 | 41 | 0.0018854 | 0.00047253 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4696-30_0_2_load_37 | 42 | 0.0011245 | 0.00028182 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4696-30_0_2_load_27 | 43 | 0.0034228 | 0.00085784 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4696-30_0_2_load_28 | 44 | 0.0013824 | 0.00034646 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4696-30_0_2_load_29 | 45 | 0.0012398 | 0.00031074 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4696-30_0_2_load_51 | 47 | 0.0020564 | 0.00051539 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4696-30_0_2_load_48 | 48 | 0.0014922 | 0.00037398 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4696-30_0_2_load_67 | 51 | 0.0035853 | 0.00089856 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4696-30_0_2_load_59 | 52 | 0.0011251 | 0.00028197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4696-30_0_2_load_53 | 53 | 0.0029869 | 0.00074858 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4696-30_0_2_load_56 | 54 | 0.0022258 | 0.00055783 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4696-30_0_2_load_42 | 55 | 0.0011957 | 0.00029967 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4696-30_0_2_load_43 | 56 | 0.003219 | 0.00080676 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4696-30_0_2_load_44 | 57 | 0.0028333 | 0.00071009 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4696-30_0_2_load_45 | 58 | 0.0011237 | 0.00028162 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4696-30_0_2_load_49 | 59 | 0.0014922 | 0.00037398 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4696-30_0_2_load_50 | 60 | 0.0023075 | 0.00057832 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4696-30_0_2_load_60 | 61 | 0.0031366 | 0.00078611 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4696-30_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0031514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4696-30_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4696-30_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4696-30_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0018065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4696-30_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0069474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4696-30_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.005792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4696-30_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4696-30_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4696-30_0_2_line_8 | NAYY 4x150 SE | 7 | 39 | 0.01421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4696-30_0_2_line_9 | NAYY 4x150 SE | 8 | 18 | 0.00078272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4696-30_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.004464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4696-30_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.019144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4696-30_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.021735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4696-30_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0028424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4696-30_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0021806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4696-30_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0051428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4696-30_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.022808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4696-30_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.016886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4696-30_0_2_line_18 | NAYY 4x150 SE | 16 | 37 | 0.0021402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4696-30_0_2_line_19 | NAYY 4x150 SE | 17 | 42 | 0.0058041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4696-30_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0065754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4696-30_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.01449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4696-30_0_2_line_22 | NAYY 4x150 SE | 20 | 44 | 0.0058186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4696-30_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.013708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4696-30_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.033437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4696-30_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.013401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4696-30_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.028663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4696-30_0_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.030354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4696-30_0_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0094534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4696-30_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.016604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4696-30_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0092394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4696-30_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.0044179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4696-30_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0083072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4696-30_0_2_line_33 | NAYY 4x150 SE | 30 | 54 | 0.043923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4696-30_0_2_line_34 | NAYY 4x150 SE | 31 | 53 | 0.01166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4696-30_0_2_line_35 | NAYY 4x150 SE | 31 | 58 | 0.015296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4696-30_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.033271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4696-30_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.017161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4696-30_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.025429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4696-30_0_2_line_39 | NAYY 4x150 SE | 33 | 36 | 0.018832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4696-30_0_2_line_40 | NAYY 4x150 SE | 34 | 37 | 0.029299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4696-30_0_2_line_41 | NAYY 4x150 SE | 35 | 38 | 0.011358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4696-30_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0081451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4696-30_0_2_line_43 | NAYY 4x150 SE | 39 | 49 | 0.015544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4696-30_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.010878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4696-30_0_2_line_45 | NAYY 4x150 SE | 41 | 62 | 0.024779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4696-30_0_2_line_46 | NAYY 4x150 SE | 42 | 52 | 0.0091941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4696-30_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.002923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4696-30_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.016864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4696-30_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.036431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4696-30_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.01973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4696-30_0_2_line_51 | NAYY 4x150 SE | 48 | 59 | 0.0068072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4696-30_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.036751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4696-30_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4696-30_0_2_line_54 | NAYY 4x150 SE | 50 | 61 | 0.013021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4696-30_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0062349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4696-30_0_2_line_56 | NAYY 4x150 SE | 54 | 62 | 0.01762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4696-30_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0046953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4696-30_0_2_line_58 | NAYY 4x150 SE | 55 | 57 | 0.01384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4696-30_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.019104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4696-30_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.017717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4696-30_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.019988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4696-30_0_2_trafo_7 | 0.25 MVA 20/0.4 kV | 63 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2727157.558 | 1279205.7527 | 2727160.3569 | 1279204.3044
1 | 2727157.558 | 1279205.7527 | 2727152.8087 | 1279208.2102 | 2727141.2646 | 1279214.2374
2 | 2727171.9207 | 1279198.3207 | 2727160.3569 | 1279204.3044
3 | 2727141.2646 | 1279214.2374 | 2727139.6632 | 1279215.0734
4 | 2727171.9207 | 1279198.3207 | 2727178.091 | 1279195.1279
5 | 2727134.5289 | 1279217.7541 | 2727139.6632 | 1279215.0734
6 | 2727188.3867 | 1279189.8004 | 2727178.091 | 1279195.1279
7 | 2727134.5289 | 1279217.7541 | 2727119.3365 | 1279225.6861
8 | 2727201.0077 | 1279183.2697 | 2727188.3867 | 1279189.8004
9 | 2727119.3365 | 1279225.6861 | 2727118.6426 | 1279226.0484
10 | 2727144.8799 | 1279284.2049 | 2727148.7286 | 1279281.9433
11 | 2727144.8799 | 1279284.2049 | 2727142.6029 | 1279285.5428 | 2727138.1687 | 1279287.6493 | 2727127.6944 | 1279292.6199
12 | 2727148.7286 | 1279281.9433 | 2727167.468 | 1279270.9319
13 | 2727125.1264 | 1279293.8385 | 2727127.6944 | 1279292.6199
14 | 2727169.348 | 1279269.8272 | 2727167.468 | 1279270.9319
15 | 2727120.4803 | 1279296.0433 | 2727125.1264 | 1279293.8385
16 | 2727169.348 | 1279269.8272 | 2727189.0121 | 1279258.2724
17 | 2727120.4803 | 1279296.0433 | 2727105.225 | 1279303.2827
18 | 2727190.8573 | 1279257.1881 | 2727189.0121 | 1279258.2724
19 | 2727105.225 | 1279303.2827 | 2727099.9813 | 1279305.7711
20 | 2727118.6426 | 1279226.0484 | 2727112.8138 | 1279229.0916
21 | 2727112.8138 | 1279229.0916 | 2727099.9688 | 1279235.798
22 | 2727094.51 | 1279237.8125 | 2727099.9688 | 1279235.798 | 2727099.9688 | 1279235.798
23 | 2727024.3012 | 1279362.1103 | 2727024.3509 | 1279355.4404 | 2727024.671 | 1279348.4098
24 | 2727026.192 | 1279315.0076 | 2727024.671 | 1279348.4098
25 | 2727025.3021 | 1279375.4581 | 2727024.2756 | 1279365.5597 | 2727024.3012 | 1279362.1103
26 | 2727026.192 | 1279315.0076 | 2727027.1901 | 1279286.3616
27 | 2727026.192 | 1279315.0076 | 2727056.5457 | 1279315.0652
28 | 2727025.3021 | 1279375.4581 | 2727027.7002 | 1279384.6022
29 | 2727027.7683 | 1279269.7675 | 2727027.1901 | 1279286.3616
30 | 2727065.7185 | 1279314.0429 | 2727057.8661 | 1279315.0677 | 2727056.5457 | 1279315.0652
31 | 2727027.7002 | 1279384.6022 | 2727028.2325 | 1279386.632 | 2727028.9877 | 1279388.8251
32 | 2727073.9558 | 1279312.9678 | 2727065.7185 | 1279314.0429
33 | 2727028.9877 | 1279388.8251 | 2727031.3655 | 1279395.7305 | 2727035.4231 | 1279405.1604 | 2727048.08 | 1279428.2758
34 | 2727073.9558 | 1279312.9678 | 2727085.3012 | 1279310.2772
35 | 2727073.9558 | 1279312.9678 | 2727070.378 | 1279298.0963
36 | 2727219.5918 | 1279224.0322 | 2727229.7583 | 1279255.7115
37 | 2727219.5918 | 1279224.0322 | 2727213.4023 | 1279240.038
38 | 2727219.5918 | 1279224.0322 | 2727211.3686 | 1279201.8333 | 2727210.5126 | 1279200.2997
39 | 2727219.5918 | 1279224.0322 | 2727237.4731 | 1279218.1255
40 | 2727190.8573 | 1279257.1881 | 2727211.4493 | 1279245.0881 | 2727213.4023 | 1279240.038
41 | 2727204.9773 | 1279190.382 | 2727210.5126 | 1279200.2997
42 | 2727201.0077 | 1279183.2697 | 2727204.9773 | 1279190.382
43 | 2727193.752 | 1279169.511 | 2727201.0077 | 1279183.2697
44 | 2727078.1293 | 1279431.5658 | 2727080.969 | 1279429.9656 | 2727087.3908 | 1279425.8662
45 | 2727056.5422 | 1279443.7304 | 2727078.1293 | 1279431.5658
46 | 2727099.9813 | 1279305.7711 | 2727095.6648 | 1279307.8195 | 2727091.3678 | 1279308.8385
47 | 2727094.51 | 1279237.8125 | 2727091.7678 | 1279238.8244
48 | 2727075.8039 | 1279244.2299 | 2727082.144 | 1279242.3759 | 2727091.7678 | 1279238.8244
49 | 2727100.6699 | 1279145.8038 | 2727093.9867 | 1279172.3855 | 2727094.339 | 1279181.4006
50 | 2727100.6699 | 1279145.8038 | 2727117.748 | 1279147.3733 | 2727120.3255 | 1279147.2583
51 | 2727120.3255 | 1279147.2583 | 2727127.1259 | 1279146.9546
52 | 2727193.752 | 1279169.511 | 2727176.6057 | 1279136.9765
53 | 2727193.752 | 1279169.511 | 2727207.844 | 1279161.5186
54 | 2727176.6057 | 1279136.9765 | 2727169.7647 | 1279139.8651 | 2727164.295 | 1279141.0418
55 | 2727085.3012 | 1279310.2772 | 2727091.3678 | 1279308.8385
56 | 2727056.5422 | 1279443.7304 | 2727048.08 | 1279428.2758
57 | 2727062.6721 | 1279266.066 | 2727061.5739 | 1279261.501
58 | 2727062.6721 | 1279266.066 | 2727065.9095 | 1279279.5225
59 | 2727070.378 | 1279298.0963 | 2727065.9095 | 1279279.5225
60 | 2727144.7294 | 1279145.1046 | 2727133.1991 | 1279146.6835 | 2727127.1259 | 1279146.9546
61 | 2727144.7294 | 1279145.1046 | 2727146.6006 | 1279144.8483 | 2727164.295 | 1279141.0418

## bus_geodata
| x | y | coords
0 | 2727157.558 | 1279205.7527
1 | 2727160.3569 | 1279204.3044
2 | 2727141.2646 | 1279214.2374
3 | 2727171.9207 | 1279198.3207
4 | 2727139.6632 | 1279215.0734
5 | 2727178.091 | 1279195.1279
6 | 2727134.5289 | 1279217.7541
7 | 2727188.3867 | 1279189.8004
8 | 2727119.3365 | 1279225.6861
9 | 2727144.8799 | 1279284.2049
10 | 2727148.7286 | 1279281.9433
11 | 2727127.6944 | 1279292.6199
12 | 2727167.468 | 1279270.9319
13 | 2727125.1264 | 1279293.8385
14 | 2727169.348 | 1279269.8272
15 | 2727120.4803 | 1279296.0433
16 | 2727189.0121 | 1279258.2724
17 | 2727105.225 | 1279303.2827
18 | 2727118.6426 | 1279226.0484
19 | 2727112.8138 | 1279229.0916
20 | 2727099.9688 | 1279235.798
21 | 2727024.671 | 1279348.4098
22 | 2727024.3012 | 1279362.1103
23 | 2727026.192 | 1279315.0076
24 | 2727025.3021 | 1279375.4581
25 | 2727027.1901 | 1279286.3616
26 | 2727056.5457 | 1279315.0652
27 | 2727027.7002 | 1279384.6022
28 | 2727027.7683 | 1279269.7675
29 | 2727065.7185 | 1279314.0429
30 | 2727028.9877 | 1279388.8251
31 | 2727073.9558 | 1279312.9678
32 | 2727229.7583 | 1279255.7115
33 | 2727219.5918 | 1279224.0322
34 | 2727213.4023 | 1279240.038
35 | 2727210.5126 | 1279200.2997
36 | 2727237.4731 | 1279218.1255
37 | 2727190.8573 | 1279257.1881
38 | 2727204.9773 | 1279190.382
39 | 2727201.0077 | 1279183.2697
40 | 2727087.3908 | 1279425.8662
41 | 2727078.1293 | 1279431.5658
42 | 2727099.9813 | 1279305.7711
43 | 2727091.7678 | 1279238.8244
44 | 2727094.51 | 1279237.8125
45 | 2727075.8039 | 1279244.2299
46 | 2727100.6699 | 1279145.8038
47 | 2727094.339 | 1279181.4006
48 | 2727120.3255 | 1279147.2583
49 | 2727193.752 | 1279169.511
50 | 2727176.6057 | 1279136.9765
51 | 2727207.844 | 1279161.5186
52 | 2727091.3678 | 1279308.8385
53 | 2727085.3012 | 1279310.2772
54 | 2727048.08 | 1279428.2758
55 | 2727062.6722 | 1279266.066
56 | 2727061.5739 | 1279261.501
57 | 2727065.9095 | 1279279.5225
58 | 2727070.378 | 1279298.0963
59 | 2727127.1259 | 1279146.9546
60 | 2727144.7294 | 1279145.1046
61 | 2727164.295 | 1279141.0418
62 | 2727056.5422 | 1279443.7304
63 | 2727073.9558 | 1279312.9678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1