## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4696-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4696-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4696-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4696-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4696-3_0_3_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_4696-3_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4696-3_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4696-3_0_3_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_4696-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4696-3_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4696-3_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_4696-3_0_3_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_4696-3_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4696-3_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4696-3_0_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_4696-3_0_3_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_4696-3_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4696-3_0_3_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_4696-3_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4696-3_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4696-3_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_4696-3_0_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_4696-3_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4696-3_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_4696-3_0_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_4696-3_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4696-3_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_4696-3_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_4696-3_0_3_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_4696-3_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4696-3_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4696-3_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4696-3_0_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_4696-3_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4696-3_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_4696-3_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4696-3_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_4696-3_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4696-3_0_3_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_4696-3_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_4696-3_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4696-3_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4696-3_0_3_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_4696-3_0_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_4696-3_0_3_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_4696-3_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_4696-3_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_4696-3_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_4696-3_0_3_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_4696-3_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_4696-3_0_3_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_4696-3_0_3_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_4696-3_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4696-3_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4696-3_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_4696-3_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_4696-3_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_4696-3_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_4696-3_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_4696-3_0_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_4696-3_0_3_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_4696-3_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4696-3_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4696-3_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4696-3_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4696-3_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4696-3_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4696-3_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4696-3_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4696-3_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4696-3_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4696-3_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_4696-3_0_3_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_4696-3_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_4696-3_0_3_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_4696-3_0_3_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_4696-3_0_3_node_102 | 0.4 | n |  | TRUE
77 | bus_LV_4696-3_0_3_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_4696-3_0_3_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_4696-3_0_3_node_104 | 0.4 | n |  | TRUE
80 | bus_LV_4696-3_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4696-3_0_3_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_4696-3_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_4696-3_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_4696-3_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_4696-3_0_3_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_4696-3_0_3_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_4696-3_0_3_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_4696-3_0_3_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4696-3_0_3_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_4696-3_0_3_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_4696-3_0_3_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_4696-3_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4696-3_0_3_node_106 | 0.4 | n |  | TRUE
94 | bus_LV_4696-3_0_3_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_4696-3_0_3_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_4696-3_0_3_node_105 | 0.4 | n |  | TRUE
97 | bus_LV_4696-3_0_3_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_4696-3_0_3_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_4696-3_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_4696-3_0_3_node_110 | 0.4 | n |  | TRUE
101 | bus_MV_441_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4696-3_0_3_load_0 | 0 | 0.0020767 | 0.00052047 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4696-3_0_3_load_20 | 4 | 0.0029604 | 0.00074194 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4696-3_0_3_load_91 | 7 | 0.00081198 | 0.0002035 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4696-3_0_3_load_24 | 9 | 0.0013411 | 0.00033612 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4696-3_0_3_load_41 | 11 | 0.0020584 | 0.00051589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4696-3_0_3_load_50 | 14 | 0.0033589 | 0.00084181 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4696-3_0_3_load_39 | 15 | 0.0016076 | 0.00040291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4696-3_0_3_load_51 | 17 | 0.0076738 | 0.0019232 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4696-3_0_3_load_49 | 20 | 0.0049049 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4696-3_0_3_load_46 | 21 | 0.0020871 | 0.00052307 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4696-3_0_3_load_27 | 23 | 0.011837 | 0.0029667 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4696-3_0_3_load_48 | 24 | 0.0018777 | 0.00047058 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4696-3_0_3_load_38 | 26 | 0.00049319 | 0.00012361 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4696-3_0_3_load_84 | 28 | 0.00057754 | 0.00014475 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4696-3_0_3_load_21 | 31 | 0.0023111 | 0.0005792 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4696-3_0_3_load_90 | 32 | 0.00046295 | 0.00011603 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4696-3_0_3_load_23 | 33 | 0.0013416 | 0.00033623 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4696-3_0_3_load_42 | 34 | 0.00086551 | 0.00021692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4696-3_0_3_load_40 | 35 | 0.0079779 | 0.0019994 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4696-3_0_3_load_47 | 36 | 0.0027334 | 0.00068506 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4696-3_0_3_load_28 | 37 | 0.00419 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4696-3_0_3_load_89 | 38 | 0.020787 | 0.0052096 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4696-3_0_3_load_44 | 39 | 0.0017818 | 0.00044656 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4696-3_0_3_load_77 | 43 | 0.00034238 | 8.5807e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4696-3_0_3_load_78 | 45 | 0.00049854 | 0.00012495 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4696-3_0_3_load_25 | 46 | 0.0036501 | 0.0009148 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4696-3_0_3_load_76 | 48 | 0.00086469 | 0.00021671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4696-3_0_3_load_95 | 49 | 0.0097778 | 0.0024506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4696-3_0_3_load_97 | 50 | 0.0018112 | 0.00045394 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4696-3_0_3_load_96 | 51 | 0.0019091 | 0.00047848 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4696-3_0_3_load_33 | 52 | 0.0053899 | 0.0013508 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4696-3_0_3_load_34 | 53 | 0.0032864 | 0.00082366 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4696-3_0_3_load_37 | 55 | 0.0005253 | 0.00013165 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4696-3_0_3_load_52 | 56 | 0.0055806 | 0.0013986 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4696-3_0_3_load_53 | 57 | 0.0029269 | 0.00073355 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4696-3_0_3_load_72 | 59 | 0.00055877 | 0.00014004 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4696-3_0_3_load_73 | 60 | 0.00058033 | 0.00014544 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4696-3_0_3_load_43 | 61 | 0.001123 | 0.00028144 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4696-3_0_3_load_54 | 62 | 0.001016 | 0.00025464 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4696-3_0_3_load_55 | 63 | 0.00093687 | 0.0002348 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4696-3_0_3_load_56 | 64 | 0.001124 | 0.00028169 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4696-3_0_3_load_57 | 65 | 0.0018425 | 0.00046179 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4696-3_0_3_load_58 | 66 | 0.0058305 | 0.0014613 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4696-3_0_3_load_60 | 68 | 0.00035228 | 8.829e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4696-3_0_3_load_62 | 70 | 0.00044229 | 0.00011085 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4696-3_0_3_load_92 | 72 | 0.0011821 | 0.00029627 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4696-3_0_3_load_98 | 74 | 0.00077361 | 0.00019388 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4696-3_0_3_load_108 | 75 | 0.00075592 | 0.00018945 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4696-3_0_3_load_109 | 78 | 0.0010567 | 0.00026482 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4696-3_0_3_load_64 | 81 | 0.0028532 | 0.00071509 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4696-3_0_3_load_85 | 82 | 0.000447 | 0.00011203 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4696-3_0_3_load_63 | 84 | 0.00035377 | 8.8662e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4696-3_0_3_load_65 | 85 | 0.00035387 | 8.8687e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4696-3_0_3_load_67 | 86 | 0.00035387 | 8.8687e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4696-3_0_3_load_94 | 87 | 0.00032232 | 8.0781e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4696-3_0_3_load_71 | 88 | 0.00049151 | 0.00012318 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4696-3_0_3_load_74 | 89 | 0.00018347 | 4.5981e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4696-3_0_3_load_75 | 90 | 0.00063148 | 0.00015826 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4696-3_0_3_load_93 | 91 | 0.0015514 | 0.00038882 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4696-3_0_3_load_88 | 92 | 0.001734 | 0.00043458 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4696-3_0_3_load_106 | 93 | 0.0015166 | 0.0003801 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4696-3_0_3_load_107 | 95 | 0.001463 | 0.00036667 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4696-3_0_3_load_101 | 98 | 0.00085022 | 0.00021309 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4696-3_0_3_load_103 | 99 | 0.00087112 | 0.00021832 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4696-3_0_3_load_110 | 100 | 0.0010548 | 0.00026435 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4696-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.005591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_4696-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_4696-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_4696-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4696-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_4696-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4696-3_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0092003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4696-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.004612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4696-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0013351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4696-3_0_3_line_9 | NAYY 4x150 SE | 6 | 24 | 0.041835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4696-3_0_3_line_10 | NAYY 4x150 SE | 6 | 13 | 0.012226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4696-3_0_3_line_11 | NAYY 4x150 SE | 7 | 32 | 0.016501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4696-3_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.002299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4696-3_0_3_line_13 | NAYY 4x150 SE | 8 | 11 | 0.062549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4696-3_0_3_line_14 | NAYY 4x150 SE | 9 | 33 | 0.01843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4696-3_0_3_line_15 | NAYY 4x150 SE | 10 | 31 | 0.022962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4696-3_0_3_line_16 | NAYY 4x150 SE | 11 | 34 | 0.020653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4696-3_0_3_line_17 | NAYY 4x150 SE | 12 | 13 | 0.01519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4696-3_0_3_line_18 | NAYY 4x150 SE | 12 | 14 | 0.034831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4696-3_0_3_line_19 | NAYY 4x150 SE | 13 | 15 | 0.039774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4696-3_0_3_line_20 | NAYY 4x150 SE | 14 | 20 | 0.01715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4696-3_0_3_line_21 | NAYY 4x150 SE | 15 | 35 | 0.013846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4696-3_0_3_line_22 | NAYY 4x150 SE | 16 | 17 | 0.028542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4696-3_0_3_line_23 | NAYY 4x150 SE | 16 | 18 | 0.0095665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4696-3_0_3_line_24 | NAYY 4x150 SE | 16 | 19 | 0.077649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4696-3_0_3_line_25 | NAYY 4x150 SE | 16 | 20 | 0.047456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4696-3_0_3_line_26 | NAYY 4x150 SE | 18 | 21 | 0.01517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4696-3_0_3_line_27 | NAYY 4x150 SE | 19 | 22 | 0.011041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4696-3_0_3_line_28 | NAYY 4x150 SE | 21 | 36 | 0.019828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4696-3_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.066503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4696-3_0_3_line_30 | NAYY 4x150 SE | 23 | 37 | 0.033738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4696-3_0_3_line_31 | NAYY 4x150 SE | 25 | 26 | 0.014918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4696-3_0_3_line_32 | NAYY 4x150 SE | 25 | 27 | 0.004207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4696-3_0_3_line_33 | NAYY 4x150 SE | 25 | 28 | 0.046417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4696-3_0_3_line_34 | NAYY 4x150 SE | 26 | 41 | 0.014318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4696-3_0_3_line_35 | NAYY 4x150 SE | 27 | 42 | 0.017667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4696-3_0_3_line_36 | NAYY 4x150 SE | 27 | 43 | 0.016924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4696-3_0_3_line_37 | NAYY 4x150 SE | 27 | 29 | 0.012365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4696-3_0_3_line_38 | NAYY 4x150 SE | 28 | 44 | 0.035517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4696-3_0_3_line_39 | NAYY 4x150 SE | 29 | 30 | 0.032939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4696-3_0_3_line_40 | NAYY 4x150 SE | 30 | 31 | 0.037228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4696-3_0_3_line_41 | NAYY 4x150 SE | 32 | 38 | 0.027305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4696-3_0_3_line_42 | NAYY 4x150 SE | 33 | 46 | 0.041728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4696-3_0_3_line_43 | NAYY 4x150 SE | 34 | 61 | 0.016292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4696-3_0_3_line_44 | NAYY 4x150 SE | 37 | 49 | 0.05567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4696-3_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.11079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4696-3_0_3_line_46 | NAYY 4x150 SE | 40 | 47 | 0.05545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4696-3_0_3_line_47 | NAYY 4x150 SE | 41 | 55 | 0.018664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4696-3_0_3_line_48 | NAYY 4x150 SE | 41 | 52 | 0.02784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4696-3_0_3_line_49 | NAYY 4x150 SE | 42 | 91 | 0.021681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4696-3_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.014815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4696-3_0_3_line_51 | NAYY 4x150 SE | 44 | 82 | 0.047731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4696-3_0_3_line_52 | NAYY 4x150 SE | 44 | 83 | 0.017241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4696-3_0_3_line_53 | NAYY 4x150 SE | 44 | 73 | 0.023252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4696-3_0_3_line_54 | NAYY 4x150 SE | 47 | 48 | 0.057278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4696-3_0_3_line_55 | NAYY 4x150 SE | 48 | 64 | 0.015055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4696-3_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.041111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4696-3_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.04184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4696-3_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.011285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4696-3_0_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.010392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4696-3_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0063722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4696-3_0_3_line_61 | NAYY 4x150 SE | 54 | 57 | 0.010155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4696-3_0_3_line_62 | NAYY 4x150 SE | 55 | 58 | 0.023835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4696-3_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0062213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4696-3_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.012027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4696-3_0_3_line_65 | NAYY 4x150 SE | 59 | 90 | 0.0062131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4696-3_0_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.00086703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4696-3_0_3_line_67 | NAYY 4x150 SE | 62 | 63 | 0.012923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4696-3_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.00065105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4696-3_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.012719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4696-3_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.024453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4696-3_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.029073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4696-3_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.017594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4696-3_0_3_line_73 | NAYY 4x150 SE | 67 | 70 | 0.028596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4696-3_0_3_line_74 | NAYY 4x150 SE | 69 | 71 | 0.049466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4696-3_0_3_line_75 | NAYY 4x150 SE | 69 | 72 | 0.037806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4696-3_0_3_line_76 | NAYY 4x150 SE | 71 | 75 | 0.025191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4696-3_0_3_line_77 | NAYY 4x150 SE | 71 | 76 | 0.024006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4696-3_0_3_line_78 | NAYY 4x150 SE | 71 | 73 | 0.031474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4696-3_0_3_line_79 | NAYY 4x150 SE | 72 | 80 | 0.060249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4696-3_0_3_line_80 | NAYY 4x150 SE | 73 | 74 | 0.061021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4696-3_0_3_line_81 | NAYY 4x150 SE | 76 | 93 | 0.006101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4696-3_0_3_line_82 | NAYY 4x150 SE | 76 | 94 | 0.003666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4696-3_0_3_line_83 | NAYY 4x150 SE | 77 | 78 | 0.026419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4696-3_0_3_line_84 | NAYY 4x150 SE | 77 | 79 | 0.016345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4696-3_0_3_line_85 | NAYY 4x150 SE | 79 | 95 | 0.006924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4696-3_0_3_line_86 | NAYY 4x150 SE | 79 | 96 | 0.11112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4696-3_0_3_line_87 | NAYY 4x150 SE | 79 | 97 | 0.034412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4696-3_0_3_line_88 | NAYY 4x150 SE | 80 | 81 | 0.031393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4696-3_0_3_line_89 | NAYY 4x150 SE | 81 | 84 | 0.032301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4696-3_0_3_line_90 | NAYY 4x150 SE | 83 | 92 | 0.031731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4696-3_0_3_line_91 | NAYY 4x150 SE | 84 | 85 | 0.00013655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4696-3_0_3_line_92 | NAYY 4x150 SE | 85 | 86 | 0.00015383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4696-3_0_3_line_93 | NAYY 4x150 SE | 86 | 87 | 0.018504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4696-3_0_3_line_94 | NAYY 4x150 SE | 88 | 89 | 0.0060197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4696-3_0_3_line_95 | NAYY 4x150 SE | 89 | 90 | 0.0030541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4696-3_0_3_line_96 | NAYY 4x150 SE | 94 | 97 | 0.068708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4696-3_0_3_line_97 | NAYY 4x150 SE | 94 | 98 | 0.021151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4696-3_0_3_line_98 | NAYY 4x150 SE | 96 | 100 | 0.028387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4696-3_0_3_line_99 | NAYY 4x150 SE | 97 | 99 | 0.016413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4696-3_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 101 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2726833.0719 | 1279909.5831 | 2726827.9018 | 1279907.4547
1 | 2726810.6082 | 1279900.3355 | 2726827.9018 | 1279907.4547
2 | 2726862.3238 | 1279904.385 | 2726858.8447 | 1279907.1795 | 2726856.3488 | 1279908.2825 | 2726853.1371 | 1279909.1253 | 2726845.8618 | 1279909.547 | 2726841.0871 | 1279910.7455 | 2726837.2767 | 1279910.7747 | 2726833.4741 | 1279909.7474 | 2726833.0719 | 1279909.5831
3 | 2726817.0911 | 1279875.9846 | 2726811.2704 | 1279891.5635 | 2726811.0389 | 1279899.177 | 2726810.6082 | 1279900.3355
4 | 2726792.3617 | 1279896.9399 | 2726808.9733 | 1279904.7268 | 2726810.6082 | 1279900.3355
5 | 2726862.3238 | 1279904.385 | 2726867.0761 | 1279909.114 | 2726871.6961 | 1279913.7067
6 | 2726862.3238 | 1279904.385 | 2726868.568 | 1279897.6282
7 | 2726790.2967 | 1279901.0662 | 2726792.3617 | 1279896.9399
8 | 2726792.3617 | 1279896.9399 | 2726791.1528 | 1279896.3735
9 | 2726871.6961 | 1279913.7067 | 2726872.9369 | 1279911.2199 | 2726877.8585 | 1279906.3433 | 2726885.5547 | 1279897.5448 | 2726892.2174 | 1279889.2801 | 2726897.9711 | 1279881.3196
10 | 2726871.6961 | 1279913.7067 | 2726871.5613 | 1279914.0375 | 2726870.9605 | 1279917.8616 | 2726870.9385 | 1279922.0207 | 2726872.7517 | 1279925.4075
11 | 2726868.568 | 1279897.6282 | 2726871.7867 | 1279894.1453 | 2726879.2353 | 1279885.0464
12 | 2726789.268 | 1279903.1238 | 2726790.2967 | 1279901.0662
13 | 2726790.2967 | 1279901.0662 | 2726755.0423 | 1279884.5479 | 2726733.7092 | 1279874.417
14 | 2726774.4634 | 1279888.5543 | 2726784.4241 | 1279893.2212 | 2726791.1528 | 1279896.3735
15 | 2726789.268 | 1279903.1238 | 2726797.8816 | 1279924.409
16 | 2726715.0533 | 1279865.5576 | 2726733.7092 | 1279874.417
17 | 2726866.0952 | 1279938.9663 | 2726868.7754 | 1279932.7957 | 2726871.194 | 1279927.2535 | 2726872.7517 | 1279925.4075
18 | 2726866.0952 | 1279938.9663 | 2726877.7811 | 1279943.0884 | 2726896.1065 | 1279950.8346 | 2726898.417 | 1279951.8999
19 | 2726872.7517 | 1279925.4075 | 2726876.0357 | 1279928.8815 | 2726879.8698 | 1279931.9336 | 2726885.2213 | 1279935.0073 | 2726890.4292 | 1279937.4216 | 2726905.6582 | 1279944.5006 | 2726906.913 | 1279945.0912
20 | 2726913.9913 | 1279959.0811 | 2726898.417 | 1279951.8999
21 | 2726919.4413 | 1279950.9868 | 2726906.913 | 1279945.0912
22 | 2726942.2605 | 1280003.0452 | 2726949.2815 | 1279987.9149 | 2726957.0864 | 1279978.952
23 | 2726957.0864 | 1279978.952 | 2726960.1223 | 1279975.4584 | 2726963.1444 | 1279971.553
24 | 2726957.0864 | 1279978.952 | 2726969.6901 | 1279984.7623 | 2726973.2356 | 1280004.6913 | 2726973.7048 | 1280007.3262 | 2726978.9185 | 1280016.0914 | 2726985.2224 | 1280046.0896
25 | 2726957.0864 | 1279978.952 | 2726913.9913 | 1279959.0811
26 | 2726963.1444 | 1279971.553 | 2726972.4255 | 1279959.5529
27 | 2726985.2224 | 1280046.0896 | 2726974.404 | 1280048.4479
28 | 2726972.4255 | 1279959.5529 | 2726984.5562 | 1279943.8682
29 | 2726974.404 | 1280048.4479 | 2726916.9753 | 1280060.9683 | 2726909.3629 | 1280062.286
30 | 2726876.1198 | 1280068.0405 | 2726909.3629 | 1280062.286
31 | 2726773.5511 | 1279984.02 | 2726780.8785 | 1279997.0148
32 | 2726771.4885 | 1279980.3498 | 2726773.5511 | 1279984.02
33 | 2726773.5511 | 1279984.02 | 2726734.9366 | 1280009.7785
34 | 2726787.911 | 1280009.4867 | 2726780.8785 | 1279997.0148
35 | 2726756.5012 | 1279979.1488 | 2726762.1417 | 1279977.524 | 2726768.2857 | 1279982.5276 | 2726771.4885 | 1279980.3498
36 | 2726771.4885 | 1279980.3498 | 2726763.3324 | 1279965.5206
37 | 2726781.7664 | 1279973.4307 | 2726771.4885 | 1279980.3498
38 | 2726705.3899 | 1280029.4881 | 2726734.9366 | 1280009.7785
39 | 2726781.7664 | 1279973.4307 | 2726793.5541 | 1279965.4876 | 2726786.5034 | 1279948.1414
40 | 2726786.5034 | 1279948.1414 | 2726804.5506 | 1279940.889 | 2726797.8816 | 1279924.409
41 | 2726893.4059 | 1279862.8531 | 2726886.9411 | 1279871.5494 | 2726887.4527 | 1279875.0082 | 2726879.2353 | 1279885.0464
42 | 2726736.7008 | 1279870.7997 | 2726770.2673 | 1279886.5882 | 2726774.4634 | 1279888.5543
43 | 2726700.3363 | 1279858.5687 | 2726715.0533 | 1279865.5576
44 | 2726876.1198 | 1280068.0405 | 2726836.4221 | 1280107.0698
45 | 2726673.4826 | 1279838.095 | 2726757.9184 | 1279766.3687
46 | 2726630.9443 | 1279807.3295 | 2726634.803 | 1279805.0546 | 2726643.6221 | 1279813.9192 | 2726650.3562 | 1279820.1476 | 2726657.1002 | 1279825.9203 | 2726664.0689 | 1279831.3752 | 2726673.4826 | 1279838.095
47 | 2726787.911 | 1280009.4867 | 2726772.5901 | 1280020.1454
48 | 2726787.911 | 1280009.4867 | 2726804.7755 | 1280000.6184 | 2726812.7512 | 1280004.3046
49 | 2726756.5012 | 1279979.1488 | 2726738.6183 | 1279991.4075
50 | 2726763.3324 | 1279965.5206 | 2726758.4145 | 1279956.5791 | 2726762.6856 | 1279954.8429
51 | 2726705.3899 | 1280029.4881 | 2726719.3712 | 1280075.1255
52 | 2726703.9052 | 1280015.7207 | 2726708.2901 | 1280023.211 | 2726704.2946 | 1280025.9167 | 2726705.3899 | 1280029.4881
53 | 2726687.7587 | 1280036.2826 | 2726704.2946 | 1280025.9167 | 2726705.3899 | 1280029.4881
54 | 2726630.9443 | 1279807.3295 | 2726639.8217 | 1279816.6291 | 2726655.5599 | 1279830.4582 | 2726674.6623 | 1279844.0954
55 | 2726674.6623 | 1279844.0954 | 2726677.5177 | 1279846.1339 | 2726687.6464 | 1279851.6787
56 | 2726836.4221 | 1280107.0698 | 2726805.1233 | 1280133.7254
57 | 2726805.1233 | 1280133.7254 | 2726773.2695 | 1280160.8538
58 | 2726818.0088 | 1280014.2897 | 2726812.7512 | 1280004.3046 | 2726812.7512 | 1280004.3046
59 | 2726822.8505 | 1280023.4848 | 2726818.0088 | 1280014.2897
60 | 2726822.8505 | 1280023.4848 | 2726824.4459 | 1280023.3746 | 2726825.9771 | 1280023.7968 | 2726827.2721 | 1280024.7256 | 2726828.1756 | 1280026.0352
61 | 2726822.8505 | 1280023.4848 | 2726821.5157 | 1280024.0567 | 2726820.4207 | 1280025.0118 | 2726819.6801 | 1280026.2527 | 2726819.3641 | 1280027.6695 | 2726819.506 | 1280029.1073 | 2726820.0934 | 1280030.4434 | 2726821.062 | 1280031.5208
62 | 2726767.7952 | 1280040.2508 | 2726765.7205 | 1280024.9246 | 2726772.5901 | 1280020.1454
63 | 2726767.7952 | 1280040.2508 | 2726769.3399 | 1280040.0504 | 2726770.866 | 1280040.3613 | 2726772.2014 | 1280041.1575 | 2726773.1977 | 1280042.3467
64 | 2726767.7952 | 1280040.2508 | 2726766.4508 | 1280040.9225 | 2726765.3909 | 1280041.9897 | 2726764.7233 | 1280043.3322 | 2726764.5258 | 1280044.8294 | 2726764.8171 | 1280046.3037 | 2726765.5707 | 1280047.599 | 2726766.6988 | 1280048.602 | 2726768.084 | 1280049.1767
65 | 2726772.3458 | 1280048.0673 | 2726772.3458 | 1280048.0673 | 2726773.2891 | 1280046.8308 | 2726773.7718 | 1280045.3508 | 2726773.7374 | 1280043.8042 | 2726773.1977 | 1280042.3467
66 | 2726700.3363 | 1279858.5687 | 2726699.5531 | 1279858.1967 | 2726699.5531 | 1279858.1967
67 | 2726699.5531 | 1279858.1967 | 2726688.2175 | 1279851.9913
68 | 2726688.2175 | 1279851.9913 | 2726687.6464 | 1279851.6787
69 | 2726621.9994 | 1280028.5381 | 2726616.7385 | 1280016.9576
70 | 2726632.1136 | 1280050.8016 | 2726621.9994 | 1280028.5381
71 | 2726616.7385 | 1280016.9576 | 2726604.7137 | 1279990.4882 | 2726604.7137 | 1279990.4882
72 | 2726632.1136 | 1280050.8016 | 2726639.3958 | 1280066.8291
73 | 2726632.1136 | 1280050.8016 | 2726620.2859 | 1280024.7663
74 | 2726639.3958 | 1280066.8291 | 2726655.0317 | 1280057.4224 | 2726671.2848 | 1280046.9168 | 2726672.5815 | 1280051.26 | 2726674.6696 | 1280058.2895
75 | 2726639.3958 | 1280066.8291 | 2726631.7605 | 1280071.4251 | 2726606.081 | 1280083.163 | 2726605.4711 | 1280083.4124
76 | 2726697.0279 | 1280053.8988 | 2726696.225 | 1280051.4014 | 2726674.6696 | 1280058.2895
77 | 2726674.6696 | 1280058.2895 | 2726681.5234 | 1280081.3034
78 | 2726674.6696 | 1280058.2895 | 2726672.5815 | 1280051.26 | 2726671.2848 | 1280046.9168 | 2726687.7587 | 1280036.2826
79 | 2726548.8814 | 1280103.9666 | 2726579.2686 | 1280094.1314 | 2726605.4711 | 1280083.4124
80 | 2726672.0019 | 1279979.3112 | 2726669.1264 | 1279991.083 | 2726675.5458 | 1280009.1495 | 2726687.7587 | 1280036.2826
81 | 2726675.6976 | 1280083.169 | 2726681.5234 | 1280081.3034
82 | 2726681.5234 | 1280081.3034 | 2726682.5674 | 1280084.8182
83 | 2726638.9679 | 1280093.379 | 2726637.0953 | 1280087.5108 | 2726617.7278 | 1280093.6454
84 | 2726622.7584 | 1280109.2018 | 2726617.7278 | 1280093.6454
85 | 2726622.7584 | 1280109.2018 | 2726616.1247 | 1280111.2503
86 | 2726559.1715 | 1280123.0392 | 2726566.1072 | 1280144.709 | 2726577.1386 | 1280141.1646 | 2726576.4268 | 1280138.9694 | 2726592.0659 | 1280133.9447 | 2726593.1509 | 1280137.3045 | 2726615.4254 | 1280130.1536 | 2726628.1971 | 1280126.046 | 2726626.5486 | 1280120.939 | 2726622.7584 | 1280109.2018
87 | 2726622.7584 | 1280109.2018 | 2726626.5486 | 1280120.939 | 2726644.1467 | 1280116.368 | 2726645.1705 | 1280120.127
88 | 2726548.8814 | 1280103.9666 | 2726538.3556 | 1280074.3912
89 | 2726527.5252 | 1280043.9599 | 2726538.3556 | 1280074.3912
90 | 2726703.9052 | 1280015.7207 | 2726710.6457 | 1280012.2065 | 2726714.6865 | 1280008.4453 | 2726714.907 | 1280003.434 | 2726709.1046 | 1279991.1421
91 | 2726527.4794 | 1280043.8312 | 2726527.5252 | 1280043.9599
92 | 2726527.4278 | 1280043.6863 | 2726527.4794 | 1280043.8312
93 | 2726521.2235 | 1280026.2534 | 2726527.4278 | 1280043.6863
94 | 2726764.8171 | 1280046.3037 | 2726765.5707 | 1280047.599 | 2726766.6988 | 1280048.602 | 2726768.084 | 1280049.1767 | 2726769.592 | 1280049.287 | 2726769.592 | 1280049.287
95 | 2726772.3458 | 1280048.0673 | 2726771.0501 | 1280048.918 | 2726769.592 | 1280049.287
96 | 2726682.5674 | 1280084.8182 | 2726689.1054 | 1280106.791 | 2726645.1705 | 1280120.127
97 | 2726682.5674 | 1280084.8182 | 2726699.9746 | 1280078.9976 | 2726700.8784 | 1280081.6974
98 | 2726559.1715 | 1280123.0392 | 2726557.27 | 1280117.1149 | 2726574.5197 | 1280111.6242 | 2726575.7729 | 1280115.5438
99 | 2726643.2117 | 1280132.2522 | 2726645.0496 | 1280131.6912 | 2726641.8427 | 1280121.1343 | 2726645.1705 | 1280120.127

## bus_geodata
| x | y | coords
0 | 2726827.9018 | 1279907.4547
1 | 2726833.0719 | 1279909.5831
2 | 2726810.6082 | 1279900.3355
3 | 2726862.3238 | 1279904.385
4 | 2726817.0911 | 1279875.9846
5 | 2726792.3617 | 1279896.9399
6 | 2726871.6961 | 1279913.7067
7 | 2726868.568 | 1279897.6282
8 | 2726790.2967 | 1279901.0662
9 | 2726791.1528 | 1279896.3735
10 | 2726789.268 | 1279903.1238
11 | 2726733.7092 | 1279874.417
12 | 2726866.0952 | 1279938.9663
13 | 2726872.7517 | 1279925.4075
14 | 2726898.417 | 1279951.8999
15 | 2726906.913 | 1279945.0912
16 | 2726957.0864 | 1279978.952
17 | 2726942.2605 | 1280003.0452
18 | 2726963.1444 | 1279971.553
19 | 2726985.2224 | 1280046.0896
20 | 2726913.9913 | 1279959.0811
21 | 2726972.4255 | 1279959.5529
22 | 2726974.404 | 1280048.4479
23 | 2726909.3629 | 1280062.286
24 | 2726897.9711 | 1279881.3196
25 | 2726773.5511 | 1279984.02
26 | 2726780.8785 | 1279997.0148
27 | 2726771.4885 | 1279980.3498
28 | 2726734.9366 | 1280009.7785
29 | 2726781.7664 | 1279973.4307
30 | 2726786.5034 | 1279948.1414
31 | 2726797.8816 | 1279924.4091
32 | 2726879.2353 | 1279885.0464
33 | 2726774.4634 | 1279888.5543
34 | 2726715.0533 | 1279865.5576
35 | 2726919.4413 | 1279950.9868
36 | 2726984.5562 | 1279943.8682
37 | 2726876.1198 | 1280068.0405
38 | 2726893.4059 | 1279862.8531
39 | 2726757.9184 | 1279766.3687
40 | 2726673.4826 | 1279838.095
41 | 2726787.911 | 1280009.4867
42 | 2726756.5012 | 1279979.1488
43 | 2726763.3324 | 1279965.5206
44 | 2726705.3899 | 1280029.4881
45 | 2726762.6856 | 1279954.8429
46 | 2726736.7008 | 1279870.7997
47 | 2726630.9443 | 1279807.3295
48 | 2726674.6623 | 1279844.0954
49 | 2726836.4221 | 1280107.0698
50 | 2726773.2695 | 1280160.8538
51 | 2726805.1233 | 1280133.7254
52 | 2726812.7512 | 1280004.3046
53 | 2726818.0088 | 1280014.2897
54 | 2726822.8505 | 1280023.4848
55 | 2726772.5901 | 1280020.1454
56 | 2726828.1756 | 1280026.0352
57 | 2726821.062 | 1280031.5208
58 | 2726767.7952 | 1280040.2508
59 | 2726773.1977 | 1280042.3467
60 | 2726768.084 | 1280049.1767
61 | 2726700.3363 | 1279858.5687
62 | 2726699.5531 | 1279858.1967
63 | 2726688.2175 | 1279851.9913
64 | 2726687.6464 | 1279851.6787
65 | 2726621.9994 | 1280028.5381
66 | 2726616.7385 | 1280016.9576
67 | 2726632.1136 | 1280050.8016
68 | 2726604.7137 | 1279990.4882
69 | 2726639.3958 | 1280066.8291
70 | 2726620.2859 | 1280024.7663
71 | 2726674.6696 | 1280058.2895
72 | 2726605.4711 | 1280083.4124
73 | 2726687.7587 | 1280036.2826
74 | 2726672.0019 | 1279979.3112
75 | 2726697.0279 | 1280053.8988
76 | 2726681.5234 | 1280081.3034
77 | 2726617.7278 | 1280093.6454
78 | 2726638.9679 | 1280093.379
79 | 2726622.7584 | 1280109.2018
80 | 2726548.8814 | 1280103.9666
81 | 2726538.3556 | 1280074.3912
82 | 2726719.3712 | 1280075.1255
83 | 2726703.9052 | 1280015.7207
84 | 2726527.5252 | 1280043.9599
85 | 2726527.4794 | 1280043.8312
86 | 2726527.4278 | 1280043.6863
87 | 2726521.2235 | 1280026.2534
88 | 2726764.8171 | 1280046.3037
89 | 2726769.592 | 1280049.287
90 | 2726772.3458 | 1280048.0673
91 | 2726738.6183 | 1279991.4075
92 | 2726709.1046 | 1279991.1421
93 | 2726675.6976 | 1280083.169
94 | 2726682.5674 | 1280084.8182
95 | 2726616.1247 | 1280111.2503
96 | 2726559.1715 | 1280123.0392
97 | 2726645.1705 | 1280120.127
98 | 2726700.8784 | 1280081.6974
99 | 2726643.2117 | 1280132.2522
100 | 2726575.7729 | 1280115.5438
101 | 2726822.8505 | 1280023.4848

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1