## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4711-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4711-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4711-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4711-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4711-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4711-14_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4711-14_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4711-14_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4711-14_0_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_4711-14_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4711-14_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4711-14_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4711-14_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_4711-14_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4711-14_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4711-14_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4711-14_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4711-14_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4711-14_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4711-14_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4711-14_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_4711-14_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4711-14_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4711-14_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4711-14_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4711-14_0_4_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_4711-14_0_4_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_4711-14_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4711-14_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4711-14_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4711-14_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4711-14_0_4_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_4711-14_0_4_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_4711-14_0_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_4711-14_0_4_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_4711-14_0_4_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4711-14_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_4711-14_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4711-14_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4711-14_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_4711-14_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_4711-14_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4711-14_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_4711-14_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4711-14_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4711-14_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4711-14_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4711-14_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4711-14_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4711-14_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4711-14_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4711-14_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4711-14_0_4_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_4711-14_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_4711-14_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4711-14_0_4_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_4711-14_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4711-14_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_4711-14_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4711-14_0_4_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_4711-14_0_4_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_4711-14_0_4_node_103 | 0.4 | n |  | TRUE
62 | bus_LV_4711-14_0_4_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_4711-14_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_4711-14_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_4711-14_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_4711-14_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4711-14_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_4711-14_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4711-14_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_4711-14_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_4711-14_0_4_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_4711-14_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_4711-14_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_4711-14_0_4_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_4711-14_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4711-14_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4711-14_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4711-14_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_4711-14_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_4711-14_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_4711-14_0_4_node_106 | 0.4 | n |  | TRUE
82 | bus_LV_4711-14_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_4711-14_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_4711-14_0_4_node_105 | 0.4 | n |  | TRUE
85 | bus_LV_4711-14_0_4_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4711-14_0_4_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_4711-14_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4711-14_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_4711-14_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_4711-14_0_4_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_4711-14_0_4_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_4711-14_0_4_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_4711-14_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4711-14_0_4_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_4711-14_0_4_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_4711-14_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_4711-14_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4711-14_0_4_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_4711-14_0_4_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_4711-14_0_4_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_4711-14_0_4_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_4711-14_0_4_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_4711-14_0_4_node_107 | 0.4 | n |  | TRUE
104 | bus_MV_410_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4711-14_0_4_load_0 | 0 | 0.0086386 | 0.002165 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4711-14_0_4_load_1 | 1 | 0.00304 | 0.00076189 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4711-14_0_4_load_3 | 3 | 0.0023529 | 0.00058969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4711-14_0_4_load_4 | 4 | 0.0031344 | 0.00078556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4711-14_0_4_load_5 | 5 | 0.0015161 | 0.00037997 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4711-14_0_4_load_16 | 7 | 0.0012981 | 0.00032534 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4711-14_0_4_load_44 | 8 | 0.0032548 | 0.00081573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4711-14_0_4_load_10 | 9 | 0.0004986 | 0.00012496 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4711-14_0_4_load_6 | 10 | 0.0013705 | 0.00034349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4711-14_0_4_load_14 | 11 | 0.0017226 | 0.00043171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4711-14_0_4_load_45 | 12 | 0.0048227 | 0.0012087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4711-14_0_4_load_7 | 13 | 0.0012127 | 0.00030394 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4711-14_0_4_load_9 | 14 | 0.0012102 | 0.00030331 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4711-14_0_4_load_12 | 15 | 0.0011797 | 0.00029565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4711-14_0_4_load_11 | 16 | 0.00084979 | 0.00021298 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4711-14_0_4_load_13 | 17 | 0.0076202 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4711-14_0_4_load_15 | 18 | 0.0010902 | 0.00027322 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4711-14_0_4_load_17 | 19 | 0.0031294 | 0.00078429 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4711-14_0_4_load_21 | 20 | 0.0038722 | 0.00097046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4711-14_0_4_load_19 | 21 | 0.0015779 | 0.00039546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4711-14_0_4_load_18 | 22 | 0.0016929 | 0.00042428 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4711-14_0_4_load_20 | 23 | 0.0039552 | 0.00099126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4711-14_0_4_load_22 | 24 | 0.0022556 | 0.00056531 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4711-14_0_4_load_93 | 25 | 0.0018746 | 0.00046982 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4711-14_0_4_load_95 | 26 | 0.0017855 | 0.00044749 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4711-14_0_4_load_23 | 27 | 0.02607 | 0.0065338 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4711-14_0_4_load_24 | 28 | 0.00083885 | 0.00021024 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4711-14_0_4_load_25 | 29 | 0.0027125 | 0.00067982 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4711-14_0_4_load_77 | 32 | 0.0045634 | 0.0011437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4711-14_0_4_load_75 | 33 | 0.012087 | 0.0030294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4711-14_0_4_load_73 | 34 | 0.0034736 | 0.00087057 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4711-14_0_4_load_76 | 35 | 0.0052761 | 0.0013223 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4711-14_0_4_load_27 | 36 | 0.0051547 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4711-14_0_4_load_28 | 37 | 0.0014616 | 0.00036631 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4711-14_0_4_load_30 | 39 | 0.0041293 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4711-14_0_4_load_31 | 40 | 0.00073133 | 0.00018329 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4711-14_0_4_load_32 | 41 | 0.0021841 | 0.00054739 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4711-14_0_4_load_49 | 42 | 0.0018664 | 0.00046776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4711-14_0_4_load_47 | 43 | 0.0022269 | 0.0005581 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4711-14_0_4_load_33 | 44 | 0.0011063 | 0.00027727 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4711-14_0_4_load_34 | 45 | 0.0017089 | 0.00042829 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4711-14_0_4_load_36 | 47 | 0.0018408 | 0.00046134 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4711-14_0_4_load_37 | 48 | 0.0024887 | 0.00062372 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4711-14_0_4_load_38 | 49 | 0.0021087 | 0.00052849 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4711-14_0_4_load_46 | 50 | 0.0018799 | 0.00047114 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4711-14_0_4_load_41 | 51 | 0.0014146 | 0.00035452 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4711-14_0_4_load_100 | 52 | 0.0013824 | 0.00034647 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4711-14_0_4_load_48 | 53 | 0.002504 | 0.00062756 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4711-14_0_4_load_39 | 54 | 0.0017274 | 0.00043292 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4711-14_0_4_load_101 | 55 | 0.002662 | 0.00066715 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4711-14_0_4_load_40 | 56 | 0.0022793 | 0.00057124 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4711-14_0_4_load_42 | 57 | 0.0024597 | 0.00061646 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4711-14_0_4_load_94 | 59 | 0.0029641 | 0.00074287 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4711-14_0_4_load_103 | 61 | 0.0034443 | 0.00086323 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4711-14_0_4_load_83 | 62 | 0.0056015 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4711-14_0_4_load_78 | 63 | 0.0014598 | 0.00036587 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4711-14_0_4_load_50 | 64 | 0.00060758 | 0.00015227 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4711-14_0_4_load_51 | 65 | 0.0015968 | 0.00040021 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4711-14_0_4_load_53 | 67 | 0.0019057 | 0.00047762 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4711-14_0_4_load_54 | 68 | 0.0003796 | 9.5138e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4711-14_0_4_load_55 | 69 | 0.00068563 | 0.00017184 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4711-14_0_4_load_98 | 71 | 0.0011478 | 0.00028768 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4711-14_0_4_load_65 | 72 | 0.0041179 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4711-14_0_4_load_61 | 73 | 0.00036733 | 9.2061e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4711-14_0_4_load_99 | 74 | 0.0023583 | 0.00059106 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4711-14_0_4_load_56 | 75 | 0.0014513 | 0.00036374 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4711-14_0_4_load_57 | 76 | 0.00052685 | 0.00013204 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4711-14_0_4_load_58 | 77 | 0.0011198 | 0.00028064 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4711-14_0_4_load_60 | 79 | 0.0011203 | 0.00028076 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4711-14_0_4_load_106 | 81 | 0.0011203 | 0.00028076 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4711-14_0_4_load_88 | 82 | 0.00050586 | 0.00012678 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4711-14_0_4_load_84 | 83 | 0.00066428 | 0.00016648 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4711-14_0_4_load_105 | 84 | 0.001463 | 0.00036667 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4711-14_0_4_load_62 | 85 | 0.001189 | 0.00029798 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4711-14_0_4_load_64 | 86 | 0.0012531 | 0.00031404 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4711-14_0_4_load_72 | 87 | 0.005453 | 0.0013666 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4711-14_0_4_load_91 | 88 | 0.0013372 | 0.00033514 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4711-14_0_4_load_92 | 89 | 0.0012676 | 0.0003177 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4711-14_0_4_load_66 | 90 | 0.0029695 | 0.00074423 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4711-14_0_4_load_67 | 91 | 0.0020734 | 0.00051964 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4711-14_0_4_load_71 | 94 | 0.0014575 | 0.00036528 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4711-14_0_4_load_104 | 95 | 0.0030001 | 0.0007519 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4711-14_0_4_load_89 | 97 | 0.0015156 | 0.00037986 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4711-14_0_4_load_81 | 98 | 0.0042375 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4711-14_0_4_load_80 | 99 | 0.00050051 | 0.00012544 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4711-14_0_4_load_90 | 100 | 0.0028619 | 0.00071726 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4711-14_0_4_load_85 | 101 | 0.0026127 | 0.00065481 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4711-14_0_4_load_87 | 102 | 0.0057305 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4711-14_0_4_load_107 | 103 | 0.0011203 | 0.00028076 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4711-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4711-14_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4711-14_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.034595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4711-14_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4711-14_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.025916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4711-14_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.039034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4711-14_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.044265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4711-14_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.019429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4711-14_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0010791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4711-14_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.012474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4711-14_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 7.4556e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4711-14_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.030456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4711-14_0_4_line_12 | NAYY 4x150 SE | 9 | 15 | 0.013427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4711-14_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.02869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4711-14_0_4_line_14 | NAYY 4x150 SE | 11 | 18 | 0.0079181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4711-14_0_4_line_15 | NAYY 4x150 SE | 12 | 63 | 0.012502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4711-14_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.011833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4711-14_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0025272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4711-14_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.013801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4711-14_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.019195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4711-14_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0046464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4711-14_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0074313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4711-14_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.013295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4711-14_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0052184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4711-14_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0063865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4711-14_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.016088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4711-14_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0099436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4711-14_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.025453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4711-14_0_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.05265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4711-14_0_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4711-14_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.021972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4711-14_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4711-14_0_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.025286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4711-14_0_4_line_33 | NAYY 4x150 SE | 31 | 34 | 0.02761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4711-14_0_4_line_34 | NAYY 4x150 SE | 32 | 35 | 0.072199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4711-14_0_4_line_35 | NAYY 4x150 SE | 34 | 87 | 0.014328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4711-14_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0050333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4711-14_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.046994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4711-14_0_4_line_38 | NAYY 4x150 SE | 37 | 39 | 0.01381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4711-14_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.01506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4711-14_0_4_line_40 | NAYY 4x150 SE | 38 | 41 | 0.037037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4711-14_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.013705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4711-14_0_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.012211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4711-14_0_4_line_43 | NAYY 4x150 SE | 43 | 53 | 0.013567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4711-14_0_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.019858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4711-14_0_4_line_45 | NAYY 4x150 SE | 44 | 46 | 0.019502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4711-14_0_4_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0067179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4711-14_0_4_line_47 | NAYY 4x150 SE | 46 | 48 | 0.010451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4711-14_0_4_line_48 | NAYY 4x150 SE | 46 | 49 | 0.0083122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4711-14_0_4_line_49 | NAYY 4x150 SE | 47 | 50 | 0.017105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4711-14_0_4_line_50 | NAYY 4x150 SE | 48 | 51 | 0.019637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4711-14_0_4_line_51 | NAYY 4x150 SE | 49 | 52 | 0.05248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4711-14_0_4_line_52 | NAYY 4x150 SE | 50 | 53 | 0.020856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4711-14_0_4_line_53 | NAYY 4x150 SE | 51 | 54 | 0.018622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4711-14_0_4_line_54 | NAYY 4x150 SE | 52 | 55 | 0.012515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4711-14_0_4_line_55 | NAYY 4x150 SE | 54 | 56 | 0.0097975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4711-14_0_4_line_56 | NAYY 4x150 SE | 55 | 93 | 0.0015736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4711-14_0_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.01762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4711-14_0_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.011697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4711-14_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.037566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_4711-14_0_4_line_60 | NAYY 4x150 SE | 58 | 60 | 0.027025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_4711-14_0_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.010516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4711-14_0_4_line_62 | NAYY 4x150 SE | 60 | 62 | 0.044414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4711-14_0_4_line_63 | NAYY 4x150 SE | 60 | 63 | 0.0092213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4711-14_0_4_line_64 | NAYY 4x150 SE | 61 | 78 | 0.03687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_4711-14_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.024103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4711-14_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.025103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4711-14_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.02903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4711-14_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.018462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4711-14_0_4_line_69 | NAYY 4x150 SE | 66 | 69 | 0.044288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4711-14_0_4_line_70 | NAYY 4x150 SE | 67 | 70 | 0.036739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4711-14_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.017743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4711-14_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.0010516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_4711-14_0_4_line_73 | NAYY 4x150 SE | 70 | 73 | 0.0158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4711-14_0_4_line_74 | NAYY 4x150 SE | 71 | 74 | 0.0029059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4711-14_0_4_line_75 | NAYY 4x150 SE | 72 | 88 | 0.032815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4711-14_0_4_line_76 | NAYY 4x150 SE | 73 | 85 | 0.018762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_4711-14_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.017011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4711-14_0_4_line_78 | NAYY 4x150 SE | 75 | 77 | 0.0032012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4711-14_0_4_line_79 | NAYY 4x150 SE | 76 | 78 | 0.015812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4711-14_0_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4711-14_0_4_line_81 | NAYY 4x150 SE | 78 | 80 | 0.00962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_4711-14_0_4_line_82 | NAYY 4x150 SE | 79 | 81 | 0.020111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4711-14_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.037199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_4711-14_0_4_line_84 | NAYY 4x150 SE | 80 | 83 | 0.0092425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4711-14_0_4_line_85 | NAYY 4x150 SE | 81 | 84 | 0.015427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4711-14_0_4_line_86 | NAYY 4x150 SE | 82 | 89 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4711-14_0_4_line_87 | NAYY 4x150 SE | 83 | 101 | 0.043753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4711-14_0_4_line_88 | NAYY 4x150 SE | 84 | 103 | 0.0050493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4711-14_0_4_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0049033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4711-14_0_4_line_90 | NAYY 4x150 SE | 86 | 87 | 0.024149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4711-14_0_4_line_91 | NAYY 4x150 SE | 88 | 89 | 0.035898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4711-14_0_4_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0030482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4711-14_0_4_line_93 | NAYY 4x150 SE | 90 | 92 | 0.026165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4711-14_0_4_line_94 | NAYY 4x150 SE | 92 | 93 | 0.026762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4711-14_0_4_line_95 | NAYY 4x150 SE | 92 | 94 | 0.024434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4711-14_0_4_line_96 | NAYY 4x150 SE | 93 | 95 | 0.021184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4711-14_0_4_line_97 | NAYY 4x150 SE | 94 | 96 | 0.03637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4711-14_0_4_line_98 | NAYY 4x150 SE | 96 | 97 | 0.012478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4711-14_0_4_line_99 | NAYY 4x150 SE | 96 | 98 | 0.0042553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4711-14_0_4_line_100 | NAYY 4x150 SE | 97 | 100 | 0.014479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4711-14_0_4_line_101 | NAYY 4x150 SE | 98 | 99 | 0.0087809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4711-14_0_4_line_102 | NAYY 4x150 SE | 101 | 102 | 0.038156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4711-14_0_4_trafo_79 | 0.25 MVA 20/0.4 kV | 104 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2723272.3083 | 1266046.6149 | 2723284.7945 | 1266052.8545
1 | 2723255.9187 | 1266038.4247 | 2723272.3083 | 1266046.6149
2 | 2723255.9187 | 1266038.4247 | 2723256.014 | 1266029.8856 | 2723252.2959 | 1266022.5458 | 2723245.6371 | 1266006.0081
3 | 2723255.9187 | 1266038.4247 | 2723233.5373 | 1266027.5201
4 | 2723255.9187 | 1266038.4247 | 2723245.2296 | 1266062.0337
5 | 2723239.3024 | 1265967.7473 | 2723242.5146 | 1265998.2531 | 2723245.6371 | 1266006.0081
6 | 2723233.5373 | 1266027.5201 | 2723218.6692 | 1266020.2761 | 2723192.9147 | 1266010.0066
7 | 2723245.2296 | 1266062.0337 | 2723237.216 | 1266079.7332
8 | 2723239.3024 | 1265967.7473 | 2723239.1661 | 1265966.6769
9 | 2723239.3024 | 1265967.7473 | 2723251.5907 | 1265969.8921
10 | 2723192.8454 | 1266009.979 | 2723192.9147 | 1266010.0066
11 | 2723225.2737 | 1266107.7319 | 2723228.4344 | 1266099.1291 | 2723237.216 | 1266079.7332
12 | 2723237.4696 | 1265953.3575 | 2723239.1661 | 1265966.6769
13 | 2723251.5907 | 1265969.8921 | 2723265.718 | 1265972.3578 | 2723279.8669 | 1265974.7452
14 | 2723185.4905 | 1266007.0462 | 2723192.8454 | 1266009.979
15 | 2723225.2737 | 1266107.7319 | 2723220.9624 | 1266119.4667
16 | 2723291.535 | 1265976.714 | 2723279.8669 | 1265974.7452
17 | 2723237.4696 | 1265953.3575 | 2723237.1503 | 1265950.8505
18 | 2723235.4065 | 1265937.1605 | 2723237.1503 | 1265950.8505
19 | 2723167.6611 | 1265999.9368 | 2723185.4905 | 1266007.0462
20 | 2723167.6611 | 1265999.9368 | 2723163.3452 | 1265998.2159
21 | 2723156.4424 | 1265995.4634 | 2723163.3452 | 1265998.2159
22 | 2723144.0932 | 1265990.5392 | 2723156.4424 | 1265995.4634
23 | 2723139.246 | 1265988.6064 | 2723144.0932 | 1265990.5392
24 | 2723139.246 | 1265988.6064 | 2723133.3137 | 1265986.241
25 | 2723118.3703 | 1265980.2823 | 2723133.3137 | 1265986.241
26 | 2723118.3703 | 1265980.2823 | 2723111.8689 | 1265977.6899 | 2723109.0799 | 1265976.746
27 | 2723046.7795 | 1266110.6089 | 2723056.0734 | 1266086.9138
28 | 2723046.7795 | 1266110.6089 | 2723027.5543 | 1266159.6238
29 | 2723057.8438 | 1266043.4804 | 2723058.0464 | 1266061.5899 | 2723056.7647 | 1266085.1513 | 2723056.0734 | 1266086.9138
30 | 2723074.9726 | 1266029.6578 | 2723057.8438 | 1266043.4804
31 | 2723057.8438 | 1266043.4804 | 2723048.185 | 1266047.1413
32 | 2723074.9726 | 1266029.6578 | 2723064.3983 | 1266006.689
33 | 2723074.9726 | 1266029.6578 | 2723086.5823 | 1266054.708
34 | 2723048.185 | 1266047.1413 | 2722976.1486 | 1266051.9809
35 | 2723086.5823 | 1266054.708 | 2723092.6069 | 1266067.7073
36 | 2723474.2038 | 1266239.2883 | 2723479.1154 | 1266240.3887
37 | 2723427.9619 | 1266230.9896 | 2723463.2375 | 1266236.8316 | 2723474.2038 | 1266239.2883
38 | 2723479.1154 | 1266240.3887 | 2723486.8358 | 1266242.1182 | 2723492.5997 | 1266243.3684
39 | 2723427.9619 | 1266230.9896 | 2723429.309 | 1266215.9902
40 | 2723427.9619 | 1266230.9896 | 2723391.1132 | 1266227.2614
41 | 2723391.1132 | 1266227.2614 | 2723377.4083 | 1266227.2814
42 | 2723365.1977 | 1266227.2992 | 2723377.4083 | 1266227.2814
43 | 2723365.1977 | 1266227.2992 | 2723351.6307 | 1266227.319
44 | 2723288.0252 | 1266218.5467 | 2723302.3387 | 1266222.6492 | 2723307.2232 | 1266223.5546
45 | 2723269.2778 | 1266213.1733 | 2723288.0252 | 1266218.5467
46 | 2723307.2232 | 1266223.5546 | 2723313.8285 | 1266224.7789
47 | 2723269.2778 | 1266213.1733 | 2723259.9332 | 1266208.4927
48 | 2723269.2778 | 1266213.1733 | 2723274.4354 | 1266219.6918
49 | 2723313.8285 | 1266224.7789 | 2723318.769 | 1266225.6947 | 2723330.7998 | 1266226.7886
50 | 2723259.9332 | 1266208.4927 | 2723254.1024 | 1266205.5721 | 2723243.2889 | 1266198.1508
51 | 2723274.4354 | 1266219.6918 | 2723306.9987 | 1266260.8472
52 | 2723351.6307 | 1266227.319 | 2723336.8703 | 1266227.3405 | 2723330.7998 | 1266226.7886
53 | 2723229.143 | 1266186.2631 | 2723233.7798 | 1266191.6246 | 2723243.2889 | 1266198.1508
54 | 2723306.9987 | 1266260.8472 | 2723314.7642 | 1266270.6617
55 | 2723229.143 | 1266186.2631 | 2723222.7341 | 1266178.8525
56 | 2723315.7407 | 1266271.8958 | 2723314.7642 | 1266270.6617
57 | 2723222.7341 | 1266178.8525 | 2723217.9613 | 1266173.3338 | 2723213.4911 | 1266164.0276
58 | 2723208.4263 | 1266153.4837 | 2723213.4911 | 1266164.0276
59 | 2723208.4263 | 1266153.4837 | 2723194.4669 | 1266188.3601
60 | 2723217.7824 | 1266128.1223 | 2723208.4263 | 1266153.4837
61 | 2723194.4669 | 1266188.3601 | 2723190.5592 | 1266198.1233
62 | 2723217.7824 | 1266128.1223 | 2723262.1679 | 1266129.7182
63 | 2723217.7824 | 1266128.1223 | 2723220.9624 | 1266119.4667
64 | 2723176.8587 | 1266232.3531 | 2723190.5592 | 1266198.1233
65 | 2723077.7129 | 1266204.2611 | 2723088.1419 | 1266182.5315
66 | 2723066.8706 | 1266226.9017 | 2723070.5092 | 1266219.2705 | 2723077.7129 | 1266204.2611
67 | 2723100.7032 | 1266156.3593 | 2723088.1419 | 1266182.5315
68 | 2723066.8706 | 1266226.9017 | 2723058.8735 | 1266243.5421
69 | 2723066.8706 | 1266226.9017 | 2723073.0232 | 1266228.3755 | 2723102.3383 | 1266252.4933
70 | 2723119.3562 | 1266125.4246 | 2723115.2798 | 1266128.0421 | 2723111.561 | 1266133.7364 | 2723100.7032 | 1266156.3593
71 | 2723116.0399 | 1266263.7656 | 2723102.3383 | 1266252.4933
72 | 2723119.3562 | 1266125.4246 | 2723119.7999 | 1266126.3779
73 | 2723119.3562 | 1266125.4246 | 2723112.7125 | 1266111.0894
74 | 2723116.0399 | 1266263.7656 | 2723118.2839 | 1266265.6118
75 | 2723133.6471 | 1266156.1285 | 2723119.7999 | 1266126.3779
76 | 2723112.7125 | 1266111.0894 | 2723104.8233 | 1266094.0668
77 | 2723206.0729 | 1266246.963 | 2723190.3656 | 1266240.433
78 | 2723206.0729 | 1266246.963 | 2723209.0288 | 1266248.1919
79 | 2723176.8587 | 1266232.3531 | 2723182.9662 | 1266236.7065 | 2723186.1634 | 1266238.6861 | 2723190.3656 | 1266240.433
80 | 2723209.0288 | 1266248.1919 | 2723228.2062 | 1266256.1644
81 | 2723173.2832 | 1266241.2867 | 2723176.8587 | 1266232.3531
82 | 2723228.2062 | 1266256.1644 | 2723246.7768 | 1266263.8847
83 | 2723173.2832 | 1266241.2867 | 2723157.5861 | 1266207.5616
84 | 2723173.2832 | 1266241.2867 | 2723177.2404 | 1266249.6392
85 | 2723261.0217 | 1266269.8067 | 2723246.7768 | 1266263.8847
86 | 2723157.5861 | 1266207.5616 | 2723148.7951 | 1266188.6741
87 | 2723177.2404 | 1266249.6392 | 2723195.9737 | 1266289.1794
88 | 2723261.0217 | 1266269.8067 | 2723265.6842 | 1266271.745
89 | 2723104.8233 | 1266094.0668 | 2723102.7615 | 1266089.6181
90 | 2723102.7615 | 1266089.6181 | 2723092.6069 | 1266067.7073
91 | 2723133.6471 | 1266156.1285 | 2723148.7951 | 1266188.6741
92 | 2723341.5187 | 1266317.3581 | 2723342.4339 | 1266320.2657
93 | 2723332.368 | 1266292.9063 | 2723336.7526 | 1266302.2173 | 2723341.5187 | 1266317.3581
94 | 2723332.368 | 1266292.9063 | 2723315.7407 | 1266271.8958
95 | 2723332.368 | 1266292.9063 | 2723356.1876 | 1266298.3511
96 | 2723315.7407 | 1266271.8958 | 2723300.5601 | 1266283.3117 | 2723298.475 | 1266283.98
97 | 2723391.6427 | 1266306.4556 | 2723356.1876 | 1266298.3511
98 | 2723391.6427 | 1266306.4556 | 2723394.4555 | 1266294.2987
99 | 2723391.6427 | 1266306.4556 | 2723395.7879 | 1266307.4173
100 | 2723397.7195 | 1266280.1919 | 2723394.4555 | 1266294.2987
101 | 2723404.3417 | 1266309.4017 | 2723395.7879 | 1266307.4173
102 | 2723212.3104 | 1266323.6613 | 2723195.9737 | 1266289.1794

## bus_geodata
| x | y | coords
0 | 2723272.3083 | 1266046.6149
1 | 2723284.7945 | 1266052.8545
2 | 2723255.9187 | 1266038.4247
3 | 2723245.6371 | 1266006.0081
4 | 2723233.5373 | 1266027.5201
5 | 2723245.2296 | 1266062.0337
6 | 2723239.3024 | 1265967.7473
7 | 2723192.9147 | 1266010.0066
8 | 2723237.216 | 1266079.7332
9 | 2723239.1661 | 1265966.6769
10 | 2723251.5907 | 1265969.8921
11 | 2723192.8454 | 1266009.979
12 | 2723225.2737 | 1266107.7319
13 | 2723279.8669 | 1265974.7452
14 | 2723291.535 | 1265976.714
15 | 2723237.4696 | 1265953.3575
16 | 2723237.1503 | 1265950.8505
17 | 2723235.4065 | 1265937.1605
18 | 2723185.4905 | 1266007.0462
19 | 2723167.6611 | 1265999.9368
20 | 2723163.3452 | 1265998.2159
21 | 2723156.4424 | 1265995.4634
22 | 2723144.0932 | 1265990.5392
23 | 2723139.246 | 1265988.6064
24 | 2723133.3137 | 1265986.241
25 | 2723118.3703 | 1265980.2823
26 | 2723109.0799 | 1265976.746
27 | 2723046.7795 | 1266110.6089
28 | 2723056.0734 | 1266086.9138
29 | 2723027.5543 | 1266159.6238
30 | 2723057.8438 | 1266043.4804
31 | 2723074.9726 | 1266029.6578
32 | 2723048.185 | 1266047.1413
33 | 2723064.3983 | 1266006.689
34 | 2723086.5823 | 1266054.708
35 | 2722976.1486 | 1266051.9809
36 | 2723474.2038 | 1266239.2883
37 | 2723479.1154 | 1266240.3887
38 | 2723427.9619 | 1266230.9896
39 | 2723492.5997 | 1266243.3684
40 | 2723429.309 | 1266215.9902
41 | 2723391.1132 | 1266227.2614
42 | 2723377.4083 | 1266227.2814
43 | 2723365.1977 | 1266227.2992
44 | 2723288.0252 | 1266218.5467
45 | 2723307.2232 | 1266223.5546
46 | 2723269.2778 | 1266213.1733
47 | 2723313.8285 | 1266224.7789
48 | 2723259.9332 | 1266208.4927
49 | 2723274.4354 | 1266219.6918
50 | 2723330.7998 | 1266226.7886
51 | 2723243.2889 | 1266198.1508
52 | 2723306.9987 | 1266260.8472
53 | 2723351.6307 | 1266227.319
54 | 2723229.143 | 1266186.2631
55 | 2723314.7642 | 1266270.6617
56 | 2723222.7341 | 1266178.8525
57 | 2723213.4911 | 1266164.0276
58 | 2723208.4263 | 1266153.4837
59 | 2723194.4669 | 1266188.3601
60 | 2723217.7824 | 1266128.1223
61 | 2723190.5592 | 1266198.1233
62 | 2723262.1679 | 1266129.7182
63 | 2723220.9624 | 1266119.4667
64 | 2723077.7129 | 1266204.2611
65 | 2723088.1419 | 1266182.5315
66 | 2723066.8706 | 1266226.9017
67 | 2723100.7032 | 1266156.3593
68 | 2723058.8735 | 1266243.5421
69 | 2723102.3383 | 1266252.4933
70 | 2723119.3562 | 1266125.4246
71 | 2723116.0399 | 1266263.7656
72 | 2723119.7999 | 1266126.3779
73 | 2723112.7125 | 1266111.0894
74 | 2723118.2839 | 1266265.6118
75 | 2723206.0729 | 1266246.963
76 | 2723190.3656 | 1266240.433
77 | 2723209.0288 | 1266248.1919
78 | 2723176.8587 | 1266232.3531
79 | 2723228.2062 | 1266256.1644
80 | 2723173.2832 | 1266241.2867
81 | 2723246.7768 | 1266263.8847
82 | 2723157.5861 | 1266207.5616
83 | 2723177.2404 | 1266249.6392
84 | 2723261.0217 | 1266269.8067
85 | 2723104.8233 | 1266094.0668
86 | 2723102.7615 | 1266089.6181
87 | 2723092.6069 | 1266067.7073
88 | 2723133.6471 | 1266156.1285
89 | 2723148.7951 | 1266188.6741
90 | 2723341.5187 | 1266317.3581
91 | 2723342.4339 | 1266320.2657
92 | 2723332.368 | 1266292.9063
93 | 2723315.7407 | 1266271.8958
94 | 2723356.1876 | 1266298.3511
95 | 2723298.475 | 1266283.98
96 | 2723391.6427 | 1266306.4556
97 | 2723394.4555 | 1266294.2987
98 | 2723395.7879 | 1266307.4173
99 | 2723404.3417 | 1266309.4017
100 | 2723397.7195 | 1266280.1919
101 | 2723195.9737 | 1266289.1794
102 | 2723212.3104 | 1266323.6613
103 | 2723265.6842 | 1266271.745
104 | 2723208.4263 | 1266153.4837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1