## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4711-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4711-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4711-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4711-16_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4711-16_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4711-16_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4711-16_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4711-16_0_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_4711-16_0_2_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_4711-16_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_4711-16_0_2_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_4711-16_0_2_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_4711-16_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4711-16_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4711-16_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4711-16_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4711-16_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4711-16_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4711-16_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_4711-16_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_4711-16_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_4711-16_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4711-16_0_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_4711-16_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4711-16_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4711-16_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4711-16_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4711-16_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4711-16_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4711-16_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4711-16_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4711-16_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4711-16_0_2_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_4711-16_0_2_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_4711-16_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4711-16_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4711-16_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4711-16_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4711-16_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4711-16_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4711-16_0_2_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_4711-16_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4711-16_0_2_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_4711-16_0_2_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_4711-16_0_2_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_4711-16_0_2_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_4711-16_0_2_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_4711-16_0_2_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4711-16_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4711-16_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4711-16_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4711-16_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4711-16_0_2_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4711-16_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4711-16_0_2_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4711-16_0_2_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4711-16_0_2_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_4711-16_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4711-16_0_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4711-16_0_2_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4711-16_0_2_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4711-16_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4711-16_0_2_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_4711-16_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4711-16_0_2_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4711-16_0_2_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4711-16_0_2_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4711-16_0_2_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4711-16_0_2_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_4711-16_0_2_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_4711-16_0_2_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_4711-16_0_2_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4711-16_0_2_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4711-16_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4711-16_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4711-16_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4711-16_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4711-16_0_2_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_4711-16_0_2_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_4711-16_0_2_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4711-16_0_2_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_4711-16_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_4711-16_0_2_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4711-16_0_2_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_4711-16_0_2_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4711-16_0_2_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_4711-16_0_2_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4711-16_0_2_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4711-16_0_2_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4711-16_0_2_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_4711-16_0_2_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4711-16_0_2_node_84 | 0.4 | n |  | TRUE
92 | bus_MV_410_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4711-16_0_2_load_0 | 0 | 0.0036808 | 0.00092249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4711-16_0_2_load_1 | 1 | 0.00035385 | 8.8684e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4711-16_0_2_load_3 | 3 | 0.00064574 | 0.00016184 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4711-16_0_2_load_4 | 4 | 0.00079474 | 0.00019918 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4711-16_0_2_load_20 | 7 | 0.0013138 | 0.00032928 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4711-16_0_2_load_19 | 9 | 0.001861 | 0.00046641 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4711-16_0_2_load_78 | 10 | 0.0034354 | 0.000861 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4711-16_0_2_load_7 | 12 | 0.0043031 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4711-16_0_2_load_8 | 13 | 0.0042812 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4711-16_0_2_load_10 | 15 | 0.0027652 | 0.00069302 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4711-16_0_2_load_12 | 17 | 0.0019518 | 0.00048916 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4711-16_0_2_load_18 | 18 | 0.00085791 | 0.00021501 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4711-16_0_2_load_28 | 19 | 0.0027914 | 0.0006996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4711-16_0_2_load_29 | 22 | 0.0040866 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4711-16_0_2_load_21 | 23 | 0.00557 | 0.001396 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4711-16_0_2_load_13 | 24 | 0.0013355 | 0.00033471 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4711-16_0_2_load_14 | 25 | 0.0024016 | 0.00060189 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4711-16_0_2_load_16 | 27 | 0.0035902 | 0.00089978 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4711-16_0_2_load_25 | 29 | 0.0082592 | 0.0020699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4711-16_0_2_load_91 | 32 | 0.0018515 | 0.00046402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4711-16_0_2_load_90 | 33 | 0.0033262 | 0.00083362 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4711-16_0_2_load_30 | 34 | 0.0036402 | 0.00091233 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4711-16_0_2_load_31 | 35 | 0.0036411 | 0.00091255 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4711-16_0_2_load_32 | 36 | 0.0020256 | 0.00050766 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4711-16_0_2_load_33 | 37 | 0.0044551 | 0.0011166 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4711-16_0_2_load_34 | 38 | 0.00070464 | 0.0001766 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4711-16_0_2_load_81 | 40 | 0.0011658 | 0.00029217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4711-16_0_2_load_47 | 41 | 0.002474 | 0.00062005 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4711-16_0_2_load_82 | 43 | 0.0013222 | 0.00033138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4711-16_0_2_load_46 | 44 | 0.0010794 | 0.00027053 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4711-16_0_2_load_89 | 45 | 0.0022836 | 0.00057233 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4711-16_0_2_load_85 | 46 | 0.0038958 | 0.00097638 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4711-16_0_2_load_36 | 47 | 0.0052278 | 0.0013102 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4711-16_0_2_load_37 | 48 | 0.0028364 | 0.00071087 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4711-16_0_2_load_38 | 49 | 0.00099352 | 0.000249 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4711-16_0_2_load_39 | 50 | 0.0030399 | 0.00076187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4711-16_0_2_load_41 | 51 | 0.0026295 | 0.00065902 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4711-16_0_2_load_42 | 52 | 0.0030629 | 0.00076764 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4711-16_0_2_load_43 | 53 | 0.0012739 | 0.00031926 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4711-16_0_2_load_44 | 54 | 0.0030158 | 0.00075584 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4711-16_0_2_load_45 | 55 | 0.0016012 | 0.00040129 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4711-16_0_2_load_77 | 56 | 0.0029373 | 0.00073617 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4711-16_0_2_load_49 | 57 | 0.0017386 | 0.00043574 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4711-16_0_2_load_48 | 58 | 0.0022666 | 0.00056807 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4711-16_0_2_load_50 | 59 | 0.0018631 | 0.00046693 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4711-16_0_2_load_51 | 60 | 0.0025421 | 0.0006371 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4711-16_0_2_load_52 | 61 | 0.002206 | 0.00055287 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4711-16_0_2_load_53 | 64 | 0.0018176 | 0.00045554 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4711-16_0_2_load_54 | 65 | 0.0026426 | 0.00066229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4711-16_0_2_load_55 | 66 | 0.0036033 | 0.00090308 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4711-16_0_2_load_56 | 67 | 0.0027559 | 0.0006907 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4711-16_0_2_load_64 | 68 | 0.0033881 | 0.00084913 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4711-16_0_2_load_72 | 69 | 0.0025477 | 0.00063851 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4711-16_0_2_load_71 | 71 | 0.0018724 | 0.00046927 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4711-16_0_2_load_58 | 72 | 0.002508 | 0.00062855 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4711-16_0_2_load_59 | 73 | 0.0033669 | 0.00084382 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4711-16_0_2_load_62 | 75 | 0.0019064 | 0.0004778 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4711-16_0_2_load_63 | 76 | 0.0019056 | 0.00047759 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4711-16_0_2_load_92 | 77 | 0.0034733 | 0.0008705 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4711-16_0_2_load_65 | 78 | 0.0019056 | 0.00047759 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4711-16_0_2_load_74 | 79 | 0.0019056 | 0.00047759 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4711-16_0_2_load_93 | 80 | 0.0027937 | 0.00070017 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4711-16_0_2_load_67 | 82 | 0.0019056 | 0.00047759 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4711-16_0_2_load_68 | 83 | 0.0030512 | 0.00076471 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4711-16_0_2_load_80 | 86 | 0.0019732 | 0.00049454 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4711-16_0_2_load_86 | 87 | 0.0012511 | 0.00031355 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4711-16_0_2_load_73 | 88 | 0.0043931 | 0.001101 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4711-16_0_2_load_94 | 89 | 0.0034502 | 0.00086471 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4711-16_0_2_load_83 | 90 | 0.0021731 | 0.00054463 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4711-16_0_2_load_84 | 91 | 0.0024047 | 0.00060267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4711-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4711-16_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4711-16_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.002454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4711-16_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4711-16_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0047552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4711-16_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.041484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4711-16_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.028094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4711-16_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.010282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4711-16_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0024669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4711-16_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.025819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4711-16_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.014177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4711-16_0_2_line_11 | NAYY 4x150 SE | 9 | 18 | 0.026971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4711-16_0_2_line_12 | NAYY 4x150 SE | 10 | 55 | 0.014677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4711-16_0_2_line_13 | NAYY 4x150 SE | 11 | 50 | 0.023242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4711-16_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0079507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4711-16_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.018543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4711-16_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.040384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4711-16_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.004643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4711-16_0_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.01498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4711-16_0_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.0081924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4711-16_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.031781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4711-16_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0055645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4711-16_0_2_line_22 | NAYY 4x150 SE | 20 | 23 | 0.0050793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4711-16_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.004765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4711-16_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.032447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4711-16_0_2_line_25 | NAYY 4x150 SE | 22 | 30 | 0.0062305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4711-16_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.024875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4711-16_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.077358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4711-16_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.010161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4711-16_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.063398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4711-16_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0088073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4711-16_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.015315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4711-16_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.005678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4711-16_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.076975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4711-16_0_2_line_34 | NAYY 4x150 SE | 33 | 45 | 0.01357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4711-16_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.019695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4711-16_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.022182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4711-16_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0040152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4711-16_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.012814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4711-16_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.029069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4711-16_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0025476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4711-16_0_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.015515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4711-16_0_2_line_42 | NAYY 4x150 SE | 39 | 42 | 0.007983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4711-16_0_2_line_43 | NAYY 4x150 SE | 40 | 43 | 0.019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4711-16_0_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0018821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4711-16_0_2_line_45 | NAYY 4x150 SE | 42 | 45 | 0.0084135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4711-16_0_2_line_46 | NAYY 4x150 SE | 42 | 46 | 0.017175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4711-16_0_2_line_47 | NAYY 4x150 SE | 44 | 58 | 1.9933e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4711-16_0_2_line_48 | NAYY 4x150 SE | 46 | 90 | 0.018755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4711-16_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.013221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4711-16_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.01851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4711-16_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.023352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4711-16_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.011819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4711-16_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.004494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4711-16_0_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0012552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4711-16_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0066378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4711-16_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0096337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4711-16_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0082813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4711-16_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4711-16_0_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.017854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4711-16_0_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.018385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4711-16_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.037416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4711-16_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.096345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4711-16_0_2_line_63 | NAYY 4x150 SE | 63 | 69 | 0.013138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4711-16_0_2_line_64 | NAYY 4x150 SE | 63 | 66 | 0.0034713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4711-16_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0089926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4711-16_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.019952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4711-16_0_2_line_67 | NAYY 4x150 SE | 65 | 67 | 0.011595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4711-16_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.018842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4711-16_0_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.00020055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4711-16_0_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.00086598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4711-16_0_2_line_71 | NAYY 4x150 SE | 70 | 77 | 0.025976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4711-16_0_2_line_72 | NAYY 4x150 SE | 70 | 73 | 0.012774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4711-16_0_2_line_73 | NAYY 4x150 SE | 71 | 88 | 0.019303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4711-16_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.00050862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4711-16_0_2_line_75 | NAYY 4x150 SE | 72 | 74 | 0.018329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4711-16_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4711-16_0_2_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0083193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4711-16_0_2_line_78 | NAYY 4x150 SE | 75 | 78 | 0.018219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4711-16_0_2_line_79 | NAYY 4x150 SE | 76 | 79 | 0.021108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4711-16_0_2_line_80 | NAYY 4x150 SE | 77 | 80 | 0.0042972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4711-16_0_2_line_81 | NAYY 4x150 SE | 78 | 81 | 0.029587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4711-16_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.017776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4711-16_0_2_line_83 | NAYY 4x150 SE | 81 | 83 | 0.015553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4711-16_0_2_line_84 | NAYY 4x150 SE | 82 | 84 | 0.027972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4711-16_0_2_line_85 | NAYY 4x150 SE | 83 | 85 | 0.014917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4711-16_0_2_line_86 | NAYY 4x150 SE | 84 | 86 | 0.010066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4711-16_0_2_line_87 | NAYY 4x150 SE | 85 | 87 | 0.014562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4711-16_0_2_line_88 | NAYY 4x150 SE | 86 | 89 | 0.01498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4711-16_0_2_line_89 | NAYY 4x150 SE | 87 | 91 | 0.004547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4711-16_0_2_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0014881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4711-16_0_2_trafo_47 | 0.25 MVA 20/0.4 kV | 92 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2722839.0692 | 1266045.1563 | 2722831.7439 | 1266040.2306 | 2722824.4409 | 1266033.5839 | 2722816.3129 | 1266026.44
1 | 2722853.2992 | 1266054.725 | 2722839.0692 | 1266045.1563
2 | 2722814.4697 | 1266024.8199 | 2722816.3129 | 1266026.44
3 | 2722853.2992 | 1266054.725 | 2722866.4139 | 1266064.3952 | 2722885.0503 | 1266079.2493
4 | 2722810.898 | 1266021.6806 | 2722814.4697 | 1266024.8199
5 | 2722810.898 | 1266021.6806 | 2722819.5391 | 1266023.0169 | 2722824.0912 | 1266023.2339 | 2722833.0141 | 1266022.9746 | 2722852.2618 | 1266022.4074
6 | 2722852.2618 | 1266022.4074 | 2722880.3526 | 1266022.0069
7 | 2722850.8392 | 1266012.2242 | 2722852.2618 | 1266022.4074
8 | 2722882.8192 | 1266021.9718 | 2722880.3526 | 1266022.0069
9 | 2722850.8392 | 1266012.2242 | 2722857.4744 | 1266006.0787 | 2722863.9021 | 1265995.4249 | 2722864.6427 | 1265991.1561
10 | 2722850.8392 | 1266012.2242 | 2722848.6148 | 1266008.3633 | 2722845.2532 | 1266004.5011 | 2722841.6221 | 1266001.6453
11 | 2722882.8192 | 1266021.9718 | 2722896.0337 | 1266021.7834 | 2722909.765 | 1266020.9788
12 | 2722864.6427 | 1265991.1561 | 2722867.1513 | 1265976.6952
13 | 2722841.6221 | 1266001.6453 | 2722823.3489 | 1265987.2829
14 | 2722964.4522 | 1266006.9964 | 2722956.8268 | 1266009.2473
15 | 2722982.2366 | 1266001.7468 | 2722964.4522 | 1266006.9964
16 | 2722917.8438 | 1266019.7168 | 2722923.1749 | 1266018.6671 | 2722937.1535 | 1266015.0545 | 2722956.8268 | 1266009.2473
17 | 2722982.2366 | 1266001.7468 | 2722981.4506 | 1265997.1708
18 | 2722982.2366 | 1266001.7468 | 2722996.6034 | 1265997.505
19 | 2722917.8438 | 1266019.7168 | 2722912.141 | 1266020.8396 | 2722909.765 | 1266020.9788
20 | 2722981.4506 | 1265997.1708 | 2722976.5943 | 1265968.8774 | 2722979.6316 | 1265968.4034
21 | 2723001.9401 | 1265995.9293 | 2722996.6034 | 1265997.505
22 | 2723001.9401 | 1265995.9293 | 2723006.8117 | 1265994.4915
23 | 2723001.9401 | 1265995.9293 | 2723000.2327 | 1265991.4786
24 | 2723000.2327 | 1265991.4786 | 2723031.2878 | 1265982.0774
25 | 2723037.251 | 1265980.2721 | 2723031.2878 | 1265982.0774
26 | 2722981.4347 | 1266051.6869 | 2722971.1074 | 1266052.2612 | 2722956.6756 | 1266053.9634
27 | 2723057.8438 | 1266043.4804 | 2723045.6062 | 1266048.1187 | 2722981.4347 | 1266051.6869
28 | 2722946.5844 | 1266055.1537 | 2722956.6756 | 1266053.9634
29 | 2723057.6649 | 1265992.0633 | 2723074.9726 | 1266029.6578 | 2723057.8438 | 1266043.4804
30 | 2723057.6649 | 1265992.0633 | 2723049.1732 | 1265994.3998
31 | 2723038.9533 | 1265985.6902 | 2723040.9457 | 1265992.0041 | 2723045.2587 | 1265992.4943 | 2723049.1732 | 1265994.3998
32 | 2723038.9533 | 1265985.6902 | 2723037.251 | 1265980.2721
33 | 2722983.5329 | 1265912.622 | 2722958.183 | 1265913.344 | 2722907.1866 | 1265905.3762
34 | 2722893.779 | 1265903.2814 | 2722907.1866 | 1265905.3762
35 | 2722827.3834 | 1265890.5884 | 2722846.7281 | 1265894.2877
36 | 2722827.3834 | 1265890.5884 | 2722816.7092 | 1265888.5472 | 2722805.7173 | 1265885.8657
37 | 2722846.7281 | 1265894.2877 | 2722850.6718 | 1265895.0418
38 | 2722793.2679 | 1265882.8285 | 2722805.7173 | 1265885.8657
39 | 2722879.2232 | 1265900.5016 | 2722850.6718 | 1265895.0418
40 | 2722793.2679 | 1265882.8285 | 2722790.7929 | 1265882.2247
41 | 2722879.2232 | 1265900.5016 | 2722874.9098 | 1265915.4045
42 | 2722879.2232 | 1265900.5016 | 2722887.0327 | 1265898.7401
43 | 2722790.7929 | 1265882.2247 | 2722772.1834 | 1265877.6848
44 | 2722874.3865 | 1265917.2124 | 2722874.9098 | 1265915.4045
45 | 2722887.0327 | 1265898.7401 | 2722891.5849 | 1265902.9386 | 2722893.779 | 1265903.2814
46 | 2722887.0327 | 1265898.7401 | 2722889.5609 | 1265893.0653 | 2722890.407 | 1265882.1354
47 | 2722874.3865 | 1265917.2124 | 2722874.381 | 1265917.2315
48 | 2722891.8545 | 1265863.4364 | 2722890.407 | 1265882.1354
49 | 2722794.5945 | 1265964.6824 | 2722804.9894 | 1265972.8527
50 | 2722794.5945 | 1265964.6824 | 2722780.0418 | 1265953.2442
51 | 2722823.3489 | 1265987.2829 | 2722804.9894 | 1265972.8527
52 | 2722869.0541 | 1265965.7272 | 2722869.0541 | 1265965.7272 | 2722868.8662 | 1265953.9102
53 | 2722869.0541 | 1265965.7272 | 2722868.2859 | 1265970.155
54 | 2722868.8662 | 1265953.9102 | 2722868.8462 | 1265952.6551
55 | 2722868.2859 | 1265970.155 | 2722867.1513 | 1265976.6952
56 | 2722868.8462 | 1265952.6551 | 2722868.6931 | 1265943.0227
57 | 2722868.6931 | 1265943.0227 | 2722868.6005 | 1265937.203 | 2722869.2847 | 1265934.8391
58 | 2722874.381 | 1265917.2315 | 2722869.2847 | 1265934.8391
59 | 2722822.0788 | 1265769.7889 | 2722804.3489 | 1265767.6912
60 | 2722804.3489 | 1265767.6912 | 2722786.0912 | 1265765.5312
61 | 2722748.9346 | 1265761.1351 | 2722786.0912 | 1265765.5312
62 | 2722768.8589 | 1265821.904 | 2722730.4152 | 1265815.4221 | 2722748.9346 | 1265761.1351
63 | 2722768.8589 | 1265821.904 | 2722770.9705 | 1265808.9364
64 | 2722768.8589 | 1265821.904 | 2722772.2819 | 1265822.4809
65 | 2722791.9568 | 1265825.7968 | 2722800.8243 | 1265827.2912
66 | 2722791.9568 | 1265825.7968 | 2722772.2819 | 1265822.4809
67 | 2722800.8243 | 1265827.2912 | 2722812.2576 | 1265829.2181
68 | 2722812.2576 | 1265829.2181 | 2722830.8376 | 1265832.3495
69 | 2722831.0353 | 1265832.3828 | 2722830.8376 | 1265832.3495
70 | 2722770.9705 | 1265808.9364 | 2722771.1097 | 1265808.0817
71 | 2722831.0353 | 1265832.3828 | 2722856.65 | 1265836.6996
72 | 2722831.0353 | 1265832.3828 | 2722832.9233 | 1265819.7493
73 | 2722774.2121 | 1265789.0298 | 2722771.1097 | 1265808.0817
74 | 2722832.9233 | 1265819.7493 | 2722832.9985 | 1265819.2462
75 | 2722835.7076 | 1265801.1182 | 2722832.9985 | 1265819.2462
76 | 2722835.7076 | 1265801.1182 | 2722848.3548 | 1265802.381
77 | 2722835.7076 | 1265801.1182 | 2722827.4787 | 1265799.8947
78 | 2722866.484 | 1265804.191 | 2722848.3548 | 1265802.381
79 | 2722827.4787 | 1265799.8947 | 2722806.5998 | 1265796.7904
80 | 2722856.65 | 1265836.6996 | 2722860.8874 | 1265837.4138
81 | 2722892.8789 | 1265813.2396 | 2722886.3601 | 1265806.1755 | 2722866.484 | 1265804.191
82 | 2722892.8789 | 1265813.2396 | 2722893.8603 | 1265795.4911
83 | 2722892.8789 | 1265813.2396 | 2722894.8602 | 1265815.3939 | 2722894.2111 | 1265828.0036
84 | 2722895.411 | 1265767.562 | 2722894.7628 | 1265779.1701 | 2722893.8603 | 1265795.4911
85 | 2722893.4442 | 1265842.9005 | 2722894.2111 | 1265828.0036
86 | 2722895.411 | 1265767.562 | 2722885.351 | 1265767.9069
87 | 2722893.4442 | 1265842.9005 | 2722892.3203 | 1265857.4193
88 | 2722870.3795 | 1265768.4202 | 2722885.351 | 1265767.9069
89 | 2722891.9694 | 1265861.9527 | 2722892.3203 | 1265857.4193
90 | 2722891.8545 | 1265863.4364 | 2722891.9694 | 1265861.9527

## bus_geodata
| x | y | coords
0 | 2722839.0692 | 1266045.1563
1 | 2722816.3129 | 1266026.44
2 | 2722853.2992 | 1266054.725
3 | 2722814.4697 | 1266024.8199
4 | 2722885.0503 | 1266079.2493
5 | 2722810.898 | 1266021.6806
6 | 2722852.2618 | 1266022.4074
7 | 2722880.3526 | 1266022.0069
8 | 2722850.8392 | 1266012.2242
9 | 2722882.8192 | 1266021.9718
10 | 2722864.6427 | 1265991.1561
11 | 2722841.6221 | 1266001.6453
12 | 2722964.4522 | 1266006.9964
13 | 2722956.8268 | 1266009.2473
14 | 2722982.2366 | 1266001.7468
15 | 2722917.8438 | 1266019.7168
16 | 2722981.4506 | 1265997.1708
17 | 2722996.6034 | 1265997.505
18 | 2722909.765 | 1266020.9788
19 | 2722979.6316 | 1265968.4034
20 | 2723001.9401 | 1265995.9293
21 | 2723000.2327 | 1265991.4786
22 | 2723031.2878 | 1265982.0774
23 | 2723006.8117 | 1265994.4915
24 | 2722981.4347 | 1266051.6869
25 | 2722956.6756 | 1266053.9634
26 | 2723057.8438 | 1266043.4804
27 | 2722946.5844 | 1266055.1537
28 | 2723057.6649 | 1265992.0633
29 | 2723049.1732 | 1265994.3998
30 | 2723037.251 | 1265980.2721
31 | 2723038.9533 | 1265985.6902
32 | 2722983.5329 | 1265912.622
33 | 2722907.1866 | 1265905.3762
34 | 2722827.3834 | 1265890.5884
35 | 2722846.7281 | 1265894.2877
36 | 2722805.7173 | 1265885.8657
37 | 2722850.6718 | 1265895.0418
38 | 2722793.2679 | 1265882.8285
39 | 2722879.2232 | 1265900.5016
40 | 2722790.7929 | 1265882.2247
41 | 2722874.9098 | 1265915.4045
42 | 2722887.0327 | 1265898.7401
43 | 2722772.1834 | 1265877.6848
44 | 2722874.3865 | 1265917.2124
45 | 2722893.779 | 1265903.2814
46 | 2722890.407 | 1265882.1354
47 | 2722794.5945 | 1265964.6824
48 | 2722804.9894 | 1265972.8527
49 | 2722780.0418 | 1265953.2442
50 | 2722823.3489 | 1265987.2829
51 | 2722869.0541 | 1265965.7272
52 | 2722868.8662 | 1265953.9102
53 | 2722868.2859 | 1265970.155
54 | 2722868.8462 | 1265952.6551
55 | 2722867.1513 | 1265976.6952
56 | 2722868.6931 | 1265943.0227
57 | 2722869.2847 | 1265934.8391
58 | 2722874.381 | 1265917.2315
59 | 2722822.0788 | 1265769.7889
60 | 2722804.3489 | 1265767.6912
61 | 2722786.0912 | 1265765.5312
62 | 2722748.9346 | 1265761.1351
63 | 2722768.8589 | 1265821.904
64 | 2722791.9568 | 1265825.7968
65 | 2722800.8243 | 1265827.2912
66 | 2722772.2819 | 1265822.4809
67 | 2722812.2576 | 1265829.2181
68 | 2722830.8376 | 1265832.3495
69 | 2722770.9705 | 1265808.9364
70 | 2722831.0353 | 1265832.3828
71 | 2722771.1097 | 1265808.0817
72 | 2722832.9985 | 1265819.2462
73 | 2722832.9233 | 1265819.7493
74 | 2722835.7076 | 1265801.1182
75 | 2722848.3548 | 1265802.381
76 | 2722827.4787 | 1265799.8947
77 | 2722856.65 | 1265836.6996
78 | 2722866.484 | 1265804.191
79 | 2722806.5998 | 1265796.7904
80 | 2722860.8874 | 1265837.4138
81 | 2722892.8789 | 1265813.2396
82 | 2722893.8603 | 1265795.4911
83 | 2722894.2111 | 1265828.0036
84 | 2722895.411 | 1265767.562
85 | 2722893.4442 | 1265842.9005
86 | 2722885.351 | 1265767.9069
87 | 2722892.3203 | 1265857.4193
88 | 2722774.2121 | 1265789.0298
89 | 2722870.3795 | 1265768.4202
90 | 2722891.8545 | 1265863.4364
91 | 2722891.9694 | 1265861.9527
92 | 2722879.2232 | 1265900.5016

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1