## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4711-3_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_4711-3_1_2_node_91 | 0.4 | n |  | TRUE
2 | bus_LV_4711-3_1_2_node_76 | 0.4 | n |  | TRUE
3 | bus_LV_4711-3_1_2_node_90 | 0.4 | n |  | TRUE
4 | bus_LV_4711-3_1_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4711-3_1_2_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_4711-3_1_2_node_146 | 0.4 | n |  | TRUE
7 | bus_LV_4711-3_1_2_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_4711-3_1_2_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_4711-3_1_2_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_4711-3_1_2_node_156 | 0.4 | n |  | TRUE
11 | bus_LV_4711-3_1_2_node_147 | 0.4 | n |  | TRUE
12 | bus_LV_4711-3_1_2_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_4711-3_1_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_4711-3_1_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4711-3_1_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_4711-3_1_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_4711-3_1_2_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_4711-3_1_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_4711-3_1_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_4711-3_1_2_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_4711-3_1_2_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_4711-3_1_2_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_4711-3_1_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_4711-3_1_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4711-3_1_2_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_4711-3_1_2_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_4711-3_1_2_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_4711-3_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_4711-3_1_2_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4711-3_1_2_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_4711-3_1_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4711-3_1_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_4711-3_1_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4711-3_1_2_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_4711-3_1_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_4711-3_1_2_node_150 | 0.4 | n |  | TRUE
37 | bus_LV_4711-3_1_2_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_4711-3_1_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4711-3_1_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4711-3_1_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4711-3_1_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4711-3_1_2_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_4711-3_1_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4711-3_1_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4711-3_1_2_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_4711-3_1_2_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_4711-3_1_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4711-3_1_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4711-3_1_2_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_4711-3_1_2_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_4711-3_1_2_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_4711-3_1_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4711-3_1_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_4711-3_1_2_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_4711-3_1_2_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_4711-3_1_2_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_4711-3_1_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_4711-3_1_2_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_4711-3_1_2_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4711-3_1_2_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_4711-3_1_2_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4711-3_1_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4711-3_1_2_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4711-3_1_2_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_4711-3_1_2_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4711-3_1_2_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_4711-3_1_2_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_4711-3_1_2_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4711-3_1_2_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_4711-3_1_2_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4711-3_1_2_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_4711-3_1_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4711-3_1_2_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_4711-3_1_2_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_4711-3_1_2_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_4711-3_1_2_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_4711-3_1_2_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_4711-3_1_2_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_4711-3_1_2_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4711-3_1_2_node_149 | 0.4 | n |  | TRUE
81 | bus_LV_4711-3_1_2_node_141 | 0.4 | n |  | TRUE
82 | bus_LV_4711-3_1_2_node_142 | 0.4 | n |  | TRUE
83 | bus_LV_4711-3_1_2_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4711-3_1_2_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_4711-3_1_2_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4711-3_1_2_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4711-3_1_2_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_4711-3_1_2_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4711-3_1_2_node_115 | 0.4 | n |  | TRUE
90 | bus_LV_4711-3_1_2_node_148 | 0.4 | n |  | TRUE
91 | bus_LV_4711-3_1_2_node_151 | 0.4 | n |  | TRUE
92 | bus_LV_4711-3_1_2_node_152 | 0.4 | n |  | TRUE
93 | bus_LV_4711-3_1_2_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_4711-3_1_2_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4711-3_1_2_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_4711-3_1_2_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4711-3_1_2_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4711-3_1_2_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4711-3_1_2_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_4711-3_1_2_node_143 | 0.4 | n |  | TRUE
101 | bus_LV_4711-3_1_2_node_144 | 0.4 | n |  | TRUE
102 | bus_LV_4711-3_1_2_node_145 | 0.4 | n |  | TRUE
103 | bus_MV_440_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4711-3_1_2_load_91 | 1 | 0.0026277 | 0.00065856 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4711-3_1_2_load_90 | 3 | 0.0026197 | 0.00065656 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4711-3_1_2_load_146 | 6 | 0.0016216 | 0.0004064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4711-3_1_2_load_77 | 7 | 0.030368 | 0.007611 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4711-3_1_2_load_74 | 8 | 0.0017863 | 0.00044769 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4711-3_1_2_load_55 | 9 | 0.0034399 | 0.00086211 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4711-3_1_2_load_156 | 10 | 0.0011559 | 0.00028971 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4711-3_1_2_load_147 | 11 | 0.00043574 | 0.00010921 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4711-3_1_2_load_96 | 12 | 0.00039974 | 0.00010018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4711-3_1_2_load_19 | 14 | 0.0017901 | 0.00044863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4711-3_1_2_load_20 | 15 | 0.0020038 | 0.00050221 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4711-3_1_2_load_22 | 17 | 0.00030419 | 7.6238e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4711-3_1_2_load_24 | 19 | 0.0037997 | 0.00095229 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4711-3_1_2_load_39 | 20 | 0.0032923 | 0.00082512 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4711-3_1_2_load_56 | 21 | 0.0015232 | 0.00038175 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4711-3_1_2_load_52 | 22 | 0.0017292 | 0.00043338 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4711-3_1_2_load_26 | 23 | 0.0015736 | 0.00039439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4711-3_1_2_load_75 | 26 | 0.0025384 | 0.00063617 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4711-3_1_2_load_78 | 28 | 0.00325 | 0.00081453 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4711-3_1_2_load_54 | 29 | 0.00020714 | 5.1914e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4711-3_1_2_load_103 | 30 | 0.0014449 | 0.00036213 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4711-3_1_2_load_84 | 34 | 0.0051398 | 0.0012881 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4711-3_1_2_load_150 | 36 | 0.007158 | 0.001794 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4711-3_1_2_load_154 | 37 | 0.0040714 | 0.0010204 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4711-3_1_2_load_31 | 38 | 0.0023516 | 0.00058937 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4711-3_1_2_load_28 | 39 | 0.0010831 | 0.00027144 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4711-3_1_2_load_66 | 42 | 0.0019422 | 0.00048677 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4711-3_1_2_load_94 | 45 | 0.0027975 | 0.00070113 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4711-3_1_2_load_98 | 46 | 0.00038628 | 9.6811e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4711-3_1_2_load_63 | 49 | 0.0007035 | 0.00017631 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4711-3_1_2_load_102 | 50 | 0.0010483 | 0.00026273 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4711-3_1_2_load_100 | 51 | 0.00035181 | 8.8171e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4711-3_1_2_load_49 | 52 | 0.0026772 | 0.00067096 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4711-3_1_2_load_65 | 53 | 0.0016598 | 0.00041598 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4711-3_1_2_load_93 | 55 | 0.0020094 | 0.0005036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4711-3_1_2_load_99 | 56 | 0.0016032 | 0.0004018 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4711-3_1_2_load_62 | 57 | 0.00010662 | 2.6722e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4711-3_1_2_load_101 | 58 | 9.226e-05 | 2.3123e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4711-3_1_2_load_40 | 59 | 0.00098281 | 0.00024632 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4711-3_1_2_load_41 | 60 | 0.001389 | 0.00034812 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4711-3_1_2_load_42 | 61 | 0.0013812 | 0.00034615 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4711-3_1_2_load_43 | 62 | 0.0013068 | 0.00032751 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4711-3_1_2_load_44 | 63 | 0.0013587 | 0.00034052 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4711-3_1_2_load_80 | 64 | 0.00041041 | 0.00010286 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4711-3_1_2_load_46 | 65 | 0.0013236 | 0.00033173 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4711-3_1_2_load_81 | 66 | 0.0019875 | 0.00049811 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4711-3_1_2_load_45 | 67 | 0.0020658 | 0.00051773 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4711-3_1_2_load_64 | 70 | 0.00044309 | 0.00011105 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4711-3_1_2_load_114 | 71 | 0.0010002 | 0.00025067 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4711-3_1_2_load_85 | 73 | 0.0014033 | 0.00035169 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4711-3_1_2_load_86 | 74 | 0.00034071 | 8.539e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4711-3_1_2_load_57 | 75 | 0.0019775 | 0.00049561 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4711-3_1_2_load_58 | 76 | 0.0043181 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4711-3_1_2_load_59 | 77 | 0.0016023 | 0.00040158 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4711-3_1_2_load_60 | 78 | 0.0028551 | 0.00071555 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4711-3_1_2_load_61 | 79 | 0.0017514 | 0.00043894 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4711-3_1_2_load_149 | 80 | 0.0015224 | 0.00038155 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4711-3_1_2_load_141 | 81 | 0.0012075 | 0.00030262 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4711-3_1_2_load_142 | 82 | 0.0023364 | 0.00058556 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4711-3_1_2_load_67 | 83 | 0.0017416 | 0.00043647 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4711-3_1_2_load_68 | 84 | 0.0015555 | 0.00038985 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4711-3_1_2_load_70 | 85 | 0.0005009 | 0.00012554 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4711-3_1_2_load_69 | 86 | 0.000442 | 0.00011077 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4711-3_1_2_load_115 | 89 | 0.0013257 | 0.00033225 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4711-3_1_2_load_151 | 91 | 0.00055261 | 0.0001385 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4711-3_1_2_load_83 | 93 | 0.0050389 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4711-3_1_2_load_87 | 94 | 0.0062682 | 0.001571 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4711-3_1_2_load_82 | 95 | 0.00034997 | 8.771e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4711-3_1_2_load_88 | 96 | 0.0052571 | 0.0013176 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4711-3_1_2_load_89 | 97 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4711-3_1_2_load_92 | 98 | 0.00047969 | 0.00012022 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4711-3_1_2_load_153 | 99 | 0.0012904 | 0.00032341 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4711-3_1_2_load_143 | 100 | 0.0021607 | 0.00054152 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4711-3_1_2_load_144 | 101 | 0.00037564 | 9.4144e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4711-3_1_2_load_145 | 102 | 0.0012751 | 0.00031958 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4711-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4711-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.004302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4711-3_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.016854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4711-3_1_2_line_3 | NAYY 4x150 SE | 1 | 9 | 0.037324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4711-3_1_2_line_4 | NAYY 4x150 SE | 2 | 7 | 0.022481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4711-3_1_2_line_5 | NAYY 4x150 SE | 2 | 8 | 0.014209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4711-3_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.50598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4711-3_1_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.048634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4711-3_1_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.03365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4711-3_1_2_line_9 | NAYY 4x150 SE | 6 | 11 | 0.029184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4711-3_1_2_line_10 | NAYY 4x150 SE | 9 | 25 | 0.017849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4711-3_1_2_line_11 | NAYY 4x150 SE | 11 | 90 | 0.056723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4711-3_1_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.18543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4711-3_1_2_line_13 | NAYY 4x150 SE | 13 | 33 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4711-3_1_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.00047396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4711-3_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.014309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4711-3_1_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.014586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4711-3_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.004794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4711-3_1_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.036533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4711-3_1_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.0022681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4711-3_1_2_line_20 | NAYY 4x150 SE | 18 | 21 | 0.010096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4711-3_1_2_line_21 | NAYY 4x150 SE | 18 | 22 | 0.015605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4711-3_1_2_line_22 | NAYY 4x150 SE | 19 | 23 | 0.027063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_4711-3_1_2_line_23 | NAYY 4x150 SE | 21 | 28 | 0.043447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4711-3_1_2_line_24 | NAYY 4x150 SE | 22 | 25 | 0.014874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4711-3_1_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.004935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4711-3_1_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.02995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4711-3_1_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.01032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4711-3_1_2_line_28 | NAYY 4x150 SE | 25 | 29 | 0.03757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4711-3_1_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.038393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4711-3_1_2_line_30 | NAYY 4x150 SE | 28 | 54 | 0.050138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4711-3_1_2_line_31 | NAYY 4x150 SE | 29 | 73 | 0.017087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4711-3_1_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.004118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4711-3_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.027117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4711-3_1_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.017939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4711-3_1_2_line_35 | NAYY 4x150 SE | 33 | 38 | 0.017964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4711-3_1_2_line_36 | NAYY 4x150 SE | 33 | 39 | 0.028829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4711-3_1_2_line_37 | NAYY 4x150 SE | 34 | 54 | 0.027963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4711-3_1_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.011857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4711-3_1_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.045235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4711-3_1_2_line_40 | NAYY 4x150 SE | 36 | 80 | 0.0085533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4711-3_1_2_line_41 | NAYY 4x150 SE | 37 | 99 | 0.02192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4711-3_1_2_line_42 | NAYY 4x150 SE | 38 | 42 | 0.027783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_4711-3_1_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.019074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4711-3_1_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.040847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4711-3_1_2_line_45 | NAYY 4x150 SE | 41 | 52 | 0.015826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4711-3_1_2_line_46 | NAYY 4x150 SE | 41 | 47 | 0.005534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4711-3_1_2_line_47 | NAYY 4x150 SE | 42 | 53 | 0.022453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4711-3_1_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.017199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4711-3_1_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.057581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4711-3_1_2_line_50 | NAYY 4x150 SE | 43 | 46 | 0.094338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4711-3_1_2_line_51 | NAYY 4x150 SE | 44 | 50 | 0.01224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4711-3_1_2_line_52 | NAYY 4x150 SE | 45 | 55 | 0.044053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4711-3_1_2_line_53 | NAYY 4x150 SE | 46 | 56 | 0.057128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4711-3_1_2_line_54 | NAYY 4x150 SE | 47 | 48 | 0.066032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4711-3_1_2_line_55 | NAYY 4x150 SE | 47 | 49 | 0.024853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4711-3_1_2_line_56 | NAYY 4x150 SE | 48 | 51 | 0.0063391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4711-3_1_2_line_57 | NAYY 4x150 SE | 49 | 57 | 0.017536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4711-3_1_2_line_58 | NAYY 4x150 SE | 50 | 58 | 0.0098353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4711-3_1_2_line_59 | NAYY 4x150 SE | 51 | 58 | 0.012221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4711-3_1_2_line_60 | NAYY 4x150 SE | 53 | 83 | 0.022108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_4711-3_1_2_line_61 | NAYY 4x150 SE | 54 | 93 | 0.049449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4711-3_1_2_line_62 | NAYY 4x150 SE | 55 | 98 | 0.029953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4711-3_1_2_line_63 | NAYY 4x150 SE | 57 | 69 | 0.0029339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4711-3_1_2_line_64 | NAYY 4x150 SE | 59 | 60 | 0.015898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4711-3_1_2_line_65 | NAYY 4x150 SE | 59 | 61 | 0.0071368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4711-3_1_2_line_66 | NAYY 4x150 SE | 60 | 62 | 0.0063033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4711-3_1_2_line_67 | NAYY 4x150 SE | 61 | 63 | 0.054148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4711-3_1_2_line_68 | NAYY 4x150 SE | 62 | 64 | 0.017091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4711-3_1_2_line_69 | NAYY 4x150 SE | 63 | 65 | 0.019289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4711-3_1_2_line_70 | NAYY 4x150 SE | 64 | 66 | 0.0069512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4711-3_1_2_line_71 | NAYY 4x150 SE | 65 | 67 | 0.018038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4711-3_1_2_line_72 | NAYY 4x150 SE | 66 | 95 | 0.02091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4711-3_1_2_line_73 | NAYY 4x150 SE | 67 | 68 | 0.012339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4711-3_1_2_line_74 | NAYY 4x150 SE | 68 | 69 | 0.004043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4711-3_1_2_line_75 | NAYY 4x150 SE | 69 | 70 | 0.025265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4711-3_1_2_line_76 | NAYY 4x150 SE | 71 | 72 | 0.048197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4711-3_1_2_line_77 | NAYY 4x150 SE | 72 | 89 | 0.083618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4711-3_1_2_line_78 | NAYY 4x150 SE | 72 | 87 | 0.30108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4711-3_1_2_line_79 | NAYY 4x150 SE | 73 | 74 | 0.023686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4711-3_1_2_line_80 | NAYY 4x150 SE | 75 | 76 | 0.022216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4711-3_1_2_line_81 | NAYY 4x150 SE | 75 | 77 | 0.010687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_4711-3_1_2_line_82 | NAYY 4x150 SE | 76 | 78 | 0.0033138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4711-3_1_2_line_83 | NAYY 4x150 SE | 77 | 79 | 0.021285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4711-3_1_2_line_84 | NAYY 4x150 SE | 78 | 80 | 0.022098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_4711-3_1_2_line_85 | NAYY 4x150 SE | 79 | 81 | 0.00056324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4711-3_1_2_line_86 | NAYY 4x150 SE | 81 | 82 | 0.022452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4711-3_1_2_line_87 | NAYY 4x150 SE | 82 | 100 | 0.0035298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4711-3_1_2_line_88 | NAYY 4x150 SE | 83 | 84 | 0.021187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_4711-3_1_2_line_89 | NAYY 4x150 SE | 84 | 85 | 0.024887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_4711-3_1_2_line_90 | NAYY 4x150 SE | 85 | 86 | 0.023303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_4711-3_1_2_line_91 | NAYY 4x150 SE | 86 | 87 | 0.0054122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4711-3_1_2_line_92 | NAYY 4x150 SE | 87 | 88 | 0.020137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_4711-3_1_2_line_93 | NAYY 4x150 SE | 88 | 90 | 0.010144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4711-3_1_2_line_94 | NAYY 4x150 SE | 88 | 91 | 0.0074138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_4711-3_1_2_line_95 | NAYY 4x150 SE | 91 | 92 | 0.02142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
96 | LV_4711-3_1_2_line_96 | NAYY 4x150 SE | 92 | 99 | 0.014821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
97 | LV_4711-3_1_2_line_97 | NAYY 4x150 SE | 92 | 102 | 0.029731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4711-3_1_2_line_98 | NAYY 4x150 SE | 93 | 94 | 0.0086941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4711-3_1_2_line_99 | NAYY 4x150 SE | 94 | 96 | 0.0070719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4711-3_1_2_line_100 | NAYY 4x150 SE | 96 | 97 | 0.0046944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4711-3_1_2_line_101 | NAYY 4x150 SE | 101 | 102 | 0.0034502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4711-3_1_2_trafo_26 | 0.25 MVA 20/0.4 kV | 103 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2719736.5502 | 1265519.1818 | 2719719.3494 | 1265545.0678 | 2719718.2736 | 1265546.9239
1 | 2719736.5502 | 1265519.1818 | 2719733.2393 | 1265516.4234
2 | 2719736.5502 | 1265519.1818 | 2719750.6334 | 1265528.4398
3 | 2719718.2736 | 1265546.9239 | 2719699.8681 | 1265578.6812 | 2719699.5614 | 1265579.2187
4 | 2719733.2393 | 1265516.4234 | 2719719.9952 | 1265505.4009 | 2719722.8201 | 1265500.9753
5 | 2719733.2393 | 1265516.4234 | 2719725.2049 | 1265528.1424
6 | 2719058.2387 | 1265478.7799 | 2719075.1431 | 1265431.5893 | 2719132.6551 | 1265449.3416 | 2719510.8844 | 1265565.5015
7 | 2719510.8844 | 1265565.5015 | 2719500.9042 | 1265595.2931 | 2719495.4475 | 1265611.621
8 | 2719058.2387 | 1265478.7799 | 2719049.6602 | 1265475.76 | 2719038.708 | 1265472.7924 | 2719025.5688 | 1265470.7037
9 | 2719495.4475 | 1265611.621 | 2719486.1972 | 1265639.2998
10 | 2719690.7155 | 1265594.7213 | 2719699.5614 | 1265579.2187
11 | 2719468.2179 | 1265693.0978 | 2719486.1972 | 1265639.2998
12 | 2719630.4552 | 1265787.174 | 2719666.7208 | 1265783.0821 | 2719699.5156 | 1265772.9814 | 2719725.5617 | 1265755.8379 | 2719739.2475 | 1265743.1815 | 2719771.2233 | 1265686.8195
13 | 2719619.4923 | 1265787.7526 | 2719624.0051 | 1265787.6883 | 2719630.4552 | 1265787.174
14 | 2719657.906 | 1265612.828 | 2719658.3373 | 1265613.0246
15 | 2719671.3566 | 1265618.9622 | 2719658.3373 | 1265613.0246
16 | 2719657.906 | 1265612.828 | 2719644.6351 | 1265606.7756
17 | 2719675.6121 | 1265621.1948 | 2719671.3566 | 1265618.9622
18 | 2719671.3566 | 1265618.9622 | 2719668.9815 | 1265623.1735 | 2719661.4907 | 1265637.5014 | 2719654.8058 | 1265651.5193
19 | 2719642.5716 | 1265605.8345 | 2719644.6351 | 1265606.7756
20 | 2719675.6121 | 1265621.1948 | 2719672.5744 | 1265626.5159 | 2719670.81 | 1265630.0712
21 | 2719675.6121 | 1265621.1948 | 2719683.3447 | 1265607.6409
22 | 2719643.4579 | 1265676.0844 | 2719643.7001 | 1265675.4308 | 2719650.2185 | 1265661.1388 | 2719654.8058 | 1265651.5193
23 | 2719670.81 | 1265630.0712 | 2719652.943 | 1265666.0762 | 2719651.6634 | 1265669.067
24 | 2719690.7155 | 1265594.7213 | 2719683.3447 | 1265607.6409
25 | 2719686.4738 | 1265592.1776 | 2719690.7155 | 1265594.7213
26 | 2719686.4738 | 1265592.1776 | 2719688.7236 | 1265588.1974 | 2719701.5545 | 1265566.3021
27 | 2719686.4738 | 1265592.1776 | 2719677.0708 | 1265587.8612
28 | 2719690.7155 | 1265594.7213 | 2719724.8187 | 1265610.4842
29 | 2719677.0708 | 1265587.8612 | 2719679.192 | 1265578.34 | 2719653.1501 | 1265566.4244
30 | 2719634.4556 | 1265716.1024 | 2719638.6428 | 1265701.9967 | 2719644.839 | 1265685.018 | 2719651.6634 | 1265669.067
31 | 2719724.8187 | 1265610.4842 | 2719740.3291 | 1265617.6533
32 | 2719625.6205 | 1265761.1083 | 2719621.5084 | 1265760.7248
33 | 2719621.5084 | 1265760.7248 | 2719620.5496 | 1265768.6458 | 2719619.6892 | 1265782.8634 | 2719619.4923 | 1265787.7526
34 | 2719625.6205 | 1265761.1083 | 2719627.8091 | 1265746.0169 | 2719628.3334 | 1265743.3788
35 | 2719619.4923 | 1265787.7526 | 2719614.7196 | 1265786.8886 | 2719602.9777 | 1265781.0494
36 | 2719619.4923 | 1265787.7526 | 2719619.4298 | 1265793.8124 | 2719619.9727 | 1265808.6589 | 2719620.6449 | 1265816.5429
37 | 2719634.4556 | 1265716.1024 | 2719630.9457 | 1265730.2329 | 2719628.3334 | 1265743.3788
38 | 2719577.3029 | 1265739.5782 | 2719578.0035 | 1265734.3655 | 2719579.4408 | 1265727.9261
39 | 2719577.3029 | 1265739.5782 | 2719573.0541 | 1265739.2475 | 2719569.6577 | 1265738.1111 | 2719536.4265 | 1265720.9702
40 | 2719580.3677 | 1265719.5222 | 2719580.6624 | 1265722.453 | 2719579.4408 | 1265727.9261
41 | 2719536.4265 | 1265720.9702 | 2719516.9454 | 1265710.9217
42 | 2719578.1007 | 1265768.6781 | 2719602.9777 | 1265781.0494
43 | 2719622.5921 | 1265835.5137 | 2719621.555 | 1265827.2186 | 2719620.6449 | 1265816.5429
44 | 2719615.1578 | 1265871.9848 | 2719616.9713 | 1265871.3209 | 2719619.7812 | 1265869.4317 | 2719622.1314 | 1265867.1883 | 2719623.7027 | 1265864.3509 | 2719624.7648 | 1265858.7674 | 2719624.3032 | 1265849.205 | 2719622.5921 | 1265835.5137
45 | 2719615.1578 | 1265871.9848 | 2719612.9649 | 1265872.7856 | 2719605.4846 | 1265875.4589 | 2719600.6571 | 1265878.1925
46 | 2719616.9724 | 1265877.2151 | 2719615.1578 | 1265871.9848
47 | 2719557.9967 | 1265758.6804 | 2719578.1007 | 1265768.6781
48 | 2719678.2835 | 1265971.0958 | 2719669.9118 | 1265956.0572
49 | 2719678.2835 | 1265971.0958 | 2719672.8548 | 1265973.6215 | 2719671.1163 | 1265982.105 | 2719671.356 | 1266004.4743 | 2719673.9039 | 1266024.8787
50 | 2719678.2835 | 1265971.0958 | 2719689.1395 | 1265969.4585 | 2719729.6247 | 1265959.6474 | 2719770.8357 | 1265953.2645
51 | 2719669.9118 | 1265956.0572 | 2719659.36 | 1265955.6878 | 2719658.5656 | 1265954.2053
52 | 2719676.0791 | 1266068.7383 | 2719676.8121 | 1266048.1684 | 2719673.9039 | 1266024.8787
53 | 2719770.8357 | 1265953.2645 | 2719771.7833 | 1265953.1177 | 2719796.0849 | 1265949.1733 | 2719823.8747 | 1265944.0653 | 2719827.1149 | 1265944.6615
54 | 2719616.9724 | 1265877.2151 | 2719619.5539 | 1265882.5166 | 2719624.3233 | 1265883.1692 | 2719628.3647 | 1265884.0629 | 2719632.6125 | 1265887.0404 | 2719636.0027 | 1265891.4574 | 2719650.959 | 1265929.0828
55 | 2719616.9724 | 1265877.2151 | 2719608.7744 | 1265879.2511 | 2719596.4389 | 1265885.5071 | 2719594.3462 | 1265887.0066
56 | 2719650.959 | 1265929.0828 | 2719648.1476 | 1265934.7643 | 2719648.1476 | 1265934.7643
57 | 2719580.0919 | 1265897.2203 | 2719594.3462 | 1265887.0066
58 | 2719658.5656 | 1265954.2053 | 2719653.9201 | 1265945.5362
59 | 2719648.1476 | 1265934.7643 | 2719653.9201 | 1265945.5362
60 | 2719557.9967 | 1265758.6804 | 2719538.2018 | 1265748.8363
61 | 2719634.4556 | 1265716.1024 | 2719669.5646 | 1265728.9689 | 2719672.4495 | 1265728.9607 | 2719674.5232 | 1265727.7237 | 2719677.3315 | 1265721.5781
62 | 2719675.0125 | 1266098.6726 | 2719676.0791 | 1266068.7383
63 | 2719577.7071 | 1265898.9291 | 2719580.0919 | 1265897.2203
64 | 2719526.7061 | 1265798.9632 | 2719540.7566 | 1265806.4014
65 | 2719547.0641 | 1265809.7405 | 2719540.7566 | 1265806.4014
66 | 2719521.1353 | 1265796.014 | 2719526.7061 | 1265798.9632
67 | 2719547.0641 | 1265809.7405 | 2719570.4574 | 1265822.1248 | 2719575.3572 | 1265830.4758 | 2719577.1231 | 1265838.8635 | 2719576.4793 | 1265844.6223 | 2719575.1877 | 1265848.0148
68 | 2719521.1353 | 1265796.014 | 2719506.0306 | 1265788.0177
69 | 2719569.5015 | 1265866.3218 | 2719569.9248 | 1265862.5725 | 2719571.5108 | 1265856.7771 | 2719573.4962 | 1265852.4578 | 2719575.1877 | 1265848.0148
70 | 2719506.0306 | 1265788.0177 | 2719499.8872 | 1265784.7654
71 | 2719569.5015 | 1265866.3218 | 2719568.9979 | 1265870.7833 | 2719569.6734 | 1265879.8273 | 2719570.8685 | 1265884.1438
72 | 2719481.4068 | 1265774.9821 | 2719499.8872 | 1265784.7654
73 | 2719575.7528 | 1265895.3864 | 2719572.2 | 1265888.9532 | 2719570.8685 | 1265884.1438
74 | 2719577.7071 | 1265898.9291 | 2719575.7528 | 1265895.3864
75 | 2719577.7071 | 1265898.9291 | 2719557.25 | 1265913.756
76 | 2719221.4474 | 1265724.2216 | 2719210.9533 | 1265771.262
77 | 2719138.5869 | 1265711.2841 | 2719221.4474 | 1265724.2216
78 | 2719221.4474 | 1265724.2216 | 2719235.3995 | 1265670.7107 | 2719239.3815 | 1265663.7404 | 2719247.4984 | 1265662.0025 | 2719455.3129 | 1265709.9966 | 2719471.2363 | 1265715.5344
79 | 2719761.8293 | 1265627.591 | 2719740.3291 | 1265617.6533
80 | 2719588.9113 | 1265673.2759 | 2719589.9048 | 1265677.3996 | 2719589.6622 | 1265681.9432 | 2719586.7613 | 1265695.0504
81 | 2719581.8485 | 1265665.5905 | 2719583.4703 | 1265666.3485 | 2719586.6477 | 1265669.3821 | 2719588.9113 | 1265673.2759 | 2719588.9113 | 1265673.2759
82 | 2719585.2929 | 1265697.9803 | 2719585.2929 | 1265697.9803 | 2719586.5699 | 1265695.9154 | 2719586.7613 | 1265695.0504
83 | 2719581.8485 | 1265665.5905 | 2719572.6514 | 1265661.2918 | 2719570.5551 | 1265659.1808 | 2719563.1682 | 1265655.7195
84 | 2719580.3677 | 1265719.5222 | 2719580.3677 | 1265719.5222 | 2719585.2929 | 1265697.9803
85 | 2719562.6581 | 1265655.4805 | 2719563.1682 | 1265655.7195
86 | 2719562.6581 | 1265655.4805 | 2719546.8658 | 1265648.0807 | 2719544.4978 | 1265647.8548 | 2719542.1186 | 1265646.7254
87 | 2719538.9298 | 1265645.2117 | 2719542.1186 | 1265646.7254
88 | 2719538.2018 | 1265748.8363 | 2719519.231 | 1265739.4022
89 | 2719496.9477 | 1265728.3207 | 2719519.231 | 1265739.4022
90 | 2719476.0823 | 1265717.9443 | 2719496.9477 | 1265728.3207
91 | 2719471.2363 | 1265715.5344 | 2719476.0823 | 1265717.9443
92 | 2719477.8051 | 1265696.4946 | 2719471.2363 | 1265715.5344
93 | 2719468.2179 | 1265693.0978 | 2719477.8051 | 1265696.4946
94 | 2719477.8051 | 1265696.4946 | 2719484.669 | 1265699.2965
95 | 2719504.8439 | 1265702.8579 | 2719499.9831 | 1265704.4833 | 2719496.8093 | 1265704.2523 | 2719484.669 | 1265699.2965
96 | 2719504.8439 | 1265702.8579 | 2719505.813 | 1265704.4678 | 2719507.1864 | 1265705.8301 | 2719510.2563 | 1265707.4714 | 2719516.9454 | 1265710.9217
97 | 2719504.8439 | 1265702.8579 | 2719504.0934 | 1265700.8632 | 2719503.9129 | 1265697.5009 | 2719504.6096 | 1265694.3344 | 2719505.4776 | 1265691.6384 | 2719505.7885 | 1265688.1861 | 2719510.5001 | 1265674.27
98 | 2719677.3315 | 1265721.5781 | 2719680.945 | 1265713.6705
99 | 2719680.945 | 1265713.6705 | 2719683.8843 | 1265707.2384
100 | 2719683.8843 | 1265707.2384 | 2719684.8557 | 1265705.1127 | 2719684.9034 | 1265702.756
101 | 2719511.6065 | 1265671.0021 | 2719510.5001 | 1265674.27

## bus_geodata
| x | y | coords
0 | 2719736.5502 | 1265519.1818
1 | 2719718.2736 | 1265546.9239
2 | 2719733.2393 | 1265516.4234
3 | 2719750.6334 | 1265528.4398
4 | 2719510.8844 | 1265565.5015
5 | 2719058.2387 | 1265478.7799
6 | 2719495.4475 | 1265611.621
7 | 2719722.8201 | 1265500.9753
8 | 2719725.2049 | 1265528.1424
9 | 2719699.5614 | 1265579.2187
10 | 2719025.5688 | 1265470.7037
11 | 2719486.1972 | 1265639.2998
12 | 2719771.2233 | 1265686.8195
13 | 2719630.4552 | 1265787.174
14 | 2719658.3373 | 1265613.0246
15 | 2719657.906 | 1265612.828
16 | 2719671.3566 | 1265618.9622
17 | 2719644.6351 | 1265606.7756
18 | 2719675.6121 | 1265621.1948
19 | 2719654.8058 | 1265651.5193
20 | 2719642.5716 | 1265605.8345
21 | 2719670.81 | 1265630.0712
22 | 2719683.3447 | 1265607.6409
23 | 2719643.4579 | 1265676.0844
24 | 2719686.4738 | 1265592.1776
25 | 2719690.7155 | 1265594.7213
26 | 2719701.5545 | 1265566.3021
27 | 2719677.0708 | 1265587.8612
28 | 2719651.6634 | 1265669.067
29 | 2719724.8187 | 1265610.4842
30 | 2719653.1501 | 1265566.4244
31 | 2719621.5084 | 1265760.7248
32 | 2719625.6205 | 1265761.1083
33 | 2719619.4923 | 1265787.7526
34 | 2719628.3334 | 1265743.3788
35 | 2719577.3029 | 1265739.5782
36 | 2719579.4408 | 1265727.9261
37 | 2719536.4265 | 1265720.9702
38 | 2719602.9777 | 1265781.0494
39 | 2719620.6449 | 1265816.5429
40 | 2719622.5921 | 1265835.5137
41 | 2719615.1578 | 1265871.9848
42 | 2719578.1007 | 1265768.6781
43 | 2719678.2835 | 1265971.0958
44 | 2719669.9118 | 1265956.0572
45 | 2719673.9039 | 1266024.8787
46 | 2719770.8357 | 1265953.2645
47 | 2719616.9724 | 1265877.2151
48 | 2719650.959 | 1265929.0828
49 | 2719594.3462 | 1265887.0066
50 | 2719658.5656 | 1265954.2053
51 | 2719648.1476 | 1265934.7643
52 | 2719600.6571 | 1265878.1925
53 | 2719557.9967 | 1265758.6804
54 | 2719634.4556 | 1265716.1024
55 | 2719676.0791 | 1266068.7383
56 | 2719827.1149 | 1265944.6615
57 | 2719580.0919 | 1265897.2203
58 | 2719653.9201 | 1265945.5362
59 | 2719540.7566 | 1265806.4014
60 | 2719526.7061 | 1265798.9632
61 | 2719547.0641 | 1265809.7405
62 | 2719521.1353 | 1265796.014
63 | 2719575.1877 | 1265848.0148
64 | 2719506.0306 | 1265788.0177
65 | 2719569.5015 | 1265866.3218
66 | 2719499.8872 | 1265784.7654
67 | 2719570.8685 | 1265884.1438
68 | 2719575.7528 | 1265895.3864
69 | 2719577.7071 | 1265898.9291
70 | 2719557.25 | 1265913.756
71 | 2719210.9533 | 1265771.262
72 | 2719221.4474 | 1265724.2216
73 | 2719740.3291 | 1265617.6533
74 | 2719761.8293 | 1265627.591
75 | 2719588.9113 | 1265673.2759
76 | 2719586.7613 | 1265695.0504
77 | 2719581.8485 | 1265665.5905
78 | 2719585.2929 | 1265697.9803
79 | 2719563.1682 | 1265655.7195
80 | 2719580.3677 | 1265719.5222
81 | 2719562.6581 | 1265655.4805
82 | 2719542.1186 | 1265646.7254
83 | 2719538.2018 | 1265748.8363
84 | 2719519.231 | 1265739.4022
85 | 2719496.9477 | 1265728.3207
86 | 2719476.0823 | 1265717.9443
87 | 2719471.2363 | 1265715.5344
88 | 2719477.8051 | 1265696.4946
89 | 2719138.5869 | 1265711.2841
90 | 2719468.2179 | 1265693.0978
91 | 2719484.669 | 1265699.2965
92 | 2719504.8439 | 1265702.8579
93 | 2719677.3315 | 1265721.5781
94 | 2719680.945 | 1265713.6705
95 | 2719481.4068 | 1265774.9821
96 | 2719683.8843 | 1265707.2384
97 | 2719684.9034 | 1265702.756
98 | 2719675.0125 | 1266098.6726
99 | 2719516.9454 | 1265710.9217
100 | 2719538.9298 | 1265645.2117
101 | 2719511.6065 | 1265671.0021
102 | 2719510.5001 | 1265674.27
103 | 2719671.3566 | 1265618.9622

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1