## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4711-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4711-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4711-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4711-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4711-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4711-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4711-4_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4711-4_0_4_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_4711-4_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_4711-4_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_4711-4_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_4711-4_0_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_4711-4_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4711-4_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4711-4_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4711-4_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4711-4_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4711-4_0_4_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_4711-4_0_4_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_4711-4_0_4_node_128 | 0.4 | n |  | TRUE
20 | bus_LV_4711-4_0_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_4711-4_0_4_node_130 | 0.4 | n |  | TRUE
22 | bus_LV_4711-4_0_4_node_129 | 0.4 | n |  | TRUE
23 | bus_LV_4711-4_0_4_node_131 | 0.4 | n |  | TRUE
24 | bus_LV_4711-4_0_4_node_101 | 0.4 | n |  | TRUE
25 | bus_LV_4711-4_0_4_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_4711-4_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4711-4_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4711-4_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4711-4_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4711-4_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4711-4_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4711-4_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4711-4_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4711-4_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_4711-4_0_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_4711-4_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4711-4_0_4_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_4711-4_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4711-4_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4711-4_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_4711-4_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4711-4_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4711-4_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4711-4_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_4711-4_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4711-4_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4711-4_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4711-4_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4711-4_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4711-4_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_4711-4_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_4711-4_0_4_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_4711-4_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4711-4_0_4_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_4711-4_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4711-4_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4711-4_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_4711-4_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_4711-4_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4711-4_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4711-4_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4711-4_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4711-4_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4711-4_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4711-4_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4711-4_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4711-4_0_4_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_4711-4_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4711-4_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_4711-4_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_4711-4_0_4_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_4711-4_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_4711-4_0_4_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_4711-4_0_4_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_4711-4_0_4_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_4711-4_0_4_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_4711-4_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_4711-4_0_4_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4711-4_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4711-4_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4711-4_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_4711-4_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_MV_440_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4711-4_0_4_load_0 | 0 | 0.0070823 | 0.001775 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4711-4_0_4_load_1 | 1 | 0.00030961 | 7.7595e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4711-4_0_4_load_2 | 2 | 0.0025148 | 0.00063026 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4711-4_0_4_load_4 | 4 | 0.00079235 | 0.00019858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4711-4_0_4_load_6 | 6 | 0.0018788 | 0.00047087 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4711-4_0_4_load_64 | 7 | 0.00084736 | 0.00021237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4711-4_0_4_load_73 | 9 | 0.00029906 | 7.4952e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4711-4_0_4_load_7 | 12 | 0.0010403 | 0.00026071 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4711-4_0_4_load_8 | 13 | 0.00097307 | 0.00024387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4711-4_0_4_load_10 | 15 | 0.00078219 | 0.00019604 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4711-4_0_4_load_61 | 17 | 0.00063119 | 0.00015819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4711-4_0_4_load_128 | 19 | 0.00088959 | 0.00022295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4711-4_0_4_load_60 | 20 | 0.00045629 | 0.00011436 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4711-4_0_4_load_130 | 21 | 0.0069789 | 0.0017491 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4711-4_0_4_load_131 | 23 | 0.00024659 | 6.1801e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4711-4_0_4_load_101 | 24 | 0.00043128 | 0.00010809 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4711-4_0_4_load_14 | 26 | 0.0060601 | 0.0015188 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4711-4_0_4_load_15 | 27 | 0.00051252 | 0.00012845 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4711-4_0_4_load_16 | 28 | 0.0014122 | 0.00035393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4711-4_0_4_load_17 | 29 | 0.00027458 | 6.8816e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4711-4_0_4_load_19 | 31 | 0.00037183 | 9.3189e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4711-4_0_4_load_20 | 32 | 0.0014555 | 0.00036478 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4711-4_0_4_load_62 | 34 | 0.015188 | 0.0038064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4711-4_0_4_load_63 | 35 | 0.0002718 | 6.8119e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4711-4_0_4_load_78 | 37 | 0.00037929 | 9.5059e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4711-4_0_4_load_22 | 39 | 0.004 | 0.0010025 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4711-4_0_4_load_47 | 40 | 0.00098509 | 0.00024689 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4711-4_0_4_load_46 | 41 | 0.00024558 | 6.1547e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4711-4_0_4_load_25 | 42 | 0.00085155 | 0.00021342 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4711-4_0_4_load_26 | 43 | 0.00049239 | 0.0001234 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4711-4_0_4_load_27 | 44 | 0.00047917 | 0.00012009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4711-4_0_4_load_28 | 45 | 0.00014951 | 3.7472e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4711-4_0_4_load_29 | 46 | 0.00074867 | 0.00018763 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4711-4_0_4_load_31 | 48 | 0.00019456 | 4.8761e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4711-4_0_4_load_32 | 49 | 0.0013483 | 0.00033791 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4711-4_0_4_load_33 | 50 | 0.00085247 | 0.00021365 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4711-4_0_4_load_58 | 52 | 0.00073803 | 0.00018497 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4711-4_0_4_load_34 | 53 | 0.00077925 | 0.0001953 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4711-4_0_4_load_74 | 54 | 0.00034935 | 8.7556e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4711-4_0_4_load_52 | 55 | 0.0083116 | 0.0020831 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4711-4_0_4_load_59 | 56 | 0.0014658 | 0.00036736 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4711-4_0_4_load_35 | 57 | 0.040636 | 0.010184 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4711-4_0_4_load_36 | 58 | 0.016685 | 0.0041816 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4711-4_0_4_load_38 | 59 | 0.00057364 | 0.00014377 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4711-4_0_4_load_40 | 60 | 0.016983 | 0.0042564 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4711-4_0_4_load_44 | 61 | 0.024969 | 0.0062579 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4711-4_0_4_load_57 | 63 | 0.00087195 | 0.00021853 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4711-4_0_4_load_55 | 64 | 0.0011084 | 0.0002778 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4711-4_0_4_load_65 | 66 | 0.00094042 | 0.00023569 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4711-4_0_4_load_56 | 68 | 0.000406 | 0.00010175 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4711-4_0_4_load_68 | 69 | 0.0023193 | 0.00058127 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4711-4_0_4_load_66 | 70 | 0.00023273 | 5.8328e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4711-4_0_4_load_77 | 72 | 0.027636 | 0.0069263 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4711-4_0_4_load_45 | 73 | 0.0011733 | 0.00029405 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4711-4_0_4_load_48 | 74 | 0.0006643 | 0.00016649 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4711-4_0_4_load_49 | 75 | 0.0051601 | 0.0012932 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4711-4_0_4_load_50 | 76 | 0.00059747 | 0.00014974 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4711-4_0_4_load_51 | 77 | 0.00087789 | 0.00022002 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4711-4_0_4_load_53 | 78 | 0.0013769 | 0.00034508 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4711-4_0_4_load_79 | 81 | 0.00098959 | 0.00024801 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4711-4_0_4_load_67 | 82 | 0.0012676 | 0.00031768 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4711-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.009384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4711-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0010957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4711-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4711-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0044028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4711-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_4711-4_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0010576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4711-4_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4711-4_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.062901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4711-4_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0033673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4711-4_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.07504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4711-4_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.054773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4711-4_0_4_line_11 | NAYY 4x150 SE | 9 | 31 | 0.0036257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4711-4_0_4_line_12 | NAYY 4x150 SE | 10 | 65 | 0.074263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4711-4_0_4_line_13 | NAYY 4x150 SE | 10 | 66 | 0.036732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4711-4_0_4_line_14 | NAYY 4x150 SE | 11 | 60 | 0.0022564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4711-4_0_4_line_15 | NAYY 4x150 SE | 11 | 57 | 0.026892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4711-4_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.029377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4711-4_0_4_line_17 | NAYY 4x150 SE | 13 | 14 | 0.021727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4711-4_0_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.010756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4711-4_0_4_line_19 | NAYY 4x150 SE | 14 | 16 | 0.23678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4711-4_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.033928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4711-4_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.6991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4711-4_0_4_line_22 | NAYY 4x150 SE | 16 | 19 | 0.061265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4711-4_0_4_line_23 | NAYY 4x150 SE | 17 | 20 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4711-4_0_4_line_24 | NAYY 4x150 SE | 18 | 23 | 0.025896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4711-4_0_4_line_25 | NAYY 4x150 SE | 19 | 22 | 0.069464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4711-4_0_4_line_26 | NAYY 4x150 SE | 20 | 56 | 0.01812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4711-4_0_4_line_27 | NAYY 4x150 SE | 21 | 22 | 0.045893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4711-4_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.13074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4711-4_0_4_line_29 | NAYY 4x150 SE | 25 | 79 | 0.56264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4711-4_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0089984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4711-4_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.01117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4711-4_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.015375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4711-4_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.032208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4711-4_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.019056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4711-4_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.053698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4711-4_0_4_line_36 | NAYY 4x150 SE | 30 | 33 | 0.040389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4711-4_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0038408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4711-4_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.098564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4711-4_0_4_line_39 | NAYY 4x150 SE | 33 | 36 | 0.049921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4711-4_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.015963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4711-4_0_4_line_41 | NAYY 4x150 SE | 36 | 40 | 0.11109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4711-4_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.13752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4711-4_0_4_line_43 | NAYY 4x150 SE | 37 | 81 | 0.011952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4711-4_0_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.034325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4711-4_0_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.011796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4711-4_0_4_line_46 | NAYY 4x150 SE | 41 | 73 | 0.013662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4711-4_0_4_line_47 | NAYY 4x150 SE | 42 | 43 | 0.027423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4711-4_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.039929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4711-4_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.023686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4711-4_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.026237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4711-4_0_4_line_51 | NAYY 4x150 SE | 44 | 47 | 0.031311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4711-4_0_4_line_52 | NAYY 4x150 SE | 45 | 48 | 0.022048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4711-4_0_4_line_53 | NAYY 4x150 SE | 46 | 49 | 0.0036287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4711-4_0_4_line_54 | NAYY 4x150 SE | 47 | 50 | 0.095429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4711-4_0_4_line_55 | NAYY 4x150 SE | 48 | 51 | 0.11042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_4711-4_0_4_line_56 | NAYY 4x150 SE | 49 | 52 | 0.022948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_4711-4_0_4_line_57 | NAYY 4x150 SE | 51 | 54 | 0.029864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4711-4_0_4_line_58 | NAYY 4x150 SE | 51 | 55 | 0.03143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4711-4_0_4_line_59 | NAYY 4x150 SE | 52 | 56 | 0.0095694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_4711-4_0_4_line_60 | NAYY 4x150 SE | 53 | 54 | 0.023207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4711-4_0_4_line_61 | NAYY 4x150 SE | 55 | 76 | 0.011013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4711-4_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.019052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4711-4_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.01915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4711-4_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.083858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4711-4_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.023865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4711-4_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.004104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4711-4_0_4_line_67 | NAYY 4x150 SE | 63 | 65 | 0.021981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4711-4_0_4_line_68 | NAYY 4x150 SE | 64 | 68 | 0.016654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4711-4_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.072864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4711-4_0_4_line_70 | NAYY 4x150 SE | 66 | 70 | 0.023528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4711-4_0_4_line_71 | NAYY 4x150 SE | 67 | 71 | 0.084332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4711-4_0_4_line_72 | NAYY 4x150 SE | 67 | 69 | 0.050274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4711-4_0_4_line_73 | NAYY 4x150 SE | 70 | 82 | 0.0015711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4711-4_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.027585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4711-4_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.037669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4711-4_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.012241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_4711-4_0_4_line_77 | NAYY 4x150 SE | 75 | 77 | 0.035119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_4711-4_0_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0061994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_4711-4_0_4_line_79 | NAYY 4x150 SE | 78 | 79 | 0.015559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_4711-4_0_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.093666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4711-4_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.02943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4711-4_0_4_trafo_39 | 0.25 MVA 20/0.4 kV | 83 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2720388.7758 | 1265075.2517 | 2720390.593 | 1265066.0453
1 | 2720388.7758 | 1265075.2517 | 2720388.7758 | 1265075.2517 | 2720387.7057 | 1265075.0158
2 | 2720393.505 | 1265051.2932 | 2720390.593 | 1265066.0453
3 | 2720383.4062 | 1265074.068 | 2720387.7057 | 1265075.0158
4 | 2720380.4149 | 1265049.7252 | 2720386.3385 | 1265050.3241 | 2720393.505 | 1265051.2932
5 | 2720393.505 | 1265051.2932 | 2720394.553 | 1265051.4356
6 | 2720380.4149 | 1265049.7252 | 2720364.0293 | 1265047.9678 | 2720360.6634 | 1265047.7723
7 | 2720456.8661 | 1265060.0138 | 2720412.8483 | 1265053.9228 | 2720394.553 | 1265051.4356
8 | 2720360.6634 | 1265047.7723 | 2720357.3018 | 1265047.577
9 | 2720456.8661 | 1265060.0138 | 2720481.5038 | 1265063.0629 | 2720508.9291 | 1265066.4583 | 2720529.2709 | 1265076.2595
10 | 2720456.8661 | 1265060.0138 | 2720470.4827 | 1265006.9547
11 | 2720353.6822 | 1265047.3668 | 2720357.3018 | 1265047.577
12 | 2720529.2709 | 1265076.2595 | 2720530.5826 | 1265069.9361 | 2720597.4384 | 1265081.2429
13 | 2720529.2709 | 1265076.2595 | 2720529.1202 | 1265077.3685 | 2720524.2636 | 1265112.6483
14 | 2720470.4827 | 1265006.9547 | 2720470.7923 | 1265004.7197
15 | 2720470.4827 | 1265006.9547 | 2720496.7587 | 1265012.6779
16 | 2720604.0706 | 1265323.234 | 2720595.2741 | 1265351.2634
17 | 2720588.7683 | 1265371.9936 | 2720595.2741 | 1265351.2634
18 | 2720588.7683 | 1265371.9936 | 2720580.0705 | 1265365.6663
19 | 2720588.7683 | 1265371.9936 | 2720655.3146 | 1265420.4059 | 2720713.016 | 1265467.7597 | 2720782.7452 | 1265506.6521
20 | 2720580.0705 | 1265365.6663 | 2720552.6345 | 1265345.7077
21 | 2720782.7452 | 1265506.6521 | 2720855.2891 | 1265379.5871 | 2720864.0134 | 1265364.4074 | 2720892.8932 | 1265387.1961 | 2720913.8453 | 1265403.8952 | 2721013.5682 | 1265485.0419 | 2721040.9534 | 1265504.6201 | 2721064.3925 | 1265518.279 | 2721074.1121 | 1265523.2714 | 2721084.5842 | 1265527.5676 | 2721096.0188 | 1265530.838 | 2721107.4538 | 1265533.3523 | 2721121.7757 | 1265535.4031 | 2721207.6106 | 1265543.5697 | 2721236.3646 | 1265547.0624 | 2721243.5737 | 1265546.2873 | 2721249.5436 | 1265543.5073 | 2721253.3469 | 1265539.8598 | 2721256.4505 | 1265534.7077 | 2721266.6454 | 1265509.5719 | 2721270.8635 | 1265502.5966 | 2721275.5578 | 1265498.4781 | 2721280.2747 | 1265496.929 | 2721285.1491 | 1265526.956 | 2721285.3366 | 1265531.7642
22 | 2720782.7452 | 1265506.6521 | 2720799.8267 | 1265525.14 | 2720827.0583 | 1265548.83
23 | 2720544.0302 | 1265339.4483 | 2720552.6345 | 1265345.7077
24 | 2721285.3366 | 1265531.7642 | 2721292.3259 | 1265523.3556 | 2721297.9452 | 1265513.0727 | 2721299.2225 | 1265510.0908
25 | 2720885.547 | 1265586.0358 | 2720835.3046 | 1265556.0039 | 2720827.0583 | 1265548.83
26 | 2720544.0302 | 1265339.4483 | 2720529.3773 | 1265328.7889
27 | 2720885.547 | 1265586.0358 | 2720866.2381 | 1265627.6694
28 | 2720191.7582 | 1265619.7313 | 2720244.8497 | 1265588.0047 | 2720272.2465 | 1265569.7456 | 2720293.9915 | 1265549.0472 | 2720296.9496 | 1265543.8879
29 | 2720120.0528 | 1265207.8825 | 2720117.918 | 1265214.7008 | 2720117.3198 | 1265225.5984 | 2720116.6435 | 1265229.2213 | 2720114.8684 | 1265232.4325 | 2720112.6974 | 1265235.1019 | 2720110.4744 | 1265237.0029 | 2720097.5068 | 1265246.8372 | 2720088.8481 | 1265251.8435 | 2720086.0086 | 1265252.9424 | 2720084.8356 | 1265257.2891 | 2720084.474 | 1265266.9238 | 2720084.3235 | 1265274.3273 | 2720083.0576 | 1265278.7945 | 2720076.287 | 1265287.6316 | 2720063.0438 | 1265303.2544 | 2720045.9879 | 1265321.5355 | 2720032.0065 | 1265336.0536 | 2720012.5947 | 1265355.3768 | 2719997.4701 | 1265368.7039 | 2719985.6547 | 1265383.7665 | 2719974.7037 | 1265396.7003 | 2719979.2122 | 1265403.9094 | 2720002.1937 | 1265452.0856 | 2720046.4309 | 1265491.3522 | 2720191.7582 | 1265619.7313
30 | 2720310.2751 | 1265046.7731 | 2720319.2734 | 1265046.7263
31 | 2720299.1056 | 1265046.8348 | 2720300.7246 | 1265046.8228 | 2720310.2751 | 1265046.7731
32 | 2720334.6486 | 1265046.6463 | 2720319.2734 | 1265046.7263
33 | 2720266.8982 | 1265047.0348 | 2720275.471 | 1265047.0092 | 2720299.1056 | 1265046.8348
34 | 2720353.6822 | 1265047.3668 | 2720340.7354 | 1265046.6147 | 2720334.6486 | 1265046.6463
35 | 2720266.8982 | 1265047.0348 | 2720266.394 | 1265052.9299 | 2720263.6913 | 1265062.8393 | 2720257.9191 | 1265072.564 | 2720242.2242 | 1265093.544
36 | 2720226.8282 | 1265050.89 | 2720231.1254 | 1265049.6096 | 2720235.8068 | 1265048.3259 | 2720240.7034 | 1265047.5692 | 2720248.1191 | 1265047.0306 | 2720257.7077 | 1265047.059 | 2720266.8982 | 1265047.0348
37 | 2720239.9234 | 1265096.6195 | 2720242.2242 | 1265093.544
38 | 2720226.8282 | 1265050.89 | 2720219.2575 | 1265054.2391 | 2720214.5312 | 1265057.3569 | 2720198.7121 | 1265070.7028 | 2720151.1865 | 1265113.4569
39 | 2720231.551 | 1265003.5325 | 2720229.266 | 1265009.5804 | 2720224.7432 | 1265021.9439 | 2720222.6505 | 1265028.5406 | 2720221.8745 | 1265032.9844 | 2720221.6822 | 1265036.8839 | 2720223.0117 | 1265041.8821 | 2720225.398 | 1265047.5135 | 2720226.8282 | 1265050.89
40 | 2720139.3188 | 1265124.1331 | 2720151.1865 | 1265113.4569
41 | 2720231.551 | 1265003.5325 | 2720235.3694 | 1265004.6779 | 2720239.9604 | 1265005.6165 | 2720243.5769 | 1265005.5789 | 2720246.7805 | 1265004.7322 | 2720249.9274 | 1265002.9724 | 2720272.7615 | 1264983.9977 | 2720274.6632 | 1264980.1329 | 2720286.9797 | 1264970.13 | 2720297.5936 | 1264961.2491 | 2720308.9709 | 1264951.8722 | 2720313.7513 | 1264950.168 | 2720320.2187 | 1264944.8767
42 | 2720133.7263 | 1265029.6341 | 2720135.1238 | 1265003.8839 | 2720162.0083 | 1265005.743 | 2720178.1286 | 1265006.8494 | 2720219.228 | 1265020.1524 | 2720224.7432 | 1265021.9439 | 2720229.266 | 1265009.5804 | 2720231.551 | 1265003.5325
43 | 2720139.3188 | 1265124.1331 | 2720130.4331 | 1265132.1267
44 | 2720133.7263 | 1265029.6341 | 2720109.4223 | 1265053.8731
45 | 2720329.3482 | 1264937.4073 | 2720329.3482 | 1264937.4073 | 2720320.2187 | 1264944.8767
46 | 2720329.3482 | 1264937.4073 | 2720335.2234 | 1264925.0728
47 | 2720412.7187 | 1265281.7448 | 2720440.114 | 1265282.9701
48 | 2720478.3097 | 1265293.1598 | 2720464.2256 | 1265286.8004 | 2720447.0631 | 1265283.2809 | 2720440.114 | 1265282.9701
49 | 2720412.7187 | 1265281.7448 | 2720394.0602 | 1265280.9103 | 2720389.1319 | 1265280.0162
50 | 2720478.3097 | 1265293.1598 | 2720483.8105 | 1265295.6408 | 2720500.1474 | 1265307.5252
51 | 2720483.5409 | 1265262.3276 | 2720483.1808 | 1265265.2117 | 2720481.946 | 1265276.2631 | 2720478.3097 | 1265293.1598
52 | 2720367.4381 | 1265276.0803 | 2720389.1319 | 1265280.0162
53 | 2720500.1474 | 1265307.5252 | 2720503.0818 | 1265309.6599
54 | 2720483.5409 | 1265262.3276 | 2720490.5866 | 1265262.9273 | 2720514.9344 | 1265264.2692 | 2720576.9455 | 1265279.9892
55 | 2720262.9643 | 1265245.7996 | 2720266.6902 | 1265248.5222 | 2720277.9272 | 1265256.736 | 2720289.9994 | 1265262.0308 | 2720367.4381 | 1265276.0803
56 | 2720521.6388 | 1265323.1594 | 2720503.0818 | 1265309.6599
57 | 2720262.9643 | 1265245.7996 | 2720271.3934 | 1265243.202 | 2720292.4063 | 1265244.3344
58 | 2720262.9643 | 1265245.7996 | 2720234.6879 | 1265232.0788
59 | 2720521.6388 | 1265323.1594 | 2720529.3773 | 1265328.7889
60 | 2720292.4063 | 1265244.3344 | 2720302.2428 | 1265244.8645 | 2720315.5287 | 1265246.2335
61 | 2720234.6879 | 1265232.0788 | 2720223.8951 | 1265229.887
62 | 2720515.3739 | 1265016.7324 | 2720496.7587 | 1265012.6779
63 | 2720534.085 | 1265020.8079 | 2720515.3739 | 1265016.7324
64 | 2720484.036 | 1264921.9214 | 2720473.9189 | 1264982.147 | 2720470.7923 | 1265004.7197
65 | 2720612.0578 | 1265037.791 | 2720604.4477 | 1265060.4098
66 | 2720612.0578 | 1265037.791 | 2720613.3394 | 1265033.8922
67 | 2720597.4384 | 1265081.2429 | 2720604.4477 | 1265060.4098
68 | 2720618.5399 | 1265018.0714 | 2720613.3394 | 1265033.8922
69 | 2720597.4384 | 1265081.2429 | 2720654.5989 | 1265089.6277 | 2720659.9087 | 1265090.4035 | 2720663.5467 | 1265091.1561 | 2720662.5668 | 1265097.0859
70 | 2720524.2636 | 1265112.6483 | 2720521.055 | 1265135.9566
71 | 2720662.5668 | 1265097.0859 | 2720663.5467 | 1265091.1561 | 2720665.3944 | 1265084.043 | 2720683.7559 | 1265063.555 | 2720703.9198 | 1265036.3422 | 2720707.185 | 1265027.323
72 | 2720662.5668 | 1265097.0859 | 2720612.8416 | 1265089.6748
73 | 2720521.9802 | 1265137.2265 | 2720521.055 | 1265135.9566 | 2720521.055 | 1265135.9566
74 | 2720707.185 | 1265027.323 | 2720732.7538 | 1265037.6752
75 | 2720174.5424 | 1265222.9856 | 2720201.8237 | 1265225.4046 | 2720211.8988 | 1265227.4507
76 | 2720223.8951 | 1265229.887 | 2720211.8988 | 1265227.4507
77 | 2720140.6031 | 1265215.0335 | 2720159.6648 | 1265221.6665 | 2720174.5424 | 1265222.9856
78 | 2720134.748 | 1265212.9961 | 2720140.6031 | 1265215.0335
79 | 2720120.0528 | 1265207.8825 | 2720134.748 | 1265212.9961
80 | 2720108.5533 | 1265151.8098 | 2720086.2082 | 1265171.9851 | 2720077.1794 | 1265179.9977 | 2720080.0749 | 1265182.8146 | 2720083.1573 | 1265185.702 | 2720086.7652 | 1265188.678 | 2720093.3384 | 1265193.2601 | 2720103.1135 | 1265199.6644 | 2720113.3 | 1265205.0984 | 2720120.0528 | 1265207.8825
81 | 2720108.5533 | 1265151.8098 | 2720130.4331 | 1265132.1267

## bus_geodata
| x | y | coords
0 | 2720388.7758 | 1265075.2517
1 | 2720390.593 | 1265066.0453
2 | 2720387.7057 | 1265075.0158
3 | 2720393.505 | 1265051.2932
4 | 2720383.4062 | 1265074.068
5 | 2720380.4149 | 1265049.7252
6 | 2720394.553 | 1265051.4356
7 | 2720360.6634 | 1265047.7723
8 | 2720456.8661 | 1265060.0138
9 | 2720357.3018 | 1265047.577
10 | 2720529.2709 | 1265076.2595
11 | 2720470.4827 | 1265006.9547
12 | 2720604.0706 | 1265323.234
13 | 2720595.2741 | 1265351.2634
14 | 2720588.7683 | 1265371.9936
15 | 2720580.0705 | 1265365.6663
16 | 2720782.7452 | 1265506.6521
17 | 2720552.6345 | 1265345.7077
18 | 2721285.3366 | 1265531.7642
19 | 2720827.0583 | 1265548.83
20 | 2720544.0302 | 1265339.4483
21 | 2720866.2381 | 1265627.6694
22 | 2720885.547 | 1265586.0358
23 | 2721299.2225 | 1265510.0908
24 | 2720296.9496 | 1265543.8879
25 | 2720191.7582 | 1265619.7313
26 | 2720310.2751 | 1265046.7731
27 | 2720319.2734 | 1265046.7263
28 | 2720299.1056 | 1265046.8348
29 | 2720334.6486 | 1265046.6463
30 | 2720266.8982 | 1265047.0348
31 | 2720353.6822 | 1265047.3668
32 | 2720242.2242 | 1265093.544
33 | 2720226.8282 | 1265050.89
34 | 2720239.9234 | 1265096.6195
35 | 2720151.1865 | 1265113.4569
36 | 2720231.551 | 1265003.5325
37 | 2720139.3188 | 1265124.1331
38 | 2720133.7263 | 1265029.6341
39 | 2720109.4223 | 1265053.8731
40 | 2720320.2187 | 1264944.8767
41 | 2720329.3482 | 1264937.4073
42 | 2720440.114 | 1265282.9701
43 | 2720412.7187 | 1265281.7448
44 | 2720478.3097 | 1265293.1598
45 | 2720389.1319 | 1265280.0162
46 | 2720500.1474 | 1265307.5252
47 | 2720483.5409 | 1265262.3276
48 | 2720367.4381 | 1265276.0803
49 | 2720503.0818 | 1265309.6599
50 | 2720576.9455 | 1265279.9892
51 | 2720262.9643 | 1265245.7996
52 | 2720521.6388 | 1265323.1594
53 | 2720315.5287 | 1265246.2335
54 | 2720292.4063 | 1265244.3344
55 | 2720234.6879 | 1265232.0788
56 | 2720529.3773 | 1265328.7889
57 | 2720496.7587 | 1265012.6779
58 | 2720515.3739 | 1265016.7324
59 | 2720534.085 | 1265020.8079
60 | 2720470.7923 | 1265004.7197
61 | 2720484.036 | 1264921.9214
62 | 2720612.0578 | 1265037.791
63 | 2720604.4477 | 1265060.4098
64 | 2720613.3394 | 1265033.8922
65 | 2720597.4384 | 1265081.2429
66 | 2720524.2636 | 1265112.6483
67 | 2720662.5668 | 1265097.0859
68 | 2720618.5399 | 1265018.0714
69 | 2720612.8416 | 1265089.6748
70 | 2720521.055 | 1265135.9566
71 | 2720707.185 | 1265027.323
72 | 2720732.7538 | 1265037.6752
73 | 2720335.2234 | 1264925.0728
74 | 2720211.8988 | 1265227.4507
75 | 2720174.5424 | 1265222.9856
76 | 2720223.8951 | 1265229.887
77 | 2720140.6031 | 1265215.0335
78 | 2720134.748 | 1265212.9961
79 | 2720120.0528 | 1265207.8825
80 | 2720108.5533 | 1265151.8098
81 | 2720130.4331 | 1265132.1267
82 | 2720521.9802 | 1265137.2265
83 | 2720508.9291 | 1265066.4583

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1