## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4723-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4723-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4723-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4723-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4723-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4723-2_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4723-2_0_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_4723-2_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4723-2_0_2_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_4723-2_0_2_node_147 | 0.4 | n |  | TRUE
10 | bus_LV_4723-2_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4723-2_0_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_4723-2_0_2_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_4723-2_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4723-2_0_2_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_4723-2_0_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_4723-2_0_2_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_4723-2_0_2_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_4723-2_0_2_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_4723-2_0_2_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_4723-2_0_2_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_4723-2_0_2_node_119 | 0.4 | n |  | TRUE
22 | bus_LV_4723-2_0_2_node_122 | 0.4 | n |  | TRUE
23 | bus_LV_4723-2_0_2_node_118 | 0.4 | n |  | TRUE
24 | bus_LV_4723-2_0_2_node_123 | 0.4 | n |  | TRUE
25 | bus_LV_4723-2_0_2_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_4723-2_0_2_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_4723-2_0_2_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_4723-2_0_2_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_4723-2_0_2_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_4723-2_0_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_4723-2_0_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_4723-2_0_2_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_4723-2_0_2_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_4723-2_0_2_node_132 | 0.4 | n |  | TRUE
35 | bus_LV_4723-2_0_2_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_4723-2_0_2_node_130 | 0.4 | n |  | TRUE
37 | bus_LV_4723-2_0_2_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_4723-2_0_2_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_4723-2_0_2_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_4723-2_0_2_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_4723-2_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_4723-2_0_2_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_4723-2_0_2_node_116 | 0.4 | n |  | TRUE
44 | bus_LV_4723-2_0_2_node_117 | 0.4 | n |  | TRUE
45 | bus_LV_4723-2_0_2_node_146 | 0.4 | n |  | TRUE
46 | bus_LV_4723-2_0_2_node_144 | 0.4 | n |  | TRUE
47 | bus_LV_4723-2_0_2_node_145 | 0.4 | n |  | TRUE
48 | bus_LV_4723-2_0_2_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_4723-2_0_2_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_4723-2_0_2_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_4723-2_0_2_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_4723-2_0_2_node_148 | 0.4 | n |  | TRUE
53 | bus_LV_4723-2_0_2_node_128 | 0.4 | n |  | TRUE
54 | bus_LV_4723-2_0_2_node_124 | 0.4 | n |  | TRUE
55 | bus_LV_4723-2_0_2_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_4723-2_0_2_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_4723-2_0_2_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_4723-2_0_2_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_4723-2_0_2_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_4723-2_0_2_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4723-2_0_2_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_4723-2_0_2_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_4723-2_0_2_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4723-2_0_2_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_4723-2_0_2_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_4723-2_0_2_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_4723-2_0_2_node_115 | 0.4 | n |  | TRUE
68 | bus_LV_4723-2_0_2_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_4723-2_0_2_node_113 | 0.4 | n |  | TRUE
70 | bus_LV_4723-2_0_2_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_4723-2_0_2_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_4723-2_0_2_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_4723-2_0_2_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_4723-2_0_2_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_4723-2_0_2_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_4723-2_0_2_node_110 | 0.4 | n |  | TRUE
77 | bus_LV_4723-2_0_2_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_4723-2_0_2_node_129 | 0.4 | n |  | TRUE
79 | bus_MV_410_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4723-2_0_2_load_0 | 0 | 0.00088305 | 0.00022131 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4723-2_0_2_load_1 | 1 | 0.00037905 | 9.4999e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4723-2_0_2_load_2 | 2 | 0.0006751 | 0.0001692 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4723-2_0_2_load_15 | 6 | 0.0006738 | 0.00016887 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4723-2_0_2_load_30 | 8 | 0.0010584 | 0.00026527 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4723-2_0_2_load_147 | 9 | 0.00055148 | 0.00013821 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4723-2_0_2_load_31 | 11 | 0.00040434 | 0.00010134 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4723-2_0_2_load_13 | 13 | 0.0011523 | 0.00028879 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4723-2_0_2_load_45 | 14 | 0.0016803 | 0.00042112 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4723-2_0_2_load_46 | 15 | 0.000921 | 0.00023082 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4723-2_0_2_load_47 | 16 | 0.00068054 | 0.00017056 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4723-2_0_2_load_48 | 17 | 0.00040264 | 0.00010091 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4723-2_0_2_load_50 | 19 | 0.00048307 | 0.00012107 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4723-2_0_2_load_51 | 20 | 0.0002896 | 7.258e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4723-2_0_2_load_119 | 21 | 0.00061011 | 0.00015291 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4723-2_0_2_load_122 | 22 | 0.00070708 | 0.00017721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4723-2_0_2_load_118 | 23 | 0.00036985 | 9.2693e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4723-2_0_2_load_123 | 24 | 0.00056736 | 0.00014219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4723-2_0_2_load_52 | 25 | 0.0044919 | 0.0011258 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4723-2_0_2_load_53 | 26 | 0.00097305 | 0.00024387 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4723-2_0_2_load_54 | 27 | 0.0020915 | 0.00052417 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4723-2_0_2_load_56 | 29 | 0.0012128 | 0.00030395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4723-2_0_2_load_57 | 30 | 0.002878 | 0.00072129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4723-2_0_2_load_58 | 31 | 0.0029946 | 0.00075051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4723-2_0_2_load_80 | 35 | 0.00027406 | 6.8686e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4723-2_0_2_load_130 | 36 | 0.0017862 | 0.00044766 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4723-2_0_2_load_61 | 37 | 0.00084118 | 0.00021082 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4723-2_0_2_load_64 | 39 | 0.00054991 | 0.00013782 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4723-2_0_2_load_116 | 43 | 0.00062587 | 0.00015686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4723-2_0_2_load_146 | 45 | 0.0028087 | 0.00070393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4723-2_0_2_load_144 | 46 | 0.00067727 | 0.00016974 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4723-2_0_2_load_145 | 47 | 0.0039123 | 0.00098051 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4723-2_0_2_load_90 | 49 | 0.00053362 | 0.00013374 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4723-2_0_2_load_114 | 50 | 0.00046961 | 0.0001177 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4723-2_0_2_load_94 | 51 | 0.0001743 | 4.3684e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4723-2_0_2_load_148 | 52 | 0.00019655 | 4.926e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4723-2_0_2_load_128 | 53 | 0.0016772 | 0.00042036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4723-2_0_2_load_124 | 54 | 0.0022718 | 0.00056936 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4723-2_0_2_load_93 | 55 | 0.00013035 | 3.2669e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4723-2_0_2_load_91 | 56 | 0.00060855 | 0.00015252 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4723-2_0_2_load_71 | 57 | 0.0012276 | 0.00030766 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4723-2_0_2_load_72 | 58 | 0.00071257 | 0.00017859 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4723-2_0_2_load_74 | 60 | 0.00055181 | 0.0001383 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4723-2_0_2_load_75 | 61 | 0.00058843 | 0.00014748 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4723-2_0_2_load_77 | 63 | 0.00096394 | 0.00024159 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4723-2_0_2_load_78 | 64 | 0.00089401 | 0.00022406 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4723-2_0_2_load_79 | 65 | 0.00049555 | 0.0001242 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4723-2_0_2_load_120 | 66 | 0.001336 | 0.00033483 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4723-2_0_2_load_115 | 67 | 0.00046479 | 0.00011649 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4723-2_0_2_load_88 | 68 | 0.00060241 | 0.00015098 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4723-2_0_2_load_113 | 69 | 0.00040587 | 0.00010172 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4723-2_0_2_load_86 | 70 | 0.0042661 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4723-2_0_2_load_81 | 71 | 0.014464 | 0.0036249 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4723-2_0_2_load_87 | 73 | 0.0025372 | 0.00063588 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4723-2_0_2_load_89 | 74 | 0.0022265 | 0.00055801 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4723-2_0_2_load_109 | 75 | 0.00072548 | 0.00018182 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4723-2_0_2_load_110 | 76 | 0.0015143 | 0.00037951 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4723-2_0_2_load_129 | 78 | 0.00054767 | 0.00013726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4723-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4723-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4723-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4723-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.01865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4723-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.15376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4723-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0059552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4723-2_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.28012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4723-2_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4723-2_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.058863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4723-2_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.1801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4723-2_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0092644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4723-2_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.028981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4723-2_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.16164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4723-2_0_2_line_13 | NAYY 4x150 SE | 12 | 45 | 0.048419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4723-2_0_2_line_14 | NAYY 4x150 SE | 12 | 46 | 0.10964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4723-2_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.012612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4723-2_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0065919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4723-2_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.028416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4723-2_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.013158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4723-2_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0046522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4723-2_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0096568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4723-2_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.020495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4723-2_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4723-2_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0076562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4723-2_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.02313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4723-2_0_2_line_25 | NAYY 4x150 SE | 23 | 66 | 0.010866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4723-2_0_2_line_26 | NAYY 4x150 SE | 24 | 54 | 0.026368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4723-2_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.026075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4723-2_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.06687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4723-2_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.09664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4723-2_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.07846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4723-2_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.036624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4723-2_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.021568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4723-2_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.016978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4723-2_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.25007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4723-2_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.050987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4723-2_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.07692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4723-2_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.011468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4723-2_0_2_line_38 | NAYY 4x150 SE | 35 | 62 | 0.018539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4723-2_0_2_line_39 | NAYY 4x150 SE | 36 | 78 | 0.012859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4723-2_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.074425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4723-2_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.045657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4723-2_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.37465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4723-2_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.020047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4723-2_0_2_line_44 | NAYY 4x150 SE | 40 | 47 | 0.10108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4723-2_0_2_line_45 | NAYY 4x150 SE | 41 | 48 | 0.039494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4723-2_0_2_line_46 | NAYY 4x150 SE | 41 | 49 | 0.017237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4723-2_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.035029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4723-2_0_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.099839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4723-2_0_2_line_49 | NAYY 4x150 SE | 43 | 50 | 0.051621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4723-2_0_2_line_50 | NAYY 4x150 SE | 44 | 51 | 0.17582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4723-2_0_2_line_51 | NAYY 4x150 SE | 45 | 52 | 0.014179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4723-2_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.045435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4723-2_0_2_line_53 | NAYY 4x150 SE | 48 | 51 | 0.028547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4723-2_0_2_line_54 | NAYY 4x150 SE | 48 | 55 | 0.016578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4723-2_0_2_line_55 | NAYY 4x150 SE | 49 | 56 | 0.017535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4723-2_0_2_line_56 | NAYY 4x150 SE | 50 | 77 | 1.4159e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4723-2_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.037351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4723-2_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0035435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4723-2_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.036652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4723-2_0_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.021829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4723-2_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.010838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4723-2_0_2_line_62 | NAYY 4x150 SE | 59 | 62 | 0.013208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4723-2_0_2_line_63 | NAYY 4x150 SE | 60 | 63 | 0.028408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4723-2_0_2_line_64 | NAYY 4x150 SE | 61 | 64 | 0.058247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4723-2_0_2_line_65 | NAYY 4x150 SE | 62 | 65 | 0.012584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4723-2_0_2_line_66 | NAYY 4x150 SE | 63 | 66 | 0.0039894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4723-2_0_2_line_67 | NAYY 4x150 SE | 64 | 67 | 0.0098354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4723-2_0_2_line_68 | NAYY 4x150 SE | 65 | 68 | 0.0039186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4723-2_0_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.0048246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4723-2_0_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.062598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4723-2_0_2_line_71 | NAYY 4x150 SE | 69 | 77 | 0.0017601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4723-2_0_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.04714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4723-2_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.021357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4723-2_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0086407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4723-2_0_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.053582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4723-2_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.02629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4723-2_0_2_line_77 | NAYY 4x150 SE | 75 | 77 | 0.03356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4723-2_0_2_trafo_78 | 0.25 MVA 20/0.4 kV | 79 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2721288.4796 | 1262723.7247 | 2721303.3926 | 1262734.2533
1 | 2721288.4796 | 1262723.7247 | 2721256.9162 | 1262701.4408
2 | 2721317.794 | 1262744.4208 | 2721303.3926 | 1262734.2533
3 | 2721317.794 | 1262744.4208 | 2721316.6884 | 1262763.0369
4 | 2721316.377 | 1262593.9353 | 2721327.7299 | 1262631.9243 | 2721331.8672 | 1262646.6 | 2721326.7565 | 1262674.1976 | 2721317.794 | 1262744.4208
5 | 2721316.6884 | 1262763.0369 | 2721316.3316 | 1262768.9814
6 | 2721437.3125 | 1262365.5245 | 2721402.7711 | 1262422.5218 | 2721371.4323 | 1262499.7475 | 2721343.4874 | 1262598.1619 | 2721337.0508 | 1262595.2717 | 2721329.0952 | 1262594.0519 | 2721316.377 | 1262593.9353
7 | 2721316.377 | 1262593.9353 | 2721312.6895 | 1262588.1768 | 2721307.0212 | 1262582.1469
8 | 2721298.9282 | 1262824.2717 | 2721303.0989 | 1262818.2297 | 2721307.152 | 1262810.5726 | 2721310.5103 | 1262802.6233 | 2721312.8607 | 1262794.5866 | 2721314.3375 | 1262786.5208 | 2721316.2303 | 1262770.6677 | 2721316.3316 | 1262768.9814
9 | 2721437.3125 | 1262365.5245 | 2721511.6751 | 1262246.2787 | 2721536.8547 | 1262215.7599
10 | 2721300.6758 | 1262575.3968 | 2721307.0212 | 1262582.1469
11 | 2721555.2981 | 1262193.4057 | 2721536.8547 | 1262215.7599
12 | 2721298.9282 | 1262824.2717 | 2721307.6294 | 1262834.6706 | 2721323.6494 | 1262855.262 | 2721330.0851 | 1262865.8924 | 2721337.8314 | 1262881.3206 | 2721344.4252 | 1262895.9912 | 2721349.8766 | 1262913.819 | 2721356.0836 | 1262937.7788 | 2721357.771 | 1262951.0141 | 2721359.0866 | 1262968.0452 | 2721358.9803 | 1262970.4396
13 | 2721555.2981 | 1262193.4057 | 2721590.9568 | 1262226.1598
14 | 2721555.2981 | 1262193.4057 | 2721497.6598 | 1262140.9526 | 2721473.3507 | 1262120.6019
15 | 2722062.8288 | 1261869.5451 | 2722074.2637 | 1261874.8656
16 | 2722062.8288 | 1261869.5451 | 2722056.8522 | 1261866.7643
17 | 2722083.1234 | 1261896.7778 | 2722084.3906 | 1261879.5775 | 2722074.2637 | 1261874.8656
18 | 2722044.9222 | 1261861.2134 | 2722056.8522 | 1261866.7643
19 | 2722044.9222 | 1261861.2134 | 2722046.0587 | 1261856.7022
20 | 2722044.9222 | 1261861.2134 | 2722039.7561 | 1261869.3721
21 | 2722046.0587 | 1261856.7022 | 2722049.3063 | 1261843.8106 | 2722050.28 | 1261836.6761
22 | 2722039.7561 | 1261869.3721 | 2722028.9109 | 1261886.4993
23 | 2722051.3153 | 1261829.0901 | 2722050.28 | 1261836.6761
24 | 2722016.5367 | 1261906.0413 | 2722028.9109 | 1261886.4993
25 | 2722051.3153 | 1261829.0901 | 2722052.7846 | 1261818.3241
26 | 2722016.5367 | 1261906.0413 | 2722010.2293 | 1261916.0022 | 2722001.2213 | 1261927.4638
27 | 2722313.7083 | 1261604.3467 | 2722310.8231 | 1261591.7872 | 2722307.3117 | 1261579.0747
28 | 2722313.7083 | 1261604.3467 | 2722325.5161 | 1261655.748 | 2722331.1056 | 1261668.7251
29 | 2722300.3391 | 1261483.2181 | 2722301.6164 | 1261558.456 | 2722307.3117 | 1261579.0747
30 | 2722331.1056 | 1261668.7251 | 2722355.0662 | 1261724.3536 | 2722358.0073 | 1261742.0005
31 | 2722300.3391 | 1261483.2181 | 2722296.3405 | 1261453.5312 | 2722294.7492 | 1261447.0553
32 | 2722300.3391 | 1261483.2181 | 2722321.1514 | 1261477.5595
33 | 2722360.7984 | 1261758.7473 | 2722358.0073 | 1261742.0005
34 | 2722158.0678 | 1261739.7183 | 2722157.5356 | 1261748.6931 | 2722157.2327 | 1261755.6931 | 2722157.44 | 1261767.9082 | 2722158.1885 | 1261778.7333 | 2722192.0828 | 1261780.1791 | 2722199.219 | 1261781.7056 | 2722208.2393 | 1261781.0469 | 2722214.9991 | 1261777.0831 | 2722219.6364 | 1261770.0615 | 2722245.8886 | 1261775.1307 | 2722260.6311 | 1261767.84 | 2722281.9818 | 1261761.7314 | 2722302.5297 | 1261758.3642 | 2722327.8672 | 1261758.466 | 2722360.7984 | 1261758.7473
35 | 2722369.1708 | 1261809.0432 | 2722360.7984 | 1261758.7473
36 | 2722158.0678 | 1261739.7183 | 2722142.3992 | 1261738.2156 | 2722084.3886 | 1261723.505 | 2722083.0812 | 1261723.2463
37 | 2722369.1708 | 1261809.0432 | 2722378.7926 | 1261809.1868 | 2722380.467 | 1261809.963
38 | 2722064.6904 | 1261721.4968 | 2722071.6783 | 1261721.452 | 2722077.7379 | 1261722.1888 | 2722083.0812 | 1261723.2463
39 | 2722383.665 | 1261821.7625 | 2722382.7964 | 1261813.8404 | 2722381.831 | 1261810.5953 | 2722380.467 | 1261809.963
40 | 2721555.5897 | 1261698.0819 | 2721531.0448 | 1261681.4183 | 2721525.6084 | 1261676.3911 | 2721521.0961 | 1261670.7712 | 2721512.1051 | 1261641.9969
41 | 2721555.5897 | 1261698.0819 | 2721569.9778 | 1261677.5704 | 2721581.1725 | 1261660.2751
42 | 2721368.7762 | 1262020.6442 | 2721411.2476 | 1261942.3905 | 2721453.1793 | 1261863.3143 | 2721485.8114 | 1261801.4738 | 2721508.7634 | 1261774.2543 | 2721514.3094 | 1261765.883 | 2721532.8825 | 1261747.4593 | 2721535.6063 | 1261742.1883 | 2721545.2893 | 1261718.8332 | 2721555.5897 | 1261698.0819
43 | 2721591.0562 | 1261642.9061 | 2721588.3337 | 1261649.2114 | 2721581.1725 | 1261660.2751
44 | 2721368.7762 | 1262020.6442 | 2721410.4123 | 1262060.1003 | 2721415.755 | 1262066.3711 | 2721427.0573 | 1262086.3098 | 2721432.066 | 1262092.6961 | 2721435.4633 | 1262095.5683
45 | 2721608.436 | 1261607.4207 | 2721591.0562 | 1261642.9061
46 | 2721591.0562 | 1261642.9061 | 2721580.5822 | 1261635.4509 | 2721577.356 | 1261632.4872
47 | 2721890.1556 | 1261722.877 | 2721923.0966 | 1261734.7914
48 | 2721797.4274 | 1261685.178 | 2721890.1556 | 1261722.877
49 | 2721971.8874 | 1261751.4401 | 2721964.9511 | 1261750.0317 | 2721957.7163 | 1261747.4357 | 2721944.6417 | 1261742.5841 | 2721923.0966 | 1261734.7914
50 | 2721797.4274 | 1261685.178 | 2721634.836 | 1261618.2826
51 | 2721601.3992 | 1262235.7517 | 2721590.9568 | 1262226.1598
52 | 2721473.3507 | 1262120.6019 | 2721437.9035 | 1262097.6314 | 2721435.4633 | 1262095.5683
53 | 2721608.436 | 1261607.4207 | 2721634.836 | 1261618.2826
54 | 2721608.436 | 1261607.4207 | 2721603.0551 | 1261605.1859 | 2721597.9677 | 1261601.8784 | 2721594.6273 | 1261598.5958
55 | 2721567.8454 | 1261618.1738 | 2721572.0752 | 1261627.6358 | 2721577.356 | 1261632.4872
56 | 2721971.8874 | 1261751.4401 | 2721971.9013 | 1261751.4429
57 | 2722001.2213 | 1261927.4638 | 2721978.1408 | 1261956.8309
58 | 2722053.378 | 1261760.6484 | 2722053.5173 | 1261764.1891
59 | 2722051.7786 | 1261724.0882 | 2722052.9483 | 1261733.1426 | 2722052.704 | 1261743.5135 | 2722053.378 | 1261760.6484
60 | 2722053.5173 | 1261764.1891 | 2722054.3752 | 1261786.0016
61 | 2722051.7786 | 1261724.0882 | 2722041.9341 | 1261728.62
62 | 2722064.6904 | 1261721.4968 | 2722058.3025 | 1261722.0543 | 2722051.7786 | 1261724.0882
63 | 2722053.272 | 1261814.3658 | 2722053.8971 | 1261806.1829 | 2722054.5821 | 1261791.2615 | 2722054.3752 | 1261786.0016
64 | 2721988.2797 | 1261751.058 | 2721988.2797 | 1261751.058 | 2721993.2716 | 1261749.8488 | 2722003.3587 | 1261746.0757 | 2722031.3626 | 1261733.4865 | 2722041.9341 | 1261728.62
65 | 2722064.6904 | 1261721.4968 | 2722065.4394 | 1261716.252 | 2722068.0284 | 1261711.6902 | 2722069.4137 | 1261710.1921
66 | 2722053.272 | 1261814.3658 | 2722053.205 | 1261815.2433 | 2722052.7846 | 1261818.3241
67 | 2721988.2797 | 1261751.058 | 2721982.5697 | 1261751.6408 | 2721978.4751 | 1261751.7339
68 | 2722072.0741 | 1261707.3151 | 2722069.4137 | 1261710.1921
69 | 2721973.6577 | 1261751.5568 | 2721976.9293 | 1261751.7691 | 2721978.4751 | 1261751.7339
70 | 2722072.0741 | 1261707.3151 | 2722080.1475 | 1261698.5842 | 2722083.894 | 1261693.4458 | 2722087.2027 | 1261686.886 | 2722089.3521 | 1261680.9807 | 2722091.2711 | 1261674.559 | 2722093.4302 | 1261666.3629 | 2722094.929 | 1261659.1208 | 2722095.7942 | 1261651.5318 | 2722095.8336 | 1261651.0296
71 | 2721971.9013 | 1261751.4429 | 2721973.6577 | 1261751.5568
72 | 2722100.1979 | 1261604.7366 | 2722098.4652 | 1261607.2475 | 2722097.3559 | 1261610.5943 | 2722096.6205 | 1261614.8162 | 2722096.2104 | 1261618.9781 | 2722095.8643 | 1261626.6111 | 2722096.4629 | 1261638.8677 | 2722096.3983 | 1261643.8152 | 2722095.8336 | 1261651.0296
73 | 2722100.1979 | 1261604.7366 | 2722101.345 | 1261603.5703 | 2722103.5331 | 1261602.003 | 2722107.2553 | 1261600.2338 | 2722119.3186 | 1261595.6413
74 | 2722100.1979 | 1261604.7366 | 2722096.2084 | 1261597.9148 | 2722095.9003 | 1261597.2442
75 | 2722095.9003 | 1261597.2442 | 2722091.1233 | 1261586.8445 | 2722086.4213 | 1261575.4706 | 2722084.1144 | 1261568.5613 | 2722082.2308 | 1261561.594 | 2722081.1239 | 1261554.6094 | 2722080.6925 | 1261549.5849 | 2722080.6642 | 1261546.3708
76 | 2721965.774 | 1261718.4472 | 2721960.974 | 1261692.5987
77 | 2721971.9013 | 1261751.4429 | 2721965.774 | 1261718.4472

## bus_geodata
| x | y | coords
0 | 2721288.4796 | 1262723.7247
1 | 2721303.3926 | 1262734.2533
2 | 2721256.9162 | 1262701.4408
3 | 2721317.794 | 1262744.4208
4 | 2721316.6884 | 1262763.0369
5 | 2721316.377 | 1262593.9353
6 | 2721316.3316 | 1262768.9814
7 | 2721437.3125 | 1262365.5245
8 | 2721307.0212 | 1262582.1469
9 | 2721536.8547 | 1262215.7599
10 | 2721298.9282 | 1262824.2717
11 | 2721300.6758 | 1262575.3968
12 | 2721555.2981 | 1262193.4057
13 | 2721358.9803 | 1262970.4396
14 | 2722062.8288 | 1261869.5451
15 | 2722074.2637 | 1261874.8656
16 | 2722056.8522 | 1261866.7643
17 | 2722083.1234 | 1261896.7778
18 | 2722044.9222 | 1261861.2134
19 | 2722046.0587 | 1261856.7022
20 | 2722039.7561 | 1261869.3721
21 | 2722050.28 | 1261836.6761
22 | 2722028.9109 | 1261886.4993
23 | 2722051.3153 | 1261829.0901
24 | 2722016.5367 | 1261906.0413
25 | 2722313.7083 | 1261604.3467
26 | 2722307.3117 | 1261579.0747
27 | 2722331.1056 | 1261668.7251
28 | 2722300.3391 | 1261483.2181
29 | 2722358.0073 | 1261742.0005
30 | 2722294.7492 | 1261447.0553
31 | 2722321.1514 | 1261477.5595
32 | 2722360.7984 | 1261758.7473
33 | 2722158.0678 | 1261739.7183
34 | 2722369.1708 | 1261809.0432
35 | 2722083.0812 | 1261723.2463
36 | 2722380.467 | 1261809.963
37 | 2721512.1051 | 1261641.9969
38 | 2721555.5897 | 1261698.0819
39 | 2721581.1725 | 1261660.2751
40 | 2721368.7762 | 1262020.6442
41 | 2721591.0562 | 1261642.9061
42 | 2721890.1556 | 1261722.877
43 | 2721923.0966 | 1261734.7914
44 | 2721797.4274 | 1261685.178
45 | 2721590.9568 | 1262226.1598
46 | 2721473.3507 | 1262120.6019
47 | 2721435.4633 | 1262095.5683
48 | 2721608.436 | 1261607.4207
49 | 2721577.356 | 1261632.4872
50 | 2721971.8874 | 1261751.4401
51 | 2721634.836 | 1261618.2826
52 | 2721601.3992 | 1262235.7517
53 | 2721978.1408 | 1261956.8309
54 | 2722001.2213 | 1261927.4638
55 | 2721594.6273 | 1261598.5958
56 | 2721567.8454 | 1261618.1738
57 | 2722053.378 | 1261760.6484
58 | 2722053.5172 | 1261764.1891
59 | 2722051.7786 | 1261724.0882
60 | 2722054.3752 | 1261786.0016
61 | 2722041.9341 | 1261728.62
62 | 2722064.6904 | 1261721.4968
63 | 2722053.272 | 1261814.3658
64 | 2721988.2797 | 1261751.058
65 | 2722069.4137 | 1261710.1921
66 | 2722052.7846 | 1261818.3241
67 | 2721978.4751 | 1261751.7339
68 | 2722072.0741 | 1261707.3151
69 | 2721973.6577 | 1261751.5568
70 | 2722095.8336 | 1261651.0296
71 | 2722119.3186 | 1261595.6413
72 | 2722100.1979 | 1261604.7366
73 | 2722095.9003 | 1261597.2442
74 | 2722080.6642 | 1261546.3708
75 | 2721965.774 | 1261718.4472
76 | 2721960.974 | 1261692.5987
77 | 2721971.9013 | 1261751.4429
78 | 2722383.665 | 1261821.7625
79 | 2721971.9013 | 1261751.4429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1