## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4776-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4776-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4776-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4776-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4776-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4776-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4776-2_0_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_4776-2_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4776-2_0_3_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4776-2_0_3_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_4776-2_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_4776-2_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_4776-2_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_4776-2_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4776-2_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4776-2_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4776-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4776-2_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_4776-2_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4776-2_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_4776-2_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4776-2_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_4776-2_0_3_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_4776-2_0_3_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_4776-2_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4776-2_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4776-2_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4776-2_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4776-2_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4776-2_0_3_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_4776-2_0_3_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_4776-2_0_3_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_4776-2_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4776-2_0_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_4776-2_0_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_4776-2_0_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_4776-2_0_3_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_4776-2_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4776-2_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4776-2_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4776-2_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4776-2_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4776-2_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_4776-2_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4776-2_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4776-2_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4776-2_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4776-2_0_3_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_4776-2_0_3_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_4776-2_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4776-2_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4776-2_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4776-2_0_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_4776-2_0_3_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_4776-2_0_3_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_4776-2_0_3_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_4776-2_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4776-2_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_4776-2_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4776-2_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4776-2_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_4776-2_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4776-2_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4776-2_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4776-2_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4776-2_0_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4776-2_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_4776-2_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4776-2_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_4776-2_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_4776-2_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4776-2_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_4776-2_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4776-2_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_4776-2_0_3_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_4776-2_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_4776-2_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4776-2_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4776-2_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4776-2_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4776-2_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4776-2_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4776-2_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_4776-2_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4776-2_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4776-2_0_3_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_4776-2_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_4776-2_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4776-2_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_4776-2_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4776-2_0_3_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4776-2_0_3_node_94 | 0.4 | n |  | TRUE
92 | bus_MV_440_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4776-2_0_3_load_0 | 0 | 0.0038439 | 0.00096338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4776-2_0_3_load_1 | 1 | 0.0055865 | 0.0014001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4776-2_0_3_load_3 | 3 | 0.0017298 | 0.00043353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4776-2_0_3_load_4 | 4 | 0.007035 | 0.0017631 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4776-2_0_3_load_5 | 5 | 0.0033289 | 0.0008343 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4776-2_0_3_load_50 | 6 | 0.0011734 | 0.00029409 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4776-2_0_3_load_49 | 9 | 0.0034635 | 0.00086804 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4776-2_0_3_load_19 | 10 | 0.0050025 | 0.0012537 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4776-2_0_3_load_33 | 12 | 0.0013496 | 0.00033825 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4776-2_0_3_load_6 | 13 | 0.0048908 | 0.0012258 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4776-2_0_3_load_8 | 15 | 0.0036523 | 0.00091536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4776-2_0_3_load_10 | 16 | 0.0033153 | 0.00083089 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4776-2_0_3_load_30 | 17 | 0.0044326 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4776-2_0_3_load_9 | 18 | 0.0027055 | 0.00067805 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4776-2_0_3_load_34 | 19 | 0.0015285 | 0.00038308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4776-2_0_3_load_32 | 21 | 0.0016731 | 0.00041933 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4776-2_0_3_load_66 | 22 | 0.0035137 | 0.00088061 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4776-2_0_3_load_65 | 23 | 0.0040365 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4776-2_0_3_load_13 | 24 | 0.0061382 | 0.0015384 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4776-2_0_3_load_14 | 25 | 0.0055417 | 0.0013889 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4776-2_0_3_load_15 | 26 | 0.0031167 | 0.00078111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4776-2_0_3_load_17 | 28 | 0.0040454 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4776-2_0_3_load_91 | 30 | 0.0030208 | 0.00075707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4776-2_0_3_load_26 | 32 | 0.0029356 | 0.00073572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4776-2_0_3_load_87 | 33 | 0.0034673 | 0.00086899 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4776-2_0_3_load_81 | 34 | 0.0072831 | 0.0018253 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4776-2_0_3_load_85 | 35 | 0.0031909 | 0.00079971 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4776-2_0_3_load_64 | 36 | 0.008453 | 0.0021185 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4776-2_0_3_load_21 | 37 | 0.00027405 | 6.8684e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4776-2_0_3_load_22 | 38 | 0.00029454 | 7.3818e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4776-2_0_3_load_23 | 39 | 0.0058922 | 0.0014767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4776-2_0_3_load_24 | 40 | 0.00033273 | 8.339e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4776-2_0_3_load_25 | 41 | 0.0046631 | 0.0011687 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4776-2_0_3_load_48 | 42 | 0.00032426 | 8.1266e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4776-2_0_3_load_38 | 43 | 0.00072602 | 0.00018196 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4776-2_0_3_load_36 | 44 | 0.0033751 | 0.00084587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4776-2_0_3_load_27 | 45 | 0.0029363 | 0.0007359 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4776-2_0_3_load_29 | 46 | 0.0047054 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4776-2_0_3_load_73 | 48 | 0.0065649 | 0.0016453 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4776-2_0_3_load_31 | 49 | 0.0026204 | 0.00065674 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4776-2_0_3_load_37 | 50 | 0.00072655 | 0.00018209 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4776-2_0_3_load_56 | 52 | 0.00088233 | 0.00022113 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4776-2_0_3_load_92 | 55 | 0.0015244 | 0.00038205 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4776-2_0_3_load_40 | 56 | 0.0025974 | 0.00065098 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4776-2_0_3_load_44 | 59 | 0.0010165 | 0.00025475 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4776-2_0_3_load_67 | 60 | 0.0015903 | 0.00039855 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4776-2_0_3_load_68 | 62 | 0.0019386 | 0.00048587 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4776-2_0_3_load_47 | 63 | 0.0018263 | 0.00045772 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4776-2_0_3_load_45 | 64 | 0.0020529 | 0.00051451 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4776-2_0_3_load_75 | 65 | 0.0021462 | 0.00053789 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4776-2_0_3_load_76 | 66 | 0.0040682 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4776-2_0_3_load_51 | 67 | 0.00095747 | 0.00023996 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4776-2_0_3_load_52 | 68 | 0.0033679 | 0.00084409 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4776-2_0_3_load_53 | 70 | 0.0017007 | 0.00042624 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4776-2_0_3_load_55 | 72 | 0.004332 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4776-2_0_3_load_63 | 73 | 0.0075563 | 0.0018938 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4776-2_0_3_load_93 | 74 | 0.0016408 | 0.00041123 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4776-2_0_3_load_58 | 75 | 0.0032328 | 0.00081021 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4776-2_0_3_load_59 | 76 | 0.0041815 | 0.001048 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4776-2_0_3_load_61 | 78 | 0.0033771 | 0.00084637 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4776-2_0_3_load_70 | 81 | 0.0010978 | 0.00027513 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4776-2_0_3_load_79 | 82 | 0.0055527 | 0.0013916 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4776-2_0_3_load_69 | 84 | 0.0018257 | 0.00045756 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4776-2_0_3_load_71 | 85 | 0.0017875 | 0.00044799 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4776-2_0_3_load_77 | 86 | 0.0010036 | 0.00025153 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4776-2_0_3_load_80 | 87 | 0.0035264 | 0.0008838 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4776-2_0_3_load_82 | 89 | 0.0026659 | 0.00066814 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4776-2_0_3_load_83 | 90 | 0.0012411 | 0.00031104 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4776-2_0_3_load_94 | 91 | 0.001766 | 0.00044261 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4776-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4776-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4776-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4776-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4776-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4776-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.02083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4776-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0040124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4776-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.024326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4776-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0094579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4776-2_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.021147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4776-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.025964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4776-2_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0046271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4776-2_0_3_line_12 | NAYY 4x150 SE | 9 | 67 | 0.0093531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4776-2_0_3_line_13 | NAYY 4x150 SE | 10 | 29 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4776-2_0_3_line_14 | NAYY 4x150 SE | 11 | 33 | 0.0074892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_4776-2_0_3_line_15 | NAYY 4x150 SE | 11 | 34 | 0.027989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4776-2_0_3_line_16 | NAYY 4x150 SE | 12 | 49 | 0.009697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4776-2_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.0154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4776-2_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.021481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4776-2_0_3_line_19 | NAYY 4x150 SE | 14 | 16 | 0.018296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4776-2_0_3_line_20 | NAYY 4x150 SE | 15 | 17 | 0.017329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4776-2_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.005838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4776-2_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.032492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4776-2_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.012999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4776-2_0_3_line_24 | NAYY 4x150 SE | 20 | 32 | 0.01733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4776-2_0_3_line_25 | NAYY 4x150 SE | 20 | 27 | 0.005453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4776-2_0_3_line_26 | NAYY 4x150 SE | 21 | 49 | 0.015814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4776-2_0_3_line_27 | NAYY 4x150 SE | 22 | 23 | 0.0058285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4776-2_0_3_line_28 | NAYY 4x150 SE | 23 | 78 | 0.016716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4776-2_0_3_line_29 | NAYY 4x150 SE | 24 | 25 | 0.0081208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4776-2_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.028385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4776-2_0_3_line_31 | NAYY 4x150 SE | 25 | 27 | 0.030551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4776-2_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.026462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4776-2_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.010687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4776-2_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.002372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4776-2_0_3_line_35 | NAYY 4x150 SE | 31 | 47 | 0.034548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4776-2_0_3_line_36 | NAYY 4x150 SE | 32 | 45 | 0.011381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4776-2_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.034119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4776-2_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.030631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4776-2_0_3_line_39 | NAYY 4x150 SE | 35 | 90 | 0.028492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4776-2_0_3_line_40 | NAYY 4x150 SE | 36 | 73 | 0.0096463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4776-2_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.016393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4776-2_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.023977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4776-2_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0061584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4776-2_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.020234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4776-2_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.036523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4776-2_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.011539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4776-2_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0095274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4776-2_0_3_line_48 | NAYY 4x150 SE | 44 | 50 | 0.013227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4776-2_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.015572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4776-2_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0047959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4776-2_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.015635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4776-2_0_3_line_52 | NAYY 4x150 SE | 48 | 79 | 0.023478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4776-2_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.025484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4776-2_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.035865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4776-2_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.010481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4776-2_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.021576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4776-2_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.01207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4776-2_0_3_line_58 | NAYY 4x150 SE | 54 | 69 | 0.040218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4776-2_0_3_line_59 | NAYY 4x150 SE | 54 | 68 | 0.0026537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4776-2_0_3_line_60 | NAYY 4x150 SE | 55 | 74 | 0.015077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4776-2_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.014362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4776-2_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.016048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4776-2_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.029933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4776-2_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.02524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4776-2_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.03153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4776-2_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.034419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4776-2_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.0099118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4776-2_0_3_line_68 | NAYY 4x150 SE | 61 | 64 | 0.031759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4776-2_0_3_line_69 | NAYY 4x150 SE | 63 | 65 | 0.0050339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4776-2_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.035206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4776-2_0_3_line_71 | NAYY 4x150 SE | 66 | 87 | 0.021772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4776-2_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.020789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4776-2_0_3_line_73 | NAYY 4x150 SE | 69 | 72 | 0.019858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4776-2_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.039026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4776-2_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.015533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4776-2_0_3_line_76 | NAYY 4x150 SE | 74 | 91 | 0.011907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4776-2_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.020089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4776-2_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.0040404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4776-2_0_3_line_79 | NAYY 4x150 SE | 76 | 78 | 0.028269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4776-2_0_3_line_80 | NAYY 4x150 SE | 77 | 79 | 0.018375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4776-2_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.04095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4776-2_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.013225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4776-2_0_3_line_83 | NAYY 4x150 SE | 80 | 84 | 0.00252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4776-2_0_3_line_84 | NAYY 4x150 SE | 81 | 85 | 0.0029904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4776-2_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.033463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4776-2_0_3_line_86 | NAYY 4x150 SE | 83 | 86 | 0.0067668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4776-2_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.044852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4776-2_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.003203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4776-2_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.021438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4776-2_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.028618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4776-2_0_3_trafo_85 | 0.25 MVA 20/0.4 kV | 92 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2720040.5197 | 1264129.0825 | 2720039.8345 | 1264162.5624
1 | 2720041.085 | 1264101.4566 | 2720040.5197 | 1264129.0825
2 | 2720039.8345 | 1264162.5624 | 2720039.2299 | 1264192.1036
3 | 2720041.085 | 1264101.4566 | 2720067.4239 | 1264102.32
4 | 2720041.085 | 1264101.4566 | 2720041.3354 | 1264089.2604
5 | 2720039.2299 | 1264192.1036 | 2720038.8037 | 1264212.9293
6 | 2720071.4342 | 1264102.4515 | 2720067.4239 | 1264102.32
7 | 2720041.8345 | 1264064.9393 | 2720041.3354 | 1264089.2604
8 | 2720038.6102 | 1264222.3853 | 2720038.8037 | 1264212.9293
9 | 2720071.4342 | 1264102.4515 | 2720071.8041 | 1264095.3749 | 2720071.8696 | 1264092.5181 | 2720074.458 | 1264091.5698 | 2720074.6821 | 1264083.1262
10 | 2720097.3726 | 1264104.7247 | 2720093.5163 | 1264104.3015 | 2720086.0209 | 1264103.5153 | 2720082.9668 | 1264103.2864 | 2720081.1386 | 1264103.1603 | 2720071.4342 | 1264102.4515
11 | 2720041.8345 | 1264064.9393 | 2720041.9238 | 1264060.313
12 | 2720038.6102 | 1264222.3853 | 2720038.4188 | 1264231.7365
13 | 2720072.3021 | 1264066.0477 | 2720074.9404 | 1264073.3967 | 2720074.6821 | 1264083.1262
14 | 2720097.3726 | 1264104.7247 | 2720099.073 | 1264097.431
15 | 2720097.3726 | 1264104.7247 | 2720091.005 | 1264131.9799
16 | 2720041.9238 | 1264060.313 | 2720042.1108 | 1264050.6178
17 | 2720043.4935 | 1263947.3236 | 2720042.5356 | 1263937.362 | 2720041.8295 | 1263932.0163
18 | 2720043.4935 | 1263947.3236 | 2720047.1795 | 1263947.2317 | 2720052.8283 | 1263947.6913 | 2720056.9375 | 1263948.6533 | 2720060.919 | 1263949.9687 | 2720064.3678 | 1263951.3443
19 | 2720043.4935 | 1263947.3236 | 2720039.8438 | 1263948.9621 | 2720035.4568 | 1263950.9193 | 2720026.2273 | 1263953.1342
20 | 2720064.3678 | 1263951.3443 | 2720065.1789 | 1263951.6678 | 2720075.005 | 1263956.0378 | 2720080.0665 | 1263958.6629
21 | 2720085.249 | 1263961.3506 | 2720080.0665 | 1263958.6629
22 | 2720043.293 | 1263989.3246 | 2720042.6664 | 1264021.8102
23 | 2720042.4157 | 1264034.8068 | 2720042.6664 | 1264021.8102
24 | 2720085.249 | 1263961.3506 | 2720092.0572 | 1263958.1416 | 2720101.5981 | 1263955.8903
25 | 2720085.249 | 1263961.3506 | 2720089.9696 | 1263964.1045
26 | 2720042.4157 | 1264034.8068 | 2720042.1108 | 1264050.6178
27 | 2720091.0595 | 1263900.9556 | 2720089.4708 | 1263900.4265 | 2720086.3558 | 1263897.6784
28 | 2720091.0595 | 1263900.9556 | 2720099.3566 | 1263903.7191 | 2720107.3069 | 1263903.1536
29 | 2720079.065 | 1264000.8709 | 2720080.147 | 1263992.8226
30 | 2720079.065 | 1264000.8709 | 2720077.3979 | 1264013.2708 | 2720075.8724 | 1264029.0711
31 | 2720089.9696 | 1263964.1045 | 2720088.2837 | 1263966.9839 | 2720086.3441 | 1263971.2261 | 2720083.7372 | 1263977.9013 | 2720081.6703 | 1263984.3317 | 2720080.4069 | 1263990.8897 | 2720080.147 | 1263992.8226
32 | 2720075.8724 | 1264029.0711 | 2720073.3292 | 1264055.4105
33 | 2720072.3021 | 1264066.0477 | 2720073.3292 | 1264055.4105
34 | 2720128.215 | 1263982.531 | 2720126.0575 | 1263981.5451
35 | 2720128.215 | 1263982.531 | 2720130.2518 | 1263977.9572 | 2720131.1969 | 1263974.0841 | 2720132.7637 | 1263954.8321 | 2720132.4987 | 1263948.5989
36 | 2720112.6748 | 1263953.2766 | 2720101.5981 | 1263955.8903
37 | 2720114.2121 | 1264067.2959 | 2720109.0346 | 1264074.3678 | 2720105.6214 | 1264079.5698 | 2720101.8157 | 1264087.0325 | 2720099.5764 | 1264095.2721 | 2720099.073 | 1264097.431
38 | 2720091.005 | 1264131.9799 | 2720084.0363 | 1264161.8074
39 | 2720131.0431 | 1264044.3069 | 2720114.2121 | 1264067.2959
40 | 2720081.8417 | 1264171.2007 | 2720084.0363 | 1264161.8074
41 | 2720128.9861 | 1264298.0878 | 2720129.2865 | 1264298.5014 | 2720139.1722 | 1264310.9309
42 | 2720118.9614 | 1264276.5306 | 2720121.7926 | 1264285.4264 | 2720123.3189 | 1264289.283 | 2720125.417 | 1264293.1736 | 2720128.9861 | 1264298.0878
43 | 2720142.9865 | 1264315.7653 | 2720142.6193 | 1264315.265 | 2720139.1722 | 1264310.9309
44 | 2720118.9614 | 1264276.5306 | 2720113.118 | 1264258.1703 | 2720112.7539 | 1264257.2753
45 | 2720142.9865 | 1264315.7653 | 2720164.5973 | 1264345.2083
46 | 2720107.9577 | 1264246.7943 | 2720110.4129 | 1264251.5205 | 2720112.7539 | 1264257.2753
47 | 2720107.9577 | 1264246.7943 | 2720106.9329 | 1264244.8216 | 2720102.6917 | 1264238.8746 | 2720102.6917 | 1264238.8746
48 | 2720090.1762 | 1264236.8677 | 2720090.8627 | 1264236.6991 | 2720094.8733 | 1264236.2023 | 2720097.7098 | 1264236.3823 | 2720100.4044 | 1264237.2489 | 2720102.6917 | 1264238.8746
49 | 2720112.6748 | 1263953.2766 | 2720127.8309 | 1263949.7003
50 | 2720132.4987 | 1263948.5989 | 2720127.8309 | 1263949.7003
51 | 2720132.4987 | 1263948.5989 | 2720147.3996 | 1263943.8641
52 | 2720166.6062 | 1263930.7983 | 2720164.2523 | 1263933.9199 | 2720147.3996 | 1263943.8641
53 | 2720065.2733 | 1264242.1176 | 2720072.6682 | 1264241.1669 | 2720090.1762 | 1264236.8677
54 | 2720065.2733 | 1264242.1176 | 2720073.4328 | 1264207.1931
55 | 2720058.5485 | 1264249.7657 | 2720062.0762 | 1264247.4464 | 2720064.0316 | 1264245.0172 | 2720065.2733 | 1264242.1176
56 | 2720037.9392 | 1264255.1743 | 2720043.7848 | 1264255.2041 | 2720047.272 | 1264254.5076 | 2720058.5485 | 1264249.7657
57 | 2720058.5485 | 1264249.7657 | 2720062.3901 | 1264256.8389 | 2720063.5853 | 1264260.6777
58 | 2720037.9392 | 1264255.1743 | 2720037.7537 | 1264265.046 | 2720037.9056 | 1264295.3873
59 | 2720037.9392 | 1264255.1743 | 2720037.9935 | 1264252.5212
60 | 2720063.5853 | 1264260.6777 | 2720063.5853 | 1264260.6777 | 2720063.8727 | 1264263.5861 | 2720063.7106 | 1264266.3742 | 2720063.342 | 1264268.2017 | 2720061.65 | 1264275.5055
61 | 2720271.0963 | 1264000.0843 | 2720275.5887 | 1263999.2416 | 2720280.4108 | 1263997.7495 | 2720284.7517 | 1263995.8361
62 | 2720271.0963 | 1264000.0843 | 2720262.3599 | 1263986.6057
63 | 2720271.0963 | 1264000.0843 | 2720262.0485 | 1264001.5349 | 2720252.926 | 1264003.3177 | 2720248.5524 | 1264004.6188 | 2720244.287 | 1264006.1556 | 2720242.2088 | 1264007.3107
64 | 2720262.3599 | 1263986.6057 | 2720258.6967 | 1263983.3505 | 2720255.4151 | 1263979.8585 | 2720252.9102 | 1263976.7047 | 2720250.32 | 1263972.9265 | 2720246.6883 | 1263967.014
65 | 2720225.1719 | 1264032.1235 | 2720225.45 | 1264028.8262 | 2720226.0647 | 1264025.647 | 2720226.7626 | 1264023.5593 | 2720228.4444 | 1264020.146 | 2720231.6408 | 1264015.9739 | 2720234.8621 | 1264012.8033 | 2720240.1949 | 1264008.43 | 2720242.2088 | 1264007.3107
66 | 2720246.6883 | 1263967.014 | 2720225.6651 | 1263939.7622 | 2720225.6651 | 1263939.7622
67 | 2720225.1719 | 1264032.1235 | 2720215.2604 | 1264032.0477
68 | 2720225.1719 | 1264032.1235 | 2720231.8252 | 1264032.4591 | 2720235.5989 | 1264032.8695 | 2720239.9042 | 1264033.4464 | 2720244.1598 | 1264034.2448 | 2720248.6974 | 1264035.2491 | 2720253.2069 | 1264036.5308 | 2720256.3412 | 1264037.5385
69 | 2720215.2604 | 1264032.0477 | 2720210.2267 | 1264032.0092
70 | 2720210.2267 | 1264032.0092 | 2720202.4075 | 1264031.9494 | 2720196.0139 | 1264031.4412 | 2720193.3573 | 1264030.9312 | 2720190.3461 | 1264030.0693 | 2720187.5869 | 1264029.0456 | 2720185.1542 | 1264027.8951 | 2720183.1806 | 1264026.7651 | 2720181.2568 | 1264025.4137 | 2720179.1727 | 1264023.7921 | 2720177.5107 | 1264022.2974
71 | 2720162.7828 | 1264006.2761 | 2720166.518 | 1264010.3341 | 2720172.4151 | 1264017.1044 | 2720176.6423 | 1264021.5165 | 2720177.5107 | 1264022.2974
72 | 2720038.4188 | 1264231.7365 | 2720037.9935 | 1264252.5212
73 | 2720037.9056 | 1264295.3873 | 2720029.9828 | 1264297.8509 | 2720021.0829 | 1264305.2293
74 | 2720009.1248 | 1264315.143 | 2719977.771 | 1264291.9061
75 | 2720009.1248 | 1264315.143 | 2720021.0829 | 1264305.2293
76 | 2720059.8435 | 1264287.2476 | 2720060.4598 | 1264280.6432 | 2720061.65 | 1264275.5055
77 | 2720152.7609 | 1263914.0024 | 2720134.383 | 1263905.8897
78 | 2720156.4572 | 1263915.6341 | 2720152.7609 | 1263914.0024
79 | 2720107.3069 | 1263903.1536 | 2720108.7201 | 1263903.0531 | 2720119.1036 | 1263900.7619 | 2720125.5057 | 1263901.9708 | 2720134.383 | 1263905.8897
80 | 2720166.6062 | 1263930.7983 | 2720163.5533 | 1263924.2081 | 2720156.4572 | 1263915.6341
81 | 2720188.0538 | 1263965.7208 | 2720186.6527 | 1263963.4904 | 2720182.1062 | 1263956.2471 | 2720166.6062 | 1263930.7983
82 | 2720166.6062 | 1263930.7983 | 2720177.6131 | 1263923.4667
83 | 2720188.0538 | 1263965.7208 | 2720190.1278 | 1263964.2894
84 | 2720180.102 | 1263921.809 | 2720177.6131 | 1263923.4667
85 | 2720207.6231 | 1263878.1739 | 2720202.0773 | 1263870.799 | 2720180.1114 | 1263860.5584
86 | 2720207.6231 | 1263878.1739 | 2720203.5291 | 1263883.5617
87 | 2720180.102 | 1263921.809 | 2720203.5291 | 1263883.5617
88 | 2720160.6136 | 1264003.9195 | 2720162.7828 | 1264006.2761
89 | 2720160.6136 | 1264003.9195 | 2720158.6143 | 1264006.648 | 2720147.9487 | 1264021.2159
90 | 2720147.9487 | 1264021.2159 | 2720131.0431 | 1264044.3069

## bus_geodata
| x | y | coords
0 | 2720040.5197 | 1264129.0825
1 | 2720039.8345 | 1264162.5624
2 | 2720041.085 | 1264101.4566
3 | 2720039.2299 | 1264192.1036
4 | 2720067.4239 | 1264102.32
5 | 2720041.3354 | 1264089.2604
6 | 2720038.8037 | 1264212.9293
7 | 2720071.4342 | 1264102.4515
8 | 2720041.8345 | 1264064.9393
9 | 2720038.6102 | 1264222.3853
10 | 2720074.6821 | 1264083.1262
11 | 2720097.3726 | 1264104.7247
12 | 2720041.9238 | 1264060.313
13 | 2720041.8295 | 1263932.0163
14 | 2720043.4935 | 1263947.3236
15 | 2720064.3678 | 1263951.3443
16 | 2720026.2273 | 1263953.1342
17 | 2720080.0665 | 1263958.6629
18 | 2720043.293 | 1263989.3246
19 | 2720042.6664 | 1264021.8102
20 | 2720085.249 | 1263961.3506
21 | 2720042.4157 | 1264034.8068
22 | 2720086.3558 | 1263897.6784
23 | 2720091.0595 | 1263900.9556
24 | 2720079.065 | 1264000.8709
25 | 2720080.147 | 1263992.8226
26 | 2720075.8724 | 1264029.0711
27 | 2720089.9696 | 1263964.1045
28 | 2720073.3292 | 1264055.4105
29 | 2720072.3021 | 1264066.0477
30 | 2720126.0575 | 1263981.5451
31 | 2720128.215 | 1263982.531
32 | 2720101.5981 | 1263955.8903
33 | 2720099.073 | 1264097.431
34 | 2720091.005 | 1264131.9799
35 | 2720114.2121 | 1264067.2959
36 | 2720084.0363 | 1264161.8074
37 | 2720128.9861 | 1264298.0878
38 | 2720139.1722 | 1264310.9309
39 | 2720118.9614 | 1264276.5306
40 | 2720142.9865 | 1264315.7653
41 | 2720112.7539 | 1264257.2753
42 | 2720164.5973 | 1264345.2083
43 | 2720107.9577 | 1264246.7943
44 | 2720102.6917 | 1264238.8746
45 | 2720112.6748 | 1263953.2766
46 | 2720127.8309 | 1263949.7003
47 | 2720132.4987 | 1263948.5989
48 | 2720147.3996 | 1263943.8641
49 | 2720042.1108 | 1264050.6178
50 | 2720090.1762 | 1264236.8677
51 | 2720065.2733 | 1264242.1176
52 | 2720073.4328 | 1264207.1931
53 | 2720058.5485 | 1264249.7657
54 | 2720037.9392 | 1264255.1743
55 | 2720063.5853 | 1264260.6777
56 | 2720284.7517 | 1263995.8361
57 | 2720271.0963 | 1264000.0843
58 | 2720262.3599 | 1263986.6057
59 | 2720242.2088 | 1264007.3107
60 | 2720246.6883 | 1263967.014
61 | 2720225.1719 | 1264032.1235
62 | 2720225.6651 | 1263939.7622
63 | 2720215.2604 | 1264032.0477
64 | 2720256.3412 | 1264037.5385
65 | 2720210.2267 | 1264032.0092
66 | 2720177.5107 | 1264022.2974
67 | 2720038.4188 | 1264231.7365
68 | 2720037.9935 | 1264252.5212
69 | 2720037.9056 | 1264295.3873
70 | 2719977.771 | 1264291.9061
71 | 2720009.1248 | 1264315.143
72 | 2720021.0829 | 1264305.2293
73 | 2720081.8417 | 1264171.2007
74 | 2720061.65 | 1264275.5055
75 | 2720152.7609 | 1263914.0024
76 | 2720134.383 | 1263905.8897
77 | 2720156.4572 | 1263915.6341
78 | 2720107.3069 | 1263903.1536
79 | 2720166.6062 | 1263930.7983
80 | 2720188.0538 | 1263965.7208
81 | 2720177.6131 | 1263923.4667
82 | 2720180.1114 | 1263860.5584
83 | 2720207.6231 | 1263878.1739
84 | 2720190.1278 | 1263964.2894
85 | 2720180.102 | 1263921.809
86 | 2720203.5291 | 1263883.5617
87 | 2720162.7828 | 1264006.2761
88 | 2720160.6136 | 1264003.9195
89 | 2720147.9487 | 1264021.2159
90 | 2720131.0431 | 1264044.3069
91 | 2720059.8435 | 1264287.2476
92 | 2720097.3726 | 1264104.7247

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1