## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4801-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4801-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4801-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4801-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4801-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4801-1_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_4801-1_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4801-1_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4801-1_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_4801-1_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4801-1_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4801-1_0_3_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_4801-1_0_3_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_4801-1_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4801-1_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4801-1_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4801-1_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4801-1_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4801-1_0_3_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_4801-1_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4801-1_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_4801-1_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4801-1_0_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_4801-1_0_3_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_4801-1_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4801-1_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4801-1_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4801-1_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4801-1_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4801-1_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_4801-1_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_4801-1_0_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_4801-1_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_4801-1_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_4801-1_0_3_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_4801-1_0_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4801-1_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_4801-1_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4801-1_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4801-1_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4801-1_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4801-1_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4801-1_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4801-1_0_3_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_4801-1_0_3_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_4801-1_0_3_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_4801-1_0_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_4801-1_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_4801-1_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_4801-1_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_4801-1_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4801-1_0_3_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_4801-1_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_4801-1_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4801-1_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4801-1_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_4801-1_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_4801-1_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4801-1_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4801-1_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4801-1_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4801-1_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4801-1_0_3_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_4801-1_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_4801-1_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4801-1_0_3_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_4801-1_0_3_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_4801-1_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_4801-1_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4801-1_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_4801-1_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_4801-1_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4801-1_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4801-1_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4801-1_0_3_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_4801-1_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_4801-1_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_4801-1_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4801-1_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_MV_439_1_node_265 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4801-1_0_3_load_0 | 0 | 0.0013294 | 0.00033318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4801-1_0_3_load_1 | 1 | 0.00058661 | 0.00014702 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4801-1_0_3_load_3 | 3 | 0.00051059 | 0.00012797 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4801-1_0_3_load_4 | 4 | 0.00089952 | 0.00022544 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4801-1_0_3_load_5 | 6 | 0.00066337 | 0.00016626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4801-1_0_3_load_6 | 7 | 0.0025703 | 0.00064419 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4801-1_0_3_load_10 | 9 | 0.007189 | 0.0018017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4801-1_0_3_load_7 | 10 | 0.00055919 | 0.00014015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4801-1_0_3_load_69 | 11 | 0.0016467 | 0.0004127 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4801-1_0_3_load_68 | 12 | 0.0038448 | 0.0009636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4801-1_0_3_load_14 | 14 | 0.0042075 | 0.0010545 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4801-1_0_3_load_15 | 15 | 0.0047912 | 0.0012008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4801-1_0_3_load_16 | 17 | 0.0063839 | 0.0015999 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4801-1_0_3_load_84 | 18 | 0.0050719 | 0.0012711 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4801-1_0_3_load_19 | 20 | 0.0018553 | 0.00046498 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4801-1_0_3_load_20 | 21 | 0.0017629 | 0.00044183 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4801-1_0_3_load_70 | 22 | 0.0017629 | 0.00044183 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4801-1_0_3_load_71 | 23 | 0.0015694 | 0.00039334 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4801-1_0_3_load_21 | 24 | 0.0016869 | 0.00042277 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4801-1_0_3_load_22 | 25 | 0.0019098 | 0.00047864 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4801-1_0_3_load_23 | 26 | 0.0050188 | 0.0012578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4801-1_0_3_load_25 | 28 | 0.0024655 | 0.00061792 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4801-1_0_3_load_38 | 29 | 0.003327 | 0.00083383 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4801-1_0_3_load_33 | 33 | 0.00089586 | 0.00022452 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4801-1_0_3_load_77 | 34 | 0.0018712 | 0.00046897 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4801-1_0_3_load_76 | 35 | 0.0037847 | 0.00094853 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4801-1_0_3_load_53 | 36 | 0.0012101 | 0.00030328 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4801-1_0_3_load_26 | 37 | 0.0026536 | 0.00066506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4801-1_0_3_load_27 | 38 | 0.0035238 | 0.00088316 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4801-1_0_3_load_30 | 41 | 0.003097 | 0.00077618 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4801-1_0_3_load_63 | 43 | 0.0021163 | 0.00053039 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4801-1_0_3_load_72 | 44 | 0.0012311 | 0.00030854 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4801-1_0_3_load_67 | 45 | 0.0011785 | 0.00029535 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4801-1_0_3_load_64 | 46 | 0.0017941 | 0.00044965 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4801-1_0_3_load_65 | 48 | 0.0012967 | 0.00032499 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4801-1_0_3_load_49 | 49 | 0.0007301 | 0.00018298 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4801-1_0_3_load_50 | 50 | 0.00057918 | 0.00014516 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4801-1_0_3_load_75 | 51 | 0.003919 | 0.0009822 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4801-1_0_3_load_57 | 52 | 0.0017302 | 0.00043363 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4801-1_0_3_load_35 | 53 | 0.002141 | 0.00053658 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4801-1_0_3_load_37 | 54 | 0.0015362 | 0.000385 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4801-1_0_3_load_60 | 55 | 0.0030309 | 0.00075961 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4801-1_0_3_load_39 | 56 | 0.0019406 | 0.00048636 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4801-1_0_3_load_40 | 57 | 0.0013136 | 0.00032921 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4801-1_0_3_load_41 | 58 | 0.0013136 | 0.00032921 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4801-1_0_3_load_42 | 59 | 0.0018177 | 0.00045555 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4801-1_0_3_load_43 | 60 | 0.0013136 | 0.00032921 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4801-1_0_3_load_82 | 62 | 0.003054 | 0.00076541 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4801-1_0_3_load_58 | 63 | 0.0025591 | 0.00064137 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4801-1_0_3_load_45 | 64 | 0.00093529 | 0.00023441 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4801-1_0_3_load_83 | 65 | 0.0032271 | 0.00080878 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4801-1_0_3_load_44 | 66 | 0.00093621 | 0.00023464 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4801-1_0_3_load_46 | 67 | 0.00093595 | 0.00023457 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4801-1_0_3_load_48 | 68 | 0.0016161 | 0.00040504 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4801-1_0_3_load_73 | 69 | 0.001614 | 0.00040452 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4801-1_0_3_load_79 | 70 | 0.0059163 | 0.0014828 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4801-1_0_3_load_52 | 71 | 0.0012736 | 0.0003192 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4801-1_0_3_load_81 | 74 | 0.001709 | 0.00042832 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4801-1_0_3_load_78 | 75 | 0.0021344 | 0.00053493 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4801-1_0_3_load_80 | 76 | 0.0039894 | 0.00099983 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4801-1_0_3_load_61 | 77 | 0.0049633 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4801-1_0_3_load_66 | 78 | 0.0029477 | 0.00073877 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4801-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4801-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4801-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0079448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4801-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.045732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4801-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.16003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4801-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4801-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.035518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4801-1_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.029267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4801-1_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.032654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4801-1_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.026767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4801-1_0_3_line_10 | NAYY 4x150 SE | 8 | 16 | 0.024826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4801-1_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.026585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4801-1_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.014335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4801-1_0_3_line_13 | NAYY 4x150 SE | 12 | 78 | 0.023499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4801-1_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.020465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4801-1_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.037112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4801-1_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0030013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4801-1_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.015943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4801-1_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.019674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4801-1_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.022284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4801-1_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0020435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4801-1_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0086423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4801-1_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.038105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4801-1_0_3_line_23 | NAYY 4x150 SE | 23 | 44 | 0.014496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4801-1_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.011364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4801-1_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.029448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4801-1_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0096459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4801-1_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.033333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4801-1_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.008596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4801-1_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.033792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4801-1_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.018147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4801-1_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.025329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4801-1_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0089866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4801-1_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.062224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4801-1_0_3_line_34 | NAYY 4x150 SE | 31 | 35 | 0.028848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4801-1_0_3_line_35 | NAYY 4x150 SE | 31 | 36 | 0.019721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4801-1_0_3_line_36 | NAYY 4x150 SE | 32 | 54 | 0.035807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4801-1_0_3_line_37 | NAYY 4x150 SE | 32 | 53 | 0.012341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4801-1_0_3_line_38 | NAYY 4x150 SE | 33 | 49 | 0.015689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4801-1_0_3_line_39 | NAYY 4x150 SE | 34 | 75 | 0.040047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4801-1_0_3_line_40 | NAYY 4x150 SE | 35 | 69 | 0.0039997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4801-1_0_3_line_41 | NAYY 4x150 SE | 36 | 71 | 0.013441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4801-1_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.028971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4801-1_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.02582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4801-1_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.031138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4801-1_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.047201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4801-1_0_3_line_46 | NAYY 4x150 SE | 39 | 42 | 0.025966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4801-1_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.0075555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4801-1_0_3_line_48 | NAYY 4x150 SE | 40 | 44 | 0.041004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4801-1_0_3_line_49 | NAYY 4x150 SE | 42 | 45 | 0.029812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4801-1_0_3_line_50 | NAYY 4x150 SE | 42 | 46 | 0.0094425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4801-1_0_3_line_51 | NAYY 4x150 SE | 43 | 47 | 0.018772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4801-1_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.011421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4801-1_0_3_line_53 | NAYY 4x150 SE | 47 | 55 | 0.013848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4801-1_0_3_line_54 | NAYY 4x150 SE | 47 | 54 | 0.011635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4801-1_0_3_line_55 | NAYY 4x150 SE | 48 | 78 | 0.025702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4801-1_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.015584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4801-1_0_3_line_57 | NAYY 4x150 SE | 51 | 52 | 0.032577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4801-1_0_3_line_58 | NAYY 4x150 SE | 52 | 72 | 0.02118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4801-1_0_3_line_59 | NAYY 4x150 SE | 55 | 77 | 0.028905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4801-1_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0047003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4801-1_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.0010859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4801-1_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.022051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4801-1_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.0057862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4801-1_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.020888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4801-1_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.016311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4801-1_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.020551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4801-1_0_3_line_67 | NAYY 4x150 SE | 61 | 64 | 0.0090085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4801-1_0_3_line_68 | NAYY 4x150 SE | 62 | 65 | 0.026054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4801-1_0_3_line_69 | NAYY 4x150 SE | 63 | 70 | 0.019808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4801-1_0_3_line_70 | NAYY 4x150 SE | 64 | 66 | 0.0017025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4801-1_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.0024714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4801-1_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.026698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4801-1_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.00064912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4801-1_0_3_line_74 | NAYY 4x150 SE | 70 | 76 | 0.0018987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4801-1_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.027835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4801-1_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.010727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4801-1_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 0.056158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4801-1_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 79 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2720216.8435 | 1281547.9685 | 2720219.7389 | 1281551.9772
1 | 2720205.7021 | 1281532.5434 | 2720216.8435 | 1281547.9685
2 | 2720219.7389 | 1281551.9772 | 2720224.3908 | 1281558.4177
3 | 2720205.7021 | 1281532.5434 | 2720247.1645 | 1281525.6712 | 2720250.7844 | 1281524.8881
4 | 2720045.6715 | 1281532.1937 | 2720205.7021 | 1281532.5434
5 | 2720224.3908 | 1281558.4177 | 2720238.5028 | 1281577.9555 | 2720232.776 | 1281583.929
6 | 2720250.7844 | 1281524.8881 | 2720285.4989 | 1281517.3779
7 | 2720045.6715 | 1281532.1937 | 2720016.6603 | 1281536.6629
8 | 2720045.6715 | 1281532.1937 | 2720042.6781 | 1281499.6772
9 | 2720214.252 | 1281603.251 | 2720232.776 | 1281583.929
10 | 2720016.6603 | 1281536.6629 | 2719992.0037 | 1281540.1311
11 | 2720029.2729 | 1281486.5053 | 2720041.354 | 1281485.2945 | 2720042.6781 | 1281499.6772
12 | 2719967.428 | 1281569.8675 | 2719981.1575 | 1281570.7061 | 2719981.7371 | 1281570.7158
13 | 2719944.142 | 1281566.8067 | 2719963.1293 | 1281569.6049 | 2719967.428 | 1281569.8675
14 | 2720029.2729 | 1281486.5053 | 2720026.5861 | 1281466.2174
15 | 2720029.2729 | 1281486.5053 | 2720006.1724 | 1281488.8039 | 2720007.5667 | 1281502.631
16 | 2720026.5861 | 1281466.2174 | 2720026.1921 | 1281463.2421
17 | 2719992.0037 | 1281540.1311 | 2719989.4247 | 1281524.3969
18 | 2720023.6091 | 1281443.7382 | 2720026.1921 | 1281463.2421
19 | 2720023.6091 | 1281443.7382 | 2720044.2376 | 1281435.3091
20 | 2720023.6091 | 1281443.7382 | 2720021.7101 | 1281444.493
21 | 2720013.6788 | 1281447.685 | 2720021.7101 | 1281444.493
22 | 2720013.6788 | 1281447.685 | 2719988.5529 | 1281457.6713 | 2719977.8303 | 1281460.4112 | 2719977.8303 | 1281460.4112
23 | 2719977.8303 | 1281460.4112 | 2719967.265 | 1281461.3305 | 2719963.3757 | 1281461.2264
24 | 2719823.8242 | 1281470.2524 | 2719821.1826 | 1281481.3051
25 | 2719823.8242 | 1281470.2524 | 2719830.6695 | 1281441.6111
26 | 2719818.9404 | 1281490.6868 | 2719821.1826 | 1281481.3051
27 | 2719830.6695 | 1281441.6111 | 2719838.418 | 1281409.1911
28 | 2719818.9404 | 1281490.6868 | 2719827.198 | 1281488.2988
29 | 2719818.9404 | 1281490.6868 | 2719786.55 | 1281500.6381
30 | 2719842.6365 | 1281391.5408 | 2719838.418 | 1281409.1911
31 | 2719851.5304 | 1281481.2624 | 2719827.198 | 1281488.2988
32 | 2719786.55 | 1281500.6381 | 2719778.0776 | 1281503.634
33 | 2719842.6365 | 1281391.5408 | 2719854.9815 | 1281330.5539
34 | 2719842.6365 | 1281391.5408 | 2719871.4523 | 1281390.1859
35 | 2719842.6365 | 1281391.5408 | 2719822.9507 | 1281392.7182
36 | 2719851.5304 | 1281481.2624 | 2719885.9261 | 1281471.3102
37 | 2719851.5304 | 1281481.2624 | 2719848.9074 | 1281493.3213
38 | 2719763.3798 | 1281509.1215 | 2719777.0923 | 1281503.9825 | 2719778.0776 | 1281503.634
39 | 2719878.1672 | 1281311.5849 | 2719859.3218 | 1281309.8801 | 2719856.6918 | 1281322.1049 | 2719854.9815 | 1281330.5539
40 | 2719875.4477 | 1281389.998 | 2719871.4523 | 1281390.1859
41 | 2719809.534 | 1281393.5207 | 2719822.9507 | 1281392.7182
42 | 2719908.6517 | 1281519.0946 | 2719913.7776 | 1281500.602 | 2719916.7529 | 1281491.2839
43 | 2719901.7547 | 1281543.9765 | 2719908.6517 | 1281519.0946
44 | 2719922.3934 | 1281460.7616 | 2719919.4581 | 1281482.8117 | 2719916.7529 | 1281491.2839
45 | 2719901.7547 | 1281543.9765 | 2719899.6615 | 1281542.7439 | 2719857.9727 | 1281526.4177
46 | 2719899.057 | 1281555.4659 | 2719894.0139 | 1281553.0166 | 2719901.295 | 1281549.2166 | 2719906.9908 | 1281546.908 | 2719901.7547 | 1281543.9765
47 | 2719922.3934 | 1281460.7616 | 2719915.1353 | 1281462.8608
48 | 2719922.3934 | 1281460.7616 | 2719930.7398 | 1281460.3532 | 2719963.3757 | 1281461.2264
49 | 2719899.057 | 1281555.4659 | 2719889.512 | 1281559.4089 | 2719882.4698 | 1281560.7003 | 2719875.6325 | 1281560.7835 | 2719870.2089 | 1281559.9518
50 | 2719899.057 | 1281555.4659 | 2719906.6257 | 1281558.2002 | 2719907.9797 | 1281558.536
51 | 2719897.1024 | 1281468.0764 | 2719915.1353 | 1281462.8608
52 | 2719907.9797 | 1281558.536 | 2719919.0648 | 1281561.2851
53 | 2719897.1024 | 1281468.0764 | 2719893.24 | 1281481.375
54 | 2719897.1024 | 1281468.0764 | 2719885.9261 | 1281471.3102
55 | 2719944.142 | 1281566.8067 | 2719937.2092 | 1281565.785 | 2719919.0648 | 1281561.2851
56 | 2719763.3798 | 1281509.1215 | 2719748.7865 | 1281514.5905
57 | 2719778.8775 | 1281412.3276 | 2719773.9886 | 1281444.5352
58 | 2719782.056 | 1281391.3874 | 2719778.8775 | 1281412.3276
59 | 2719893.24 | 1281481.375 | 2719885.1779 | 1281509.1334
60 | 2719962.727 | 1281385.3647 | 2719958.1018 | 1281386.2015
61 | 2719962.727 | 1281385.3647 | 2719963.7956 | 1281385.1714
62 | 2719958.1018 | 1281386.2015 | 2719936.4031 | 1281390.1272
63 | 2719969.4894 | 1281384.1413 | 2719963.7956 | 1281385.1714
64 | 2719915.9327 | 1281388.0944 | 2719923.248 | 1281389.6335 | 2719930.5631 | 1281391.1838 | 2719936.4031 | 1281390.1272
65 | 2719985.54 | 1281381.2374 | 2719969.4894 | 1281384.1413
66 | 2719915.9327 | 1281388.0944 | 2719914.4118 | 1281367.5995
67 | 2719915.9327 | 1281388.0944 | 2719906.9342 | 1281388.5175
68 | 2720011.1776 | 1281376.5991 | 2719985.54 | 1281381.2374
69 | 2719916.3897 | 1281347.8901 | 2719914.4118 | 1281367.5995
70 | 2719905.2336 | 1281388.5975 | 2719906.9342 | 1281388.5175
71 | 2719905.2336 | 1281388.5975 | 2719902.7649 | 1281388.7135
72 | 2719902.7649 | 1281388.7135 | 2719876.0961 | 1281389.9675
73 | 2719875.4477 | 1281389.998 | 2719876.0961 | 1281389.9675
74 | 2719916.5793 | 1281346.0009 | 2719916.3897 | 1281347.8901
75 | 2719782.056 | 1281391.3874 | 2719795.3215 | 1281394.3708 | 2719809.534 | 1281393.5207
76 | 2719782.056 | 1281391.3874 | 2719782.6945 | 1281380.6791
77 | 2719782.6945 | 1281380.6791 | 2719784.8475 | 1281342.0305 | 2719784.4562 | 1281333.5701 | 2719783.0546 | 1281328.9817 | 2719780.5994 | 1281325.5953

## bus_geodata
| x | y | coords
0 | 2720216.8435 | 1281547.9685
1 | 2720219.7389 | 1281551.9772
2 | 2720205.7021 | 1281532.5434
3 | 2720224.3908 | 1281558.4177
4 | 2720250.7844 | 1281524.8881
5 | 2720045.6715 | 1281532.1937
6 | 2720232.776 | 1281583.929
7 | 2720285.4989 | 1281517.3779
8 | 2720016.6603 | 1281536.6629
9 | 2720042.6781 | 1281499.6772
10 | 2720214.252 | 1281603.251
11 | 2719981.7371 | 1281570.7158
12 | 2719967.428 | 1281569.8675
13 | 2720029.2729 | 1281486.5053
14 | 2720026.5861 | 1281466.2174
15 | 2720007.5667 | 1281502.631
16 | 2719992.0037 | 1281540.1311
17 | 2720026.1921 | 1281463.2421
18 | 2719989.4247 | 1281524.3969
19 | 2720023.6091 | 1281443.7382
20 | 2720044.2376 | 1281435.3091
21 | 2720021.7101 | 1281444.493
22 | 2720013.6788 | 1281447.685
23 | 2719977.8303 | 1281460.4112
24 | 2719823.8242 | 1281470.2524
25 | 2719821.1826 | 1281481.3051
26 | 2719830.6695 | 1281441.6111
27 | 2719818.9404 | 1281490.6868
28 | 2719838.418 | 1281409.1911
29 | 2719827.198 | 1281488.2988
30 | 2719786.55 | 1281500.6381
31 | 2719842.6365 | 1281391.5408
32 | 2719851.5304 | 1281481.2624
33 | 2719778.0776 | 1281503.634
34 | 2719854.9815 | 1281330.5539
35 | 2719871.4523 | 1281390.1859
36 | 2719822.9507 | 1281392.7182
37 | 2719908.6517 | 1281519.0946
38 | 2719916.7529 | 1281491.2839
39 | 2719901.7547 | 1281543.9765
40 | 2719922.3934 | 1281460.7616
41 | 2719857.9727 | 1281526.4177
42 | 2719899.057 | 1281555.4659
43 | 2719915.1353 | 1281462.8608
44 | 2719963.3757 | 1281461.2264
45 | 2719870.2089 | 1281559.9518
46 | 2719907.9797 | 1281558.536
47 | 2719897.1024 | 1281468.0764
48 | 2719919.0648 | 1281561.2851
49 | 2719763.3798 | 1281509.1215
50 | 2719748.7865 | 1281514.5905
51 | 2719773.9886 | 1281444.5352
52 | 2719778.8775 | 1281412.3276
53 | 2719848.9074 | 1281493.3213
54 | 2719885.9261 | 1281471.3102
55 | 2719893.24 | 1281481.375
56 | 2719962.727 | 1281385.3647
57 | 2719958.1018 | 1281386.2015
58 | 2719963.7956 | 1281385.1714
59 | 2719936.4031 | 1281390.1272
60 | 2719969.4894 | 1281384.1413
61 | 2719915.9327 | 1281388.0944
62 | 2719985.54 | 1281381.2374
63 | 2719914.4118 | 1281367.5995
64 | 2719906.9342 | 1281388.5175
65 | 2720011.1776 | 1281376.5991
66 | 2719905.2336 | 1281388.5975
67 | 2719902.7649 | 1281388.7135
68 | 2719876.0961 | 1281389.9675
69 | 2719875.4477 | 1281389.998
70 | 2719916.3897 | 1281347.8901
71 | 2719809.534 | 1281393.5207
72 | 2719782.056 | 1281391.3874
73 | 2719782.6945 | 1281380.6791
74 | 2719780.5994 | 1281325.5953
75 | 2719878.1672 | 1281311.5849
76 | 2719916.5793 | 1281346.0009
77 | 2719885.1779 | 1281509.1334
78 | 2719944.142 | 1281566.8067
79 | 2719897.1024 | 1281468.0764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1