## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4801-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4801-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4801-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4801-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4801-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4801-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4801-6_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4801-6_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_4801-6_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4801-6_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_4801-6_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4801-6_0_4_node_109 | 0.4 | n |  | TRUE
12 | bus_LV_4801-6_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4801-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4801-6_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4801-6_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4801-6_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4801-6_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_4801-6_0_4_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_4801-6_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4801-6_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4801-6_0_4_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_4801-6_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4801-6_0_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_4801-6_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_4801-6_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_4801-6_0_4_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_4801-6_0_4_node_107 | 0.4 | n |  | TRUE
28 | bus_LV_4801-6_0_4_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_4801-6_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4801-6_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4801-6_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4801-6_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4801-6_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4801-6_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_4801-6_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4801-6_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_4801-6_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4801-6_0_4_node_114 | 0.4 | n |  | TRUE
39 | bus_LV_4801-6_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4801-6_0_4_node_113 | 0.4 | n |  | TRUE
41 | bus_LV_4801-6_0_4_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_4801-6_0_4_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_4801-6_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4801-6_0_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_4801-6_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4801-6_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_4801-6_0_4_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_4801-6_0_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_4801-6_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4801-6_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_4801-6_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4801-6_0_4_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_4801-6_0_4_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_4801-6_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_4801-6_0_4_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_4801-6_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_4801-6_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4801-6_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_4801-6_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4801-6_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_4801-6_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4801-6_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_4801-6_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4801-6_0_4_node_106 | 0.4 | n |  | TRUE
65 | bus_LV_4801-6_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4801-6_0_4_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_4801-6_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4801-6_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4801-6_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_4801-6_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4801-6_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4801-6_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4801-6_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4801-6_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_4801-6_0_4_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_4801-6_0_4_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_4801-6_0_4_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_4801-6_0_4_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4801-6_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4801-6_0_4_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_4801-6_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_4801-6_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_4801-6_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_4801-6_0_4_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_4801-6_0_4_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_4801-6_0_4_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_4801-6_0_4_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_4801-6_0_4_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_4801-6_0_4_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_4801-6_0_4_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_4801-6_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_4801-6_0_4_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_4801-6_0_4_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_4801-6_0_4_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_4801-6_0_4_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_4801-6_0_4_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_4801-6_0_4_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_4801-6_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_4801-6_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_4801-6_0_4_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_4801-6_0_4_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_4801-6_0_4_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_4801-6_0_4_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_4801-6_0_4_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_4801-6_0_4_node_102 | 0.4 | n |  | TRUE
106 | bus_MV_439_1_node_253 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4801-6_0_4_load_0 | 0 | 0.00088909 | 0.00022283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4801-6_0_4_load_1 | 1 | 0.0016452 | 0.00041233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4801-6_0_4_load_2 | 2 | 0.0013353 | 0.00033466 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4801-6_0_4_load_3 | 3 | 0.00082751 | 0.00020739 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4801-6_0_4_load_4 | 4 | 0.0020466 | 0.00051293 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4801-6_0_4_load_5 | 5 | 0.0014367 | 0.00036007 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4801-6_0_4_load_13 | 7 | 0.00087301 | 0.0002188 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4801-6_0_4_load_8 | 8 | 0.003137 | 0.00078621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4801-6_0_4_load_20 | 10 | 0.00094577 | 0.00023703 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4801-6_0_4_load_109 | 11 | 0.002079 | 0.00052105 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4801-6_0_4_load_7 | 12 | 0.0010818 | 0.00027111 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4801-6_0_4_load_11 | 14 | 0.0016864 | 0.00042265 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4801-6_0_4_load_15 | 16 | 0.00089874 | 0.00022524 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4801-6_0_4_load_37 | 17 | 0.0016753 | 0.00041988 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4801-6_0_4_load_47 | 18 | 0.01281 | 0.0032104 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4801-6_0_4_load_77 | 21 | 0.00072453 | 0.00018158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4801-6_0_4_load_45 | 23 | 0.0010194 | 0.00025549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4801-6_0_4_load_46 | 24 | 0.00057756 | 0.00014475 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4801-6_0_4_load_35 | 25 | 0.001574 | 0.00039448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4801-6_0_4_load_107 | 27 | 0.0028918 | 0.00072476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4801-6_0_4_load_70 | 28 | 0.0062944 | 0.0015775 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4801-6_0_4_load_21 | 29 | 0.00051833 | 0.0001299 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4801-6_0_4_load_22 | 30 | 0.002634 | 0.00066015 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4801-6_0_4_load_24 | 32 | 0.0012374 | 0.00031011 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4801-6_0_4_load_25 | 33 | 0.0029342 | 0.00073538 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4801-6_0_4_load_32 | 35 | 0.0028988 | 0.0007265 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4801-6_0_4_load_33 | 36 | 0.0017142 | 0.00042962 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4801-6_0_4_load_114 | 38 | 0.00093982 | 0.00023554 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4801-6_0_4_load_113 | 40 | 0.018024 | 0.0045171 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4801-6_0_4_load_85 | 41 | 0.0058586 | 0.0014683 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4801-6_0_4_load_108 | 42 | 0.0064905 | 0.0016267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4801-6_0_4_load_50 | 46 | 0.00073911 | 0.00018524 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4801-6_0_4_load_99 | 48 | 0.0031545 | 0.00079058 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4801-6_0_4_load_56 | 49 | 0.0026697 | 0.00066909 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4801-6_0_4_load_54 | 50 | 0.003518 | 0.0008817 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4801-6_0_4_load_84 | 52 | 0.00048138 | 0.00012065 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4801-6_0_4_load_41 | 54 | 0.001663 | 0.00041679 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4801-6_0_4_load_105 | 55 | 0.0012035 | 0.00030163 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4801-6_0_4_load_57 | 56 | 0.001816 | 0.00045514 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4801-6_0_4_load_34 | 57 | 0.0019366 | 0.00048535 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4801-6_0_4_load_40 | 61 | 0.0047055 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4801-6_0_4_load_42 | 62 | 0.001161 | 0.00029097 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4801-6_0_4_load_48 | 63 | 0.00093492 | 0.00023431 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4801-6_0_4_load_106 | 64 | 0.0034011 | 0.0008524 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4801-6_0_4_load_112 | 66 | 0.0027696 | 0.00069412 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4801-6_0_4_load_69 | 69 | 0.0010548 | 0.00026436 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4801-6_0_4_load_68 | 70 | 0.0029549 | 0.00074057 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4801-6_0_4_load_62 | 71 | 0.0022882 | 0.00057347 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4801-6_0_4_load_60 | 72 | 0.00055924 | 0.00014016 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4801-6_0_4_load_67 | 73 | 0.011666 | 0.0029238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4801-6_0_4_load_55 | 75 | 0.0016099 | 0.00040348 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4801-6_0_4_load_104 | 76 | 0.00092467 | 0.00023174 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4801-6_0_4_load_58 | 78 | 0.0031657 | 0.0007934 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4801-6_0_4_load_79 | 82 | 0.0016101 | 0.00040354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4801-6_0_4_load_66 | 83 | 0.00041601 | 0.00010426 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4801-6_0_4_load_90 | 85 | 0.0018107 | 0.00045379 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4801-6_0_4_load_91 | 86 | 0.0081017 | 0.0020305 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4801-6_0_4_load_96 | 87 | 0.0049136 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4801-6_0_4_load_63 | 88 | 0.001123 | 0.00028144 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4801-6_0_4_load_64 | 89 | 0.00041656 | 0.0001044 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4801-6_0_4_load_65 | 90 | 0.0018227 | 0.00045682 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4801-6_0_4_load_71 | 91 | 0.00065002 | 0.00016291 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4801-6_0_4_load_72 | 92 | 0.0017096 | 0.00042846 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4801-6_0_4_load_73 | 93 | 0.00089829 | 0.00022513 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4801-6_0_4_load_74 | 94 | 0.0011246 | 0.00028186 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4801-6_0_4_load_76 | 95 | 0.0010059 | 0.0002521 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4801-6_0_4_load_95 | 96 | 0.0014899 | 0.00037341 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4801-6_0_4_load_83 | 97 | 0.0019711 | 0.000494 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4801-6_0_4_load_100 | 98 | 0.0027239 | 0.00068268 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4801-6_0_4_load_93 | 99 | 0.0011025 | 0.00027631 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4801-6_0_4_load_88 | 100 | 0.0015549 | 0.00038971 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4801-6_0_4_load_101 | 101 | 0.0012948 | 0.0003245 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4801-6_0_4_load_86 | 102 | 0.0091384 | 0.0022903 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4801-6_0_4_load_87 | 103 | 0.0029632 | 0.00074264 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4801-6_0_4_load_89 | 104 | 0.0039246 | 0.0009836 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4801-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4801-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0021814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4801-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4801-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4801-6_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0093625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4801-6_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.001651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4801-6_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0066861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4801-6_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4801-6_0_4_line_8 | NAYY 4x150 SE | 7 | 17 | 0.01804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4801-6_0_4_line_9 | NAYY 4x150 SE | 8 | 12 | 0.00010904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4801-6_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4801-6_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.13711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4801-6_0_4_line_12 | NAYY 4x150 SE | 10 | 27 | 0.0069969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4801-6_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.012515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4801-6_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.023188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4801-6_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.049217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4801-6_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0092131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4801-6_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.031078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4801-6_0_4_line_18 | NAYY 4x150 SE | 17 | 25 | 0.0048607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4801-6_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.047812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4801-6_0_4_line_20 | NAYY 4x150 SE | 19 | 21 | 0.01598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4801-6_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.015805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4801-6_0_4_line_22 | NAYY 4x150 SE | 20 | 23 | 0.010708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4801-6_0_4_line_23 | NAYY 4x150 SE | 21 | 26 | 0.003567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4801-6_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.020278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4801-6_0_4_line_25 | NAYY 4x150 SE | 25 | 57 | 5.9338e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4801-6_0_4_line_26 | NAYY 4x150 SE | 26 | 93 | 0.0097468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4801-6_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.030013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4801-6_0_4_line_28 | NAYY 4x150 SE | 28 | 67 | 0.036719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4801-6_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4801-6_0_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0058133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4801-6_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.012876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4801-6_0_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.012829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4801-6_0_4_line_33 | NAYY 4x150 SE | 31 | 34 | 0.035302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4801-6_0_4_line_34 | NAYY 4x150 SE | 32 | 35 | 0.013209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4801-6_0_4_line_35 | NAYY 4x150 SE | 33 | 36 | 0.0068988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4801-6_0_4_line_36 | NAYY 4x150 SE | 34 | 48 | 0.01348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4801-6_0_4_line_37 | NAYY 4x150 SE | 34 | 47 | 0.017569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4801-6_0_4_line_38 | NAYY 4x150 SE | 35 | 49 | 0.013025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4801-6_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.007302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4801-6_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.013029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4801-6_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.015737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4801-6_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.017066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4801-6_0_4_line_43 | NAYY 4x150 SE | 39 | 42 | 0.021318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4801-6_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.02067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4801-6_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.015046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4801-6_0_4_line_46 | NAYY 4x150 SE | 44 | 52 | 0.01152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4801-6_0_4_line_47 | NAYY 4x150 SE | 44 | 53 | 0.021821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4801-6_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0078549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4801-6_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.007285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4801-6_0_4_line_50 | NAYY 4x150 SE | 47 | 54 | 0.010581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4801-6_0_4_line_51 | NAYY 4x150 SE | 48 | 55 | 0.01429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4801-6_0_4_line_52 | NAYY 4x150 SE | 49 | 56 | 0.0020285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4801-6_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.015247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4801-6_0_4_line_54 | NAYY 4x150 SE | 51 | 74 | 0.037158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4801-6_0_4_line_55 | NAYY 4x150 SE | 53 | 84 | 0.027534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4801-6_0_4_line_56 | NAYY 4x150 SE | 53 | 85 | 0.006784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4801-6_0_4_line_57 | NAYY 4x150 SE | 53 | 81 | 0.020049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4801-6_0_4_line_58 | NAYY 4x150 SE | 54 | 59 | 0.0018237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4801-6_0_4_line_59 | NAYY 4x150 SE | 56 | 78 | 0.013936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4801-6_0_4_line_60 | NAYY 4x150 SE | 57 | 58 | 0.01633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4801-6_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.012898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4801-6_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.05014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4801-6_0_4_line_63 | NAYY 4x150 SE | 59 | 61 | 0.016727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4801-6_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.018383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4801-6_0_4_line_65 | NAYY 4x150 SE | 61 | 63 | 0.042319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4801-6_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.048492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4801-6_0_4_line_67 | NAYY 4x150 SE | 64 | 69 | 0.0096263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4801-6_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.022422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4801-6_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.061888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4801-6_0_4_line_70 | NAYY 4x150 SE | 65 | 68 | 0.030251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4801-6_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.039616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4801-6_0_4_line_72 | NAYY 4x150 SE | 67 | 70 | 0.026643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4801-6_0_4_line_73 | NAYY 4x150 SE | 68 | 71 | 0.020852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4801-6_0_4_line_74 | NAYY 4x150 SE | 68 | 72 | 0.017661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4801-6_0_4_line_75 | NAYY 4x150 SE | 70 | 73 | 0.01792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4801-6_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.020448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4801-6_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4801-6_0_4_line_78 | NAYY 4x150 SE | 76 | 77 | 0.00689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4801-6_0_4_line_79 | NAYY 4x150 SE | 77 | 105 | 0.003763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4801-6_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.013068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4801-6_0_4_line_81 | NAYY 4x150 SE | 79 | 80 | 0.008193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4801-6_0_4_line_82 | NAYY 4x150 SE | 80 | 86 | 0.0040775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4801-6_0_4_line_83 | NAYY 4x150 SE | 80 | 87 | 0.012033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4801-6_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.026114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4801-6_0_4_line_85 | NAYY 4x150 SE | 81 | 83 | 0.018616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4801-6_0_4_line_86 | NAYY 4x150 SE | 82 | 97 | 0.019562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4801-6_0_4_line_87 | NAYY 4x150 SE | 83 | 90 | 0.0014159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4801-6_0_4_line_88 | NAYY 4x150 SE | 84 | 99 | 0.010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4801-6_0_4_line_89 | NAYY 4x150 SE | 85 | 100 | 0.013587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4801-6_0_4_line_90 | NAYY 4x150 SE | 86 | 104 | 0.0092297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4801-6_0_4_line_91 | NAYY 4x150 SE | 87 | 96 | 0.0045755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4801-6_0_4_line_92 | NAYY 4x150 SE | 88 | 89 | 0.016143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4801-6_0_4_line_93 | NAYY 4x150 SE | 89 | 90 | 0.008713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4801-6_0_4_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0050528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4801-6_0_4_line_95 | NAYY 4x150 SE | 91 | 93 | 0.017246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4801-6_0_4_line_96 | NAYY 4x150 SE | 92 | 94 | 0.005159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4801-6_0_4_line_97 | NAYY 4x150 SE | 94 | 95 | 0.0026747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4801-6_0_4_line_98 | NAYY 4x150 SE | 95 | 96 | 0.0064483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4801-6_0_4_line_99 | NAYY 4x150 SE | 97 | 98 | 0.020965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4801-6_0_4_line_100 | NAYY 4x150 SE | 98 | 101 | 0.020281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4801-6_0_4_line_101 | NAYY 4x150 SE | 100 | 102 | 0.063116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4801-6_0_4_line_102 | NAYY 4x150 SE | 101 | 105 | 0.016898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4801-6_0_4_line_103 | NAYY 4x150 SE | 102 | 103 | 0.016979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4801-6_0_4_line_104 | NAYY 4x150 SE | 103 | 104 | 0.00095039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4801-6_0_4_trafo_31 | 0.25 MVA 20/0.4 kV | 106 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2718678.3008 | 1281497.5554 | 2718697.2632 | 1281503.9531
1 | 2718678.3008 | 1281497.5554 | 2718676.2339 | 1281496.8581
2 | 2718697.2632 | 1281503.9531 | 2718706.9133 | 1281507.209 | 2718713.222 | 1281509.4872
3 | 2718650.2321 | 1281483.4724 | 2718654.9869 | 1281486.5998 | 2718669.0861 | 1281494.4465 | 2718676.2339 | 1281496.8581
4 | 2718722.0278 | 1281512.6673 | 2718713.222 | 1281509.4872
5 | 2718723.5807 | 1281513.228 | 2718722.0278 | 1281512.6673
6 | 2718723.5807 | 1281513.228 | 2718730.2371 | 1281513.8574
7 | 2718723.5807 | 1281513.228 | 2718718.6625 | 1281525.4294 | 2718718.0868 | 1281527.0626
8 | 2718748.108 | 1281513.1441 | 2718748.108 | 1281513.1441 | 2718739.6117 | 1281514.6633 | 2718733.1473 | 1281514.1326 | 2718730.2371 | 1281513.8574
9 | 2718718.0506 | 1281527.1654 | 2718718.0868 | 1281527.0626
10 | 2718644.0881 | 1281366.0998 | 2718653.0545 | 1281365.8688 | 2718660.2256 | 1281368.6158 | 2718669.297 | 1281372.7075
11 | 2718644.0881 | 1281366.0998 | 2718686.8357 | 1281235.8247
12 | 2718675.6751 | 1281375.5844 | 2718669.297 | 1281372.7075
13 | 2718713.8901 | 1281538.9684 | 2718718.0506 | 1281527.1654
14 | 2718713.8901 | 1281538.9684 | 2718698.3385 | 1281536.8533 | 2718690.8649 | 1281536.3103
15 | 2718697.6528 | 1281585.4188 | 2718712.2382 | 1281545.2744 | 2718713.8901 | 1281538.9684
16 | 2718697.6528 | 1281585.4188 | 2718706.8214 | 1281586.3236
17 | 2718737.3275 | 1281586.914 | 2718733.0597 | 1281588.9128 | 2718706.8214 | 1281586.3236
18 | 2718748.108 | 1281513.1441 | 2718752.5225 | 1281511.1097
19 | 2718722.4315 | 1281631.7394 | 2718719.1694 | 1281653.0828 | 2718718.8503 | 1281659.9718 | 2718738.0693 | 1281661.9829
20 | 2718738.0693 | 1281661.9829 | 2718740.4229 | 1281662.2306 | 2718754.0229 | 1281662.8308
21 | 2718707.3692 | 1281626.976 | 2718714.2749 | 1281629.8289 | 2718722.4315 | 1281631.7394
22 | 2718722.4315 | 1281631.7394 | 2718723.523 | 1281631.9949 | 2718727.6549 | 1281629.7315 | 2718730.2099 | 1281625.579
23 | 2718757.5864 | 1281662.9881 | 2718754.0229 | 1281662.8308
24 | 2718716.675 | 1281609.1354 | 2718712.4492 | 1281614.5665 | 2718707.3692 | 1281626.976
25 | 2718752.5764 | 1281511.0849 | 2718752.5225 | 1281511.1097
26 | 2718757.5864 | 1281662.9881 | 2718767.3332 | 1281662.9967
27 | 2718703.0336 | 1281387.9247 | 2718675.6751 | 1281375.5844
28 | 2718736.2401 | 1281403.5569 | 2718729.2407 | 1281399.7457 | 2718703.0336 | 1281387.9247
29 | 2718805.698 | 1281575.5728 | 2718808.6349 | 1281589.839
30 | 2718804.5259 | 1281569.8788 | 2718805.698 | 1281575.5728
31 | 2718811.312 | 1281602.4326 | 2718810.7241 | 1281599.9878 | 2718808.6349 | 1281589.839
32 | 2718804.5259 | 1281569.8788 | 2718792.4946 | 1281573.1173 | 2718792.1298 | 1281573.1791
33 | 2718792.7073 | 1281536.865 | 2718796.0031 | 1281542.1697 | 2718802.5834 | 1281560.4196 | 2718804.5259 | 1281569.8788
34 | 2718814.4004 | 1281615.276 | 2718811.312 | 1281602.4326
35 | 2718792.1298 | 1281573.1791 | 2718785.3282 | 1281574.3331
36 | 2718792.7073 | 1281536.865 | 2718779.9076 | 1281541.0931
37 | 2718782.8756 | 1281522.2864 | 2718789.3694 | 1281532.1599 | 2718790.7436 | 1281534.045 | 2718792.7073 | 1281536.865
38 | 2718817.5615 | 1281627.9076 | 2718817.0584 | 1281626.3293 | 2718814.4004 | 1281615.276
39 | 2718838.5869 | 1281596.5238 | 2718831.3198 | 1281597.4338
40 | 2718838.5869 | 1281596.5238 | 2718843.4296 | 1281594.7753 | 2718850.8376 | 1281592.0888
41 | 2718831.6085 | 1281609.5622 | 2718838.1408 | 1281602.9988 | 2718838.5869 | 1281596.5238
42 | 2718850.8376 | 1281592.0888 | 2718863.9703 | 1281581.1903
43 | 2718850.8376 | 1281592.0888 | 2718864.7278 | 1281608.26
44 | 2718881.0067 | 1281571.1216 | 2718876.1016 | 1281571.1227 | 2718863.9703 | 1281581.1903
45 | 2718881.0067 | 1281571.1216 | 2718891.0331 | 1281582.3677
46 | 2718891.0331 | 1281582.3677 | 2718882.4028 | 1281589.9979
47 | 2718891.0331 | 1281582.3677 | 2718896.0978 | 1281588.231 | 2718899.4008 | 1281592.0568 | 2718902.5989 | 1281588.796 | 2718905.7275 | 1281591.9621
48 | 2718789.8101 | 1281519.9906 | 2718791.9372 | 1281518.8101 | 2718796.0426 | 1281519.7271 | 2718797.2575 | 1281519.7695
49 | 2718789.8101 | 1281519.9906 | 2718782.8756 | 1281522.2864
50 | 2718782.8756 | 1281522.2864 | 2718776.4194 | 1281513.9029
51 | 2718766.3385 | 1281545.5753 | 2718779.9076 | 1281541.0931
52 | 2718817.5615 | 1281627.9076 | 2718818.1776 | 1281629.8402
53 | 2718926.8847 | 1281492.0274 | 2718913.6236 | 1281499.5514
54 | 2718961.1164 | 1281478.2271 | 2718952.7939 | 1281479.3158 | 2718926.8847 | 1281492.0274
55 | 2718925.2672 | 1281572.5155 | 2718911.9827 | 1281585.3597 | 2718905.7275 | 1281591.9621
56 | 2718905.7275 | 1281591.9621 | 2718900.9687 | 1281596.797
57 | 2718905.7275 | 1281591.9621 | 2718902.5989 | 1281588.796 | 2718913.5571 | 1281577.6953
58 | 2718775.3067 | 1281512.458 | 2718776.4194 | 1281513.9029
59 | 2718822.5529 | 1281643.064 | 2718821.9611 | 1281641.7094 | 2718818.1776 | 1281629.8402
60 | 2718766.6589 | 1281502.8636 | 2718756.0389 | 1281509.4893 | 2718752.5764 | 1281511.0849
61 | 2718766.6589 | 1281502.8636 | 2718775.3067 | 1281512.458
62 | 2718766.6589 | 1281502.8636 | 2718763.455 | 1281496.3484 | 2718761.2214 | 1281489.775 | 2718754.2316 | 1281458.2933 | 2718753.6744 | 1281454.6341
63 | 2718775.3067 | 1281512.458 | 2718789.7568 | 1281507.7335 | 2718791.25 | 1281507.4255
64 | 2718753.6744 | 1281454.6341 | 2718748.8998 | 1281458.2191 | 2718747.0054 | 1281466.4888 | 2718743.4415 | 1281468.1408
65 | 2718791.25 | 1281507.4255 | 2718832.696 | 1281498.876
66 | 2718743.4415 | 1281468.1408 | 2718728.1068 | 1281467.1867 | 2718717.8875 | 1281464.3671 | 2718716.7514 | 1281460.7297 | 2718716.8507 | 1281455.8048 | 2718719.1325 | 1281452.5365 | 2718728.9175 | 1281451.933
67 | 2718729.5876 | 1281442.3301 | 2718728.9175 | 1281451.933
68 | 2718787.4938 | 1281392.3564 | 2718787.4727 | 1281369.9348
69 | 2718787.4938 | 1281392.3564 | 2718782.5177 | 1281395.1255 | 2718770.8496 | 1281401.9413 | 2718762.5896 | 1281408.8704 | 2718757.1046 | 1281414.8989 | 2718736.2401 | 1281403.5569
70 | 2718813.9243 | 1281377.6417 | 2718796.3977 | 1281387.3978 | 2718787.4938 | 1281392.3564
71 | 2718736.2401 | 1281403.5569 | 2718733.2704 | 1281412.2498 | 2718731.178 | 1281419.5367 | 2718729.5876 | 1281442.3301
72 | 2718736.2401 | 1281403.5569 | 2718739.723 | 1281399.9569 | 2718748.8858 | 1281395.9377 | 2718752.6566 | 1281391.4761 | 2718753.7477 | 1281385.7927
73 | 2718813.9243 | 1281377.6417 | 2718814.0069 | 1281356.7903
74 | 2718813.9243 | 1281377.6417 | 2718829.3556 | 1281369.0524
75 | 2718751.1831 | 1281368.0575 | 2718753.7477 | 1281385.7927
76 | 2718961.1164 | 1281478.2271 | 2718967.1749 | 1281479.5172 | 2718972.9652 | 1281483.6713 | 2718977.1021 | 1281489.4747
77 | 2718983.5898 | 1281498.5755 | 2718977.1021 | 1281489.4747
78 | 2718987.5893 | 1281504.1859 | 2718983.5898 | 1281498.5755
79 | 2718989.7733 | 1281507.2551 | 2718987.5893 | 1281504.1859
80 | 2718827.7841 | 1281655.0393 | 2718822.5529 | 1281643.064
81 | 2718827.7841 | 1281655.0393 | 2718819.9804 | 1281657.6067
82 | 2718819.9804 | 1281657.6067 | 2718821.2846 | 1281661.47
83 | 2718819.9804 | 1281657.6067 | 2718808.3079 | 1281660.5299
84 | 2718913.5571 | 1281577.6953 | 2718924.7287 | 1281567.1885 | 2718932.547 | 1281559.7695
85 | 2718913.5571 | 1281577.6953 | 2718909.1261 | 1281572.4454 | 2718904.5565 | 1281571.4523 | 2718900.0938 | 1281565.969
86 | 2718946.7373 | 1281546.3039 | 2718932.547 | 1281559.7695
87 | 2718900.0938 | 1281565.969 | 2718899.2 | 1281564.8708
88 | 2718925.2672 | 1281572.5155 | 2718928.6359 | 1281575.3194 | 2718934.6426 | 1281574.3285
89 | 2718900.9687 | 1281596.797 | 2718891.4375 | 1281606.4806
90 | 2718829.7973 | 1281657.9032 | 2718821.2846 | 1281661.47
91 | 2718803.8694 | 1281661.6414 | 2718803.8694 | 1281661.6414 | 2718808.3079 | 1281660.5299
92 | 2718884.4477 | 1281544.9149 | 2718889.9335 | 1281553.4849 | 2718893.7001 | 1281558.113
93 | 2718899.2 | 1281564.8708 | 2718893.7001 | 1281558.113
94 | 2718784.5761 | 1281662.9057 | 2718789.6181 | 1281662.5753
95 | 2718784.5761 | 1281662.9057 | 2718782.9749 | 1281663.0106 | 2718767.3332 | 1281662.9967
96 | 2718789.6181 | 1281662.5753 | 2718794.766 | 1281662.238
97 | 2718797.4349 | 1281662.0631 | 2718794.766 | 1281662.238
98 | 2718803.8694 | 1281661.6414 | 2718797.4349 | 1281662.0631
99 | 2718946.7373 | 1281546.3039 | 2718961.9448 | 1281531.8731
100 | 2718976.7191 | 1281517.9796 | 2718970.1737 | 1281524.0644 | 2718961.9448 | 1281531.8731
101 | 2718845.69 | 1281649.704 | 2718851.2524 | 1281646.3597 | 2718861.9998 | 1281636.3891 | 2718891.4375 | 1281606.4806
102 | 2718989.7733 | 1281507.2551 | 2718983.4915 | 1281512.1886 | 2718976.7191 | 1281517.9796 | 2718976.7191 | 1281517.9796
103 | 2718845.69 | 1281649.704 | 2718837.2387 | 1281654.7852 | 2718830.6738 | 1281657.5359
104 | 2718829.7973 | 1281657.9032 | 2718830.6738 | 1281657.5359

## bus_geodata
| x | y | coords
0 | 2718678.3008 | 1281497.5554
1 | 2718697.2632 | 1281503.9531
2 | 2718676.2339 | 1281496.8581
3 | 2718713.222 | 1281509.4872
4 | 2718650.2321 | 1281483.4724
5 | 2718722.0278 | 1281512.6673
6 | 2718723.5807 | 1281513.228
7 | 2718730.2371 | 1281513.8574
8 | 2718718.0868 | 1281527.0626
9 | 2718644.0881 | 1281366.0998
10 | 2718669.297 | 1281372.7075
11 | 2718686.8357 | 1281235.8247
12 | 2718718.0506 | 1281527.1654
13 | 2718713.8901 | 1281538.9684
14 | 2718690.8649 | 1281536.3103
15 | 2718697.6528 | 1281585.4188
16 | 2718706.8214 | 1281586.3236
17 | 2718748.108 | 1281513.1441
18 | 2718737.3275 | 1281586.914
19 | 2718738.0693 | 1281661.9829
20 | 2718722.4315 | 1281631.7394
21 | 2718754.0229 | 1281662.8308
22 | 2718707.3692 | 1281626.976
23 | 2718730.2099 | 1281625.579
24 | 2718716.675 | 1281609.1354
25 | 2718752.5225 | 1281511.1097
26 | 2718757.5864 | 1281662.9881
27 | 2718675.6751 | 1281375.5844
28 | 2718703.0336 | 1281387.9247
29 | 2718805.698 | 1281575.5728
30 | 2718808.6349 | 1281589.839
31 | 2718804.5259 | 1281569.8788
32 | 2718811.312 | 1281602.4326
33 | 2718792.1298 | 1281573.1791
34 | 2718792.7073 | 1281536.865
35 | 2718814.4004 | 1281615.276
36 | 2718785.3282 | 1281574.3331
37 | 2718838.5869 | 1281596.5238
38 | 2718831.3198 | 1281597.4338
39 | 2718850.8376 | 1281592.0888
40 | 2718831.6085 | 1281609.5622
41 | 2718863.9703 | 1281581.1903
42 | 2718864.7278 | 1281608.26
43 | 2718881.0067 | 1281571.1216
44 | 2718891.0331 | 1281582.3677
45 | 2718789.8101 | 1281519.9906
46 | 2718797.2575 | 1281519.7695
47 | 2718782.8756 | 1281522.2864
48 | 2718779.9076 | 1281541.0931
49 | 2718817.5615 | 1281627.9076
50 | 2718913.6236 | 1281499.5514
51 | 2718926.8847 | 1281492.0274
52 | 2718882.4028 | 1281589.9979
53 | 2718905.7275 | 1281591.9621
54 | 2718776.4194 | 1281513.9029
55 | 2718766.3385 | 1281545.5753
56 | 2718818.1776 | 1281629.8402
57 | 2718752.5764 | 1281511.0849
58 | 2718766.6589 | 1281502.8636
59 | 2718775.3067 | 1281512.458
60 | 2718753.6744 | 1281454.6341
61 | 2718791.25 | 1281507.4255
62 | 2718743.4415 | 1281468.1408
63 | 2718832.696 | 1281498.876
64 | 2718728.9175 | 1281451.933
65 | 2718787.4938 | 1281392.3564
66 | 2718787.4727 | 1281369.9348
67 | 2718736.2401 | 1281403.5569
68 | 2718813.9243 | 1281377.6417
69 | 2718729.5876 | 1281442.3301
70 | 2718753.7477 | 1281385.7927
71 | 2718814.0069 | 1281356.7903
72 | 2718829.3556 | 1281369.0524
73 | 2718751.1831 | 1281368.0575
74 | 2718961.1164 | 1281478.2271
75 | 2718977.1021 | 1281489.4747
76 | 2718983.5898 | 1281498.5755
77 | 2718987.5893 | 1281504.1859
78 | 2718822.5529 | 1281643.064
79 | 2718827.7841 | 1281655.0393
80 | 2718819.9804 | 1281657.6067
81 | 2718913.5571 | 1281577.6953
82 | 2718932.547 | 1281559.7695
83 | 2718900.0938 | 1281565.969
84 | 2718925.2672 | 1281572.5155
85 | 2718900.9687 | 1281596.797
86 | 2718821.2846 | 1281661.47
87 | 2718808.3079 | 1281660.5299
88 | 2718884.4477 | 1281544.9149
89 | 2718893.7001 | 1281558.113
90 | 2718899.2 | 1281564.8708
91 | 2718784.5761 | 1281662.9057
92 | 2718789.6181 | 1281662.5753
93 | 2718767.3332 | 1281662.9967
94 | 2718794.766 | 1281662.238
95 | 2718797.4349 | 1281662.0631
96 | 2718803.8694 | 1281661.6415
97 | 2718946.7373 | 1281546.3039
98 | 2718961.9448 | 1281531.8731
99 | 2718934.6426 | 1281574.3285
100 | 2718891.4375 | 1281606.4806
101 | 2718976.7191 | 1281517.9796
102 | 2718845.69 | 1281649.704
103 | 2718830.6738 | 1281657.5359
104 | 2718829.7973 | 1281657.9032
105 | 2718989.7733 | 1281507.2551
106 | 2718796.0031 | 1281542.1697

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1