## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4806-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4806-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4806-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4806-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4806-5_0_2_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_4806-5_0_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4806-5_0_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_4806-5_0_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_4806-5_0_2_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_4806-5_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4806-5_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4806-5_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4806-5_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4806-5_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4806-5_0_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_4806-5_0_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4806-5_0_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_4806-5_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4806-5_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4806-5_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4806-5_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4806-5_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4806-5_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4806-5_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4806-5_0_2_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_4806-5_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4806-5_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4806-5_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4806-5_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4806-5_0_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_4806-5_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4806-5_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4806-5_0_2_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4806-5_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4806-5_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4806-5_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4806-5_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4806-5_0_2_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4806-5_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_4806-5_0_2_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_4806-5_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4806-5_0_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_4806-5_0_2_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_4806-5_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4806-5_0_2_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_4806-5_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_4806-5_0_2_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4806-5_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4806-5_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_4806-5_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_4806-5_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_4806-5_0_2_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4806-5_0_2_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_4806-5_0_2_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_4806-5_0_2_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_4806-5_0_2_node_106 | 0.4 | n |  | TRUE
56 | bus_MV_402_1_node_227 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4806-5_0_2_load_0 | 0 | 0.00094765 | 0.0002375 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4806-5_0_2_load_1 | 1 | 0.0013236 | 0.00033173 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4806-5_0_2_load_2 | 2 | 0.0027872 | 0.00069854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4806-5_0_2_load_17 | 5 | 0.00092565 | 0.00023199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4806-5_0_2_load_27 | 6 | 0.0042077 | 0.0010545 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4806-5_0_2_load_26 | 7 | 0.0079105 | 0.0019826 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4806-5_0_2_load_31 | 8 | 0.0023951 | 0.00060026 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4806-5_0_2_load_4 | 9 | 0.0040295 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4806-5_0_2_load_5 | 10 | 0.0027792 | 0.00069653 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4806-5_0_2_load_6 | 11 | 0.0020307 | 0.00050894 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4806-5_0_2_load_8 | 13 | 0.0032304 | 0.00080961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4806-5_0_2_load_35 | 14 | 0.003308 | 0.00082906 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4806-5_0_2_load_18 | 15 | 0.0023792 | 0.00059629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4806-5_0_2_load_19 | 17 | 0.0010532 | 0.00026396 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4806-5_0_2_load_9 | 18 | 0.0055371 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4806-5_0_2_load_10 | 19 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4806-5_0_2_load_33 | 24 | 0.007912 | 0.0019829 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4806-5_0_2_load_25 | 26 | 0.0014298 | 0.00035835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4806-5_0_2_load_20 | 27 | 0.0089277 | 0.0022375 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4806-5_0_2_load_21 | 28 | 0.00088997 | 0.00022305 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4806-5_0_2_load_34 | 29 | 0.0047145 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4806-5_0_2_load_29 | 30 | 0.005816 | 0.0014576 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4806-5_0_2_load_22 | 31 | 0.0035883 | 0.00089932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4806-5_0_2_load_28 | 32 | 0.0011531 | 0.000289 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4806-5_0_2_load_30 | 33 | 0.003827 | 0.00095914 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4806-5_0_2_load_36 | 35 | 0.0015592 | 0.00039077 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4806-5_0_2_load_37 | 36 | 0.00084892 | 0.00021276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4806-5_0_2_load_38 | 37 | 0.002206 | 0.00055288 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4806-5_0_2_load_45 | 38 | 0.0027509 | 0.00068943 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4806-5_0_2_load_44 | 40 | 0.0013204 | 0.00033093 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4806-5_0_2_load_50 | 42 | 0.0054065 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4806-5_0_2_load_41 | 43 | 0.0016226 | 0.00040665 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4806-5_0_2_load_51 | 44 | 0.001277 | 0.00032006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4806-5_0_2_load_42 | 45 | 0.0026946 | 0.00067533 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4806-5_0_2_load_39 | 46 | 0.00104 | 0.00026064 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4806-5_0_2_load_40 | 47 | 0.00086352 | 0.00021642 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4806-5_0_2_load_48 | 49 | 0.0054934 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4806-5_0_2_load_52 | 51 | 0.00191 | 0.00047868 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4806-5_0_2_load_105 | 53 | 0.0021638 | 0.0005423 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4806-5_0_2_load_53 | 54 | 0.0018762 | 0.00047022 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4806-5_0_2_load_106 | 55 | 0.0086434 | 0.0021662 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4806-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4806-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0039402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4806-5_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4806-5_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4806-5_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4806-5_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4806-5_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.072642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4806-5_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0099926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4806-5_0_2_line_8 | NAYY 4x150 SE | 6 | 17 | 0.0076566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4806-5_0_2_line_9 | NAYY 4x150 SE | 7 | 22 | 0.030696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4806-5_0_2_line_10 | NAYY 4x150 SE | 8 | 30 | 0.0097301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4806-5_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.01489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4806-5_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0001704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4806-5_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.081952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4806-5_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.014911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4806-5_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.034637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4806-5_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0025862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4806-5_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.031268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4806-5_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.02123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4806-5_0_2_line_19 | NAYY 4x150 SE | 16 | 25 | 0.030719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4806-5_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.052101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4806-5_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.074784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4806-5_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.073325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4806-5_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4806-5_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.067079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4806-5_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.023905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4806-5_0_2_line_26 | NAYY 4x150 SE | 24 | 29 | 0.024907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4806-5_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.033538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4806-5_0_2_line_28 | NAYY 4x150 SE | 26 | 31 | 0.002732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4806-5_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.043123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4806-5_0_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.043599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4806-5_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.0040296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4806-5_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.019237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4806-5_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.020644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4806-5_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.021061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4806-5_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.028834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4806-5_0_2_line_36 | NAYY 4x150 SE | 34 | 37 | 0.029312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4806-5_0_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.0077286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4806-5_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.01728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4806-5_0_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.018903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4806-5_0_2_line_40 | NAYY 4x150 SE | 39 | 44 | 0.0099946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4806-5_0_2_line_41 | NAYY 4x150 SE | 39 | 45 | 0.033959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4806-5_0_2_line_42 | NAYY 4x150 SE | 40 | 48 | 0.0057005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4806-5_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.015773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4806-5_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4806-5_0_2_line_45 | NAYY 4x150 SE | 43 | 46 | 0.0056706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4806-5_0_2_line_46 | NAYY 4x150 SE | 44 | 51 | 0.043015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4806-5_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.009189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4806-5_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.00021397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4806-5_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.024345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4806-5_0_2_line_50 | NAYY 4x150 SE | 49 | 53 | 0.010451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4806-5_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.023624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4806-5_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.006027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4806-5_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.07148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4806-5_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.020938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4806-5_0_2_trafo_8 | 0.25 MVA 20/0.4 kV | 56 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2707193.4553 | 1278925.1629 | 2707180.2066 | 1278938.8151
1 | 2707193.4553 | 1278925.1629 | 2707196.1993 | 1278922.3352
2 | 2707203.9604 | 1278914.3378 | 2707196.1993 | 1278922.3352
3 | 2707200.9692 | 1278903.2067 | 2707203.9604 | 1278914.3378
4 | 2707203.9604 | 1278914.3378 | 2707216.8297 | 1278921.2546
5 | 2707200.9692 | 1278903.2067 | 2707204.3473 | 1278891.4131 | 2707207.0017 | 1278887.4302
6 | 2707200.9692 | 1278903.2067 | 2707195.3509 | 1278901.4141 | 2707163.9197 | 1278871.5606 | 2707145.8641 | 1278856.683
7 | 2707225.9426 | 1278925.3481 | 2707217.6456 | 1278921.6931 | 2707216.8297 | 1278921.2546
8 | 2707207.0017 | 1278887.4302 | 2707211.2479 | 1278881.0589
9 | 2707122.6607 | 1278836.6687 | 2707125.2211 | 1278839.6734 | 2707145.8641 | 1278856.683
10 | 2707234.8469 | 1278929.2706 | 2707225.9426 | 1278925.3481
11 | 2707234.2582 | 1278849.7235 | 2707236.5555 | 1278846.7472 | 2707242.11 | 1278837.1016
12 | 2707234.1541 | 1278849.8584 | 2707234.2582 | 1278849.7235
13 | 2707270.6285 | 1278760.3445 | 2707261.2751 | 1278783.751 | 2707243.8186 | 1278834.1345 | 2707242.11 | 1278837.1016
14 | 2707225.0431 | 1278861.6621 | 2707234.1541 | 1278849.8584
15 | 2707270.6285 | 1278760.3445 | 2707274.489 | 1278745.1788 | 2707274.4794 | 1278726.1909
16 | 2707223.4629 | 1278863.7094 | 2707225.0431 | 1278861.6621
17 | 2707278.8676 | 1278695.358 | 2707277.7738 | 1278700.1313 | 2707274.4749 | 1278717.4647 | 2707274.4794 | 1278726.1909
18 | 2707211.2479 | 1278881.0589 | 2707218.6856 | 1278869.8987 | 2707223.4629 | 1278863.7094
19 | 2707267.3614 | 1278673.5402 | 2707268.5348 | 1278674.7182 | 2707271.801 | 1278677.7581 | 2707273.8834 | 1278675.6496 | 2707276.9325 | 1278678.6411 | 2707278.3644 | 1278680.8914 | 2707279.2131 | 1278683.8095 | 2707279.7149 | 1278688.445 | 2707279.7655 | 1278689.7916 | 2707279.6419 | 1278691.2128 | 2707278.8676 | 1278695.358
20 | 2707173.649 | 1278705.8027 | 2707142.8336 | 1278734.7656 | 2707135.1639 | 1278740.8831
21 | 2707071.6458 | 1278779.1018 | 2707086.6215 | 1278774.1914 | 2707112.0659 | 1278759.3067 | 2707135.1639 | 1278740.8831
22 | 2707071.6458 | 1278779.1018 | 2707078.6039 | 1278787.8137 | 2707084.5115 | 1278794.7828 | 2707116.5318 | 1278829.0616 | 2707120.9451 | 1278824.8046
23 | 2707120.9451 | 1278824.8046 | 2707116.5318 | 1278829.0616 | 2707119.6263 | 1278832.8657 | 2707122.6607 | 1278836.6687
24 | 2707169.5962 | 1278788.7447 | 2707127.8137 | 1278831.402 | 2707122.6607 | 1278836.6687
25 | 2707169.5962 | 1278788.7447 | 2707172.7718 | 1278791.3937 | 2707177.9223 | 1278794.5346 | 2707184.6788 | 1278798.2051 | 2707189.7911 | 1278801.436
26 | 2707210.2571 | 1278815.63 | 2707190.7485 | 1278802.041 | 2707189.7911 | 1278801.436
27 | 2707267.3614 | 1278673.5402 | 2707264.1294 | 1278678.5304 | 2707257.0923 | 1278685.7312 | 2707244.8871 | 1278698.3064
28 | 2707242.9844 | 1278700.2668 | 2707244.8871 | 1278698.3064
29 | 2707182.3561 | 1278762.2688 | 2707192.1568 | 1278752.2885 | 2707212.3351 | 1278731.2726
30 | 2707242.9844 | 1278700.2668 | 2707230.2576 | 1278713.3793 | 2707214.3319 | 1278729.1929 | 2707212.3351 | 1278731.2726
31 | 2707234.8469 | 1278929.2706 | 2707238.5346 | 1278930.8951
32 | 2707256.5577 | 1278937.6136 | 2707239.5549 | 1278931.3446 | 2707238.5346 | 1278930.8951
33 | 2707276.0157 | 1278944.5083 | 2707262.0822 | 1278939.6505 | 2707256.5577 | 1278937.6136
34 | 2707276.0157 | 1278944.5083 | 2707295.7035 | 1278937.0285
35 | 2707276.0157 | 1278944.5083 | 2707267.3894 | 1278972.0212
36 | 2707276.0157 | 1278944.5083 | 2707295.2261 | 1278952.1534 | 2707301.5676 | 1278958.0163
37 | 2707295.7035 | 1278937.0285 | 2707298.7538 | 1278935.8696 | 2707303.1395 | 1278935.0286
38 | 2707311.6817 | 1278971.6036 | 2707308.3803 | 1278964.3148 | 2707301.5676 | 1278958.0163
39 | 2707321.7046 | 1278931.4687 | 2707303.1395 | 1278935.0286
40 | 2707311.6817 | 1278971.6036 | 2707320.0184 | 1278966.0908
41 | 2707311.6817 | 1278971.6036 | 2707305.2752 | 1278982.1522 | 2707298.8374 | 1278994.4239 | 2707294.0188 | 1278999.8967 | 2707293.6565 | 1279000.1921
42 | 2707327.3031 | 1278930.3952 | 2707321.7046 | 1278931.4687
43 | 2707268.79 | 1279014.5177 | 2707268.9237 | 1279030.2899
44 | 2707268.79 | 1279014.5177 | 2707275.9594 | 1279008.2869 | 2707280.388 | 1279006.8246
45 | 2707285.7727 | 1279005.0467 | 2707280.388 | 1279006.8246
46 | 2707320.0184 | 1278966.0908 | 2707321.8128 | 1278964.9042 | 2707345.9201 | 1278949.162 | 2707355.2686 | 1278941.5246
47 | 2707285.9759 | 1279004.9796 | 2707289.0151 | 1279003.9761 | 2707293.6565 | 1279000.1921
48 | 2707285.7727 | 1279005.0467 | 2707285.9759 | 1279004.9796
49 | 2707327.3031 | 1278930.3952 | 2707321.0684 | 1278906.8624
50 | 2707318.392 | 1278896.7602 | 2707321.0684 | 1278906.8624
51 | 2707373.5638 | 1278926.5781 | 2707355.2686 | 1278941.5246
52 | 2707373.5638 | 1278926.5781 | 2707378.7087 | 1278923.4133
53 | 2707378.7087 | 1278923.4133 | 2707413.2204 | 1278981.2493 | 2707415.5579 | 1278984.6533
54 | 2707313.0298 | 1278876.5203 | 2707318.392 | 1278896.7602

## bus_geodata
| x | y | coords
0 | 2707193.4553 | 1278925.1629
1 | 2707180.2066 | 1278938.8151
2 | 2707196.1993 | 1278922.3352
3 | 2707203.9604 | 1278914.3378
4 | 2707200.9692 | 1278903.2067
5 | 2707216.8297 | 1278921.2546
6 | 2707207.0017 | 1278887.4302
7 | 2707145.8641 | 1278856.683
8 | 2707225.9426 | 1278925.3481
9 | 2707234.2582 | 1278849.7235
10 | 2707242.11 | 1278837.1016
11 | 2707234.1541 | 1278849.8584
12 | 2707270.6285 | 1278760.3445
13 | 2707225.0431 | 1278861.6621
14 | 2707274.4794 | 1278726.1909
15 | 2707223.4629 | 1278863.7094
16 | 2707278.8676 | 1278695.358
17 | 2707211.2479 | 1278881.0589
18 | 2707135.1639 | 1278740.8831
19 | 2707173.649 | 1278705.8027
20 | 2707071.6458 | 1278779.1018
21 | 2707120.9451 | 1278824.8046
22 | 2707122.6607 | 1278836.6687
23 | 2707169.5962 | 1278788.7447
24 | 2707189.7911 | 1278801.436
25 | 2707267.3614 | 1278673.5402
26 | 2707244.8871 | 1278698.3064
27 | 2707182.3561 | 1278762.2688
28 | 2707212.3351 | 1278731.2726
29 | 2707210.2571 | 1278815.63
30 | 2707234.8469 | 1278929.2706
31 | 2707242.9844 | 1278700.2668
32 | 2707238.5346 | 1278930.8951
33 | 2707256.5577 | 1278937.6136
34 | 2707276.0157 | 1278944.5083
35 | 2707295.7035 | 1278937.0285
36 | 2707267.3894 | 1278972.0212
37 | 2707301.5676 | 1278958.0163
38 | 2707303.1395 | 1278935.0286
39 | 2707311.6817 | 1278971.6036
40 | 2707321.7046 | 1278931.4687
41 | 2707268.79 | 1279014.5177
42 | 2707268.9237 | 1279030.2899
43 | 2707280.388 | 1279006.8246
44 | 2707320.0184 | 1278966.0908
45 | 2707293.6565 | 1279000.1921
46 | 2707285.7727 | 1279005.0467
47 | 2707285.9759 | 1279004.9796
48 | 2707327.3031 | 1278930.3952
49 | 2707321.0684 | 1278906.8624
50 | 2707373.5638 | 1278926.5781
51 | 2707355.2686 | 1278941.5246
52 | 2707378.7087 | 1278923.4133
53 | 2707318.392 | 1278896.7602
54 | 2707415.5579 | 1278984.6533
55 | 2707313.0298 | 1278876.5203
56 | 2707200.9692 | 1278903.2067

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1