## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4806-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4806-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4806-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4806-9_0_2_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_4806-9_0_2_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_4806-9_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4806-9_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4806-9_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4806-9_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4806-9_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4806-9_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4806-9_0_2_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_4806-9_0_2_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_4806-9_0_2_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_4806-9_0_2_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_4806-9_0_2_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_4806-9_0_2_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_4806-9_0_2_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_4806-9_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4806-9_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4806-9_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4806-9_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4806-9_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4806-9_0_2_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_4806-9_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_4806-9_0_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_4806-9_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4806-9_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4806-9_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4806-9_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4806-9_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4806-9_0_2_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_4806-9_0_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_4806-9_0_2_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_4806-9_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4806-9_0_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4806-9_0_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_4806-9_0_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4806-9_0_2_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_4806-9_0_2_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_4806-9_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4806-9_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_4806-9_0_2_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4806-9_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4806-9_0_2_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_4806-9_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_4806-9_0_2_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_4806-9_0_2_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_4806-9_0_2_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_4806-9_0_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4806-9_0_2_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_4806-9_0_2_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_4806-9_0_2_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_4806-9_0_2_node_19 | 0.4 | n |  | TRUE
54 | bus_LV_4806-9_0_2_node_20 | 0.4 | n |  | TRUE
55 | bus_LV_4806-9_0_2_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_4806-9_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4806-9_0_2_node_25 | 0.4 | n |  | TRUE
58 | bus_LV_4806-9_0_2_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_4806-9_0_2_node_27 | 0.4 | n |  | TRUE
60 | bus_LV_4806-9_0_2_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_4806-9_0_2_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_4806-9_0_2_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_4806-9_0_2_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_4806-9_0_2_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_4806-9_0_2_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_4806-9_0_2_node_32 | 0.4 | n |  | TRUE
67 | bus_LV_4806-9_0_2_node_33 | 0.4 | n |  | TRUE
68 | bus_LV_4806-9_0_2_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4806-9_0_2_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_4806-9_0_2_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_4806-9_0_2_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_4806-9_0_2_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4806-9_0_2_node_36 | 0.4 | n |  | TRUE
74 | bus_LV_4806-9_0_2_node_38 | 0.4 | n |  | TRUE
75 | bus_LV_4806-9_0_2_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_4806-9_0_2_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_4806-9_0_2_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4806-9_0_2_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4806-9_0_2_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_4806-9_0_2_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_4806-9_0_2_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_4806-9_0_2_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4806-9_0_2_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_4806-9_0_2_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_4806-9_0_2_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_4806-9_0_2_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4806-9_0_2_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4806-9_0_2_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_4806-9_0_2_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_4806-9_0_2_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_402_1_node_232 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4806-9_0_2_load_0 | 0 | 0.0016075 | 0.00040287 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4806-9_0_2_load_1 | 1 | 0.0019459 | 0.00048768 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4806-9_0_2_load_24 | 3 | 0.0012229 | 0.00030649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4806-9_0_2_load_3 | 5 | 0.00074034 | 0.00018555 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4806-9_0_2_load_6 | 8 | 0.0011526 | 0.00028887 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4806-9_0_2_load_7 | 9 | 0.0007415 | 0.00018584 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4806-9_0_2_load_8 | 10 | 0.0013154 | 0.00032967 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4806-9_0_2_load_70 | 11 | 0.0010363 | 0.00025971 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4806-9_0_2_load_77 | 12 | 0.0020213 | 0.00050658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4806-9_0_2_load_68 | 14 | 0.0022321 | 0.00055943 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4806-9_0_2_load_75 | 15 | 0.0014533 | 0.00036424 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4806-9_0_2_load_95 | 16 | 0.0018257 | 0.00045757 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4806-9_0_2_load_92 | 17 | 0.0014737 | 0.00036934 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4806-9_0_2_load_9 | 18 | 0.0016284 | 0.00040812 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4806-9_0_2_load_10 | 19 | 0.00032658 | 8.185e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4806-9_0_2_load_11 | 20 | 0.0013155 | 0.0003297 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4806-9_0_2_load_12 | 21 | 0.0013232 | 0.00033162 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4806-9_0_2_load_13 | 22 | 0.00084846 | 0.00021264 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4806-9_0_2_load_41 | 23 | 0.0013148 | 0.00032953 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4806-9_0_2_load_56 | 24 | 0.011523 | 0.002888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4806-9_0_2_load_40 | 25 | 0.0031185 | 0.00078157 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4806-9_0_2_load_14 | 26 | 0.0018632 | 0.00046696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4806-9_0_2_load_15 | 27 | 0.01076 | 0.0026967 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4806-9_0_2_load_16 | 29 | 0.0038984 | 0.00097703 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4806-9_0_2_load_18 | 30 | 0.0012125 | 0.00030389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4806-9_0_2_load_93 | 33 | 0.0032478 | 0.00081399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4806-9_0_2_load_71 | 36 | 0.00101 | 0.00025313 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4806-9_0_2_load_89 | 38 | 0.0055018 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4806-9_0_2_load_88 | 39 | 0.0017282 | 0.00043312 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4806-9_0_2_load_37 | 40 | 0.00049329 | 0.00012363 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4806-9_0_2_load_46 | 42 | 0.0025795 | 0.00064647 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4806-9_0_2_load_47 | 43 | 0.0016486 | 0.00041317 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4806-9_0_2_load_42 | 45 | 0.0017376 | 0.00043549 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4806-9_0_2_load_81 | 46 | 0.00080539 | 0.00020185 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4806-9_0_2_load_79 | 47 | 0.007627 | 0.0019115 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4806-9_0_2_load_65 | 49 | 0.019874 | 0.0049808 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4806-9_0_2_load_69 | 51 | 0.0012244 | 0.00030687 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4806-9_0_2_load_62 | 52 | 0.0023231 | 0.00058222 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4806-9_0_2_load_19 | 53 | 0.00092166 | 0.00023099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4806-9_0_2_load_20 | 54 | 0.0012684 | 0.00031789 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4806-9_0_2_load_83 | 55 | 0.0020599 | 0.00051626 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4806-9_0_2_load_25 | 57 | 0.0009171 | 0.00022985 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4806-9_0_2_load_26 | 58 | 0.0036185 | 0.00090689 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4806-9_0_2_load_27 | 59 | 0.0015843 | 0.00039707 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4806-9_0_2_load_28 | 60 | 0.0028411 | 0.00071204 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4806-9_0_2_load_29 | 61 | 0.00091086 | 0.00022828 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4806-9_0_2_load_34 | 62 | 0.00099664 | 0.00024978 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4806-9_0_2_load_30 | 64 | 0.00028597 | 7.167e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4806-9_0_2_load_31 | 65 | 0.00032107 | 8.0469e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4806-9_0_2_load_32 | 66 | 0.00065624 | 0.00016447 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4806-9_0_2_load_33 | 67 | 0.00075602 | 0.00018948 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4806-9_0_2_load_57 | 68 | 0.0018151 | 0.00045492 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4806-9_0_2_load_58 | 69 | 0.00066003 | 0.00016542 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4806-9_0_2_load_35 | 70 | 0.00070289 | 0.00017616 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4806-9_0_2_load_55 | 71 | 0.00099539 | 0.00024947 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4806-9_0_2_load_67 | 72 | 0.0008832 | 0.00022135 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4806-9_0_2_load_36 | 73 | 0.0026457 | 0.00066308 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4806-9_0_2_load_38 | 74 | 0.001636 | 0.00041002 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4806-9_0_2_load_43 | 75 | 0.0018088 | 0.00045334 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4806-9_0_2_load_45 | 76 | 0.0051866 | 0.0012999 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4806-9_0_2_load_60 | 77 | 0.00095665 | 0.00023976 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4806-9_0_2_load_61 | 78 | 0.00071373 | 0.00017888 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4806-9_0_2_load_80 | 79 | 0.0087104 | 0.002183 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4806-9_0_2_load_84 | 80 | 0.00035493 | 8.8955e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4806-9_0_2_load_73 | 81 | 0.00058426 | 0.00014643 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4806-9_0_2_load_72 | 82 | 0.0010478 | 0.0002626 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4806-9_0_2_load_85 | 83 | 0.00034643 | 8.6824e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4806-9_0_2_load_86 | 84 | 0.0014679 | 0.0003679 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4806-9_0_2_load_74 | 85 | 0.00080172 | 0.00020093 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4806-9_0_2_load_76 | 86 | 0.0014549 | 0.00036464 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4806-9_0_2_load_78 | 87 | 0.0012734 | 0.00031915 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4806-9_0_2_load_82 | 88 | 0.0014967 | 0.0003751 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4806-9_0_2_load_90 | 89 | 0.0023108 | 0.00057914 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4806-9_0_2_load_91 | 90 | 0.0013543 | 0.00033942 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4806-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4806-9_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4806-9_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.010956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4806-9_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.018656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4806-9_0_2_line_4 | NAYY 4x150 SE | 4 | 34 | 0.015239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4806-9_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.021606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4806-9_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4806-9_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0039411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4806-9_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.018358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4806-9_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.054259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4806-9_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.02672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4806-9_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.0038759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4806-9_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0097869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4806-9_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0018625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4806-9_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.016233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4806-9_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.024389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4806-9_0_2_line_16 | NAYY 4x150 SE | 13 | 17 | 0.026068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4806-9_0_2_line_17 | NAYY 4x150 SE | 14 | 72 | 0.024625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4806-9_0_2_line_18 | NAYY 4x150 SE | 15 | 86 | 0.020531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4806-9_0_2_line_19 | NAYY 4x150 SE | 17 | 90 | 0.018738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4806-9_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0050742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4806-9_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.00055888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4806-9_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0086795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4806-9_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0072981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4806-9_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.013842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4806-9_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0019707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4806-9_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.022788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4806-9_0_2_line_27 | NAYY 4x150 SE | 25 | 74 | 0.017026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4806-9_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.031518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4806-9_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0052656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4806-9_0_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.0099276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4806-9_0_2_line_31 | NAYY 4x150 SE | 28 | 32 | 0.012322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4806-9_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.034083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4806-9_0_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4806-9_0_2_line_34 | NAYY 4x150 SE | 31 | 46 | 0.03188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4806-9_0_2_line_35 | NAYY 4x150 SE | 31 | 47 | 0.0089169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4806-9_0_2_line_36 | NAYY 4x150 SE | 32 | 48 | 0.03399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4806-9_0_2_line_37 | NAYY 4x150 SE | 32 | 49 | 0.048007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4806-9_0_2_line_38 | NAYY 4x150 SE | 33 | 44 | 0.031066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4806-9_0_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.045107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4806-9_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4806-9_0_2_line_41 | NAYY 4x150 SE | 35 | 51 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4806-9_0_2_line_42 | NAYY 4x150 SE | 35 | 52 | 0.032476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4806-9_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.027297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4806-9_0_2_line_44 | NAYY 4x150 SE | 37 | 39 | 0.026556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4806-9_0_2_line_45 | NAYY 4x150 SE | 37 | 40 | 0.0061927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4806-9_0_2_line_46 | NAYY 4x150 SE | 38 | 46 | 0.011837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4806-9_0_2_line_47 | NAYY 4x150 SE | 39 | 43 | 0.016207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4806-9_0_2_line_48 | NAYY 4x150 SE | 40 | 73 | 0.006958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4806-9_0_2_line_49 | NAYY 4x150 SE | 41 | 42 | 0.017965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4806-9_0_2_line_50 | NAYY 4x150 SE | 41 | 43 | 0.019132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4806-9_0_2_line_51 | NAYY 4x150 SE | 41 | 44 | 0.034866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4806-9_0_2_line_52 | NAYY 4x150 SE | 41 | 45 | 0.021035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4806-9_0_2_line_53 | NAYY 4x150 SE | 42 | 77 | 0.021798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4806-9_0_2_line_54 | NAYY 4x150 SE | 44 | 50 | 0.010321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4806-9_0_2_line_55 | NAYY 4x150 SE | 45 | 75 | 0.014366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4806-9_0_2_line_56 | NAYY 4x150 SE | 47 | 79 | 0.035201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4806-9_0_2_line_57 | NAYY 4x150 SE | 48 | 63 | 0.02661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4806-9_0_2_line_58 | NAYY 4x150 SE | 48 | 60 | 0.012576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4806-9_0_2_line_59 | NAYY 4x150 SE | 50 | 55 | 0.01021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4806-9_0_2_line_60 | NAYY 4x150 SE | 50 | 54 | 0.024581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4806-9_0_2_line_61 | NAYY 4x150 SE | 51 | 80 | 0.031426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4806-9_0_2_line_62 | NAYY 4x150 SE | 52 | 78 | 0.0072875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4806-9_0_2_line_63 | NAYY 4x150 SE | 53 | 54 | 0.017275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4806-9_0_2_line_64 | NAYY 4x150 SE | 55 | 56 | 0.016114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4806-9_0_2_line_65 | NAYY 4x150 SE | 56 | 81 | 0.027443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4806-9_0_2_line_66 | NAYY 4x150 SE | 56 | 69 | 0.020309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4806-9_0_2_line_67 | NAYY 4x150 SE | 57 | 58 | 0.00024149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4806-9_0_2_line_68 | NAYY 4x150 SE | 57 | 59 | 0.017628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4806-9_0_2_line_69 | NAYY 4x150 SE | 58 | 60 | 0.0053746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4806-9_0_2_line_70 | NAYY 4x150 SE | 59 | 61 | 0.011633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4806-9_0_2_line_71 | NAYY 4x150 SE | 61 | 62 | 0.0035103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4806-9_0_2_line_72 | NAYY 4x150 SE | 63 | 84 | 0.018594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4806-9_0_2_line_73 | NAYY 4x150 SE | 64 | 65 | 0.019708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4806-9_0_2_line_74 | NAYY 4x150 SE | 64 | 66 | 0.0090238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4806-9_0_2_line_75 | NAYY 4x150 SE | 65 | 67 | 0.0098487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4806-9_0_2_line_76 | NAYY 4x150 SE | 67 | 68 | 0.071448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4806-9_0_2_line_77 | NAYY 4x150 SE | 68 | 69 | 0.014299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4806-9_0_2_line_78 | NAYY 4x150 SE | 70 | 71 | 0.00030854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4806-9_0_2_line_79 | NAYY 4x150 SE | 71 | 72 | 8.2607e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4806-9_0_2_line_80 | NAYY 4x150 SE | 73 | 74 | 0.023997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4806-9_0_2_line_81 | NAYY 4x150 SE | 75 | 76 | 0.013205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4806-9_0_2_line_82 | NAYY 4x150 SE | 77 | 78 | 0.013276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4806-9_0_2_line_83 | NAYY 4x150 SE | 80 | 83 | 0.012632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4806-9_0_2_line_84 | NAYY 4x150 SE | 81 | 82 | 0.015951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4806-9_0_2_line_85 | NAYY 4x150 SE | 82 | 85 | 0.00057256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4806-9_0_2_line_86 | NAYY 4x150 SE | 84 | 88 | 0.021796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4806-9_0_2_line_87 | NAYY 4x150 SE | 86 | 87 | 0.001135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4806-9_0_2_line_88 | NAYY 4x150 SE | 87 | 88 | 0.017904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4806-9_0_2_line_89 | NAYY 4x150 SE | 89 | 90 | 0.026036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4806-9_0_2_trafo_14 | 0.25 MVA 20/0.4 kV | 91 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2708187.2608 | 1278347.9895 | 2708204.2386 | 1278340.9237
1 | 2708219.583 | 1278334.5376 | 2708204.2386 | 1278340.9237
2 | 2708219.583 | 1278334.5376 | 2708215.0253 | 1278324.5749
3 | 2708207.2639 | 1278307.6095 | 2708215.0253 | 1278324.5749
4 | 2708200.4424 | 1278293.9721 | 2708207.2639 | 1278307.6095
5 | 2708042.8041 | 1278589.8497 | 2708021.382 | 1278587.0395
6 | 2708007.4264 | 1278585.2088 | 2708021.382 | 1278587.0395
7 | 2708042.8041 | 1278589.8497 | 2708041.1395 | 1278586.2774
8 | 2708007.4264 | 1278585.2088 | 2707999.6372 | 1278568.5857
9 | 2708007.4264 | 1278585.2088 | 2707953.6683 | 1278577.8549
10 | 2708029.8543 | 1278562.0576 | 2708041.1395 | 1278586.2774
11 | 2707999.6372 | 1278568.5857 | 2707997.9927 | 1278565.076
12 | 2707943.9717 | 1278576.5284 | 2707953.6683 | 1278577.8549
13 | 2708029.0677 | 1278560.3694 | 2708029.8543 | 1278562.0576
14 | 2707991.1048 | 1278550.3763 | 2707997.9927 | 1278565.076
15 | 2707943.9717 | 1278576.5284 | 2707919.759 | 1278573.5982
16 | 2707943.9717 | 1278576.5284 | 2707933.7334 | 1278552.5547
17 | 2708018.6671 | 1278538.0481 | 2708029.0677 | 1278560.3694
18 | 2707991.1048 | 1278550.3763 | 2707982.3933 | 1278531.7849
19 | 2707926.3741 | 1278535.3226 | 2707933.7334 | 1278552.5547
20 | 2707990.9692 | 1278320.2427 | 2707988.0367 | 1278316.1016
21 | 2707991.2921 | 1278320.6988 | 2707990.9692 | 1278320.2427
22 | 2707983.0206 | 1278309.0183 | 2707988.0367 | 1278316.1016
23 | 2707991.2921 | 1278320.6988 | 2707995.5098 | 1278326.6547
24 | 2707975.0214 | 1278297.7222 | 2707983.0206 | 1278309.0183
25 | 2707996.6487 | 1278328.2629 | 2707995.5098 | 1278326.6547
26 | 2707996.6487 | 1278328.2629 | 2708006.6824 | 1278342.4319 | 2708009.7591 | 1278346.902
27 | 2708009.7591 | 1278346.902 | 2708019.4119 | 1278360.9267
28 | 2708012.6636 | 1278415.1872 | 2708008.4256 | 1278417.0866 | 2707997.7386 | 1278422.0399 | 2707983.8571 | 1278427.9693
29 | 2707979.0147 | 1278430.0377 | 2707983.8571 | 1278427.9693
30 | 2707975.2299 | 1278420.8601 | 2707976.991 | 1278425.2296 | 2707979.0147 | 1278430.0377
31 | 2707969.7651 | 1278436.9301 | 2707973.8573 | 1278435.4815 | 2707974.562 | 1278433.1145 | 2707975.571 | 1278431.7762 | 2707979.0147 | 1278430.0377
32 | 2708077.4711 | 1278384.269 | 2708058.7473 | 1278393.2867 | 2708046.8363 | 1278399.2058
33 | 2708095.5531 | 1278374.9105 | 2708095.3728 | 1278375.0301 | 2708085.9519 | 1278380.1844 | 2708077.4711 | 1278384.269
34 | 2707975.2299 | 1278420.8601 | 2707982.7303 | 1278417.9726 | 2708004.5961 | 1278408.4651
35 | 2707975.2299 | 1278420.8601 | 2707966.9106 | 1278424.0697
36 | 2707969.7651 | 1278436.9301 | 2707982.156 | 1278468.5966
37 | 2707969.7651 | 1278436.9301 | 2707966.0305 | 1278438.1406 | 2707964.2058 | 1278436.8283 | 2707961.5084 | 1278436.3896 | 2707924.5291 | 1278449.092
38 | 2708120.0723 | 1278355.9322 | 2708115.3838 | 1278360.3836 | 2708110.4326 | 1278364.4076 | 2708103.5435 | 1278369.6083 | 2708095.5531 | 1278374.9105
39 | 2708164.7488 | 1278302.3585 | 2708167.9068 | 1278306.3644 | 2708173.9417 | 1278302.2603 | 2708180.3302 | 1278298.1404 | 2708189.3894 | 1278293.4578 | 2708198.3998 | 1278289.3861 | 2708200.4424 | 1278293.9721
40 | 2708200.4424 | 1278293.9721 | 2708203.0856 | 1278292.8641 | 2708215.6955 | 1278287.991 | 2708222.359 | 1278285.7891
41 | 2708164.7488 | 1278302.3585 | 2708157.3288 | 1278290.7425
42 | 2708164.7488 | 1278302.3585 | 2708154.9964 | 1278309.5973 | 2708145.285 | 1278317.8823 | 2708139.8686 | 1278323.1641
43 | 2708040.0162 | 1278391.8312 | 2708035.9678 | 1278393.7588 | 2708015.3713 | 1278403.5683
44 | 2708040.0162 | 1278391.8312 | 2708043.944 | 1278389.9237 | 2708063.2501 | 1278380.5132 | 2708063.8933 | 1278380.2091
45 | 2708040.0162 | 1278391.8312 | 2708039.5273 | 1278391.0327 | 2708036.6759 | 1278386.6168
46 | 2708004.5961 | 1278408.4651 | 2708010.2671 | 1278405.9992 | 2708015.3713 | 1278403.5683
47 | 2708063.8933 | 1278380.2091 | 2708077.0625 | 1278373.9826 | 2708078.4834 | 1278373.1629
48 | 2708036.6759 | 1278386.6168 | 2708032.9014 | 1278380.7716
49 | 2708094.6839 | 1278363.0067 | 2708107.6867 | 1278353.0916 | 2708108.9283 | 1278352.0618
50 | 2708094.6839 | 1278363.0067 | 2708086.1619 | 1278368.7335 | 2708078.4834 | 1278373.1629
51 | 2708094.6839 | 1278363.0067 | 2708096.9148 | 1278367.9854 | 2708106.7442 | 1278360.6367 | 2708115.6782 | 1278352.9379 | 2708117.5359 | 1278354.4956 | 2708119.1259 | 1278355.4923 | 2708120.0723 | 1278355.9322
52 | 2708094.6839 | 1278363.0067 | 2708092.1786 | 1278357.4224 | 2708092.4463 | 1278342.8253 | 2708092.2474 | 1278342.5807
53 | 2708125.1341 | 1278337.5078 | 2708117.119 | 1278345.2685 | 2708108.9283 | 1278352.0618
54 | 2708120.0723 | 1278355.9322 | 2708123.1359 | 1278356.8892 | 2708129.9827 | 1278358.9166
55 | 2708092.2474 | 1278342.5807 | 2708086.2507 | 1278335.2049 | 2708082.7233 | 1278331.8614
56 | 2707966.9106 | 1278424.0697 | 2707962.3784 | 1278425.8183 | 2707933.6764 | 1278435.6608
57 | 2707957.1771 | 1278477.9701 | 2707982.156 | 1278468.5966
58 | 2707982.156 | 1278468.5966 | 2707990.0445 | 1278478.3906
59 | 2708129.9827 | 1278358.9166 | 2708132.1487 | 1278362.1036 | 2708133.6809 | 1278368.2723
60 | 2708129.9827 | 1278358.9166 | 2708133.3348 | 1278353.5732 | 2708147.9086 | 1278342.5499
61 | 2708130.5808 | 1278277.1538 | 2708153.1039 | 1278284.1285 | 2708157.3288 | 1278290.7425
62 | 2708139.8686 | 1278323.1641 | 2708134.6512 | 1278328.2519
63 | 2708161.6863 | 1278332.1288 | 2708147.9086 | 1278342.5499
64 | 2708137.5653 | 1278383.9114 | 2708133.6809 | 1278368.2723
65 | 2708137.5653 | 1278383.9114 | 2708159.678 | 1278382.5155 | 2708164.9488 | 1278382.9139
66 | 2708137.5653 | 1278383.9114 | 2708142.455 | 1278403.6227
67 | 2707992.954 | 1278482.864 | 2707993.056 | 1278483.0829
68 | 2708000.5012 | 1278499.0614 | 2707993.056 | 1278483.0829
69 | 2707990.0445 | 1278478.3906 | 2707992.0022 | 1278480.8212 | 2707992.954 | 1278482.864
70 | 2708000.5012 | 1278499.0614 | 2708005.4146 | 1278509.6063
71 | 2708006.8972 | 1278512.7882 | 2708005.4146 | 1278509.6063
72 | 2707957.1771 | 1278477.9701 | 2707965.0668 | 1278494.8077
73 | 2708176.9565 | 1278489.3752 | 2708172.1956 | 1278470.2511
74 | 2708179.1365 | 1278498.1318 | 2708176.9565 | 1278489.3752
75 | 2708172.1956 | 1278470.2511 | 2708169.8164 | 1278460.6941
76 | 2708144.2459 | 1278417.6243 | 2708141.1936 | 1278449.9375 | 2708142.0364 | 1278452.7443 | 2708144.1039 | 1278454.3392 | 2708146.2601 | 1278454.7791 | 2708147.8865 | 1278454.6088 | 2708157.0946 | 1278450.396 | 2708159.4072 | 1278449.6934 | 2708163.3224 | 1278450.11 | 2708165.9346 | 1278451.5036 | 2708168.3117 | 1278454.65 | 2708169.8164 | 1278460.6941
77 | 2708144.2459 | 1278417.6243 | 2708144.7098 | 1278412.7128 | 2708142.455 | 1278403.6227
78 | 2708018.5019 | 1278537.6936 | 2708018.6322 | 1278537.9732
79 | 2708018.6322 | 1278537.9732 | 2708018.6671 | 1278538.0481
80 | 2708019.4119 | 1278360.9267 | 2708030.3342 | 1278376.7959 | 2708032.9014 | 1278380.7716
81 | 2708071.9919 | 1278324.6786 | 2708076.9064 | 1278326.3479 | 2708082.7233 | 1278331.8614
82 | 2708125.1341 | 1278337.5078 | 2708128.7181 | 1278334.0376 | 2708134.6512 | 1278328.2519
83 | 2708130.5808 | 1278277.1538 | 2708130.5808 | 1278277.1538 | 2708121.4937 | 1278268.3792
84 | 2708180.8542 | 1278384.116 | 2708164.9488 | 1278382.9139
85 | 2708181.4251 | 1278384.1591 | 2708180.8542 | 1278384.116
86 | 2707974.315 | 1278514.5447 | 2707965.0668 | 1278494.8077
87 | 2707982.3933 | 1278531.7849 | 2707981.9117 | 1278530.7571
88 | 2707974.315 | 1278514.5447 | 2707981.9117 | 1278530.7571
89 | 2707916.1486 | 1278511.379 | 2707926.3741 | 1278535.3226

## bus_geodata
| x | y | coords
0 | 2708187.2608 | 1278347.9895
1 | 2708204.2386 | 1278340.9237
2 | 2708219.583 | 1278334.5376
3 | 2708215.0253 | 1278324.5749
4 | 2708207.2639 | 1278307.6095
5 | 2708021.382 | 1278587.0395
6 | 2708042.8041 | 1278589.8497
7 | 2708007.4264 | 1278585.2088
8 | 2708041.1395 | 1278586.2774
9 | 2707999.6372 | 1278568.5857
10 | 2707953.6683 | 1278577.8549
11 | 2708029.8543 | 1278562.0576
12 | 2707997.9927 | 1278565.076
13 | 2707943.9717 | 1278576.5284
14 | 2708029.0677 | 1278560.3694
15 | 2707991.1048 | 1278550.3763
16 | 2707919.759 | 1278573.5982
17 | 2707933.7334 | 1278552.5547
18 | 2707990.9692 | 1278320.2427
19 | 2707988.0367 | 1278316.1016
20 | 2707991.2921 | 1278320.6988
21 | 2707983.0206 | 1278309.0183
22 | 2707995.5098 | 1278326.6547
23 | 2707975.0214 | 1278297.7222
24 | 2707996.6487 | 1278328.2629
25 | 2708009.7591 | 1278346.902
26 | 2708012.6636 | 1278415.1872
27 | 2707983.8571 | 1278427.9693
28 | 2707979.0147 | 1278430.0377
29 | 2708046.8363 | 1278399.2058
30 | 2708077.4711 | 1278384.269
31 | 2707975.2299 | 1278420.8601
32 | 2707969.7651 | 1278436.9301
33 | 2708095.5531 | 1278374.9105
34 | 2708200.4424 | 1278293.9721
35 | 2708164.7488 | 1278302.3585
36 | 2708222.359 | 1278285.7891
37 | 2708040.0162 | 1278391.8312
38 | 2708015.3713 | 1278403.5683
39 | 2708063.8933 | 1278380.2091
40 | 2708036.6759 | 1278386.6168
41 | 2708094.6839 | 1278363.0067
42 | 2708108.9283 | 1278352.0618
43 | 2708078.4834 | 1278373.1629
44 | 2708120.0723 | 1278355.9322
45 | 2708092.2474 | 1278342.5807
46 | 2708004.5961 | 1278408.4651
47 | 2707966.9106 | 1278424.0697
48 | 2707982.156 | 1278468.5966
49 | 2707924.5291 | 1278449.092
50 | 2708129.9827 | 1278358.9166
51 | 2708157.3288 | 1278290.7425
52 | 2708139.8686 | 1278323.1641
53 | 2708161.6863 | 1278332.1288
54 | 2708147.9086 | 1278342.5499
55 | 2708133.6809 | 1278368.2723
56 | 2708137.5653 | 1278383.9114
57 | 2707993.056 | 1278483.0829
58 | 2707992.954 | 1278482.864
59 | 2708000.5012 | 1278499.0614
60 | 2707990.0445 | 1278478.3906
61 | 2708005.4146 | 1278509.6063
62 | 2708006.8972 | 1278512.7882
63 | 2707957.1771 | 1278477.9701
64 | 2708176.9565 | 1278489.3752
65 | 2708172.1956 | 1278470.2511
66 | 2708179.1365 | 1278498.1318
67 | 2708169.8164 | 1278460.6941
68 | 2708144.2459 | 1278417.6243
69 | 2708142.455 | 1278403.6227
70 | 2708018.5019 | 1278537.6936
71 | 2708018.6322 | 1278537.9732
72 | 2708018.6671 | 1278538.0481
73 | 2708032.9014 | 1278380.7716
74 | 2708019.4119 | 1278360.9267
75 | 2708082.7233 | 1278331.8614
76 | 2708071.9919 | 1278324.6786
77 | 2708125.1341 | 1278337.5078
78 | 2708134.6512 | 1278328.2519
79 | 2707933.6764 | 1278435.6608
80 | 2708130.5808 | 1278277.1538
81 | 2708164.9488 | 1278382.9139
82 | 2708180.8542 | 1278384.116
83 | 2708121.4937 | 1278268.3792
84 | 2707965.0668 | 1278494.8077
85 | 2708181.4251 | 1278384.1591
86 | 2707982.3933 | 1278531.7849
87 | 2707981.9117 | 1278530.7571
88 | 2707974.315 | 1278514.5447
89 | 2707916.1486 | 1278511.379
90 | 2707926.3741 | 1278535.3226
91 | 2707979.0147 | 1278430.0377

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1