## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4811-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4811-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4811-4_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4811-4_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4811-4_0_2_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_4811-4_0_2_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4811-4_0_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_4811-4_0_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_4811-4_0_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_4811-4_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4811-4_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4811-4_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4811-4_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4811-4_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4811-4_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4811-4_0_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4811-4_0_2_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_4811-4_0_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_4811-4_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_4811-4_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_4811-4_0_2_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_4811-4_0_2_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_4811-4_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4811-4_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4811-4_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4811-4_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4811-4_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4811-4_0_2_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_4811-4_0_2_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_4811-4_0_2_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_4811-4_0_2_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_4811-4_0_2_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_4811-4_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4811-4_0_2_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4811-4_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4811-4_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4811-4_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4811-4_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4811-4_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4811-4_0_2_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_4811-4_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4811-4_0_2_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_4811-4_0_2_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_4811-4_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4811-4_0_2_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_4811-4_0_2_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_4811-4_0_2_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_4811-4_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4811-4_0_2_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4811-4_0_2_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4811-4_0_2_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_4811-4_0_2_node_106 | 0.4 | n |  | TRUE
52 | bus_LV_4811-4_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4811-4_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4811-4_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4811-4_0_2_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_4811-4_0_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4811-4_0_2_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4811-4_0_2_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4811-4_0_2_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4811-4_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4811-4_0_2_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4811-4_0_2_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4811-4_0_2_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4811-4_0_2_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_4811-4_0_2_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_4811-4_0_2_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4811-4_0_2_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_4811-4_0_2_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_4811-4_0_2_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_4811-4_0_2_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4811-4_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4811-4_0_2_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4811-4_0_2_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_4811-4_0_2_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4811-4_0_2_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_4811-4_0_2_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_4811-4_0_2_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_4811-4_0_2_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4811-4_0_2_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_4811-4_0_2_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_4811-4_0_2_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_4811-4_0_2_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_4811-4_0_2_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4811-4_0_2_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_4811-4_0_2_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4811-4_0_2_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4811-4_0_2_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_4811-4_0_2_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_4811-4_0_2_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_4811-4_0_2_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_4811-4_0_2_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4811-4_0_2_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_4811-4_0_2_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_4811-4_0_2_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_4811-4_0_2_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_4811-4_0_2_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_4811-4_0_2_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_4811-4_0_2_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_4811-4_0_2_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_4811-4_0_2_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_4811-4_0_2_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_4811-4_0_2_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_4811-4_0_2_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_4811-4_0_2_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_4811-4_0_2_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_4811-4_0_2_node_104 | 0.4 | n |  | TRUE
107 | bus_MV_438_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4811-4_0_2_load_0 | 0 | 0.0010833 | 0.0002715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4811-4_0_2_load_4 | 3 | 0.0007606 | 0.00019062 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4811-4_0_2_load_36 | 4 | 0.00093824 | 0.00023514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4811-4_0_2_load_34 | 6 | 0.0011254 | 0.00028206 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4811-4_0_2_load_17 | 7 | 0.00086304 | 0.0002163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4811-4_0_2_load_18 | 8 | 0.00093693 | 0.00023482 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4811-4_0_2_load_5 | 9 | 0.000532 | 0.00013333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4811-4_0_2_load_6 | 10 | 0.0010235 | 0.00025651 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4811-4_0_2_load_8 | 12 | 0.00054639 | 0.00013694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4811-4_0_2_load_9 | 13 | 0.0025972 | 0.00065091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4811-4_0_2_load_10 | 14 | 0.00086233 | 0.00021612 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4811-4_0_2_load_24 | 15 | 0.002335 | 0.0005852 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4811-4_0_2_load_43 | 16 | 0.0039093 | 0.00097975 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4811-4_0_2_load_25 | 18 | 0.0035903 | 0.00089981 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4811-4_0_2_load_44 | 19 | 0.0035683 | 0.00089429 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4811-4_0_2_load_52 | 20 | 0.00085776 | 0.00021497 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4811-4_0_2_load_53 | 21 | 0.001017 | 0.00025489 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4811-4_0_2_load_11 | 22 | 0.0038362 | 0.00096145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4811-4_0_2_load_12 | 23 | 0.0043761 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4811-4_0_2_load_14 | 25 | 0.0022124 | 0.00055448 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4811-4_0_2_load_58 | 27 | 0.0026175 | 0.000656 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4811-4_0_2_load_83 | 28 | 0.0015784 | 0.00039558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4811-4_0_2_load_105 | 31 | 0.00082575 | 0.00020695 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4811-4_0_2_load_19 | 32 | 0.0013388 | 0.00033554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4811-4_0_2_load_20 | 33 | 0.00036898 | 9.2475e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4811-4_0_2_load_21 | 34 | 0.010099 | 0.0025309 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4811-4_0_2_load_23 | 36 | 0.0067444 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4811-4_0_2_load_29 | 37 | 0.0010753 | 0.00026951 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4811-4_0_2_load_27 | 38 | 0.00086394 | 0.00021652 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4811-4_0_2_load_87 | 39 | 0.0025367 | 0.00063576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4811-4_0_2_load_97 | 41 | 0.0030491 | 0.00076417 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4811-4_0_2_load_26 | 43 | 0.0014501 | 0.00036344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4811-4_0_2_load_69 | 45 | 0.0023264 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4811-4_0_2_load_66 | 46 | 0.00051012 | 0.00012785 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4811-4_0_2_load_30 | 47 | 0.0022464 | 0.000563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4811-4_0_2_load_31 | 48 | 0.0008976 | 0.00022496 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4811-4_0_2_load_106 | 51 | 0.00082579 | 0.00020696 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4811-4_0_2_load_39 | 54 | 0.0033886 | 0.00084927 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4811-4_0_2_load_88 | 55 | 0.0027256 | 0.0006831 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4811-4_0_2_load_55 | 56 | 0.00074498 | 0.00018671 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4811-4_0_2_load_38 | 57 | 0.0029768 | 0.00074606 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4811-4_0_2_load_35 | 58 | 0.00038596 | 9.6731e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4811-4_0_2_load_47 | 61 | 0.002349 | 0.00058872 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4811-4_0_2_load_40 | 62 | 0.0026174 | 0.00065598 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4811-4_0_2_load_41 | 63 | 0.002611 | 0.00065438 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4811-4_0_2_load_85 | 64 | 0.00053247 | 0.00013345 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4811-4_0_2_load_81 | 68 | 0.0011925 | 0.00029886 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4811-4_0_2_load_82 | 69 | 0.0019635 | 0.0004921 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4811-4_0_2_load_54 | 70 | 0.0042644 | 0.0010687 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4811-4_0_2_load_60 | 71 | 0.0031337 | 0.00078537 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4811-4_0_2_load_64 | 74 | 0.00070688 | 0.00017716 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4811-4_0_2_load_93 | 77 | 0.00083498 | 0.00020927 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4811-4_0_2_load_62 | 78 | 0.00064663 | 0.00016206 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4811-4_0_2_load_56 | 79 | 0.0077054 | 0.0019311 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4811-4_0_2_load_57 | 80 | 0.004265 | 0.0010689 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4811-4_0_2_load_89 | 81 | 0.004113 | 0.0010308 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4811-4_0_2_load_77 | 82 | 0.0015935 | 0.00039937 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4811-4_0_2_load_71 | 83 | 0.0015931 | 0.00039927 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4811-4_0_2_load_91 | 84 | 0.0026643 | 0.00066773 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4811-4_0_2_load_70 | 85 | 0.0032829 | 0.00082276 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4811-4_0_2_load_63 | 86 | 0.0011683 | 0.00029281 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4811-4_0_2_load_76 | 89 | 0.00052308 | 0.0001311 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4811-4_0_2_load_73 | 90 | 0.0020586 | 0.00051593 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4811-4_0_2_load_92 | 91 | 0.0014135 | 0.00035426 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4811-4_0_2_load_102 | 92 | 0.0011885 | 0.00029786 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4811-4_0_2_load_72 | 93 | 0.0019603 | 0.00049129 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4811-4_0_2_load_75 | 94 | 0.0020399 | 0.00051126 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4811-4_0_2_load_95 | 96 | 0.00098277 | 0.0002463 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4811-4_0_2_load_78 | 97 | 0.00097232 | 0.00024369 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4811-4_0_2_load_79 | 98 | 0.0010051 | 0.00025191 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4811-4_0_2_load_80 | 99 | 0.0014073 | 0.0003527 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4811-4_0_2_load_86 | 101 | 0.0026756 | 0.00067058 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4811-4_0_2_load_108 | 102 | 0.0017243 | 0.00043214 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4811-4_0_2_load_107 | 103 | 0.0011759 | 0.00029471 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4811-4_0_2_load_100 | 104 | 0.010259 | 0.0025711 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4811-4_0_2_load_99 | 105 | 0.003268 | 0.00081903 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4811-4_0_2_load_104 | 106 | 0.0011523 | 0.0002888 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4811-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4811-4_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.013141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4811-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4811-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0099259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4811-4_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4811-4_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4811-4_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0064071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4811-4_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4811-4_0_2_line_8 | NAYY 4x150 SE | 6 | 58 | 0.020559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4811-4_0_2_line_9 | NAYY 4x150 SE | 7 | 31 | 0.01108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4811-4_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.015356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4811-4_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.016213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4811-4_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0058224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4811-4_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.018266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4811-4_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.026096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4811-4_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.014704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4811-4_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.021204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4811-4_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.022648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4811-4_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.014954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4811-4_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0059767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4811-4_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.019472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4811-4_0_2_line_21 | NAYY 4x150 SE | 17 | 21 | 0.01762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4811-4_0_2_line_22 | NAYY 4x150 SE | 18 | 43 | 0.0076082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4811-4_0_2_line_23 | NAYY 4x150 SE | 19 | 65 | 0.0074866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4811-4_0_2_line_24 | NAYY 4x150 SE | 20 | 74 | 0.0073663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4811-4_0_2_line_25 | NAYY 4x150 SE | 21 | 72 | 0.019406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4811-4_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.043254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4811-4_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.079413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4811-4_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.0070597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4811-4_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.052301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4811-4_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.023978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4811-4_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.051552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4811-4_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.011306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4811-4_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0054008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4811-4_0_2_line_34 | NAYY 4x150 SE | 29 | 82 | 0.033287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4811-4_0_2_line_35 | NAYY 4x150 SE | 29 | 83 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4811-4_0_2_line_36 | NAYY 4x150 SE | 30 | 101 | 0.021183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4811-4_0_2_line_37 | NAYY 4x150 SE | 30 | 64 | 0.016322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4811-4_0_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.033041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4811-4_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.0091663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4811-4_0_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.025933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4811-4_0_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.0032546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4811-4_0_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.013657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4811-4_0_2_line_43 | NAYY 4x150 SE | 35 | 38 | 0.0078129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4811-4_0_2_line_44 | NAYY 4x150 SE | 37 | 39 | 0.023665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4811-4_0_2_line_45 | NAYY 4x150 SE | 38 | 40 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4811-4_0_2_line_46 | NAYY 4x150 SE | 39 | 55 | 0.029127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4811-4_0_2_line_47 | NAYY 4x150 SE | 40 | 47 | 0.017533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4811-4_0_2_line_48 | NAYY 4x150 SE | 40 | 48 | 0.051893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4811-4_0_2_line_49 | NAYY 4x150 SE | 40 | 49 | 0.0085751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4811-4_0_2_line_50 | NAYY 4x150 SE | 41 | 42 | 0.0075064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4811-4_0_2_line_51 | NAYY 4x150 SE | 42 | 105 | 0.080148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4811-4_0_2_line_52 | NAYY 4x150 SE | 44 | 45 | 0.064838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4811-4_0_2_line_53 | NAYY 4x150 SE | 44 | 46 | 0.036585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4811-4_0_2_line_54 | NAYY 4x150 SE | 45 | 67 | 0.053868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4811-4_0_2_line_55 | NAYY 4x150 SE | 46 | 53 | 0.043259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4811-4_0_2_line_56 | NAYY 4x150 SE | 47 | 50 | 0.003871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4811-4_0_2_line_57 | NAYY 4x150 SE | 48 | 51 | 0.012866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4811-4_0_2_line_58 | NAYY 4x150 SE | 49 | 53 | 0.018185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4811-4_0_2_line_59 | NAYY 4x150 SE | 49 | 54 | 0.03446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4811-4_0_2_line_60 | NAYY 4x150 SE | 50 | 52 | 0.004239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4811-4_0_2_line_61 | NAYY 4x150 SE | 52 | 56 | 0.016665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4811-4_0_2_line_62 | NAYY 4x150 SE | 54 | 57 | 0.035002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4811-4_0_2_line_63 | NAYY 4x150 SE | 55 | 75 | 0.040684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4811-4_0_2_line_64 | NAYY 4x150 SE | 56 | 70 | 0.031096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4811-4_0_2_line_65 | NAYY 4x150 SE | 57 | 62 | 0.024425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4811-4_0_2_line_66 | NAYY 4x150 SE | 58 | 59 | 0.01448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4811-4_0_2_line_67 | NAYY 4x150 SE | 59 | 60 | 0.011913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4811-4_0_2_line_68 | NAYY 4x150 SE | 60 | 61 | 0.015515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4811-4_0_2_line_69 | NAYY 4x150 SE | 61 | 65 | 0.033627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4811-4_0_2_line_70 | NAYY 4x150 SE | 62 | 63 | 0.055656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4811-4_0_2_line_71 | NAYY 4x150 SE | 63 | 64 | 0.039952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4811-4_0_2_line_72 | NAYY 4x150 SE | 65 | 66 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4811-4_0_2_line_73 | NAYY 4x150 SE | 66 | 71 | 0.018639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4811-4_0_2_line_74 | NAYY 4x150 SE | 67 | 68 | 0.038738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4811-4_0_2_line_75 | NAYY 4x150 SE | 67 | 69 | 0.082842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4811-4_0_2_line_76 | NAYY 4x150 SE | 68 | 91 | 0.027834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4811-4_0_2_line_77 | NAYY 4x150 SE | 69 | 92 | 0.011183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4811-4_0_2_line_78 | NAYY 4x150 SE | 70 | 79 | 0.029697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4811-4_0_2_line_79 | NAYY 4x150 SE | 72 | 73 | 0.01044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4811-4_0_2_line_80 | NAYY 4x150 SE | 73 | 77 | 0.0042225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4811-4_0_2_line_81 | NAYY 4x150 SE | 74 | 78 | 0.017971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4811-4_0_2_line_82 | NAYY 4x150 SE | 75 | 76 | 0.037722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4811-4_0_2_line_83 | NAYY 4x150 SE | 76 | 104 | 0.059707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4811-4_0_2_line_84 | NAYY 4x150 SE | 77 | 81 | 0.026276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4811-4_0_2_line_85 | NAYY 4x150 SE | 78 | 86 | 0.014829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4811-4_0_2_line_86 | NAYY 4x150 SE | 79 | 80 | 0.0045696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4811-4_0_2_line_87 | NAYY 4x150 SE | 80 | 81 | 0.028306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4811-4_0_2_line_88 | NAYY 4x150 SE | 82 | 84 | 0.0082012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4811-4_0_2_line_89 | NAYY 4x150 SE | 83 | 85 | 0.028089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4811-4_0_2_line_90 | NAYY 4x150 SE | 85 | 93 | 0.007606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4811-4_0_2_line_91 | NAYY 4x150 SE | 86 | 87 | 0.018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4811-4_0_2_line_92 | NAYY 4x150 SE | 87 | 88 | 0.008287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4811-4_0_2_line_93 | NAYY 4x150 SE | 88 | 89 | 0.016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4811-4_0_2_line_94 | NAYY 4x150 SE | 88 | 90 | 0.03885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4811-4_0_2_line_95 | NAYY 4x150 SE | 89 | 95 | 0.059912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4811-4_0_2_line_96 | NAYY 4x150 SE | 90 | 94 | 0.010836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4811-4_0_2_line_97 | NAYY 4x150 SE | 91 | 99 | 0.022385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4811-4_0_2_line_98 | NAYY 4x150 SE | 92 | 100 | 0.025232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4811-4_0_2_line_99 | NAYY 4x150 SE | 95 | 96 | 0.018041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4811-4_0_2_line_100 | NAYY 4x150 SE | 97 | 98 | 0.080882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4811-4_0_2_line_101 | NAYY 4x150 SE | 98 | 99 | 0.019013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4811-4_0_2_line_102 | NAYY 4x150 SE | 100 | 106 | 0.0058284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4811-4_0_2_line_103 | NAYY 4x150 SE | 101 | 102 | 0.027301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4811-4_0_2_line_104 | NAYY 4x150 SE | 102 | 103 | 0.025045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4811-4_0_2_line_105 | NAYY 4x150 SE | 104 | 105 | 0.028673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4811-4_0_2_trafo_32 | 0.25 MVA 20/0.4 kV | 107 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2710753.0111 | 1273882.8863 | 2710769.1239 | 1273884.3455 | 2710773.9898 | 1273885.045
1 | 2710753.0111 | 1273882.8863 | 2710745.0647 | 1273884.7167 | 2710740.311 | 1273886.3401
2 | 2710753.0111 | 1273882.8863 | 2710754.8302 | 1273871.544
3 | 2710740.311 | 1273886.3401 | 2710732.3025 | 1273889.0701 | 2710730.8781 | 1273889.4119
4 | 2710758.4203 | 1273849.1577 | 2710754.8302 | 1273871.544
5 | 2710730.8781 | 1273889.4119 | 2710724.6946 | 1273890.8957 | 2710716.3056 | 1273889.7791
6 | 2710758.4203 | 1273849.1577 | 2710764.2854 | 1273851.737
7 | 2710744.4312 | 1273839.5422 | 2710758.4203 | 1273849.1577
8 | 2710696.6669 | 1273884.0325 | 2710710.3952 | 1273888.9925 | 2710716.3056 | 1273889.7791
9 | 2710774.4283 | 1273856.1976 | 2710764.2854 | 1273851.737
10 | 2710629.586 | 1273782.6885 | 2710614.4986 | 1273779.8277
11 | 2710645.7014 | 1273784.2416 | 2710633.6522 | 1273783.4596 | 2710629.586 | 1273782.6885
12 | 2710608.778 | 1273778.743 | 2710614.4986 | 1273779.8277
13 | 2710645.7014 | 1273784.2416 | 2710647.3943 | 1273802.4289
14 | 2710645.7014 | 1273784.2416 | 2710643.2858 | 1273758.2577
15 | 2710594.4755 | 1273775.4159 | 2710600.0019 | 1273777.0789 | 2710608.778 | 1273778.743
16 | 2710647.3943 | 1273802.4289 | 2710649.3595 | 1273823.5412
17 | 2710644.7325 | 1273736.0582 | 2710642.9054 | 1273740.8393 | 2710642.1224 | 1273746.4964 | 2710642.7725 | 1273752.7364 | 2710643.2858 | 1273758.2577
18 | 2710594.4755 | 1273775.4159 | 2710580.1558 | 1273771.1066
19 | 2710649.3595 | 1273823.5412 | 2710649.6575 | 1273826.7426 | 2710650.1883 | 1273829.4526
20 | 2710644.7325 | 1273736.0582 | 2710658.6846 | 1273742.8591 | 2710662.2704 | 1273744.5176
21 | 2710644.7325 | 1273736.0582 | 2710642.5117 | 1273738.5744 | 2710639.5711 | 1273740.1651 | 2710636.2523 | 1273740.6701 | 2710632.9802 | 1273739.0851 | 2710629.9708 | 1273736.5614
22 | 2710580.1558 | 1273771.1066 | 2710576.316 | 1273769.9511 | 2710572.9671 | 1273768.6348
23 | 2710651.6274 | 1273836.7996 | 2710650.1883 | 1273829.4526
24 | 2710662.2704 | 1273744.5176 | 2710668.9563 | 1273747.61
25 | 2710617.7999 | 1273722.3746 | 2710618.3665 | 1273725.855 | 2710619.822 | 1273728.0509 | 2710621.5991 | 1273729.5411 | 2710629.9708 | 1273736.5614
26 | 2710224.2162 | 1273548.3441 | 2710229.6009 | 1273548.8592 | 2710265.2189 | 1273561.65
27 | 2710159.5266 | 1273565.6218 | 2710160.1626 | 1273562.1751 | 2710161.8153 | 1273553.02 | 2710164.3687 | 1273548.7972 | 2710168.5123 | 1273547.2287 | 2710172.4703 | 1273547.1358 | 2710178.6983 | 1273548.7312 | 2710185.3949 | 1273551.8145 | 2710190.6502 | 1273552.7356 | 2710197.9229 | 1273551.5592 | 2710211.3318 | 1273548.0285 | 2710218.9095 | 1273547.8365 | 2710224.2162 | 1273548.3441
28 | 2710271.8632 | 1273564.036 | 2710265.2189 | 1273561.65
29 | 2710210.5918 | 1273577.5744 | 2710196.542 | 1273573.9422 | 2710176.0754 | 1273569.156 | 2710159.5266 | 1273565.6218
30 | 2710271.8632 | 1273564.036 | 2710287.0325 | 1273569.4835 | 2710294.5599 | 1273571.7461
31 | 2710210.5918 | 1273577.5744 | 2710223.1148 | 1273581.2003 | 2710235.7876 | 1273585.2627 | 2710259.6376 | 1273593.4201
32 | 2710305.5587 | 1273574.256 | 2710299.8147 | 1273573.3257 | 2710294.5599 | 1273571.7461
33 | 2710264.7478 | 1273595.1679 | 2710259.6376 | 1273593.4201
34 | 2710305.5587 | 1273574.256 | 2710318.0301 | 1273543.3938
35 | 2710305.5587 | 1273574.256 | 2710322.2286 | 1273578.8211
36 | 2710264.7478 | 1273595.1679 | 2710269.2805 | 1273592.0943 | 2710284.1341 | 1273597.1985
37 | 2710264.7478 | 1273595.1679 | 2710280.2051 | 1273600.4095
38 | 2710456.8236 | 1273588.608 | 2710456.5905 | 1273592.218 | 2710460.4864 | 1273604.2794 | 2710466.9885 | 1273619.7143
39 | 2710456.8236 | 1273588.608 | 2710456.8236 | 1273588.608 | 2710461.2605 | 1273580.5871
40 | 2710477.0563 | 1273643.6134 | 2710466.9885 | 1273619.7143
41 | 2710462.8359 | 1273577.7392 | 2710461.2605 | 1273580.5871
42 | 2710477.0563 | 1273643.6134 | 2710488.9377 | 1273636.8796
43 | 2710477.0563 | 1273643.6134 | 2710473.3216 | 1273647.0466 | 2710471.6091 | 1273649.1854
44 | 2710488.9377 | 1273636.8796 | 2710490.6944 | 1273635.884 | 2710511.2433 | 1273629.0825
45 | 2710465.6922 | 1273658.8477 | 2710468.9087 | 1273652.5578 | 2710471.6091 | 1273649.1854
46 | 2710511.2433 | 1273629.0825 | 2710513.2402 | 1273628.4215 | 2710525.6241 | 1273627.0187 | 2710540.1781 | 1273627.4375
47 | 2710465.6922 | 1273658.8477 | 2710482.2673 | 1273664.563
48 | 2710465.6922 | 1273658.8477 | 2710416.5106 | 1273642.2928
49 | 2710465.6922 | 1273658.8477 | 2710464.2943 | 1273662.4025 | 2710459.8033 | 1273660.8393
50 | 2710431.0854 | 1273501.8269 | 2710435.7919 | 1273507.6746
51 | 2710431.0854 | 1273501.8269 | 2710447.2378 | 1273514.8851 | 2710469.7488 | 1273530.1866 | 2710495.6075 | 1273545.4508 | 2710497.4828 | 1273546.461
52 | 2710500.0788 | 1273739.9858 | 2710439.4551 | 1273716.9915
53 | 2710500.0788 | 1273739.9858 | 2710494.3101 | 1273730.7474 | 2710477.6823 | 1273711.1604
54 | 2710389.3553 | 1273697.1986 | 2710436.2335 | 1273715.7696 | 2710439.4551 | 1273716.9915
55 | 2710451.629 | 1273676.834 | 2710454.0701 | 1273681.4282 | 2710455.772 | 1273684.5295 | 2710457.788 | 1273687.7256 | 2710477.6823 | 1273711.1604
56 | 2710480.9656 | 1273668.2085 | 2710482.2673 | 1273664.563
57 | 2710416.5106 | 1273642.2928 | 2710404.3166 | 1273638.1881
58 | 2710451.629 | 1273676.834 | 2710454.2079 | 1273674.0686 | 2710456.0575 | 1273670.8893 | 2710459.8033 | 1273660.8393
59 | 2710459.8033 | 1273660.8393 | 2710427.081 | 1273650.0347
60 | 2710480.9656 | 1273668.2085 | 2710479.4921 | 1273672.1845
61 | 2710479.4921 | 1273672.1845 | 2710495.3444 | 1273677.3237
62 | 2710427.081 | 1273650.0347 | 2710393.8444 | 1273639.0602
63 | 2710579.6459 | 1273634.0477 | 2710571.9212 | 1273635.2708 | 2710566.9906 | 1273634.689 | 2710554.0664 | 1273630.0095 | 2710542.2523 | 1273627.4971 | 2710540.1781 | 1273627.4375
64 | 2710524.9248 | 1273686.9135 | 2710495.3444 | 1273677.3237
65 | 2710370.7491 | 1273631.1129 | 2710375.7509 | 1273632.809 | 2710391.1071 | 1273638.1564 | 2710393.8444 | 1273639.0602
66 | 2710682.7208 | 1273880.4215 | 2710689.2915 | 1273881.3677 | 2710696.6669 | 1273884.0325
67 | 2710670.8627 | 1273881.8894 | 2710682.7208 | 1273880.4215
68 | 2710670.8627 | 1273881.8894 | 2710668.5778 | 1273874.9959 | 2710665.0369 | 1273867.5417
69 | 2710651.6274 | 1273836.7996 | 2710655.0381 | 1273847.4286 | 2710660.6624 | 1273858.3327 | 2710665.0369 | 1273867.5417
70 | 2710318.0412 | 1273613.2396 | 2710370.7491 | 1273631.1129
71 | 2710318.0412 | 1273613.2396 | 2710280.2051 | 1273600.4095
72 | 2710651.6274 | 1273836.7996 | 2710650.1853 | 1273844.713 | 2710651.4178 | 1273854.3892
73 | 2710651.4178 | 1273854.3892 | 2710636.0701 | 1273864.9649
74 | 2710389.3553 | 1273697.1986 | 2710366.9926 | 1273686.8601 | 2710353.8343 | 1273681.7918
75 | 2710389.3553 | 1273697.1986 | 2710367.3801 | 1273701.9253 | 2710312.4292 | 1273711.2177 | 2710307.8479 | 1273711.9051
76 | 2710327.8603 | 1273671.787 | 2710353.8343 | 1273681.7918
77 | 2710307.8479 | 1273711.9051 | 2710296.7889 | 1273713.5647
78 | 2710524.9248 | 1273686.9135 | 2710548.1205 | 1273694.4334 | 2710553.1343 | 1273696.1904
79 | 2710617.7999 | 1273722.3746 | 2710608.5348 | 1273717.5078
80 | 2710608.5348 | 1273717.5078 | 2710606.6513 | 1273721.287
81 | 2710684.7192 | 1273756.1731 | 2710682.3267 | 1273754.724 | 2710676.528 | 1273751.1121 | 2710668.9563 | 1273747.61
82 | 2710579.6459 | 1273634.0477 | 2710572.9366 | 1273614.4045 | 2710567.257 | 1273598.4061
83 | 2710567.257 | 1273598.4061 | 2710560.7635 | 1273588.9093 | 2710550.8349 | 1273578.0915 | 2710539.2799 | 1273568.9782 | 2710522.7262 | 1273560.0603
84 | 2710583.1049 | 1273709.6259 | 2710606.6513 | 1273721.287
85 | 2710684.7192 | 1273756.1731 | 2710694.1882 | 1273761.9084 | 2710697.2991 | 1273764.0181
86 | 2710553.1343 | 1273696.1904 | 2710557.2067 | 1273697.6175 | 2710557.4412 | 1273697.7161
87 | 2710583.1049 | 1273709.6259 | 2710568.0944 | 1273702.1922 | 2710557.4412 | 1273697.7161
88 | 2710321.1028 | 1273535.79 | 2710318.0301 | 1273543.3938
89 | 2710349.3196 | 1273586.24 | 2710322.2286 | 1273578.8211
90 | 2710356.5247 | 1273588.6769 | 2710349.3196 | 1273586.24
91 | 2710712.9924 | 1273774.6612 | 2710697.2991 | 1273764.0181
92 | 2710712.9924 | 1273774.6612 | 2710719.8619 | 1273779.3276
93 | 2710719.8619 | 1273779.3276 | 2710733.4794 | 1273788.5643
94 | 2710719.8619 | 1273779.3276 | 2710697.2395 | 1273810.9117
95 | 2710783.0618 | 1273822.1959 | 2710733.4794 | 1273788.5643
96 | 2710690.9297 | 1273819.7211 | 2710697.2395 | 1273810.9117
97 | 2710306.9714 | 1273663.7409 | 2710327.8603 | 1273671.787
98 | 2710271.8361 | 1273717.3092 | 2710296.7889 | 1273713.5647
99 | 2710783.0618 | 1273822.1959 | 2710792.5169 | 1273806.8316
100 | 2710212.7203 | 1273630.6409 | 2710267.3594 | 1273649.7987 | 2710289.0373 | 1273657.4286
101 | 2710289.0373 | 1273657.4286 | 2710306.9691 | 1273663.74 | 2710306.9714 | 1273663.7409
102 | 2710271.8361 | 1273717.3092 | 2710270.8618 | 1273714.7109 | 2710268.0484 | 1273713.524
103 | 2710284.1341 | 1273597.1985 | 2710309.9532 | 1273606.0709
104 | 2710333.6388 | 1273614.2101 | 2710309.9532 | 1273606.0709
105 | 2710497.4828 | 1273546.461 | 2710522.7262 | 1273560.0603

## bus_geodata
| x | y | coords
0 | 2710773.9898 | 1273885.045
1 | 2710753.0111 | 1273882.8863
2 | 2710740.311 | 1273886.3401
3 | 2710754.8302 | 1273871.544
4 | 2710730.8781 | 1273889.4119
5 | 2710758.4203 | 1273849.1577
6 | 2710716.3056 | 1273889.7791
7 | 2710764.2854 | 1273851.737
8 | 2710744.4312 | 1273839.5422
9 | 2710629.586 | 1273782.6885
10 | 2710614.4986 | 1273779.8277
11 | 2710645.7014 | 1273784.2416
12 | 2710608.778 | 1273778.743
13 | 2710647.3943 | 1273802.4289
14 | 2710643.2858 | 1273758.2577
15 | 2710594.4755 | 1273775.4159
16 | 2710649.3595 | 1273823.5412
17 | 2710644.7325 | 1273736.0582
18 | 2710580.1558 | 1273771.1066
19 | 2710650.1883 | 1273829.4526
20 | 2710662.2704 | 1273744.5176
21 | 2710629.9708 | 1273736.5614
22 | 2710224.2162 | 1273548.3441
23 | 2710265.2189 | 1273561.65
24 | 2710159.5266 | 1273565.6218
25 | 2710271.8632 | 1273564.036
26 | 2710210.5918 | 1273577.5744
27 | 2710294.5599 | 1273571.7461
28 | 2710259.6376 | 1273593.4201
29 | 2710305.5587 | 1273574.256
30 | 2710264.7478 | 1273595.1679
31 | 2710774.4283 | 1273856.1976
32 | 2710456.8236 | 1273588.608
33 | 2710466.9885 | 1273619.7143
34 | 2710461.2605 | 1273580.5871
35 | 2710477.0563 | 1273643.6134
36 | 2710462.8359 | 1273577.7392
37 | 2710488.9377 | 1273636.8796
38 | 2710471.6091 | 1273649.1854
39 | 2710511.2433 | 1273629.0825
40 | 2710465.6922 | 1273658.8477
41 | 2710435.7919 | 1273507.6746
42 | 2710431.0854 | 1273501.8269
43 | 2710572.9671 | 1273768.6348
44 | 2710500.0788 | 1273739.9858
45 | 2710439.4551 | 1273716.9915
46 | 2710477.6823 | 1273711.1604
47 | 2710482.2673 | 1273664.563
48 | 2710416.5106 | 1273642.2928
49 | 2710459.8033 | 1273660.8393
50 | 2710480.9656 | 1273668.2085
51 | 2710404.3166 | 1273638.1881
52 | 2710479.4921 | 1273672.1845
53 | 2710451.629 | 1273676.834
54 | 2710427.081 | 1273650.0347
55 | 2710540.1781 | 1273627.4375
56 | 2710495.3444 | 1273677.3237
57 | 2710393.8444 | 1273639.0602
58 | 2710696.6669 | 1273884.0325
59 | 2710682.7208 | 1273880.4215
60 | 2710670.8627 | 1273881.8894
61 | 2710665.0369 | 1273867.5417
62 | 2710370.7491 | 1273631.1129
63 | 2710318.0412 | 1273613.2396
64 | 2710280.2051 | 1273600.4095
65 | 2710651.6274 | 1273836.7996
66 | 2710651.4178 | 1273854.3892
67 | 2710389.3553 | 1273697.1986
68 | 2710353.8343 | 1273681.7918
69 | 2710307.8479 | 1273711.9051
70 | 2710524.9248 | 1273686.9135
71 | 2710636.0701 | 1273864.9649
72 | 2710617.7999 | 1273722.3746
73 | 2710608.5348 | 1273717.5078
74 | 2710668.9563 | 1273747.61
75 | 2710579.6459 | 1273634.0477
76 | 2710567.257 | 1273598.4061
77 | 2710606.6513 | 1273721.287
78 | 2710684.7192 | 1273756.1731
79 | 2710553.1343 | 1273696.1904
80 | 2710557.4412 | 1273697.7161
81 | 2710583.1049 | 1273709.6259
82 | 2710318.0301 | 1273543.3938
83 | 2710322.2286 | 1273578.8211
84 | 2710321.1028 | 1273535.79
85 | 2710349.3196 | 1273586.24
86 | 2710697.2991 | 1273764.0181
87 | 2710712.9924 | 1273774.6612
88 | 2710719.8619 | 1273779.3276
89 | 2710733.4794 | 1273788.5643
90 | 2710697.2395 | 1273810.9117
91 | 2710327.8603 | 1273671.787
92 | 2710296.7889 | 1273713.5647
93 | 2710356.5247 | 1273588.6769
94 | 2710690.9297 | 1273819.7211
95 | 2710783.0618 | 1273822.1959
96 | 2710792.5169 | 1273806.8316
97 | 2710212.7203 | 1273630.6409
98 | 2710289.0373 | 1273657.4286
99 | 2710306.9714 | 1273663.7409
100 | 2710271.8361 | 1273717.3092
101 | 2710284.1341 | 1273597.1985
102 | 2710309.9532 | 1273606.0709
103 | 2710333.6388 | 1273614.2101
104 | 2710522.7262 | 1273560.0603
105 | 2710497.4828 | 1273546.461
106 | 2710268.0484 | 1273713.524
107 | 2710479.4921 | 1273672.1845

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1