## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4821-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4821-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4821-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4821-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4821-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4821-6_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4821-6_0_4_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_4821-6_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_4821-6_0_4_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_4821-6_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4821-6_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4821-6_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4821-6_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4821-6_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_4821-6_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4821-6_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4821-6_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4821-6_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4821-6_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4821-6_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4821-6_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_4821-6_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_4821-6_0_4_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_4821-6_0_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_4821-6_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_4821-6_0_4_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_4821-6_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_4821-6_0_4_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_4821-6_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4821-6_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4821-6_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4821-6_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4821-6_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4821-6_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_4821-6_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4821-6_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_4821-6_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4821-6_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4821-6_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4821-6_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4821-6_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4821-6_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4821-6_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4821-6_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4821-6_0_4_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_4821-6_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_4821-6_0_4_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_4821-6_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_4821-6_0_4_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_4821-6_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4821-6_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4821-6_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_4821-6_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4821-6_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_4821-6_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4821-6_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4821-6_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4821-6_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4821-6_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_4821-6_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4821-6_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_4821-6_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4821-6_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4821-6_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_4821-6_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4821-6_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4821-6_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4821-6_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4821-6_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4821-6_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4821-6_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4821-6_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4821-6_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_4821-6_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4821-6_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_4821-6_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_MV_402_1_node_320 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4821-6_0_4_load_0 | 0 | 0.002953 | 0.00074009 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4821-6_0_4_load_1 | 1 | 0.0011272 | 0.00028251 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4821-6_0_4_load_2 | 2 | 0.00093208 | 0.0002336 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4821-6_0_4_load_3 | 3 | 0.0021957 | 0.00055029 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4821-6_0_4_load_4 | 4 | 0.0010569 | 0.00026489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4821-6_0_4_load_15 | 5 | 0.0046375 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4821-6_0_4_load_80 | 6 | 0.00067722 | 0.00016973 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4821-6_0_4_load_13 | 7 | 0.0041543 | 0.0010412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4821-6_0_4_load_81 | 8 | 0.001893 | 0.00047442 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4821-6_0_4_load_5 | 9 | 0.0038388 | 0.0009621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4821-6_0_4_load_6 | 10 | 0.0090802 | 0.0022757 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4821-6_0_4_load_7 | 11 | 0.0026308 | 0.00065935 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4821-6_0_4_load_16 | 12 | 0.0024279 | 0.0006085 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4821-6_0_4_load_8 | 14 | 0.002382 | 0.00059698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4821-6_0_4_load_14 | 19 | 0.0022182 | 0.00055593 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4821-6_0_4_load_71 | 20 | 0.0050276 | 0.00126 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4821-6_0_4_load_43 | 21 | 0.01234 | 0.0030926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4821-6_0_4_load_64 | 22 | 0.0068408 | 0.0017145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4821-6_0_4_load_49 | 23 | 0.0033761 | 0.00084613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4821-6_0_4_load_44 | 24 | 0.0047251 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4821-6_0_4_load_63 | 25 | 0.0030391 | 0.00076166 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4821-6_0_4_load_61 | 27 | 0.002773 | 0.00069498 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4821-6_0_4_load_17 | 28 | 0.0063539 | 0.0015924 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4821-6_0_4_load_18 | 29 | 0.0025691 | 0.00064388 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4821-6_0_4_load_19 | 30 | 0.0024204 | 0.0006066 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4821-6_0_4_load_21 | 32 | 0.004374 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4821-6_0_4_load_48 | 33 | 0.0026488 | 0.00066386 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4821-6_0_4_load_28 | 34 | 0.0022333 | 0.00055971 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4821-6_0_4_load_54 | 35 | 0.0076035 | 0.0019056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4821-6_0_4_load_29 | 36 | 0.0027884 | 0.00069883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4821-6_0_4_load_60 | 37 | 0.0016218 | 0.00040646 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4821-6_0_4_load_41 | 38 | 0.0017542 | 0.00043964 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4821-6_0_4_load_23 | 39 | 0.0024127 | 0.00060467 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4821-6_0_4_load_24 | 40 | 0.011707 | 0.0029339 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4821-6_0_4_load_25 | 41 | 0.0028811 | 0.00072208 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4821-6_0_4_load_72 | 44 | 0.0013125 | 0.00032893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4821-6_0_4_load_51 | 45 | 0.0026292 | 0.00065893 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4821-6_0_4_load_70 | 48 | 0.0059033 | 0.0014795 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4821-6_0_4_load_50 | 49 | 0.0033559 | 0.00084108 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4821-6_0_4_load_34 | 50 | 0.001542 | 0.00038647 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4821-6_0_4_load_30 | 52 | 0.0077746 | 0.0019485 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4821-6_0_4_load_31 | 53 | 0.0012906 | 0.00032347 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4821-6_0_4_load_33 | 54 | 0.0013562 | 0.0003399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4821-6_0_4_load_47 | 55 | 0.0043888 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4821-6_0_4_load_35 | 56 | 0.0018582 | 0.0004657 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4821-6_0_4_load_36 | 57 | 0.0019157 | 0.00048012 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4821-6_0_4_load_37 | 58 | 0.0030795 | 0.0007718 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4821-6_0_4_load_38 | 59 | 0.0018885 | 0.0004733 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4821-6_0_4_load_39 | 60 | 0.00069108 | 0.0001732 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4821-6_0_4_load_40 | 61 | 0.0080365 | 0.0020141 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4821-6_0_4_load_78 | 62 | 0.0017649 | 0.00044233 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4821-6_0_4_load_69 | 63 | 0.00069158 | 0.00017333 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4821-6_0_4_load_59 | 65 | 0.0052466 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4821-6_0_4_load_55 | 66 | 0.0035026 | 0.00087782 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4821-6_0_4_load_52 | 67 | 0.0078373 | 0.0019642 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4821-6_0_4_load_53 | 68 | 0.0016706 | 0.00041869 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4821-6_0_4_load_57 | 70 | 0.0011187 | 0.00028038 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4821-6_0_4_load_65 | 71 | 0.0029988 | 0.00075157 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4821-6_0_4_load_66 | 72 | 0.0022032 | 0.00055217 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4821-6_0_4_load_68 | 73 | 0.0028057 | 0.00070317 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4821-6_0_4_load_77 | 74 | 0.0018945 | 0.0004748 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4821-6_0_4_load_74 | 75 | 0.0067943 | 0.0017028 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4821-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0053237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4821-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0061179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4821-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4821-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4821-6_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0051706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4821-6_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0050152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4821-6_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.025196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4821-6_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0064221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4821-6_0_4_line_8 | NAYY 4x150 SE | 7 | 16 | 0.025782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4821-6_0_4_line_9 | NAYY 4x150 SE | 8 | 74 | 0.0064221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4821-6_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.027258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4821-6_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.027585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4821-6_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.033314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4821-6_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.048232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4821-6_0_4_line_14 | NAYY 4x150 SE | 13 | 26 | 0.025626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4821-6_0_4_line_15 | NAYY 4x150 SE | 13 | 27 | 0.023881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4821-6_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.034673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4821-6_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0002482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4821-6_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.008989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4821-6_0_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.007683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4821-6_0_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.011156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4821-6_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.012865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4821-6_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.0091609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4821-6_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.0083798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4821-6_0_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0038044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4821-6_0_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.0034159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4821-6_0_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.024819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4821-6_0_4_line_27 | NAYY 4x150 SE | 23 | 31 | 0.056832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4821-6_0_4_line_28 | NAYY 4x150 SE | 24 | 47 | 0.021145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4821-6_0_4_line_29 | NAYY 4x150 SE | 25 | 70 | 0.014914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4821-6_0_4_line_30 | NAYY 4x150 SE | 26 | 37 | 0.021833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4821-6_0_4_line_31 | NAYY 4x150 SE | 26 | 38 | 0.011603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4821-6_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0060558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4821-6_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.023072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4821-6_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0099003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4821-6_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0091304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4821-6_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.015408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4821-6_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.019528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4821-6_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0026835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4821-6_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.01176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4821-6_0_4_line_40 | NAYY 4x150 SE | 35 | 66 | 0.028684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4821-6_0_4_line_41 | NAYY 4x150 SE | 36 | 50 | 0.0083746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4821-6_0_4_line_42 | NAYY 4x150 SE | 37 | 65 | 0.030468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4821-6_0_4_line_43 | NAYY 4x150 SE | 38 | 54 | 0.034007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4821-6_0_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.017622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4821-6_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.014684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4821-6_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0075266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4821-6_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.018135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4821-6_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.0086806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4821-6_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0096968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4821-6_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.020609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4821-6_0_4_line_51 | NAYY 4x150 SE | 45 | 49 | 0.026058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4821-6_0_4_line_52 | NAYY 4x150 SE | 46 | 75 | 0.032278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4821-6_0_4_line_53 | NAYY 4x150 SE | 47 | 48 | 0.030114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4821-6_0_4_line_54 | NAYY 4x150 SE | 49 | 67 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4821-6_0_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.042997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4821-6_0_4_line_56 | NAYY 4x150 SE | 51 | 55 | 0.018916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4821-6_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.041074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4821-6_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.0045709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4821-6_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.010711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4821-6_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.01706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4821-6_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.010433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4821-6_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.023022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4821-6_0_4_line_63 | NAYY 4x150 SE | 58 | 61 | 0.051215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4821-6_0_4_line_64 | NAYY 4x150 SE | 59 | 62 | 0.0089839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4821-6_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.0062469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4821-6_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.028586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4821-6_0_4_line_67 | NAYY 4x150 SE | 64 | 69 | 0.012755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4821-6_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0089059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4821-6_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.028177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4821-6_0_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.018408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4821-6_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.022067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4821-6_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0059539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4821-6_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4821-6_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0024782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4821-6_0_4_trafo_10 | 0.25 MVA 20/0.4 kV | 76 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2707615.3433 | 1274290.276 | 2707620.0812 | 1274287.8481
1 | 2707615.3433 | 1274290.276 | 2707609.8987 | 1274293.0661
2 | 2707637.3179 | 1274279.0153 | 2707620.0812 | 1274287.8481
3 | 2707595.2326 | 1274300.5816 | 2707609.8987 | 1274293.0661
4 | 2707641.9195 | 1274276.6573 | 2707637.3179 | 1274279.0153
5 | 2707595.2326 | 1274300.5816 | 2707590.7693 | 1274302.8688
6 | 2707664.3424 | 1274265.1668 | 2707641.9195 | 1274276.6573
7 | 2707590.7693 | 1274302.8688 | 2707585.0539 | 1274305.7976
8 | 2707687.2874 | 1274253.4088 | 2707664.3424 | 1274265.1668
9 | 2707585.0539 | 1274305.7976 | 2707579.3385 | 1274308.7264
10 | 2707564.2401 | 1274436.2609 | 2707568.1436 | 1274434.7306 | 2707588.8549 | 1274424.5785
11 | 2707588.8549 | 1274424.5785 | 2707613.6247 | 1274412.437
12 | 2707643.8933 | 1274398.5402 | 2707626.306 | 1274406.221 | 2707613.6247 | 1274412.437
13 | 2707681.9034 | 1274371.5931 | 2707675.5215 | 1274382.5642 | 2707665.1947 | 1274389.2373 | 2707643.8933 | 1274398.5402
14 | 2707681.9034 | 1274371.5931 | 2707674.9532 | 1274364.2598 | 2707661.6704 | 1274356.1326
15 | 2707681.9034 | 1274371.5931 | 2707702.9729 | 1274375.4253 | 2707705.4345 | 1274375.5733
16 | 2707718.3377 | 1274237.4278 | 2707687.5081 | 1274253.2952
17 | 2707687.5081 | 1274253.2952 | 2707687.2874 | 1274253.4088
18 | 2707718.3377 | 1274237.4278 | 2707722.4406 | 1274245.432
19 | 2707725.1855 | 1274233.9052 | 2707718.3377 | 1274237.4278
20 | 2707687.2874 | 1274253.4088 | 2707682.1536 | 1274243.5037
21 | 2707722.4406 | 1274245.432 | 2707728.7489 | 1274256.6445
22 | 2707725.1855 | 1274233.9052 | 2707733.2039 | 1274229.4749
23 | 2707682.1536 | 1274243.5037 | 2707678.2975 | 1274236.0638
24 | 2707730.6144 | 1274259.9601 | 2707728.7489 | 1274256.6445
25 | 2707733.2039 | 1274229.4749 | 2707736.1937 | 1274227.8229 | 2707736.1937 | 1274227.8229
26 | 2707666.8769 | 1274214.0287 | 2707678.2975 | 1274236.0638
27 | 2707758.4812 | 1274309.491 | 2707730.6144 | 1274259.9601
28 | 2707747.5011 | 1274210.3027 | 2707743.8572 | 1274219.1663 | 2707736.1937 | 1274227.8229
29 | 2707666.8769 | 1274214.0287 | 2707660.0139 | 1274200.7872
30 | 2707661.6704 | 1274356.1326 | 2707673.4597 | 1274350.9096 | 2707682.1074 | 1274348.6485
31 | 2707661.6704 | 1274356.1326 | 2707653.4914 | 1274355.5496 | 2707650.1082 | 1274355.9173
32 | 2707767.0713 | 1274304.5689 | 2707772.3256 | 1274301.5582
33 | 2707792.3441 | 1274290.0878 | 2707772.3256 | 1274301.5582
34 | 2707758.4812 | 1274309.491 | 2707767.0713 | 1274304.5689
35 | 2707792.3441 | 1274290.0878 | 2707800.2662 | 1274285.5485
36 | 2707758.4812 | 1274309.491 | 2707745.0834 | 1274317.0996
37 | 2707817.6384 | 1274276.7766 | 2707812.3116 | 1274278.6465 | 2707800.2662 | 1274285.5485
38 | 2707745.0834 | 1274317.0996 | 2707742.75 | 1274318.4248
39 | 2707817.6384 | 1274276.7766 | 2707824.8988 | 1274274.228 | 2707828.9621 | 1274274.3671
40 | 2707717.8074 | 1274332.5898 | 2707742.75 | 1274318.4248
41 | 2707837.2218 | 1274275.2377 | 2707835.3681 | 1274274.5862 | 2707828.9621 | 1274274.3671
42 | 2707682.1074 | 1274348.6485 | 2707693.0987 | 1274345.7744 | 2707707.7873 | 1274338.2802 | 2707710.0632 | 1274336.9878
43 | 2707616.6625 | 1274361.9029 | 2707640.8775 | 1274356.9208 | 2707650.1082 | 1274355.9173
44 | 2707787.6931 | 1274148.0849 | 2707783.552 | 1274150.341 | 2707771.2034 | 1274154.0938
45 | 2707757.2192 | 1274158.5623 | 2707762.0819 | 1274156.8659 | 2707771.2034 | 1274154.0938
46 | 2707794.067 | 1274144.0941 | 2707789.7732 | 1274146.9516 | 2707787.6931 | 1274148.0849
47 | 2707739.9242 | 1274163.99 | 2707749.2377 | 1274161.3466 | 2707757.2192 | 1274158.5623
48 | 2707794.067 | 1274144.0941 | 2707787.805 | 1274138.0825
49 | 2707739.9242 | 1274163.99 | 2707730.3018 | 1274165.1896
50 | 2707772.76 | 1274123.9984 | 2707785.6119 | 1274135.977 | 2707787.805 | 1274138.0825
51 | 2707704.3591 | 1274167.5528 | 2707720.8614 | 1274166.3665 | 2707730.3018 | 1274165.1896
52 | 2707772.76 | 1274123.9984 | 2707748.4973 | 1274102.7096
53 | 2707747.5011 | 1274210.3027 | 2707776.2563 | 1274219.5246
54 | 2707704.3591 | 1274167.5528 | 2707693.8802 | 1274168.3061
55 | 2707872.4901 | 1274299.1863 | 2707845.5156 | 1274278.1526 | 2707837.2218 | 1274275.2377
56 | 2707872.4901 | 1274299.1863 | 2707883.7182 | 1274287.659 | 2707885.8761 | 1274285.8378
57 | 2707612.1854 | 1274362.8241 | 2707571.9542 | 1274371.1016
58 | 2707616.6625 | 1274361.9029 | 2707612.1854 | 1274362.8241
59 | 2707593.808 | 1274225.2296 | 2707601.83 | 1274218.132
60 | 2707581.0311 | 1274236.5343 | 2707593.808 | 1274225.2296
61 | 2707601.83 | 1274218.132 | 2707609.644 | 1274211.2183
62 | 2707581.0311 | 1274236.5343 | 2707562.6363 | 1274250.3784
63 | 2707581.0311 | 1274236.5343 | 2707589.6578 | 1274219.1762 | 2707570.4969 | 1274193.7583
64 | 2707609.644 | 1274211.2183 | 2707616.3724 | 1274205.2652
65 | 2707562.6363 | 1274250.3784 | 2707557.645 | 1274254.1349
66 | 2707639.2424 | 1274188.1415 | 2707619.4795 | 1274202.5161 | 2707616.3724 | 1274205.2652
67 | 2707649.9438 | 1274181.1526 | 2707639.2424 | 1274188.1415
68 | 2707717.8074 | 1274332.5898 | 2707710.0632 | 1274336.9878
69 | 2707666.2132 | 1274172.7581 | 2707671.2647 | 1274170.8323 | 2707683.729 | 1274169.0359 | 2707693.8802 | 1274168.3061
70 | 2707649.9438 | 1274181.1526 | 2707658.2085 | 1274175.8097 | 2707666.2132 | 1274172.7581
71 | 2707649.9438 | 1274181.1526 | 2707652.6644 | 1274186.6071 | 2707660.0139 | 1274200.7872
72 | 2707560.8812 | 1274318.1847 | 2707566.1799 | 1274315.4694
73 | 2707566.1799 | 1274315.4694 | 2707577.133 | 1274309.8566
74 | 2707577.133 | 1274309.8566 | 2707579.3385 | 1274308.7264

## bus_geodata
| x | y | coords
0 | 2707615.3433 | 1274290.276
1 | 2707620.0812 | 1274287.8481
2 | 2707609.8987 | 1274293.0661
3 | 2707637.3179 | 1274279.0153
4 | 2707595.2326 | 1274300.5816
5 | 2707641.9195 | 1274276.6573
6 | 2707590.7693 | 1274302.8688
7 | 2707664.3424 | 1274265.1668
8 | 2707585.0539 | 1274305.7976
9 | 2707564.2401 | 1274436.2609
10 | 2707588.8549 | 1274424.5785
11 | 2707613.6247 | 1274412.437
12 | 2707643.8933 | 1274398.5402
13 | 2707681.9034 | 1274371.5931
14 | 2707687.5081 | 1274253.2952
15 | 2707718.3377 | 1274237.4278
16 | 2707687.2874 | 1274253.4088
17 | 2707722.4406 | 1274245.432
18 | 2707725.1855 | 1274233.9052
19 | 2707682.1536 | 1274243.5037
20 | 2707728.7489 | 1274256.6445
21 | 2707733.2039 | 1274229.4749
22 | 2707678.2975 | 1274236.0638
23 | 2707730.6144 | 1274259.9601
24 | 2707736.1937 | 1274227.8229
25 | 2707666.8769 | 1274214.0287
26 | 2707661.6704 | 1274356.1326
27 | 2707705.4345 | 1274375.5733
28 | 2707772.3256 | 1274301.5582
29 | 2707767.0713 | 1274304.5689
30 | 2707792.3441 | 1274290.0878
31 | 2707758.4812 | 1274309.491
32 | 2707800.2662 | 1274285.5485
33 | 2707745.0834 | 1274317.0996
34 | 2707817.6384 | 1274276.7766
35 | 2707742.75 | 1274318.4248
36 | 2707828.9621 | 1274274.3671
37 | 2707682.1074 | 1274348.6485
38 | 2707650.1082 | 1274355.9173
39 | 2707771.2034 | 1274154.0938
40 | 2707787.6931 | 1274148.0849
41 | 2707757.2192 | 1274158.5623
42 | 2707794.067 | 1274144.0941
43 | 2707739.9242 | 1274163.99
44 | 2707787.805 | 1274138.0825
45 | 2707730.3018 | 1274165.1896
46 | 2707772.76 | 1274123.9984
47 | 2707747.5011 | 1274210.3027
48 | 2707776.2563 | 1274219.5246
49 | 2707704.3591 | 1274167.5528
50 | 2707837.2218 | 1274275.2377
51 | 2707872.4901 | 1274299.1863
52 | 2707571.9542 | 1274371.1015
53 | 2707612.1854 | 1274362.8241
54 | 2707616.6625 | 1274361.9029
55 | 2707885.8761 | 1274285.8378
56 | 2707593.808 | 1274225.2296
57 | 2707601.83 | 1274218.132
58 | 2707581.0311 | 1274236.5343
59 | 2707609.644 | 1274211.2183
60 | 2707562.6363 | 1274250.3784
61 | 2707570.4969 | 1274193.7583
62 | 2707616.3724 | 1274205.2652
63 | 2707557.645 | 1274254.1349
64 | 2707639.2424 | 1274188.1415
65 | 2707710.0632 | 1274336.9878
66 | 2707717.8074 | 1274332.5898
67 | 2707693.8802 | 1274168.3061
68 | 2707666.2132 | 1274172.7581
69 | 2707649.9438 | 1274181.1526
70 | 2707660.0139 | 1274200.7872
71 | 2707560.8812 | 1274318.1847
72 | 2707566.1799 | 1274315.4694
73 | 2707577.133 | 1274309.8566
74 | 2707579.3385 | 1274308.7264
75 | 2707748.4973 | 1274102.7096
76 | 2707718.3377 | 1274237.4278

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1