## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4821-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4821-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4821-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4821-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4821-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4821-8_0_3_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_4821-8_0_3_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_4821-8_0_3_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_4821-8_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_4821-8_0_3_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_4821-8_0_3_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_4821-8_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4821-8_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4821-8_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4821-8_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4821-8_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4821-8_0_3_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_4821-8_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_4821-8_0_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_4821-8_0_3_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_4821-8_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_4821-8_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4821-8_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4821-8_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4821-8_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4821-8_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4821-8_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4821-8_0_3_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_4821-8_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4821-8_0_3_node_99 | 0.4 | n |  | TRUE
30 | bus_LV_4821-8_0_3_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_4821-8_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4821-8_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4821-8_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4821-8_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4821-8_0_3_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_4821-8_0_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_4821-8_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_4821-8_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4821-8_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_4821-8_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4821-8_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4821-8_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4821-8_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_4821-8_0_3_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_4821-8_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_4821-8_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4821-8_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4821-8_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4821-8_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_4821-8_0_3_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_4821-8_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4821-8_0_3_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_4821-8_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4821-8_0_3_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_4821-8_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4821-8_0_3_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4821-8_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4821-8_0_3_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_4821-8_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4821-8_0_3_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_4821-8_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4821-8_0_3_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_4821-8_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4821-8_0_3_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_4821-8_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4821-8_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4821-8_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4821-8_0_3_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_4821-8_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4821-8_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_4821-8_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_4821-8_0_3_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_4821-8_0_3_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_4821-8_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_4821-8_0_3_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_4821-8_0_3_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4821-8_0_3_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4821-8_0_3_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_4821-8_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_4821-8_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_4821-8_0_3_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_4821-8_0_3_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_4821-8_0_3_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_4821-8_0_3_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4821-8_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4821-8_0_3_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_4821-8_0_3_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_4821-8_0_3_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_4821-8_0_3_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_4821-8_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_4821-8_0_3_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_4821-8_0_3_node_100 | 0.4 | n |  | TRUE
93 | bus_LV_4821-8_0_3_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4821-8_0_3_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_4821-8_0_3_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_4821-8_0_3_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_4821-8_0_3_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_4821-8_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_MV_402_1_node_251 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4821-8_0_3_load_0 | 0 | 0.0019075 | 0.00047807 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4821-8_0_3_load_1 | 1 | 0.001656 | 0.00041502 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4821-8_0_3_load_3 | 3 | 0.0011855 | 0.00029712 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4821-8_0_3_load_90 | 6 | 0.0046573 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4821-8_0_3_load_86 | 7 | 0.0033481 | 0.00083911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4821-8_0_3_load_31 | 8 | 0.0014784 | 0.00037052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4821-8_0_3_load_68 | 9 | 0.0030948 | 0.00077562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4821-8_0_3_load_67 | 10 | 0.0045863 | 0.0011494 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4821-8_0_3_load_5 | 11 | 0.0039943 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4821-8_0_3_load_6 | 12 | 0.0031906 | 0.00079964 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4821-8_0_3_load_7 | 13 | 0.0024046 | 0.00060265 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4821-8_0_3_load_8 | 14 | 0.0013705 | 0.00034348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4821-8_0_3_load_9 | 15 | 0.0025465 | 0.00063821 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4821-8_0_3_load_39 | 18 | 0.0017177 | 0.00043049 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4821-8_0_3_load_62 | 19 | 0.0022576 | 0.00056581 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4821-8_0_3_load_10 | 21 | 0.00034585 | 8.6678e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4821-8_0_3_load_11 | 22 | 0.0010089 | 0.00025286 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4821-8_0_3_load_13 | 24 | 0.0010089 | 0.00025286 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4821-8_0_3_load_14 | 25 | 0.0013904 | 0.00034847 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4821-8_0_3_load_15 | 26 | 0.0019463 | 0.0004878 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4821-8_0_3_load_85 | 27 | 0.0020784 | 0.0005209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4821-8_0_3_load_24 | 28 | 0.00022305 | 5.5901e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4821-8_0_3_load_99 | 29 | 0.00077995 | 0.00019547 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4821-8_0_3_load_84 | 30 | 0.0011143 | 0.00027927 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4821-8_0_3_load_25 | 31 | 0.00043876 | 0.00010996 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4821-8_0_3_load_16 | 32 | 0.00089823 | 0.00022512 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4821-8_0_3_load_17 | 33 | 0.0008543 | 0.00021411 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4821-8_0_3_load_18 | 34 | 0.0012537 | 0.00031421 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4821-8_0_3_load_88 | 35 | 0.0012898 | 0.00032325 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4821-8_0_3_load_19 | 37 | 0.0027328 | 0.00068489 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4821-8_0_3_load_20 | 38 | 0.0012787 | 0.00032046 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4821-8_0_3_load_21 | 39 | 0.0030184 | 0.00075648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4821-8_0_3_load_22 | 40 | 0.0028731 | 0.00072006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4821-8_0_3_load_23 | 41 | 0.002074 | 0.0005198 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4821-8_0_3_load_42 | 43 | 0.0022409 | 0.00056163 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4821-8_0_3_load_57 | 44 | 0.0012284 | 0.00030785 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4821-8_0_3_load_55 | 45 | 0.0011347 | 0.00028439 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4821-8_0_3_load_34 | 48 | 0.0018115 | 0.000454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4821-8_0_3_load_71 | 49 | 0.0032386 | 0.00081167 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4821-8_0_3_load_64 | 50 | 0.0029152 | 0.00073063 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4821-8_0_3_load_83 | 52 | 0.0022248 | 0.00055759 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4821-8_0_3_load_35 | 53 | 0.0013072 | 0.00032761 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4821-8_0_3_load_27 | 54 | 0.0016121 | 0.00040403 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4821-8_0_3_load_28 | 55 | 0.0024773 | 0.00062087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4821-8_0_3_load_30 | 57 | 0.0045457 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4821-8_0_3_load_32 | 58 | 0.00248 | 0.00062155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4821-8_0_3_load_46 | 59 | 0.0029671 | 0.00074362 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4821-8_0_3_load_36 | 60 | 0.0023766 | 0.00059563 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4821-8_0_3_load_43 | 61 | 0.0031672 | 0.00079377 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4821-8_0_3_load_41 | 63 | 0.0028551 | 0.00071557 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4821-8_0_3_load_44 | 64 | 0.0023178 | 0.0005809 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4821-8_0_3_load_47 | 65 | 0.0016793 | 0.00042087 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4821-8_0_3_load_58 | 66 | 0.00098051 | 0.00024574 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4821-8_0_3_load_89 | 68 | 0.0014329 | 0.00035912 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4821-8_0_3_load_59 | 69 | 0.0037173 | 0.00093164 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4821-8_0_3_load_63 | 70 | 0.0045617 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4821-8_0_3_load_61 | 71 | 0.0016516 | 0.00041393 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4821-8_0_3_load_48 | 72 | 0.0017548 | 0.00043979 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4821-8_0_3_load_49 | 73 | 0.0032555 | 0.00081589 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4821-8_0_3_load_51 | 75 | 0.0008302 | 0.00020807 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4821-8_0_3_load_52 | 76 | 0.0017241 | 0.0004321 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4821-8_0_3_load_53 | 77 | 0.00078786 | 0.00019746 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4821-8_0_3_load_65 | 79 | 0.003278 | 0.00082154 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4821-8_0_3_load_78 | 80 | 0.00043341 | 0.00010862 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4821-8_0_3_load_94 | 81 | 0.0015014 | 0.00037628 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4821-8_0_3_load_95 | 82 | 0.0011928 | 0.00029895 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4821-8_0_3_load_93 | 83 | 0.0026738 | 0.00067012 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4821-8_0_3_load_66 | 84 | 0.0019504 | 0.00048882 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4821-8_0_3_load_79 | 85 | 0.0013672 | 0.00034265 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4821-8_0_3_load_98 | 86 | 0.001314 | 0.00032932 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4821-8_0_3_load_92 | 87 | 0.001639 | 0.00041076 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4821-8_0_3_load_72 | 88 | 0.0072984 | 0.0018292 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4821-8_0_3_load_73 | 89 | 0.0043286 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4821-8_0_3_load_100 | 92 | 0.00074849 | 0.00018759 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4821-8_0_3_load_70 | 93 | 0.0020045 | 0.00050237 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4821-8_0_3_load_69 | 94 | 0.001541 | 0.00038622 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4821-8_0_3_load_74 | 95 | 0.0027653 | 0.00069305 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4821-8_0_3_load_75 | 96 | 0.0017453 | 0.0004374 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4821-8_0_3_load_77 | 97 | 0.0047352 | 0.0011868 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4821-8_0_3_load_91 | 98 | 0.0013882 | 0.00034792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4821-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4821-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4821-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4821-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4821-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.041869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4821-8_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.021937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4821-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.020388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4821-8_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.035206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4821-8_0_3_line_8 | NAYY 4x150 SE | 7 | 36 | 0.012041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4821-8_0_3_line_9 | NAYY 4x150 SE | 8 | 56 | 0.011696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4821-8_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.040993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4821-8_0_3_line_11 | NAYY 4x150 SE | 10 | 94 | 0.0059037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4821-8_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0052873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4821-8_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0028004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4821-8_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.02051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4821-8_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.01876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4821-8_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0062149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4821-8_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.013322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4821-8_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0086477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4821-8_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.020522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4821-8_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.004865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4821-8_0_3_line_21 | NAYY 4x150 SE | 18 | 57 | 0.010908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4821-8_0_3_line_22 | NAYY 4x150 SE | 19 | 70 | 0.029363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4821-8_0_3_line_23 | NAYY 4x150 SE | 20 | 43 | 0.022686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4821-8_0_3_line_24 | NAYY 4x150 SE | 20 | 40 | 0.016049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4821-8_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4821-8_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.018398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4821-8_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.008962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4821-8_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.014489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4821-8_0_3_line_29 | NAYY 4x150 SE | 23 | 26 | 0.024005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4821-8_0_3_line_30 | NAYY 4x150 SE | 24 | 27 | 0.013219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4821-8_0_3_line_31 | NAYY 4x150 SE | 25 | 28 | 0.0064784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4821-8_0_3_line_32 | NAYY 4x150 SE | 26 | 29 | 0.025165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4821-8_0_3_line_33 | NAYY 4x150 SE | 27 | 30 | 0.0013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4821-8_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.019309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4821-8_0_3_line_35 | NAYY 4x150 SE | 30 | 89 | 0.025549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4821-8_0_3_line_36 | NAYY 4x150 SE | 31 | 46 | 0.017024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4821-8_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.036236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4821-8_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.010138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4821-8_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.026698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4821-8_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.021238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4821-8_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.021315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4821-8_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.026595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4821-8_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0039015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4821-8_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0073336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4821-8_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.011656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4821-8_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.021818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4821-8_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.0072931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4821-8_0_3_line_48 | NAYY 4x150 SE | 43 | 61 | 0.026171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4821-8_0_3_line_49 | NAYY 4x150 SE | 44 | 88 | 0.015378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4821-8_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.003599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4821-8_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.019575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4821-8_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.021574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4821-8_0_3_line_53 | NAYY 4x150 SE | 47 | 50 | 0.0048643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4821-8_0_3_line_54 | NAYY 4x150 SE | 48 | 53 | 0.012425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4821-8_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.02329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4821-8_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.030742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4821-8_0_3_line_57 | NAYY 4x150 SE | 52 | 62 | 0.035925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4821-8_0_3_line_58 | NAYY 4x150 SE | 53 | 60 | 0.003562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4821-8_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.02401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4821-8_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0079982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4821-8_0_3_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0029834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4821-8_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.03726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4821-8_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.025975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4821-8_0_3_line_64 | NAYY 4x150 SE | 61 | 64 | 0.034121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4821-8_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.041691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4821-8_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.017652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4821-8_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.016211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4821-8_0_3_line_68 | NAYY 4x150 SE | 66 | 71 | 0.0015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4821-8_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.032948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4821-8_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.015262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4821-8_0_3_line_71 | NAYY 4x150 SE | 68 | 91 | 0.025705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4821-8_0_3_line_72 | NAYY 4x150 SE | 69 | 75 | 0.016864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4821-8_0_3_line_73 | NAYY 4x150 SE | 71 | 90 | 0.0043203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4821-8_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.028499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4821-8_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.03329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4821-8_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.00031792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4821-8_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.013773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4821-8_0_3_line_78 | NAYY 4x150 SE | 74 | 77 | 0.02146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4821-8_0_3_line_79 | NAYY 4x150 SE | 74 | 78 | 0.015509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4821-8_0_3_line_80 | NAYY 4x150 SE | 76 | 79 | 0.031302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4821-8_0_3_line_81 | NAYY 4x150 SE | 77 | 80 | 0.0075007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4821-8_0_3_line_82 | NAYY 4x150 SE | 78 | 81 | 0.026203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4821-8_0_3_line_83 | NAYY 4x150 SE | 78 | 82 | 0.038154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4821-8_0_3_line_84 | NAYY 4x150 SE | 78 | 83 | 0.025055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4821-8_0_3_line_85 | NAYY 4x150 SE | 79 | 84 | 0.011379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4821-8_0_3_line_86 | NAYY 4x150 SE | 80 | 85 | 0.019006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4821-8_0_3_line_87 | NAYY 4x150 SE | 82 | 86 | 0.0014257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4821-8_0_3_line_88 | NAYY 4x150 SE | 83 | 87 | 0.010011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4821-8_0_3_line_89 | NAYY 4x150 SE | 84 | 93 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4821-8_0_3_line_90 | NAYY 4x150 SE | 87 | 98 | 0.038659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4821-8_0_3_line_91 | NAYY 4x150 SE | 88 | 89 | 0.0040754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4821-8_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.016026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4821-8_0_3_line_93 | NAYY 4x150 SE | 90 | 92 | 0.032272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4821-8_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.01066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4821-8_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.011936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4821-8_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.034619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4821-8_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.022874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4821-8_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 99 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2704689.1707 | 1275884.5183 | 2704677.3517 | 1275897.1065
1 | 2704698.5511 | 1275874.5274 | 2704689.1707 | 1275884.5183
2 | 2704658.235 | 1275917.4673 | 2704677.3517 | 1275897.1065
3 | 2704670.1294 | 1275883.1642 | 2704698.5511 | 1275874.5274
4 | 2704629.5762 | 1275947.9912 | 2704658.235 | 1275917.4673
5 | 2704670.1294 | 1275883.1642 | 2704649.1389 | 1275889.5394
6 | 2704629.5762 | 1275947.9912 | 2704639.6459 | 1275965.719
7 | 2704615.452 | 1275899.7707 | 2704649.1389 | 1275889.5394
8 | 2704645.5931 | 1275976.189 | 2704639.6459 | 1275965.719
9 | 2704604.261 | 1275903.1696 | 2704615.452 | 1275899.7707
10 | 2704603.5075 | 1275809.2935 | 2704606.2963 | 1275815.9843 | 2704611.9058 | 1275824.4134 | 2704622.6324 | 1275826.6389 | 2704634.8626 | 1275827.601 | 2704635.1227 | 1275827.8997
11 | 2704603.5075 | 1275809.2935 | 2704601.2362 | 1275803.8442
12 | 2704517.9693 | 1275904.0952 | 2704523.2551 | 1275904.2223
13 | 2704517.9693 | 1275904.0952 | 2704515.1697 | 1275904.0279
14 | 2704523.2551 | 1275904.2223 | 2704543.7593 | 1275904.7153
15 | 2704496.4152 | 1275903.577 | 2704515.1697 | 1275904.0279
16 | 2704549.9724 | 1275904.8647 | 2704543.7593 | 1275904.7153
17 | 2704483.0968 | 1275903.2567 | 2704496.4152 | 1275903.577
18 | 2704549.9724 | 1275904.8647 | 2704558.6116 | 1275905.2476
19 | 2704483.0968 | 1275903.2567 | 2704482.2048 | 1275911.5927 | 2704480.7115 | 1275919.9181 | 2704479.6819 | 1275923.4514
20 | 2704483.0968 | 1275903.2567 | 2704478.2791 | 1275904.0277
21 | 2704569.5092 | 1275905.7307 | 2704558.6116 | 1275905.2476
22 | 2704479.6819 | 1275923.4514 | 2704476.7331 | 1275933.5708 | 2704473.5696 | 1275941.9666 | 2704470.3282 | 1275950.5168 | 2704470.0564 | 1275951.1693
23 | 2704478.2791 | 1275904.0277 | 2704480.2758 | 1275894.0209 | 2704480.1629 | 1275883.8432 | 2704480.0862 | 1275881.5411
24 | 2704478.2791 | 1275904.0277 | 2704462.4311 | 1275906.5603
25 | 2704429.6339 | 1276010.9028 | 2704424.3592 | 1276001.2618
26 | 2704438.4643 | 1276027.0426 | 2704429.6339 | 1276010.9028
27 | 2704420.0576 | 1275993.3997 | 2704424.3592 | 1276001.2618
28 | 2704438.4643 | 1276027.0426 | 2704451.5251 | 1276020.7687
29 | 2704438.4643 | 1276027.0426 | 2704415.73 | 1276034.75
30 | 2704413.7128 | 1275981.8028 | 2704420.0576 | 1275993.3997
31 | 2704457.3647 | 1276017.9636 | 2704451.5251 | 1276020.7687
32 | 2704391.2473 | 1276040.187 | 2704406.9779 | 1276037.7171 | 2704415.73 | 1276034.75
33 | 2704413.7128 | 1275981.8028 | 2704413.0834 | 1275980.6526
34 | 2704474.7695 | 1276009.6031 | 2704474.7695 | 1276009.6031 | 2704457.3647 | 1276017.9636
35 | 2704401.2957 | 1275958.0611 | 2704401.674 | 1275959.799 | 2704413.0834 | 1275980.6526
36 | 2704488.4661 | 1275999.4922 | 2704474.7695 | 1276009.6031
37 | 2704730.4367 | 1275938.9981 | 2704698.1609 | 1275955.4703
38 | 2704689.1306 | 1275960.0789 | 2704698.1609 | 1275955.4703
39 | 2704665.3506 | 1275972.2152 | 2704689.1306 | 1275960.0789
40 | 2704645.5931 | 1275976.189 | 2704650.4345 | 1275977.8986 | 2704656.7197 | 1275976.62 | 2704665.3506 | 1275972.2152
41 | 2704437.5303 | 1275910.5397 | 2704458.5785 | 1275907.176
42 | 2704411.269 | 1275914.7366 | 2704437.5303 | 1275910.5397
43 | 2704462.4311 | 1275906.5603 | 2704458.5785 | 1275907.176
44 | 2704404.0273 | 1275915.8939 | 2704411.269 | 1275914.7366
45 | 2704392.5174 | 1275917.7333 | 2704404.0273 | 1275915.8939
46 | 2704392.5174 | 1275917.7333 | 2704397.158 | 1275939.0524
47 | 2704392.5174 | 1275917.7333 | 2704385.2821 | 1275918.6497
48 | 2704480.0862 | 1275881.5411 | 2704479.839 | 1275874.1178 | 2704479.6621 | 1275864.1615 | 2704479.2152 | 1275860.1055 | 2704478.4116 | 1275855.4699
49 | 2704397.158 | 1275939.0524 | 2704400.4289 | 1275954.0789
50 | 2704491.3683 | 1275997.3528 | 2704488.4661 | 1275999.4922
51 | 2704488.4661 | 1275999.4922 | 2704480.1642 | 1275993.6623 | 2704477.5098 | 1275991.1464 | 2704474.0183 | 1275986.5481
52 | 2704491.3683 | 1275997.3528 | 2704500.3154 | 1276001.1368 | 2704508.2332 | 1276005.3029 | 2704510.7449 | 1276006.7782
53 | 2704491.3683 | 1275997.3528 | 2704487.4911 | 1275994.4155
54 | 2704467.5576 | 1275975.9912 | 2704468.7735 | 1275978.8587 | 2704473.1018 | 1275985.3411 | 2704474.0183 | 1275986.5481
55 | 2704528.5384 | 1276021.4768 | 2704519.1262 | 1276011.7015 | 2704510.7449 | 1276006.7782
56 | 2704528.5384 | 1276021.4768 | 2704553.9417 | 1276004.163
57 | 2704583.6272 | 1275983.9307 | 2704553.9417 | 1276004.163
58 | 2704467.5576 | 1275975.9912 | 2704466.2838 | 1275972.9873 | 2704466.1867 | 1275972.7043
59 | 2704572.4896 | 1275905.8628 | 2704582.5906 | 1275906.3105 | 2704596.3455 | 1275904.3169
60 | 2704604.261 | 1275903.1696 | 2704596.3455 | 1275904.3169
61 | 2704572.4896 | 1275905.8628 | 2704569.5092 | 1275905.7307
62 | 2704593.4021 | 1275934.2601 | 2704605.7468 | 1275924.9374 | 2704604.261 | 1275903.1696
63 | 2704467.524 | 1275947.6828 | 2704466.635 | 1275950.1956 | 2704464.2648 | 1275956.6705 | 2704463.6549 | 1275962.665 | 2704464.518 | 1275967.8403 | 2704466.1867 | 1275972.7043
64 | 2704478.4116 | 1275855.4699 | 2704478.2193 | 1275854.3606 | 2704477.452 | 1275850.9885 | 2704476.6008 | 1275848.1153 | 2704475.0374 | 1275845.1183 | 2704471.8726 | 1275841.7038 | 2704466.0261 | 1275837.3075 | 2704462.6785 | 1275835.302 | 2704456.7613 | 1275832.7729 | 2704455.9324 | 1275832.5752
65 | 2704583.6272 | 1275983.9307 | 2704565.0504 | 1275946.6073
66 | 2704455.9324 | 1275832.5752 | 2704448.249 | 1275830.7426 | 2704439.1814 | 1275829.5033 | 2704438.5829 | 1275829.449
67 | 2704438.5829 | 1275829.449 | 2704425.6177 | 1275828.2733 | 2704422.4248 | 1275828.2444
68 | 2704422.4248 | 1275828.2444 | 2704420.9249 | 1275828.2308
69 | 2704482.2282 | 1275845.357 | 2704476.421 | 1275839.5935 | 2704465.4684 | 1275832.7158 | 2704456.6631 | 1275828.9789 | 2704454.4337 | 1275828.5602
70 | 2704482.2282 | 1275845.357 | 2704489.507 | 1275841.4713 | 2704496.1061 | 1275839.1038
71 | 2704429.0156 | 1275824.8971 | 2704441.4292 | 1275826.1179 | 2704454.4337 | 1275828.5602
72 | 2704511.7974 | 1275832.9303 | 2704499.0482 | 1275838.0483 | 2704496.1061 | 1275839.1038
73 | 2704416.6048 | 1275828.1916 | 2704420.9249 | 1275828.2308
74 | 2704531.8625 | 1275813.2089 | 2704525.3086 | 1275823.2447 | 2704516.4792 | 1275831.0508 | 2704512.0925 | 1275832.8118
75 | 2704544.0854 | 1275782.3301 | 2704533.8018 | 1275810.2393 | 2704531.8625 | 1275813.2089
76 | 2704512.0925 | 1275832.8118 | 2704511.7974 | 1275832.9303
77 | 2704544.0854 | 1275782.3301 | 2704557.4914 | 1275779.1703
78 | 2704544.0854 | 1275782.3301 | 2704522.9646 | 1275786.1338
79 | 2704544.0854 | 1275782.3301 | 2704547.6011 | 1275767.2235
80 | 2704557.4914 | 1275779.1703 | 2704581.2081 | 1275773.5801 | 2704587.9577 | 1275771.9872
81 | 2704515.5827 | 1275787.4632 | 2704522.9646 | 1275786.1338
82 | 2704547.6011 | 1275767.2235 | 2704548.5131 | 1275753.5276 | 2704547.2863 | 1275741.1114
83 | 2704547.6011 | 1275767.2235 | 2704509.4529 | 1275767.8874
84 | 2704547.6011 | 1275767.2235 | 2704554.9155 | 1275752.8627 | 2704560.7613 | 1275746.1011
85 | 2704587.9577 | 1275771.9872 | 2704587.9577 | 1275771.9872 | 2704592.3356 | 1275782.4905
86 | 2704500.8667 | 1275799.491 | 2704515.5827 | 1275787.4632
87 | 2704508.0274 | 1275767.9122 | 2704509.4529 | 1275767.8874
88 | 2704560.7613 | 1275746.1011 | 2704565.0859 | 1275741.0992 | 2704568.4609 | 1275740.7015
89 | 2704597.135 | 1275794.005 | 2704592.3356 | 1275782.4905
90 | 2704605.9408 | 1275731.7451 | 2704580.6739 | 1275739.2626 | 2704568.4609 | 1275740.7015
91 | 2704401.2957 | 1275958.0611 | 2704400.4289 | 1275954.0789
92 | 2704429.0156 | 1275824.8971 | 2704417.0671 | 1275824.1629 | 2704416.6048 | 1275828.1916
93 | 2704416.6048 | 1275828.1916 | 2704414.2822 | 1275828.1616 | 2704406.6166 | 1275828.8377 | 2704400.5619 | 1275830.254 | 2704396.015 | 1275832.2865 | 2704393.5391 | 1275834.1221 | 2704389.8218 | 1275837.7039 | 2704387.728 | 1275839.5795
94 | 2704597.135 | 1275794.005 | 2704601.2362 | 1275803.8442
95 | 2704665.7235 | 1275696.8483 | 2704655.768 | 1275703.4336
96 | 2704626.4795 | 1275721.8335 | 2704633.8844 | 1275717.9091 | 2704655.768 | 1275703.4336
97 | 2704626.4795 | 1275721.8335 | 2704610.1285 | 1275730.4991 | 2704605.9408 | 1275731.7451

## bus_geodata
| x | y | coords
0 | 2704689.1707 | 1275884.5183
1 | 2704677.3517 | 1275897.1065
2 | 2704698.5511 | 1275874.5274
3 | 2704658.235 | 1275917.4673
4 | 2704670.1294 | 1275883.1642
5 | 2704629.5762 | 1275947.9912
6 | 2704649.1389 | 1275889.5394
7 | 2704639.6459 | 1275965.719
8 | 2704615.452 | 1275899.7707
9 | 2704635.1227 | 1275827.8997
10 | 2704603.5075 | 1275809.2935
11 | 2704517.9693 | 1275904.0952
12 | 2704523.2551 | 1275904.2223
13 | 2704515.1697 | 1275904.0279
14 | 2704543.7593 | 1275904.7153
15 | 2704496.4152 | 1275903.577
16 | 2704549.9724 | 1275904.8647
17 | 2704483.0968 | 1275903.2567
18 | 2704558.6116 | 1275905.2476
19 | 2704479.6819 | 1275923.4514
20 | 2704478.2791 | 1275904.0277
21 | 2704429.6339 | 1276010.9028
22 | 2704424.3592 | 1276001.2618
23 | 2704438.4643 | 1276027.0426
24 | 2704420.0576 | 1275993.3997
25 | 2704451.5251 | 1276020.7687
26 | 2704415.73 | 1276034.75
27 | 2704413.7128 | 1275981.8028
28 | 2704457.3647 | 1276017.9636
29 | 2704391.2473 | 1276040.187
30 | 2704413.0834 | 1275980.6526
31 | 2704474.7695 | 1276009.6031
32 | 2704730.4367 | 1275938.9981
33 | 2704698.1609 | 1275955.4703
34 | 2704689.1306 | 1275960.0789
35 | 2704665.3506 | 1275972.2152
36 | 2704645.5931 | 1275976.189
37 | 2704437.5303 | 1275910.5397
38 | 2704458.5785 | 1275907.176
39 | 2704411.269 | 1275914.7366
40 | 2704462.4311 | 1275906.5603
41 | 2704404.0273 | 1275915.8939
42 | 2704392.5174 | 1275917.7333
43 | 2704480.0862 | 1275881.5411
44 | 2704397.158 | 1275939.0524
45 | 2704385.2821 | 1275918.6497
46 | 2704488.4661 | 1275999.4922
47 | 2704491.3683 | 1275997.3528
48 | 2704474.0183 | 1275986.5481
49 | 2704510.7449 | 1276006.7782
50 | 2704487.4911 | 1275994.4155
51 | 2704528.5384 | 1276021.4768
52 | 2704553.9417 | 1276004.163
53 | 2704467.5576 | 1275975.9912
54 | 2704596.3455 | 1275904.3169
55 | 2704572.4896 | 1275905.8628
56 | 2704604.261 | 1275903.1696
57 | 2704569.5092 | 1275905.7307
58 | 2704593.4021 | 1275934.2601
59 | 2704467.524 | 1275947.6828
60 | 2704466.1867 | 1275972.7043
61 | 2704478.4116 | 1275855.4699
62 | 2704583.6272 | 1275983.9307
63 | 2704565.0504 | 1275946.6073
64 | 2704455.9324 | 1275832.5752
65 | 2704438.5829 | 1275829.449
66 | 2704422.4248 | 1275828.2444
67 | 2704482.2282 | 1275845.357
68 | 2704454.4337 | 1275828.5602
69 | 2704496.1061 | 1275839.1038
70 | 2704470.0564 | 1275951.1693
71 | 2704420.9249 | 1275828.2308
72 | 2704531.8625 | 1275813.2089
73 | 2704512.0925 | 1275832.8118
74 | 2704544.0854 | 1275782.3301
75 | 2704511.7974 | 1275832.9303
76 | 2704557.4914 | 1275779.1703
77 | 2704522.9646 | 1275786.1338
78 | 2704547.6011 | 1275767.2235
79 | 2704587.9577 | 1275771.9872
80 | 2704515.5827 | 1275787.4632
81 | 2704547.2863 | 1275741.1114
82 | 2704509.4529 | 1275767.8874
83 | 2704560.7613 | 1275746.1011
84 | 2704592.3356 | 1275782.4905
85 | 2704500.8667 | 1275799.491
86 | 2704508.0274 | 1275767.9122
87 | 2704568.4609 | 1275740.7015
88 | 2704400.4289 | 1275954.0789
89 | 2704401.2957 | 1275958.0611
90 | 2704416.6048 | 1275828.1916
91 | 2704429.0156 | 1275824.8971
92 | 2704387.728 | 1275839.5795
93 | 2704597.135 | 1275794.005
94 | 2704601.2362 | 1275803.8442
95 | 2704665.7235 | 1275696.8483
96 | 2704655.768 | 1275703.4336
97 | 2704626.4795 | 1275721.8335
98 | 2704605.9408 | 1275731.7451
99 | 2704549.9724 | 1275904.8647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1