## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4846-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4846-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4846-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4846-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4846-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4846-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4846-1_0_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4846-1_0_2_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4846-1_0_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4846-1_0_2_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_4846-1_0_2_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_4846-1_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4846-1_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4846-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4846-1_0_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4846-1_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4846-1_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4846-1_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4846-1_0_2_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_4846-1_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_4846-1_0_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_4846-1_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4846-1_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_4846-1_0_2_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_4846-1_0_2_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_4846-1_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4846-1_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4846-1_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4846-1_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4846-1_0_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_4846-1_0_2_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_4846-1_0_2_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_4846-1_0_2_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_4846-1_0_2_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_4846-1_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4846-1_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4846-1_0_2_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4846-1_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4846-1_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4846-1_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4846-1_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4846-1_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4846-1_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4846-1_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4846-1_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4846-1_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4846-1_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4846-1_0_2_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4846-1_0_2_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4846-1_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4846-1_0_2_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4846-1_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4846-1_0_2_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4846-1_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4846-1_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4846-1_0_2_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_4846-1_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4846-1_0_2_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_4846-1_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_4846-1_0_2_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_4846-1_0_2_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_4846-1_0_2_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_4846-1_0_2_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4846-1_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4846-1_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4846-1_0_2_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4846-1_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4846-1_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_4846-1_0_2_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4846-1_0_2_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_4846-1_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4846-1_0_2_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4846-1_0_2_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4846-1_0_2_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4846-1_0_2_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4846-1_0_2_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4846-1_0_2_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4846-1_0_2_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_4846-1_0_2_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_4846-1_0_2_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_4846-1_0_2_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4846-1_0_2_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4846-1_0_2_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4846-1_0_2_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_4846-1_0_2_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_4846-1_0_2_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_4846-1_0_2_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4846-1_0_2_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4846-1_0_2_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4846-1_0_2_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4846-1_0_2_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_4846-1_0_2_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_4846-1_0_2_node_90 | 0.4 | n |  | TRUE
93 | bus_MV_441_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4846-1_0_2_load_0 | 0 | 0.0012886 | 0.00032296 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4846-1_0_2_load_1 | 1 | 0.00062512 | 0.00015667 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4846-1_0_2_load_3 | 3 | 0.00060839 | 0.00015248 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4846-1_0_2_load_5 | 5 | 0.0006195 | 0.00015526 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4846-1_0_2_load_17 | 6 | 0.0041329 | 0.0010358 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4846-1_0_2_load_18 | 7 | 0.0017966 | 0.00045028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4846-1_0_2_load_12 | 8 | 0.00063484 | 0.00015911 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4846-1_0_2_load_49 | 10 | 0.001123 | 0.00028146 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4846-1_0_2_load_37 | 14 | 0.0011218 | 0.00028116 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4846-1_0_2_load_13 | 16 | 0.0037417 | 0.00093775 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4846-1_0_2_load_93 | 18 | 0.0020613 | 0.00051661 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4846-1_0_2_load_26 | 19 | 0.0025901 | 0.00064913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4846-1_0_2_load_34 | 20 | 0.002132 | 0.00053432 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4846-1_0_2_load_24 | 22 | 0.0037841 | 0.00094839 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4846-1_0_2_load_96 | 23 | 0.0028375 | 0.00071114 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4846-1_0_2_load_46 | 24 | 0.00076607 | 0.00019199 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4846-1_0_2_load_25 | 26 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4846-1_0_2_load_87 | 30 | 0.0016922 | 0.00042409 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4846-1_0_2_load_85 | 32 | 0.00040852 | 0.00010238 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4846-1_0_2_load_86 | 33 | 0.00057233 | 0.00014344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4846-1_0_2_load_19 | 34 | 0.0031169 | 0.00078117 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4846-1_0_2_load_20 | 35 | 0.0044868 | 0.0011245 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4846-1_0_2_load_22 | 37 | 0.0013251 | 0.00033211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4846-1_0_2_load_32 | 38 | 0.00070991 | 0.00017792 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4846-1_0_2_load_35 | 39 | 0.001399 | 0.00035063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4846-1_0_2_load_28 | 40 | 0.00070972 | 0.00017787 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4846-1_0_2_load_33 | 44 | 0.0076514 | 0.0019176 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4846-1_0_2_load_43 | 45 | 0.0023648 | 0.00059266 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4846-1_0_2_load_38 | 47 | 0.0007773 | 0.00019481 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4846-1_0_2_load_39 | 48 | 0.0007773 | 0.00019481 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4846-1_0_2_load_40 | 50 | 0.0050706 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4846-1_0_2_load_41 | 51 | 0.0027784 | 0.00069634 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4846-1_0_2_load_42 | 52 | 0.00088183 | 0.00022101 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4846-1_0_2_load_45 | 53 | 0.0008562 | 0.00021458 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4846-1_0_2_load_47 | 54 | 0.00061914 | 0.00015517 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4846-1_0_2_load_50 | 55 | 0.00041961 | 0.00010516 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4846-1_0_2_load_51 | 56 | 0.0003092 | 7.7493e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4846-1_0_2_load_53 | 58 | 0.00033079 | 8.2903e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4846-1_0_2_load_95 | 59 | 0.00010927 | 2.7387e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4846-1_0_2_load_91 | 60 | 0.00035233 | 8.8301e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4846-1_0_2_load_92 | 61 | 0.00019193 | 4.8101e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4846-1_0_2_load_54 | 62 | 0.00048053 | 0.00012043 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4846-1_0_2_load_55 | 63 | 0.0004592 | 0.00011509 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4846-1_0_2_load_61 | 65 | 0.00029893 | 7.4919e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4846-1_0_2_load_59 | 66 | 0.00096062 | 0.00024075 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4846-1_0_2_load_62 | 67 | 0.00032827 | 8.2272e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4846-1_0_2_load_60 | 68 | 0.00075192 | 0.00018845 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4846-1_0_2_load_63 | 69 | 0.00020115 | 5.0413e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4846-1_0_2_load_71 | 70 | 0.00020138 | 5.047e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4846-1_0_2_load_69 | 71 | 0.00020115 | 5.0413e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4846-1_0_2_load_64 | 72 | 0.00054633 | 0.00013692 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4846-1_0_2_load_65 | 73 | 0.00032033 | 8.0282e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4846-1_0_2_load_67 | 74 | 0.00022067 | 5.5305e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4846-1_0_2_load_73 | 75 | 0.0005516 | 0.00013824 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4846-1_0_2_load_68 | 76 | 0.00024524 | 6.1464e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4846-1_0_2_load_75 | 80 | 0.0016359 | 0.00041001 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4846-1_0_2_load_70 | 81 | 0.00059874 | 0.00015006 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4846-1_0_2_load_72 | 82 | 0.00068354 | 0.00017131 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4846-1_0_2_load_84 | 83 | 0.00027892 | 6.9904e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4846-1_0_2_load_83 | 84 | 0.00014043 | 3.5195e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4846-1_0_2_load_74 | 85 | 0.00078204 | 0.000196 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4846-1_0_2_load_76 | 86 | 0.00016604 | 4.1615e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4846-1_0_2_load_78 | 87 | 0.00017452 | 4.3738e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4846-1_0_2_load_79 | 88 | 0.00060172 | 0.0001508 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4846-1_0_2_load_80 | 89 | 0.00034994 | 8.7702e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4846-1_0_2_load_88 | 90 | 0.00019193 | 4.8101e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4846-1_0_2_load_89 | 91 | 0.00019171 | 4.8046e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4846-1_0_2_load_90 | 92 | 0.00019735 | 4.9461e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4846-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0085966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4846-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4846-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4846-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.004102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4846-1_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.05279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4846-1_0_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.0085116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4846-1_0_2_line_6 | NAYY 4x150 SE | 4 | 9 | 0.02107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4846-1_0_2_line_7 | NAYY 4x150 SE | 4 | 10 | 0.017608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4846-1_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.026442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4846-1_0_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.2334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4846-1_0_2_line_10 | NAYY 4x150 SE | 7 | 27 | 0.22195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4846-1_0_2_line_11 | NAYY 4x150 SE | 9 | 24 | 0.0075771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4846-1_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.017563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4846-1_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.031681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4846-1_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.024112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4846-1_0_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.01815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4846-1_0_2_line_16 | NAYY 4x150 SE | 12 | 15 | 0.050877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4846-1_0_2_line_17 | NAYY 4x150 SE | 12 | 16 | 0.0020547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4846-1_0_2_line_18 | NAYY 4x150 SE | 13 | 21 | 0.01544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4846-1_0_2_line_19 | NAYY 4x150 SE | 13 | 22 | 0.025995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4846-1_0_2_line_20 | NAYY 4x150 SE | 13 | 17 | 0.010233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4846-1_0_2_line_21 | NAYY 4x150 SE | 14 | 25 | 0.010254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4846-1_0_2_line_22 | NAYY 4x150 SE | 15 | 19 | 0.014125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4846-1_0_2_line_23 | NAYY 4x150 SE | 15 | 20 | 0.050535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4846-1_0_2_line_24 | NAYY 4x150 SE | 17 | 18 | 0.047945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4846-1_0_2_line_25 | NAYY 4x150 SE | 19 | 26 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4846-1_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.026988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4846-1_0_2_line_27 | NAYY 4x150 SE | 24 | 53 | 0.0184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4846-1_0_2_line_28 | NAYY 4x150 SE | 25 | 39 | 0.0065803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4846-1_0_2_line_29 | NAYY 4x150 SE | 25 | 36 | 0.028631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4846-1_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.1164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4846-1_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.028922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4846-1_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.029837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4846-1_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.080925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4846-1_0_2_line_34 | NAYY 4x150 SE | 30 | 33 | 0.022284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4846-1_0_2_line_35 | NAYY 4x150 SE | 31 | 64 | 0.072017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4846-1_0_2_line_36 | NAYY 4x150 SE | 31 | 62 | 0.019861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4846-1_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.035335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4846-1_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.010208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4846-1_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0093286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4846-1_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0012616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4846-1_0_2_line_41 | NAYY 4x150 SE | 38 | 42 | 0.012408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4846-1_0_2_line_42 | NAYY 4x150 SE | 39 | 46 | 0.014062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4846-1_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.023843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4846-1_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.010778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4846-1_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.009059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4846-1_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.030394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4846-1_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.025297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4846-1_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.022549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4846-1_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.018994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4846-1_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.016125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4846-1_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0086951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4846-1_0_2_line_52 | NAYY 4x150 SE | 49 | 52 | 0.014139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4846-1_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.032997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4846-1_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0075749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4846-1_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0084287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4846-1_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.02495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4846-1_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.12641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4846-1_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.047574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4846-1_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.12359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4846-1_0_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.13527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4846-1_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0090646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4846-1_0_2_line_62 | NAYY 4x150 SE | 61 | 92 | 1.7179e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4846-1_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.022267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4846-1_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.02546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4846-1_0_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.030808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4846-1_0_2_line_66 | NAYY 4x150 SE | 65 | 67 | 0.017293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4846-1_0_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0092833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4846-1_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.016281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4846-1_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0064028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4846-1_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0064009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4846-1_0_2_line_71 | NAYY 4x150 SE | 71 | 81 | 0.002041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4846-1_0_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.033366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4846-1_0_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.030869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4846-1_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.021832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4846-1_0_2_line_75 | NAYY 4x150 SE | 75 | 78 | 0.061072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4846-1_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.045024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4846-1_0_2_line_77 | NAYY 4x150 SE | 77 | 79 | 0.008283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4846-1_0_2_line_78 | NAYY 4x150 SE | 77 | 80 | 0.022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4846-1_0_2_line_79 | NAYY 4x150 SE | 78 | 84 | 0.032451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4846-1_0_2_line_80 | NAYY 4x150 SE | 79 | 83 | 0.014467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4846-1_0_2_line_81 | NAYY 4x150 SE | 79 | 82 | 0.009145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4846-1_0_2_line_82 | NAYY 4x150 SE | 80 | 85 | 0.027862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4846-1_0_2_line_83 | NAYY 4x150 SE | 81 | 82 | 0.024881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4846-1_0_2_line_84 | NAYY 4x150 SE | 83 | 90 | 0.016839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4846-1_0_2_line_85 | NAYY 4x150 SE | 84 | 89 | 0.0099376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4846-1_0_2_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4846-1_0_2_line_87 | NAYY 4x150 SE | 86 | 87 | 0.017044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4846-1_0_2_line_88 | NAYY 4x150 SE | 87 | 88 | 0.027188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4846-1_0_2_line_89 | NAYY 4x150 SE | 88 | 89 | 0.018461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4846-1_0_2_line_90 | NAYY 4x150 SE | 90 | 91 | 0.00010593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4846-1_0_2_line_91 | NAYY 4x150 SE | 91 | 92 | 9.0577e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4846-1_0_2_trafo_12 | 0.25 MVA 20/0.4 kV | 93 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2722313.6731 | 1277987.8196 | 2722305.991 | 1277983.9613
1 | 2722340.276 | 1277999.8369 | 2722333.6501 | 1277997.8531 | 2722313.6731 | 1277987.8196
2 | 2722305.991 | 1277983.9613 | 2722287.386 | 1277974.6169
3 | 2722340.276 | 1277999.8369 | 2722344.3817 | 1278000.1112
4 | 2722340.276 | 1277999.8369 | 2722344.5346 | 1277947.2191
5 | 2722279.7798 | 1277970.7966 | 2722287.386 | 1277974.6169
6 | 2722364.4516 | 1277993.8993 | 2722346.0029 | 1278000.2227 | 2722344.3817 | 1278000.1112
7 | 2722344.3817 | 1278000.1112 | 2722344.4744 | 1278014.8381 | 2722344.5294 | 1278017.718
8 | 2722114.9964 | 1277805.5045 | 2722109.5157 | 1277779.6367
9 | 2722114.9964 | 1277805.5045 | 2722279.7798 | 1277970.7966
10 | 2721888.8147 | 1277803.1618 | 2722109.5157 | 1277779.6367
11 | 2722364.4516 | 1277993.8993 | 2722365.2387 | 1277986.3974 | 2722365.246 | 1277986.3642
12 | 2722346.0438 | 1278035.1899 | 2722344.6618 | 1278024.6402 | 2722344.5294 | 1278017.718
13 | 2722317.8778 | 1278033.1262 | 2722326.4656 | 1278037.9977 | 2722331.9643 | 1278040.3251 | 2722337.1947 | 1278040.7339 | 2722341.6507 | 1278038.9802 | 2722346.0438 | 1278035.1899
14 | 2722346.0438 | 1278035.1899 | 2722346.686 | 1278040.0968 | 2722347.3859 | 1278046.573 | 2722347.6292 | 1278051.872 | 2722347.7298 | 1278054.2652 | 2722347.7548 | 1278059.2149
15 | 2722346.0438 | 1278035.1899 | 2722348.5465 | 1278033.0287 | 2722362.8707 | 1278029.136
16 | 2722276.1412 | 1278061.6769 | 2722288.316 | 1278050.1628 | 2722314.409 | 1278035.1228 | 2722317.8778 | 1278033.1262
17 | 2722317.8778 | 1278033.1262 | 2722316.1609 | 1278031.9976
18 | 2722337.2458 | 1278063.6233 | 2722342.4768 | 1278062.553 | 2722342.277 | 1278058.0557 | 2722347.7548 | 1278059.2149
19 | 2722347.7548 | 1278059.2149 | 2722373.1891 | 1278064.5842
20 | 2722347.8055 | 1278069.4478 | 2722347.7548 | 1278059.2149
21 | 2722372.7654 | 1278026.447 | 2722362.8707 | 1278029.136
22 | 2722276.1412 | 1278061.6769 | 2722269.104 | 1278063.2214 | 2722262.1903 | 1278063.5228
23 | 2722276.1412 | 1278061.6769 | 2722284.7831 | 1278075.1688 | 2722286.8173 | 1278081.0943 | 2722293.214 | 1278108.6085
24 | 2722392.6896 | 1278086.6062 | 2722383.1765 | 1278083.5949 | 2722347.8055 | 1278069.4478
25 | 2722262.1903 | 1278063.5228 | 2722250.1115 | 1278058.3431
26 | 2722311.6505 | 1278072.0673 | 2722321.1131 | 1278067.7371 | 2722333.9849 | 1278064.2897 | 2722337.2458 | 1278063.6233
27 | 2722368.3875 | 1277968.3234 | 2722368.5161 | 1277971.5402 | 2722365.246 | 1277986.3642
28 | 2722372.7654 | 1278026.447 | 2722379.0522 | 1278024.5035
29 | 2722372.7654 | 1278026.447 | 2722374.625 | 1278029.5552 | 2722377.2822 | 1278032.6243 | 2722394.3688 | 1278044.8348
30 | 2721783.2733 | 1277753.3686 | 2721818.4054 | 1277770.1319 | 2721888.8147 | 1277803.1618
31 | 2721757.4947 | 1277740.1018 | 2721783.2733 | 1277753.3686
32 | 2721757.4947 | 1277740.1018 | 2721770.8386 | 1277713.415
33 | 2721688.9813 | 1277696.7251 | 2721744.897 | 1277732.8127 | 2721757.4947 | 1277740.1018
34 | 2721780.8049 | 1277693.4833 | 2721770.8386 | 1277713.415
35 | 2721688.9813 | 1277696.7251 | 2721672.8406 | 1277687.0052 | 2721658.4855 | 1277679.6356 | 2721644.2757 | 1277673.9595 | 2721623.284 | 1277667.643
36 | 2721688.9813 | 1277696.7251 | 2721697.7806 | 1277678.9199
37 | 2721801.7236 | 1277716.4146 | 2721801.7236 | 1277716.4146 | 2721802.503 | 1277707.4333 | 2721798.1007 | 1277701.8594 | 2721780.8049 | 1277693.4833 | 2721780.8049 | 1277693.4833
38 | 2722413.4847 | 1278048.8691 | 2722403.4963 | 1278046.7611
39 | 2722394.3688 | 1278044.8348 | 2722403.4963 | 1278046.7611
40 | 2722442.5354 | 1278052.615 | 2722443.7954 | 1278052.6785
41 | 2722456.1874 | 1278053.3034 | 2722443.7954 | 1278052.6785
42 | 2722392.4871 | 1278020.3503 | 2722379.0522 | 1278024.5035
43 | 2722468.3225 | 1278020.9247 | 2722467.0264 | 1278026.1472 | 2722460.1827 | 1278043.2936
44 | 2722456.1874 | 1278053.3034 | 2722460.1827 | 1278043.2936
45 | 2722459.2595 | 1278021.5705 | 2722468.3225 | 1278020.9247
46 | 2722456.1874 | 1278053.3034 | 2722480.7504 | 1278071.205
47 | 2722459.2595 | 1278021.5705 | 2722439.5857 | 1278022.463 | 2722433.9885 | 1278022.2119
48 | 2722411.462 | 1278021.2015 | 2722433.9885 | 1278022.2119
49 | 2722392.4871 | 1278020.3503 | 2722411.462 | 1278021.2015
50 | 2722392.4871 | 1278020.3503 | 2722391.1445 | 1278009.3565 | 2722391.1775 | 1278004.307
51 | 2722391.2344 | 1277995.612 | 2722391.1775 | 1278004.307
52 | 2722391.2344 | 1277995.612 | 2722397.8554 | 1277987.6975 | 2722397.8957 | 1277983.8771
53 | 2722403.4518 | 1277943.8519 | 2722401.5605 | 1277951.8849 | 2722398.0342 | 1277970.7629 | 2722397.9757 | 1277976.3026
54 | 2722397.9757 | 1277976.3026 | 2722397.8957 | 1277983.8771
55 | 2722360.9022 | 1277964.6535 | 2722366.0498 | 1277966.5176 | 2722368.3875 | 1277968.3234
56 | 2721482.0063 | 1277879.8131 | 2721480.439 | 1277867.7109 | 2721482.676 | 1277855.1624
57 | 2721482.0063 | 1277879.8131 | 2721361.6698 | 1277918.5144
58 | 2721490.8842 | 1277808.3025 | 2721487.8843 | 1277825.947 | 2721482.676 | 1277855.1624
59 | 2721396.1293 | 1278023.0442 | 2721393.5067 | 1278017.5406 | 2721387.512 | 1278010.4439 | 2721376.5127 | 1277997.4498 | 2721366.5314 | 1277984.6546 | 2721360.7512 | 1277975.1712 | 2721356.9871 | 1277967.4309 | 2721354.9417 | 1277958.7139 | 2721353.8661 | 1277952.9086 | 2721352.2588 | 1277948.1043 | 2721348.8 | 1277944.5187 | 2721348.3112 | 1277941.6059 | 2721348.8581 | 1277939.137 | 2721350.451 | 1277936.2448 | 2721353.1404 | 1277929.0155 | 2721355.6493 | 1277923.6176 | 2721358.695 | 1277920.2549 | 2721361.6698 | 1277918.5144
60 | 2721509.3186 | 1277675.6687 | 2721491.5601 | 1277740.9648 | 2721490.7182 | 1277753.0033 | 2721493.0101 | 1277780.3874 | 2721492.4518 | 1277799.0824 | 2721490.8842 | 1277808.3025
61 | 2721509.3186 | 1277675.6687 | 2721511.6975 | 1277666.9218
62 | 2721511.6975 | 1277666.9218 | 2721511.702 | 1277666.9052
63 | 2721697.7806 | 1277678.9199 | 2721707.6458 | 1277658.9579
64 | 2721623.284 | 1277667.643 | 2721619.1977 | 1277666.4131 | 2721598.9057 | 1277660.301
65 | 2721623.284 | 1277667.643 | 2721646.0322 | 1277646.8661
66 | 2721598.9057 | 1277660.301 | 2721582.3476 | 1277655.3135
67 | 2721652.8868 | 1277640.6056 | 2721646.0322 | 1277646.8661
68 | 2721566.7581 | 1277650.6178 | 2721582.3476 | 1277655.3135
69 | 2721566.7581 | 1277650.6178 | 2721560.6274 | 1277648.7711
70 | 2721554.4985 | 1277646.9251 | 2721560.6274 | 1277648.7711
71 | 2721554.4985 | 1277646.9251 | 2721552.5442 | 1277646.3364
72 | 2721446.7919 | 1277586.6522 | 2721460.6396 | 1277556.2958
73 | 2721460.6396 | 1277556.2958 | 2721473.4511 | 1277528.211
74 | 2721482.5118 | 1277508.3485 | 2721473.4511 | 1277528.211
75 | 2721507.8585 | 1277452.7844 | 2721482.5118 | 1277508.3485
76 | 2721511.7826 | 1277635.0926 | 2721498.5488 | 1277636.032 | 2721489.067 | 1277638.0053 | 2721467.6567 | 1277643.3691
77 | 2721519.9693 | 1277636.507 | 2721511.7826 | 1277635.0926
78 | 2721511.7826 | 1277635.0926 | 2721512.5861 | 1277612.3957
79 | 2721507.8585 | 1277452.7844 | 2721512.8666 | 1277461.8183 | 2721516.5525 | 1277473.3606 | 2721516.4047 | 1277483.3645
80 | 2721519.9693 | 1277636.507 | 2721516.1727 | 1277650.4668
81 | 2721519.9693 | 1277636.507 | 2721528.7232 | 1277639.1529
82 | 2721513.5718 | 1277584.5512 | 2721512.5861 | 1277612.3957
83 | 2721528.7232 | 1277639.1529 | 2721536.6728 | 1277641.5558 | 2721552.5442 | 1277646.3364
84 | 2721516.1727 | 1277650.4668 | 2721511.7535 | 1277666.7156
85 | 2721516.2579 | 1277493.3011 | 2721516.4047 | 1277483.3645
86 | 2721513.5718 | 1277584.5512 | 2721514.5836 | 1277555.9694
87 | 2721515.1866 | 1277538.9356 | 2721514.5836 | 1277555.9694
88 | 2721515.1866 | 1277538.9356 | 2721515.8682 | 1277519.679 | 2721515.9852 | 1277511.7602
89 | 2721516.2579 | 1277493.3011 | 2721515.9852 | 1277511.7602
90 | 2721511.7257 | 1277666.8178 | 2721511.7535 | 1277666.7156
91 | 2721511.702 | 1277666.9052 | 2721511.7257 | 1277666.8178

## bus_geodata
| x | y | coords
0 | 2722313.6731 | 1277987.8196
1 | 2722305.991 | 1277983.9613
2 | 2722340.276 | 1277999.8369
3 | 2722287.386 | 1277974.6169
4 | 2722344.3817 | 1278000.1112
5 | 2722344.5346 | 1277947.2191
6 | 2722114.9964 | 1277805.5045
7 | 2722109.5157 | 1277779.6367
8 | 2722279.7798 | 1277970.7966
9 | 2722364.4516 | 1277993.8993
10 | 2722344.5294 | 1278017.718
11 | 2722346.0438 | 1278035.1899
12 | 2722317.8778 | 1278033.1262
13 | 2722347.7548 | 1278059.2149
14 | 2722362.8707 | 1278029.136
15 | 2722276.1412 | 1278061.6769
16 | 2722316.1609 | 1278031.9976
17 | 2722347.8055 | 1278069.4478
18 | 2722392.6896 | 1278086.6062
19 | 2722262.1903 | 1278063.5228
20 | 2722293.214 | 1278108.6085
21 | 2722337.2458 | 1278063.6233
22 | 2722373.1891 | 1278064.5842
23 | 2722311.6505 | 1278072.0673
24 | 2722365.246 | 1277986.3642
25 | 2722372.7654 | 1278026.447
26 | 2722250.1115 | 1278058.3431
27 | 2721888.8147 | 1277803.1618
28 | 2721783.2733 | 1277753.3686
29 | 2721757.4947 | 1277740.1018
30 | 2721770.8386 | 1277713.415
31 | 2721688.9813 | 1277696.7251
32 | 2721801.7236 | 1277716.4146
33 | 2721780.8049 | 1277693.4833
34 | 2722403.4963 | 1278046.7611
35 | 2722413.4847 | 1278048.8691
36 | 2722394.3688 | 1278044.8348
37 | 2722442.5354 | 1278052.615
38 | 2722443.7954 | 1278052.6785
39 | 2722379.0522 | 1278024.5035
40 | 2722460.1827 | 1278043.2936
41 | 2722468.3225 | 1278020.9247
42 | 2722456.1874 | 1278053.3034
43 | 2722459.2595 | 1278021.5705
44 | 2722480.7504 | 1278071.205
45 | 2722433.9885 | 1278022.2119
46 | 2722392.4871 | 1278020.3503
47 | 2722411.462 | 1278021.2015
48 | 2722391.1775 | 1278004.307
49 | 2722391.2344 | 1277995.612
50 | 2722403.4518 | 1277943.8519
51 | 2722397.9757 | 1277976.3026
52 | 2722397.8957 | 1277983.8771
53 | 2722368.3875 | 1277968.3234
54 | 2722360.9022 | 1277964.6535
55 | 2721482.0063 | 1277879.8131
56 | 2721482.676 | 1277855.1624
57 | 2721361.6698 | 1277918.5144
58 | 2721490.8842 | 1277808.3025
59 | 2721396.1293 | 1278023.0442
60 | 2721509.3186 | 1277675.6687
61 | 2721511.6975 | 1277666.9218
62 | 2721697.7806 | 1277678.9199
63 | 2721707.6458 | 1277658.9579
64 | 2721623.284 | 1277667.643
65 | 2721598.9057 | 1277660.301
66 | 2721646.0322 | 1277646.8661
67 | 2721582.3476 | 1277655.3135
68 | 2721652.8868 | 1277640.6056
69 | 2721566.7581 | 1277650.6178
70 | 2721560.6274 | 1277648.7711
71 | 2721554.4985 | 1277646.9251
72 | 2721446.7919 | 1277586.6522
73 | 2721460.6396 | 1277556.2958
74 | 2721473.4511 | 1277528.211
75 | 2721482.5118 | 1277508.3485
76 | 2721467.6567 | 1277643.3691
77 | 2721511.7826 | 1277635.0926
78 | 2721507.8585 | 1277452.7844
79 | 2721519.9693 | 1277636.507
80 | 2721512.5861 | 1277612.3957
81 | 2721552.5442 | 1277646.3364
82 | 2721528.7232 | 1277639.1529
83 | 2721516.1727 | 1277650.4668
84 | 2721516.4047 | 1277483.3645
85 | 2721513.5718 | 1277584.5512
86 | 2721514.5836 | 1277555.9694
87 | 2721515.1866 | 1277538.9356
88 | 2721515.9852 | 1277511.7602
89 | 2721516.2579 | 1277493.3011
90 | 2721511.7535 | 1277666.7156
91 | 2721511.7257 | 1277666.8178
92 | 2721511.702 | 1277666.9052
93 | 2722340.276 | 1277999.8369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1