## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4864-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4864-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4864-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4864-12_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4864-12_0_5_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_4864-12_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_4864-12_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4864-12_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4864-12_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4864-12_0_5_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_4864-12_0_5_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_4864-12_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4864-12_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4864-12_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4864-12_0_5_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_4864-12_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4864-12_0_5_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_4864-12_0_5_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_4864-12_0_5_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_4864-12_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_4864-12_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4864-12_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4864-12_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4864-12_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4864-12_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4864-12_0_5_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4864-12_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4864-12_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4864-12_0_5_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_4864-12_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_4864-12_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4864-12_0_5_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_4864-12_0_5_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_4864-12_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4864-12_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4864-12_0_5_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_4864-12_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4864-12_0_5_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4864-12_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4864-12_0_5_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_4864-12_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_4864-12_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4864-12_0_5_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_4864-12_0_5_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_4864-12_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4864-12_0_5_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_4864-12_0_5_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_4864-12_0_5_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_4864-12_0_5_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_4864-12_0_5_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_4864-12_0_5_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_4864-12_0_5_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_4864-12_0_5_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_4864-12_0_5_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_4864-12_0_5_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_4864-12_0_5_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_4864-12_0_5_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_4864-12_0_5_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_4864-12_0_5_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_4864-12_0_5_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_4864-12_0_5_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_4864-12_0_5_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_4864-12_0_5_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_4864-12_0_5_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_4864-12_0_5_node_22 | 0.4 | n |  | TRUE
65 | bus_LV_4864-12_0_5_node_23 | 0.4 | n |  | TRUE
66 | bus_LV_4864-12_0_5_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_4864-12_0_5_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_4864-12_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_4864-12_0_5_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_4864-12_0_5_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_4864-12_0_5_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_4864-12_0_5_node_26 | 0.4 | n |  | TRUE
73 | bus_LV_4864-12_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_4864-12_0_5_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4864-12_0_5_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_4864-12_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4864-12_0_5_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_4864-12_0_5_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_4864-12_0_5_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_4864-12_0_5_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_4864-12_0_5_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_4864-12_0_5_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_4864-12_0_5_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_4864-12_0_5_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4864-12_0_5_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4864-12_0_5_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4864-12_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_4864-12_0_5_node_55 | 0.4 | n |  | TRUE
89 | bus_LV_4864-12_0_5_node_56 | 0.4 | n |  | TRUE
90 | bus_LV_4864-12_0_5_node_58 | 0.4 | n |  | TRUE
91 | bus_LV_4864-12_0_5_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_4864-12_0_5_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4864-12_0_5_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_4864-12_0_5_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_4864-12_0_5_node_73 | 0.4 | n |  | TRUE
96 | bus_LV_4864-12_0_5_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_4864-12_0_5_node_76 | 0.4 | n |  | TRUE
98 | bus_MV_439_1_node_275 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4864-12_0_5_load_0 | 0 | 0.0031006 | 0.00077709 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4864-12_0_5_load_1 | 1 | 0.0020662 | 0.00051784 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4864-12_0_5_load_2 | 2 | 0.0028219 | 0.00070723 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4864-12_0_5_load_4 | 3 | 0.0015292 | 0.00038325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4864-12_0_5_load_20 | 4 | 0.0017876 | 0.00044802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4864-12_0_5_load_5 | 6 | 0.001256 | 0.00031478 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4864-12_0_5_load_6 | 7 | 0.0022284 | 0.0005585 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4864-12_0_5_load_7 | 8 | 0.0053564 | 0.0013424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4864-12_0_5_load_79 | 9 | 0.0049793 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4864-12_0_5_load_8 | 11 | 0.00071328 | 0.00017876 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4864-12_0_5_load_9 | 12 | 0.00055786 | 0.00013981 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4864-12_0_5_load_11 | 13 | 0.0005323 | 0.00013341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4864-12_0_5_load_24 | 14 | 0.00056782 | 0.00014231 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4864-12_0_5_load_39 | 16 | 0.0031897 | 0.00079942 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4864-12_0_5_load_25 | 18 | 0.0008125 | 0.00020363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4864-12_0_5_load_40 | 19 | 0.0027954 | 0.0007006 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4864-12_0_5_load_13 | 20 | 0.0028978 | 0.00072625 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4864-12_0_5_load_14 | 21 | 0.0015063 | 0.00037751 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4864-12_0_5_load_15 | 22 | 0.0029324 | 0.00073493 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4864-12_0_5_load_16 | 23 | 0.0084341 | 0.0021138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4864-12_0_5_load_30 | 25 | 0.0037477 | 0.00093927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4864-12_0_5_load_18 | 26 | 0.00021974 | 5.5072e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4864-12_0_5_load_19 | 27 | 0.0095309 | 0.0023887 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4864-12_0_5_load_49 | 28 | 0.0015468 | 0.00038768 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4864-12_0_5_load_66 | 32 | 0.0018922 | 0.00047422 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4864-12_0_5_load_35 | 36 | 0.0027967 | 0.00070091 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4864-12_0_5_load_37 | 37 | 0.0044725 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4864-12_0_5_load_34 | 38 | 0.0048931 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4864-12_0_5_load_54 | 39 | 0.00060269 | 0.00015105 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4864-12_0_5_load_50 | 40 | 0.0040379 | 0.001012 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4864-12_0_5_load_51 | 41 | 0.0037241 | 0.00093335 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4864-12_0_5_load_52 | 42 | 0.0017675 | 0.00044298 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4864-12_0_5_load_53 | 43 | 0.0010774 | 0.00027002 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4864-12_0_5_load_61 | 45 | 0.0020412 | 0.00051157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4864-12_0_5_load_101 | 46 | 0.0029189 | 0.00073155 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4864-12_0_5_load_83 | 47 | 0.00080092 | 0.00020073 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4864-12_0_5_load_84 | 48 | 0.002539 | 0.00063634 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4864-12_0_5_load_85 | 49 | 0.003375 | 0.00084585 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4864-12_0_5_load_86 | 50 | 0.0053273 | 0.0013352 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4864-12_0_5_load_94 | 51 | 0.00085147 | 0.0002134 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4864-12_0_5_load_96 | 52 | 0.0061744 | 0.0015474 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4864-12_0_5_load_88 | 53 | 0.00041317 | 0.00010355 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4864-12_0_5_load_89 | 54 | 0.00042822 | 0.00010732 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4864-12_0_5_load_92 | 57 | 0.00052788 | 0.0001323 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4864-12_0_5_load_93 | 58 | 0.0040643 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4864-12_0_5_load_97 | 60 | 0.0029726 | 0.000745 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4864-12_0_5_load_99 | 63 | 0.0021295 | 0.00053371 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4864-12_0_5_load_22 | 64 | 0.0023379 | 0.00058593 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4864-12_0_5_load_23 | 65 | 0.0018136 | 0.00045453 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4864-12_0_5_load_67 | 68 | 0.011164 | 0.002798 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4864-12_0_5_load_81 | 69 | 0.0086494 | 0.0021678 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4864-12_0_5_load_42 | 70 | 0.00059552 | 0.00014925 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4864-12_0_5_load_26 | 72 | 0.0030492 | 0.0007642 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4864-12_0_5_load_62 | 73 | 0.0006706 | 0.00016807 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4864-12_0_5_load_64 | 76 | 0.0085718 | 0.0021483 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4864-12_0_5_load_44 | 77 | 0.0048199 | 0.001208 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4864-12_0_5_load_45 | 78 | 0.0014173 | 0.00035522 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4864-12_0_5_load_46 | 79 | 0.0017445 | 0.00043721 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4864-12_0_5_load_47 | 80 | 0.0014156 | 0.00035479 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4864-12_0_5_load_59 | 82 | 0.0024037 | 0.00060243 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4864-12_0_5_load_80 | 84 | 0.0040207 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4864-12_0_5_load_70 | 85 | 0.0016851 | 0.00042232 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4864-12_0_5_load_68 | 86 | 0.0024982 | 0.00062611 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4864-12_0_5_load_74 | 87 | 0.0043856 | 0.0010991 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4864-12_0_5_load_55 | 88 | 0.0018783 | 0.00047075 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4864-12_0_5_load_56 | 89 | 0.0024487 | 0.00061371 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4864-12_0_5_load_58 | 90 | 0.0028678 | 0.00071875 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4864-12_0_5_load_65 | 91 | 0.0021785 | 0.00054599 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4864-12_0_5_load_78 | 92 | 0.0022779 | 0.00057089 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4864-12_0_5_load_71 | 93 | 0.012215 | 0.0030612 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4864-12_0_5_load_72 | 94 | 0.0064776 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4864-12_0_5_load_73 | 95 | 0.0077947 | 0.0019535 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4864-12_0_5_load_75 | 96 | 0.0020789 | 0.00052102 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4864-12_0_5_load_76 | 97 | 0.0020798 | 0.00052125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4864-12_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4864-12_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4864-12_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4864-12_0_5_line_3 | NAYY 4x150 SE | 3 | 4 | 0.035749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4864-12_0_5_line_4 | NAYY 4x150 SE | 4 | 5 | 0.016561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4864-12_0_5_line_5 | NAYY 4x150 SE | 5 | 64 | 0.030349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4864-12_0_5_line_6 | NAYY 4x150 SE | 5 | 65 | 0.022649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4864-12_0_5_line_7 | NAYY 4x150 SE | 6 | 7 | 0.063752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4864-12_0_5_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0094012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4864-12_0_5_line_9 | NAYY 4x150 SE | 8 | 9 | 0.054856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4864-12_0_5_line_10 | NAYY 4x150 SE | 9 | 10 | 0.027487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4864-12_0_5_line_11 | NAYY 4x150 SE | 10 | 97 | 0.020445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4864-12_0_5_line_12 | NAYY 4x150 SE | 11 | 12 | 0.016495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4864-12_0_5_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0025381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4864-12_0_5_line_14 | NAYY 4x150 SE | 13 | 14 | 0.015608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4864-12_0_5_line_15 | NAYY 4x150 SE | 14 | 18 | 0.002029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4864-12_0_5_line_16 | NAYY 4x150 SE | 15 | 16 | 0.046376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4864-12_0_5_line_17 | NAYY 4x150 SE | 15 | 17 | 0.14565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4864-12_0_5_line_18 | NAYY 4x150 SE | 16 | 19 | 0.02527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4864-12_0_5_line_19 | NAYY 4x150 SE | 17 | 30 | 0.034164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4864-12_0_5_line_20 | NAYY 4x150 SE | 18 | 70 | 0.013888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4864-12_0_5_line_21 | NAYY 4x150 SE | 19 | 75 | 0.020886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_4864-12_0_5_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0056287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4864-12_0_5_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0043977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4864-12_0_5_line_24 | NAYY 4x150 SE | 21 | 23 | 0.033887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4864-12_0_5_line_25 | NAYY 4x150 SE | 22 | 24 | 0.007328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4864-12_0_5_line_26 | NAYY 4x150 SE | 23 | 25 | 0.026249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4864-12_0_5_line_27 | NAYY 4x150 SE | 24 | 26 | 0.01656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4864-12_0_5_line_28 | NAYY 4x150 SE | 24 | 27 | 0.019516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4864-12_0_5_line_29 | NAYY 4x150 SE | 25 | 33 | 0.0070675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4864-12_0_5_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0096227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4864-12_0_5_line_31 | NAYY 4x150 SE | 27 | 29 | 0.016285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4864-12_0_5_line_32 | NAYY 4x150 SE | 28 | 40 | 0.0026904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4864-12_0_5_line_33 | NAYY 4x150 SE | 29 | 35 | 0.008669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4864-12_0_5_line_34 | NAYY 4x150 SE | 30 | 31 | 0.054605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4864-12_0_5_line_35 | NAYY 4x150 SE | 30 | 32 | 0.056302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4864-12_0_5_line_36 | NAYY 4x150 SE | 31 | 45 | 0.019751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4864-12_0_5_line_37 | NAYY 4x150 SE | 32 | 34 | 0.014818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4864-12_0_5_line_38 | NAYY 4x150 SE | 33 | 34 | 0.053229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4864-12_0_5_line_39 | NAYY 4x150 SE | 35 | 52 | 0.0097687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4864-12_0_5_line_40 | NAYY 4x150 SE | 35 | 49 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4864-12_0_5_line_41 | NAYY 4x150 SE | 36 | 37 | 0.018182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4864-12_0_5_line_42 | NAYY 4x150 SE | 36 | 38 | 0.011936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4864-12_0_5_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0043146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4864-12_0_5_line_44 | NAYY 4x150 SE | 38 | 67 | 0.047563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4864-12_0_5_line_45 | NAYY 4x150 SE | 39 | 40 | 0.01472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4864-12_0_5_line_46 | NAYY 4x150 SE | 41 | 42 | 0.00076816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4864-12_0_5_line_47 | NAYY 4x150 SE | 41 | 43 | 0.011855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4864-12_0_5_line_48 | NAYY 4x150 SE | 42 | 44 | 0.029388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4864-12_0_5_line_49 | NAYY 4x150 SE | 44 | 67 | 0.040612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4864-12_0_5_line_50 | NAYY 4x150 SE | 45 | 46 | 0.022265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4864-12_0_5_line_51 | NAYY 4x150 SE | 47 | 48 | 0.026327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4864-12_0_5_line_52 | NAYY 4x150 SE | 47 | 49 | 0.016813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4864-12_0_5_line_53 | NAYY 4x150 SE | 48 | 50 | 0.041307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4864-12_0_5_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0032685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4864-12_0_5_line_55 | NAYY 4x150 SE | 51 | 58 | 0.035633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4864-12_0_5_line_56 | NAYY 4x150 SE | 52 | 60 | 0.032404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4864-12_0_5_line_57 | NAYY 4x150 SE | 53 | 54 | 0.01953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4864-12_0_5_line_58 | NAYY 4x150 SE | 53 | 55 | 0.040937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4864-12_0_5_line_59 | NAYY 4x150 SE | 54 | 56 | 0.033232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4864-12_0_5_line_60 | NAYY 4x150 SE | 55 | 57 | 0.023483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4864-12_0_5_line_61 | NAYY 4x150 SE | 56 | 59 | 0.047241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4864-12_0_5_line_62 | NAYY 4x150 SE | 58 | 59 | 0.052838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4864-12_0_5_line_63 | NAYY 4x150 SE | 60 | 61 | 0.020374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4864-12_0_5_line_64 | NAYY 4x150 SE | 61 | 62 | 0.008885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4864-12_0_5_line_65 | NAYY 4x150 SE | 62 | 63 | 0.032066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4864-12_0_5_line_66 | NAYY 4x150 SE | 65 | 66 | 0.053575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4864-12_0_5_line_67 | NAYY 4x150 SE | 66 | 68 | 0.03974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_4864-12_0_5_line_68 | NAYY 4x150 SE | 66 | 69 | 0.023264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_4864-12_0_5_line_69 | NAYY 4x150 SE | 68 | 75 | 0.017868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_4864-12_0_5_line_70 | NAYY 4x150 SE | 69 | 85 | 0.0051577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4864-12_0_5_line_71 | NAYY 4x150 SE | 70 | 71 | 0.011837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4864-12_0_5_line_72 | NAYY 4x150 SE | 71 | 76 | 0.025452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4864-12_0_5_line_73 | NAYY 4x150 SE | 71 | 75 | 0.04672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4864-12_0_5_line_74 | NAYY 4x150 SE | 72 | 73 | 0.075806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4864-12_0_5_line_75 | NAYY 4x150 SE | 73 | 74 | 0.039357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4864-12_0_5_line_76 | NAYY 4x150 SE | 74 | 91 | 0.0076065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4864-12_0_5_line_77 | NAYY 4x150 SE | 74 | 76 | 0.027868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4864-12_0_5_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0052825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4864-12_0_5_line_79 | NAYY 4x150 SE | 77 | 79 | 0.025785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4864-12_0_5_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0064473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4864-12_0_5_line_81 | NAYY 4x150 SE | 79 | 81 | 0.014656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4864-12_0_5_line_82 | NAYY 4x150 SE | 80 | 82 | 0.032762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4864-12_0_5_line_83 | NAYY 4x150 SE | 81 | 83 | 0.041417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4864-12_0_5_line_84 | NAYY 4x150 SE | 81 | 84 | 0.013258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4864-12_0_5_line_85 | NAYY 4x150 SE | 83 | 85 | 0.017219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4864-12_0_5_line_86 | NAYY 4x150 SE | 83 | 86 | 0.0097308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4864-12_0_5_line_87 | NAYY 4x150 SE | 84 | 87 | 0.016802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4864-12_0_5_line_88 | NAYY 4x150 SE | 86 | 90 | 0.02534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4864-12_0_5_line_89 | NAYY 4x150 SE | 87 | 94 | 0.024097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4864-12_0_5_line_90 | NAYY 4x150 SE | 88 | 89 | 0.014988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4864-12_0_5_line_91 | NAYY 4x150 SE | 89 | 90 | 0.061103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4864-12_0_5_line_92 | NAYY 4x150 SE | 91 | 92 | 9.8848e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4864-12_0_5_line_93 | NAYY 4x150 SE | 93 | 94 | 0.021133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4864-12_0_5_line_94 | NAYY 4x150 SE | 93 | 95 | 0.012122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4864-12_0_5_line_95 | NAYY 4x150 SE | 95 | 96 | 0.025102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4864-12_0_5_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0071366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4864-12_0_5_trafo_12 | 0.25 MVA 20/0.4 kV | 98 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2715896.5836 | 1280091.4874 | 2715906.573 | 1280098.3266
1 | 2715896.5836 | 1280091.4874 | 2715882.3491 | 1280081.7418
2 | 2715872.4978 | 1280074.9972 | 2715882.3491 | 1280081.7418
3 | 2715872.4978 | 1280074.9972 | 2715859.2179 | 1280065.9051 | 2715842.5748 | 1280055.45
4 | 2715828.5513 | 1280046.6404 | 2715842.5748 | 1280055.45
5 | 2715828.5513 | 1280046.6404 | 2715808.637 | 1280037.2739 | 2715800.8677 | 1280034.2366
6 | 2715828.5513 | 1280046.6404 | 2715838.6836 | 1280026.3836
7 | 2716127.7307 | 1279946.4288 | 2716109.0965 | 1279940.9473 | 2716068.1541 | 1279923.956
8 | 2716059.4709 | 1279920.3525 | 2716068.1541 | 1279923.956
9 | 2716059.4709 | 1279920.3525 | 2716008.8044 | 1279899.3258
10 | 2715983.2563 | 1279889.1896 | 2715999.9372 | 1279895.6459 | 2716008.8044 | 1279899.3258
11 | 2715983.2563 | 1279889.1896 | 2715975.7278 | 1279908.1975
12 | 2715830.5811 | 1279871.4052 | 2715814.6038 | 1279867.3047
13 | 2715830.5811 | 1279871.4052 | 2715833.0395 | 1279872.0362
14 | 2715848.1577 | 1279875.9162 | 2715833.0395 | 1279872.0362
15 | 2715850.123 | 1279876.4206 | 2715848.1577 | 1279875.9162
16 | 2715756.6452 | 1279903.3617 | 2715801.7788 | 1279914.0255
17 | 2715756.6452 | 1279903.3617 | 2715612.8028 | 1279880.4967
18 | 2715801.7788 | 1279914.0255 | 2715826.3713 | 1279919.836
19 | 2715590.8459 | 1279905.5007 | 2715593.927 | 1279898.5769 | 2715599.214 | 1279890.2839 | 2715608.5994 | 1279883.7285 | 2715612.8028 | 1279880.4967
20 | 2715850.123 | 1279876.4206 | 2715863.5747 | 1279879.8729
21 | 2715846.6981 | 1279924.6386 | 2715826.3713 | 1279919.836
22 | 2715483.5509 | 1279987.1459 | 2715482.4072 | 1279981.6345
23 | 2715483.5509 | 1279987.1459 | 2715484.4445 | 1279991.4518 | 2715484.4445 | 1279991.4518
24 | 2715478.242 | 1279948.4281 | 2715477.6173 | 1279951.0695 | 2715477.3584 | 1279958.5269 | 2715478.5053 | 1279966.7125 | 2715480.7785 | 1279973.7858 | 2715482.4072 | 1279981.6345
25 | 2715479.8546 | 1279997.1562 | 2715481.2903 | 1279995.5939 | 2715484.4445 | 1279991.4518
26 | 2715478.242 | 1279948.4281 | 2715479.5261 | 1279942.9993 | 2715486.6533 | 1279923.5964
27 | 2715479.8546 | 1279997.1562 | 2715481.2222 | 1279998.6844 | 2715484.5995 | 1280002.7098 | 2715488.3184 | 1280011.1849
28 | 2715479.8546 | 1279997.1562 | 2715475.1194 | 1279991.8808 | 2715466.8229 | 1279982.628
29 | 2715489.0902 | 1279916.9624 | 2715486.6533 | 1279923.5964
30 | 2715488.3184 | 1280011.1849 | 2715490.792 | 1280016.822 | 2715492.6025 | 1280019.7784
31 | 2715454.2451 | 1279972.4206 | 2715463.5682 | 1279978.9982 | 2715466.8229 | 1279982.628
32 | 2715494.0075 | 1280022.0728 | 2715492.6025 | 1280019.7784
33 | 2715454.2451 | 1279972.4206 | 2715445.7419 | 1279974.2336
34 | 2715590.8459 | 1279905.5007 | 2715586.5851 | 1279915.1039 | 2715581.7875 | 1279933.6939 | 2715581.299 | 1279958.5964
35 | 2715590.8459 | 1279905.5007 | 2715570.8614 | 1279896.2227 | 2715568.7587 | 1279895.7811 | 2715566.9255 | 1279896.5458 | 2715562.3443 | 1279904.0964 | 2715559.5921 | 1279905.744 | 2715556.331 | 1279905.7579 | 2715543.1234 | 1279899.0067
36 | 2715581.299 | 1279958.5964 | 2715561.935 | 1279954.7033
37 | 2715533.6858 | 1279887.7086 | 2715542.1224 | 1279898.495 | 2715543.1234 | 1279899.0067
38 | 2715533.6858 | 1279887.7086 | 2715509.2679 | 1279904.1234 | 2715489.0902 | 1279916.9624
39 | 2715445.7419 | 1279974.2336 | 2715436.0211 | 1279975.2001
40 | 2715445.7419 | 1279974.2336 | 2715434.8146 | 1279981.3173
41 | 2715518.751 | 1280049.7227 | 2715513.5498 | 1280044.816 | 2715505.9509 | 1280036.8186
42 | 2715518.751 | 1280049.7227 | 2715527.4335 | 1280057.9137
43 | 2715505.9509 | 1280036.8186 | 2715502.9789 | 1280033.6907
44 | 2715562.0309 | 1280090.5528 | 2715527.4335 | 1280057.9137
45 | 2715494.0075 | 1280022.0728 | 2715496.3687 | 1280025.9285 | 2715501.7051 | 1280032.3501 | 2715502.9789 | 1280033.6907
46 | 2715553.7808 | 1280042.9311 | 2715554.4579 | 1280043.2938
47 | 2715553.7808 | 1280042.9311 | 2715543.3304 | 1280037.3327
48 | 2715581.4246 | 1280054.844 | 2715562.6463 | 1280047.6805 | 2715554.4579 | 1280043.2938
49 | 2715581.4246 | 1280054.844 | 2715569.873 | 1280076.4711 | 2715562.0309 | 1280090.5528
50 | 2715540.107 | 1279950.3149 | 2715561.935 | 1279954.7033
51 | 2715421.1461 | 1279991.0288 | 2715401.7992 | 1280008.8847
52 | 2715421.1461 | 1279991.0288 | 2715424.2432 | 1279988.1703 | 2715434.8146 | 1279981.3173
53 | 2715401.7992 | 1280008.8847 | 2715391.8533 | 1280018.0642 | 2715387.0465 | 1280029.4808 | 2715385.6603 | 1280038.4954 | 2715385.5377 | 1280044.7586
54 | 2715385.4737 | 1280048.0265 | 2715385.5377 | 1280044.7586
55 | 2715378.9408 | 1280082.7959 | 2715382.3784 | 1280072.1848 | 2715384.0994 | 1280066.7912 | 2715385.4478 | 1280049.3458 | 2715385.4737 | 1280048.0265
56 | 2715436.0211 | 1279975.2001 | 2715426.3042 | 1279976.1661 | 2715407.1299 | 1279976.1575 | 2715403.6867 | 1279975.7716
57 | 2715297.6215 | 1280087.8329 | 2715306.5141 | 1280105.2204
58 | 2715279.0187 | 1280051.3664 | 2715289.0251 | 1280071.0247 | 2715297.6215 | 1280087.8329
59 | 2715322.1859 | 1280134.521 | 2715312.6159 | 1280117.1511 | 2715306.5141 | 1280105.2204
60 | 2715279.0187 | 1280051.3664 | 2715296.7919 | 1280041.5602 | 2715299.9141 | 1280040.9362
61 | 2715367.5481 | 1280122.3969 | 2715360.0185 | 1280122.4608 | 2715352.8577 | 1280123.6441 | 2715339.8838 | 1280127.4049 | 2715324.5713 | 1280133.5668 | 2715322.1859 | 1280134.521
62 | 2715367.5481 | 1280122.3969 | 2715359.3872 | 1280111.7274 | 2715358.3994 | 1280105.7692 | 2715363.6763 | 1280104.1042 | 2715370.9933 | 1280100.6997 | 2715375.1893 | 1280094.3759 | 2715378.9408 | 1280082.7959
63 | 2715383.4393 | 1279973.5026 | 2715403.6867 | 1279975.7716
64 | 2715383.4393 | 1279973.5026 | 2715374.5576 | 1279972.7726
65 | 2715374.5576 | 1279972.7726 | 2715373.9499 | 1279979.6338 | 2715372.4931 | 1279987.2679 | 2715369.1736 | 1279990.2613 | 2715357.9396 | 1279996.676
66 | 2715862.6503 | 1279978.4688 | 2715838.6836 | 1280026.3836
67 | 2715862.6503 | 1279978.4688 | 2715858.7397 | 1279972.1528 | 2715853.5848 | 1279963.3989 | 2715849.6052 | 1279954.4791 | 2715847.576 | 1279947.2436 | 2715846.8149 | 1279942.4333
68 | 2715862.6503 | 1279978.4688 | 2715869.5506 | 1279988.6361 | 2715876.5044 | 1279997.1293
69 | 2715846.6981 | 1279924.6386 | 2715846.0973 | 1279931.4999 | 2715846.2327 | 1279938.7538 | 2715846.8149 | 1279942.4333
70 | 2715876.5044 | 1279997.1293 | 2715879.7718 | 1280001.12
71 | 2715872.5598 | 1279887.5788 | 2715863.5747 | 1279879.8729 | 2715863.5747 | 1279879.8729
72 | 2715872.5598 | 1279887.5788 | 2715879.5288 | 1279884.3238 | 2715886.1515 | 1279882.252 | 2715893.7078 | 1279880.4655 | 2715896.7075 | 1279879.8797
73 | 2715872.5598 | 1279887.5788 | 2715866.7018 | 1279891.2672 | 2715858.1103 | 1279899.0835 | 2715852.0659 | 1279908.429 | 2715848.8361 | 1279916.7844 | 2715846.6981 | 1279924.6386
74 | 2715895.0712 | 1279856.0874 | 2715891.1077 | 1279780.3848
75 | 2715924.3899 | 1279877.2099 | 2715924.1182 | 1279871.5438 | 2715920.9106 | 1279866.9209 | 2715915.0739 | 1279863.7921 | 2715895.0712 | 1279856.0874
76 | 2715924.3899 | 1279877.2099 | 2715931.9908 | 1279877.5005
77 | 2715924.3899 | 1279877.2099 | 2715913.9476 | 1279877.505 | 2715903.6414 | 1279878.5256 | 2715896.7075 | 1279879.8797
78 | 2715966.7407 | 1280039.4724 | 2715971.6975 | 1280041.2986
79 | 2715966.7407 | 1280039.4724 | 2715963.5811 | 1280038.3084 | 2715944.2833 | 1280026.8997
80 | 2715977.7473 | 1280043.5275 | 2715971.6975 | 1280041.2986
81 | 2715931.6671 | 1280019.4411 | 2715944.2833 | 1280026.8997
82 | 2715977.7473 | 1280043.5275 | 2715998.5654 | 1280051.1973 | 2716008.7609 | 1280054.0077
83 | 2715931.6671 | 1280019.4411 | 2715909.1005 | 1280011.6125 | 2715904.8754 | 1280010.5951 | 2715897.876 | 1280011.5807 | 2715891.8982 | 1280013.3427
84 | 2715931.6671 | 1280019.4411 | 2715936.5495 | 1280007.1143
85 | 2715891.8982 | 1280013.3427 | 2715879.9622 | 1280001.3525 | 2715879.7718 | 1280001.12
86 | 2715891.8982 | 1280013.3427 | 2715898.733 | 1280020.269
87 | 2715936.5495 | 1280007.1143 | 2715942.7367 | 1279991.4928
88 | 2715898.733 | 1280020.269 | 2715916.5313 | 1280038.3054
89 | 2715951.6104 | 1279969.0887 | 2715942.7367 | 1279991.4928
90 | 2715970.1842 | 1280092.2603 | 2715959.5824 | 1280081.6659
91 | 2715959.5824 | 1280081.6659 | 2715940.6501 | 1280062.747 | 2715916.5313 | 1280038.3054
92 | 2715931.9908 | 1279877.5005 | 2715932.0896 | 1279877.5043
93 | 2715959.3923 | 1279949.4411 | 2715951.6104 | 1279969.0887
94 | 2715959.3923 | 1279949.4411 | 2715963.8563 | 1279938.1705
95 | 2715973.0998 | 1279914.8326 | 2715963.8563 | 1279938.1705
96 | 2715975.7278 | 1279908.1975 | 2715973.0998 | 1279914.8326

## bus_geodata
| x | y | coords
0 | 2715896.5836 | 1280091.4874
1 | 2715906.573 | 1280098.3266
2 | 2715882.3491 | 1280081.7418
3 | 2715872.4978 | 1280074.9972
4 | 2715842.5748 | 1280055.45
5 | 2715828.5513 | 1280046.6403
6 | 2716127.7307 | 1279946.4288
7 | 2716068.1541 | 1279923.956
8 | 2716059.4709 | 1279920.3525
9 | 2716008.8044 | 1279899.3258
10 | 2715983.2563 | 1279889.1896
11 | 2715814.6038 | 1279867.3047
12 | 2715830.5811 | 1279871.4052
13 | 2715833.0395 | 1279872.0362
14 | 2715848.1577 | 1279875.9162
15 | 2715756.6452 | 1279903.3617
16 | 2715801.7788 | 1279914.0255
17 | 2715612.8028 | 1279880.4967
18 | 2715850.123 | 1279876.4206
19 | 2715826.3713 | 1279919.836
20 | 2715483.5509 | 1279987.1459
21 | 2715482.4072 | 1279981.6345
22 | 2715484.4445 | 1279991.4518
23 | 2715478.242 | 1279948.4281
24 | 2715479.8546 | 1279997.1562
25 | 2715486.6533 | 1279923.5964
26 | 2715488.3184 | 1280011.1848
27 | 2715466.8229 | 1279982.628
28 | 2715492.6025 | 1280019.7784
29 | 2715454.2451 | 1279972.4206
30 | 2715590.8459 | 1279905.5007
31 | 2715581.299 | 1279958.5964
32 | 2715543.1234 | 1279899.0067
33 | 2715489.0902 | 1279916.9624
34 | 2715533.6858 | 1279887.7086
35 | 2715445.7419 | 1279974.2336
36 | 2715518.751 | 1280049.7227
37 | 2715505.9509 | 1280036.8186
38 | 2715527.4335 | 1280057.9137
39 | 2715502.9789 | 1280033.6907
40 | 2715494.0075 | 1280022.0728
41 | 2715553.7808 | 1280042.9311
42 | 2715554.4579 | 1280043.2938
43 | 2715543.3304 | 1280037.3327
44 | 2715581.4246 | 1280054.844
45 | 2715561.935 | 1279954.7033
46 | 2715540.107 | 1279950.3149
47 | 2715421.1461 | 1279991.0288
48 | 2715401.7992 | 1280008.8847
49 | 2715434.8146 | 1279981.3173
50 | 2715385.5377 | 1280044.7586
51 | 2715385.4737 | 1280048.0265
52 | 2715436.0211 | 1279975.2001
53 | 2715297.6215 | 1280087.8329
54 | 2715306.5141 | 1280105.2204
55 | 2715279.0187 | 1280051.3664
56 | 2715322.1859 | 1280134.521
57 | 2715299.9141 | 1280040.9362
58 | 2715378.9408 | 1280082.7959
59 | 2715367.5481 | 1280122.3969
60 | 2715403.6867 | 1279975.7716
61 | 2715383.4393 | 1279973.5026
62 | 2715374.5576 | 1279972.7726
63 | 2715357.9396 | 1279996.676
64 | 2715800.8677 | 1280034.2366
65 | 2715838.6836 | 1280026.3836
66 | 2715862.6503 | 1279978.4688
67 | 2715562.0309 | 1280090.5528
68 | 2715846.8149 | 1279942.4333
69 | 2715876.5044 | 1279997.1293
70 | 2715863.5747 | 1279879.8729
71 | 2715872.5598 | 1279887.5788
72 | 2715891.1077 | 1279780.3848
73 | 2715895.0712 | 1279856.0874
74 | 2715924.3899 | 1279877.2099
75 | 2715846.6981 | 1279924.6386
76 | 2715896.7075 | 1279879.8797
77 | 2715966.7407 | 1280039.4724
78 | 2715971.6975 | 1280041.2986
79 | 2715944.2833 | 1280026.8997
80 | 2715977.7473 | 1280043.5275
81 | 2715931.6671 | 1280019.4411
82 | 2716008.7609 | 1280054.0077
83 | 2715891.8982 | 1280013.3427
84 | 2715936.5495 | 1280007.1143
85 | 2715879.7718 | 1280001.12
86 | 2715898.733 | 1280020.269
87 | 2715942.7367 | 1279991.4928
88 | 2715970.1842 | 1280092.2603
89 | 2715959.5824 | 1280081.6659
90 | 2715916.5313 | 1280038.3054
91 | 2715931.9908 | 1279877.5005
92 | 2715932.0896 | 1279877.5043
93 | 2715959.3923 | 1279949.4411
94 | 2715951.6104 | 1279969.0887
95 | 2715963.8563 | 1279938.1705
96 | 2715973.0998 | 1279914.8326
97 | 2715975.7278 | 1279908.1975
98 | 2715759.7108 | 1279879.6443

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1