## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4864-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4864-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4864-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4864-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4864-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4864-13_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4864-13_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4864-13_0_3_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_4864-13_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4864-13_0_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_4864-13_0_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_4864-13_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4864-13_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4864-13_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4864-13_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_4864-13_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4864-13_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4864-13_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4864-13_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4864-13_0_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_4864-13_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4864-13_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_4864-13_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4864-13_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_4864-13_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4864-13_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4864-13_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4864-13_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_4864-13_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4864-13_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4864-13_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4864-13_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4864-13_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4864-13_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_4864-13_0_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_4864-13_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4864-13_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4864-13_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4864-13_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4864-13_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4864-13_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4864-13_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4864-13_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_4864-13_0_3_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_4864-13_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4864-13_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4864-13_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4864-13_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4864-13_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4864-13_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4864-13_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4864-13_0_3_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_4864-13_0_3_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_4864-13_0_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_4864-13_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4864-13_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_4864-13_0_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_4864-13_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_4864-13_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_4864-13_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_4864-13_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_4864-13_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4864-13_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4864-13_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4864-13_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4864-13_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_4864-13_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_4864-13_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4864-13_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_4864-13_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_MV_439_1_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4864-13_0_3_load_0 | 0 | 0.0048923 | 0.0012261 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4864-13_0_3_load_1 | 1 | 0.0030488 | 0.0007641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4864-13_0_3_load_4 | 4 | 0.0033318 | 0.00083502 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4864-13_0_3_load_9 | 5 | 0.0036027 | 0.00090291 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4864-13_0_3_load_10 | 6 | 0.0034299 | 0.00085962 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4864-13_0_3_load_11 | 8 | 0.0026607 | 0.00066684 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4864-13_0_3_load_58 | 9 | 0.0014868 | 0.00037263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4864-13_0_3_load_49 | 10 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4864-13_0_3_load_5 | 11 | 0.0062001 | 0.0015539 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4864-13_0_3_load_6 | 12 | 0.0024919 | 0.00062453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4864-13_0_3_load_16 | 14 | 0.0018956 | 0.00047507 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4864-13_0_3_load_14 | 15 | 0.0040173 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4864-13_0_3_load_17 | 16 | 0.0023328 | 0.00058465 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4864-13_0_3_load_12 | 18 | 0.0040094 | 0.0010049 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4864-13_0_3_load_59 | 19 | 0.0015566 | 0.00039011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4864-13_0_3_load_29 | 21 | 0.0026233 | 0.00065745 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4864-13_0_3_load_20 | 22 | 0.0028454 | 0.00071312 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4864-13_0_3_load_33 | 23 | 0.0043815 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4864-13_0_3_load_19 | 24 | 0.0015485 | 0.0003881 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4864-13_0_3_load_18 | 25 | 0.0011951 | 0.00029952 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4864-13_0_3_load_27 | 27 | 0.0034699 | 0.00086963 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4864-13_0_3_load_21 | 28 | 0.0059379 | 0.0014882 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4864-13_0_3_load_22 | 29 | 0.0040358 | 0.0010115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4864-13_0_3_load_25 | 31 | 0.010042 | 0.0025167 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4864-13_0_3_load_26 | 32 | 0.012038 | 0.003017 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4864-13_0_3_load_45 | 33 | 0.0054391 | 0.0013632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4864-13_0_3_load_46 | 34 | 0.015502 | 0.0038852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4864-13_0_3_load_31 | 35 | 0.0047528 | 0.0011912 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4864-13_0_3_load_30 | 36 | 0.0026555 | 0.00066552 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4864-13_0_3_load_32 | 37 | 0.0023863 | 0.00059807 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4864-13_0_3_load_43 | 39 | 0.0044382 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4864-13_0_3_load_44 | 40 | 0.0039565 | 0.00099159 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4864-13_0_3_load_40 | 41 | 0.0049406 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4864-13_0_3_load_50 | 42 | 0.002407 | 0.00060326 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4864-13_0_3_load_68 | 43 | 0.0025963 | 0.00065069 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4864-13_0_3_load_41 | 44 | 0.0057897 | 0.001451 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4864-13_0_3_load_35 | 45 | 0.0017565 | 0.00044023 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4864-13_0_3_load_36 | 46 | 0.0029856 | 0.00074825 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4864-13_0_3_load_37 | 47 | 0.0029129 | 0.00073005 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4864-13_0_3_load_51 | 50 | 0.0027867 | 0.00069842 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4864-13_0_3_load_72 | 51 | 0.0027762 | 0.00069577 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4864-13_0_3_load_60 | 52 | 0.0025942 | 0.00065018 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4864-13_0_3_load_73 | 53 | 0.00079481 | 0.0001992 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4864-13_0_3_load_42 | 54 | 0.0082395 | 0.002065 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4864-13_0_3_load_69 | 55 | 0.0061792 | 0.0015486 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4864-13_0_3_load_70 | 56 | 0.0035316 | 0.0008851 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4864-13_0_3_load_47 | 58 | 0.0012946 | 0.00032446 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4864-13_0_3_load_67 | 60 | 0.0014238 | 0.00035684 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4864-13_0_3_load_52 | 61 | 0.0021244 | 0.00053243 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4864-13_0_3_load_53 | 62 | 0.0052178 | 0.0013077 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4864-13_0_3_load_55 | 63 | 0.0029836 | 0.00074776 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4864-13_0_3_load_64 | 65 | 0.0041358 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4864-13_0_3_load_62 | 66 | 0.0014428 | 0.00036161 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4864-13_0_3_load_61 | 67 | 0.0022843 | 0.00057249 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4864-13_0_3_load_63 | 68 | 0.0014581 | 0.00036544 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4864-13_0_3_load_71 | 69 | 0.0013413 | 0.00033615 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4864-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4864-13_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4864-13_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4864-13_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4864-13_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.003342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4864-13_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4864-13_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.02904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4864-13_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4864-13_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.02604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4864-13_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.013637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4864-13_0_3_line_10 | NAYY 4x150 SE | 8 | 18 | 0.0038663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4864-13_0_3_line_11 | NAYY 4x150 SE | 9 | 19 | 0.021376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_4864-13_0_3_line_12 | NAYY 4x150 SE | 10 | 53 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4864-13_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.074636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4864-13_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4864-13_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.013228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4864-13_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.029299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4864-13_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.02626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4864-13_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4864-13_0_3_line_19 | NAYY 4x150 SE | 16 | 25 | 0.021886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4864-13_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.002676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4864-13_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.03075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_4864-13_0_3_line_22 | NAYY 4x150 SE | 19 | 52 | 0.00061529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_4864-13_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.010609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4864-13_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.034312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4864-13_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0098766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4864-13_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 5.2136e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4864-13_0_3_line_27 | NAYY 4x150 SE | 23 | 35 | 0.029866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4864-13_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.019021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4864-13_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.020353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4864-13_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.011075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4864-13_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0012492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4864-13_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.014965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4864-13_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.029985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4864-13_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.033965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4864-13_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0027203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4864-13_0_3_line_36 | NAYY 4x150 SE | 34 | 58 | 0.0153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4864-13_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0023857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4864-13_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4864-13_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.026961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4864-13_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.029023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4864-13_0_3_line_41 | NAYY 4x150 SE | 38 | 41 | 0.014442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4864-13_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.011084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4864-13_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.012592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4864-13_0_3_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0072871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4864-13_0_3_line_45 | NAYY 4x150 SE | 42 | 48 | 0.016295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4864-13_0_3_line_46 | NAYY 4x150 SE | 43 | 57 | 0.036232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4864-13_0_3_line_47 | NAYY 4x150 SE | 44 | 54 | 0.021029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4864-13_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.028575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4864-13_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0085193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4864-13_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0084629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4864-13_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.017821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4864-13_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.01371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4864-13_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.026199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4864-13_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.029861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4864-13_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0048622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4864-13_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0044222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4864-13_0_3_line_57 | NAYY 4x150 SE | 56 | 69 | 0.028481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4864-13_0_3_line_58 | NAYY 4x150 SE | 57 | 65 | 0.019595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4864-13_0_3_line_59 | NAYY 4x150 SE | 57 | 64 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4864-13_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.017539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4864-13_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.01265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4864-13_0_3_line_62 | NAYY 4x150 SE | 60 | 69 | 0.001532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4864-13_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0019146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4864-13_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.043393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4864-13_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.012048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4864-13_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.016486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4864-13_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.015522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4864-13_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0028025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4864-13_0_3_trafo_30 | 0.25 MVA 20/0.4 kV | 70 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2715895.205 | 1280151.2319 | 2715914.4238 | 1280160.6219
1 | 2715884.1382 | 1280145.8248 | 2715895.205 | 1280151.2319
2 | 2715928.253 | 1280167.3786 | 2715914.4238 | 1280160.6219
3 | 2715884.1382 | 1280145.8248 | 2715874.7438 | 1280163.5963
4 | 2715928.253 | 1280167.3786 | 2715931.2163 | 1280168.9236
5 | 2715928.253 | 1280167.3786 | 2715924.3526 | 1280177.9687
6 | 2715861.1723 | 1280189.2697 | 2715874.7438 | 1280163.5963
7 | 2715931.2163 | 1280168.9236 | 2715944.8423 | 1280176.0278
8 | 2715915.353 | 1280202.4038 | 2715924.3526 | 1280177.9687
9 | 2715861.1723 | 1280189.2697 | 2715854.8005 | 1280201.3262
10 | 2715948.2706 | 1280177.8153 | 2715944.8423 | 1280176.0278
11 | 2715915.353 | 1280202.4038 | 2715907.9654 | 1280222.4625
12 | 2715854.8005 | 1280201.3262 | 2715847.2305 | 1280215.6502
13 | 2715918.4211 | 1280106.1939 | 2715933.7359 | 1280114.3925 | 2715985.1299 | 1280139.6483
14 | 2715994.5614 | 1280144.2831 | 2715985.1299 | 1280139.6483
15 | 2715994.5614 | 1280144.2831 | 2716006.6371 | 1280149.6835
16 | 2715994.5614 | 1280144.2831 | 2715983.717 | 1280171.501
17 | 2716006.6371 | 1280149.6835 | 2716030.6095 | 1280160.4042
18 | 2715975.5371 | 1280192.0313 | 2715983.717 | 1280171.501
19 | 2716050.5022 | 1280169.5286 | 2716034.7269 | 1280162.2456 | 2716030.6095 | 1280160.4042
20 | 2715977.9169 | 1280193.2681 | 2715975.5371 | 1280192.0313
21 | 2715975.5371 | 1280192.0313 | 2715948.2706 | 1280177.8153
22 | 2715907.7527 | 1280223.0398 | 2715907.9654 | 1280222.4625
23 | 2715977.9169 | 1280193.2681 | 2715974.1251 | 1280203.1767
24 | 2715977.9169 | 1280193.2681 | 2716008.4898 | 1280208.8432
25 | 2715970.5951 | 1280212.4009 | 2715974.1251 | 1280203.1767
26 | 2716008.5363 | 1280208.8669 | 2716008.4898 | 1280208.8432
27 | 2715970.5951 | 1280212.4009 | 2715959.9209 | 1280240.2938
28 | 2716025.4845 | 1280217.501 | 2716008.5363 | 1280208.8669
29 | 2716069.3692 | 1280172.6147 | 2716066.8378 | 1280174.1107 | 2716062.3576 | 1280174.6119 | 2716056.669 | 1280172.3757 | 2716050.5022 | 1280169.5286
30 | 2716069.3692 | 1280172.6147 | 2716062.4058 | 1280167.206 | 2716060.5918 | 1280165.8613
31 | 2716025.4845 | 1280217.501 | 2716026.5976 | 1280218.068
32 | 2716063.0739 | 1280236.6506 | 2716057.6678 | 1280250.6047
33 | 2716063.0739 | 1280236.6506 | 2716089.7697 | 1280250.3055
34 | 2716045.3977 | 1280282.2762 | 2716057.6678 | 1280250.6047
35 | 2716045.3977 | 1280282.2762 | 2716044.415 | 1280284.8128
36 | 2716044.415 | 1280284.8128 | 2716038.8877 | 1280299.0797
37 | 2715959.0682 | 1280242.522 | 2715959.9209 | 1280240.2938
38 | 2715943.5022 | 1280283.1976 | 2715947.6123 | 1280272.4575
39 | 2715943.5022 | 1280283.1976 | 2715918.2934 | 1280273.6355
40 | 2715943.5022 | 1280283.1976 | 2715924.2108 | 1280304.8804
41 | 2715943.5022 | 1280283.1976 | 2715957.0816 | 1280288.1135
42 | 2715918.2934 | 1280273.6355 | 2715907.9298 | 1280269.7043
43 | 2715924.2108 | 1280304.8804 | 2715915.8411 | 1280314.2877
44 | 2715957.0816 | 1280288.1135 | 2715963.9335 | 1280290.594
45 | 2715892.6944 | 1280263.9253 | 2715907.9298 | 1280269.7043
46 | 2715891.7574 | 1280341.357 | 2715915.8411 | 1280314.2877
47 | 2715983.7064 | 1280297.752 | 2715963.9335 | 1280290.594
48 | 2715857.8465 | 1280251.3787 | 2715884.7319 | 1280261.0585
49 | 2715857.8465 | 1280251.3787 | 2715849.831 | 1280248.4928
50 | 2715892.6944 | 1280263.9253 | 2715884.7319 | 1280261.0585
51 | 2715833.064 | 1280242.456 | 2715849.831 | 1280248.4928
52 | 2715892.6944 | 1280263.9253 | 2715897.4327 | 1280251.0603
53 | 2715833.064 | 1280242.456 | 2715816.4157 | 1280262.6852
54 | 2715907.7527 | 1280223.0398 | 2715897.4327 | 1280251.0603
55 | 2715988.2783 | 1280299.4071 | 2715983.7064 | 1280297.752
56 | 2715988.2783 | 1280299.4071 | 2715992.4364 | 1280300.9124
57 | 2715992.4364 | 1280300.9124 | 2716019.2164 | 1280310.6071
58 | 2715891.7574 | 1280341.357 | 2715873.6984 | 1280333.753
59 | 2715906.4009 | 1280346.6719 | 2715891.7574 | 1280341.357
60 | 2716032.5515 | 1280315.4346 | 2716038.8877 | 1280299.0797
61 | 2716032.5515 | 1280315.4346 | 2716020.6569 | 1280311.1286
62 | 2716019.2164 | 1280310.6071 | 2716020.6569 | 1280311.1286
63 | 2715962.1925 | 1280359.9713 | 2715960.3301 | 1280359.5273
64 | 2715918.1202 | 1280349.4655 | 2715960.3301 | 1280359.5273
65 | 2715906.4009 | 1280346.6719 | 2715918.1202 | 1280349.4655
66 | 2715873.6984 | 1280333.753 | 2715858.5046 | 1280327.3554
67 | 2715844.199 | 1280321.3318 | 2715858.5046 | 1280327.3554
68 | 2715844.199 | 1280321.3318 | 2715841.6161 | 1280320.2443

## bus_geodata
| x | y | coords
0 | 2715895.205 | 1280151.2319
1 | 2715914.4238 | 1280160.6219
2 | 2715884.1382 | 1280145.8248
3 | 2715928.253 | 1280167.3786
4 | 2715874.7438 | 1280163.5963
5 | 2715931.2163 | 1280168.9236
6 | 2715924.3526 | 1280177.9687
7 | 2715861.1723 | 1280189.2697
8 | 2715944.8423 | 1280176.0278
9 | 2715915.353 | 1280202.4038
10 | 2715854.8005 | 1280201.3262
11 | 2715918.4211 | 1280106.1939
12 | 2715985.1299 | 1280139.6483
13 | 2715994.5614 | 1280144.2831
14 | 2716006.6371 | 1280149.6835
15 | 2715983.717 | 1280171.5009
16 | 2716030.6095 | 1280160.4042
17 | 2715975.5371 | 1280192.0313
18 | 2715948.2706 | 1280177.8153
19 | 2715907.9654 | 1280222.4625
20 | 2715977.9169 | 1280193.2681
21 | 2715974.1251 | 1280203.1767
22 | 2716008.4898 | 1280208.8432
23 | 2715970.5951 | 1280212.4009
24 | 2716008.5363 | 1280208.8669
25 | 2716050.5022 | 1280169.5286
26 | 2716069.3692 | 1280172.6147
27 | 2716060.5918 | 1280165.8613
28 | 2716025.4845 | 1280217.501
29 | 2716026.5976 | 1280218.068
30 | 2716063.0739 | 1280236.6506
31 | 2716057.6678 | 1280250.6047
32 | 2716089.7697 | 1280250.3055
33 | 2716045.3977 | 1280282.2762
34 | 2716044.415 | 1280284.8128
35 | 2715959.9209 | 1280240.2938
36 | 2715959.0682 | 1280242.522
37 | 2715947.6123 | 1280272.4575
38 | 2715943.5022 | 1280283.1976
39 | 2715918.2934 | 1280273.6355
40 | 2715924.2108 | 1280304.8804
41 | 2715957.0816 | 1280288.1135
42 | 2715907.9298 | 1280269.7043
43 | 2715915.8411 | 1280314.2877
44 | 2715963.9335 | 1280290.594
45 | 2715857.8465 | 1280251.3787
46 | 2715884.7319 | 1280261.0585
47 | 2715849.831 | 1280248.4928
48 | 2715892.6944 | 1280263.9253
49 | 2715833.064 | 1280242.456
50 | 2715897.4327 | 1280251.0603
51 | 2715816.4157 | 1280262.6852
52 | 2715907.7527 | 1280223.0398
53 | 2715847.2305 | 1280215.6502
54 | 2715983.7064 | 1280297.752
55 | 2715988.2783 | 1280299.4071
56 | 2715992.4364 | 1280300.9124
57 | 2715891.7574 | 1280341.357
58 | 2716038.8877 | 1280299.0797
59 | 2716032.5515 | 1280315.4346
60 | 2716020.6569 | 1280311.1286
61 | 2715962.1925 | 1280359.9713
62 | 2715960.3301 | 1280359.5273
63 | 2715918.1202 | 1280349.4655
64 | 2715906.4009 | 1280346.6719
65 | 2715873.6984 | 1280333.753
66 | 2715858.5046 | 1280327.3554
67 | 2715844.199 | 1280321.3318
68 | 2715841.6161 | 1280320.2443
69 | 2716019.2164 | 1280310.6071
70 | 2715943.5022 | 1280283.1976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1