## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4864-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4864-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4864-20_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4864-20_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4864-20_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4864-20_0_3_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_4864-20_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_4864-20_0_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_4864-20_0_3_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_4864-20_0_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_4864-20_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_4864-20_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4864-20_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4864-20_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_4864-20_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_4864-20_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_4864-20_0_3_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_4864-20_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_4864-20_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_4864-20_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_4864-20_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4864-20_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4864-20_0_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_4864-20_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4864-20_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_4864-20_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_4864-20_0_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_4864-20_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_4864-20_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_4864-20_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_4864-20_0_3_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_4864-20_0_3_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_4864-20_0_3_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_4864-20_0_3_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_4864-20_0_3_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_4864-20_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4864-20_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_4864-20_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4864-20_0_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_4864-20_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4864-20_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_4864-20_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4864-20_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4864-20_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_4864-20_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_4864-20_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_4864-20_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_4864-20_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4864-20_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4864-20_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4864-20_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4864-20_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4864-20_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4864-20_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4864-20_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4864-20_0_3_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_4864-20_0_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_4864-20_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4864-20_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4864-20_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4864-20_0_3_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_4864-20_0_3_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_4864-20_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_4864-20_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4864-20_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_4864-20_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_4864-20_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4864-20_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_4864-20_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4864-20_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4864-20_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4864-20_0_3_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_4864-20_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4864-20_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4864-20_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_4864-20_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4864-20_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_MV_439_1_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4864-20_0_3_load_0 | 0 | 0.0030641 | 0.00076794 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4864-20_0_3_load_1 | 1 | 0.002383 | 0.00059723 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4864-20_0_3_load_2 | 2 | 0.0052472 | 0.0013151 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4864-20_0_3_load_4 | 4 | 0.003255 | 0.00081579 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4864-20_0_3_load_73 | 5 | 0.0022463 | 0.00056297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4864-20_0_3_load_21 | 6 | 0.0025555 | 0.00064046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4864-20_0_3_load_61 | 8 | 0.0033837 | 0.00084804 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4864-20_0_3_load_78 | 9 | 0.0035988 | 0.00090195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4864-20_0_3_load_15 | 11 | 0.01053 | 0.002639 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4864-20_0_3_load_23 | 13 | 0.00044562 | 0.00011168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4864-20_0_3_load_25 | 14 | 0.00067032 | 0.000168 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4864-20_0_3_load_22 | 15 | 0.0004477 | 0.0001122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4864-20_0_3_load_5 | 16 | 0.0024152 | 0.00060531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4864-20_0_3_load_6 | 17 | 0.0027529 | 0.00068993 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4864-20_0_3_load_7 | 18 | 0.003641 | 0.00091252 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4864-20_0_3_load_9 | 20 | 0.0023259 | 0.00058293 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4864-20_0_3_load_18 | 21 | 0.0012033 | 0.00030158 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4864-20_0_3_load_59 | 22 | 0.0011758 | 0.00029468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4864-20_0_3_load_16 | 23 | 0.00077858 | 0.00019513 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4864-20_0_3_load_56 | 24 | 0.0020421 | 0.00051179 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4864-20_0_3_load_34 | 25 | 0.00078043 | 0.0001956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4864-20_0_3_load_64 | 26 | 0.0010585 | 0.00026528 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4864-20_0_3_load_33 | 27 | 0.0025784 | 0.00064621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4864-20_0_3_load_54 | 28 | 0.0015769 | 0.00039521 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4864-20_0_3_load_58 | 29 | 0.0022593 | 0.00056623 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4864-20_0_3_load_10 | 30 | 0.00050089 | 0.00012554 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4864-20_0_3_load_11 | 31 | 0.00051427 | 0.00012889 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4864-20_0_3_load_12 | 32 | 0.0013593 | 0.00034068 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4864-20_0_3_load_13 | 33 | 0.00054454 | 0.00013648 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4864-20_0_3_load_14 | 34 | 0.00146 | 0.0003659 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4864-20_0_3_load_26 | 35 | 0.0003899 | 9.7719e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4864-20_0_3_load_52 | 36 | 0.001619 | 0.00040577 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4864-20_0_3_load_53 | 38 | 0.0044831 | 0.0011236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4864-20_0_3_load_20 | 40 | 0.0010248 | 0.00025683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4864-20_0_3_load_32 | 41 | 0.00078582 | 0.00019695 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4864-20_0_3_load_55 | 42 | 0.0026407 | 0.00066183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4864-20_0_3_load_57 | 43 | 0.0018363 | 0.00046021 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4864-20_0_3_load_67 | 44 | 0.0010624 | 0.00026626 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4864-20_0_3_load_66 | 45 | 0.0042503 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4864-20_0_3_load_31 | 46 | 0.0008126 | 0.00020366 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4864-20_0_3_load_28 | 47 | 0.00042173 | 0.0001057 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4864-20_0_3_load_39 | 48 | 0.00076648 | 0.0001921 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4864-20_0_3_load_65 | 49 | 0.0034453 | 0.00086347 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4864-20_0_3_load_41 | 50 | 0.0013841 | 0.00034689 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4864-20_0_3_load_40 | 51 | 0.002408 | 0.0006035 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4864-20_0_3_load_43 | 52 | 0.00049959 | 0.00012521 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4864-20_0_3_load_29 | 53 | 0.0011574 | 0.00029008 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4864-20_0_3_load_38 | 54 | 0.0026065 | 0.00065325 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4864-20_0_3_load_76 | 56 | 0.00069742 | 0.00017479 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4864-20_0_3_load_30 | 57 | 0.0013124 | 0.00032891 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4864-20_0_3_load_50 | 58 | 0.00077412 | 0.00019401 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4864-20_0_3_load_51 | 59 | 0.0013776 | 0.00034527 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4864-20_0_3_load_36 | 60 | 0.0026065 | 0.00065325 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4864-20_0_3_load_37 | 61 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4864-20_0_3_load_42 | 62 | 0.0046369 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4864-20_0_3_load_44 | 63 | 0.0020895 | 0.00052368 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4864-20_0_3_load_63 | 64 | 0.0012117 | 0.00030369 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4864-20_0_3_load_45 | 65 | 0.00094877 | 0.00023778 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4864-20_0_3_load_46 | 66 | 0.00070556 | 0.00017683 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4864-20_0_3_load_47 | 67 | 0.00090042 | 0.00022567 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4864-20_0_3_load_48 | 68 | 0.0035534 | 0.00089057 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4864-20_0_3_load_49 | 69 | 0.00094422 | 0.00023664 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4864-20_0_3_load_62 | 70 | 0.0027805 | 0.00069686 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4864-20_0_3_load_75 | 71 | 0.011865 | 0.0029736 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4864-20_0_3_load_69 | 74 | 0.00048117 | 0.00012059 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4864-20_0_3_load_72 | 75 | 0.00078971 | 0.00019792 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4864-20_0_3_load_71 | 76 | 0.00090761 | 0.00022747 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4864-20_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4864-20_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4864-20_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.037081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4864-20_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.033144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4864-20_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.008594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4864-20_0_3_line_5 | NAYY 4x150 SE | 3 | 8 | 0.036588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4864-20_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.020189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4864-20_0_3_line_7 | NAYY 4x150 SE | 6 | 12 | 0.049499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4864-20_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.026063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4864-20_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.007183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4864-20_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.05762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4864-20_0_3_line_11 | NAYY 4x150 SE | 10 | 27 | 0.024852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4864-20_0_3_line_12 | NAYY 4x150 SE | 10 | 19 | 0.014194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4864-20_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.019822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4864-20_0_3_line_14 | NAYY 4x150 SE | 12 | 39 | 0.044661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4864-20_0_3_line_15 | NAYY 4x150 SE | 12 | 40 | 0.013548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4864-20_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.03376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4864-20_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.019444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4864-20_0_3_line_18 | NAYY 4x150 SE | 15 | 37 | 0.0060063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4864-20_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.023958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4864-20_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0084475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4864-20_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.024473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4864-20_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.014545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4864-20_0_3_line_23 | NAYY 4x150 SE | 19 | 24 | 0.010284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4864-20_0_3_line_24 | NAYY 4x150 SE | 20 | 26 | 0.011012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4864-20_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.019752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4864-20_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.045824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4864-20_0_3_line_27 | NAYY 4x150 SE | 22 | 49 | 0.016381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4864-20_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.04988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4864-20_0_3_line_29 | NAYY 4x150 SE | 24 | 28 | 0.0088487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4864-20_0_3_line_30 | NAYY 4x150 SE | 25 | 41 | 0.0033938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4864-20_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.0081174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4864-20_0_3_line_32 | NAYY 4x150 SE | 27 | 41 | 0.03445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4864-20_0_3_line_33 | NAYY 4x150 SE | 28 | 42 | 0.013008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4864-20_0_3_line_34 | NAYY 4x150 SE | 29 | 52 | 0.029557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4864-20_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.016833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4864-20_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.017357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4864-20_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.0018574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4864-20_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.0032952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4864-20_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.01814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4864-20_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.019511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4864-20_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.012746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4864-20_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.013647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4864-20_0_3_line_43 | NAYY 4x150 SE | 37 | 55 | 0.013136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4864-20_0_3_line_44 | NAYY 4x150 SE | 38 | 46 | 0.02116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4864-20_0_3_line_45 | NAYY 4x150 SE | 39 | 46 | 0.0027428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4864-20_0_3_line_46 | NAYY 4x150 SE | 39 | 47 | 0.02306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4864-20_0_3_line_47 | NAYY 4x150 SE | 40 | 48 | 0.017491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4864-20_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.021604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4864-20_0_3_line_49 | NAYY 4x150 SE | 43 | 70 | 0.02828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4864-20_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.031884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4864-20_0_3_line_51 | NAYY 4x150 SE | 45 | 73 | 0.014012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4864-20_0_3_line_52 | NAYY 4x150 SE | 47 | 53 | 0.038185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4864-20_0_3_line_53 | NAYY 4x150 SE | 48 | 54 | 0.057836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4864-20_0_3_line_54 | NAYY 4x150 SE | 49 | 62 | 0.048511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4864-20_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.026282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4864-20_0_3_line_56 | NAYY 4x150 SE | 51 | 62 | 0.031124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4864-20_0_3_line_57 | NAYY 4x150 SE | 53 | 57 | 0.0061692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4864-20_0_3_line_58 | NAYY 4x150 SE | 54 | 60 | 0.010132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4864-20_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0090978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4864-20_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.015498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4864-20_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.015092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4864-20_0_3_line_62 | NAYY 4x150 SE | 59 | 69 | 0.0077366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4864-20_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.020516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4864-20_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0065124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4864-20_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.024611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4864-20_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.019816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4864-20_0_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.018059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4864-20_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.040677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4864-20_0_3_line_69 | NAYY 4x150 SE | 67 | 69 | 0.0046731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4864-20_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.061226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4864-20_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.084716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4864-20_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.033134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4864-20_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.020347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4864-20_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4864-20_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.010298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4864-20_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 77 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2715005.7351 | 1279616.4506 | 2714982.1278 | 1279601.7353
1 | 2715005.7351 | 1279616.4506 | 2715026.8643 | 1279629.6213
2 | 2714955.1033 | 1279576.8254 | 2714963.45 | 1279587.6759 | 2714979.4682 | 1279600.0775 | 2714982.1278 | 1279601.7353
3 | 2715056.2447 | 1279644.9237 | 2715031.0029 | 1279632.201 | 2715026.8643 | 1279629.6213
4 | 2714951.1344 | 1279569.1965 | 2714955.1033 | 1279576.8254
5 | 2714935.9205 | 1279607.6246 | 2714949.4626 | 1279582.0981 | 2714955.1033 | 1279576.8254
6 | 2714914.6553 | 1279664.9548 | 2714932.8679 | 1279673.6662
7 | 2714871.7249 | 1279640.5934 | 2714890.8949 | 1279653.5899 | 2714914.6553 | 1279664.9548
8 | 2714951.1344 | 1279569.1965 | 2714945.3467 | 1279573.9214 | 2714935.8373 | 1279589.9287
9 | 2714948.6814 | 1279562.4425 | 2714951.1344 | 1279569.1965
10 | 2714880.323 | 1279622.7554 | 2714935.9205 | 1279607.6246
11 | 2714948.6814 | 1279562.4425 | 2714935.5297 | 1279561.7855 | 2714930.6007 | 1279562.5458 | 2714924.4806 | 1279565.2643
12 | 2714948.6814 | 1279562.4425 | 2714946.4753 | 1279548.4198
13 | 2714871.7249 | 1279640.5934 | 2714878.3311 | 1279627.7991 | 2714880.323 | 1279622.7554 | 2714880.323 | 1279622.7554
14 | 2714850.3645 | 1279679.836 | 2714866.7756 | 1279650.4951 | 2714871.7249 | 1279640.5934
15 | 2714871.7249 | 1279640.5934 | 2714864.5292 | 1279636.6051 | 2714859.4335 | 1279635.0721
16 | 2715015.8721 | 1279765.7897 | 2714996.5458 | 1279755.3211 | 2714986.0787 | 1279749.9159
17 | 2714968.8021 | 1279740.9941 | 2714986.0787 | 1279749.9159
18 | 2714963.4654 | 1279738.2381 | 2714968.8021 | 1279740.9941
19 | 2714931.1068 | 1279503.5759 | 2714934.738 | 1279507.6088 | 2714941.0644 | 1279519.1872 | 2714942.5102 | 1279524.3251
20 | 2714931.1068 | 1279503.5759 | 2714925.4544 | 1279497.2982
21 | 2714946.4753 | 1279548.4198 | 2714944.2616 | 1279530.549 | 2714942.5102 | 1279524.3251
22 | 2714925.4544 | 1279497.2982 | 2714920.1829 | 1279491.4435 | 2714914.9443 | 1279487.3193
23 | 2714946.4753 | 1279548.4198 | 2714956.1149 | 1279547.6959 | 2714956.7269 | 1279547.7775
24 | 2714905.7294 | 1279481.3772 | 2714910.6807 | 1279483.9625 | 2714914.9443 | 1279487.3193
25 | 2714801.7228 | 1279541.2916 | 2714819.7487 | 1279542.4014 | 2714821.1871 | 1279543.2915
26 | 2714841.5624 | 1279580.649 | 2714841.0432 | 1279580.1954 | 2714835.5902 | 1279570.4469 | 2714835.8406 | 1279557.5954 | 2714831.1601 | 1279549.4634 | 2714821.1871 | 1279543.2915
27 | 2714801.7228 | 1279541.2916 | 2714788.828 | 1279540.4977 | 2714785.3954 | 1279540.0482
28 | 2714841.5624 | 1279580.649 | 2714890.0645 | 1279569.0064
29 | 2714965.498 | 1279548.9466 | 2714965.498 | 1279548.9466 | 2714956.7269 | 1279547.7775
30 | 2714890.0645 | 1279569.0064 | 2714893.1246 | 1279570.4738
31 | 2714905.7294 | 1279481.3772 | 2714898.5339 | 1279477.62
32 | 2714924.4806 | 1279565.2643 | 2714902.5636 | 1279574.9999 | 2714893.1246 | 1279570.4738
33 | 2714965.498 | 1279548.9466 | 2714977.1937 | 1279554.6403
34 | 2714869.3287 | 1279473.945 | 2714870.5272 | 1279473.8488 | 2714885.5837 | 1279474.7095 | 2714898.5339 | 1279477.62 | 2714898.5339 | 1279477.62
35 | 2714919.4145 | 1279715.4915 | 2714934.3716 | 1279723.2149
36 | 2714919.4145 | 1279715.4915 | 2714903.9923 | 1279707.5279
37 | 2714936.0219 | 1279724.0671 | 2714934.3716 | 1279723.2149
38 | 2714901.0644 | 1279706.016 | 2714903.9923 | 1279707.5279
39 | 2714936.0219 | 1279724.0671 | 2714952.1401 | 1279732.39
40 | 2714883.7284 | 1279697.0642 | 2714901.0644 | 1279706.016
41 | 2714963.4654 | 1279738.2381 | 2714952.1401 | 1279732.39
42 | 2714883.7284 | 1279697.0642 | 2714871.6024 | 1279690.8027
43 | 2714964.0434 | 1279751.3616 | 2714963.4654 | 1279738.2381
44 | 2714871.6024 | 1279690.8027 | 2714852.8015 | 1279681.0944
45 | 2714850.3645 | 1279679.836 | 2714852.8015 | 1279681.0944
46 | 2714850.3645 | 1279679.836 | 2714829.8529 | 1279669.2989
47 | 2714859.4335 | 1279635.0721 | 2714842.6842 | 1279630.0332
48 | 2714977.1937 | 1279554.6403 | 2714996.6179 | 1279564.0964
49 | 2715022.0446 | 1279576.4746 | 2714996.6179 | 1279564.0964
50 | 2715090.7287 | 1279459.8716 | 2715060.5237 | 1279449.6621
51 | 2715104.003 | 1279464.3584 | 2715090.7287 | 1279459.8716
52 | 2714795.8878 | 1279651.8506 | 2714829.8529 | 1279669.2989
53 | 2714842.6842 | 1279630.0332 | 2714835.7918 | 1279627.9597 | 2714791.1707 | 1279604.0177
54 | 2714785.3954 | 1279540.0482 | 2714764.3644 | 1279496.3328
55 | 2714819.3234 | 1279479.8982 | 2714801.4442 | 1279484.18 | 2714793.9382 | 1279486.6339
56 | 2714764.3644 | 1279496.3328 | 2714767.3159 | 1279495.3373 | 2714793.9382 | 1279486.6339
57 | 2714795.8878 | 1279651.8506 | 2714790.4003 | 1279649.0316
58 | 2714791.1707 | 1279604.0177 | 2714782.2423 | 1279599.227
59 | 2714964.0434 | 1279751.3616 | 2714959.1554 | 1279756.193 | 2714958.589 | 1279758.3447
60 | 2714776.615 | 1279641.9499 | 2714790.4003 | 1279649.0316
61 | 2714776.615 | 1279641.9499 | 2714763.1911 | 1279635.0539
62 | 2714763.1911 | 1279635.0539 | 2714756.3094 | 1279631.5186
63 | 2714764.1641 | 1279589.5269 | 2714782.2423 | 1279599.227
64 | 2714764.3644 | 1279496.3328 | 2714758.1936 | 1279498.4142
65 | 2714734.301 | 1279499.6871 | 2714743.1767 | 1279501.718 | 2714749.5789 | 1279501.3199 | 2714758.1936 | 1279498.4142
66 | 2714718.398 | 1279612.2039 | 2714736.0743 | 1279621.1604
67 | 2714752.1526 | 1279629.3833 | 2714741.3176 | 1279623.8172 | 2714736.0743 | 1279621.1604
68 | 2714718.398 | 1279612.2039 | 2714682.113 | 1279593.8184
69 | 2714752.1526 | 1279629.3833 | 2714756.3094 | 1279631.5186
70 | 2715022.0446 | 1279576.4746 | 2715083.1477 | 1279580.3479
71 | 2715083.1477 | 1279580.3479 | 2715098.4432 | 1279497.0246
72 | 2715098.4432 | 1279497.0246 | 2715104.003 | 1279464.3584
73 | 2715104.003 | 1279464.3584 | 2715122.3448 | 1279455.5507
74 | 2715143.2585 | 1279445.5079 | 2715122.3448 | 1279455.5507
75 | 2715152.542 | 1279441.0499 | 2715143.2585 | 1279445.5079

## bus_geodata
| x | y | coords
0 | 2715005.7351 | 1279616.4506
1 | 2714982.1278 | 1279601.7353
2 | 2715026.8643 | 1279629.6213
3 | 2714955.1033 | 1279576.8254
4 | 2715056.2447 | 1279644.9237
5 | 2714932.8679 | 1279673.6662
6 | 2714914.6553 | 1279664.9548
7 | 2714951.1344 | 1279569.1965
8 | 2714935.9205 | 1279607.6246
9 | 2714935.8373 | 1279589.9287
10 | 2714948.6814 | 1279562.4425
11 | 2714880.323 | 1279622.7554
12 | 2714871.7249 | 1279640.5934
13 | 2714986.0787 | 1279749.9159
14 | 2715015.8721 | 1279765.7897
15 | 2714968.8021 | 1279740.9941
16 | 2714931.1068 | 1279503.5759
17 | 2714942.5102 | 1279524.3251
18 | 2714925.4544 | 1279497.2982
19 | 2714946.4753 | 1279548.4198
20 | 2714914.9443 | 1279487.3193
21 | 2714821.1871 | 1279543.2915
22 | 2714801.7228 | 1279541.2916
23 | 2714841.5624 | 1279580.649
24 | 2714956.7269 | 1279547.7775
25 | 2714890.0645 | 1279569.0064
26 | 2714905.7294 | 1279481.3772
27 | 2714924.4806 | 1279565.2643
28 | 2714965.498 | 1279548.9466
29 | 2714898.5339 | 1279477.62
30 | 2714919.4145 | 1279715.4915
31 | 2714934.3716 | 1279723.2149
32 | 2714903.9923 | 1279707.5279
33 | 2714936.0219 | 1279724.0671
34 | 2714901.0644 | 1279706.016
35 | 2714952.1401 | 1279732.39
36 | 2714883.7284 | 1279697.0642
37 | 2714963.4654 | 1279738.2381
38 | 2714871.6024 | 1279690.8027
39 | 2714850.3645 | 1279679.836
40 | 2714859.4335 | 1279635.0721
41 | 2714893.1246 | 1279570.4738
42 | 2714977.1937 | 1279554.6403
43 | 2714996.6179 | 1279564.0964
44 | 2715060.5237 | 1279449.6622
45 | 2715090.7287 | 1279459.8716
46 | 2714852.8015 | 1279681.0944
47 | 2714829.8529 | 1279669.2989
48 | 2714842.6842 | 1279630.0332
49 | 2714785.3954 | 1279540.0482
50 | 2714819.3234 | 1279479.8982
51 | 2714793.9382 | 1279486.6339
52 | 2714869.3287 | 1279473.945
53 | 2714795.8878 | 1279651.8506
54 | 2714791.1707 | 1279604.0177
55 | 2714964.0434 | 1279751.3616
56 | 2714958.589 | 1279758.3447
57 | 2714790.4003 | 1279649.0316
58 | 2714776.615 | 1279641.9499
59 | 2714763.1911 | 1279635.0539
60 | 2714782.2423 | 1279599.227
61 | 2714764.1641 | 1279589.5269
62 | 2714764.3644 | 1279496.3328
63 | 2714758.1936 | 1279498.4142
64 | 2714734.301 | 1279499.6871
65 | 2714736.0743 | 1279621.1604
66 | 2714718.398 | 1279612.2039
67 | 2714752.1526 | 1279629.3833
68 | 2714682.113 | 1279593.8184
69 | 2714756.3094 | 1279631.5186
70 | 2715022.0446 | 1279576.4746
71 | 2715083.1477 | 1279580.3479
72 | 2715098.4432 | 1279497.0246
73 | 2715104.003 | 1279464.3584
74 | 2715122.3448 | 1279455.5507
75 | 2715143.2585 | 1279445.5079
76 | 2715152.542 | 1279441.0499
77 | 2714924.4806 | 1279565.2643

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1