## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4864-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4864-2_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4864-2_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4864-2_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4864-2_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4864-2_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4864-2_0_5_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_4864-2_0_5_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_4864-2_0_5_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_4864-2_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4864-2_0_5_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_4864-2_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4864-2_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4864-2_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4864-2_0_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_4864-2_0_5_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_4864-2_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4864-2_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4864-2_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4864-2_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4864-2_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4864-2_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_4864-2_0_5_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_4864-2_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4864-2_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4864-2_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4864-2_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4864-2_0_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_4864-2_0_5_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_4864-2_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4864-2_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4864-2_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4864-2_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4864-2_0_5_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_4864-2_0_5_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_4864-2_0_5_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_4864-2_0_5_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_4864-2_0_5_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_4864-2_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4864-2_0_5_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_4864-2_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_4864-2_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4864-2_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4864-2_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4864-2_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4864-2_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4864-2_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_4864-2_0_5_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_4864-2_0_5_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_4864-2_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4864-2_0_5_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_4864-2_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4864-2_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4864-2_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4864-2_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4864-2_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4864-2_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4864-2_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4864-2_0_5_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_4864-2_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4864-2_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4864-2_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4864-2_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_4864-2_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4864-2_0_5_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_4864-2_0_5_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_4864-2_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4864-2_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4864-2_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4864-2_0_5_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4864-2_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_4864-2_0_5_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_4864-2_0_5_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_4864-2_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4864-2_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_4864-2_0_5_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_4864-2_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4864-2_0_5_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4864-2_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4864-2_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_4864-2_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4864-2_0_5_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_4864-2_0_5_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4864-2_0_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_4864-2_0_5_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_4864-2_0_5_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_439_1_node_256 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4864-2_0_5_load_0 | 0 | 0.0058834 | 0.0014745 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4864-2_0_5_load_4 | 2 | 0.0029901 | 0.0007494 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4864-2_0_5_load_5 | 3 | 0.00092462 | 0.00023173 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4864-2_0_5_load_13 | 5 | 0.0017957 | 0.00045004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4864-2_0_5_load_75 | 7 | 0.0037261 | 0.00093385 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4864-2_0_5_load_31 | 8 | 0.001287 | 0.00032254 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4864-2_0_5_load_12 | 9 | 0.0023636 | 0.00059238 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4864-2_0_5_load_82 | 10 | 0.001015 | 0.00025438 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4864-2_0_5_load_6 | 12 | 0.015598 | 0.0039092 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4864-2_0_5_load_32 | 14 | 0.0032736 | 0.00082043 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4864-2_0_5_load_72 | 15 | 0.0014738 | 0.00036937 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4864-2_0_5_load_10 | 16 | 0.0017248 | 0.00043227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4864-2_0_5_load_11 | 17 | 0.002105 | 0.00052757 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4864-2_0_5_load_14 | 18 | 0.0024709 | 0.00061928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4864-2_0_5_load_15 | 19 | 0.0024102 | 0.00060404 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4864-2_0_5_load_16 | 20 | 0.0022757 | 0.00057033 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4864-2_0_5_load_39 | 21 | 0.0025351 | 0.00063535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4864-2_0_5_load_17 | 23 | 0.0036628 | 0.00091799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4864-2_0_5_load_18 | 24 | 0.0033551 | 0.00084088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4864-2_0_5_load_19 | 25 | 0.0092668 | 0.0023225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4864-2_0_5_load_20 | 26 | 0.0034452 | 0.00086344 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4864-2_0_5_load_71 | 27 | 0.0020634 | 0.00051714 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4864-2_0_5_load_70 | 28 | 0.0045299 | 0.0011353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4864-2_0_5_load_21 | 29 | 0.0019614 | 0.00049157 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4864-2_0_5_load_80 | 33 | 0.00093899 | 0.00023533 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4864-2_0_5_load_68 | 34 | 0.0016815 | 0.00042142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4864-2_0_5_load_49 | 35 | 0.00063717 | 0.00015969 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4864-2_0_5_load_47 | 36 | 0.0010397 | 0.00026057 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4864-2_0_5_load_83 | 37 | 0.0027886 | 0.00069889 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4864-2_0_5_load_36 | 38 | 0.0074268 | 0.0018613 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4864-2_0_5_load_53 | 39 | 0.006677 | 0.0016734 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4864-2_0_5_load_26 | 41 | 0.0027387 | 0.00068638 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4864-2_0_5_load_27 | 42 | 0.0066623 | 0.0016697 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4864-2_0_5_load_28 | 43 | 0.0019532 | 0.00048951 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4864-2_0_5_load_29 | 44 | 0.0038711 | 0.00097018 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4864-2_0_5_load_30 | 45 | 0.0027125 | 0.00067981 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4864-2_0_5_load_69 | 47 | 0.0020105 | 0.00050389 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4864-2_0_5_load_64 | 50 | 0.00202 | 0.00050626 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4864-2_0_5_load_33 | 51 | 0.00522 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4864-2_0_5_load_34 | 52 | 0.0099092 | 0.0024835 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4864-2_0_5_load_38 | 55 | 0.0050118 | 0.0012561 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4864-2_0_5_load_58 | 57 | 0.0083726 | 0.0020984 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4864-2_0_5_load_76 | 58 | 0.0059725 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4864-2_0_5_load_46 | 59 | 0.015869 | 0.0039771 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4864-2_0_5_load_40 | 60 | 0.0088499 | 0.002218 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4864-2_0_5_load_43 | 61 | 0.0021151 | 0.00053009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4864-2_0_5_load_87 | 64 | 0.014001 | 0.003509 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4864-2_0_5_load_79 | 65 | 0.0017119 | 0.00042905 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4864-2_0_5_load_56 | 66 | 0.0020852 | 0.00052259 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4864-2_0_5_load_59 | 67 | 0.010585 | 0.0026528 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4864-2_0_5_load_81 | 71 | 0.0027557 | 0.00069064 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4864-2_0_5_load_90 | 72 | 0.0010259 | 0.00025711 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4864-2_0_5_load_73 | 73 | 0.00054565 | 0.00013675 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4864-2_0_5_load_55 | 75 | 0.0020191 | 0.00050604 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4864-2_0_5_load_57 | 76 | 0.001745 | 0.00043735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4864-2_0_5_load_61 | 77 | 0.0036288 | 0.00090947 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4864-2_0_5_load_65 | 80 | 0.00083097 | 0.00020826 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4864-2_0_5_load_66 | 81 | 0.0015518 | 0.00038891 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4864-2_0_5_load_67 | 82 | 0.0055193 | 0.0013833 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4864-2_0_5_load_85 | 83 | 0.0019599 | 0.00049119 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4864-2_0_5_load_84 | 84 | 0.00031354 | 7.858e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4864-2_0_5_load_86 | 85 | 0.00041674 | 0.00010445 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4864-2_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4864-2_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0062019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4864-2_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4864-2_0_5_line_3 | NAYY 4x150 SE | 2 | 8 | 0.0032989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4864-2_0_5_line_4 | NAYY 4x150 SE | 3 | 7 | 0.015769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4864-2_0_5_line_5 | NAYY 4x150 SE | 4 | 5 | 0.029843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4864-2_0_5_line_6 | NAYY 4x150 SE | 4 | 6 | 0.097567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4864-2_0_5_line_7 | NAYY 4x150 SE | 4 | 7 | 0.037993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4864-2_0_5_line_8 | NAYY 4x150 SE | 5 | 9 | 0.084721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4864-2_0_5_line_9 | NAYY 4x150 SE | 6 | 10 | 0.033877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4864-2_0_5_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4864-2_0_5_line_11 | NAYY 4x150 SE | 9 | 16 | 0.025176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4864-2_0_5_line_12 | NAYY 4x150 SE | 10 | 71 | 0.058856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4864-2_0_5_line_13 | NAYY 4x150 SE | 11 | 14 | 0.028864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4864-2_0_5_line_14 | NAYY 4x150 SE | 11 | 13 | 0.009978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4864-2_0_5_line_15 | NAYY 4x150 SE | 12 | 13 | 0.050844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4864-2_0_5_line_16 | NAYY 4x150 SE | 14 | 15 | 0.00089439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4864-2_0_5_line_17 | NAYY 4x150 SE | 15 | 50 | 0.017315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4864-2_0_5_line_18 | NAYY 4x150 SE | 16 | 17 | 0.036429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4864-2_0_5_line_19 | NAYY 4x150 SE | 18 | 19 | 0.00038914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4864-2_0_5_line_20 | NAYY 4x150 SE | 19 | 20 | 0.021681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4864-2_0_5_line_21 | NAYY 4x150 SE | 20 | 21 | 0.016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4864-2_0_5_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0074858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4864-2_0_5_line_23 | NAYY 4x150 SE | 22 | 62 | 0.059973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4864-2_0_5_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0066751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4864-2_0_5_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0015791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4864-2_0_5_line_26 | NAYY 4x150 SE | 24 | 26 | 0.013454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4864-2_0_5_line_27 | NAYY 4x150 SE | 26 | 27 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4864-2_0_5_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0075861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4864-2_0_5_line_29 | NAYY 4x150 SE | 28 | 47 | 0.013014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4864-2_0_5_line_30 | NAYY 4x150 SE | 29 | 30 | 0.026407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4864-2_0_5_line_31 | NAYY 4x150 SE | 30 | 31 | 0.070412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4864-2_0_5_line_32 | NAYY 4x150 SE | 31 | 35 | 0.013362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4864-2_0_5_line_33 | NAYY 4x150 SE | 31 | 36 | 0.038533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4864-2_0_5_line_34 | NAYY 4x150 SE | 32 | 33 | 0.046972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4864-2_0_5_line_35 | NAYY 4x150 SE | 32 | 34 | 0.021002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4864-2_0_5_line_36 | NAYY 4x150 SE | 33 | 37 | 0.017971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4864-2_0_5_line_37 | NAYY 4x150 SE | 34 | 38 | 0.034755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4864-2_0_5_line_38 | NAYY 4x150 SE | 35 | 39 | 0.038809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4864-2_0_5_line_39 | NAYY 4x150 SE | 36 | 40 | 0.0054533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4864-2_0_5_line_40 | NAYY 4x150 SE | 38 | 52 | 0.005079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4864-2_0_5_line_41 | NAYY 4x150 SE | 39 | 74 | 0.017688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4864-2_0_5_line_42 | NAYY 4x150 SE | 40 | 68 | 0.011831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_4864-2_0_5_line_43 | NAYY 4x150 SE | 40 | 69 | 0.015939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4864-2_0_5_line_44 | NAYY 4x150 SE | 41 | 42 | 0.010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4864-2_0_5_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0083257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4864-2_0_5_line_46 | NAYY 4x150 SE | 42 | 44 | 0.013186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4864-2_0_5_line_47 | NAYY 4x150 SE | 43 | 45 | 0.0077642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4864-2_0_5_line_48 | NAYY 4x150 SE | 44 | 46 | 0.018288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4864-2_0_5_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0094485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4864-2_0_5_line_50 | NAYY 4x150 SE | 46 | 48 | 0.008885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4864-2_0_5_line_51 | NAYY 4x150 SE | 46 | 49 | 0.083769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4864-2_0_5_line_52 | NAYY 4x150 SE | 48 | 65 | 0.024505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4864-2_0_5_line_53 | NAYY 4x150 SE | 48 | 66 | 0.043822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_4864-2_0_5_line_54 | NAYY 4x150 SE | 49 | 61 | 0.049678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4864-2_0_5_line_55 | NAYY 4x150 SE | 49 | 63 | 0.04833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4864-2_0_5_line_56 | NAYY 4x150 SE | 50 | 78 | 0.0094476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4864-2_0_5_line_57 | NAYY 4x150 SE | 51 | 52 | 0.032392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4864-2_0_5_line_58 | NAYY 4x150 SE | 51 | 53 | 0.0053262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4864-2_0_5_line_59 | NAYY 4x150 SE | 53 | 54 | 0.029492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4864-2_0_5_line_60 | NAYY 4x150 SE | 53 | 55 | 0.017472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4864-2_0_5_line_61 | NAYY 4x150 SE | 54 | 56 | 0.024287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4864-2_0_5_line_62 | NAYY 4x150 SE | 54 | 57 | 0.00085541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4864-2_0_5_line_63 | NAYY 4x150 SE | 55 | 58 | 0.028992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4864-2_0_5_line_64 | NAYY 4x150 SE | 56 | 59 | 0.010141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4864-2_0_5_line_65 | NAYY 4x150 SE | 56 | 60 | 0.019692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4864-2_0_5_line_66 | NAYY 4x150 SE | 58 | 61 | 0.005822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4864-2_0_5_line_67 | NAYY 4x150 SE | 59 | 62 | 0.028325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4864-2_0_5_line_68 | NAYY 4x150 SE | 62 | 67 | 0.017283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4864-2_0_5_line_69 | NAYY 4x150 SE | 63 | 64 | 0.10668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4864-2_0_5_line_70 | NAYY 4x150 SE | 65 | 83 | 0.014814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4864-2_0_5_line_71 | NAYY 4x150 SE | 66 | 74 | 0.0043334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_4864-2_0_5_line_72 | NAYY 4x150 SE | 68 | 70 | 0.046402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4864-2_0_5_line_73 | NAYY 4x150 SE | 68 | 71 | 0.029521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4864-2_0_5_line_74 | NAYY 4x150 SE | 69 | 72 | 0.02173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4864-2_0_5_line_75 | NAYY 4x150 SE | 70 | 73 | 0.030312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4864-2_0_5_line_76 | NAYY 4x150 SE | 74 | 75 | 0.024479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4864-2_0_5_line_77 | NAYY 4x150 SE | 75 | 76 | 0.024412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4864-2_0_5_line_78 | NAYY 4x150 SE | 77 | 78 | 0.012715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4864-2_0_5_line_79 | NAYY 4x150 SE | 77 | 79 | 0.039605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4864-2_0_5_line_80 | NAYY 4x150 SE | 78 | 80 | 0.022772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4864-2_0_5_line_81 | NAYY 4x150 SE | 79 | 81 | 0.038126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4864-2_0_5_line_82 | NAYY 4x150 SE | 79 | 82 | 0.035893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4864-2_0_5_line_83 | NAYY 4x150 SE | 83 | 84 | 0.01836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4864-2_0_5_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0070551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4864-2_0_5_trafo_45 | 0.25 MVA 20/0.4 kV | 86 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2715359.0115 | 1280189.6259 | 2715362.9796 | 1280158.3757
1 | 2715359.0115 | 1280189.6259 | 2715363.4786 | 1280193.9281
2 | 2715359.0115 | 1280189.6259 | 2715348.9648 | 1280179.9552
3 | 2715363.4786 | 1280193.9281 | 2715365.1763 | 1280195.5631 | 2715365.9041 | 1280196.161
4 | 2715339.0964 | 1280167.6617 | 2715348.5622 | 1280179.5677 | 2715348.9648 | 1280179.9552
5 | 2715317.5665 | 1280136.3769 | 2715300.4141 | 1280136.7418 | 2715287.7294 | 1280136.9799
6 | 2715279.0187 | 1280051.3664 | 2715275.1301 | 1280053.5034 | 2715301.9113 | 1280107.455 | 2715306.4795 | 1280116.664 | 2715311.6127 | 1280125.795 | 2715317.5665 | 1280136.3769
7 | 2715317.5665 | 1280136.3769 | 2715335.5834 | 1280163.2431 | 2715339.0964 | 1280167.6617
8 | 2715203.8079 | 1280126.984 | 2715206.3663 | 1280126.9614 | 2715227.1142 | 1280128.3125 | 2715247.5116 | 1280131.058 | 2715273.4794 | 1280136.3371 | 2715280.9776 | 1280137.1066 | 2715287.7294 | 1280136.9799
9 | 2715279.0187 | 1280051.3664 | 2715263.6525 | 1280021.1753
10 | 2715382.6377 | 1280209.3398 | 2715376.3121 | 1280204.7117 | 2715365.9041 | 1280196.161
11 | 2715178.6436 | 1280127.3204 | 2715179.3064 | 1280127.1998 | 2715203.8079 | 1280126.984
12 | 2715236.9906 | 1279968.705 | 2715260.9232 | 1280015.8129 | 2715263.6525 | 1280021.1753
13 | 2715382.6377 | 1280209.3398 | 2715368.4501 | 1280234.4766
14 | 2715390.7039 | 1280215.2475 | 2715382.6377 | 1280209.3398
15 | 2715390.7039 | 1280215.2475 | 2715406.4335 | 1280226.5214 | 2715421.8406 | 1280236.2319 | 2715433.6058 | 1280242.3902
16 | 2715368.4501 | 1280234.4766 | 2715368.0105 | 1280235.2555
17 | 2715368.0105 | 1280235.2555 | 2715366.5887 | 1280237.7745 | 2715358.7659 | 1280249.8916
18 | 2715178.6436 | 1280127.3204 | 2715165.3496 | 1280129.7407 | 2715154.3529 | 1280135.7538 | 2715149.6606 | 1280145.0167
19 | 2715422.7163 | 1279749.1516 | 2715422.4898 | 1279748.8351
20 | 2715422.7163 | 1279749.1516 | 2715435.3348 | 1279766.7822
21 | 2715435.3348 | 1279766.7822 | 2715436.5856 | 1279768.5298 | 2715438.4716 | 1279769.6788 | 2715441.0929 | 1279769.7302 | 2715442.9228 | 1279768.754 | 2715449.0758 | 1279764.9202
22 | 2715455.8234 | 1279761.8779 | 2715452.6137 | 1279762.7159 | 2715449.0758 | 1279764.9202
23 | 2715455.8234 | 1279761.8779 | 2715454.8378 | 1279785.336 | 2715455.6783 | 1279821.8197
24 | 2715327.74 | 1279871.8306 | 2715324.3963 | 1279866.0533
25 | 2715323.6053 | 1279864.6867 | 2715324.3963 | 1279866.0533
26 | 2715334.4795 | 1279883.4751 | 2715327.74 | 1279871.8306
27 | 2715334.4795 | 1279883.4751 | 2715341.731 | 1279896.0044
28 | 2715345.531 | 1279902.5701 | 2715341.731 | 1279896.0044
29 | 2715352.05 | 1279913.8337 | 2715345.531 | 1279902.5701
30 | 2715229.3756 | 1279877.8237 | 2715246.5854 | 1279857.7953
31 | 2715229.3756 | 1279877.8237 | 2715261.0064 | 1279923.6066 | 2715263.0982 | 1279930.3649 | 2715262.2413 | 1279938.0664
32 | 2715262.2413 | 1279938.0664 | 2715274.7233 | 1279942.8341
33 | 2715262.2413 | 1279938.0664 | 2715249.6644 | 1279932.6489 | 2715235.9002 | 1279928.009 | 2715225.6264 | 1279928.9202
34 | 2715342.6469 | 1279794.3381 | 2715368.5389 | 1279774.7819 | 2715370.975 | 1279773.9287 | 2715373.9007 | 1279773.7858 | 2715376.2078 | 1279774.5317 | 2715378.3007 | 1279775.4735 | 2715380.8181 | 1279778.9528
35 | 2715342.6469 | 1279794.3381 | 2715355.1481 | 1279811.2147
36 | 2715391.352 | 1279793.5122 | 2715380.8181 | 1279778.9528
37 | 2715375.8349 | 1279839.1419 | 2715355.1481 | 1279811.2147
38 | 2715310.9773 | 1279956.6816 | 2715274.7233 | 1279942.8341
39 | 2715220.5675 | 1279930.9566 | 2715225.6264 | 1279928.9202
40 | 2715378.8581 | 1279843.2232 | 2715375.8349 | 1279839.1419
41 | 2715327.6079 | 1279962.6894 | 2715321.4709 | 1279960.6898 | 2715310.9773 | 1279956.6816
42 | 2715223.6047 | 1279942.3932 | 2715222.738 | 1279939.0732 | 2715220.5675 | 1279930.9566
43 | 2715212.4662 | 1279939.8844 | 2715216.8211 | 1279937.3449 | 2715214.6833 | 1279933.3216 | 2715220.5675 | 1279930.9566
44 | 2715369.3714 | 1279945.3979 | 2715364.4462 | 1279936.1573
45 | 2715360.5302 | 1279928.81 | 2715364.4462 | 1279936.1573
46 | 2715375.5734 | 1279957.0342 | 2715369.3714 | 1279945.3979
47 | 2715356.7829 | 1279922.0113 | 2715358.3453 | 1279924.7108 | 2715360.5302 | 1279928.81
48 | 2715383.4393 | 1279973.5026 | 2715381.4134 | 1279967.9912 | 2715375.5734 | 1279957.0342
49 | 2715352.05 | 1279913.8337 | 2715356.7829 | 1279922.0113
50 | 2715383.4393 | 1279973.5026 | 2715374.5576 | 1279972.7726
51 | 2715383.4393 | 1279973.5026 | 2715407.1299 | 1279976.1575 | 2715426.3042 | 1279976.1661 | 2715445.7419 | 1279974.2336 | 2715454.2451 | 1279972.4206 | 2715455.1736 | 1279959.9272
52 | 2715374.5576 | 1279972.7726 | 2715373.9499 | 1279979.6338 | 2715372.4931 | 1279987.2679 | 2715369.1736 | 1279990.2613 | 2715364.5059 | 1279992.9266
53 | 2715374.5576 | 1279972.7726 | 2715357.0824 | 1279970.7956 | 2715331.7862 | 1279963.8385
54 | 2715455.1736 | 1279959.9272 | 2715448.8585 | 1279953.2195 | 2715426.9677 | 1279919.1862
55 | 2715455.1736 | 1279959.9272 | 2715454.2451 | 1279972.4206 | 2715463.5682 | 1279978.9982 | 2715475.1194 | 1279991.8808 | 2715479.8546 | 1279997.1562
56 | 2715353.6416 | 1280257.8288 | 2715358.7659 | 1280249.8916
57 | 2715396.8933 | 1279870.1108 | 2715384.9284 | 1279851.4182 | 2715378.8581 | 1279843.2232
58 | 2715399.7647 | 1279874.5967 | 2715396.8933 | 1279870.1108
59 | 2715399.7647 | 1279874.5967 | 2715423.9676 | 1279857.6434
60 | 2715399.7647 | 1279874.5967 | 2715404.7449 | 1279884.6368 | 2715408.1341 | 1279889.9058
61 | 2715423.9676 | 1279857.6434 | 2715425.8809 | 1279860.4613 | 2715429.3772 | 1279861.4862 | 2715433.7577 | 1279860.7157 | 2715441.7349 | 1279858.9146 | 2715446.4038 | 1279859.1506
62 | 2715424.6682 | 1279857.1527 | 2715423.9676 | 1279857.6434
63 | 2715423.8181 | 1279914.2897 | 2715408.1341 | 1279889.9058
64 | 2715446.4038 | 1279859.1506 | 2715448.8488 | 1279849.3092
65 | 2715446.4038 | 1279859.1506 | 2715444.2808 | 1279866.6494 | 2715446.3227 | 1279878.3713
66 | 2715423.8181 | 1279914.2897 | 2715426.9677 | 1279919.1862
67 | 2715455.6783 | 1279821.8197 | 2715448.8488 | 1279849.3092
68 | 2715455.6783 | 1279821.8197 | 2715442.4285 | 1279821.2153 | 2715438.4769 | 1279821.9498
69 | 2715479.8546 | 1279997.1562 | 2715481.2222 | 1279998.6844 | 2715484.5995 | 1280002.7098 | 2715490.792 | 1280016.822 | 2715496.3687 | 1280025.9285 | 2715501.7051 | 1280032.3501 | 2715513.5498 | 1280044.816 | 2715548.2752 | 1280077.5757
70 | 2715351.641 | 1280000.2724 | 2715364.5059 | 1279992.9266
71 | 2715327.6079 | 1279962.6894 | 2715331.7862 | 1279963.8385
72 | 2715223.6047 | 1279942.3932 | 2715220.3642 | 1279944.0426 | 2715239.5273 | 1279982.2747
73 | 2715223.6047 | 1279942.3932 | 2715231.904 | 1279958.6928 | 2715236.9906 | 1279968.705
74 | 2715212.4662 | 1279939.8844 | 2715193.6885 | 1279950.8194
75 | 2715239.5273 | 1279982.2747 | 2715210.6139 | 1279991.3773
76 | 2715327.6079 | 1279962.6894 | 2715326.938 | 1279958.528 | 2715320.3783 | 1279939.3549
77 | 2715320.3783 | 1279939.3549 | 2715314.7069 | 1279922.7778 | 2715311.5362 | 1279916.6586
78 | 2715353.6416 | 1280257.8288 | 2715342.3448 | 1280251.9943
79 | 2715309.4759 | 1280235.7445 | 2715317.8774 | 1280239.1119 | 2715333.7298 | 1280240.2785 | 2715341.4211 | 1280251.5172 | 2715342.3448 | 1280251.9943
80 | 2715353.6416 | 1280257.8288 | 2715344.4361 | 1280278.657
81 | 2715309.4759 | 1280235.7445 | 2715288.7886 | 1280203.6768
82 | 2715309.4759 | 1280235.7445 | 2715306.9509 | 1280236.9296 | 2715297.2371 | 1280238.4299 | 2715288.6622 | 1280240.8534 | 2715284.3731 | 1280238.1226 | 2715278.2991 | 1280230.9972
83 | 2715335.6975 | 1280009.3761 | 2715351.641 | 1280000.2724
84 | 2715329.5708 | 1280012.8745 | 2715335.6975 | 1280009.3761

## bus_geodata
| x | y | coords
0 | 2715362.9796 | 1280158.3757
1 | 2715359.0115 | 1280189.6259
2 | 2715363.4786 | 1280193.9281
3 | 2715348.9648 | 1280179.9552
4 | 2715317.5665 | 1280136.3769
5 | 2715287.7294 | 1280136.9799
6 | 2715279.0187 | 1280051.3664
7 | 2715339.0964 | 1280167.6617
8 | 2715365.9041 | 1280196.161
9 | 2715203.8079 | 1280126.984
10 | 2715263.6525 | 1280021.1753
11 | 2715382.6377 | 1280209.3398
12 | 2715433.6058 | 1280242.3902
13 | 2715390.7039 | 1280215.2475
14 | 2715368.4501 | 1280234.4766
15 | 2715368.0105 | 1280235.2555
16 | 2715178.6436 | 1280127.3204
17 | 2715149.6606 | 1280145.0167
18 | 2715422.4898 | 1279748.8351
19 | 2715422.7163 | 1279749.1516
20 | 2715435.3348 | 1279766.7822
21 | 2715449.0758 | 1279764.9202
22 | 2715455.8234 | 1279761.8779
23 | 2715324.3963 | 1279866.0533
24 | 2715327.74 | 1279871.8306
25 | 2715323.6053 | 1279864.6867
26 | 2715334.4795 | 1279883.4751
27 | 2715341.731 | 1279896.0044
28 | 2715345.531 | 1279902.5701
29 | 2715246.5854 | 1279857.7953
30 | 2715229.3756 | 1279877.8237
31 | 2715262.2413 | 1279938.0664
32 | 2715342.6469 | 1279794.3381
33 | 2715380.8181 | 1279778.9528
34 | 2715355.1481 | 1279811.2147
35 | 2715274.7233 | 1279942.8341
36 | 2715225.6264 | 1279928.9202
37 | 2715391.352 | 1279793.5122
38 | 2715375.8349 | 1279839.1419
39 | 2715310.9773 | 1279956.6816
40 | 2715220.5675 | 1279930.9566
41 | 2715364.4462 | 1279936.1573
42 | 2715369.3714 | 1279945.3979
43 | 2715360.5302 | 1279928.81
44 | 2715375.5734 | 1279957.0342
45 | 2715356.7829 | 1279922.0113
46 | 2715383.4393 | 1279973.5026
47 | 2715352.05 | 1279913.8337
48 | 2715374.5576 | 1279972.7726
49 | 2715455.1736 | 1279959.9272
50 | 2715358.7659 | 1280249.8916
51 | 2715396.8933 | 1279870.1108
52 | 2715378.8581 | 1279843.2232
53 | 2715399.7647 | 1279874.5967
54 | 2715423.9676 | 1279857.6434
55 | 2715408.1341 | 1279889.9058
56 | 2715446.4038 | 1279859.1506
57 | 2715424.6682 | 1279857.1527
58 | 2715423.8181 | 1279914.2897
59 | 2715448.8488 | 1279849.3092
60 | 2715446.3227 | 1279878.3713
61 | 2715426.9677 | 1279919.1862
62 | 2715455.6783 | 1279821.8197
63 | 2715479.8546 | 1279997.1562
64 | 2715548.2752 | 1280077.5757
65 | 2715364.5059 | 1279992.9266
66 | 2715331.7862 | 1279963.8385
67 | 2715438.4769 | 1279821.9498
68 | 2715223.6047 | 1279942.3932
69 | 2715212.4662 | 1279939.8844
70 | 2715239.5273 | 1279982.2747
71 | 2715236.9906 | 1279968.705
72 | 2715193.6885 | 1279950.8194
73 | 2715210.6139 | 1279991.3773
74 | 2715327.6079 | 1279962.6894
75 | 2715320.3783 | 1279939.3549
76 | 2715311.5362 | 1279916.6586
77 | 2715342.3448 | 1280251.9943
78 | 2715353.6416 | 1280257.8288
79 | 2715309.4759 | 1280235.7445
80 | 2715344.4361 | 1280278.657
81 | 2715288.7886 | 1280203.6768
82 | 2715278.2991 | 1280230.9972
83 | 2715351.641 | 1280000.2724
84 | 2715335.6975 | 1280009.3761
85 | 2715329.5708 | 1280012.8745
86 | 2715374.5576 | 1279972.7726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1