## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4864-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4864-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4864-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4864-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4864-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4864-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4864-9_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_4864-9_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4864-9_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4864-9_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4864-9_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4864-9_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4864-9_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4864-9_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_4864-9_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_4864-9_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4864-9_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4864-9_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4864-9_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4864-9_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4864-9_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_4864-9_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4864-9_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4864-9_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4864-9_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4864-9_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4864-9_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4864-9_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_4864-9_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4864-9_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_4864-9_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4864-9_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4864-9_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4864-9_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4864-9_0_4_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_4864-9_0_4_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_4864-9_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4864-9_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4864-9_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_4864-9_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4864-9_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4864-9_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_4864-9_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_4864-9_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_4864-9_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_4864-9_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_4864-9_0_4_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_4864-9_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_4864-9_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_4864-9_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_4864-9_0_4_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_4864-9_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_4864-9_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4864-9_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4864-9_0_4_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_4864-9_0_4_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_4864-9_0_4_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_4864-9_0_4_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_4864-9_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4864-9_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4864-9_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_4864-9_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4864-9_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_4864-9_0_4_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_4864-9_0_4_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_4864-9_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4864-9_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4864-9_0_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_4864-9_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_4864-9_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_4864-9_0_4_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_4864-9_0_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_4864-9_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4864-9_0_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_4864-9_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_4864-9_0_4_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_4864-9_0_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_4864-9_0_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_4864-9_0_4_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_4864-9_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4864-9_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4864-9_0_4_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4864-9_0_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4864-9_0_4_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_4864-9_0_4_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4864-9_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4864-9_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4864-9_0_4_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_4864-9_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4864-9_0_4_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4864-9_0_4_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_4864-9_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_4864-9_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_4864-9_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4864-9_0_4_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_4864-9_0_4_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_4864-9_0_4_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_4864-9_0_4_node_101 | 0.4 | n |  | TRUE
98 | bus_MV_439_1_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4864-9_0_4_load_0 | 0 | 0.010136 | 0.0025402 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4864-9_0_4_load_1 | 1 | 0.0023296 | 0.00058386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4864-9_0_4_load_2 | 2 | 0.0036269 | 0.00090899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4864-9_0_4_load_3 | 3 | 0.0020717 | 0.00051922 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4864-9_0_4_load_4 | 4 | 0.0028857 | 0.00072322 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4864-9_0_4_load_5 | 5 | 0.0016213 | 0.00040634 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4864-9_0_4_load_23 | 6 | 0.0030184 | 0.00075648 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4864-9_0_4_load_6 | 7 | 0.0031149 | 0.00078066 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4864-9_0_4_load_7 | 9 | 0.002013 | 0.00050451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4864-9_0_4_load_8 | 10 | 0.0026997 | 0.00067662 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4864-9_0_4_load_10 | 12 | 0.0024017 | 0.00060192 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4864-9_0_4_load_38 | 13 | 0.0040061 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4864-9_0_4_load_39 | 14 | 0.0027193 | 0.00068152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4864-9_0_4_load_12 | 15 | 0.0049196 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4864-9_0_4_load_13 | 16 | 0.0037618 | 0.0009428 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4864-9_0_4_load_14 | 17 | 0.0021038 | 0.00052727 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4864-9_0_4_load_15 | 18 | 0.0033184 | 0.00083166 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4864-9_0_4_load_30 | 20 | 0.0022232 | 0.00055719 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4864-9_0_4_load_20 | 21 | 0.0039311 | 0.00098522 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4864-9_0_4_load_18 | 22 | 0.0021926 | 0.00054951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4864-9_0_4_load_17 | 23 | 0.0040393 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4864-9_0_4_load_21 | 24 | 0.0035463 | 0.00088879 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4864-9_0_4_load_22 | 25 | 0.0019523 | 0.00048928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4864-9_0_4_load_24 | 26 | 0.0029916 | 0.00074977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4864-9_0_4_load_40 | 27 | 0.0019988 | 0.00050094 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4864-9_0_4_load_25 | 28 | 0.0025176 | 0.00063096 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4864-9_0_4_load_26 | 30 | 0.0018296 | 0.00045854 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4864-9_0_4_load_27 | 31 | 0.0051314 | 0.001286 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4864-9_0_4_load_28 | 32 | 0.0019291 | 0.00048348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4864-9_0_4_load_83 | 34 | 0.0019575 | 0.00049059 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4864-9_0_4_load_31 | 36 | 0.0013375 | 0.00033521 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4864-9_0_4_load_34 | 39 | 0.0091103 | 0.0022833 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4864-9_0_4_load_35 | 40 | 0.0040083 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4864-9_0_4_load_36 | 41 | 0.0017443 | 0.00043717 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4864-9_0_4_load_37 | 42 | 0.0018456 | 0.00046255 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4864-9_0_4_load_67 | 43 | 0.0025579 | 0.00064106 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4864-9_0_4_load_63 | 44 | 0.0017978 | 0.00045058 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4864-9_0_4_load_56 | 45 | 0.0030122 | 0.00075492 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4864-9_0_4_load_89 | 46 | 0.019619 | 0.0049169 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4864-9_0_4_load_68 | 47 | 0.0068162 | 0.0017083 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4864-9_0_4_load_42 | 48 | 0.0023383 | 0.00058604 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4864-9_0_4_load_57 | 49 | 0.0025519 | 0.00063957 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4864-9_0_4_load_88 | 50 | 0.001618 | 0.00040551 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4864-9_0_4_load_55 | 51 | 0.0035124 | 0.0008803 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4864-9_0_4_load_44 | 52 | 0.0022136 | 0.00055478 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4864-9_0_4_load_43 | 53 | 0.0024666 | 0.00061818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4864-9_0_4_load_96 | 54 | 0.001841 | 0.00046139 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4864-9_0_4_load_97 | 55 | 0.0015219 | 0.00038144 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4864-9_0_4_load_94 | 56 | 0.0020644 | 0.0005174 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4864-9_0_4_load_98 | 57 | 0.0020216 | 0.00050667 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4864-9_0_4_load_45 | 58 | 0.0014811 | 0.00037119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4864-9_0_4_load_46 | 59 | 0.0003065 | 7.6816e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4864-9_0_4_load_48 | 61 | 0.0014253 | 0.00035722 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4864-9_0_4_load_49 | 62 | 0.00026701 | 6.6919e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4864-9_0_4_load_81 | 63 | 0.0012484 | 0.00031287 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4864-9_0_4_load_100 | 67 | 0.0014584 | 0.0003655 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4864-9_0_4_load_77 | 68 | 0.0018945 | 0.00047481 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4864-9_0_4_load_84 | 71 | 0.0041372 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4864-9_0_4_load_86 | 73 | 0.0025697 | 0.00064403 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4864-9_0_4_load_82 | 74 | 0.00097578 | 0.00024455 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4864-9_0_4_load_87 | 76 | 0.00054464 | 0.0001365 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4864-9_0_4_load_80 | 77 | 0.0015524 | 0.00038908 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4864-9_0_4_load_99 | 78 | 0.0026653 | 0.00066798 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4864-9_0_4_load_78 | 79 | 0.0012872 | 0.00032261 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4864-9_0_4_load_58 | 80 | 0.00081985 | 0.00020547 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4864-9_0_4_load_59 | 81 | 0.0010605 | 0.00026578 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4864-9_0_4_load_60 | 82 | 0.00078981 | 0.00019795 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4864-9_0_4_load_61 | 83 | 0.0055391 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4864-9_0_4_load_62 | 84 | 0.001449 | 0.00036315 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4864-9_0_4_load_64 | 85 | 0.0027112 | 0.00067948 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4864-9_0_4_load_72 | 86 | 0.00092186 | 0.00023104 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4864-9_0_4_load_65 | 87 | 0.0018178 | 0.00045559 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4864-9_0_4_load_90 | 90 | 0.0014063 | 0.00035245 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4864-9_0_4_load_79 | 92 | 0.0013647 | 0.00034203 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4864-9_0_4_load_70 | 93 | 0.0020253 | 0.00050759 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4864-9_0_4_load_95 | 94 | 0.0026998 | 0.00067665 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4864-9_0_4_load_75 | 95 | 0.0024712 | 0.00061934 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4864-9_0_4_load_74 | 96 | 0.0014928 | 0.00037414 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4864-9_0_4_load_101 | 97 | 0.0022553 | 0.00056524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4864-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4864-9_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0076031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4864-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0097025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4864-9_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4864-9_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4864-9_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4864-9_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0068128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4864-9_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.013387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4864-9_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.027974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4864-9_0_4_line_9 | NAYY 4x150 SE | 8 | 24 | 0.020415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4864-9_0_4_line_10 | NAYY 4x150 SE | 8 | 25 | 0.037915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4864-9_0_4_line_11 | NAYY 4x150 SE | 8 | 23 | 0.012369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4864-9_0_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.026909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4864-9_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.022323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4864-9_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.015879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4864-9_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.015648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4864-9_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.021837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4864-9_0_4_line_17 | NAYY 4x150 SE | 14 | 51 | 0.00087831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4864-9_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0014108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4864-9_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.018044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4864-9_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.023278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4864-9_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.038874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4864-9_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.021945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4864-9_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.020454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4864-9_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0037647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4864-9_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.024928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4864-9_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0029336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4864-9_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.00099406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4864-9_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.018434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4864-9_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.013409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4864-9_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0047922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4864-9_0_4_line_31 | NAYY 4x150 SE | 29 | 48 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4864-9_0_4_line_32 | NAYY 4x150 SE | 29 | 52 | 0.037945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4864-9_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.030179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4864-9_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0067834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4864-9_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.013811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4864-9_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.037347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4864-9_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.011794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4864-9_0_4_line_38 | NAYY 4x150 SE | 35 | 56 | 0.030047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4864-9_0_4_line_39 | NAYY 4x150 SE | 35 | 94 | 0.015056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4864-9_0_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.011799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4864-9_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0051822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4864-9_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.022205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4864-9_0_4_line_43 | NAYY 4x150 SE | 37 | 40 | 0.015224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4864-9_0_4_line_44 | NAYY 4x150 SE | 38 | 41 | 0.011799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4864-9_0_4_line_45 | NAYY 4x150 SE | 38 | 42 | 0.0414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4864-9_0_4_line_46 | NAYY 4x150 SE | 39 | 43 | 0.020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4864-9_0_4_line_47 | NAYY 4x150 SE | 40 | 44 | 0.025093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4864-9_0_4_line_48 | NAYY 4x150 SE | 41 | 45 | 0.010075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4864-9_0_4_line_49 | NAYY 4x150 SE | 42 | 46 | 0.0025227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4864-9_0_4_line_50 | NAYY 4x150 SE | 43 | 47 | 0.006778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4864-9_0_4_line_51 | NAYY 4x150 SE | 44 | 48 | 0.0012455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4864-9_0_4_line_52 | NAYY 4x150 SE | 45 | 49 | 0.0076733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4864-9_0_4_line_53 | NAYY 4x150 SE | 46 | 50 | 0.0090583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4864-9_0_4_line_54 | NAYY 4x150 SE | 47 | 92 | 0.01637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4864-9_0_4_line_55 | NAYY 4x150 SE | 50 | 89 | 0.023271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4864-9_0_4_line_56 | NAYY 4x150 SE | 52 | 55 | 0.0027751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4864-9_0_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.0090471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4864-9_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0097811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4864-9_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.02716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4864-9_0_4_line_60 | NAYY 4x150 SE | 57 | 78 | 0.0013432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4864-9_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0030367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4864-9_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.021095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4864-9_0_4_line_63 | NAYY 4x150 SE | 59 | 61 | 0.029133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4864-9_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.03778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4864-9_0_4_line_65 | NAYY 4x150 SE | 61 | 63 | 0.022326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4864-9_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.037661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4864-9_0_4_line_67 | NAYY 4x150 SE | 63 | 74 | 0.010434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4864-9_0_4_line_68 | NAYY 4x150 SE | 64 | 75 | 0.10289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4864-9_0_4_line_69 | NAYY 4x150 SE | 64 | 76 | 0.016822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4864-9_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.033096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4864-9_0_4_line_71 | NAYY 4x150 SE | 65 | 67 | 0.0055462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4864-9_0_4_line_72 | NAYY 4x150 SE | 66 | 68 | 0.0052901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4864-9_0_4_line_73 | NAYY 4x150 SE | 67 | 72 | 0.015024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4864-9_0_4_line_74 | NAYY 4x150 SE | 68 | 79 | 0.014987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4864-9_0_4_line_75 | NAYY 4x150 SE | 69 | 70 | 0.054059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4864-9_0_4_line_76 | NAYY 4x150 SE | 69 | 71 | 0.010248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4864-9_0_4_line_77 | NAYY 4x150 SE | 70 | 73 | 0.0024684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4864-9_0_4_line_78 | NAYY 4x150 SE | 72 | 73 | 0.012052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4864-9_0_4_line_79 | NAYY 4x150 SE | 74 | 88 | 0.018768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4864-9_0_4_line_80 | NAYY 4x150 SE | 75 | 97 | 0.065489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4864-9_0_4_line_81 | NAYY 4x150 SE | 77 | 78 | 0.022091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4864-9_0_4_line_82 | NAYY 4x150 SE | 79 | 92 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4864-9_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.017143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4864-9_0_4_line_84 | NAYY 4x150 SE | 80 | 82 | 0.0046896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4864-9_0_4_line_85 | NAYY 4x150 SE | 81 | 83 | 0.00481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4864-9_0_4_line_86 | NAYY 4x150 SE | 82 | 84 | 0.013274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4864-9_0_4_line_87 | NAYY 4x150 SE | 83 | 85 | 0.022109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4864-9_0_4_line_88 | NAYY 4x150 SE | 84 | 86 | 0.0062526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4864-9_0_4_line_89 | NAYY 4x150 SE | 85 | 87 | 0.00012182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4864-9_0_4_line_90 | NAYY 4x150 SE | 86 | 88 | 0.019503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4864-9_0_4_line_91 | NAYY 4x150 SE | 87 | 89 | 0.0097929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4864-9_0_4_line_92 | NAYY 4x150 SE | 89 | 90 | 0.011918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4864-9_0_4_line_93 | NAYY 4x150 SE | 90 | 91 | 0.016909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4864-9_0_4_line_94 | NAYY 4x150 SE | 91 | 95 | 0.011527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4864-9_0_4_line_95 | NAYY 4x150 SE | 93 | 94 | 0.029349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4864-9_0_4_line_96 | NAYY 4x150 SE | 95 | 96 | 0.013909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4864-9_0_4_trafo_44 | 0.25 MVA 20/0.4 kV | 98 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2715724.2992 | 1280074.231 | 2715702.4858 | 1280070.0702
1 | 2715724.2992 | 1280074.231 | 2715731.7676 | 1280075.6556
2 | 2715692.9551 | 1280068.2523 | 2715702.4858 | 1280070.0702
3 | 2715761.7936 | 1280083.3983 | 2715748.9958 | 1280078.9418 | 2715731.7676 | 1280075.6556
4 | 2715692.9551 | 1280068.2523 | 2715674.3146 | 1280064.6966 | 2715668.497 | 1280063.0959
5 | 2715786.0327 | 1280094.5068 | 2715762.7041 | 1280083.7154 | 2715761.7936 | 1280083.3983
6 | 2715662.0289 | 1280061.0056 | 2715663.9121 | 1280061.8344 | 2715668.497 | 1280063.0959
7 | 2715798.1827 | 1280100.1272 | 2715786.0327 | 1280094.5068
8 | 2715662.0289 | 1280061.0056 | 2715648.8353 | 1280055.1992 | 2715637.2167 | 1280048.2098
9 | 2715798.1827 | 1280100.1272 | 2715816.2087 | 1280109.7106
10 | 2715798.1827 | 1280100.1272 | 2715781.1929 | 1280134.0229
11 | 2715798.1827 | 1280100.1272 | 2715804.4257 | 1280089.4489
12 | 2715637.2167 | 1280048.2098 | 2715632.4764 | 1280045.3581 | 2715614.4431 | 1280033.8787
13 | 2715594.0398 | 1280026.109 | 2715604.7155 | 1280027.6863 | 2715614.4431 | 1280033.8787
14 | 2715594.0398 | 1280026.109 | 2715591.4991 | 1280035.3567 | 2715588.611 | 1280040.9433
15 | 2715581.4246 | 1280054.844 | 2715588.611 | 1280040.9433
16 | 2715581.4246 | 1280054.844 | 2715571.1364 | 1280074.1057
17 | 2715571.1364 | 1280074.1057 | 2715570.7226 | 1280074.8805
18 | 2715775.3697 | 1280026.8969 | 2715774.003 | 1280026.5467
19 | 2715775.3697 | 1280026.8969 | 2715792.8492 | 1280031.3764
20 | 2715751.4582 | 1280020.7491 | 2715761.0001 | 1280023.2144 | 2715774.003 | 1280026.5467
21 | 2715828.5513 | 1280046.6404 | 2715808.637 | 1280037.2739 | 2715794.8879 | 1280031.8989 | 2715792.8492 | 1280031.3764
22 | 2715751.4582 | 1280020.7491 | 2715730.2104 | 1280015.2595
23 | 2715828.5513 | 1280046.6404 | 2715818.8652 | 1280064.6556
24 | 2715818.8652 | 1280064.6556 | 2715818.226 | 1280065.8444 | 2715817.0071 | 1280067.9292
25 | 2715804.4257 | 1280089.4489 | 2715817.0071 | 1280067.9292
26 | 2715816.2087 | 1280109.7106 | 2715818.799 | 1280111.0877
27 | 2715780.7474 | 1280134.9116 | 2715781.1929 | 1280134.0229
28 | 2715835.0757 | 1280119.7411 | 2715818.799 | 1280111.0877
29 | 2715774.7386 | 1280146.8994 | 2715780.7474 | 1280134.9116
30 | 2715835.0757 | 1280119.7411 | 2715839.3071 | 1280121.9906
31 | 2715774.7386 | 1280146.8994 | 2715769.4326 | 1280158.3528
32 | 2715774.7386 | 1280146.8994 | 2715740.685 | 1280130.1616
33 | 2715865.9542 | 1280136.1574 | 2715839.3071 | 1280121.9906
34 | 2715865.9542 | 1280136.1574 | 2715871.9438 | 1280139.3417
35 | 2715884.1382 | 1280145.8248 | 2715871.9438 | 1280139.3417
36 | 2715884.1382 | 1280145.8248 | 2715866.6842 | 1280178.8428
37 | 2715861.1723 | 1280189.2697 | 2715866.6842 | 1280178.8428
38 | 2715861.1723 | 1280189.2697 | 2715837.0803 | 1280177.2741 | 2715834.263 | 1280175.9014
39 | 2715861.1723 | 1280189.2697 | 2715854.1374 | 1280202.581
40 | 2715751.9617 | 1280196.0648 | 2715761.9178 | 1280202.396
41 | 2715766.2907 | 1280205.1768 | 2715761.9178 | 1280202.396
42 | 2715751.9617 | 1280196.0648 | 2715732.5286 | 1280185.3217
43 | 2715751.9617 | 1280196.0648 | 2715758.361 | 1280182.2514
44 | 2715766.2907 | 1280205.1768 | 2715776.5925 | 1280210.9282
45 | 2715766.2907 | 1280205.1768 | 2715747.6165 | 1280242.1262
46 | 2715732.5286 | 1280185.3217 | 2715714.3517 | 1280175.2732
47 | 2715768.9091 | 1280159.4829 | 2715758.361 | 1280182.2514
48 | 2715776.5925 | 1280210.9282 | 2715785.3897 | 1280215.8396
49 | 2715747.6165 | 1280242.1262 | 2715746.4785 | 1280244.3778
50 | 2715708.4198 | 1280171.9939 | 2715714.3517 | 1280175.2732
51 | 2715769.4326 | 1280158.3528 | 2715768.9091 | 1280159.4829
52 | 2715792.0895 | 1280219.5801 | 2715785.3897 | 1280215.8396
53 | 2715742.3927 | 1280252.4622 | 2715746.4785 | 1280244.3778
54 | 2715708.4198 | 1280171.9939 | 2715694.0936 | 1280164.074
55 | 2715731.8958 | 1280273.2318 | 2715742.3927 | 1280252.4622
56 | 2715738.1944 | 1280128.9374 | 2715740.685 | 1280130.1616
57 | 2715825.4701 | 1280171.6173 | 2715817.337 | 1280167.6546
58 | 2715825.4701 | 1280171.6173 | 2715834.263 | 1280175.9014
59 | 2715738.1944 | 1280128.9374 | 2715713.8198 | 1280116.9571
60 | 2715713.8198 | 1280116.9571 | 2715712.6144 | 1280116.3646
61 | 2715604.6609 | 1280153.8703 | 2715606.0621 | 1280156.5644
62 | 2715591.7967 | 1280137.3797 | 2715601.3648 | 1280147.5323 | 2715604.6609 | 1280153.8703
63 | 2715620.0921 | 1280182.0714 | 2715615.997 | 1280175.6676 | 2715606.0621 | 1280156.5644
64 | 2715591.7967 | 1280137.3797 | 2715583.8801 | 1280143.3857 | 2715581.215 | 1280153.9989 | 2715576.4243 | 1280170.2059
65 | 2715620.0921 | 1280182.0714 | 2715632.1196 | 1280200.8803
66 | 2715565.7483 | 1280206.3223 | 2715576.4243 | 1280170.2059
67 | 2715637.7409 | 1280209.671 | 2715632.1196 | 1280200.8803
68 | 2715565.7483 | 1280206.3223 | 2715560.8763 | 1280221.8191 | 2715560.5915 | 1280223.3149 | 2715558.5283 | 1280230.0585 | 2715551.3804 | 1280253.1956 | 2715542.8232 | 1280284.2124 | 2715552.1527 | 1280290.8125 | 2715560.0639 | 1280297.3291
69 | 2715565.7483 | 1280206.3223 | 2715573.4947 | 1280210.1333 | 2715581.1609 | 1280213.011
70 | 2715655.8661 | 1280142.941 | 2715636.3139 | 1280131.9696 | 2715640.8984 | 1280122.3283
71 | 2715640.8984 | 1280122.3283 | 2715643.2798 | 1280117.3194
72 | 2715655.8661 | 1280142.941 | 2715660.4958 | 1280145.5005
73 | 2715649.7306 | 1280103.7509 | 2715643.2798 | 1280117.3194
74 | 2715660.4958 | 1280145.5005 | 2715673.6119 | 1280152.7513
75 | 2715606.3343 | 1280068.8675 | 2715655.9686 | 1280090.6388
76 | 2715606.3343 | 1280068.8675 | 2715610.9244 | 1280059.7045
77 | 2715655.9686 | 1280090.6388 | 2715654.9081 | 1280092.8678
78 | 2715649.7306 | 1280103.7509 | 2715654.9081 | 1280092.8678
79 | 2715647.8521 | 1280225.483 | 2715637.7409 | 1280209.671
80 | 2715621.117 | 1280307.9579 | 2715602.3072 | 1280296.3228 | 2715572.471 | 1280292.2008 | 2715560.0639 | 1280297.3291
81 | 2715692.7885 | 1280106.6199 | 2715712.6144 | 1280116.3646
82 | 2715694.0936 | 1280164.074 | 2715673.6119 | 1280152.7513
83 | 2715682.4986 | 1280251.8771 | 2715683.4822 | 1280252.5182 | 2715697.6291 | 1280259.9263
84 | 2715682.4986 | 1280251.8771 | 2715678.5698 | 1280249.3166
85 | 2715697.6291 | 1280259.9263 | 2715701.8902 | 1280262.1577
86 | 2715667.4496 | 1280242.069 | 2715678.5698 | 1280249.3166
87 | 2715722.5294 | 1280269.9801 | 2715705.6137 | 1280264.1076 | 2715701.8902 | 1280262.1577
88 | 2715667.4496 | 1280242.069 | 2715662.2113 | 1280238.655
89 | 2715722.5294 | 1280269.9801 | 2715722.6445 | 1280270.0201
90 | 2715647.8521 | 1280225.483 | 2715661.1904 | 1280237.9896 | 2715662.2113 | 1280238.655
91 | 2715731.8958 | 1280273.2318 | 2715722.6445 | 1280270.0201
92 | 2715731.8958 | 1280273.2318 | 2715743.2354 | 1280276.8984
93 | 2715759.3247 | 1280282.1006 | 2715743.2354 | 1280276.8984
94 | 2715759.3247 | 1280282.1006 | 2715757.2195 | 1280293.4341
95 | 2715840.4241 | 1280228.5293 | 2715854.1374 | 1280202.581
96 | 2715754.6793 | 1280307.1095 | 2715757.2195 | 1280293.4341

## bus_geodata
| x | y | coords
0 | 2715724.2992 | 1280074.231
1 | 2715702.4858 | 1280070.0702
2 | 2715731.7676 | 1280075.6556
3 | 2715692.9551 | 1280068.2523
4 | 2715761.7936 | 1280083.3983
5 | 2715668.497 | 1280063.0959
6 | 2715786.0327 | 1280094.5068
7 | 2715662.0289 | 1280061.0056
8 | 2715798.1827 | 1280100.1272
9 | 2715637.2167 | 1280048.2098
10 | 2715614.4431 | 1280033.8787
11 | 2715594.0398 | 1280026.109
12 | 2715588.611 | 1280040.9433
13 | 2715581.4246 | 1280054.844
14 | 2715571.1364 | 1280074.1057
15 | 2715775.3697 | 1280026.8969
16 | 2715774.003 | 1280026.5467
17 | 2715792.8492 | 1280031.3764
18 | 2715751.4582 | 1280020.7491
19 | 2715828.5513 | 1280046.6403
20 | 2715730.2104 | 1280015.2595
21 | 2715818.8652 | 1280064.6556
22 | 2715817.0071 | 1280067.9292
23 | 2715804.4257 | 1280089.4489
24 | 2715816.2087 | 1280109.7106
25 | 2715781.1929 | 1280134.0229
26 | 2715818.799 | 1280111.0877
27 | 2715780.7474 | 1280134.9116
28 | 2715835.0757 | 1280119.7411
29 | 2715774.7386 | 1280146.8994
30 | 2715839.3071 | 1280121.9906
31 | 2715865.9542 | 1280136.1574
32 | 2715871.9438 | 1280139.3417
33 | 2715884.1382 | 1280145.8248
34 | 2715866.6842 | 1280178.8428
35 | 2715861.1723 | 1280189.2697
36 | 2715761.9178 | 1280202.396
37 | 2715751.9617 | 1280196.0648
38 | 2715766.2907 | 1280205.1768
39 | 2715732.5286 | 1280185.3217
40 | 2715758.361 | 1280182.2514
41 | 2715776.5925 | 1280210.9282
42 | 2715747.6165 | 1280242.1262
43 | 2715714.3517 | 1280175.2732
44 | 2715768.9091 | 1280159.4829
45 | 2715785.3897 | 1280215.8396
46 | 2715746.4785 | 1280244.3778
47 | 2715708.4198 | 1280171.9939
48 | 2715769.4326 | 1280158.3528
49 | 2715792.0895 | 1280219.5801
50 | 2715742.3927 | 1280252.4622
51 | 2715570.7226 | 1280074.8805
52 | 2715740.685 | 1280130.1616
53 | 2715817.337 | 1280167.6546
54 | 2715825.4701 | 1280171.6173
55 | 2715738.1944 | 1280128.9374
56 | 2715834.263 | 1280175.9014
57 | 2715713.8198 | 1280116.9571
58 | 2715604.6609 | 1280153.8703
59 | 2715606.0621 | 1280156.5644
60 | 2715591.7967 | 1280137.3797
61 | 2715620.0921 | 1280182.0714
62 | 2715576.4243 | 1280170.2059
63 | 2715632.1196 | 1280200.8803
64 | 2715565.7483 | 1280206.3223
65 | 2715640.8984 | 1280122.3283
66 | 2715655.8661 | 1280142.941
67 | 2715643.2798 | 1280117.3194
68 | 2715660.4958 | 1280145.5005
69 | 2715606.3343 | 1280068.8675
70 | 2715655.9686 | 1280090.6388
71 | 2715610.9244 | 1280059.7045
72 | 2715649.7306 | 1280103.7509
73 | 2715654.9081 | 1280092.8678
74 | 2715637.7409 | 1280209.671
75 | 2715560.0639 | 1280297.3291
76 | 2715581.1609 | 1280213.011
77 | 2715692.7885 | 1280106.6199
78 | 2715712.6144 | 1280116.3646
79 | 2715673.6119 | 1280152.7513
80 | 2715682.4986 | 1280251.8771
81 | 2715697.6291 | 1280259.9263
82 | 2715678.5698 | 1280249.3166
83 | 2715701.8902 | 1280262.1577
84 | 2715667.4496 | 1280242.069
85 | 2715722.5294 | 1280269.9801
86 | 2715662.2113 | 1280238.655
87 | 2715722.6445 | 1280270.0201
88 | 2715647.8521 | 1280225.483
89 | 2715731.8958 | 1280273.2318
90 | 2715743.2354 | 1280276.8984
91 | 2715759.3247 | 1280282.1006
92 | 2715694.0936 | 1280164.074
93 | 2715840.4241 | 1280228.5293
94 | 2715854.1374 | 1280202.581
95 | 2715757.2195 | 1280293.4341
96 | 2715754.6793 | 1280307.1095
97 | 2715621.117 | 1280307.9579
98 | 2715740.685 | 1280130.1616

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1