## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4871-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4871-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4871-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4871-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4871-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4871-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4871-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4871-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4871-3_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4871-3_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4871-3_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_4871-3_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_4871-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4871-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4871-3_0_3_node_162 | 0.4 | n |  | TRUE
15 | bus_LV_4871-3_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4871-3_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4871-3_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_4871-3_0_3_node_194 | 0.4 | n |  | TRUE
19 | bus_LV_4871-3_0_3_node_209 | 0.4 | n |  | TRUE
20 | bus_LV_4871-3_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4871-3_0_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_4871-3_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4871-3_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_4871-3_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_4871-3_0_3_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_4871-3_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4871-3_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_4871-3_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4871-3_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_4871-3_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_4871-3_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4871-3_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4871-3_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4871-3_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4871-3_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_4871-3_0_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_4871-3_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4871-3_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4871-3_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4871-3_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_4871-3_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4871-3_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_4871-3_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_4871-3_0_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_4871-3_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_4871-3_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_4871-3_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_4871-3_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4871-3_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_4871-3_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_4871-3_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_4871-3_0_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_4871-3_0_3_node_187 | 0.4 | n |  | TRUE
54 | bus_LV_4871-3_0_3_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_4871-3_0_3_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_4871-3_0_3_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_4871-3_0_3_node_161 | 0.4 | n |  | TRUE
58 | bus_LV_4871-3_0_3_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_4871-3_0_3_node_116 | 0.4 | n |  | TRUE
60 | bus_LV_4871-3_0_3_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_4871-3_0_3_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_4871-3_0_3_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_4871-3_0_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_4871-3_0_3_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_4871-3_0_3_node_195 | 0.4 | n |  | TRUE
66 | bus_LV_4871-3_0_3_node_164 | 0.4 | n |  | TRUE
67 | bus_LV_4871-3_0_3_node_183 | 0.4 | n |  | TRUE
68 | bus_LV_4871-3_0_3_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_4871-3_0_3_node_163 | 0.4 | n |  | TRUE
70 | bus_LV_4871-3_0_3_node_184 | 0.4 | n |  | TRUE
71 | bus_LV_4871-3_0_3_node_185 | 0.4 | n |  | TRUE
72 | bus_LV_4871-3_0_3_node_196 | 0.4 | n |  | TRUE
73 | bus_LV_4871-3_0_3_node_205 | 0.4 | n |  | TRUE
74 | bus_LV_4871-3_0_3_node_206 | 0.4 | n |  | TRUE
75 | bus_LV_4871-3_0_3_node_207 | 0.4 | n |  | TRUE
76 | bus_LV_4871-3_0_3_node_208 | 0.4 | n |  | TRUE
77 | bus_LV_4871-3_0_3_node_210 | 0.4 | n |  | TRUE
78 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4871-3_0_3_load_0 | 0 | 0.00012862 | 3.2236e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4871-3_0_3_load_1 | 1 | 0.0001934 | 4.847e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4871-3_0_3_load_2 | 2 | 0.00010928 | 2.7389e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4871-3_0_3_load_3 | 3 | 0.00055836 | 0.00013994 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4871-3_0_3_load_4 | 4 | 0.00012834 | 3.2164e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4871-3_0_3_load_5 | 5 | 9.7815e-05 | 2.4515e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4871-3_0_3_load_6 | 6 | 0.00070233 | 0.00017602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4871-3_0_3_load_7 | 7 | 8.4408e-05 | 2.1155e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4871-3_0_3_load_12 | 8 | 0.00063785 | 0.00015986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4871-3_0_3_load_9 | 12 | 0.00036366 | 9.1141e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4871-3_0_3_load_10 | 13 | 7.2144e-05 | 1.8081e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4871-3_0_3_load_162 | 14 | 0.0007265 | 0.00018208 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4871-3_0_3_load_194 | 18 | 0.00056729 | 0.00014218 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4871-3_0_3_load_209 | 19 | 0.0019305 | 0.00048382 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4871-3_0_3_load_49 | 21 | 8.594e-05 | 2.1539e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4871-3_0_3_load_48 | 23 | 0.00012105 | 3.0337e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4871-3_0_3_load_45 | 24 | 0.00091991 | 0.00023055 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4871-3_0_3_load_59 | 25 | 0.00042307 | 0.00010603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4871-3_0_3_load_61 | 26 | 0.00029684 | 7.4396e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4871-3_0_3_load_40 | 27 | 0.00037541 | 9.4085e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4871-3_0_3_load_39 | 29 | 0.00062434 | 0.00015647 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4871-3_0_3_load_42 | 31 | 0.0014369 | 0.00036013 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4871-3_0_3_load_29 | 32 | 0.0012896 | 0.0003232 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4871-3_0_3_load_63 | 35 | 0.0015678 | 0.00039294 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4871-3_0_3_load_91 | 36 | 0.0016537 | 0.00041446 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4871-3_0_3_load_38 | 37 | 0.0029346 | 0.00073549 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4871-3_0_3_load_41 | 38 | 0.0016078 | 0.00040296 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4871-3_0_3_load_43 | 39 | 0.00096187 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4871-3_0_3_load_47 | 40 | 6.5213e-05 | 1.6344e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4871-3_0_3_load_54 | 41 | 0.00013848 | 3.4708e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4871-3_0_3_load_50 | 42 | 0.00050791 | 0.00012729 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4871-3_0_3_load_52 | 44 | 0.00030355 | 7.6078e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4871-3_0_3_load_53 | 45 | 0.00016297 | 4.0844e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4871-3_0_3_load_55 | 46 | 5.6631e-05 | 1.4193e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4871-3_0_3_load_56 | 47 | 0.00011118 | 2.7865e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4871-3_0_3_load_57 | 48 | 0.00045666 | 0.00011445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4871-3_0_3_load_58 | 49 | 9.1594e-05 | 2.2956e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4871-3_0_3_load_60 | 50 | 0.00010451 | 2.6194e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4871-3_0_3_load_62 | 51 | 0.0004287 | 0.00010744 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4871-3_0_3_load_69 | 52 | 0.00020616 | 5.1669e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4871-3_0_3_load_187 | 53 | 0.00071009 | 0.00017797 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4871-3_0_3_load_92 | 54 | 0.00092149 | 0.00023095 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4871-3_0_3_load_93 | 55 | 0.0043738 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4871-3_0_3_load_94 | 56 | 0.0018855 | 0.00047255 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4871-3_0_3_load_161 | 57 | 0.003994 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4871-3_0_3_load_115 | 58 | 0.0010893 | 0.00027301 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4871-3_0_3_load_116 | 59 | 0.0009775 | 0.00024499 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4871-3_0_3_load_118 | 61 | 0.001485 | 0.00037218 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4871-3_0_3_load_121 | 64 | 0.00085125 | 0.00021334 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4871-3_0_3_load_195 | 65 | 0.00088912 | 0.00022284 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4871-3_0_3_load_183 | 67 | 0.0005324 | 0.00013343 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4871-3_0_3_load_131 | 68 | 0.0010417 | 0.00026108 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4871-3_0_3_load_163 | 69 | 0.00062694 | 0.00015712 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4871-3_0_3_load_196 | 72 | 0.0016203 | 0.0004061 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4871-3_0_3_load_205 | 73 | 0.0011762 | 0.00029478 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4871-3_0_3_load_206 | 74 | 0.0007167 | 0.00017962 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4871-3_0_3_load_207 | 75 | 0.0017218 | 0.00043153 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4871-3_0_3_load_208 | 76 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4871-3_0_3_load_210 | 77 | 0.0012905 | 0.00032342 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4871-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4871-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.039875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4871-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4871-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4871-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4871-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4871-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.012619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4871-3_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4871-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.038441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4871-3_0_3_line_9 | NAYY 4x150 SE | 8 | 13 | 0.003778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4871-3_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.2829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4871-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.72889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4871-3_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.12081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4871-3_0_3_line_13 | NAYY 4x150 SE | 11 | 24 | 0.044089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4871-3_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.018858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4871-3_0_3_line_15 | NAYY 4x150 SE | 14 | 69 | 0.096878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4871-3_0_3_line_16 | NAYY 4x150 SE | 14 | 57 | 0.02415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4871-3_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.099453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4871-3_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 1.0826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4871-3_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.015842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4871-3_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.021263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4871-3_0_3_line_21 | NAYY 4x150 SE | 17 | 27 | 0.076847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4871-3_0_3_line_22 | NAYY 4x150 SE | 17 | 28 | 0.12209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4871-3_0_3_line_23 | NAYY 4x150 SE | 17 | 29 | 0.043012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4871-3_0_3_line_24 | NAYY 4x150 SE | 18 | 38 | 0.041713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4871-3_0_3_line_25 | NAYY 4x150 SE | 18 | 52 | 0.058286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4871-3_0_3_line_26 | NAYY 4x150 SE | 19 | 77 | 0.039362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4871-3_0_3_line_27 | NAYY 4x150 SE | 20 | 21 | 0.023069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4871-3_0_3_line_28 | NAYY 4x150 SE | 20 | 22 | 0.57014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4871-3_0_3_line_29 | NAYY 4x150 SE | 20 | 23 | 0.018269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4871-3_0_3_line_30 | NAYY 4x150 SE | 21 | 41 | 0.019564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4871-3_0_3_line_31 | NAYY 4x150 SE | 22 | 25 | 0.040671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4871-3_0_3_line_32 | NAYY 4x150 SE | 22 | 26 | 0.098152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4871-3_0_3_line_33 | NAYY 4x150 SE | 23 | 40 | 0.0080739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4871-3_0_3_line_34 | NAYY 4x150 SE | 25 | 48 | 0.035096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4871-3_0_3_line_35 | NAYY 4x150 SE | 26 | 51 | 0.034607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4871-3_0_3_line_36 | NAYY 4x150 SE | 28 | 30 | 0.01642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4871-3_0_3_line_37 | NAYY 4x150 SE | 28 | 31 | 0.038397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4871-3_0_3_line_38 | NAYY 4x150 SE | 29 | 37 | 0.038294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4871-3_0_3_line_39 | NAYY 4x150 SE | 30 | 39 | 0.042554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4871-3_0_3_line_40 | NAYY 4x150 SE | 32 | 33 | 0.13269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4871-3_0_3_line_41 | NAYY 4x150 SE | 33 | 34 | 0.18499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4871-3_0_3_line_42 | NAYY 4x150 SE | 33 | 35 | 0.33666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4871-3_0_3_line_43 | NAYY 4x150 SE | 34 | 36 | 0.16504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4871-3_0_3_line_44 | NAYY 4x150 SE | 35 | 51 | 0.03593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4871-3_0_3_line_45 | NAYY 4x150 SE | 36 | 54 | 0.031371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4871-3_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0021657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4871-3_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.022884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4871-3_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.0095076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4871-3_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.028146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4871-3_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.0076261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4871-3_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0021641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4871-3_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.030791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4871-3_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0021083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4871-3_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.063846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4871-3_0_3_line_55 | NAYY 4x150 SE | 53 | 71 | 0.016787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4871-3_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0091006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4871-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.034163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4871-3_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.049978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4871-3_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.028961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4871-3_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.023003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4871-3_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.013528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4871-3_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.01051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4871-3_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.018893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4871-3_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.039997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4871-3_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.015511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4871-3_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.027336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4871-3_0_3_line_67 | NAYY 4x150 SE | 64 | 67 | 0.030719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4871-3_0_3_line_68 | NAYY 4x150 SE | 65 | 72 | 0.036635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4871-3_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.075748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4871-3_0_3_line_70 | NAYY 4x150 SE | 66 | 69 | 0.054899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4871-3_0_3_line_71 | NAYY 4x150 SE | 67 | 70 | 0.021505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4871-3_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.008558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4871-3_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.032111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4871-3_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0004865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4871-3_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.023985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4871-3_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.062773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4871-3_0_3_trafo_13 | 0.25 MVA 20/0.4 kV | 78 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2704036.9685 | 1280329.5218 | 2704058.2774 | 1280318.6908
1 | 2704036.9685 | 1280329.5218 | 2704001.4214 | 1280347.5898
2 | 2704067.2109 | 1280314.1501 | 2704058.2774 | 1280318.6908
3 | 2703984.4818 | 1280356.1998 | 2704001.4214 | 1280347.5898
4 | 2704067.2109 | 1280314.1501 | 2704093.9465 | 1280300.5608
5 | 2703963.1848 | 1280367.0247 | 2703984.4818 | 1280356.1998
6 | 2704093.9465 | 1280300.5608 | 2704105.1955 | 1280294.8431
7 | 2703963.1848 | 1280367.0247 | 2703946.1118 | 1280375.7027
8 | 2704139.4643 | 1280277.4249 | 2704105.1955 | 1280294.8431
9 | 2703942.7439 | 1280377.4145 | 2703946.1118 | 1280375.7027
10 | 2703997.2112 | 1280040.4914 | 2704034.5659 | 1280078.3174 | 2704071.4739 | 1280119.7168 | 2704098.4051 | 1280154.2786 | 2704108.3325 | 1280171.1133 | 2704118.3386 | 1280193.688 | 2704133.0244 | 1280242.6578 | 2704139.4643 | 1280277.4249
11 | 2704090.0592 | 1280846.9303 | 2704288.1083 | 1280740.4449 | 2704258.0727 | 1280711.7325 | 2704214.49 | 1280653.0094 | 2704199.2483 | 1280625.8045 | 2704185.3978 | 1280598.0905 | 2704169.4926 | 1280559.1079 | 2704167.6113 | 1280551.6457 | 2704160.6948 | 1280528.5695 | 2704159.6356 | 1280521.3443 | 2704155.9321 | 1280515.8184 | 2704155.2976 | 1280504.9641 | 2704148.5886 | 1280458.2482 | 2704143.4425 | 1280298.8699 | 2704139.4643 | 1280277.4249
12 | 2703997.2112 | 1280040.4914 | 2704048.256 | 1279930.9967
13 | 2704090.0592 | 1280846.9303 | 2704056.6898 | 1280818.1155
14 | 2703942.7439 | 1280377.4145 | 2703925.9328 | 1280385.9593
15 | 2703954.8455 | 1279906.9971 | 2703964.5308 | 1279909.309 | 2704008.2188 | 1279924.6485 | 2704030.2752 | 1279929.4307 | 2704048.256 | 1279930.9967
16 | 2704072.3453 | 1279929.9821 | 2704052.217 | 1279931.3417 | 2704048.256 | 1279930.9967
17 | 2703690.3754 | 1279976.2202 | 2703681.1121 | 1279982.6187 | 2703671.8165 | 1279984.4458 | 2703664.2975 | 1279982.6565 | 2703604.3472 | 1279960.7056 | 2703597.5732 | 1279958.4179
18 | 2703178.1785 | 1280311.5257 | 2703209.6627 | 1280325.7115 | 2703217.3751 | 1280330.5953 | 2703261.5699 | 1280295.0705 | 2703278.5425 | 1280283.3906 | 2703298.3597 | 1280274.4408 | 2703369.4875 | 1280254.358 | 2703376.9473 | 1280253.5103 | 2703387.7018 | 1280253.7101 | 2703392.2906 | 1280253.7906 | 2703365.1534 | 1280339.1134 | 2703333.0148 | 1280441.0858 | 2703345.285 | 1280442.6467 | 2703403.6091 | 1280405.0688 | 2703614.5121 | 1280275.588 | 2703671.8165 | 1279984.4458 | 2703681.1121 | 1279982.6187 | 2703690.3754 | 1279976.2202
19 | 2703690.3754 | 1279976.2202 | 2703703.4139 | 1279967.2214
20 | 2703597.5732 | 1279958.4179 | 2703595.3214 | 1279968.5541 | 2703595.308 | 1279976.5833 | 2703594.645 | 1279979.3555
21 | 2703178.1785 | 1280311.5257 | 2703155.3198 | 1280250.0598 | 2703151.3925 | 1280239.4978
22 | 2703178.1785 | 1280311.5257 | 2703209.6627 | 1280325.7115 | 2703217.3751 | 1280330.5953 | 2703192.5817 | 1280350.4569 | 2703157.0517 | 1280380.7068
23 | 2703178.1785 | 1280311.5257 | 2703138.3982 | 1280295.1674
24 | 2703738.4485 | 1279944.6923 | 2703728.4629 | 1279949.9332 | 2703703.4139 | 1279967.2214
25 | 2703703.4139 | 1279967.2214 | 2703678.9707 | 1279914.3089
26 | 2703582.9568 | 1280016.5188 | 2703586.8446 | 1279999.8776 | 2703591.367 | 1279993.0621 | 2703594.645 | 1279979.3555
27 | 2704472.955 | 1280610.4222 | 2704452.4285 | 1280620.9507
28 | 2704472.955 | 1280610.4222 | 2704591.2982 | 1280554.3251 | 2704511.135 | 1280375.6101 | 2704508.5079 | 1280369.9807 | 2704521.7442 | 1280363.6651 | 2704517.7779 | 1280355.5987 | 2704425.3508 | 1280163.211
29 | 2704472.955 | 1280610.4222 | 2704481.7057 | 1280626.4597
30 | 2704452.4285 | 1280620.9507 | 2704435.0207 | 1280629.8795
31 | 2704425.3508 | 1280163.211 | 2704388.8724 | 1280181.195
32 | 2704425.3508 | 1280163.211 | 2704513.2645 | 1280119.5658
33 | 2704485.5729 | 1280633.5471 | 2704481.7057 | 1280626.4597
34 | 2704357.3936 | 1280196.7142 | 2704388.8724 | 1280181.195
35 | 2704513.2645 | 1280119.5658 | 2704544.262 | 1280104.1769
36 | 2703157.0517 | 1280380.7068 | 2703144.0443 | 1280390.7772
37 | 2703157.0517 | 1280380.7068 | 2703164.9881 | 1280392.1003 | 2703178.6728 | 1280406.8529 | 2703182.48 | 1280409.0376
38 | 2703138.3982 | 1280295.1674 | 2703130.5541 | 1280291.9418 | 2703110.2961 | 1280283.6024 | 2703102.8024 | 1280281.0853
39 | 2703144.0443 | 1280390.7772 | 2703148.0115 | 1280396.3182 | 2703147.6408 | 1280405.4754 | 2703146.9608 | 1280412.9925 | 2703146.7112 | 1280417.3809 | 2703155.7873 | 1280428.8574
40 | 2704511.5365 | 1279757.8522 | 2704525.8327 | 1279749.0421 | 2704537.7979 | 1279734.4077 | 2704543.2563 | 1279716.4106 | 2704543.0537 | 1279679.1292 | 2704544.8206 | 1279670.1636 | 2704551.9674 | 1279656.9451 | 2704562.4604 | 1279647.3892 | 2704564.5472 | 1279645.926
41 | 2704339.1227 | 1279824.8929 | 2704465.9142 | 1279776.1826 | 2704511.5365 | 1279757.8522
42 | 2704576.4443 | 1280088.1998 | 2704511.5365 | 1279757.8522
43 | 2704339.1227 | 1279824.8929 | 2704259.5456 | 1279857.4704 | 2704216.9051 | 1279880.6152 | 2704189.6846 | 1279894.4584
44 | 2704576.4443 | 1280088.1998 | 2704544.262 | 1280104.1769
45 | 2704189.6846 | 1279894.4584 | 2704161.7222 | 1279908.6789
46 | 2704433.0937 | 1280630.8679 | 2704435.0207 | 1280629.8795
47 | 2704433.0937 | 1280630.8679 | 2704442.6816 | 1280651.6462
48 | 2704446.6651 | 1280660.2791 | 2704442.6816 | 1280651.6462
49 | 2704433.0937 | 1280630.8679 | 2704407.3922 | 1280642.3419
50 | 2704400.4285 | 1280645.4507 | 2704407.3922 | 1280642.3419
51 | 2704355.4525 | 1280197.6711 | 2704357.3936 | 1280196.7142
52 | 2704327.8351 | 1280211.2866 | 2704355.4525 | 1280197.6711
53 | 2704327.8351 | 1280211.2866 | 2704325.9441 | 1280212.2189
54 | 2703678.9707 | 1279914.3089 | 2703721.5729 | 1279866.7545
55 | 2703737.3877 | 1279868.8844 | 2703734.3382 | 1279870.5433 | 2703721.5729 | 1279866.7545
56 | 2704153.6103 | 1279912.8043 | 2704161.7222 | 1279908.6789
57 | 2704122.1029 | 1279925.5953 | 2704124.8258 | 1279925.2066 | 2704139.0082 | 1279920.2303 | 2704153.6103 | 1279912.8043
58 | 2704122.1029 | 1279925.5953 | 2704108.4663 | 1279927.5421 | 2704072.3453 | 1279929.9821
59 | 2703834.7144 | 1279838.0473 | 2703838.6934 | 1279866.7338
60 | 2703841.8538 | 1279889.519 | 2703838.6934 | 1279866.7338
61 | 2703841.8538 | 1279889.519 | 2703855.3719 | 1279890.0403
62 | 2703841.8538 | 1279889.519 | 2703831.3879 | 1279888.2558
63 | 2703874.2506 | 1279890.7684 | 2703855.3719 | 1279890.0403
64 | 2703831.3879 | 1279888.2558 | 2703814.1228 | 1279884.8488 | 2703792.7401 | 1279878.18
65 | 2703874.2506 | 1279890.7684 | 2703872.2502 | 1279875.3864
66 | 2703901.4465 | 1279894.2505 | 2703874.2506 | 1279890.7684
67 | 2703792.7401 | 1279878.18 | 2703763.4141 | 1279869.0338
68 | 2703872.2502 | 1279875.3864 | 2703867.5257 | 1279839.0576
69 | 2703901.4465 | 1279894.2505 | 2703891.0359 | 1279819.221
70 | 2703901.4465 | 1279894.2505 | 2703954.8455 | 1279906.9971
71 | 2703742.8846 | 1279862.631 | 2703763.4141 | 1279869.0338
72 | 2703737.3877 | 1279868.8844 | 2703739.7847 | 1279867.5809 | 2703742.8846 | 1279862.631
73 | 2703545.0309 | 1279975.5361 | 2703543.5086 | 1279982.4455 | 2703543.198 | 1280000.1225 | 2703541.9009 | 1280007.3631
74 | 2703541.9009 | 1280007.3631 | 2703541.8151 | 1280007.842
75 | 2703541.8151 | 1280007.842 | 2703538.3166 | 1280027.3723 | 2703538.4918 | 1280031.5124
76 | 2703582.9568 | 1280016.5188 | 2703578.4118 | 1280035.9729 | 2703573.8235 | 1280039.273 | 2703568.0183 | 1280040.4277 | 2703541.467 | 1280034.0669 | 2703538.4918 | 1280031.5124 | 2703538.4918 | 1280031.5124

## bus_geodata
| x | y | coords
0 | 2704036.9685 | 1280329.5218
1 | 2704058.2774 | 1280318.6908
2 | 2704001.4214 | 1280347.5898
3 | 2704067.2109 | 1280314.1501
4 | 2703984.4818 | 1280356.1998
5 | 2704093.9465 | 1280300.5608
6 | 2703963.1849 | 1280367.0247
7 | 2704105.1955 | 1280294.8431
8 | 2703946.1118 | 1280375.7027
9 | 2704139.4643 | 1280277.4249
10 | 2703997.2112 | 1280040.4914
11 | 2704090.0592 | 1280846.9303
12 | 2703925.9328 | 1280385.9593
13 | 2703942.7439 | 1280377.4145
14 | 2704048.256 | 1279930.9967
15 | 2703690.3754 | 1279976.2202
16 | 2703597.5732 | 1279958.4179
17 | 2703178.1785 | 1280311.5257
18 | 2703703.4139 | 1279967.2214
19 | 2703594.645 | 1279979.3555
20 | 2704472.955 | 1280610.4222
21 | 2704452.4285 | 1280620.9507
22 | 2704425.3508 | 1280163.211
23 | 2704481.7057 | 1280626.4597
24 | 2704056.6898 | 1280818.1155
25 | 2704388.8724 | 1280181.195
26 | 2704513.2645 | 1280119.5658
27 | 2703151.3925 | 1280239.4978
28 | 2703157.0517 | 1280380.7068
29 | 2703138.3982 | 1280295.1674
30 | 2703144.0443 | 1280390.7772
31 | 2703182.48 | 1280409.0376
32 | 2704564.5472 | 1279645.926
33 | 2704511.5365 | 1279757.8522
34 | 2704339.1227 | 1279824.8929
35 | 2704576.4443 | 1280088.1998
36 | 2704189.6846 | 1279894.4584
37 | 2703102.8024 | 1280281.0853
38 | 2703738.4485 | 1279944.6923
39 | 2703155.7873 | 1280428.8574
40 | 2704485.5729 | 1280633.5471
41 | 2704435.0207 | 1280629.8795
42 | 2704442.6816 | 1280651.6462
43 | 2704433.0937 | 1280630.8679
44 | 2704446.6651 | 1280660.2791
45 | 2704407.3922 | 1280642.3419
46 | 2704400.4285 | 1280645.4507
47 | 2704355.4525 | 1280197.6711
48 | 2704357.3936 | 1280196.7142
49 | 2704327.8351 | 1280211.2866
50 | 2704325.9441 | 1280212.2189
51 | 2704544.262 | 1280104.1769
52 | 2703678.9707 | 1279914.3089
53 | 2703721.5729 | 1279866.7545
54 | 2704161.7222 | 1279908.6789
55 | 2704153.6103 | 1279912.8043
56 | 2704122.1029 | 1279925.5953
57 | 2704072.3453 | 1279929.9821
58 | 2703838.6934 | 1279866.7338
59 | 2703834.7144 | 1279838.0473
60 | 2703841.8538 | 1279889.519
61 | 2703855.3719 | 1279890.0403
62 | 2703831.3879 | 1279888.2558
63 | 2703874.2506 | 1279890.7684
64 | 2703792.7401 | 1279878.18
65 | 2703872.2502 | 1279875.3864
66 | 2703901.4465 | 1279894.2505
67 | 2703763.4141 | 1279869.0338
68 | 2703891.0359 | 1279819.221
69 | 2703954.8455 | 1279906.9971
70 | 2703742.8846 | 1279862.631
71 | 2703737.3877 | 1279868.8844
72 | 2703867.5257 | 1279839.0576
73 | 2703545.0309 | 1279975.5361
74 | 2703541.9009 | 1280007.3631
75 | 2703541.8151 | 1280007.842
76 | 2703538.4918 | 1280031.5124
77 | 2703582.9568 | 1280016.5188
78 | 2703997.2112 | 1280040.4914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1