## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4891-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4891-16_0_2_node_65 | 0.4 | n |  | TRUE
2 | bus_LV_4891-16_0_2_node_66 | 0.4 | n |  | TRUE
3 | bus_LV_4891-16_0_2_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_4891-16_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_4891-16_0_2_node_92 | 0.4 | n |  | TRUE
6 | bus_LV_4891-16_0_2_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_4891-16_0_2_node_94 | 0.4 | n |  | TRUE
8 | bus_LV_4891-16_0_2_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_4891-16_0_2_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_4891-16_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_4891-16_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4891-16_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4891-16_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4891-16_0_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_4891-16_0_2_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_4891-16_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4891-16_0_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_4891-16_0_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_4891-16_0_2_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_4891-16_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4891-16_0_2_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_4891-16_0_2_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_4891-16_0_2_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_4891-16_0_2_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_4891-16_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4891-16_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_4891-16_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4891-16_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4891-16_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_4891-16_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4891-16_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4891-16_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4891-16_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4891-16_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4891-16_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4891-16_0_2_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4891-16_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4891-16_0_2_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_4891-16_0_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_4891-16_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_4891-16_0_2_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4891-16_0_2_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4891-16_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_4891-16_0_2_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_4891-16_0_2_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_4891-16_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4891-16_0_2_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_4891-16_0_2_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_4891-16_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4891-16_0_2_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4891-16_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4891-16_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_4891-16_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4891-16_0_2_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_4891-16_0_2_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_4891-16_0_2_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_4891-16_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_4891-16_0_2_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_4891-16_0_2_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4891-16_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4891-16_0_2_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4891-16_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4891-16_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4891-16_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4891-16_0_2_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4891-16_0_2_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_4891-16_0_2_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_4891-16_0_2_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_4891-16_0_2_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_4891-16_0_2_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4891-16_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4891-16_0_2_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4891-16_0_2_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_4891-16_0_2_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4891-16_0_2_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4891-16_0_2_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4891-16_0_2_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4891-16_0_2_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4891-16_0_2_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_4891-16_0_2_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_4891-16_0_2_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4891-16_0_2_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_4891-16_0_2_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_4891-16_0_2_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_4891-16_0_2_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_4891-16_0_2_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4891-16_0_2_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4891-16_0_2_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4891-16_0_2_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4891-16_0_2_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_4891-16_0_2_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_4891-16_0_2_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_4891-16_0_2_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_4891-16_0_2_node_91 | 0.4 | n |  | TRUE
95 | bus_MV_487_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4891-16_0_2_load_0 | 0 | 0.00054791 | 0.00013732 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4891-16_0_2_load_65 | 1 | 0.00065338 | 0.00016375 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4891-16_0_2_load_66 | 2 | 0.0006223 | 0.00015596 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4891-16_0_2_load_1 | 3 | 0.00066137 | 0.00016576 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4891-16_0_2_load_92 | 5 | 0.0008849 | 0.00022178 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4891-16_0_2_load_94 | 7 | 0.00058629 | 0.00014694 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4891-16_0_2_load_45 | 8 | 0.00065625 | 0.00016447 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4891-16_0_2_load_3 | 9 | 0.0085167 | 0.0021345 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4891-16_0_2_load_4 | 10 | 0.0038298 | 0.00095983 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4891-16_0_2_load_5 | 11 | 0.006477 | 0.0016233 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4891-16_0_2_load_40 | 15 | 0.0049309 | 0.0012358 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4891-16_0_2_load_16 | 16 | 0.0050462 | 0.0012647 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4891-16_0_2_load_27 | 17 | 0.0072547 | 0.0018182 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4891-16_0_2_load_36 | 18 | 0.0025949 | 0.00065035 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4891-16_0_2_load_74 | 19 | 0.0031431 | 0.00078773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4891-16_0_2_load_14 | 20 | 0.0034421 | 0.00086267 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4891-16_0_2_load_8 | 21 | 0.00063125 | 0.00015821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4891-16_0_2_load_9 | 22 | 0.0030749 | 0.00077063 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4891-16_0_2_load_10 | 23 | 0.00049666 | 0.00012447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4891-16_0_2_load_23 | 27 | 0.0012053 | 0.00030208 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4891-16_0_2_load_13 | 28 | 0.0053157 | 0.0013323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4891-16_0_2_load_15 | 29 | 0.0025399 | 0.00063657 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4891-16_0_2_load_17 | 30 | 0.0025644 | 0.0006427 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4891-16_0_2_load_42 | 31 | 0.0080234 | 0.0020109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4891-16_0_2_load_35 | 32 | 0.0038915 | 0.00097529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4891-16_0_2_load_18 | 33 | 0.001314 | 0.00032931 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4891-16_0_2_load_19 | 34 | 0.0011463 | 0.00028729 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4891-16_0_2_load_20 | 35 | 0.0020003 | 0.00050132 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4891-16_0_2_load_21 | 36 | 0.0023849 | 0.00059772 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4891-16_0_2_load_22 | 37 | 0.0022449 | 0.00056263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4891-16_0_2_load_41 | 39 | 0.0017527 | 0.00043927 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4891-16_0_2_load_31 | 40 | 0.0027289 | 0.00068394 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4891-16_0_2_load_24 | 41 | 0.00064933 | 0.00016274 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4891-16_0_2_load_26 | 42 | 0.00087807 | 0.00022006 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4891-16_0_2_load_43 | 43 | 0.0077459 | 0.0019413 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4891-16_0_2_load_52 | 45 | 0.0044881 | 0.0011248 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4891-16_0_2_load_51 | 46 | 0.0021794 | 0.00054621 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4891-16_0_2_load_49 | 47 | 0.0008822 | 0.0002211 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4891-16_0_2_load_30 | 48 | 0.0063238 | 0.0015849 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4891-16_0_2_load_34 | 50 | 0.0029663 | 0.00074342 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4891-16_0_2_load_38 | 52 | 0.0021756 | 0.00054525 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4891-16_0_2_load_39 | 53 | 0.0023045 | 0.00057757 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4891-16_0_2_load_86 | 56 | 0.001374 | 0.00034437 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4891-16_0_2_load_53 | 57 | 0.00075968 | 0.00019039 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4891-16_0_2_load_54 | 58 | 0.0049294 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4891-16_0_2_load_47 | 59 | 0.0013299 | 0.00033331 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4891-16_0_2_load_48 | 60 | 0.0010087 | 0.00025279 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4891-16_0_2_load_55 | 61 | 0.00066758 | 0.00016731 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4891-16_0_2_load_56 | 62 | 0.00058629 | 0.00014694 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4891-16_0_2_load_57 | 63 | 0.00058629 | 0.00014694 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4891-16_0_2_load_95 | 66 | 0.0010051 | 0.0002519 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4891-16_0_2_load_80 | 67 | 0.00052436 | 0.00013142 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4891-16_0_2_load_93 | 68 | 0.00050848 | 0.00012744 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4891-16_0_2_load_64 | 70 | 0.00027398 | 6.8666e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4891-16_0_2_load_60 | 71 | 0.00073114 | 0.00018324 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4891-16_0_2_load_61 | 72 | 0.00053556 | 0.00013422 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4891-16_0_2_load_62 | 73 | 0.00055064 | 0.000138 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4891-16_0_2_load_63 | 74 | 0.00071763 | 0.00017985 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4891-16_0_2_load_67 | 75 | 0.00027369 | 6.8593e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4891-16_0_2_load_68 | 76 | 0.0020534 | 0.00051463 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4891-16_0_2_load_69 | 77 | 0.0022242 | 0.00055742 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4891-16_0_2_load_72 | 79 | 0.0037392 | 0.00093712 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4891-16_0_2_load_73 | 80 | 0.0022532 | 0.00056472 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4891-16_0_2_load_85 | 81 | 0.0026068 | 0.00065333 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4891-16_0_2_load_84 | 83 | 0.0027167 | 0.00068086 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4891-16_0_2_load_89 | 84 | 0.0010954 | 0.00027453 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4891-16_0_2_load_75 | 85 | 0.00093129 | 0.0002334 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4891-16_0_2_load_76 | 86 | 0.003473 | 0.00087043 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4891-16_0_2_load_78 | 87 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4891-16_0_2_load_81 | 89 | 0.010015 | 0.00251 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4891-16_0_2_load_96 | 90 | 0.0010587 | 0.00026533 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4891-16_0_2_load_82 | 91 | 0.010053 | 0.0025196 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4891-16_0_2_load_83 | 92 | 0.0031431 | 0.00078773 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4891-16_0_2_load_90 | 93 | 0.0005128 | 0.00012852 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4891-16_0_2_load_91 | 94 | 0.0030628 | 0.00076761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4891-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.054064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4891-16_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.014175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4891-16_0_2_line_2 | NAYY 4x150 SE | 2 | 75 | 0.0048894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4891-16_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.043166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4891-16_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4891-16_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.048503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4891-16_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.02656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4891-16_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4891-16_0_2_line_8 | NAYY 4x150 SE | 7 | 64 | 0.011454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4891-16_0_2_line_9 | NAYY 4x150 SE | 8 | 57 | 0.022533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4891-16_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.042644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4891-16_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0002452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4891-16_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0055261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4891-16_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.027567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_4891-16_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.010469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4891-16_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.029989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4891-16_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0043988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4891-16_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.01479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4891-16_0_2_line_18 | NAYY 4x150 SE | 16 | 20 | 0.015904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4891-16_0_2_line_19 | NAYY 4x150 SE | 17 | 25 | 0.017357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4891-16_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.00020723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4891-16_0_2_line_21 | NAYY 4x150 SE | 19 | 54 | 0.021377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_4891-16_0_2_line_22 | NAYY 4x150 SE | 20 | 28 | 0.0040725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_4891-16_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.012302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4891-16_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.012961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4891-16_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0040294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4891-16_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.024127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4891-16_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.048275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4891-16_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.030203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4891-16_0_2_line_29 | NAYY 4x150 SE | 26 | 44 | 0.024426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4891-16_0_2_line_30 | NAYY 4x150 SE | 26 | 45 | 0.029088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4891-16_0_2_line_31 | NAYY 4x150 SE | 27 | 41 | 0.014203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4891-16_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.025662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4891-16_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.00022643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4891-16_0_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.012341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_4891-16_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4891-16_0_2_line_36 | NAYY 4x150 SE | 32 | 49 | 0.023552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4891-16_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0017246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4891-16_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.036349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4891-16_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0052708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4891-16_0_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.020945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4891-16_0_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.024434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4891-16_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.017409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4891-16_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.021481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4891-16_0_2_line_44 | NAYY 4x150 SE | 40 | 48 | 0.02607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4891-16_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.016304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4891-16_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.031006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4891-16_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.029387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4891-16_0_2_line_48 | NAYY 4x150 SE | 44 | 47 | 0.014969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4891-16_0_2_line_49 | NAYY 4x150 SE | 47 | 60 | 0.015711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4891-16_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0082869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4891-16_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.014578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4891-16_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.017857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4891-16_0_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.012899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4891-16_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.029379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_4891-16_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.016623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_4891-16_0_2_line_56 | NAYY 4x150 SE | 54 | 81 | 0.0049119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4891-16_0_2_line_57 | NAYY 4x150 SE | 54 | 77 | 0.018722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_4891-16_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.034842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4891-16_0_2_line_59 | NAYY 4x150 SE | 56 | 79 | 0.0026496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_4891-16_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.016784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4891-16_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.1479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4891-16_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.009431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4891-16_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.0097671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4891-16_0_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.014841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4891-16_0_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.015076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4891-16_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.024241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4891-16_0_2_line_67 | NAYY 4x150 SE | 65 | 67 | 0.016867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4891-16_0_2_line_68 | NAYY 4x150 SE | 65 | 68 | 0.018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4891-16_0_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.02137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4891-16_0_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.01169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4891-16_0_2_line_71 | NAYY 4x150 SE | 69 | 88 | 0.021626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4891-16_0_2_line_72 | NAYY 4x150 SE | 69 | 85 | 0.013786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4891-16_0_2_line_73 | NAYY 4x150 SE | 70 | 73 | 0.0011979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4891-16_0_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0046212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4891-16_0_2_line_75 | NAYY 4x150 SE | 71 | 73 | 0.0023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4891-16_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.014616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4891-16_0_2_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0052489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4891-16_0_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.023232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_4891-16_0_2_line_79 | NAYY 4x150 SE | 76 | 78 | 0.0098284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_4891-16_0_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.011826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4891-16_0_2_line_81 | NAYY 4x150 SE | 78 | 80 | 0.011293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4891-16_0_2_line_82 | NAYY 4x150 SE | 80 | 82 | 0.01667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4891-16_0_2_line_83 | NAYY 4x150 SE | 81 | 83 | 0.025338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4891-16_0_2_line_84 | NAYY 4x150 SE | 82 | 84 | 0.02001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4891-16_0_2_line_85 | NAYY 4x150 SE | 83 | 92 | 0.0053344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4891-16_0_2_line_86 | NAYY 4x150 SE | 84 | 93 | 0.010516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4891-16_0_2_line_87 | NAYY 4x150 SE | 85 | 86 | 0.025934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4891-16_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.01583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4891-16_0_2_line_89 | NAYY 4x150 SE | 87 | 89 | 0.019426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4891-16_0_2_line_90 | NAYY 4x150 SE | 88 | 90 | 0.017892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4891-16_0_2_line_91 | NAYY 4x150 SE | 89 | 91 | 0.0013542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4891-16_0_2_line_92 | NAYY 4x150 SE | 91 | 92 | 0.007466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4891-16_0_2_line_93 | NAYY 4x150 SE | 93 | 94 | 0.015125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4891-16_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 95 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2730592.5092 | 1271348.5781 | 2730645.5434 | 1271338.0739
1 | 2730592.5092 | 1271348.5781 | 2730592.7707 | 1271349.7932 | 2730590.3498 | 1271362.4964
2 | 2730590.3498 | 1271362.4964 | 2730589.4345 | 1271367.2993
3 | 2730688.5009 | 1271425.5163 | 2730688.1433 | 1271414.142 | 2730678.4938 | 1271392.1519 | 2730675.0375 | 1271385.191
4 | 2730688.5009 | 1271425.5163 | 2730673.3919 | 1271425.2956
5 | 2730688.5009 | 1271425.5163 | 2730695.4897 | 1271426.9723 | 2730703.6786 | 1271430.9796 | 2730709.1315 | 1271435.5268 | 2730693.1691 | 1271454.9588
6 | 2730646.8349 | 1271424.9077 | 2730673.3919 | 1271425.2956
7 | 2730693.1691 | 1271454.9588 | 2730681.9263 | 1271454.496
8 | 2730635.3826 | 1271424.7404 | 2730646.8349 | 1271424.9077
9 | 2730681.9263 | 1271454.496 | 2730674.4485 | 1271454.1883 | 2730659.3998 | 1271454.2208
10 | 2730509.9749 | 1271559.0148 | 2730552.1538 | 1271565.2972
11 | 2730509.9749 | 1271559.0148 | 2730509.7324 | 1271558.9786
12 | 2730557.6196 | 1271566.1113 | 2730552.1538 | 1271565.2972
13 | 2730482.4665 | 1271554.9175 | 2730509.7324 | 1271558.9786
14 | 2730557.6196 | 1271566.1113 | 2730567.9471 | 1271568.0081
15 | 2730557.6196 | 1271566.1113 | 2730556.6245 | 1271580.136 | 2730554.8415 | 1271588.6158 | 2730552.1971 | 1271595.3806
16 | 2730482.4665 | 1271554.9175 | 2730478.0756 | 1271554.6538
17 | 2730567.9471 | 1271568.0081 | 2730582.5027 | 1271570.6328
18 | 2730462.2003 | 1271553.7006 | 2730478.0756 | 1271554.6538
19 | 2730599.5839 | 1271573.713 | 2730582.5027 | 1271570.6328
20 | 2730490.1834 | 1271508.1167 | 2730490.1444 | 1271508.3202
21 | 2730494.2149 | 1271487.1235 | 2730490.1834 | 1271508.1167
22 | 2730462.2003 | 1271553.7006 | 2730458.1351 | 1271553.4565
23 | 2730568.1224 | 1271599.1504 | 2730577.6317 | 1271591.3451
24 | 2730558.1042 | 1271607.3733 | 2730568.1224 | 1271599.1504
25 | 2730580.7462 | 1271588.7886 | 2730577.6317 | 1271591.3451
26 | 2730580.7462 | 1271588.7886 | 2730586.9898 | 1271583.7886 | 2730599.5839 | 1271573.713
27 | 2730599.5839 | 1271573.713 | 2730610.9616 | 1271575.7555 | 2730619.0316 | 1271577.9916 | 2730623.3186 | 1271580.1329 | 2730626.8407 | 1271582.8356 | 2730631.0538 | 1271586.955 | 2730639.2369 | 1271597.3348
28 | 2730599.5839 | 1271573.713 | 2730610.8802 | 1271557.3361 | 2730617.3276 | 1271549.2927
29 | 2730654.3579 | 1271616.5543 | 2730639.2369 | 1271597.3348
30 | 2730639.2369 | 1271597.3348 | 2730662.7637 | 1271580.2284
31 | 2730626.2111 | 1271538.2102 | 2730617.3276 | 1271549.2927
32 | 2730432.5189 | 1271551.9183 | 2730458.1351 | 1271553.4565
33 | 2730432.5189 | 1271551.9183 | 2730432.2928 | 1271551.9047
34 | 2730419.974 | 1271551.165 | 2730432.2928 | 1271551.9047
35 | 2730419.974 | 1271551.165 | 2730402.2086 | 1271550.0983
36 | 2730378.6986 | 1271548.6865 | 2730402.2086 | 1271550.0983
37 | 2730336.0106 | 1271571.8756 | 2730336.7677 | 1271573.4251
38 | 2730353.5315 | 1271605.5459 | 2730351.1348 | 1271602.8297 | 2730336.7677 | 1271573.4251
39 | 2730333.6967 | 1271567.1398 | 2730336.0106 | 1271571.8756
40 | 2730353.5315 | 1271605.5459 | 2730367.3891 | 1271621.2511
41 | 2730322.9704 | 1271545.1866 | 2730333.6967 | 1271567.1398
42 | 2730322.9704 | 1271545.1866 | 2730310.2487 | 1271544.3606 | 2730305.6993 | 1271543.3487
43 | 2730322.9704 | 1271545.1866 | 2730344.409 | 1271546.533
44 | 2730344.409 | 1271546.533 | 2730370.4281 | 1271548.1671
45 | 2730636.4081 | 1271525.489 | 2730626.2111 | 1271538.2102
46 | 2730636.4081 | 1271525.489 | 2730655.8005 | 1271501.2963
47 | 2730654.3579 | 1271616.5543 | 2730667.2346 | 1271634.156 | 2730672.0017 | 1271640.0472
48 | 2730654.3579 | 1271616.5543 | 2730645.4146 | 1271624.1971 | 2730643.8812 | 1271627.0107
49 | 2730643.8812 | 1271627.0107 | 2730636.3629 | 1271640.8059
50 | 2730378.6986 | 1271548.6865 | 2730370.4281 | 1271548.1671
51 | 2730378.6986 | 1271548.6865 | 2730381.5949 | 1271534.3995
52 | 2730385.1427 | 1271516.8985 | 2730381.5949 | 1271534.3995
53 | 2730385.1427 | 1271516.8985 | 2730372.4191 | 1271514.7815
54 | 2730385.1427 | 1271516.8985 | 2730390.9789 | 1271488.105
55 | 2730394.2812 | 1271471.8129 | 2730390.9789 | 1271488.105
56 | 2730494.2149 | 1271487.1235 | 2730499.0701 | 1271487.868
57 | 2730494.2149 | 1271487.1235 | 2730475.7083 | 1271484.2896
58 | 2730394.2812 | 1271471.8129 | 2730428.7205 | 1271477.092
59 | 2730428.7205 | 1271477.092 | 2730431.3395 | 1271477.4934
60 | 2730643.4691 | 1271458.5293 | 2730653.8586 | 1271454.2328 | 2730659.3998 | 1271454.2208
61 | 2730636.3629 | 1271640.8059 | 2730569.113 | 1271772.5314
62 | 2730611.111 | 1271424.6978 | 2730620.5419 | 1271424.7143
63 | 2730611.111 | 1271424.6978 | 2730601.3438 | 1271424.6806
64 | 2730635.3826 | 1271424.7404 | 2730620.5419 | 1271424.7143
65 | 2730586.2676 | 1271424.6542 | 2730601.3438 | 1271424.6806
66 | 2730635.7161 | 1271400.5024 | 2730635.3826 | 1271424.7404
67 | 2730586.2676 | 1271424.6542 | 2730569.6398 | 1271421.8234
68 | 2730586.2676 | 1271424.6542 | 2730586.1461 | 1271406.6541
69 | 2730548.5729 | 1271418.2369 | 2730569.6398 | 1271421.8234
70 | 2730586.0672 | 1271394.9643 | 2730586.1461 | 1271406.6541
71 | 2730548.5729 | 1271418.2369 | 2730527.2346 | 1271414.3505
72 | 2730548.5729 | 1271418.2369 | 2730546.295 | 1271431.8335
73 | 2730586.0672 | 1271394.9643 | 2730586.0591 | 1271393.7664
74 | 2730586.0435 | 1271391.4609 | 2730586.0123 | 1271386.8398
75 | 2730586.0435 | 1271391.4609 | 2730586.0591 | 1271393.7664
76 | 2730588.4519 | 1271372.4555 | 2730586.002 | 1271385.3108 | 2730586.0123 | 1271386.8398
77 | 2730588.4519 | 1271372.4555 | 2730589.4345 | 1271367.2993
78 | 2730452.7445 | 1271480.773 | 2730475.7083 | 1271484.2896
79 | 2730443.0293 | 1271479.2853 | 2730452.7445 | 1271480.773
80 | 2730443.0293 | 1271479.2853 | 2730431.3395 | 1271477.4934
81 | 2730443.0293 | 1271479.2853 | 2730444.8923 | 1271468.1472
82 | 2730447.6424 | 1271451.7054 | 2730444.8923 | 1271468.1472
83 | 2730524.1155 | 1271491.708 | 2730499.0701 | 1271487.868
84 | 2730447.6424 | 1271451.7054 | 2730467.3803 | 1271454.9937
85 | 2730524.1155 | 1271491.708 | 2730529.3883 | 1271492.5164
86 | 2730467.3803 | 1271454.9937 | 2730477.753 | 1271456.7217
87 | 2730546.295 | 1271431.8335 | 2730546.2839 | 1271431.8994 | 2730542.3441 | 1271457.4648
88 | 2730542.3441 | 1271457.4648 | 2730539.9331 | 1271473.1099
89 | 2730539.9331 | 1271473.1099 | 2730536.9743 | 1271492.3095
90 | 2730527.2346 | 1271414.3505 | 2730509.6629 | 1271410.9812
91 | 2730536.7681 | 1271493.6479 | 2730536.7681 | 1271493.6479 | 2730536.9743 | 1271492.3095
92 | 2730536.7681 | 1271493.6479 | 2730529.3883 | 1271492.5164
93 | 2730492.6726 | 1271459.2073 | 2730477.753 | 1271456.7217

## bus_geodata
| x | y | coords
0 | 2730645.5434 | 1271338.0739
1 | 2730592.5092 | 1271348.5781
2 | 2730590.3498 | 1271362.4964
3 | 2730675.0375 | 1271385.191
4 | 2730688.5009 | 1271425.5163
5 | 2730673.3919 | 1271425.2956
6 | 2730693.1691 | 1271454.9588
7 | 2730646.8349 | 1271424.9077
8 | 2730681.9263 | 1271454.496
9 | 2730509.9749 | 1271559.0148
10 | 2730552.1538 | 1271565.2972
11 | 2730509.7324 | 1271558.9786
12 | 2730557.6196 | 1271566.1113
13 | 2730482.4665 | 1271554.9175
14 | 2730567.9471 | 1271568.0081
15 | 2730552.1971 | 1271595.3806
16 | 2730478.0756 | 1271554.6538
17 | 2730582.5027 | 1271570.6328
18 | 2730490.1444 | 1271508.3202
19 | 2730490.1834 | 1271508.1167
20 | 2730462.2003 | 1271553.7006
21 | 2730568.1224 | 1271599.1504
22 | 2730577.6317 | 1271591.3451
23 | 2730558.1042 | 1271607.3733
24 | 2730580.7462 | 1271588.7886
25 | 2730599.5839 | 1271573.713
26 | 2730639.2369 | 1271597.3348
27 | 2730617.3276 | 1271549.2927
28 | 2730458.1351 | 1271553.4565
29 | 2730432.5189 | 1271551.9183
30 | 2730432.2928 | 1271551.9047
31 | 2730419.974 | 1271551.165
32 | 2730402.2086 | 1271550.0983
33 | 2730336.7677 | 1271573.4251
34 | 2730336.0106 | 1271571.8756
35 | 2730353.5315 | 1271605.5459
36 | 2730333.6967 | 1271567.1398
37 | 2730367.3891 | 1271621.2511
38 | 2730322.9704 | 1271545.1866
39 | 2730305.6993 | 1271543.3487
40 | 2730344.409 | 1271546.533
41 | 2730626.2111 | 1271538.2102
42 | 2730636.4081 | 1271525.489
43 | 2730655.8005 | 1271501.2963
44 | 2730654.3579 | 1271616.5543
45 | 2730662.7637 | 1271580.2284
46 | 2730672.0017 | 1271640.0472
47 | 2730643.8812 | 1271627.0107
48 | 2730370.4281 | 1271548.1671
49 | 2730378.6986 | 1271548.6865
50 | 2730381.5949 | 1271534.3995
51 | 2730385.1427 | 1271516.8985
52 | 2730372.4191 | 1271514.7815
53 | 2730390.9789 | 1271488.105
54 | 2730494.2149 | 1271487.1235
55 | 2730394.2812 | 1271471.8129
56 | 2730428.7205 | 1271477.092
57 | 2730659.3998 | 1271454.2208
58 | 2730643.4691 | 1271458.5293
59 | 2730569.113 | 1271772.5314
60 | 2730636.3629 | 1271640.8059
61 | 2730611.111 | 1271424.6978
62 | 2730620.5419 | 1271424.7143
63 | 2730601.3438 | 1271424.6806
64 | 2730635.3826 | 1271424.7404
65 | 2730586.2676 | 1271424.6542
66 | 2730635.7161 | 1271400.5024
67 | 2730569.6398 | 1271421.8234
68 | 2730586.1461 | 1271406.6541
69 | 2730548.5729 | 1271418.2369
70 | 2730586.0672 | 1271394.9643
71 | 2730586.0435 | 1271391.4609
72 | 2730586.0123 | 1271386.8398
73 | 2730586.0591 | 1271393.7664
74 | 2730588.4519 | 1271372.4555
75 | 2730589.4345 | 1271367.2993
76 | 2730452.7445 | 1271480.773
77 | 2730475.7083 | 1271484.2896
78 | 2730443.0293 | 1271479.2853
79 | 2730431.3395 | 1271477.4934
80 | 2730444.8923 | 1271468.1472
81 | 2730499.0701 | 1271487.868
82 | 2730447.6424 | 1271451.7054
83 | 2730524.1155 | 1271491.708
84 | 2730467.3803 | 1271454.9937
85 | 2730546.295 | 1271431.8335
86 | 2730542.3441 | 1271457.4648
87 | 2730539.9331 | 1271473.1099
88 | 2730527.2346 | 1271414.3505
89 | 2730536.9743 | 1271492.3095
90 | 2730509.6629 | 1271410.9812
91 | 2730536.7681 | 1271493.6479
92 | 2730529.3883 | 1271492.5164
93 | 2730477.753 | 1271456.7217
94 | 2730492.6726 | 1271459.2073
95 | 2730494.2149 | 1271487.1235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1