## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4891-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4891-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4891-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4891-2_0_4_node_105 | 0.4 | n |  | TRUE
4 | bus_LV_4891-2_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4891-2_0_4_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_4891-2_0_4_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_4891-2_0_4_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_4891-2_0_4_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_4891-2_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4891-2_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4891-2_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4891-2_0_4_node_106 | 0.4 | n |  | TRUE
13 | bus_LV_4891-2_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4891-2_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_4891-2_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_4891-2_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4891-2_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4891-2_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4891-2_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4891-2_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4891-2_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4891-2_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_4891-2_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4891-2_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4891-2_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4891-2_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_4891-2_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4891-2_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4891-2_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4891-2_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4891-2_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4891-2_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4891-2_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_4891-2_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4891-2_0_4_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_4891-2_0_4_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_4891-2_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4891-2_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4891-2_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4891-2_0_4_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_4891-2_0_4_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_4891-2_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4891-2_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4891-2_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4891-2_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4891-2_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4891-2_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4891-2_0_4_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_4891-2_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_4891-2_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4891-2_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4891-2_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4891-2_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_4891-2_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4891-2_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_4891-2_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4891-2_0_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_4891-2_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4891-2_0_4_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_4891-2_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4891-2_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_4891-2_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4891-2_0_4_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_4891-2_0_4_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_4891-2_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4891-2_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_4891-2_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_4891-2_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4891-2_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_4891-2_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_4891-2_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4891-2_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4891-2_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4891-2_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_4891-2_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_4891-2_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_4891-2_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_4891-2_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_4891-2_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4891-2_0_4_node_100 | 0.4 | n |  | TRUE
81 | bus_LV_4891-2_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_4891-2_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4891-2_0_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_4891-2_0_4_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_4891-2_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4891-2_0_4_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4891-2_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_4891-2_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4891-2_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_4891-2_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_4891-2_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_4891-2_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4891-2_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4891-2_0_4_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_4891-2_0_4_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_4891-2_0_4_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_4891-2_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_4891-2_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_4891-2_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_4891-2_0_4_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_4891-2_0_4_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_4891-2_0_4_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_4891-2_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_4891-2_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_MV_487_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4891-2_0_4_load_0 | 0 | 0.0024342 | 0.00061008 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4891-2_0_4_load_1 | 1 | 0.00038878 | 9.7438e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4891-2_0_4_load_105 | 3 | 0.00038478 | 9.6435e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4891-2_0_4_load_53 | 5 | 0.00049341 | 0.00012366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4891-2_0_4_load_64 | 6 | 0.0006856 | 0.00017183 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4891-2_0_4_load_63 | 8 | 0.00073793 | 0.00018494 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4891-2_0_4_load_4 | 9 | 0.00047171 | 0.00011822 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4891-2_0_4_load_5 | 10 | 0.00037214 | 9.3268e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4891-2_0_4_load_106 | 12 | 0.00024233 | 6.0734e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4891-2_0_4_load_7 | 13 | 0.0010213 | 0.00025595 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4891-2_0_4_load_31 | 14 | 0.0018385 | 0.00046076 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4891-2_0_4_load_8 | 16 | 0.0053558 | 0.0013423 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4891-2_0_4_load_9 | 17 | 0.0022127 | 0.00055455 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4891-2_0_4_load_12 | 20 | 0.0010031 | 0.0002514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4891-2_0_4_load_22 | 23 | 0.001531 | 0.0003837 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4891-2_0_4_load_14 | 24 | 0.0042814 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4891-2_0_4_load_26 | 26 | 0.0022739 | 0.00056989 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4891-2_0_4_load_23 | 27 | 0.0072291 | 0.0018118 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4891-2_0_4_load_21 | 28 | 0.0088749 | 0.0022243 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4891-2_0_4_load_18 | 29 | 0.013846 | 0.0034701 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4891-2_0_4_load_15 | 30 | 0.0017541 | 0.00043961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4891-2_0_4_load_16 | 31 | 0.00093364 | 0.00023399 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4891-2_0_4_load_17 | 32 | 0.00063908 | 0.00016017 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4891-2_0_4_load_86 | 35 | 0.0022054 | 0.00055272 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4891-2_0_4_load_69 | 36 | 0.00076211 | 0.000191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4891-2_0_4_load_34 | 37 | 0.046485 | 0.01165 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4891-2_0_4_load_35 | 38 | 0.00030516 | 7.648e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4891-2_0_4_load_89 | 40 | 5.1491e-05 | 1.2905e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4891-2_0_4_load_90 | 41 | 0.00073577 | 0.0001844 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4891-2_0_4_load_27 | 42 | 0.00041747 | 0.00010463 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4891-2_0_4_load_28 | 43 | 0.00033359 | 8.3607e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4891-2_0_4_load_37 | 45 | 0.00016677 | 4.1797e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4891-2_0_4_load_36 | 46 | 0.00027563 | 6.9078e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4891-2_0_4_load_33 | 47 | 0.00015766 | 3.9513e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4891-2_0_4_load_92 | 48 | 0.0031121 | 0.00077995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4891-2_0_4_load_67 | 49 | 0.0021399 | 0.00053632 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4891-2_0_4_load_38 | 50 | 0.0021169 | 0.00053054 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4891-2_0_4_load_39 | 51 | 0.00096749 | 0.00024248 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4891-2_0_4_load_41 | 53 | 0.00096851 | 0.00024273 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4891-2_0_4_load_42 | 54 | 0.0011395 | 0.0002856 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4891-2_0_4_load_48 | 56 | 0.00093015 | 0.00023312 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4891-2_0_4_load_66 | 57 | 0.00071015 | 0.00017798 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4891-2_0_4_load_55 | 58 | 0.0031192 | 0.00078174 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4891-2_0_4_load_49 | 60 | 0.00069924 | 0.00017525 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4891-2_0_4_load_65 | 61 | 0.00054119 | 0.00013564 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4891-2_0_4_load_54 | 62 | 0.0010961 | 0.00027471 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4891-2_0_4_load_81 | 63 | 0.0013493 | 0.00033817 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4891-2_0_4_load_78 | 64 | 0.0025491 | 0.00063886 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4891-2_0_4_load_44 | 65 | 0.00080605 | 0.00020201 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4891-2_0_4_load_45 | 66 | 0.00090207 | 0.00022608 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4891-2_0_4_load_46 | 67 | 0.00067556 | 0.00016931 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4891-2_0_4_load_47 | 68 | 0.0013259 | 0.00033229 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4891-2_0_4_load_50 | 69 | 0.0010235 | 0.00025651 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4891-2_0_4_load_51 | 70 | 0.0013227 | 0.00033151 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4891-2_0_4_load_56 | 71 | 0.0019019 | 0.00047667 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4891-2_0_4_load_57 | 72 | 0.0013888 | 0.00034806 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4891-2_0_4_load_58 | 73 | 0.00082275 | 0.0002062 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4891-2_0_4_load_61 | 76 | 0.0013327 | 0.000334 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4891-2_0_4_load_62 | 77 | 0.0025085 | 0.00062869 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4891-2_0_4_load_80 | 78 | 0.00215 | 0.00053884 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4891-2_0_4_load_71 | 79 | 0.0013283 | 0.0003329 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4891-2_0_4_load_100 | 80 | 0.0016787 | 0.00042073 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4891-2_0_4_load_84 | 81 | 0.0022714 | 0.00056926 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4891-2_0_4_load_72 | 82 | 0.0021709 | 0.00054408 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4891-2_0_4_load_101 | 83 | 0.0012066 | 0.00030239 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4891-2_0_4_load_68 | 84 | 0.0022786 | 0.00057108 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4891-2_0_4_load_70 | 85 | 0.00063669 | 0.00015957 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4891-2_0_4_load_73 | 86 | 0.0030743 | 0.00077049 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4891-2_0_4_load_74 | 87 | 0.0022385 | 0.00056101 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4891-2_0_4_load_75 | 88 | 0.0017429 | 0.00043682 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4891-2_0_4_load_76 | 89 | 0.0018397 | 0.00046108 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4891-2_0_4_load_88 | 92 | 0.0017411 | 0.00043637 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4891-2_0_4_load_85 | 93 | 0.0019778 | 0.00049568 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4891-2_0_4_load_82 | 94 | 0.0023369 | 0.00058569 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4891-2_0_4_load_83 | 95 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4891-2_0_4_load_91 | 96 | 0.0026253 | 0.00065797 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4891-2_0_4_load_93 | 99 | 0.0086315 | 0.0021633 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4891-2_0_4_load_97 | 100 | 0.013636 | 0.0034175 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4891-2_0_4_load_98 | 101 | 0.0092158 | 0.0023097 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4891-2_0_4_load_99 | 102 | 0.0036533 | 0.0009156 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4891-2_0_4_load_102 | 103 | 0.011981 | 0.0030027 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4891-2_0_4_load_103 | 104 | 0.0014919 | 0.00037389 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4891-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4891-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4891-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.072162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4891-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4891-2_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.008998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4891-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4891-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.040745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4891-2_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0021495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4891-2_0_4_line_8 | NAYY 4x150 SE | 7 | 69 | 0.070899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4891-2_0_4_line_9 | NAYY 4x150 SE | 8 | 61 | 0.0029236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4891-2_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.013435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4891-2_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.00097076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4891-2_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.27588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4891-2_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.020857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4891-2_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.018763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4891-2_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.047298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4891-2_0_4_line_16 | NAYY 4x150 SE | 15 | 47 | 0.0085213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4891-2_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.040032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4891-2_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4891-2_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4891-2_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.07081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4891-2_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.10807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4891-2_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.013463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4891-2_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.058435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4891-2_0_4_line_24 | NAYY 4x150 SE | 22 | 26 | 0.02087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4891-2_0_4_line_25 | NAYY 4x150 SE | 23 | 27 | 0.075248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4891-2_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.041762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4891-2_0_4_line_27 | NAYY 4x150 SE | 25 | 28 | 0.0080083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4891-2_0_4_line_28 | NAYY 4x150 SE | 25 | 29 | 0.033807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4891-2_0_4_line_29 | NAYY 4x150 SE | 26 | 33 | 0.0069674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4891-2_0_4_line_30 | NAYY 4x150 SE | 27 | 39 | 0.027685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4891-2_0_4_line_31 | NAYY 4x150 SE | 28 | 37 | 0.021317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4891-2_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.036489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4891-2_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.031891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4891-2_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.043433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4891-2_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.019876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4891-2_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.038481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4891-2_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.018617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4891-2_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0047845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4891-2_0_4_line_39 | NAYY 4x150 SE | 35 | 48 | 0.0061628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4891-2_0_4_line_40 | NAYY 4x150 SE | 36 | 49 | 0.0011219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4891-2_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.070009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4891-2_0_4_line_42 | NAYY 4x150 SE | 38 | 46 | 0.0006761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4891-2_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.1761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4891-2_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.16417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4891-2_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0012769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4891-2_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.022555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4891-2_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.016414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4891-2_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.06013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4891-2_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0033774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4891-2_0_4_line_50 | NAYY 4x150 SE | 48 | 96 | 0.046435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4891-2_0_4_line_51 | NAYY 4x150 SE | 49 | 84 | 0.030148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4891-2_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0037244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4891-2_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.016954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4891-2_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.019214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4891-2_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.027458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4891-2_0_4_line_56 | NAYY 4x150 SE | 52 | 55 | 0.020302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4891-2_0_4_line_57 | NAYY 4x150 SE | 53 | 56 | 0.01383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4891-2_0_4_line_58 | NAYY 4x150 SE | 54 | 57 | 0.018771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4891-2_0_4_line_59 | NAYY 4x150 SE | 55 | 58 | 0.024229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4891-2_0_4_line_60 | NAYY 4x150 SE | 55 | 59 | 0.006849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4891-2_0_4_line_61 | NAYY 4x150 SE | 56 | 60 | 0.007543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4891-2_0_4_line_62 | NAYY 4x150 SE | 57 | 61 | 0.0042952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4891-2_0_4_line_63 | NAYY 4x150 SE | 58 | 62 | 0.018263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4891-2_0_4_line_64 | NAYY 4x150 SE | 59 | 63 | 0.040579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4891-2_0_4_line_65 | NAYY 4x150 SE | 59 | 64 | 0.028038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4891-2_0_4_line_66 | NAYY 4x150 SE | 60 | 68 | 0.01979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4891-2_0_4_line_67 | NAYY 4x150 SE | 62 | 71 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4891-2_0_4_line_68 | NAYY 4x150 SE | 64 | 75 | 0.024635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4891-2_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0022624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4891-2_0_4_line_70 | NAYY 4x150 SE | 65 | 67 | 0.027916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4891-2_0_4_line_71 | NAYY 4x150 SE | 66 | 68 | 0.00076514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4891-2_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0033251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4891-2_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0066122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4891-2_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4891-2_0_4_line_75 | NAYY 4x150 SE | 73 | 75 | 0.030975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4891-2_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.017203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4891-2_0_4_line_77 | NAYY 4x150 SE | 74 | 77 | 0.016442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4891-2_0_4_line_78 | NAYY 4x150 SE | 75 | 78 | 0.006754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4891-2_0_4_line_79 | NAYY 4x150 SE | 76 | 79 | 0.010544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4891-2_0_4_line_80 | NAYY 4x150 SE | 77 | 80 | 0.016775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4891-2_0_4_line_81 | NAYY 4x150 SE | 78 | 81 | 0.037242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4891-2_0_4_line_82 | NAYY 4x150 SE | 79 | 82 | 0.014466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4891-2_0_4_line_83 | NAYY 4x150 SE | 80 | 83 | 0.013724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4891-2_0_4_line_84 | NAYY 4x150 SE | 82 | 85 | 0.0056915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4891-2_0_4_line_85 | NAYY 4x150 SE | 83 | 104 | 0.0019877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4891-2_0_4_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0079315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4891-2_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0064832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4891-2_0_4_line_88 | NAYY 4x150 SE | 86 | 88 | 0.0074715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4891-2_0_4_line_89 | NAYY 4x150 SE | 87 | 89 | 0.019898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4891-2_0_4_line_90 | NAYY 4x150 SE | 88 | 90 | 0.02012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4891-2_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.005449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4891-2_0_4_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0097648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4891-2_0_4_line_93 | NAYY 4x150 SE | 91 | 93 | 0.0068427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4891-2_0_4_line_94 | NAYY 4x150 SE | 92 | 97 | 0.018012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4891-2_0_4_line_95 | NAYY 4x150 SE | 93 | 95 | 0.013711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4891-2_0_4_line_96 | NAYY 4x150 SE | 94 | 95 | 0.012705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4891-2_0_4_line_97 | NAYY 4x150 SE | 96 | 99 | 0.022596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4891-2_0_4_line_98 | NAYY 4x150 SE | 97 | 98 | 0.034617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4891-2_0_4_line_99 | NAYY 4x150 SE | 98 | 100 | 0.024935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4891-2_0_4_line_100 | NAYY 4x150 SE | 100 | 101 | 0.023027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4891-2_0_4_line_101 | NAYY 4x150 SE | 101 | 102 | 0.021863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4891-2_0_4_line_102 | NAYY 4x150 SE | 102 | 103 | 0.021844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4891-2_0_4_line_103 | NAYY 4x150 SE | 103 | 104 | 0.024257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4891-2_0_4_trafo_68 | 0.25 MVA 20/0.4 kV | 105 | 84 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2729364.4836 | 1271522.4877 | 2729359.8662 | 1271522.6136 | 2729349.3017 | 1271526.0188 | 2729331.9494 | 1271535.5865
1 | 2729516.8558 | 1271521.4532 | 2729364.4836 | 1271522.4877
2 | 2729331.9494 | 1271535.5865 | 2729371.113 | 1271596.1965
3 | 2729623.1436 | 1271509.2623 | 2729555.2748 | 1271516.8248 | 2729516.8558 | 1271521.4532
4 | 2729623.1436 | 1271509.2623 | 2729617.5549 | 1271516.3143
5 | 2729623.1436 | 1271509.2623 | 2729639.3298 | 1271507.6647
6 | 2729585.8876 | 1271541.1084 | 2729590.51 | 1271534.5035 | 2729604.5347 | 1271525.6807 | 2729616.4643 | 1271517.6904 | 2729617.5549 | 1271516.3143
7 | 2729641.4689 | 1271507.4535 | 2729639.3298 | 1271507.6647
8 | 2729585.8876 | 1271541.1084 | 2729580.0447 | 1271549.4881 | 2729557.9555 | 1271585.6268 | 2729548.8595 | 1271595.4921 | 2729547.3842 | 1271600.1752
9 | 2729641.4689 | 1271507.4535 | 2729644.3784 | 1271507.1664
10 | 2729322.4287 | 1271150.9848 | 2729309.553 | 1271147.1497
11 | 2729323.3591 | 1271151.2619 | 2729322.4287 | 1271150.9848
12 | 2729309.553 | 1271147.1497 | 2729093.1951 | 1271318.3184
13 | 2729323.3591 | 1271151.2619 | 2729343.0659 | 1271158.0935
14 | 2729360.7938 | 1271164.239 | 2729343.0659 | 1271158.0935
15 | 2729403.0093 | 1271185.55 | 2729361.6138 | 1271164.5233 | 2729360.7938 | 1271164.239
16 | 2729403.0093 | 1271185.55 | 2729411.2912 | 1271187.5559
17 | 2729741.6555 | 1271159.0951 | 2729733.1963 | 1271156.4325 | 2729704.6862 | 1271143.849
18 | 2729779.5298 | 1271162.634 | 2729747.4413 | 1271160.9163 | 2729741.6555 | 1271159.0951
19 | 2729690.7131 | 1271137.6817 | 2729704.6862 | 1271143.849
20 | 2729779.5298 | 1271162.634 | 2729774.7827 | 1271179.3345 | 2729760.1628 | 1271230.7439
21 | 2729690.7131 | 1271137.6817 | 2729694.0981 | 1271120.9735 | 2729720.4342 | 1271033.8247
22 | 2729756.4802 | 1271243.6935 | 2729760.1628 | 1271230.7439
23 | 2729720.4342 | 1271033.8247 | 2729698.0827 | 1271028.7067 | 2729672.1033 | 1271023.2645 | 2729663.1431 | 1271023.0826
24 | 2729756.4802 | 1271243.6935 | 2729749.0834 | 1271263.2086
25 | 2729587.9234 | 1271022.439 | 2729589.9946 | 1271022.7508 | 2729638.9224 | 1271022.591 | 2729663.1431 | 1271023.0826
26 | 2729587.1539 | 1271225.4364 | 2729588.9163 | 1271219.2024 | 2729592.5554 | 1271214.8893 | 2729615.5537 | 1271196.19
27 | 2729587.1539 | 1271225.4364 | 2729579.3716 | 1271223.5469
28 | 2729587.1539 | 1271225.4364 | 2729619.7274 | 1271234.4831
29 | 2729746.614 | 1271269.7237 | 2729749.0834 | 1271263.2086
30 | 2729560.5462 | 1271018.3228 | 2729569.9299 | 1271019.73 | 2729587.9234 | 1271022.439
31 | 2729558.6564 | 1271218.5175 | 2729579.3716 | 1271223.5469
32 | 2729654.8852 | 1271244.2476 | 2729619.7274 | 1271234.4831
33 | 2729654.8852 | 1271244.2476 | 2729685.6133 | 1271252.7818
34 | 2729727.4625 | 1271264.4047 | 2729685.6133 | 1271252.7818
35 | 2729746.614 | 1271269.7237 | 2729727.4625 | 1271264.4047
36 | 2729746.614 | 1271269.7237 | 2729735.3746 | 1271306.534
37 | 2729735.3746 | 1271306.534 | 2729752.9282 | 1271312.7349
38 | 2729735.3746 | 1271306.534 | 2729733.9763 | 1271311.1096
39 | 2729758.739 | 1271314.7877 | 2729752.9282 | 1271312.7349
40 | 2729733.6484 | 1271312.1825 | 2729733.9763 | 1271311.1096
41 | 2729558.6564 | 1271218.5175 | 2729546.9642 | 1271215.6788 | 2729490.0241 | 1271204.764
42 | 2729490.0241 | 1271204.764 | 2729489.7635 | 1271204.714 | 2729489.3616 | 1271204.6292
43 | 2729560.5462 | 1271018.3228 | 2729485.9353 | 1270858.8049
44 | 2729485.9353 | 1270858.8049 | 2729596.9194 | 1270737.8311
45 | 2729422.9843 | 1271214.8037 | 2729423.2684 | 1271213.5588
46 | 2729430.5266 | 1271192.2149 | 2729423.6787 | 1271211.7611 | 2729423.2684 | 1271213.5588
47 | 2729430.5266 | 1271192.2149 | 2729414.5736 | 1271188.351
48 | 2729430.5266 | 1271192.2149 | 2729489.3616 | 1271204.6292
49 | 2729414.5736 | 1271188.351 | 2729411.2912 | 1271187.5559
50 | 2729799.2269 | 1271335.6877 | 2729792.4454 | 1271328.4754 | 2729786.2715 | 1271324.5137 | 2729758.739 | 1271314.7877
51 | 2729733.6484 | 1271312.1825 | 2729730.2904 | 1271323.1714 | 2729731.2717 | 1271341.8033
52 | 2729696.3101 | 1271485.3301 | 2729696.6729 | 1271481.6235
53 | 2729694.6587 | 1271502.2034 | 2729696.3101 | 1271485.3301
54 | 2729698.1834 | 1271462.4856 | 2729698.2203 | 1271465.8137 | 2729696.6729 | 1271481.6235
55 | 2729694.6587 | 1271502.2034 | 2729667.3331 | 1271504.9006
56 | 2729714.9225 | 1271500.2021 | 2729694.6587 | 1271502.2034
57 | 2729692.0587 | 1271451.4314 | 2729695.4387 | 1271453.363 | 2729698.1269 | 1271457.3926 | 2729698.1834 | 1271462.4856
58 | 2729648.6528 | 1271506.7445 | 2729667.3331 | 1271504.9006
59 | 2729714.9225 | 1271500.2021 | 2729717.5746 | 1271511.3487 | 2729720.3625 | 1271522.4761 | 2729720.6411 | 1271523.7461
60 | 2729721.5118 | 1271498.2672 | 2729714.9225 | 1271500.2021
61 | 2729692.0587 | 1271451.4314 | 2729685.5096 | 1271447.6887
62 | 2729648.6528 | 1271506.7445 | 2729644.3784 | 1271507.1664
63 | 2729718.3617 | 1271540.991 | 2729722.3802 | 1271531.6736 | 2729720.6411 | 1271523.7461
64 | 2729721.5118 | 1271498.2672 | 2729724.1134 | 1271512.3934 | 2729727.6817 | 1271524.6501 | 2729737.4636 | 1271533.9182
65 | 2729721.5118 | 1271498.2672 | 2729726.7594 | 1271493.3556 | 2729730.3959 | 1271487.4521 | 2729734.9174 | 1271474.2907
66 | 2729668.5173 | 1271437.5564 | 2729674.7338 | 1271441.5305 | 2729685.5096 | 1271447.6887
67 | 2729712.0643 | 1271555.592 | 2729718.3617 | 1271540.991
68 | 2729744.6068 | 1271451.6969 | 2729738.3632 | 1271464.2606 | 2729734.9174 | 1271474.2907
69 | 2729665.9665 | 1271435.9257 | 2729667.8727 | 1271437.1442
70 | 2729659.2358 | 1271412.2513 | 2729658.2669 | 1271431.0034 | 2729665.9665 | 1271435.9257
71 | 2729667.8727 | 1271437.1442 | 2729668.5173 | 1271437.5564
72 | 2729547.3842 | 1271600.1752 | 2729546.3852 | 1271603.3466
73 | 2729736.0717 | 1271415.6628 | 2729736.7487 | 1271422.2403
74 | 2729734.2084 | 1271397.5615 | 2729736.0717 | 1271415.6628
75 | 2729744.6068 | 1271451.6969 | 2729740.4496 | 1271444.3208 | 2729739.5878 | 1271442.7893 | 2729737.5072 | 1271429.6089 | 2729736.7487 | 1271422.2403
76 | 2729734.2084 | 1271397.5615 | 2729733.3036 | 1271380.3823
77 | 2729734.2084 | 1271397.5615 | 2729750.4013 | 1271394.7107
78 | 2729744.6068 | 1271451.6969 | 2729749.7855 | 1271456.0325
79 | 2729732.7491 | 1271369.8531 | 2729733.3036 | 1271380.3823
80 | 2729750.4013 | 1271394.7107 | 2729759.1985 | 1271393.1619 | 2729766.9497 | 1271394.3578
81 | 2729749.7855 | 1271456.0325 | 2729760.1461 | 1271464.7062 | 2729779.3285 | 1271478.6751
82 | 2729732.7491 | 1271369.8531 | 2729731.9882 | 1271355.4074
83 | 2729780.5128 | 1271396.4505 | 2729766.9497 | 1271394.3578
84 | 2729731.9882 | 1271355.4074 | 2729731.6889 | 1271349.7238
85 | 2729780.5128 | 1271396.4505 | 2729782.4773 | 1271396.7536
86 | 2729731.2717 | 1271341.8033 | 2729731.6889 | 1271349.7238
87 | 2729832.1951 | 1271557.0112 | 2729830.242 | 1271563.1932
88 | 2729832.1951 | 1271557.0112 | 2729834.4458 | 1271549.8868
89 | 2729830.242 | 1271563.1932 | 2729824.2479 | 1271582.167
90 | 2729840.5067 | 1271530.7018 | 2729834.4458 | 1271549.8868
91 | 2729840.5067 | 1271530.7018 | 2729836.6331 | 1271526.8574
92 | 2729836.6331 | 1271526.8574 | 2729839.9347 | 1271519.423 | 2729840.7289 | 1271517.9993
93 | 2729836.6331 | 1271526.8574 | 2729831.7702 | 1271522.0434
94 | 2729850.2714 | 1271502.7899 | 2729846.9226 | 1271506.898 | 2729840.7289 | 1271517.9993
95 | 2729831.7702 | 1271522.0434 | 2729824.7982 | 1271515.1417 | 2729821.978 | 1271512.4476
96 | 2729812.7909 | 1271503.6716 | 2729821.978 | 1271512.4476
97 | 2729799.2269 | 1271335.6877 | 2729805.1739 | 1271342.0124 | 2729818.9606 | 1271343.893
98 | 2729863.6498 | 1271473.7787 | 2729858.7153 | 1271481.5554 | 2729853.5263 | 1271483.4542 | 2729853.0424 | 1271496.2113 | 2729850.2714 | 1271502.7899
99 | 2729863.6498 | 1271473.7787 | 2729848.691 | 1271453.8297
100 | 2729848.691 | 1271453.8297 | 2729839.2033 | 1271441.1769 | 2729832.5487 | 1271438.3954
101 | 2729832.5487 | 1271438.3954 | 2729818.1385 | 1271432.3722 | 2729814.7856 | 1271427.1035
102 | 2729802.4675 | 1271409.1894 | 2729804.4567 | 1271410.8732 | 2729814.7856 | 1271427.1035
103 | 2729802.4675 | 1271409.1894 | 2729788.9575 | 1271397.7535 | 2729782.4773 | 1271396.7536

## bus_geodata
| x | y | coords
0 | 2729364.4836 | 1271522.4877
1 | 2729331.9494 | 1271535.5865
2 | 2729516.8558 | 1271521.4532
3 | 2729371.113 | 1271596.1965
4 | 2729623.1436 | 1271509.2623
5 | 2729617.5549 | 1271516.3143
6 | 2729639.3298 | 1271507.6647
7 | 2729585.8876 | 1271541.1084
8 | 2729641.4689 | 1271507.4535
9 | 2729322.4287 | 1271150.9848
10 | 2729309.553 | 1271147.1497
11 | 2729323.3591 | 1271151.2619
12 | 2729093.1951 | 1271318.3184
13 | 2729343.0659 | 1271158.0935
14 | 2729360.7938 | 1271164.239
15 | 2729403.0093 | 1271185.55
16 | 2729741.6555 | 1271159.0951
17 | 2729704.6862 | 1271143.849
18 | 2729779.5298 | 1271162.634
19 | 2729690.7131 | 1271137.6817
20 | 2729760.1628 | 1271230.7439
21 | 2729720.4342 | 1271033.8247
22 | 2729756.4802 | 1271243.6935
23 | 2729663.1431 | 1271023.0826
24 | 2729615.5537 | 1271196.19
25 | 2729587.1539 | 1271225.4364
26 | 2729749.0834 | 1271263.2086
27 | 2729587.9234 | 1271022.439
28 | 2729579.3716 | 1271223.5469
29 | 2729619.7274 | 1271234.4831
30 | 2729685.6133 | 1271252.7818
31 | 2729654.8852 | 1271244.2476
32 | 2729727.4625 | 1271264.4047
33 | 2729746.614 | 1271269.7237
34 | 2729735.3746 | 1271306.534
35 | 2729752.9282 | 1271312.7349
36 | 2729733.9763 | 1271311.1096
37 | 2729558.6564 | 1271218.5175
38 | 2729490.0241 | 1271204.764
39 | 2729560.5462 | 1271018.3228
40 | 2729485.9353 | 1270858.8049
41 | 2729596.9194 | 1270737.8311
42 | 2729422.9843 | 1271214.8037
43 | 2729423.2684 | 1271213.5588
44 | 2729430.5266 | 1271192.2149
45 | 2729414.5736 | 1271188.351
46 | 2729489.3616 | 1271204.6292
47 | 2729411.2912 | 1271187.5559
48 | 2729758.739 | 1271314.7877
49 | 2729733.6484 | 1271312.1825
50 | 2729696.3101 | 1271485.3301
51 | 2729696.6729 | 1271481.6235
52 | 2729694.6587 | 1271502.2034
53 | 2729698.1834 | 1271462.4856
54 | 2729667.3331 | 1271504.9006
55 | 2729714.9225 | 1271500.2021
56 | 2729692.0587 | 1271451.4314
57 | 2729648.6528 | 1271506.7445
58 | 2729720.6411 | 1271523.7461
59 | 2729721.5118 | 1271498.2672
60 | 2729685.5096 | 1271447.6887
61 | 2729644.3784 | 1271507.1664
62 | 2729718.3617 | 1271540.991
63 | 2729737.4636 | 1271533.9182
64 | 2729734.9174 | 1271474.2907
65 | 2729665.9665 | 1271435.9257
66 | 2729667.8727 | 1271437.1442
67 | 2729659.2358 | 1271412.2513
68 | 2729668.5173 | 1271437.5564
69 | 2729547.3842 | 1271600.1752
70 | 2729546.3852 | 1271603.3466
71 | 2729712.0643 | 1271555.592
72 | 2729736.0717 | 1271415.6628
73 | 2729736.7487 | 1271422.2403
74 | 2729734.2084 | 1271397.5615
75 | 2729744.6068 | 1271451.6969
76 | 2729733.3036 | 1271380.3823
77 | 2729750.4013 | 1271394.7107
78 | 2729749.7855 | 1271456.0325
79 | 2729732.7491 | 1271369.8531
80 | 2729766.9497 | 1271394.3578
81 | 2729779.3285 | 1271478.6751
82 | 2729731.9882 | 1271355.4074
83 | 2729780.5128 | 1271396.4505
84 | 2729731.2717 | 1271341.8033
85 | 2729731.6889 | 1271349.7238
86 | 2729832.1951 | 1271557.0112
87 | 2729830.242 | 1271563.1932
88 | 2729834.4458 | 1271549.8868
89 | 2729824.2479 | 1271582.167
90 | 2729840.5067 | 1271530.7018
91 | 2729836.6331 | 1271526.8574
92 | 2729840.7289 | 1271517.9993
93 | 2729831.7702 | 1271522.0434
94 | 2729812.7909 | 1271503.6716
95 | 2729821.978 | 1271512.4476
96 | 2729799.2269 | 1271335.6877
97 | 2729850.2714 | 1271502.7899
98 | 2729863.6498 | 1271473.7787
99 | 2729818.9606 | 1271343.893
100 | 2729848.691 | 1271453.8297
101 | 2729832.5487 | 1271438.3954
102 | 2729814.7856 | 1271427.1035
103 | 2729802.4675 | 1271409.1894
104 | 2729782.4773 | 1271396.7536
105 | 2729735.3746 | 1271306.534

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1