## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4891-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4891-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4891-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4891-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4891-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4891-3_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_4891-3_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_4891-3_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_4891-3_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4891-3_0_3_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_4891-3_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4891-3_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4891-3_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4891-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4891-3_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4891-3_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4891-3_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_4891-3_0_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_4891-3_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4891-3_0_3_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_4891-3_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_4891-3_0_3_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_4891-3_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4891-3_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4891-3_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4891-3_0_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_4891-3_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_4891-3_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4891-3_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4891-3_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_4891-3_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4891-3_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_4891-3_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4891-3_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4891-3_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4891-3_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4891-3_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4891-3_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4891-3_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4891-3_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4891-3_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4891-3_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4891-3_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4891-3_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4891-3_0_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_4891-3_0_3_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_4891-3_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4891-3_0_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_4891-3_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4891-3_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4891-3_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4891-3_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4891-3_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_4891-3_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4891-3_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4891-3_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4891-3_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4891-3_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_4891-3_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_4891-3_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_4891-3_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4891-3_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_4891-3_0_3_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_4891-3_0_3_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_4891-3_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_4891-3_0_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_4891-3_0_3_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_4891-3_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_4891-3_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_4891-3_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4891-3_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4891-3_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4891-3_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_4891-3_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4891-3_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_4891-3_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_MV_487_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4891-3_0_3_load_0 | 0 | 0.0016396 | 0.00041093 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4891-3_0_3_load_1 | 1 | 0.0018314 | 0.000459 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4891-3_0_3_load_2 | 2 | 0.0015618 | 0.00039142 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4891-3_0_3_load_3 | 3 | 0.0039797 | 0.00099741 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4891-3_0_3_load_4 | 4 | 0.0028398 | 0.00071173 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4891-3_0_3_load_35 | 6 | 0.00091478 | 0.00022927 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4891-3_0_3_load_24 | 7 | 0.0024495 | 0.00061389 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4891-3_0_3_load_22 | 8 | 0.0014524 | 0.00036401 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4891-3_0_3_load_36 | 9 | 0.012237 | 0.0030669 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4891-3_0_3_load_5 | 10 | 0.0026344 | 0.00066024 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4891-3_0_3_load_8 | 13 | 0.0013403 | 0.00033591 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4891-3_0_3_load_9 | 14 | 0.0017632 | 0.0004419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4891-3_0_3_load_30 | 16 | 0.00098239 | 0.00024621 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4891-3_0_3_load_41 | 17 | 0.0019785 | 0.00049586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4891-3_0_3_load_10 | 18 | 0.0031033 | 0.00077777 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4891-3_0_3_load_53 | 19 | 0.003102 | 0.00077744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4891-3_0_3_load_31 | 20 | 0.0038499 | 0.00096487 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4891-3_0_3_load_16 | 23 | 0.0028425 | 0.0007124 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4891-3_0_3_load_12 | 24 | 0.00063979 | 0.00016035 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4891-3_0_3_load_54 | 25 | 0.0023281 | 0.00058348 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4891-3_0_3_load_13 | 26 | 0.00065383 | 0.00016387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4891-3_0_3_load_15 | 27 | 0.0010151 | 0.0002544 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4891-3_0_3_load_21 | 28 | 0.0012224 | 0.00030636 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4891-3_0_3_load_33 | 29 | 0.0014245 | 0.00035702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4891-3_0_3_load_19 | 30 | 0.00063602 | 0.0001594 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4891-3_0_3_load_17 | 32 | 0.00093371 | 0.00023401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4891-3_0_3_load_18 | 33 | 0.0003427 | 8.5889e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4891-3_0_3_load_27 | 35 | 0.00077526 | 0.0001943 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4891-3_0_3_load_25 | 36 | 0.0034211 | 0.00085741 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4891-3_0_3_load_45 | 37 | 0.0012458 | 0.00031223 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4891-3_0_3_load_43 | 39 | 0.00082843 | 0.00020762 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4891-3_0_3_load_28 | 40 | 0.0029958 | 0.00075082 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4891-3_0_3_load_29 | 41 | 0.0015739 | 0.00039446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4891-3_0_3_load_44 | 42 | 0.0010497 | 0.00026308 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4891-3_0_3_load_52 | 44 | 0.0013554 | 0.00033969 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4891-3_0_3_load_51 | 46 | 0.00060301 | 0.00015113 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4891-3_0_3_load_73 | 47 | 0.0043362 | 0.0010868 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4891-3_0_3_load_37 | 48 | 0.016675 | 0.004179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4891-3_0_3_load_39 | 50 | 0.02666 | 0.0066817 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4891-3_0_3_load_40 | 51 | 0.011604 | 0.0029084 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4891-3_0_3_load_48 | 52 | 0.032298 | 0.0080945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4891-3_0_3_load_47 | 53 | 0.0086103 | 0.002158 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4891-3_0_3_load_46 | 54 | 0.0029804 | 0.00074696 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4891-3_0_3_load_49 | 55 | 0.019833 | 0.0049707 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4891-3_0_3_load_66 | 59 | 0.0025126 | 0.00062971 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4891-3_0_3_load_69 | 62 | 0.00036431 | 9.1304e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4891-3_0_3_load_76 | 63 | 0.0030611 | 0.00076717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4891-3_0_3_load_61 | 64 | 0.00032485 | 8.1414e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4891-3_0_3_load_70 | 65 | 0.00018061 | 4.5266e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4891-3_0_3_load_77 | 66 | 0.0015839 | 0.00039697 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4891-3_0_3_load_71 | 67 | 0.00015803 | 3.9605e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4891-3_0_3_load_72 | 68 | 0.00059938 | 0.00015022 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4891-3_0_3_load_62 | 69 | 0.0013563 | 0.00033992 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4891-3_0_3_load_64 | 70 | 0.00050442 | 0.00012642 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4891-3_0_3_load_63 | 71 | 0.00036017 | 9.0268e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4891-3_0_3_load_65 | 72 | 0.00043505 | 0.00010904 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4891-3_0_3_load_67 | 73 | 0.00061752 | 0.00015477 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4891-3_0_3_load_68 | 74 | 0.000208 | 5.2129e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4891-3_0_3_load_78 | 75 | 0.002744 | 0.00068772 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4891-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0082944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4891-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0066468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4891-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0034667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4891-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00044331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4891-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4891-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.003322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4891-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4891-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0031313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4891-3_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.011073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4891-3_0_3_line_9 | NAYY 4x150 SE | 7 | 39 | 0.01264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4891-3_0_3_line_10 | NAYY 4x150 SE | 8 | 18 | 0.011465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4891-3_0_3_line_11 | NAYY 4x150 SE | 9 | 48 | 0.0074656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4891-3_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.016539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4891-3_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.010566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4891-3_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0028524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4891-3_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.011251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4891-3_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.003767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4891-3_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.004264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4891-3_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.013996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4891-3_0_3_line_19 | NAYY 4x150 SE | 15 | 19 | 0.015787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4891-3_0_3_line_20 | NAYY 4x150 SE | 16 | 20 | 0.014283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4891-3_0_3_line_21 | NAYY 4x150 SE | 17 | 21 | 0.011264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4891-3_0_3_line_22 | NAYY 4x150 SE | 19 | 25 | 0.0075873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4891-3_0_3_line_23 | NAYY 4x150 SE | 20 | 31 | 0.012431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4891-3_0_3_line_24 | NAYY 4x150 SE | 21 | 39 | 0.002645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4891-3_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4891-3_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.012394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4891-3_0_3_line_27 | NAYY 4x150 SE | 23 | 29 | 0.014415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4891-3_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0023439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4891-3_0_3_line_29 | NAYY 4x150 SE | 25 | 41 | 0.00076474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4891-3_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 6.7542e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4891-3_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0028265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4891-3_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.023214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4891-3_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.003588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4891-3_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0048929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4891-3_0_3_line_35 | NAYY 4x150 SE | 31 | 43 | 0.024739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4891-3_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4891-3_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.042453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4891-3_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.014981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4891-3_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.03398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4891-3_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.001848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4891-3_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.025794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4891-3_0_3_line_42 | NAYY 4x150 SE | 37 | 42 | 0.060429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4891-3_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.018885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4891-3_0_3_line_44 | NAYY 4x150 SE | 42 | 54 | 0.010801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4891-3_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.046451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4891-3_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.063242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4891-3_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4891-3_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.017432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4891-3_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0058395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4891-3_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.020465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4891-3_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.016001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4891-3_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.022298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4891-3_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.013886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4891-3_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0076535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4891-3_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.12412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4891-3_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.30248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4891-3_0_3_line_57 | NAYY 4x150 SE | 57 | 63 | 0.038515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4891-3_0_3_line_58 | NAYY 4x150 SE | 57 | 60 | 0.32692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4891-3_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.22216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4891-3_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.002598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4891-3_0_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.1677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4891-3_0_3_line_62 | NAYY 4x150 SE | 59 | 70 | 0.029691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4891-3_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4891-3_0_3_line_64 | NAYY 4x150 SE | 61 | 64 | 0.017446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4891-3_0_3_line_65 | NAYY 4x150 SE | 62 | 65 | 0.024051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4891-3_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.036622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4891-3_0_3_line_67 | NAYY 4x150 SE | 64 | 69 | 0.015819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4891-3_0_3_line_68 | NAYY 4x150 SE | 66 | 75 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4891-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0053749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4891-3_0_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.00112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4891-3_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.046984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4891-3_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.0012624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4891-3_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.019612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4891-3_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0033281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4891-3_0_3_trafo_48 | 0.25 MVA 20/0.4 kV | 76 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2729986.8678 | 1270627.8915 | 2729979.0908 | 1270625.008
1 | 2729986.8678 | 1270627.8915 | 2729987.2019 | 1270628.0154 | 2729993.3211 | 1270629.4729
2 | 2729979.0908 | 1270625.008 | 2729975.8402 | 1270623.8028
3 | 2729993.3211 | 1270629.4729 | 2729993.7524 | 1270629.5756
4 | 2729963.8582 | 1270619.3602 | 2729975.8402 | 1270623.8028
5 | 2729996.984 | 1270630.3453 | 2729993.7524 | 1270629.5756
6 | 2729963.8582 | 1270619.3602 | 2729965.7038 | 1270604.3618
7 | 2729963.8582 | 1270619.3602 | 2729960.9226 | 1270618.2708
8 | 2729996.984 | 1270630.3453 | 2730007.7552 | 1270632.9108
9 | 2729967.2477 | 1270591.8162 | 2729965.7038 | 1270604.3618
10 | 2729960.9226 | 1270618.2708 | 2729950.1738 | 1270614.2817
11 | 2730015.0177 | 1270634.6405 | 2730007.7552 | 1270632.9108
12 | 2729932.4634 | 1270579.1648 | 2729929.2452 | 1270595.3876
13 | 2729927.1892 | 1270605.7517 | 2729929.2452 | 1270595.3876
14 | 2729932.4634 | 1270579.1648 | 2729929.9564 | 1270577.8043
15 | 2729932.4634 | 1270579.1648 | 2729943.2823 | 1270582.2545
16 | 2729923.6907 | 1270604.329 | 2729927.1892 | 1270605.7517
17 | 2729929.9564 | 1270577.8043 | 2729926.2086 | 1270575.7705
18 | 2729956.7402 | 1270586.098 | 2729943.2823 | 1270582.2545
19 | 2729923.6907 | 1270604.329 | 2729920.4147 | 1270619.7725
20 | 2729913.6545 | 1270568.9579 | 2729926.2086 | 1270575.7705
21 | 2729967.5707 | 1270589.1911 | 2729956.7402 | 1270586.098
22 | 2729920.4147 | 1270619.7725 | 2729918.8402 | 1270627.1947
23 | 2729902.7287 | 1270563.0288 | 2729913.6545 | 1270568.9579
24 | 2729967.5707 | 1270589.1911 | 2729967.2477 | 1270591.8162
25 | 2729889.6839 | 1270592.5144 | 2729895.4449 | 1270579.4926
26 | 2729889.6839 | 1270592.5144 | 2729884.2546 | 1270596.4098 | 2729882.213 | 1270601.7441
27 | 2729895.4449 | 1270579.4926 | 2729901.277 | 1270566.3101
28 | 2729881.3752 | 1270603.9332 | 2729882.213 | 1270601.7441
29 | 2729918.6815 | 1270627.9428 | 2729918.8402 | 1270627.1947
30 | 2729881.3752 | 1270603.9332 | 2729881.3728 | 1270603.9395
31 | 2729881.3728 | 1270603.9395 | 2729880.3625 | 1270606.5792
32 | 2729872.0649 | 1270628.2597 | 2729880.3625 | 1270606.5792
33 | 2729902.7287 | 1270563.0288 | 2729901.277 | 1270566.3101
34 | 2729872.0649 | 1270628.2597 | 2729870.316 | 1270632.8294
35 | 2729902.7287 | 1270563.0288 | 2729905.8729 | 1270551.1422 | 2729905.3639 | 1270538.7082
36 | 2729869.6434 | 1270634.5867 | 2729870.316 | 1270632.8294
37 | 2729851.82 | 1270672.8692 | 2729859.3004 | 1270661.6118 | 2729869.6434 | 1270634.5867
38 | 2729851.82 | 1270672.8692 | 2729839.6615 | 1270675.4377 | 2729837.1124 | 1270675.599
39 | 2729851.82 | 1270672.8692 | 2729864.7125 | 1270672.1742 | 2729884.9569 | 1270678.0099
40 | 2729835.268 | 1270675.7158 | 2729837.1124 | 1270675.599
41 | 2729909.7415 | 1270685.1544 | 2729884.9569 | 1270678.0099
42 | 2729775.188 | 1270681.4487 | 2729792.3317 | 1270678.4337 | 2729835.268 | 1270675.7158
43 | 2729909.7415 | 1270685.1544 | 2729906.1995 | 1270703.7043
44 | 2729775.188 | 1270681.4487 | 2729772.7709 | 1270681.8738 | 2729765.0794 | 1270685.1156
45 | 2729905.3639 | 1270538.7082 | 2729858.9464 | 1270536.9365
46 | 2729869.0242 | 1270487.872 | 2729879.4587 | 1270500.7358 | 2729900.1331 | 1270524.6909 | 2729905.2665 | 1270536.2926 | 2729905.3639 | 1270538.7082
47 | 2729837.9208 | 1270536.134 | 2729858.9464 | 1270536.9365
48 | 2729869.0242 | 1270487.872 | 2729870.5615 | 1270470.5083
49 | 2730020.6983 | 1270635.9936 | 2730015.0177 | 1270634.6405
50 | 2730020.6983 | 1270635.9936 | 2730026.9463 | 1270616.5054
51 | 2730020.6983 | 1270635.9936 | 2730036.4694 | 1270638.696
52 | 2730026.9463 | 1270616.5054 | 2730029.6527 | 1270608.0642 | 2730029.4146 | 1270601.1079 | 2730029.8369 | 1270594.6489
53 | 2730034.3112 | 1270581.6205 | 2730030.0049 | 1270592.079 | 2730029.8369 | 1270594.6489
54 | 2730034.3112 | 1270581.6205 | 2730037.2251 | 1270574.5435
55 | 2730040.2483 | 1270451.3488 | 2730040.9592 | 1270457.0031 | 2730039.9896 | 1270465.8235 | 2730035.8711 | 1270492.5359 | 2730035.5065 | 1270501.225 | 2730036.9677 | 1270509.0313 | 2730037.3433 | 1270515.5568 | 2730034.3463 | 1270538.1678 | 2730034.5785 | 1270551.5412 | 2730036.6015 | 1270567.3229 | 2730037.2251 | 1270574.5435 | 2730037.2251 | 1270574.5435
56 | 2730040.2483 | 1270451.3488 | 2730066.3124 | 1270460.2199 | 2730082.0017 | 1270466.5158 | 2730091.5763 | 1270472.955 | 2730099.4548 | 1270480.8805 | 2730107.6138 | 1270491.1032 | 2730118.9922 | 1270514.0423 | 2730122.2105 | 1270515.8816 | 2730126.0404 | 1270516.2663 | 2730135.434 | 1270516.9183 | 2730142.1148 | 1270516.0091 | 2730153.5296 | 1270513.4026 | 2730165.2485 | 1270509.9686 | 2730169.5913 | 1270507.9179 | 2730179.9142 | 1270500.5607 | 2730184.6836 | 1270498.2747 | 2730190.131 | 1270497.3272 | 2730197.0755 | 1270498.1144 | 2730199.9941 | 1270488.6364 | 2730228.478 | 1270497.6617 | 2730228.9707 | 1270496.1378 | 2730229.3663 | 1270494.9232 | 2730205.1333 | 1270486.9925 | 2730210.5766 | 1270470.5414 | 2730202.9726 | 1270467.9157 | 2730201.8521 | 1270467.5351 | 2730202.5906 | 1270465.1046 | 2730204.9593 | 1270460.7638 | 2730201.6328 | 1270454.618 | 2730201.7098 | 1270450.1043
57 | 2730201.7098 | 1270450.1043 | 2730216.3529 | 1270456.7334 | 2730237.9152 | 1270462.9514
58 | 2730201.7098 | 1270450.1043 | 2730207.5998 | 1270449.5669 | 2730211.3072 | 1270448.0027 | 2730219.9069 | 1270441.9977 | 2730225.8498 | 1270434.2881 | 2730229.1087 | 1270425.763 | 2730244.9128 | 1270361.7173 | 2730248.1741 | 1270347.6314 | 2730255.878 | 1270314.3586 | 2730249.8814 | 1270311.5348 | 2730258.0146 | 1270293.9419 | 2730282.5617 | 1270209.6032 | 2730299.1035 | 1270152.7586
59 | 2730299.6788 | 1270150.2245 | 2730343.4104 | 1270001.5928 | 2730362.3911 | 1269937.0968
60 | 2730299.6788 | 1270150.2245 | 2730299.1035 | 1270152.7586
61 | 2730299.6788 | 1270150.2245 | 2730303.6348 | 1270151.0458 | 2730463.875 | 1270184.3253
62 | 2730370.7736 | 1269908.6133 | 2730362.3911 | 1269937.0968
63 | 2730299.1035 | 1270152.7586 | 2730268.0109 | 1270144.0106
64 | 2730463.875 | 1270184.3253 | 2730470.1198 | 1270185.7979 | 2730480.8534 | 1270188.337
65 | 2730268.0109 | 1270144.0106 | 2730244.8583 | 1270137.4966
66 | 2730237.9152 | 1270462.9514 | 2730259.0345 | 1270469.0416 | 2730273.5803 | 1270470.7201
67 | 2730480.8534 | 1270188.337 | 2730496.2476 | 1270191.9786
68 | 2730288.7107 | 1270472.466 | 2730273.5803 | 1270470.7201
69 | 2730548.2904 | 1270204.2897 | 2730543.0598 | 1270203.0523
70 | 2730543.0598 | 1270203.0523 | 2730541.9699 | 1270202.7945
71 | 2730496.2476 | 1270191.9786 | 2730541.9699 | 1270202.7945
72 | 2730370.7736 | 1269908.6133 | 2730371.13 | 1269907.4023
73 | 2730371.13 | 1269907.4023 | 2730376.6668 | 1269888.5884
74 | 2730376.6668 | 1269888.5884 | 2730377.6064 | 1269885.3957

## bus_geodata
| x | y | coords
0 | 2729986.8678 | 1270627.8915
1 | 2729979.0908 | 1270625.008
2 | 2729993.3211 | 1270629.4729
3 | 2729975.8402 | 1270623.8028
4 | 2729993.7524 | 1270629.5756
5 | 2729963.8582 | 1270619.3602
6 | 2729996.984 | 1270630.3453
7 | 2729965.7038 | 1270604.3618
8 | 2729960.9226 | 1270618.2708
9 | 2730007.7552 | 1270632.9108
10 | 2729929.2452 | 1270595.3876
11 | 2729932.4634 | 1270579.1648
12 | 2729927.1892 | 1270605.7517
13 | 2729929.9564 | 1270577.8043
14 | 2729943.2823 | 1270582.2545
15 | 2729923.6907 | 1270604.329
16 | 2729926.2086 | 1270575.7705
17 | 2729956.7402 | 1270586.098
18 | 2729950.1738 | 1270614.2817
19 | 2729920.4147 | 1270619.7725
20 | 2729913.6545 | 1270568.9579
21 | 2729967.5707 | 1270589.1911
22 | 2729889.6839 | 1270592.5144
23 | 2729895.4449 | 1270579.4926
24 | 2729882.213 | 1270601.7441
25 | 2729918.8402 | 1270627.1947
26 | 2729881.3752 | 1270603.9332
27 | 2729881.3728 | 1270603.9395
28 | 2729880.3625 | 1270606.5792
29 | 2729901.277 | 1270566.3101
30 | 2729872.0649 | 1270628.2597
31 | 2729902.7287 | 1270563.0288
32 | 2729870.316 | 1270632.8294
33 | 2729869.6434 | 1270634.5867
34 | 2729851.82 | 1270672.8692
35 | 2729837.1124 | 1270675.599
36 | 2729884.9569 | 1270678.0099
37 | 2729835.268 | 1270675.7158
38 | 2729909.7415 | 1270685.1544
39 | 2729967.2477 | 1270591.8162
40 | 2729906.1995 | 1270703.7043
41 | 2729918.6815 | 1270627.9428
42 | 2729775.188 | 1270681.4487
43 | 2729905.3639 | 1270538.7082
44 | 2729858.9464 | 1270536.9365
45 | 2729869.0242 | 1270487.872
46 | 2729837.9208 | 1270536.134
47 | 2729870.5615 | 1270470.5083
48 | 2730015.0177 | 1270634.6406
49 | 2730020.6983 | 1270635.9936
50 | 2730026.9463 | 1270616.5054
51 | 2730036.4694 | 1270638.696
52 | 2730029.8369 | 1270594.6489
53 | 2730034.3112 | 1270581.6205
54 | 2729765.0794 | 1270685.1156
55 | 2730037.2251 | 1270574.5435
56 | 2730040.2483 | 1270451.3488
57 | 2730201.7098 | 1270450.1043
58 | 2730299.6788 | 1270150.2245
59 | 2730362.3911 | 1269937.0968
60 | 2730299.1035 | 1270152.7586
61 | 2730463.875 | 1270184.3253
62 | 2730268.0109 | 1270144.0106
63 | 2730237.9152 | 1270462.9514
64 | 2730480.8534 | 1270188.337
65 | 2730244.8583 | 1270137.4966
66 | 2730273.5803 | 1270470.7201
67 | 2730548.2904 | 1270204.2897
68 | 2730543.0598 | 1270203.0523
69 | 2730496.2476 | 1270191.9786
70 | 2730370.7736 | 1269908.6133
71 | 2730541.9699 | 1270202.7945
72 | 2730371.13 | 1269907.4023
73 | 2730376.6668 | 1269888.5884
74 | 2730377.6064 | 1269885.3957
75 | 2730288.7107 | 1270472.466
76 | 2730020.6983 | 1270635.9936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1