## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4891-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4891-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4891-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4891-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4891-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4891-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4891-5_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_4891-5_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_4891-5_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_4891-5_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_4891-5_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4891-5_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4891-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4891-5_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4891-5_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_4891-5_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4891-5_0_4_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_4891-5_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_4891-5_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_4891-5_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4891-5_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4891-5_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4891-5_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4891-5_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4891-5_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4891-5_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_4891-5_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4891-5_0_4_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_4891-5_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_4891-5_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_4891-5_0_4_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_4891-5_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4891-5_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4891-5_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4891-5_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4891-5_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4891-5_0_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_4891-5_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_4891-5_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_4891-5_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_4891-5_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4891-5_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4891-5_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4891-5_0_4_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_4891-5_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_4891-5_0_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_4891-5_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4891-5_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4891-5_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_4891-5_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4891-5_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_4891-5_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_4891-5_0_4_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_4891-5_0_4_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_4891-5_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_4891-5_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_4891-5_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_4891-5_0_4_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_4891-5_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4891-5_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_4891-5_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4891-5_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4891-5_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_4891-5_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4891-5_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4891-5_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4891-5_0_4_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_4891-5_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_4891-5_0_4_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4891-5_0_4_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_4891-5_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4891-5_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_4891-5_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4891-5_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4891-5_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4891-5_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4891-5_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4891-5_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4891-5_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_4891-5_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_4891-5_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4891-5_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4891-5_0_4_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_4891-5_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4891-5_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_4891-5_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4891-5_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4891-5_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_4891-5_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_MV_487_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4891-5_0_4_load_0 | 0 | 0.0008419 | 0.000211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4891-5_0_4_load_1 | 1 | 0.00072773 | 0.00018239 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4891-5_0_4_load_3 | 3 | 0.0014734 | 0.00036926 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4891-5_0_4_load_4 | 4 | 0.0017171 | 0.00043035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4891-5_0_4_load_5 | 5 | 0.00060321 | 0.00015118 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4891-5_0_4_load_27 | 6 | 0.0029548 | 0.00074055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4891-5_0_4_load_36 | 7 | 0.0020811 | 0.00052158 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4891-5_0_4_load_37 | 9 | 0.00038008 | 9.5256e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4891-5_0_4_load_6 | 10 | 0.0031355 | 0.00078582 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4891-5_0_4_load_7 | 11 | 0.0020985 | 0.00052594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4891-5_0_4_load_8 | 12 | 0.00074453 | 0.0001866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4891-5_0_4_load_9 | 13 | 0.00071819 | 0.00018 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4891-5_0_4_load_41 | 14 | 0.00071744 | 0.00017981 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4891-5_0_4_load_90 | 16 | 0.0010469 | 0.00026239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4891-5_0_4_load_26 | 17 | 0.0048512 | 0.0012158 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4891-5_0_4_load_22 | 18 | 0.0012639 | 0.00031676 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4891-5_0_4_load_11 | 19 | 0.0033037 | 0.00082798 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4891-5_0_4_load_12 | 20 | 0.0036361 | 0.00091128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4891-5_0_4_load_31 | 24 | 0.0025591 | 0.00064138 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4891-5_0_4_load_21 | 26 | 0.0055302 | 0.001386 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4891-5_0_4_load_67 | 29 | 0.0053383 | 0.0013379 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4891-5_0_4_load_70 | 30 | 0.0093227 | 0.0023365 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4891-5_0_4_load_20 | 31 | 0.0074492 | 0.0018669 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4891-5_0_4_load_16 | 32 | 0.002895 | 0.00072555 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4891-5_0_4_load_17 | 33 | 0.0026634 | 0.00066752 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4891-5_0_4_load_55 | 36 | 0.0016124 | 0.0004041 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4891-5_0_4_load_51 | 37 | 0.002145 | 0.00053758 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4891-5_0_4_load_61 | 38 | 0.0029839 | 0.00074785 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4891-5_0_4_load_23 | 40 | 0.0005017 | 0.00012574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4891-5_0_4_load_25 | 41 | 0.00053817 | 0.00013488 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4891-5_0_4_load_76 | 43 | 0.0038271 | 0.00095916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4891-5_0_4_load_42 | 44 | 0.001673 | 0.0004193 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4891-5_0_4_load_77 | 45 | 0.0035776 | 0.00089663 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4891-5_0_4_load_29 | 46 | 0.0028162 | 0.00070582 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4891-5_0_4_load_50 | 49 | 0.0016032 | 0.0004018 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4891-5_0_4_load_58 | 50 | 0.0017304 | 0.00043367 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4891-5_0_4_load_49 | 51 | 0.0022424 | 0.00056201 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4891-5_0_4_load_85 | 52 | 0.0050111 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4891-5_0_4_load_87 | 53 | 0.0085726 | 0.0021485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4891-5_0_4_load_66 | 54 | 0.0086772 | 0.0021747 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4891-5_0_4_load_71 | 55 | 0.0020186 | 0.00050592 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4891-5_0_4_load_84 | 56 | 0.0012603 | 0.00031586 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4891-5_0_4_load_46 | 60 | 0.0032864 | 0.00082364 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4891-5_0_4_load_59 | 63 | 0.0038052 | 0.00095367 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4891-5_0_4_load_56 | 64 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4891-5_0_4_load_60 | 65 | 0.0015885 | 0.0003981 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4891-5_0_4_load_43 | 67 | 0.0037027 | 0.00092797 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4891-5_0_4_load_45 | 68 | 0.00099821 | 0.00025017 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4891-5_0_4_load_93 | 69 | 0.0023474 | 0.0005883 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4891-5_0_4_load_53 | 71 | 0.0011435 | 0.00028659 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4891-5_0_4_load_54 | 72 | 0.0010092 | 0.00025293 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4891-5_0_4_load_64 | 74 | 0.0049954 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4891-5_0_4_load_63 | 76 | 0.0033548 | 0.00084079 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4891-5_0_4_load_65 | 77 | 0.0065977 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4891-5_0_4_load_72 | 78 | 0.0033576 | 0.00084149 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4891-5_0_4_load_74 | 80 | 0.0013269 | 0.00033254 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4891-5_0_4_load_75 | 81 | 0.0020139 | 0.00050474 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4891-5_0_4_load_92 | 82 | 0.0013253 | 0.00033214 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4891-5_0_4_load_78 | 83 | 0.0018618 | 0.0004666 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4891-5_0_4_load_82 | 84 | 0.0024754 | 0.0006204 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4891-5_0_4_load_79 | 85 | 0.0039926 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4891-5_0_4_load_80 | 86 | 0.0031802 | 0.00079704 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4891-5_0_4_load_83 | 87 | 0.018627 | 0.0046684 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4891-5_0_4_load_89 | 88 | 0.0039128 | 0.00098063 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4891-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4891-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4891-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4891-5_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4891-5_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0058568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4891-5_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.019124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4891-5_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.032855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4891-5_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.037178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4891-5_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0050988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4891-5_0_4_line_9 | NAYY 4x150 SE | 8 | 46 | 0.020533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4891-5_0_4_line_10 | NAYY 4x150 SE | 8 | 47 | 0.017958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4891-5_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.033419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4891-5_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0023332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4891-5_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.020186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4891-5_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0016027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4891-5_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.017139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4891-5_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.063556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4891-5_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.025805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4891-5_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.018537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4891-5_0_4_line_19 | NAYY 4x150 SE | 16 | 66 | 0.019114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4891-5_0_4_line_20 | NAYY 4x150 SE | 17 | 43 | 0.018363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4891-5_0_4_line_21 | NAYY 4x150 SE | 18 | 40 | 0.0086125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4891-5_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.024872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4891-5_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0084862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4891-5_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.025973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4891-5_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.036585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4891-5_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.039168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4891-5_0_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.05964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4891-5_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.027989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4891-5_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.012807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4891-5_0_4_line_30 | NAYY 4x150 SE | 26 | 31 | 0.012036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4891-5_0_4_line_31 | NAYY 4x150 SE | 27 | 53 | 0.000466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4891-5_0_4_line_32 | NAYY 4x150 SE | 27 | 52 | 0.013494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4891-5_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.018571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_4891-5_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.013528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4891-5_0_4_line_35 | NAYY 4x150 SE | 29 | 54 | 0.030354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4891-5_0_4_line_36 | NAYY 4x150 SE | 30 | 55 | 0.013218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4891-5_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.020515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4891-5_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.0070053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4891-5_0_4_line_39 | NAYY 4x150 SE | 32 | 34 | 0.047368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4891-5_0_4_line_40 | NAYY 4x150 SE | 34 | 35 | 0.010561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4891-5_0_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.013919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4891-5_0_4_line_42 | NAYY 4x150 SE | 35 | 37 | 0.0056076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4891-5_0_4_line_43 | NAYY 4x150 SE | 36 | 38 | 0.00045319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_4891-5_0_4_line_44 | NAYY 4x150 SE | 37 | 39 | 0.016387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4891-5_0_4_line_45 | NAYY 4x150 SE | 38 | 75 | 0.0126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4891-5_0_4_line_46 | NAYY 4x150 SE | 39 | 71 | 0.014407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4891-5_0_4_line_47 | NAYY 4x150 SE | 39 | 72 | 0.0014177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_4891-5_0_4_line_48 | NAYY 4x150 SE | 40 | 41 | 0.0025951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4891-5_0_4_line_49 | NAYY 4x150 SE | 41 | 42 | 0.0087531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4891-5_0_4_line_50 | NAYY 4x150 SE | 42 | 44 | 0.021249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4891-5_0_4_line_51 | NAYY 4x150 SE | 43 | 45 | 0.0029042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4891-5_0_4_line_52 | NAYY 4x150 SE | 44 | 67 | 0.0081732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_4891-5_0_4_line_53 | NAYY 4x150 SE | 45 | 83 | 0.001083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4891-5_0_4_line_54 | NAYY 4x150 SE | 47 | 48 | 0.020745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4891-5_0_4_line_55 | NAYY 4x150 SE | 47 | 49 | 0.013861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4891-5_0_4_line_56 | NAYY 4x150 SE | 48 | 50 | 0.014219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4891-5_0_4_line_57 | NAYY 4x150 SE | 49 | 51 | 0.027513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4891-5_0_4_line_58 | NAYY 4x150 SE | 50 | 70 | 0.014322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4891-5_0_4_line_59 | NAYY 4x150 SE | 51 | 68 | 2.3882e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4891-5_0_4_line_60 | NAYY 4x150 SE | 54 | 77 | 0.0014908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_4891-5_0_4_line_61 | NAYY 4x150 SE | 55 | 78 | 0.019173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4891-5_0_4_line_62 | NAYY 4x150 SE | 56 | 57 | 0.026657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4891-5_0_4_line_63 | NAYY 4x150 SE | 57 | 87 | 0.055894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4891-5_0_4_line_64 | NAYY 4x150 SE | 57 | 85 | 0.03069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4891-5_0_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.013054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4891-5_0_4_line_66 | NAYY 4x150 SE | 58 | 60 | 0.020147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4891-5_0_4_line_67 | NAYY 4x150 SE | 59 | 63 | 0.010193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4891-5_0_4_line_68 | NAYY 4x150 SE | 59 | 64 | 0.0022911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4891-5_0_4_line_69 | NAYY 4x150 SE | 60 | 61 | 0.017422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4891-5_0_4_line_70 | NAYY 4x150 SE | 61 | 62 | 0.041239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4891-5_0_4_line_71 | NAYY 4x150 SE | 62 | 65 | 0.010165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4891-5_0_4_line_72 | NAYY 4x150 SE | 64 | 70 | 0.0066842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4891-5_0_4_line_73 | NAYY 4x150 SE | 65 | 69 | 0.020047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4891-5_0_4_line_74 | NAYY 4x150 SE | 66 | 88 | 0.063578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4891-5_0_4_line_75 | NAYY 4x150 SE | 67 | 68 | 0.024737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4891-5_0_4_line_76 | NAYY 4x150 SE | 70 | 72 | 0.011898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_4891-5_0_4_line_77 | NAYY 4x150 SE | 71 | 73 | 0.013261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4891-5_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.003056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4891-5_0_4_line_79 | NAYY 4x150 SE | 75 | 76 | 0.02463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4891-5_0_4_line_80 | NAYY 4x150 SE | 76 | 77 | 0.018121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_4891-5_0_4_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0073124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4891-5_0_4_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0011311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4891-5_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0070804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4891-5_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.010271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4891-5_0_4_line_85 | NAYY 4x150 SE | 82 | 84 | 0.0042719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4891-5_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.0038916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4891-5_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.015683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4891-5_0_4_trafo_70 | 0.25 MVA 20/0.4 kV | 89 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2729716.0489 | 1271048.3363 | 2729707.5946 | 1271076.3123
1 | 2729720.4342 | 1271033.8247 | 2729716.0489 | 1271048.3363
2 | 2729701.24 | 1271097.3401 | 2729707.5946 | 1271076.3123
3 | 2729720.4342 | 1271033.8247 | 2729730.5 | 1271033.3008 | 2729738.1134 | 1271029.3087 | 2729746.2128 | 1271022.7248
4 | 2729720.4342 | 1271033.8247 | 2729714.7251 | 1271032.5174
5 | 2729746.2128 | 1271022.7248 | 2729752.7335 | 1271016.4065 | 2729761.1414 | 1271012.2205 | 2729761.7892 | 1271012.1474
6 | 2729682.6362 | 1271025.4709 | 2729698.0827 | 1271028.7067 | 2729714.7251 | 1271032.5174
7 | 2729798.7301 | 1271014.0259 | 2729772.028 | 1271010.9919 | 2729761.7892 | 1271012.1474
8 | 2729677.6457 | 1271024.4255 | 2729682.6362 | 1271025.4709
9 | 2729798.7301 | 1271014.0259 | 2729803.9136 | 1270994.1579
10 | 2729798.7301 | 1271014.0259 | 2729816.6264 | 1271016.0656
11 | 2729727.2159 | 1271153.7929 | 2729733.1963 | 1271156.4325 | 2729747.4413 | 1271160.9163 | 2729759.3722 | 1271161.555
12 | 2729727.2159 | 1271153.7929 | 2729725.0814 | 1271152.8508
13 | 2729779.5298 | 1271162.634 | 2729759.3722 | 1271161.555
14 | 2729779.5298 | 1271162.634 | 2729779.0916 | 1271164.1757
15 | 2729784.1672 | 1271146.1314 | 2729779.5298 | 1271162.634
16 | 2729779.0916 | 1271164.1757 | 2729774.7827 | 1271179.3345 | 2729761.7085 | 1271225.3087
17 | 2729784.1672 | 1271146.1314 | 2729809.2591 | 1271152.1575
18 | 2729784.1672 | 1271146.1314 | 2729788.6539 | 1271128.1457
19 | 2729756.4802 | 1271243.6935 | 2729761.7085 | 1271225.3087
20 | 2729809.2591 | 1271152.1575 | 2729827.1143 | 1271156.4457
21 | 2729790.7384 | 1271119.7892 | 2729788.6539 | 1271128.1457
22 | 2729959.8899 | 1271037.9342 | 2729965.3465 | 1271062.2006
23 | 2729958.0282 | 1271029.6547 | 2729959.8899 | 1271037.9342
24 | 2729971.0444 | 1271087.5406 | 2729965.3465 | 1271062.2006
25 | 2729938.6801 | 1271003.6599 | 2729937.1885 | 1271008.1758 | 2729939.9295 | 1271009.1259 | 2729945.5644 | 1271011.9415 | 2729949.8825 | 1271014.7502 | 2729952.7003 | 1271017.3369 | 2729955.2041 | 1271020.5173 | 2729956.9629 | 1271024.7155 | 2729958.0282 | 1271029.6547
26 | 2729971.0444 | 1271087.5406 | 2729979.6877 | 1271125.7426
27 | 2729926.6815 | 1271123.065 | 2729929.2041 | 1271112.744 | 2729966.9556 | 1271088.6739 | 2729971.0444 | 1271087.5406
28 | 2729938.6801 | 1271003.6599 | 2729912.0922 | 1270994.9145
29 | 2729923.6531 | 1271135.5102 | 2729926.6815 | 1271123.065
30 | 2729912.0922 | 1270994.9145 | 2729900.6588 | 1270991.1537
31 | 2729923.5453 | 1271135.9638 | 2729923.6531 | 1271135.5102
32 | 2729923.6531 | 1271135.5102 | 2729932.3547 | 1271136.1021 | 2729935.9532 | 1271132.9672
33 | 2729880.0314 | 1271081.3215 | 2729881.7453 | 1271064.6545 | 2729881.976 | 1271062.8528
34 | 2729880.0314 | 1271081.3215 | 2729873.6213 | 1271093.2346
35 | 2729885.8306 | 1271032.744 | 2729881.976 | 1271062.8528
36 | 2729873.6213 | 1271093.2346 | 2729867.3581 | 1271104.8747
37 | 2729881.1712 | 1270984.7438 | 2729900.6588 | 1270991.1537
38 | 2729898.9979 | 1270933.376 | 2729896.7012 | 1270939.9941
39 | 2729881.1712 | 1270984.7438 | 2729896.7012 | 1270939.9941
40 | 2729881.1712 | 1270984.7438 | 2729871.0662 | 1270981.5741
41 | 2729871.0662 | 1270981.5741 | 2729868.6433 | 1270990.1067 | 2729867.077 | 1270994.9068
42 | 2729871.0662 | 1270981.5741 | 2729865.7153 | 1270979.8968
43 | 2729867.077 | 1270994.9068 | 2729866.9364 | 1270995.3376
44 | 2729850.0788 | 1270974.9953 | 2729865.7153 | 1270979.8968
45 | 2729863.2808 | 1271007.3941 | 2729865.3427 | 1271000.2215 | 2729866.9364 | 1270995.3376
46 | 2729850.0788 | 1270974.9953 | 2729847.582 | 1270983.8043 | 2729846.0341 | 1270988.8219
47 | 2729850.0788 | 1270974.9953 | 2729848.6686 | 1270974.8494
48 | 2729791.3665 | 1271117.2713 | 2729790.7384 | 1271119.7892
49 | 2729793.4851 | 1271108.7784 | 2729791.3665 | 1271117.2713
50 | 2729793.4851 | 1271108.7784 | 2729798.631 | 1271088.1623
51 | 2729827.1143 | 1271156.4457 | 2729829.9382 | 1271157.1239
52 | 2729798.631 | 1271088.1623 | 2729800.6103 | 1271080.2323
53 | 2729829.9382 | 1271157.1239 | 2729830.9913 | 1271157.3768
54 | 2729816.6264 | 1271016.0656 | 2729821.4952 | 1270995.898
55 | 2729816.6264 | 1271016.0656 | 2729813.2696 | 1271029.5143
56 | 2729821.4952 | 1270995.898 | 2729823.1848 | 1270988.884 | 2729826.3709 | 1270982.6461
57 | 2729813.2696 | 1271029.5143 | 2729806.6067 | 1271056.2086
58 | 2729836.8335 | 1270973.6251 | 2729828.4933 | 1270978.4908 | 2729826.3709 | 1270982.6461
59 | 2729806.6009 | 1271056.2317 | 2729806.6067 | 1271056.2086
60 | 2729886.0199 | 1271031.2653 | 2729885.8306 | 1271032.744
61 | 2729858.2735 | 1271121.7585 | 2729867.3581 | 1271104.8747
62 | 2729909.5671 | 1271174.0592 | 2729935.6668 | 1271179.4816
63 | 2729909.5671 | 1271174.0592 | 2729905.4127 | 1271199.0249 | 2729905.6821 | 1271219.6059 | 2729903.9702 | 1271229.4605
64 | 2729909.5671 | 1271174.0592 | 2729879.5185 | 1271167.8171
65 | 2729834.3289 | 1270965.0063 | 2729822.6184 | 1270970.8433
66 | 2729822.6184 | 1270970.8433 | 2729819.1783 | 1270969.8556 | 2729810.3832 | 1270967.3488 | 2729803.0496 | 1270966.2054
67 | 2729834.3289 | 1270965.0063 | 2729826.9886 | 1270957.9343
68 | 2729834.3289 | 1270965.0063 | 2729834.9683 | 1270967.2064
69 | 2729785.7759 | 1270964.1829 | 2729790.8681 | 1270964.306 | 2729803.0496 | 1270966.2054
70 | 2729785.7759 | 1270964.1829 | 2729782.3709 | 1270963.652 | 2729785.4477 | 1270948.9946 | 2729794.3317 | 1270927.9587
71 | 2729794.3317 | 1270927.9587 | 2729785.3355 | 1270923.2261
72 | 2729836.8335 | 1270973.6251 | 2729834.9683 | 1270967.2064
73 | 2729767.5939 | 1270913.8929 | 2729785.3355 | 1270923.2261
74 | 2729756.4802 | 1271243.6935 | 2729818.5825 | 1271257.3144
75 | 2729806.6009 | 1271056.2317 | 2729800.6103 | 1271080.2323
76 | 2729836.8335 | 1270973.6251 | 2729848.6686 | 1270974.8494
77 | 2729842.2327 | 1271001.5258 | 2729844.4945 | 1270993.8126 | 2729846.0341 | 1270988.8219
78 | 2729842.2327 | 1271001.5258 | 2729845.1764 | 1271002.3465
79 | 2729863.2808 | 1271007.3941 | 2729886.9542 | 1271014.1903
80 | 2729886.0199 | 1271031.2653 | 2729888.1616 | 1271014.5369 | 2729886.9542 | 1271014.1903
81 | 2729842.0785 | 1271160.0396 | 2729849.2381 | 1271161.5269
82 | 2729842.0785 | 1271160.0396 | 2729840.9787 | 1271159.7755
83 | 2729856.1705 | 1271162.967 | 2729849.2381 | 1271161.5269
84 | 2729840.9787 | 1271159.7755 | 2729830.9913 | 1271157.3768
85 | 2729856.1705 | 1271162.967 | 2729860.3531 | 1271163.8358
86 | 2729860.3531 | 1271163.8358 | 2729864.1634 | 1271164.6274
87 | 2729879.5185 | 1271167.8171 | 2729864.1634 | 1271164.6274

## bus_geodata
| x | y | coords
0 | 2729716.0489 | 1271048.3363
1 | 2729707.5946 | 1271076.3123
2 | 2729720.4342 | 1271033.8247
3 | 2729701.24 | 1271097.3401
4 | 2729746.2128 | 1271022.7248
5 | 2729714.7251 | 1271032.5174
6 | 2729761.7892 | 1271012.1474
7 | 2729682.6362 | 1271025.4709
8 | 2729798.7301 | 1271014.0259
9 | 2729677.6457 | 1271024.4255
10 | 2729727.2159 | 1271153.7929
11 | 2729759.3722 | 1271161.555
12 | 2729725.0814 | 1271152.8508
13 | 2729779.5298 | 1271162.634
14 | 2729779.0916 | 1271164.1757
15 | 2729784.1672 | 1271146.1314
16 | 2729761.7085 | 1271225.3087
17 | 2729809.2591 | 1271152.1575
18 | 2729788.6539 | 1271128.1457
19 | 2729959.8899 | 1271037.9342
20 | 2729965.3465 | 1271062.2006
21 | 2729958.0282 | 1271029.6547
22 | 2729971.0444 | 1271087.5406
23 | 2729938.6801 | 1271003.6599
24 | 2729979.6877 | 1271125.7426
25 | 2729926.6815 | 1271123.065
26 | 2729912.0922 | 1270994.9145
27 | 2729923.6531 | 1271135.5102
28 | 2729880.0314 | 1271081.3215
29 | 2729881.976 | 1271062.8528
30 | 2729873.6213 | 1271093.2346
31 | 2729900.6588 | 1270991.1537
32 | 2729896.7012 | 1270939.9941
33 | 2729898.9979 | 1270933.376
34 | 2729881.1712 | 1270984.7438
35 | 2729871.0662 | 1270981.5741
36 | 2729867.077 | 1270994.9068
37 | 2729865.7153 | 1270979.8968
38 | 2729866.9364 | 1270995.3376
39 | 2729850.0788 | 1270974.9953
40 | 2729790.7384 | 1271119.7892
41 | 2729791.3665 | 1271117.2713
42 | 2729793.4851 | 1271108.7784
43 | 2729827.1143 | 1271156.4457
44 | 2729798.631 | 1271088.1623
45 | 2729829.9382 | 1271157.1239
46 | 2729803.9136 | 1270994.1579
47 | 2729816.6264 | 1271016.0656
48 | 2729821.4952 | 1270995.898
49 | 2729813.2696 | 1271029.5143
50 | 2729826.3709 | 1270982.6461
51 | 2729806.6067 | 1271056.2085
52 | 2729935.9532 | 1271132.9672
53 | 2729923.5453 | 1271135.9638
54 | 2729885.8306 | 1271032.744
55 | 2729867.3581 | 1271104.8747
56 | 2729935.6668 | 1271179.4816
57 | 2729909.5671 | 1271174.0592
58 | 2729822.6184 | 1270970.8433
59 | 2729834.3289 | 1270965.0063
60 | 2729803.0496 | 1270966.2054
61 | 2729785.7759 | 1270964.1829
62 | 2729794.3317 | 1270927.9587
63 | 2729826.9886 | 1270957.9343
64 | 2729834.9683 | 1270967.2064
65 | 2729785.3355 | 1270923.2261
66 | 2729756.4802 | 1271243.6935
67 | 2729800.6103 | 1271080.2323
68 | 2729806.6009 | 1271056.2317
69 | 2729767.5939 | 1270913.8929
70 | 2729836.8335 | 1270973.6251
71 | 2729846.0341 | 1270988.8219
72 | 2729848.6686 | 1270974.8494
73 | 2729842.2326 | 1271001.5258
74 | 2729845.1764 | 1271002.3465
75 | 2729863.2808 | 1271007.3941
76 | 2729886.9542 | 1271014.1903
77 | 2729886.0199 | 1271031.2653
78 | 2729858.2735 | 1271121.7585
79 | 2729842.0785 | 1271160.0396
80 | 2729849.2381 | 1271161.5269
81 | 2729840.9787 | 1271159.7755
82 | 2729856.1705 | 1271162.967
83 | 2729830.9913 | 1271157.3768
84 | 2729860.3531 | 1271163.8358
85 | 2729879.5185 | 1271167.8171
86 | 2729864.1634 | 1271164.6274
87 | 2729903.9702 | 1271229.4605
88 | 2729818.5825 | 1271257.3144
89 | 2729880.0314 | 1271081.3215

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1