## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4901-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4901-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4901-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4901-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4901-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4901-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4901-1_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4901-1_0_6_node_98 | 0.4 | n |  | TRUE
8 | bus_LV_4901-1_0_6_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_4901-1_0_6_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_4901-1_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4901-1_0_6_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_4901-1_0_6_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_4901-1_0_6_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_4901-1_0_6_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_4901-1_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4901-1_0_6_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_4901-1_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4901-1_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4901-1_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4901-1_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4901-1_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4901-1_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4901-1_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4901-1_0_6_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_4901-1_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4901-1_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4901-1_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4901-1_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4901-1_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4901-1_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4901-1_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4901-1_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4901-1_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4901-1_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4901-1_0_6_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_4901-1_0_6_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_4901-1_0_6_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_4901-1_0_6_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_4901-1_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4901-1_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4901-1_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4901-1_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4901-1_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4901-1_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4901-1_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4901-1_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4901-1_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4901-1_0_6_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_4901-1_0_6_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_4901-1_0_6_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_4901-1_0_6_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_4901-1_0_6_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_4901-1_0_6_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_4901-1_0_6_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_4901-1_0_6_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_4901-1_0_6_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_4901-1_0_6_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_4901-1_0_6_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_4901-1_0_6_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_4901-1_0_6_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_4901-1_0_6_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_4901-1_0_6_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_4901-1_0_6_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_4901-1_0_6_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_4901-1_0_6_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_4901-1_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_4901-1_0_6_node_31 | 0.4 | n |  | TRUE
68 | bus_LV_4901-1_0_6_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_4901-1_0_6_node_33 | 0.4 | n |  | TRUE
70 | bus_LV_4901-1_0_6_node_34 | 0.4 | n |  | TRUE
71 | bus_LV_4901-1_0_6_node_35 | 0.4 | n |  | TRUE
72 | bus_LV_4901-1_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4901-1_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4901-1_0_6_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_4901-1_0_6_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_4901-1_0_6_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_4901-1_0_6_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_4901-1_0_6_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_4901-1_0_6_node_47 | 0.4 | n |  | TRUE
80 | bus_LV_4901-1_0_6_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_4901-1_0_6_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_4901-1_0_6_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_4901-1_0_6_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_4901-1_0_6_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_4901-1_0_6_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_4901-1_0_6_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_4901-1_0_6_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_4901-1_0_6_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_4901-1_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_4901-1_0_6_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_4901-1_0_6_node_59 | 0.4 | n |  | TRUE
92 | bus_LV_4901-1_0_6_node_60 | 0.4 | n |  | TRUE
93 | bus_LV_4901-1_0_6_node_61 | 0.4 | n |  | TRUE
94 | bus_LV_4901-1_0_6_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_4901-1_0_6_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_4901-1_0_6_node_70 | 0.4 | n |  | TRUE
97 | bus_LV_4901-1_0_6_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_4901-1_0_6_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_4901-1_0_6_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_4901-1_0_6_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_4901-1_0_6_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_4901-1_0_6_node_123 | 0.4 | n |  | TRUE
103 | bus_LV_4901-1_0_6_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_4901-1_0_6_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_4901-1_0_6_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_4901-1_0_6_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_4901-1_0_6_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_4901-1_0_6_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_4901-1_0_6_node_110 | 0.4 | n |  | TRUE
110 | bus_LV_4901-1_0_6_node_122 | 0.4 | n |  | TRUE
111 | bus_LV_4901-1_0_6_node_111 | 0.4 | n |  | TRUE
112 | bus_LV_4901-1_0_6_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_4901-1_0_6_node_113 | 0.4 | n |  | TRUE
114 | bus_LV_4901-1_0_6_node_114 | 0.4 | n |  | TRUE
115 | bus_LV_4901-1_0_6_node_115 | 0.4 | n |  | TRUE
116 | bus_LV_4901-1_0_6_node_116 | 0.4 | n |  | TRUE
117 | bus_LV_4901-1_0_6_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_4901-1_0_6_node_120 | 0.4 | n |  | TRUE
119 | bus_LV_4901-1_0_6_node_136 | 0.4 | n |  | TRUE
120 | bus_LV_4901-1_0_6_node_118 | 0.4 | n |  | TRUE
121 | bus_LV_4901-1_0_6_node_119 | 0.4 | n |  | TRUE
122 | bus_LV_4901-1_0_6_node_130 | 0.4 | n |  | TRUE
123 | bus_LV_4901-1_0_6_node_124 | 0.4 | n |  | TRUE
124 | bus_LV_4901-1_0_6_node_125 | 0.4 | n |  | TRUE
125 | bus_LV_4901-1_0_6_node_126 | 0.4 | n |  | TRUE
126 | bus_LV_4901-1_0_6_node_127 | 0.4 | n |  | TRUE
127 | bus_LV_4901-1_0_6_node_128 | 0.4 | n |  | TRUE
128 | bus_LV_4901-1_0_6_node_137 | 0.4 | n |  | TRUE
129 | bus_LV_4901-1_0_6_node_129 | 0.4 | n |  | TRUE
130 | bus_LV_4901-1_0_6_node_131 | 0.4 | n |  | TRUE
131 | bus_LV_4901-1_0_6_node_132 | 0.4 | n |  | TRUE
132 | bus_LV_4901-1_0_6_node_133 | 0.4 | n |  | TRUE
133 | bus_LV_4901-1_0_6_node_134 | 0.4 | n |  | TRUE
134 | bus_LV_4901-1_0_6_node_135 | 0.4 | n |  | TRUE
135 | bus_LV_4901-1_0_6_node_141 | 0.4 | n |  | TRUE
136 | bus_LV_4901-1_0_6_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_4901-1_0_6_node_139 | 0.4 | n |  | TRUE
138 | bus_LV_4901-1_0_6_node_140 | 0.4 | n |  | TRUE
139 | bus_LV_4901-1_0_6_node_143 | 0.4 | n |  | TRUE
140 | bus_LV_4901-1_0_6_node_142 | 0.4 | n |  | TRUE
141 | bus_LV_4901-1_0_6_node_102 | 0.4 | n |  | TRUE
142 | bus_MV_409_1_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4901-1_0_6_load_0 | 0 | 0.0013238 | 0.00033178 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4901-1_0_6_load_1 | 1 | 0.0013178 | 0.00033026 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4901-1_0_6_load_2 | 2 | 0.0014475 | 0.00036279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4901-1_0_6_load_3 | 3 | 0.0005906 | 0.00014802 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4901-1_0_6_load_5 | 5 | 0.00084184 | 0.00021098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4901-1_0_6_load_98 | 7 | 0.00084066 | 0.00021069 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4901-1_0_6_load_86 | 8 | 0.0037228 | 0.00093301 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4901-1_0_6_load_66 | 9 | 0.00045419 | 0.00011383 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4901-1_0_6_load_7 | 10 | 0.00069726 | 0.00017475 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4901-1_0_6_load_99 | 12 | 0.00061762 | 0.00015479 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4901-1_0_6_load_87 | 13 | 0.0013151 | 0.00032959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4901-1_0_6_load_49 | 14 | 0.00049226 | 0.00012337 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4901-1_0_6_load_15 | 15 | 0.00019985 | 5.0086e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4901-1_0_6_load_54 | 16 | 0.0013092 | 0.00032812 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4901-1_0_6_load_8 | 17 | 0.0010183 | 0.0002552 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4901-1_0_6_load_9 | 18 | 0.00066664 | 0.00016708 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4901-1_0_6_load_13 | 20 | 0.0022951 | 0.00057521 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4901-1_0_6_load_11 | 21 | 0.00074022 | 0.00018552 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4901-1_0_6_load_12 | 22 | 0.00069661 | 0.00017459 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4901-1_0_6_load_14 | 23 | 0.00066664 | 0.00016708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4901-1_0_6_load_96 | 24 | 0.00066671 | 0.00016709 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4901-1_0_6_load_16 | 25 | 0.0015123 | 0.00037902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4901-1_0_6_load_17 | 26 | 0.0019414 | 0.00048655 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4901-1_0_6_load_18 | 27 | 0.0024591 | 0.00061631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4901-1_0_6_load_19 | 28 | 0.0010128 | 0.00025384 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4901-1_0_6_load_20 | 29 | 0.00062661 | 0.00015704 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4901-1_0_6_load_23 | 30 | 0.0012933 | 0.00032413 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4901-1_0_6_load_24 | 31 | 0.00033651 | 8.4337e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4901-1_0_6_load_26 | 32 | 0.0016496 | 0.00041342 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4901-1_0_6_load_21 | 33 | 0.0020868 | 0.000523 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4901-1_0_6_load_22 | 34 | 0.0062614 | 0.0015693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4901-1_0_6_load_57 | 35 | 0.00047409 | 0.00011882 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4901-1_0_6_load_88 | 36 | 0.0005926 | 0.00014852 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4901-1_0_6_load_58 | 37 | 0.0015467 | 0.00038765 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4901-1_0_6_load_25 | 39 | 0.0017831 | 0.00044689 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4901-1_0_6_load_30 | 42 | 0.001324 | 0.00033182 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4901-1_0_6_load_41 | 44 | 0.0036173 | 0.00090659 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4901-1_0_6_load_37 | 45 | 0.002265 | 0.00056766 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4901-1_0_6_load_38 | 46 | 0.0036252 | 0.00090856 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4901-1_0_6_load_39 | 47 | 0.00141 | 0.00035338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4901-1_0_6_load_80 | 48 | 0.0042465 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4901-1_0_6_load_77 | 49 | 0.0023236 | 0.00058234 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4901-1_0_6_load_73 | 50 | 0.004562 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4901-1_0_6_load_74 | 51 | 0.00178 | 0.0004461 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4901-1_0_6_load_75 | 52 | 0.0016372 | 0.00041032 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4901-1_0_6_load_93 | 53 | 0.0010135 | 0.00025401 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4901-1_0_6_load_78 | 54 | 0.0012206 | 0.00030591 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4901-1_0_6_load_81 | 56 | 0.0033251 | 0.00083336 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4901-1_0_6_load_82 | 57 | 0.0015777 | 0.00039541 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4901-1_0_6_load_89 | 58 | 0.0012515 | 0.00031364 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4901-1_0_6_load_90 | 59 | 0.00060605 | 0.00015189 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4901-1_0_6_load_92 | 61 | 0.0010926 | 0.00027383 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4901-1_0_6_load_28 | 63 | 0.0021808 | 0.00054656 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4901-1_0_6_load_36 | 65 | 0.0028678 | 0.00071875 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4901-1_0_6_load_64 | 66 | 0.0019605 | 0.00049135 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4901-1_0_6_load_31 | 67 | 0.002864 | 0.00071778 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4901-1_0_6_load_32 | 68 | 0.00080048 | 0.00020062 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4901-1_0_6_load_33 | 69 | 0.00079845 | 0.00020011 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4901-1_0_6_load_34 | 70 | 0.0013925 | 0.00034899 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4901-1_0_6_load_35 | 71 | 0.0010446 | 0.00026179 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4901-1_0_6_load_67 | 72 | 0.00061762 | 0.00015479 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4901-1_0_6_load_42 | 74 | 0.0010941 | 0.00027421 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4901-1_0_6_load_43 | 75 | 0.0023404 | 0.00058655 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4901-1_0_6_load_44 | 76 | 0.0037149 | 0.00093104 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4901-1_0_6_load_46 | 78 | 0.0014836 | 0.00037182 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4901-1_0_6_load_47 | 79 | 0.00037955 | 9.5124e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4901-1_0_6_load_48 | 80 | 0.0017947 | 0.00044978 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4901-1_0_6_load_84 | 81 | 0.0014229 | 0.00035661 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4901-1_0_6_load_97 | 82 | 0.0023812 | 0.00059678 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4901-1_0_6_load_50 | 83 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4901-1_0_6_load_51 | 84 | 0.0029176 | 0.00073122 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4901-1_0_6_load_52 | 85 | 0.0025987 | 0.00065129 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4901-1_0_6_load_53 | 86 | 0.0031954 | 0.00080084 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4901-1_0_6_load_55 | 87 | 0.0016444 | 0.00041214 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4901-1_0_6_load_69 | 89 | 0.001553 | 0.00038922 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4901-1_0_6_load_63 | 90 | 0.001889 | 0.00047343 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4901-1_0_6_load_59 | 91 | 0.001261 | 0.00031604 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4901-1_0_6_load_60 | 92 | 0.0012595 | 0.00031566 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4901-1_0_6_load_61 | 93 | 0.0017837 | 0.00044705 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4901-1_0_6_load_62 | 94 | 0.004328 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4901-1_0_6_load_71 | 95 | 0.0016453 | 0.00041234 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4901-1_0_6_load_70 | 96 | 0.0022783 | 0.000571 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4901-1_0_6_load_103 | 97 | 0.00061762 | 0.00015479 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4901-1_0_6_load_85 | 98 | 0.0040672 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4901-1_0_6_load_100 | 99 | 0.00066746 | 0.00016728 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4901-1_0_6_load_101 | 100 | 0.0013156 | 0.00032973 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4901-1_0_6_load_95 | 101 | 0.00080248 | 0.00020112 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4901-1_0_6_load_123 | 102 | 0.00029186 | 7.3147e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4901-1_0_6_load_104 | 103 | 0.0029721 | 0.00074487 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4901-1_0_6_load_105 | 104 | 0.0033486 | 0.00083924 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4901-1_0_6_load_106 | 105 | 0.0019719 | 0.00049421 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4901-1_0_6_load_107 | 106 | 0.00053561 | 0.00013424 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4901-1_0_6_load_108 | 107 | 0.0010927 | 0.00027385 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4901-1_0_6_load_109 | 108 | 0.00047058 | 0.00011794 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4901-1_0_6_load_110 | 109 | 0.0024882 | 0.00062359 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4901-1_0_6_load_122 | 110 | 0.0011883 | 0.00029783 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4901-1_0_6_load_111 | 111 | 0.00040526 | 0.00010157 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4901-1_0_6_load_112 | 112 | 0.00020018 | 5.0169e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4901-1_0_6_load_113 | 113 | 0.00021616 | 5.4175e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4901-1_0_6_load_114 | 114 | 0.00028485 | 7.1389e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4901-1_0_6_load_115 | 115 | 0.0031861 | 0.00079852 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4901-1_0_6_load_116 | 116 | 0.0003427 | 8.5889e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4901-1_0_6_load_117 | 117 | 0.00040322 | 0.00010106 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4901-1_0_6_load_120 | 118 | 0.0008864 | 0.00022215 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4901-1_0_6_load_136 | 119 | 0.0012152 | 0.00030455 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4901-1_0_6_load_118 | 120 | 0.0023524 | 0.00058958 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4901-1_0_6_load_119 | 121 | 0.00024812 | 6.2185e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4901-1_0_6_load_130 | 122 | 0.0013381 | 0.00033537 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4901-1_0_6_load_125 | 124 | 0.0015123 | 0.00037901 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4901-1_0_6_load_126 | 125 | 0.0014982 | 0.0003755 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4901-1_0_6_load_127 | 126 | 0.00086268 | 0.00021621 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4901-1_0_6_load_128 | 127 | 0.00078108 | 0.00019576 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4901-1_0_6_load_129 | 129 | 0.0013482 | 0.0003379 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4901-1_0_6_load_132 | 131 | 0.0024413 | 0.00061184 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4901-1_0_6_load_133 | 132 | 0.00069325 | 0.00017374 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4901-1_0_6_load_134 | 133 | 0.00045739 | 0.00011463 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4901-1_0_6_load_135 | 134 | 0.0013782 | 0.00034541 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4901-1_0_6_load_141 | 135 | 0.00093089 | 0.0002333 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4901-1_0_6_load_138 | 136 | 0.0026071 | 0.0006534 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4901-1_0_6_load_139 | 137 | 0.0023062 | 0.00057798 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4901-1_0_6_load_143 | 139 | 0.0018235 | 0.000457 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4901-1_0_6_load_142 | 140 | 0.00087626 | 0.00021961 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4901-1_0_6_load_102 | 141 | 0.0033929 | 0.00085035 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4901-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4901-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0041549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4901-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0020622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4901-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4901-1_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0043434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4901-1_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.009778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4901-1_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0096436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4901-1_0_6_line_7 | NAYY 4x150 SE | 6 | 8 | 0.020064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4901-1_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.024786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4901-1_0_6_line_9 | NAYY 4x150 SE | 7 | 12 | 0.01073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4901-1_0_6_line_10 | NAYY 4x150 SE | 8 | 13 | 0.01443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4901-1_0_6_line_11 | NAYY 4x150 SE | 9 | 14 | 0.0010443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4901-1_0_6_line_12 | NAYY 4x150 SE | 10 | 11 | 0.018531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4901-1_0_6_line_13 | NAYY 4x150 SE | 11 | 15 | 0.016872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4901-1_0_6_line_14 | NAYY 4x150 SE | 11 | 16 | 0.013681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4901-1_0_6_line_15 | NAYY 4x150 SE | 12 | 97 | 0.0086085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4901-1_0_6_line_16 | NAYY 4x150 SE | 13 | 99 | 0.010006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4901-1_0_6_line_17 | NAYY 4x150 SE | 14 | 78 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4901-1_0_6_line_18 | NAYY 4x150 SE | 15 | 22 | 0.019886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4901-1_0_6_line_19 | NAYY 4x150 SE | 16 | 85 | 0.0086409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4901-1_0_6_line_20 | NAYY 4x150 SE | 17 | 18 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4901-1_0_6_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0062094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4901-1_0_6_line_22 | NAYY 4x150 SE | 18 | 20 | 0.077185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4901-1_0_6_line_23 | NAYY 4x150 SE | 19 | 21 | 0.020722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4901-1_0_6_line_24 | NAYY 4x150 SE | 19 | 22 | 0.0044318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4901-1_0_6_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0033559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4901-1_0_6_line_26 | NAYY 4x150 SE | 23 | 24 | 0.012535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4901-1_0_6_line_27 | NAYY 4x150 SE | 25 | 26 | 0.008967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4901-1_0_6_line_28 | NAYY 4x150 SE | 25 | 27 | 0.016656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4901-1_0_6_line_29 | NAYY 4x150 SE | 26 | 28 | 0.012948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4901-1_0_6_line_30 | NAYY 4x150 SE | 27 | 29 | 0.021491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4901-1_0_6_line_31 | NAYY 4x150 SE | 28 | 33 | 0.028676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4901-1_0_6_line_32 | NAYY 4x150 SE | 29 | 34 | 0.025224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4901-1_0_6_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0071504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_4901-1_0_6_line_34 | NAYY 4x150 SE | 30 | 32 | 0.072532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4901-1_0_6_line_35 | NAYY 4x150 SE | 31 | 39 | 0.0035478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4901-1_0_6_line_36 | NAYY 4x150 SE | 32 | 40 | 0.017722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4901-1_0_6_line_37 | NAYY 4x150 SE | 33 | 35 | 0.002121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4901-1_0_6_line_38 | NAYY 4x150 SE | 34 | 36 | 0.015849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4901-1_0_6_line_39 | NAYY 4x150 SE | 35 | 37 | 0.011551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4901-1_0_6_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0023335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_4901-1_0_6_line_41 | NAYY 4x150 SE | 37 | 47 | 0.021256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4901-1_0_6_line_42 | NAYY 4x150 SE | 38 | 53 | 0.059534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4901-1_0_6_line_43 | NAYY 4x150 SE | 38 | 52 | 0.019688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4901-1_0_6_line_44 | NAYY 4x150 SE | 39 | 63 | 0.058933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_4901-1_0_6_line_45 | NAYY 4x150 SE | 40 | 41 | 0.024311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4901-1_0_6_line_46 | NAYY 4x150 SE | 40 | 42 | 0.012865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4901-1_0_6_line_47 | NAYY 4x150 SE | 41 | 43 | 0.019197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4901-1_0_6_line_48 | NAYY 4x150 SE | 41 | 44 | 0.02917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4901-1_0_6_line_49 | NAYY 4x150 SE | 42 | 45 | 0.005641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4901-1_0_6_line_50 | NAYY 4x150 SE | 43 | 48 | 0.049881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4901-1_0_6_line_51 | NAYY 4x150 SE | 43 | 49 | 0.040875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4901-1_0_6_line_52 | NAYY 4x150 SE | 45 | 46 | 0.017034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4901-1_0_6_line_53 | NAYY 4x150 SE | 46 | 47 | 0.0028556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4901-1_0_6_line_54 | NAYY 4x150 SE | 49 | 54 | 0.023152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4901-1_0_6_line_55 | NAYY 4x150 SE | 50 | 51 | 0.019513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4901-1_0_6_line_56 | NAYY 4x150 SE | 51 | 52 | 0.014915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4901-1_0_6_line_57 | NAYY 4x150 SE | 53 | 60 | 0.058944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4901-1_0_6_line_58 | NAYY 4x150 SE | 54 | 55 | 0.010946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4901-1_0_6_line_59 | NAYY 4x150 SE | 55 | 56 | 0.026916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4901-1_0_6_line_60 | NAYY 4x150 SE | 55 | 57 | 0.012809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4901-1_0_6_line_61 | NAYY 4x150 SE | 58 | 59 | 0.014824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4901-1_0_6_line_62 | NAYY 4x150 SE | 59 | 60 | 0.029337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4901-1_0_6_line_63 | NAYY 4x150 SE | 60 | 61 | 0.023154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_4901-1_0_6_line_64 | NAYY 4x150 SE | 61 | 62 | 0.44839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_4901-1_0_6_line_65 | NAYY 4x150 SE | 62 | 121 | 0.049951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4901-1_0_6_line_66 | NAYY 4x150 SE | 63 | 64 | 0.014183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4901-1_0_6_line_67 | NAYY 4x150 SE | 64 | 65 | 0.013175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4901-1_0_6_line_68 | NAYY 4x150 SE | 64 | 66 | 0.025708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4901-1_0_6_line_69 | NAYY 4x150 SE | 65 | 72 | 0.04119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4901-1_0_6_line_70 | NAYY 4x150 SE | 65 | 71 | 0.037554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4901-1_0_6_line_71 | NAYY 4x150 SE | 66 | 94 | 0.034813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4901-1_0_6_line_72 | NAYY 4x150 SE | 67 | 68 | 0.0041149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4901-1_0_6_line_73 | NAYY 4x150 SE | 67 | 69 | 0.009633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4901-1_0_6_line_74 | NAYY 4x150 SE | 68 | 70 | 0.016322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4901-1_0_6_line_75 | NAYY 4x150 SE | 69 | 71 | 0.0091671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4901-1_0_6_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0053711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4901-1_0_6_line_77 | NAYY 4x150 SE | 73 | 97 | 0.0018698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4901-1_0_6_line_78 | NAYY 4x150 SE | 73 | 96 | 0.014725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4901-1_0_6_line_79 | NAYY 4x150 SE | 74 | 75 | 0.016783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4901-1_0_6_line_80 | NAYY 4x150 SE | 74 | 76 | 0.0051322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4901-1_0_6_line_81 | NAYY 4x150 SE | 75 | 77 | 0.035948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4901-1_0_6_line_82 | NAYY 4x150 SE | 76 | 78 | 0.0039864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4901-1_0_6_line_83 | NAYY 4x150 SE | 77 | 79 | 0.024012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4901-1_0_6_line_84 | NAYY 4x150 SE | 77 | 80 | 0.022553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4901-1_0_6_line_85 | NAYY 4x150 SE | 80 | 81 | 0.030151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4901-1_0_6_line_86 | NAYY 4x150 SE | 81 | 82 | 0.0064984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4901-1_0_6_line_87 | NAYY 4x150 SE | 83 | 84 | 0.019904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4901-1_0_6_line_88 | NAYY 4x150 SE | 83 | 85 | 0.0083935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4901-1_0_6_line_89 | NAYY 4x150 SE | 84 | 86 | 0.0038264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4901-1_0_6_line_90 | NAYY 4x150 SE | 86 | 87 | 0.016326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4901-1_0_6_line_91 | NAYY 4x150 SE | 87 | 88 | 0.010609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4901-1_0_6_line_92 | NAYY 4x150 SE | 88 | 89 | 0.050509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4901-1_0_6_line_93 | NAYY 4x150 SE | 88 | 90 | 0.021065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4901-1_0_6_line_94 | NAYY 4x150 SE | 89 | 95 | 0.0099165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4901-1_0_6_line_95 | NAYY 4x150 SE | 90 | 93 | 0.0042616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4901-1_0_6_line_96 | NAYY 4x150 SE | 91 | 92 | 0.01136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4901-1_0_6_line_97 | NAYY 4x150 SE | 91 | 93 | 0.035308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4901-1_0_6_line_98 | NAYY 4x150 SE | 92 | 94 | 0.0047677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4901-1_0_6_line_99 | NAYY 4x150 SE | 95 | 98 | 0.052349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4901-1_0_6_line_100 | NAYY 4x150 SE | 99 | 100 | 0.001733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4901-1_0_6_line_101 | NAYY 4x150 SE | 100 | 141 | 0.026777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4901-1_0_6_line_102 | NAYY 4x150 SE | 101 | 102 | 0.022699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4901-1_0_6_line_103 | NAYY 4x150 SE | 102 | 123 | 0.023714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4901-1_0_6_line_104 | NAYY 4x150 SE | 103 | 104 | 0.035565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4901-1_0_6_line_105 | NAYY 4x150 SE | 103 | 105 | 0.0094465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4901-1_0_6_line_106 | NAYY 4x150 SE | 104 | 106 | 0.0026665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4901-1_0_6_line_107 | NAYY 4x150 SE | 105 | 107 | 0.0074288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4901-1_0_6_line_108 | NAYY 4x150 SE | 106 | 108 | 0.02585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4901-1_0_6_line_109 | NAYY 4x150 SE | 107 | 109 | 0.017478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4901-1_0_6_line_110 | NAYY 4x150 SE | 109 | 110 | 0.0099337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4901-1_0_6_line_111 | NAYY 4x150 SE | 110 | 122 | 0.026856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4901-1_0_6_line_112 | NAYY 4x150 SE | 111 | 112 | 0.036231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
113 | LV_4901-1_0_6_line_113 | NAYY 4x150 SE | 111 | 113 | 0.030975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
114 | LV_4901-1_0_6_line_114 | NAYY 4x150 SE | 112 | 114 | 0.041144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_4901-1_0_6_line_115 | NAYY 4x150 SE | 113 | 115 | 0.045543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_4901-1_0_6_line_116 | NAYY 4x150 SE | 114 | 116 | 0.040795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_4901-1_0_6_line_117 | NAYY 4x150 SE | 115 | 117 | 0.010579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_4901-1_0_6_line_118 | NAYY 4x150 SE | 116 | 118 | 0.022868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
119 | LV_4901-1_0_6_line_119 | NAYY 4x150 SE | 117 | 119 | 0.0010343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
120 | LV_4901-1_0_6_line_120 | NAYY 4x150 SE | 118 | 120 | 0.030675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
121 | LV_4901-1_0_6_line_121 | NAYY 4x150 SE | 119 | 127 | 0.0051545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
122 | LV_4901-1_0_6_line_122 | NAYY 4x150 SE | 120 | 121 | 0.0026198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
123 | LV_4901-1_0_6_line_123 | NAYY 4x150 SE | 122 | 129 | 0.0084044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4901-1_0_6_line_124 | NAYY 4x150 SE | 123 | 124 | 0.033861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
125 | LV_4901-1_0_6_line_125 | NAYY 4x150 SE | 123 | 125 | 0.030712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
126 | LV_4901-1_0_6_line_126 | NAYY 4x150 SE | 124 | 126 | 0.027877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4901-1_0_6_line_127 | NAYY 4x150 SE | 125 | 127 | 0.0079967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
128 | LV_4901-1_0_6_line_128 | NAYY 4x150 SE | 126 | 128 | 0.018261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4901-1_0_6_line_129 | NAYY 4x150 SE | 128 | 136 | 0.019794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4901-1_0_6_line_130 | NAYY 4x150 SE | 128 | 137 | 0.021569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4901-1_0_6_line_131 | NAYY 4x150 SE | 129 | 130 | 0.0080747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4901-1_0_6_line_132 | NAYY 4x150 SE | 130 | 131 | 0.020771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4901-1_0_6_line_133 | NAYY 4x150 SE | 130 | 132 | 0.026187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4901-1_0_6_line_134 | NAYY 4x150 SE | 131 | 133 | 0.028136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4901-1_0_6_line_135 | NAYY 4x150 SE | 132 | 134 | 0.012003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4901-1_0_6_line_136 | NAYY 4x150 SE | 133 | 135 | 0.012085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4901-1_0_6_line_137 | NAYY 4x150 SE | 134 | 136 | 0.0035415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4901-1_0_6_line_138 | NAYY 4x150 SE | 137 | 138 | 0.033217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4901-1_0_6_line_139 | NAYY 4x150 SE | 138 | 139 | 0.026019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4901-1_0_6_line_140 | NAYY 4x150 SE | 138 | 140 | 0.0069122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4901-1_0_6_trafo_20 | 0.25 MVA 20/0.4 kV | 142 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2732308.6848 | 1271662.5321 | 2732326.4896 | 1271672.4348
1 | 2732308.6848 | 1271662.5321 | 2732305.0538 | 1271660.5125
2 | 2732326.4896 | 1271672.4348 | 2732328.2918 | 1271673.4372
3 | 2732287.7187 | 1271652.5269 | 2732295.1134 | 1271654.9838 | 2732305.0538 | 1271660.5125
4 | 2732332.0876 | 1271675.5484 | 2732328.2918 | 1271673.4372
5 | 2732278.002 | 1271652.2757 | 2732282.8073 | 1271651.7495 | 2732287.7187 | 1271652.5269
6 | 2732332.0876 | 1271675.5484 | 2732332.8694 | 1271675.9832 | 2732340.8847 | 1271679.4903
7 | 2732278.002 | 1271652.2757 | 2732276.3692 | 1271646.567 | 2732273.4617 | 1271642.3311 | 2732266.0356 | 1271637.2659
8 | 2732278.002 | 1271652.2757 | 2732271.1428 | 1271654.8023 | 2732265.5895 | 1271659.1599 | 2732257.695 | 1271665.9565
9 | 2732351.1777 | 1271682.4861 | 2732351.1374 | 1271682.4766 | 2732341.8712 | 1271679.922 | 2732340.8847 | 1271679.4903
10 | 2732252.7687 | 1271631.7221 | 2732264.2563 | 1271636.0522 | 2732266.0356 | 1271637.2659
11 | 2732257.695 | 1271665.9565 | 2732256.9036 | 1271666.6379
12 | 2732310.4882 | 1271586.4735 | 2732304.449 | 1271603.993
13 | 2732310.4882 | 1271586.4735 | 2732299.0697 | 1271574.0525
14 | 2732310.4882 | 1271586.4735 | 2732323.2133 | 1271591.4968 | 2732323.2133 | 1271591.4968
15 | 2732359.5574 | 1271684.4579 | 2732351.1777 | 1271682.4861
16 | 2732252.7687 | 1271631.7221 | 2732243.4053 | 1271628.1927
17 | 2732244.8535 | 1271677.0123 | 2732256.9036 | 1271666.6379
18 | 2732299.0697 | 1271574.0525 | 2732288.5238 | 1271562.5808 | 2732286.5324 | 1271558.7658
19 | 2732323.2133 | 1271591.4968 | 2732330.1079 | 1271596.7054
20 | 2732289.2672 | 1271549.1148 | 2732291.7279 | 1271545.2025 | 2732294.1692 | 1271539.3213
21 | 2732285.9612 | 1271554.371 | 2732289.2672 | 1271549.1148
22 | 2732294.1692 | 1271539.3213 | 2732313.2444 | 1271464.5305
23 | 2732285.9612 | 1271554.371 | 2732269.9392 | 1271541.2298
24 | 2732285.9612 | 1271554.371 | 2732286.5324 | 1271558.7658
25 | 2732267.3444 | 1271539.1016 | 2732269.9392 | 1271541.2298
26 | 2732267.3444 | 1271539.1016 | 2732257.6526 | 1271531.1524
27 | 2732669.5063 | 1271801.8335 | 2732664.8209 | 1271794.1879
28 | 2732679.1709 | 1271815.3966 | 2732669.9495 | 1271802.5565 | 2732669.5063 | 1271801.8335
29 | 2732658.0551 | 1271783.1477 | 2732664.8209 | 1271794.1879
30 | 2732679.1709 | 1271815.3966 | 2732685.4396 | 1271824.1253 | 2732692.4166 | 1271832.297
31 | 2732658.0551 | 1271783.1477 | 2732650.6054 | 1271770.9916 | 2732642.7623 | 1271758.8924
32 | 2732692.4166 | 1271832.297 | 2732708.1238 | 1271850.6939 | 2732708.9184 | 1271851.3548
33 | 2732496.8322 | 1271700.1342 | 2732503.9617 | 1271700.6804
34 | 2732503.9617 | 1271700.6804 | 2732576.2877 | 1271706.1437
35 | 2732493.2947 | 1271699.8633 | 2732496.8322 | 1271700.1342
36 | 2732593.8743 | 1271704.7428 | 2732587.2608 | 1271706.04 | 2732580.2038 | 1271706.3152 | 2732576.2877 | 1271706.1437
37 | 2732642.7623 | 1271758.8924 | 2732641.6086 | 1271757.1127
38 | 2732708.9184 | 1271851.3548 | 2732721.1029 | 1271861.4899
39 | 2732635.3257 | 1271747.4204 | 2732641.6086 | 1271757.1127
40 | 2732722.8969 | 1271862.9822 | 2732721.1029 | 1271861.4899
41 | 2732621.1452 | 1271731.6615 | 2732622.963 | 1271733.3234 | 2732633.4929 | 1271744.593 | 2732635.3257 | 1271747.4204
42 | 2732722.8969 | 1271862.9822 | 2732773.558 | 1271894.2503
43 | 2732722.8969 | 1271862.9822 | 2732715.9624 | 1271868.8542 | 2732710.5394 | 1271877.9639
44 | 2732493.2947 | 1271699.8633 | 2732438.5748 | 1271695.6716 | 2732434.5372 | 1271695.319
45 | 2732593.8743 | 1271704.7428 | 2732600.061 | 1271702.346 | 2732607.3286 | 1271697.727 | 2732614.3301 | 1271691.8897
46 | 2732593.8743 | 1271704.7428 | 2732596.7457 | 1271708.5665 | 2732602.192 | 1271714.3388 | 2732602.3003 | 1271714.4378
47 | 2732628.748 | 1271679.1679 | 2732614.3301 | 1271691.8897
48 | 2732614.3301 | 1271691.8897 | 2732621.9812 | 1271689.626 | 2732638.2794 | 1271676.0831
49 | 2732606.4644 | 1271718.2431 | 2732602.3003 | 1271714.4378
50 | 2732628.748 | 1271679.1679 | 2732639.496 | 1271669.6891 | 2732666.1547 | 1271646.1707
51 | 2732628.748 | 1271679.1679 | 2732605.4219 | 1271651.3173 | 2732601.8044 | 1271648.5626
52 | 2732619.0377 | 1271729.7347 | 2732615.5675 | 1271726.562 | 2732606.4644 | 1271718.2431
53 | 2732619.0377 | 1271729.7347 | 2732621.1452 | 1271731.6615
54 | 2732579.2207 | 1271644.8896 | 2732600.1246 | 1271647.2834 | 2732601.8044 | 1271648.5626
55 | 2732703.0788 | 1271911.2192 | 2732704.9705 | 1271905.5759 | 2732706.177 | 1271895.0929 | 2732706.6361 | 1271892.1194
56 | 2732706.6361 | 1271892.1194 | 2732708.2204 | 1271881.8594 | 2732710.5394 | 1271877.9639
57 | 2732824.0954 | 1271924.5723 | 2732805.2772 | 1271913.8276 | 2732773.558 | 1271894.2503
58 | 2732568.3454 | 1271643.6442 | 2732579.2207 | 1271644.8896
59 | 2732568.3454 | 1271643.6442 | 2732570.4157 | 1271616.8093
60 | 2732568.3454 | 1271643.6442 | 2732555.5676 | 1271642.7488
61 | 2732814.7954 | 1271967.7428 | 2732817.9172 | 1271953.2513
62 | 2732824.0954 | 1271924.5723 | 2732817.9172 | 1271953.2513
63 | 2732824.0954 | 1271924.5723 | 2732846.3522 | 1271930.9534
64 | 2732846.3522 | 1271930.9534 | 2733290.9672 | 1271872.8747
65 | 2733290.9672 | 1271872.8747 | 2733306.5116 | 1271912.2524 | 2733309.3074 | 1271919.3364
66 | 2732420.4076 | 1271694.0849 | 2732434.5372 | 1271695.319
67 | 2732407.2517 | 1271692.8443 | 2732420.4076 | 1271694.0849
68 | 2732420.4076 | 1271694.0849 | 2732422.2066 | 1271689.3652 | 2732424.636 | 1271685.7273 | 2732431.8316 | 1271678.9488 | 2732436.0887 | 1271674.1741
69 | 2732407.2517 | 1271692.8443 | 2732383.4786 | 1271688.8965 | 2732366.6623 | 1271685.8451
70 | 2732407.2517 | 1271692.8443 | 2732405.8424 | 1271721.1066 | 2732404.1084 | 1271730.1989
71 | 2732436.0887 | 1271674.1741 | 2732436.7411 | 1271673.4425 | 2732444.0774 | 1271663.7421 | 2732450.9584 | 1271652.8749 | 2732453.6301 | 1271644.4823
72 | 2732396.2939 | 1271747.1999 | 2732394.4309 | 1271750.8689
73 | 2732400.6552 | 1271738.6108 | 2732396.2939 | 1271747.1999
74 | 2732391.2088 | 1271766.7654 | 2732393.3424 | 1271753.0126 | 2732394.4309 | 1271750.8689
75 | 2732400.6552 | 1271738.6108 | 2732403.6164 | 1271732.779 | 2732404.1084 | 1271730.1989
76 | 2732361.3775 | 1271684.8861 | 2732366.6623 | 1271685.8451
77 | 2732361.3775 | 1271684.8861 | 2732359.5574 | 1271684.4579
78 | 2732361.3775 | 1271684.8861 | 2732364.1318 | 1271670.4213
79 | 2732226.2109 | 1271694.9298 | 2732227.0135 | 1271693.8738 | 2732235.3347 | 1271685.2074 | 2732237.9431 | 1271682.9616
80 | 2732241.8324 | 1271679.6132 | 2732237.9431 | 1271682.9616
81 | 2732206.7713 | 1271725.1062 | 2732219.1513 | 1271704.2189 | 2732226.2109 | 1271694.9298
82 | 2732244.8535 | 1271677.0123 | 2732241.8324 | 1271679.6132
83 | 2732206.7713 | 1271725.1062 | 2732194.5284 | 1271745.763
84 | 2732206.7713 | 1271725.1062 | 2732225.9654 | 1271736.9473 | 2732225.9654 | 1271736.9473
85 | 2732225.9654 | 1271736.9473 | 2732244.6478 | 1271753.1478 | 2732247.8083 | 1271757.5543
86 | 2732250.6121 | 1271763.3468 | 2732249.3177 | 1271759.6587 | 2732247.8083 | 1271757.5543
87 | 2732352.6866 | 1271613.7629 | 2732336.8051 | 1271601.7649
88 | 2732330.1079 | 1271596.7054 | 2732336.8051 | 1271601.7649
89 | 2732352.6866 | 1271613.7629 | 2732355.7397 | 1271616.0694
90 | 2732369.2065 | 1271625.262 | 2732362.661 | 1271621.2983 | 2732355.7397 | 1271616.0694
91 | 2732378.2815 | 1271630.7575 | 2732369.2065 | 1271625.262
92 | 2732378.2815 | 1271630.7575 | 2732390.0662 | 1271621.3459 | 2732402.5356 | 1271610.2592 | 2732408.6423 | 1271602.7111 | 2732412.8895 | 1271594.7388
93 | 2732378.2815 | 1271630.7575 | 2732398.7311 | 1271635.8111
94 | 2732417.3862 | 1271585.901 | 2732413.9294 | 1271592.7868 | 2732412.8895 | 1271594.7388
95 | 2732398.7311 | 1271635.8111 | 2732402.8682 | 1271636.8335
96 | 2732437.5974 | 1271642.7349 | 2732448.8905 | 1271643.9657
97 | 2732437.5974 | 1271642.7349 | 2732431.1401 | 1271642.0311 | 2732419.1725 | 1271640.8172 | 2732405.7535 | 1271637.5465 | 2732402.8682 | 1271636.8335
98 | 2732448.8905 | 1271643.9657 | 2732453.6301 | 1271644.4823 | 2732453.6301 | 1271644.4823
99 | 2732446.8482 | 1271542.7549 | 2732437.4332 | 1271558.1249 | 2732424.7903 | 1271573.9122 | 2732418.2304 | 1271584.2194 | 2732417.3862 | 1271585.901
100 | 2732243.4053 | 1271628.1927 | 2732241.7837 | 1271627.5814
101 | 2732216.04 | 1271620.3049 | 2732236.744 | 1271625.6818 | 2732241.7837 | 1271627.5814
102 | 2733367.9746 | 1272184.8635 | 2733350.2686 | 1272170.6593
103 | 2733386.4717 | 1272199.7023 | 2733367.9746 | 1272184.8635
104 | 2733600.384 | 1272241.9528 | 2733605.9621 | 1272242.0384 | 2733619.9116 | 1272244.3897 | 2733634.584 | 1272247.7138 | 2733635.3362 | 1272247.9749
105 | 2733600.384 | 1272241.9528 | 2733592.235 | 1272241.8277 | 2733590.9389 | 1272241.8579
106 | 2733635.3362 | 1272247.9749 | 2733637.8552 | 1272248.8493
107 | 2733590.9389 | 1272241.8579 | 2733583.5121 | 1272242.0312
108 | 2733662.262 | 1272257.3646 | 2733654.6366 | 1272254.6744 | 2733637.8552 | 1272248.8493
109 | 2733583.5121 | 1272242.0312 | 2733577.7204 | 1272242.1663 | 2733566.0475 | 1272242.6904
110 | 2733556.1237 | 1272243.1359 | 2733566.0475 | 1272242.6904
111 | 2733556.1237 | 1272243.1359 | 2733529.2949 | 1272244.3404
112 | 2733373.3065 | 1272081.4961 | 2733360.0059 | 1272047.7953
113 | 2733384.6779 | 1272110.3087 | 2733373.3065 | 1272081.4961
114 | 2733344.9015 | 1272009.5241 | 2733360.0059 | 1272047.7953
115 | 2733384.6779 | 1272110.3087 | 2733401.2225 | 1272152.7407
116 | 2733344.9015 | 1272009.5241 | 2733329.9252 | 1271971.5776
117 | 2733401.2225 | 1272152.7407 | 2733404.8121 | 1272161.9468 | 2733405.0387 | 1272162.6064
118 | 2733329.9252 | 1271971.5776 | 2733321.5301 | 1271950.3062
119 | 2733405.0387 | 1272162.6064 | 2733405.3749 | 1272163.5845
120 | 2733310.2691 | 1271921.7733 | 2733321.5301 | 1271950.3062
121 | 2733407.05 | 1272168.4592 | 2733405.3749 | 1272163.5845
122 | 2733310.2691 | 1271921.7733 | 2733309.3074 | 1271919.3364
123 | 2733520.899 | 1272244.7174 | 2733529.2949 | 1272244.3404
124 | 2733386.4717 | 1272199.7023 | 2733403.2353 | 1272214.0393 | 2733412.2066 | 1272221.7091
125 | 2733386.4717 | 1272199.7023 | 2733402.3286 | 1272181.2649 | 2733406.3093 | 1272176.2611 | 2733406.3093 | 1272176.2611
126 | 2733434.5572 | 1272238.236 | 2733432.5383 | 1272237.1904 | 2733422.8114 | 1272230.7755 | 2733412.2066 | 1272221.7091
127 | 2733406.3093 | 1272176.2611 | 2733407.472 | 1272172.4281 | 2733407.05 | 1272168.4592 | 2733407.05 | 1272168.4592
128 | 2733451.4189 | 1272245.0802 | 2733441.8125 | 1272241.9935 | 2733434.5572 | 1272238.236
129 | 2733451.4189 | 1272245.0802 | 2733460.6462 | 1272246.301 | 2733471.1282 | 1272246.6049 | 2733471.1282 | 1272246.6049
130 | 2733451.4189 | 1272245.0802 | 2733447.2847 | 1272266.2489
131 | 2733512.8324 | 1272245.0795 | 2733520.899 | 1272244.7174
132 | 2733512.8324 | 1272245.0795 | 2733516.1782 | 1272224.5798
133 | 2733512.8324 | 1272245.0795 | 2733507.1695 | 1272245.285 | 2733486.6628 | 1272246.036
134 | 2733531.0929 | 1272205.308 | 2733525.2345 | 1272223.3834 | 2733516.1782 | 1272224.5798 | 2733516.1782 | 1272224.5798
135 | 2733474.6673 | 1272246.4753 | 2733486.6628 | 1272246.036
136 | 2733531.0929 | 1272205.308 | 2733534.819 | 1272193.8118
137 | 2733474.6673 | 1272246.4753 | 2733471.1282 | 1272246.6049
138 | 2733440.9177 | 1272298.8505 | 2733447.2847 | 1272266.2489
139 | 2733440.9177 | 1272298.8505 | 2733466.2493 | 1272304.7912
140 | 2733440.9177 | 1272298.8505 | 2733435.0054 | 1272302.4315

## bus_geodata
| x | y | coords
0 | 2732308.6848 | 1271662.5321
1 | 2732326.4896 | 1271672.4348
2 | 2732305.0538 | 1271660.5125
3 | 2732328.2918 | 1271673.4372
4 | 2732287.7187 | 1271652.5269
5 | 2732332.0876 | 1271675.5484
6 | 2732278.002 | 1271652.2757
7 | 2732340.8847 | 1271679.4903
8 | 2732266.0356 | 1271637.2659
9 | 2732257.695 | 1271665.9565
10 | 2732304.449 | 1271603.993
11 | 2732310.4882 | 1271586.4735
12 | 2732351.1777 | 1271682.4861
13 | 2732252.7687 | 1271631.7221
14 | 2732256.9036 | 1271666.6379
15 | 2732299.0697 | 1271574.0525
16 | 2732323.2133 | 1271591.4968
17 | 2732289.2672 | 1271549.1148
18 | 2732294.1692 | 1271539.3213
19 | 2732285.9612 | 1271554.371
20 | 2732313.2444 | 1271464.5305
21 | 2732269.9392 | 1271541.2298
22 | 2732286.5324 | 1271558.7658
23 | 2732267.3444 | 1271539.1016
24 | 2732257.6526 | 1271531.1524
25 | 2732669.5063 | 1271801.8335
26 | 2732664.8209 | 1271794.1879
27 | 2732679.1709 | 1271815.3966
28 | 2732658.0551 | 1271783.1477
29 | 2732692.4166 | 1271832.297
30 | 2732503.9617 | 1271700.6804
31 | 2732496.8322 | 1271700.1342
32 | 2732576.2877 | 1271706.1437
33 | 2732642.7623 | 1271758.8924
34 | 2732708.9184 | 1271851.3548
35 | 2732641.6086 | 1271757.1127
36 | 2732721.1029 | 1271861.4899
37 | 2732635.3257 | 1271747.4204
38 | 2732722.8969 | 1271862.9822
39 | 2732493.2947 | 1271699.8633
40 | 2732593.8743 | 1271704.7428
41 | 2732614.3301 | 1271691.8897
42 | 2732602.3003 | 1271714.4378
43 | 2732628.748 | 1271679.1679
44 | 2732638.2794 | 1271676.0831
45 | 2732606.4644 | 1271718.2431
46 | 2732619.0377 | 1271729.7347
47 | 2732621.1452 | 1271731.6615
48 | 2732666.1547 | 1271646.1707
49 | 2732601.8044 | 1271648.5626
50 | 2732703.0788 | 1271911.2192
51 | 2732706.6361 | 1271892.1194
52 | 2732710.5394 | 1271877.9639
53 | 2732773.558 | 1271894.2503
54 | 2732579.2207 | 1271644.8896
55 | 2732568.3454 | 1271643.6442
56 | 2732570.4157 | 1271616.8093
57 | 2732555.5676 | 1271642.7488
58 | 2732814.7954 | 1271967.7428
59 | 2732817.9172 | 1271953.2513
60 | 2732824.0954 | 1271924.5723
61 | 2732846.3522 | 1271930.9534
62 | 2733290.9672 | 1271872.8747
63 | 2732434.5372 | 1271695.319
64 | 2732420.4076 | 1271694.0849
65 | 2732407.2517 | 1271692.8443
66 | 2732436.0887 | 1271674.1741
67 | 2732396.2939 | 1271747.1999
68 | 2732394.4309 | 1271750.8689
69 | 2732400.6552 | 1271738.6108
70 | 2732391.2088 | 1271766.7654
71 | 2732404.1084 | 1271730.1989
72 | 2732366.6623 | 1271685.8451
73 | 2732361.3775 | 1271684.8861
74 | 2732237.9431 | 1271682.9616
75 | 2732226.2109 | 1271694.9298
76 | 2732241.8324 | 1271679.6132
77 | 2732206.7713 | 1271725.1062
78 | 2732244.8535 | 1271677.0123
79 | 2732194.5284 | 1271745.763
80 | 2732225.9654 | 1271736.9473
81 | 2732247.8083 | 1271757.5543
82 | 2732250.6121 | 1271763.3468
83 | 2732336.8051 | 1271601.7649
84 | 2732352.6866 | 1271613.7629
85 | 2732330.1079 | 1271596.7054
86 | 2732355.7397 | 1271616.0694
87 | 2732369.2065 | 1271625.262
88 | 2732378.2815 | 1271630.7575
89 | 2732412.8895 | 1271594.7388
90 | 2732398.7311 | 1271635.8111
91 | 2732437.5974 | 1271642.7349
92 | 2732448.8905 | 1271643.9657
93 | 2732402.8682 | 1271636.8335
94 | 2732453.6301 | 1271644.4823
95 | 2732417.3862 | 1271585.901
96 | 2732364.1318 | 1271670.4213
97 | 2732359.5574 | 1271684.4579
98 | 2732446.8482 | 1271542.7549
99 | 2732243.4053 | 1271628.1927
100 | 2732241.7837 | 1271627.5814
101 | 2733350.2686 | 1272170.6593
102 | 2733367.9746 | 1272184.8635
103 | 2733600.384 | 1272241.9528
104 | 2733635.3362 | 1272247.9749
105 | 2733590.9389 | 1272241.8579
106 | 2733637.8552 | 1272248.8493
107 | 2733583.5121 | 1272242.0312
108 | 2733662.262 | 1272257.3646
109 | 2733566.0475 | 1272242.6904
110 | 2733556.1237 | 1272243.1359
111 | 2733373.3065 | 1272081.4961
112 | 2733360.0059 | 1272047.7953
113 | 2733384.6779 | 1272110.3087
114 | 2733344.9015 | 1272009.5241
115 | 2733401.2225 | 1272152.7407
116 | 2733329.9252 | 1271971.5776
117 | 2733405.0387 | 1272162.6064
118 | 2733321.5301 | 1271950.3062
119 | 2733405.3749 | 1272163.5845
120 | 2733310.2691 | 1271921.7733
121 | 2733309.3074 | 1271919.3364
122 | 2733529.2949 | 1272244.3404
123 | 2733386.4717 | 1272199.7023
124 | 2733412.2066 | 1272221.7091
125 | 2733406.3093 | 1272176.2611
126 | 2733434.5572 | 1272238.236
127 | 2733407.05 | 1272168.4592
128 | 2733451.4189 | 1272245.0802
129 | 2733520.899 | 1272244.7174
130 | 2733512.8324 | 1272245.0795
131 | 2733516.1782 | 1272224.5798
132 | 2733486.6628 | 1272246.036
133 | 2733531.0929 | 1272205.308
134 | 2733474.6673 | 1272246.4753
135 | 2733534.819 | 1272193.8118
136 | 2733471.1282 | 1272246.6049
137 | 2733447.2847 | 1272266.2489
138 | 2733440.9177 | 1272298.8505
139 | 2733466.2493 | 1272304.7912
140 | 2733435.0054 | 1272302.4315
141 | 2732216.04 | 1271620.3049
142 | 2732722.8969 | 1271862.9822

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1