## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4901-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4901-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4901-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4901-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4901-2_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4901-2_0_4_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_4901-2_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_4901-2_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4901-2_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_4901-2_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_4901-2_0_4_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_4901-2_0_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_4901-2_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_4901-2_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4901-2_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4901-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4901-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4901-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4901-2_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4901-2_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_4901-2_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_4901-2_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_4901-2_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_4901-2_0_4_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_4901-2_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_4901-2_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_4901-2_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_4901-2_0_4_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_4901-2_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4901-2_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4901-2_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4901-2_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4901-2_0_4_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_4901-2_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4901-2_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4901-2_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4901-2_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4901-2_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4901-2_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4901-2_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4901-2_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4901-2_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4901-2_0_4_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_4901-2_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_4901-2_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_4901-2_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4901-2_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4901-2_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4901-2_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_4901-2_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_4901-2_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4901-2_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4901-2_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4901-2_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_4901-2_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_4901-2_0_4_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_4901-2_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4901-2_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_4901-2_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4901-2_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4901-2_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4901-2_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4901-2_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4901-2_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_4901-2_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_4901-2_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_4901-2_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_4901-2_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4901-2_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4901-2_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4901-2_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_4901-2_0_4_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_4901-2_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_4901-2_0_4_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_4901-2_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_MV_409_1_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4901-2_0_4_load_0 | 0 | 0.0010524 | 0.00026375 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4901-2_0_4_load_2 | 2 | 0.0065792 | 0.0016489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4901-2_0_4_load_6 | 4 | 0.00081435 | 0.0002041 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4901-2_0_4_load_56 | 5 | 0.0003834 | 9.6089e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4901-2_0_4_load_50 | 6 | 0.00063224 | 0.00015845 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4901-2_0_4_load_17 | 9 | 0.00057441 | 0.00014396 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4901-2_0_4_load_49 | 10 | 0.00049596 | 0.0001243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4901-2_0_4_load_32 | 11 | 0.0011483 | 0.0002878 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4901-2_0_4_load_27 | 12 | 0.01176 | 0.0029472 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4901-2_0_4_load_7 | 13 | 0.015317 | 0.0038389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4901-2_0_4_load_8 | 14 | 0.0089448 | 0.0022418 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4901-2_0_4_load_10 | 16 | 0.010957 | 0.002746 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4901-2_0_4_load_12 | 18 | 0.0056569 | 0.0014177 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4901-2_0_4_load_39 | 20 | 0.00032129 | 8.0523e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4901-2_0_4_load_40 | 21 | 0.013704 | 0.0034344 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4901-2_0_4_load_38 | 22 | 0.0062466 | 0.0015655 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4901-2_0_4_load_71 | 23 | 0.020083 | 0.0050333 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4901-2_0_4_load_41 | 25 | 0.00061235 | 0.00015347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4901-2_0_4_load_55 | 26 | 0.00015279 | 3.8293e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4901-2_0_4_load_72 | 27 | 0.011569 | 0.0028995 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4901-2_0_4_load_13 | 28 | 0.00066772 | 0.00016735 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4901-2_0_4_load_14 | 29 | 0.00039167 | 9.8162e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4901-2_0_4_load_16 | 31 | 0.0016224 | 0.00040662 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4901-2_0_4_load_65 | 32 | 0.0006704 | 0.00016802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4901-2_0_4_load_18 | 33 | 0.001711 | 0.00042881 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4901-2_0_4_load_19 | 34 | 0.0018974 | 0.00047555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4901-2_0_4_load_20 | 35 | 0.00066867 | 0.00016759 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4901-2_0_4_load_21 | 36 | 0.0014239 | 0.00035687 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4901-2_0_4_load_24 | 37 | 0.00067038 | 0.00016801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4901-2_0_4_load_22 | 38 | 0.0020773 | 0.00052062 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4901-2_0_4_load_23 | 39 | 0.0019501 | 0.00048873 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4901-2_0_4_load_70 | 42 | 0.00064662 | 0.00016206 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4901-2_0_4_load_67 | 43 | 0.00051884 | 0.00013003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4901-2_0_4_load_61 | 44 | 0.0012874 | 0.00032264 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4901-2_0_4_load_28 | 45 | 0.00095404 | 0.0002391 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4901-2_0_4_load_30 | 47 | 0.00091245 | 0.00022868 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4901-2_0_4_load_53 | 48 | 0.00026069 | 6.5336e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4901-2_0_4_load_54 | 49 | 0.00036323 | 9.1034e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4901-2_0_4_load_43 | 50 | 0.0038394 | 0.00096223 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4901-2_0_4_load_33 | 51 | 0.046357 | 0.011618 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4901-2_0_4_load_34 | 52 | 0.0098469 | 0.0024679 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4901-2_0_4_load_36 | 53 | 0.0012866 | 0.00032245 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4901-2_0_4_load_60 | 54 | 0.0023101 | 0.00057896 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4901-2_0_4_load_73 | 57 | 0.0010372 | 0.00025994 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4901-2_0_4_load_45 | 58 | 0.00074111 | 0.00018574 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4901-2_0_4_load_48 | 60 | 0.002157 | 0.0005406 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4901-2_0_4_load_51 | 61 | 0.00041586 | 0.00010423 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4901-2_0_4_load_69 | 63 | 0.0019426 | 0.00048685 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4901-2_0_4_load_68 | 64 | 0.0018019 | 0.00045161 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4901-2_0_4_load_74 | 65 | 0.0019827 | 0.00049692 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4901-2_0_4_load_64 | 66 | 0.0021465 | 0.00053797 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4901-2_0_4_load_57 | 67 | 0.0014307 | 0.00035856 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4901-2_0_4_load_58 | 68 | 0.012756 | 0.0031971 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4901-2_0_4_load_62 | 69 | 0.0012855 | 0.00032217 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4901-2_0_4_load_63 | 70 | 0.0017831 | 0.00044688 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4901-2_0_4_load_75 | 71 | 0.0023282 | 0.0005835 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4901-2_0_4_load_77 | 73 | 0.00052716 | 0.00013212 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4901-2_0_4_load_78 | 74 | 0.0015142 | 0.0003795 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4901-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4901-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.051771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4901-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.044089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4901-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4901-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.051946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4901-2_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.015711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4901-2_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0099611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4901-2_0_4_line_7 | NAYY 4x150 SE | 5 | 9 | 0.01197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4901-2_0_4_line_8 | NAYY 4x150 SE | 6 | 10 | 0.030388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4901-2_0_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.011824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4901-2_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.020338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4901-2_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.03745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4901-2_0_4_line_12 | NAYY 4x150 SE | 9 | 30 | 0.027488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4901-2_0_4_line_13 | NAYY 4x150 SE | 10 | 61 | 0.057853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4901-2_0_4_line_14 | NAYY 4x150 SE | 11 | 50 | 0.024275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4901-2_0_4_line_15 | NAYY 4x150 SE | 12 | 40 | 0.0099355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4901-2_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.031874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4901-2_0_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.035439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4901-2_0_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0046232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4901-2_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.04247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4901-2_0_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.022464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4901-2_0_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.045968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_4901-2_0_4_line_22 | NAYY 4x150 SE | 17 | 20 | 0.060952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4901-2_0_4_line_23 | NAYY 4x150 SE | 17 | 21 | 0.02744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4901-2_0_4_line_24 | NAYY 4x150 SE | 17 | 22 | 0.074382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4901-2_0_4_line_25 | NAYY 4x150 SE | 18 | 23 | 0.058303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4901-2_0_4_line_26 | NAYY 4x150 SE | 19 | 24 | 0.003761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4901-2_0_4_line_27 | NAYY 4x150 SE | 20 | 25 | 0.034558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4901-2_0_4_line_28 | NAYY 4x150 SE | 21 | 26 | 0.012524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4901-2_0_4_line_29 | NAYY 4x150 SE | 23 | 27 | 0.0075083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4901-2_0_4_line_30 | NAYY 4x150 SE | 24 | 51 | 0.10001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4901-2_0_4_line_31 | NAYY 4x150 SE | 25 | 56 | 0.0037393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4901-2_0_4_line_32 | NAYY 4x150 SE | 27 | 60 | 0.017896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4901-2_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.041454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4901-2_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.033082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4901-2_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.10127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4901-2_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.12422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4901-2_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.00096621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4901-2_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.021736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4901-2_0_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.010465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4901-2_0_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.003417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4901-2_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.02229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4901-2_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0030704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4901-2_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.018829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4901-2_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.028101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4901-2_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.031446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4901-2_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.042307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4901-2_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.02153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4901-2_0_4_line_48 | NAYY 4x150 SE | 44 | 55 | 0.011694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4901-2_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.060914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4901-2_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.023875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4901-2_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.029009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4901-2_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.022983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4901-2_0_4_line_53 | NAYY 4x150 SE | 49 | 56 | 0.016051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4901-2_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.039225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_4901-2_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.080571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_4901-2_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0041071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4901-2_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.024096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4901-2_0_4_line_58 | NAYY 4x150 SE | 55 | 67 | 0.046626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4901-2_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.019929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4901-2_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.064683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4901-2_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.096472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4901-2_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0083939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4901-2_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.018727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4901-2_0_4_line_64 | NAYY 4x150 SE | 62 | 64 | 0.019859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4901-2_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.03224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4901-2_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.015546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4901-2_0_4_line_67 | NAYY 4x150 SE | 65 | 71 | 0.0042976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4901-2_0_4_line_68 | NAYY 4x150 SE | 66 | 70 | 0.019306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4901-2_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.07773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4901-2_0_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.00051007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4901-2_0_4_line_71 | NAYY 4x150 SE | 71 | 72 | 0.024702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4901-2_0_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.012624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4901-2_0_4_line_73 | NAYY 4x150 SE | 72 | 74 | 0.02671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4901-2_0_4_trafo_34 | 0.25 MVA 20/0.4 kV | 75 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2733714.2832 | 1269809.2562 | 2733736.1463 | 1269811.0973 | 2733746.0629 | 1269812.9301
1 | 2733766.8176 | 1269850.4184 | 2733756.3251 | 1269842.7512 | 2733759.7596 | 1269825.0565 | 2733755.3511 | 1269814.6466 | 2733746.0629 | 1269812.9301
2 | 2733714.2832 | 1269809.2562 | 2733717.2396 | 1269786.4123 | 2733718.2355 | 1269765.3814
3 | 2733766.8176 | 1269850.4184 | 2733763.3499 | 1269865.3856
4 | 2733718.2355 | 1269765.3814 | 2733718.4027 | 1269713.4356
5 | 2733718.2355 | 1269765.3814 | 2733733.4506 | 1269769.297
6 | 2733760.6907 | 1269874.981 | 2733762.6625 | 1269868.3526 | 2733763.3499 | 1269865.3856
7 | 2733718.4027 | 1269713.4356 | 2733718.4413 | 1269701.4656
8 | 2733762.8794 | 1269776.8705 | 2733733.4506 | 1269769.297
9 | 2733772.0719 | 1269878.3086 | 2733760.6907 | 1269874.981
10 | 2733772.0719 | 1269878.3086 | 2733766.7129 | 1269897.9275
11 | 2733772.0719 | 1269878.3086 | 2733808.0222 | 1269888.8012
12 | 2733718.5298 | 1269673.9781 | 2733718.4413 | 1269701.4656
13 | 2733762.8794 | 1269776.8705 | 2733793.5378 | 1269784.7604 | 2733801.4206 | 1269784.0272 | 2733804.7622 | 1269779.0759 | 2733807.7714 | 1269767.1436
14 | 2733758.385 | 1269920.565 | 2733759.3075 | 1269919.4035 | 2733763.5738 | 1269909.8465 | 2733765.973 | 1269900.6364 | 2733766.7129 | 1269897.9275
15 | 2733817.5597 | 1269891.5849 | 2733808.0222 | 1269888.8012
16 | 2734111.9618 | 1270092.9029 | 2734115.2047 | 1270080.4496 | 2734120.2738 | 1270062.1329
17 | 2734101.6641 | 1270126.7979 | 2734104.4889 | 1270118.4206 | 2734109.1269 | 1270103.7896 | 2734111.9618 | 1270092.9029
18 | 2734120.2738 | 1270062.1329 | 2734121.4781 | 1270057.7813 | 2734121.5098 | 1270057.6781
19 | 2734099.9786 | 1270168.8445 | 2734098.1087 | 1270155.7339 | 2734098.9551 | 1270140.3494 | 2734101.6641 | 1270126.7979
20 | 2734101.6641 | 1270126.7979 | 2734079.2848 | 1270124.8442
21 | 2734135.1165 | 1270013.7708 | 2734130.3547 | 1270028.8772 | 2734121.5098 | 1270057.6781
22 | 2734099.9786 | 1270168.8445 | 2734096.6272 | 1270178.5333 | 2734088.0476 | 1270223.2038 | 2734087.2237 | 1270228.3509
23 | 2734099.9786 | 1270168.8445 | 2734073.5057 | 1270161.6248
24 | 2734099.9786 | 1270168.8445 | 2734131.8042 | 1270176.7302 | 2734155.7558 | 1270185.3046 | 2734170.4775 | 1270191.9544
25 | 2734079.2848 | 1270124.8442 | 2734076.3481 | 1270124.5878 | 2734061.9859 | 1270121.3031 | 2734053.9758 | 1270118.7077 | 2734048.0111 | 1270114.5462 | 2734044.7846 | 1270109.7906 | 2734037.6161 | 1270105.6017 | 2734027.5782 | 1270101.4063
26 | 2734134.4252 | 1270010.0738 | 2734135.1165 | 1270013.7708
27 | 2734087.2237 | 1270228.3509 | 2734081.7615 | 1270262.4745
28 | 2734073.5057 | 1270161.6248 | 2734061.4233 | 1270158.3297
29 | 2734020.2999 | 1270099.6402 | 2734026.4167 | 1270100.9209 | 2734027.5782 | 1270101.4063
30 | 2734134.4252 | 1270010.0738 | 2734132.7628 | 1270006.7106 | 2734130.9855 | 1270004.4347 | 2734127.3755 | 1270001.3164 | 2734118.4456 | 1269996.4646 | 2734092.1262 | 1269981.7418 | 2734047.2387 | 1269963.952
31 | 2734081.1704 | 1270266.1668 | 2734081.7615 | 1270262.4745
32 | 2734002.9061 | 1270095.4469 | 2734014.8574 | 1270098.5007 | 2734020.2999 | 1270099.6402
33 | 2733748.8455 | 1269660.7641 | 2733765.2991 | 1269654.04 | 2733788.1398 | 1269647.792
34 | 2733718.5298 | 1269673.9781 | 2733731.3664 | 1269667.9073 | 2733748.8455 | 1269660.7641
35 | 2733788.1398 | 1269647.792 | 2733800.1423 | 1269644.5087 | 2733812.4204 | 1269641.8287 | 2733824.0007 | 1269643.0366 | 2733841.4316 | 1269644.4995 | 2733861.0211 | 1269648.703 | 2733881.2445 | 1269651.842 | 2733887.7083 | 1269653.2846
36 | 2733887.7083 | 1269653.2846 | 2733986.1454 | 1269729.048
37 | 2733835.34 | 1269813.7836 | 2733835.5552 | 1269812.8417
38 | 2733830.4974 | 1269834.9733 | 2733835.34 | 1269813.7836
39 | 2733830.4974 | 1269834.9733 | 2733828.1659 | 1269845.1751
40 | 2733828.1659 | 1269845.1751 | 2733827.4047 | 1269848.5062
41 | 2733827.4047 | 1269848.5062 | 2733822.4386 | 1269870.2362
42 | 2733822.4386 | 1269870.2362 | 2733821.7546 | 1269873.2294
43 | 2733817.5597 | 1269891.5849 | 2733821.7546 | 1269873.2294
44 | 2733817.5597 | 1269891.5849 | 2733844.3388 | 1269900.3555
45 | 2733844.3388 | 1269900.3555 | 2733874.427 | 1269909.4962
46 | 2733844.3388 | 1269900.3555 | 2733849.4763 | 1269896.2013 | 2733859.5367 | 1269888.0658 | 2733876.493 | 1269872.8815
47 | 2733895.027 | 1269915.7544 | 2733874.427 | 1269909.4962
48 | 2733906.216 | 1269919.1536 | 2733895.027 | 1269915.7544
49 | 2733992.5292 | 1270241.8432 | 2733999.1968 | 1270223.6659 | 2734004.4687 | 1270213.9205 | 2734010.8526 | 1270208.2377 | 2734015.1506 | 1270205.9107 | 2734018.7904 | 1270205.3928 | 2734024.6113 | 1270206.9375 | 2734031.5601 | 1270209.2987
50 | 2733992.5292 | 1270241.8432 | 2734015.5533 | 1270248.1612
51 | 2734043.5277 | 1270255.8375 | 2734015.5533 | 1270248.1612
52 | 2734043.5277 | 1270255.8375 | 2734065.6914 | 1270261.9193
53 | 2734081.1704 | 1270266.1668 | 2734065.6914 | 1270261.9193
54 | 2734010.0852 | 1269951.449 | 2734036.1009 | 1269959.5379 | 2734047.2387 | 1269963.952
55 | 2733933.1478 | 1269927.5273 | 2734010.0852 | 1269951.449
56 | 2733933.1478 | 1269927.5273 | 2733929.2258 | 1269926.3079
57 | 2733906.216 | 1269919.1536 | 2733929.2258 | 1269926.3079
58 | 2733906.216 | 1269919.1536 | 2733905.8179 | 1269941.6773 | 2733913.3148 | 1269964.5804
59 | 2734081.1704 | 1270266.1668 | 2734079.5321 | 1270286.0281
60 | 2733908.4697 | 1270080.9157 | 2733857.8629 | 1270040.6318
61 | 2733908.4697 | 1270080.9157 | 2733915.4756 | 1270078.6724 | 2733921.2173 | 1270079.0696 | 2733932.7586 | 1270082.2899 | 2733954.9709 | 1270086.2751 | 2733982.3152 | 1270091.3223 | 2733999.905 | 1270094.6801 | 2734002.9061 | 1270095.4469
62 | 2733809.8241 | 1269759.0046 | 2733807.7714 | 1269767.1436
63 | 2733809.8241 | 1269759.0046 | 2733814.3995 | 1269740.8455
64 | 2733809.8241 | 1269759.0046 | 2733829.0397 | 1269764.0192
65 | 2733814.3995 | 1269740.8455 | 2733822.2768 | 1269709.5823
66 | 2733844.0822 | 1269767.9448 | 2733829.0397 | 1269764.0192
67 | 2733823.3269 | 1269705.4149 | 2733822.2768 | 1269709.5823
68 | 2733844.0822 | 1269767.9448 | 2733844.0822 | 1269767.9448 | 2733840.0967 | 1269786.8347
69 | 2733913.3148 | 1269964.5804 | 2733917.2838 | 1269982.7322 | 2733915.9828 | 1270000.9202 | 2733915.51 | 1270015.1232 | 2733921.2675 | 1270020.1363 | 2733939.9519 | 1270023.9499
70 | 2733840.0967 | 1269786.8347 | 2733839.9914 | 1269787.3338
71 | 2733829.3623 | 1269681.4616 | 2733823.3269 | 1269705.4149
72 | 2733829.3623 | 1269681.4616 | 2733832.4424 | 1269669.219
73 | 2733829.3623 | 1269681.4616 | 2733855.7267 | 1269685.7431

## bus_geodata
| x | y | coords
0 | 2733746.0629 | 1269812.9301
1 | 2733714.2831 | 1269809.2562
2 | 2733766.8176 | 1269850.4184
3 | 2733718.2355 | 1269765.3814
4 | 2733763.3499 | 1269865.3856
5 | 2733718.4027 | 1269713.4356
6 | 2733733.4506 | 1269769.297
7 | 2733760.6907 | 1269874.981
8 | 2733772.0719 | 1269878.3086
9 | 2733718.4413 | 1269701.4656
10 | 2733762.8794 | 1269776.8705
11 | 2733766.7129 | 1269897.9275
12 | 2733808.0222 | 1269888.8012
13 | 2734111.9618 | 1270092.9029
14 | 2734120.2738 | 1270062.1329
15 | 2734101.6641 | 1270126.7979
16 | 2734121.5098 | 1270057.6781
17 | 2734099.9786 | 1270168.8445
18 | 2734079.2848 | 1270124.8442
19 | 2734135.1165 | 1270013.7708
20 | 2734087.2237 | 1270228.3509
21 | 2734073.5057 | 1270161.6248
22 | 2734170.4775 | 1270191.9544
23 | 2734027.5782 | 1270101.4063
24 | 2734134.4252 | 1270010.0738
25 | 2734081.7615 | 1270262.4745
26 | 2734061.4233 | 1270158.3297
27 | 2734020.2999 | 1270099.6402
28 | 2733748.8455 | 1269660.7641
29 | 2733788.1398 | 1269647.792
30 | 2733718.5298 | 1269673.9781
31 | 2733887.7083 | 1269653.2846
32 | 2733986.1454 | 1269729.048
33 | 2733835.34 | 1269813.7836
34 | 2733835.5552 | 1269812.8417
35 | 2733830.4974 | 1269834.9733
36 | 2733828.1659 | 1269845.1751
37 | 2733827.4047 | 1269848.5062
38 | 2733822.4386 | 1269870.2362
39 | 2733821.7546 | 1269873.2294
40 | 2733817.5597 | 1269891.5849
41 | 2733844.3388 | 1269900.3555
42 | 2733874.427 | 1269909.4962
43 | 2733876.493 | 1269872.8815
44 | 2733895.027 | 1269915.7544
45 | 2734031.5601 | 1270209.2986
46 | 2733992.5292 | 1270241.8433
47 | 2734015.5533 | 1270248.1612
48 | 2734043.5277 | 1270255.8375
49 | 2734065.6914 | 1270261.9193
50 | 2733758.385 | 1269920.565
51 | 2734047.2387 | 1269963.952
52 | 2734010.0852 | 1269951.449
53 | 2733933.1478 | 1269927.5273
54 | 2733929.2258 | 1269926.3079
55 | 2733906.216 | 1269919.1536
56 | 2734081.1704 | 1270266.1668
57 | 2734079.5321 | 1270286.0281
58 | 2733857.8629 | 1270040.6318
59 | 2733908.4697 | 1270080.9157
60 | 2734002.9061 | 1270095.4469
61 | 2733807.7714 | 1269767.1436
62 | 2733809.8241 | 1269759.0046
63 | 2733814.3995 | 1269740.8455
64 | 2733829.0397 | 1269764.0192
65 | 2733822.2768 | 1269709.5823
66 | 2733844.0822 | 1269767.9448
67 | 2733913.3148 | 1269964.5804
68 | 2733939.9519 | 1270023.9499
69 | 2733839.9914 | 1269787.3338
70 | 2733840.0967 | 1269786.8347
71 | 2733823.3269 | 1269705.4149
72 | 2733829.3623 | 1269681.4616
73 | 2733832.4424 | 1269669.219
74 | 2733855.7267 | 1269685.7431
75 | 2733906.216 | 1269919.1536

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1