## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4901-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4901-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4901-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4901-3_0_4_node_192 | 0.4 | n |  | TRUE
4 | bus_LV_4901-3_0_4_node_193 | 0.4 | n |  | TRUE
5 | bus_LV_4901-3_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4901-3_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4901-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4901-3_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4901-3_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4901-3_0_4_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_4901-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4901-3_0_4_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_4901-3_0_4_node_201 | 0.4 | n |  | TRUE
14 | bus_LV_4901-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4901-3_0_4_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_4901-3_0_4_node_137 | 0.4 | n |  | TRUE
17 | bus_LV_4901-3_0_4_node_113 | 0.4 | n |  | TRUE
18 | bus_LV_4901-3_0_4_node_187 | 0.4 | n |  | TRUE
19 | bus_LV_4901-3_0_4_node_186 | 0.4 | n |  | TRUE
20 | bus_LV_4901-3_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_4901-3_0_4_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_4901-3_0_4_node_202 | 0.4 | n |  | TRUE
23 | bus_LV_4901-3_0_4_node_156 | 0.4 | n |  | TRUE
24 | bus_LV_4901-3_0_4_node_116 | 0.4 | n |  | TRUE
25 | bus_LV_4901-3_0_4_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_4901-3_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_4901-3_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4901-3_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4901-3_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4901-3_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4901-3_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4901-3_0_4_node_207 | 0.4 | n |  | TRUE
33 | bus_LV_4901-3_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4901-3_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_4901-3_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_4901-3_0_4_node_130 | 0.4 | n |  | TRUE
37 | bus_LV_4901-3_0_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_4901-3_0_4_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_4901-3_0_4_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_4901-3_0_4_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_4901-3_0_4_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_4901-3_0_4_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_4901-3_0_4_node_131 | 0.4 | n |  | TRUE
44 | bus_LV_4901-3_0_4_node_159 | 0.4 | n |  | TRUE
45 | bus_LV_4901-3_0_4_node_160 | 0.4 | n |  | TRUE
46 | bus_LV_4901-3_0_4_node_161 | 0.4 | n |  | TRUE
47 | bus_LV_4901-3_0_4_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_4901-3_0_4_node_162 | 0.4 | n |  | TRUE
49 | bus_LV_4901-3_0_4_node_132 | 0.4 | n |  | TRUE
50 | bus_LV_4901-3_0_4_node_133 | 0.4 | n |  | TRUE
51 | bus_LV_4901-3_0_4_node_20 | 0.4 | n |  | TRUE
52 | bus_LV_4901-3_0_4_node_21 | 0.4 | n |  | TRUE
53 | bus_LV_4901-3_0_4_node_22 | 0.4 | n |  | TRUE
54 | bus_LV_4901-3_0_4_node_23 | 0.4 | n |  | TRUE
55 | bus_LV_4901-3_0_4_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_4901-3_0_4_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_4901-3_0_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_4901-3_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4901-3_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4901-3_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4901-3_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4901-3_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4901-3_0_4_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_4901-3_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_4901-3_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4901-3_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4901-3_0_4_node_26 | 0.4 | n |  | TRUE
68 | bus_LV_4901-3_0_4_node_28 | 0.4 | n |  | TRUE
69 | bus_LV_4901-3_0_4_node_30 | 0.4 | n |  | TRUE
70 | bus_LV_4901-3_0_4_node_31 | 0.4 | n |  | TRUE
71 | bus_LV_4901-3_0_4_node_173 | 0.4 | n |  | TRUE
72 | bus_LV_4901-3_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4901-3_0_4_node_204 | 0.4 | n |  | TRUE
74 | bus_LV_4901-3_0_4_node_203 | 0.4 | n |  | TRUE
75 | bus_LV_4901-3_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_4901-3_0_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_4901-3_0_4_node_154 | 0.4 | n |  | TRUE
78 | bus_LV_4901-3_0_4_node_172 | 0.4 | n |  | TRUE
79 | bus_LV_4901-3_0_4_node_32 | 0.4 | n |  | TRUE
80 | bus_LV_4901-3_0_4_node_33 | 0.4 | n |  | TRUE
81 | bus_LV_4901-3_0_4_node_34 | 0.4 | n |  | TRUE
82 | bus_LV_4901-3_0_4_node_35 | 0.4 | n |  | TRUE
83 | bus_LV_4901-3_0_4_node_36 | 0.4 | n |  | TRUE
84 | bus_LV_4901-3_0_4_node_38 | 0.4 | n |  | TRUE
85 | bus_LV_4901-3_0_4_node_37 | 0.4 | n |  | TRUE
86 | bus_LV_4901-3_0_4_node_205 | 0.4 | n |  | TRUE
87 | bus_LV_4901-3_0_4_node_188 | 0.4 | n |  | TRUE
88 | bus_LV_4901-3_0_4_node_210 | 0.4 | n |  | TRUE
89 | bus_LV_4901-3_0_4_node_115 | 0.4 | n |  | TRUE
90 | bus_LV_4901-3_0_4_node_114 | 0.4 | n |  | TRUE
91 | bus_LV_4901-3_0_4_node_112 | 0.4 | n |  | TRUE
92 | bus_LV_4901-3_0_4_node_40 | 0.4 | n |  | TRUE
93 | bus_LV_4901-3_0_4_node_41 | 0.4 | n |  | TRUE
94 | bus_LV_4901-3_0_4_node_42 | 0.4 | n |  | TRUE
95 | bus_LV_4901-3_0_4_node_43 | 0.4 | n |  | TRUE
96 | bus_LV_4901-3_0_4_node_44 | 0.4 | n |  | TRUE
97 | bus_LV_4901-3_0_4_node_45 | 0.4 | n |  | TRUE
98 | bus_LV_4901-3_0_4_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_4901-3_0_4_node_174 | 0.4 | n |  | TRUE
100 | bus_LV_4901-3_0_4_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_4901-3_0_4_node_175 | 0.4 | n |  | TRUE
102 | bus_LV_4901-3_0_4_node_76 | 0.4 | n |  | TRUE
103 | bus_LV_4901-3_0_4_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_4901-3_0_4_node_158 | 0.4 | n |  | TRUE
105 | bus_LV_4901-3_0_4_node_198 | 0.4 | n |  | TRUE
106 | bus_LV_4901-3_0_4_node_57 | 0.4 | n |  | TRUE
107 | bus_LV_4901-3_0_4_node_59 | 0.4 | n |  | TRUE
108 | bus_LV_4901-3_0_4_node_123 | 0.4 | n |  | TRUE
109 | bus_LV_4901-3_0_4_node_121 | 0.4 | n |  | TRUE
110 | bus_LV_4901-3_0_4_node_91 | 0.4 | n |  | TRUE
111 | bus_LV_4901-3_0_4_node_108 | 0.4 | n |  | TRUE
112 | bus_LV_4901-3_0_4_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_4901-3_0_4_node_92 | 0.4 | n |  | TRUE
114 | bus_LV_4901-3_0_4_node_93 | 0.4 | n |  | TRUE
115 | bus_LV_4901-3_0_4_node_95 | 0.4 | n |  | TRUE
116 | bus_LV_4901-3_0_4_node_96 | 0.4 | n |  | TRUE
117 | bus_LV_4901-3_0_4_node_182 | 0.4 | n |  | TRUE
118 | bus_LV_4901-3_0_4_node_183 | 0.4 | n |  | TRUE
119 | bus_LV_4901-3_0_4_node_107 | 0.4 | n |  | TRUE
120 | bus_LV_4901-3_0_4_node_105 | 0.4 | n |  | TRUE
121 | bus_LV_4901-3_0_4_node_104 | 0.4 | n |  | TRUE
122 | bus_LV_4901-3_0_4_node_157 | 0.4 | n |  | TRUE
123 | bus_LV_4901-3_0_4_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_4901-3_0_4_node_165 | 0.4 | n |  | TRUE
125 | bus_LV_4901-3_0_4_node_163 | 0.4 | n |  | TRUE
126 | bus_LV_4901-3_0_4_node_164 | 0.4 | n |  | TRUE
127 | bus_LV_4901-3_0_4_node_122 | 0.4 | n |  | TRUE
128 | bus_LV_4901-3_0_4_node_124 | 0.4 | n |  | TRUE
129 | bus_LV_4901-3_0_4_node_208 | 0.4 | n |  | TRUE
130 | bus_LV_4901-3_0_4_node_151 | 0.4 | n |  | TRUE
131 | bus_LV_4901-3_0_4_node_140 | 0.4 | n |  | TRUE
132 | bus_LV_4901-3_0_4_node_141 | 0.4 | n |  | TRUE
133 | bus_LV_4901-3_0_4_node_142 | 0.4 | n |  | TRUE
134 | bus_LV_4901-3_0_4_node_143 | 0.4 | n |  | TRUE
135 | bus_LV_4901-3_0_4_node_144 | 0.4 | n |  | TRUE
136 | bus_LV_4901-3_0_4_node_206 | 0.4 | n |  | TRUE
137 | bus_LV_4901-3_0_4_node_195 | 0.4 | n |  | TRUE
138 | bus_LV_4901-3_0_4_node_145 | 0.4 | n |  | TRUE
139 | bus_LV_4901-3_0_4_node_146 | 0.4 | n |  | TRUE
140 | bus_LV_4901-3_0_4_node_147 | 0.4 | n |  | TRUE
141 | bus_LV_4901-3_0_4_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_4901-3_0_4_node_149 | 0.4 | n |  | TRUE
143 | bus_LV_4901-3_0_4_node_152 | 0.4 | n |  | TRUE
144 | bus_LV_4901-3_0_4_node_153 | 0.4 | n |  | TRUE
145 | bus_LV_4901-3_0_4_node_184 | 0.4 | n |  | TRUE
146 | bus_LV_4901-3_0_4_node_185 | 0.4 | n |  | TRUE
147 | bus_LV_4901-3_0_4_node_194 | 0.4 | n |  | TRUE
148 | bus_MV_409_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4901-3_0_4_load_0 | 0 | 0.0021714 | 0.0005442 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4901-3_0_4_load_1 | 1 | 0.0023971 | 0.00060076 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4901-3_0_4_load_2 | 2 | 0.0020254 | 0.0005076 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4901-3_0_4_load_192 | 3 | 0.00054163 | 0.00013574 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4901-3_0_4_load_3 | 5 | 0.011397 | 0.0028565 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4901-3_0_4_load_7 | 8 | 0.0013883 | 0.00034793 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4901-3_0_4_load_60 | 10 | 0.00071544 | 0.00017931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4901-3_0_4_load_75 | 12 | 0.001722 | 0.00043158 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4901-3_0_4_load_201 | 13 | 0.00048037 | 0.00012039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4901-3_0_4_load_137 | 16 | 0.0020691 | 0.00051856 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4901-3_0_4_load_187 | 18 | 0.00189 | 0.00047368 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4901-3_0_4_load_186 | 19 | 0.0019484 | 0.00048833 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4901-3_0_4_load_74 | 21 | 0.0015062 | 0.00037749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4901-3_0_4_load_202 | 22 | 0.0014223 | 0.00035647 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4901-3_0_4_load_111 | 25 | 0.0046285 | 0.00116 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4901-3_0_4_load_11 | 26 | 0.001332 | 0.00033383 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4901-3_0_4_load_12 | 27 | 0.00020345 | 5.099e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4901-3_0_4_load_13 | 28 | 0.00051379 | 0.00012877 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4901-3_0_4_load_15 | 30 | 0.00024337 | 6.0995e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4901-3_0_4_load_207 | 32 | 0.00087637 | 0.00021964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4901-3_0_4_load_27 | 33 | 0.0010417 | 0.00026108 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4901-3_0_4_load_56 | 34 | 0.00058792 | 0.00014735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4901-3_0_4_load_53 | 35 | 0.0026148 | 0.00065533 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4901-3_0_4_load_130 | 36 | 0.00034216 | 8.5753e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4901-3_0_4_load_85 | 37 | 0.0004779 | 0.00011977 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4901-3_0_4_load_54 | 38 | 0.00078002 | 0.00019549 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4901-3_0_4_load_16 | 39 | 0.00056604 | 0.00014186 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4901-3_0_4_load_17 | 40 | 0.0011415 | 0.00028608 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4901-3_0_4_load_18 | 41 | 0.00084294 | 0.00021126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4901-3_0_4_load_19 | 42 | 0.00045511 | 0.00011406 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4901-3_0_4_load_159 | 44 | 0.00034659 | 8.6864e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4901-3_0_4_load_160 | 45 | 0.0006231 | 0.00015616 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4901-3_0_4_load_161 | 46 | 0.00033811 | 8.4737e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4901-3_0_4_load_162 | 48 | 0.00066714 | 0.0001672 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4901-3_0_4_load_20 | 51 | 0.0016105 | 0.00040362 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4901-3_0_4_load_21 | 52 | 0.00040189 | 0.00010072 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4901-3_0_4_load_23 | 54 | 0.0010316 | 0.00025854 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4901-3_0_4_load_25 | 56 | 0.0010554 | 0.0002645 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4901-3_0_4_load_49 | 58 | 0.00031402 | 7.8701e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4901-3_0_4_load_46 | 59 | 0.0015773 | 0.00039532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4901-3_0_4_load_47 | 64 | 0.00039719 | 9.9544e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4901-3_0_4_load_52 | 65 | 0.00064085 | 0.00016061 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4901-3_0_4_load_50 | 66 | 0.0022655 | 0.0005678 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4901-3_0_4_load_26 | 67 | 0.009631 | 0.0024138 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4901-3_0_4_load_30 | 69 | 0.00051292 | 0.00012855 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4901-3_0_4_load_31 | 70 | 0.0012868 | 0.00032251 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4901-3_0_4_load_173 | 71 | 0.0030248 | 0.00075809 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4901-3_0_4_load_203 | 74 | 0.00031223 | 7.8252e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4901-3_0_4_load_86 | 75 | 0.00044147 | 0.00011064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4901-3_0_4_load_87 | 76 | 0.00071136 | 0.00017828 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4901-3_0_4_load_154 | 77 | 0.0018576 | 0.00046556 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4901-3_0_4_load_172 | 78 | 0.0017058 | 0.0004275 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4901-3_0_4_load_32 | 79 | 0.0051209 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4901-3_0_4_load_205 | 86 | 0.0075609 | 0.0018949 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4901-3_0_4_load_188 | 87 | 0.0024016 | 0.0006019 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4901-3_0_4_load_210 | 88 | 0.0033853 | 0.00084845 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4901-3_0_4_load_115 | 89 | 0.0025062 | 0.00062812 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4901-3_0_4_load_40 | 92 | 0.0022328 | 0.00055958 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4901-3_0_4_load_41 | 93 | 0.00074733 | 0.0001873 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4901-3_0_4_load_43 | 95 | 0.00061229 | 0.00015345 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4901-3_0_4_load_44 | 96 | 0.00075675 | 0.00018966 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4901-3_0_4_load_45 | 97 | 0.00091953 | 0.00023045 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4901-3_0_4_load_88 | 98 | 0.00037949 | 9.511e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4901-3_0_4_load_174 | 99 | 0.0017071 | 0.00042785 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4901-3_0_4_load_175 | 101 | 0.00026661 | 6.6819e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4901-3_0_4_load_76 | 102 | 0.002015 | 0.000505 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4901-3_0_4_load_77 | 103 | 0.002045 | 0.00051252 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4901-3_0_4_load_158 | 104 | 0.00214 | 0.00053634 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4901-3_0_4_load_198 | 105 | 0.00040723 | 0.00010206 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4901-3_0_4_load_57 | 106 | 0.0036552 | 0.00091609 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4901-3_0_4_load_59 | 107 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4901-3_0_4_load_121 | 109 | 0.00029109 | 7.2954e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4901-3_0_4_load_91 | 110 | 0.00082969 | 0.00020794 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4901-3_0_4_load_108 | 111 | 0.00043839 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4901-3_0_4_load_106 | 112 | 0.00043785 | 0.00010974 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4901-3_0_4_load_92 | 113 | 0.0011518 | 0.00028866 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4901-3_0_4_load_95 | 115 | 0.0020233 | 0.00050709 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4901-3_0_4_load_96 | 116 | 0.0009762 | 0.00024466 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4901-3_0_4_load_182 | 117 | 0.0025721 | 0.00064464 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4901-3_0_4_load_183 | 118 | 0.0012506 | 0.00031344 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4901-3_0_4_load_107 | 119 | 0.0027561 | 0.00069075 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4901-3_0_4_load_105 | 120 | 0.00097607 | 0.00024463 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4901-3_0_4_load_104 | 121 | 0.0010432 | 0.00026146 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4901-3_0_4_load_157 | 122 | 0.00044588 | 0.00011175 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4901-3_0_4_load_110 | 123 | 0.0024264 | 0.00060812 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4901-3_0_4_load_165 | 124 | 0.0014777 | 0.00037035 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4901-3_0_4_load_163 | 125 | 0.00099166 | 0.00024853 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4901-3_0_4_load_164 | 126 | 0.0024343 | 0.0006101 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4901-3_0_4_load_122 | 127 | 0.001503 | 0.0003767 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4901-3_0_4_load_124 | 128 | 0.0037429 | 0.00093805 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4901-3_0_4_load_208 | 129 | 0.0011551 | 0.00028951 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4901-3_0_4_load_151 | 130 | 0.00050374 | 0.00012625 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4901-3_0_4_load_140 | 131 | 0.001487 | 0.00037268 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4901-3_0_4_load_141 | 132 | 0.0017909 | 0.00044885 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4901-3_0_4_load_142 | 133 | 0.0029674 | 0.0007437 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4901-3_0_4_load_143 | 134 | 0.0011637 | 0.00029165 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4901-3_0_4_load_144 | 135 | 0.0011673 | 0.00029255 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4901-3_0_4_load_206 | 136 | 0.0021989 | 0.00055109 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4901-3_0_4_load_145 | 138 | 0.0021833 | 0.00054718 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4901-3_0_4_load_146 | 139 | 0.0012972 | 0.0003251 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4901-3_0_4_load_147 | 140 | 0.0020789 | 0.00052101 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4901-3_0_4_load_148 | 141 | 0.00117 | 0.00029322 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4901-3_0_4_load_149 | 142 | 0.0010998 | 0.00027563 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4901-3_0_4_load_152 | 143 | 0.00052088 | 0.00013054 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4901-3_0_4_load_153 | 144 | 0.0018881 | 0.0004732 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4901-3_0_4_load_184 | 145 | 0.0014459 | 0.00036237 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4901-3_0_4_load_185 | 146 | 0.0016728 | 0.00041925 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4901-3_0_4_load_194 | 147 | 0.0010634 | 0.00026651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 137 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4901-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.007151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4901-3_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4901-3_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0016034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4901-3_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.054367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4901-3_0_4_line_4 | NAYY 4x150 SE | 4 | 147 | 0.023838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4901-3_0_4_line_5 | NAYY 4x150 SE | 4 | 137 | 0.047913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4901-3_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0042147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4901-3_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.035268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4901-3_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.015072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4901-3_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.04252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4901-3_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.010141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4901-3_0_4_line_11 | NAYY 4x150 SE | 9 | 17 | 0.00611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4901-3_0_4_line_12 | NAYY 4x150 SE | 9 | 16 | 0.031544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4901-3_0_4_line_13 | NAYY 4x150 SE | 10 | 20 | 0.010379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4901-3_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.017676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4901-3_0_4_line_15 | NAYY 4x150 SE | 11 | 13 | 0.012717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4901-3_0_4_line_16 | NAYY 4x150 SE | 12 | 21 | 0.00081032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4901-3_0_4_line_17 | NAYY 4x150 SE | 13 | 22 | 0.0022963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4901-3_0_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.014482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4901-3_0_4_line_19 | NAYY 4x150 SE | 14 | 16 | 0.0041225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4901-3_0_4_line_20 | NAYY 4x150 SE | 15 | 23 | 0.006694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4901-3_0_4_line_21 | NAYY 4x150 SE | 15 | 22 | 0.024666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4901-3_0_4_line_22 | NAYY 4x150 SE | 17 | 24 | 0.016825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4901-3_0_4_line_23 | NAYY 4x150 SE | 17 | 25 | 0.020237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4901-3_0_4_line_24 | NAYY 4x150 SE | 18 | 19 | 0.02355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4901-3_0_4_line_25 | NAYY 4x150 SE | 19 | 146 | 0.00377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4901-3_0_4_line_26 | NAYY 4x150 SE | 20 | 107 | 0.030801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4901-3_0_4_line_27 | NAYY 4x150 SE | 20 | 106 | 0.015083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4901-3_0_4_line_28 | NAYY 4x150 SE | 23 | 77 | 0.039224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4901-3_0_4_line_29 | NAYY 4x150 SE | 23 | 69 | 0.014441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4901-3_0_4_line_30 | NAYY 4x150 SE | 24 | 124 | 0.015872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4901-3_0_4_line_31 | NAYY 4x150 SE | 24 | 125 | 0.0019132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4901-3_0_4_line_32 | NAYY 4x150 SE | 25 | 91 | 0.021817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4901-3_0_4_line_33 | NAYY 4x150 SE | 26 | 27 | 0.01493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4901-3_0_4_line_34 | NAYY 4x150 SE | 26 | 28 | 0.015786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4901-3_0_4_line_35 | NAYY 4x150 SE | 27 | 29 | 0.011978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4901-3_0_4_line_36 | NAYY 4x150 SE | 28 | 30 | 0.0021653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4901-3_0_4_line_37 | NAYY 4x150 SE | 29 | 34 | 0.0118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4901-3_0_4_line_38 | NAYY 4x150 SE | 29 | 35 | 0.017943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4901-3_0_4_line_39 | NAYY 4x150 SE | 30 | 36 | 0.01384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4901-3_0_4_line_40 | NAYY 4x150 SE | 31 | 32 | 0.31011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4901-3_0_4_line_41 | NAYY 4x150 SE | 31 | 33 | 0.02547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4901-3_0_4_line_42 | NAYY 4x150 SE | 32 | 73 | 0.032272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4901-3_0_4_line_43 | NAYY 4x150 SE | 33 | 67 | 0.036828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4901-3_0_4_line_44 | NAYY 4x150 SE | 34 | 37 | 0.011344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4901-3_0_4_line_45 | NAYY 4x150 SE | 35 | 38 | 0.030646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4901-3_0_4_line_46 | NAYY 4x150 SE | 37 | 75 | 0.0088849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4901-3_0_4_line_47 | NAYY 4x150 SE | 38 | 72 | 0.021216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4901-3_0_4_line_48 | NAYY 4x150 SE | 39 | 40 | 0.02772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4901-3_0_4_line_49 | NAYY 4x150 SE | 39 | 41 | 0.021035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4901-3_0_4_line_50 | NAYY 4x150 SE | 40 | 42 | 0.02855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4901-3_0_4_line_51 | NAYY 4x150 SE | 42 | 43 | 0.034461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4901-3_0_4_line_52 | NAYY 4x150 SE | 43 | 49 | 0.023035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4901-3_0_4_line_53 | NAYY 4x150 SE | 43 | 50 | 0.021056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4901-3_0_4_line_54 | NAYY 4x150 SE | 44 | 45 | 0.013951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4901-3_0_4_line_55 | NAYY 4x150 SE | 44 | 46 | 0.010504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4901-3_0_4_line_56 | NAYY 4x150 SE | 45 | 47 | 0.12648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4901-3_0_4_line_57 | NAYY 4x150 SE | 46 | 48 | 0.05169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4901-3_0_4_line_58 | NAYY 4x150 SE | 47 | 114 | 0.014965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4901-3_0_4_line_59 | NAYY 4x150 SE | 49 | 88 | 0.02245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4901-3_0_4_line_60 | NAYY 4x150 SE | 50 | 129 | 0.0091147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4901-3_0_4_line_61 | NAYY 4x150 SE | 51 | 52 | 0.011487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4901-3_0_4_line_62 | NAYY 4x150 SE | 51 | 53 | 0.033221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4901-3_0_4_line_63 | NAYY 4x150 SE | 52 | 54 | 0.0027478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4901-3_0_4_line_64 | NAYY 4x150 SE | 53 | 55 | 0.026864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4901-3_0_4_line_65 | NAYY 4x150 SE | 53 | 56 | 0.011098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4901-3_0_4_line_66 | NAYY 4x150 SE | 54 | 57 | 0.035287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4901-3_0_4_line_67 | NAYY 4x150 SE | 55 | 58 | 0.0066026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4901-3_0_4_line_68 | NAYY 4x150 SE | 55 | 59 | 0.026222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4901-3_0_4_line_69 | NAYY 4x150 SE | 56 | 60 | 0.0095176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4901-3_0_4_line_70 | NAYY 4x150 SE | 57 | 61 | 0.030167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4901-3_0_4_line_71 | NAYY 4x150 SE | 57 | 62 | 0.049654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4901-3_0_4_line_72 | NAYY 4x150 SE | 58 | 63 | 0.022254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4901-3_0_4_line_73 | NAYY 4x150 SE | 59 | 64 | 0.015239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4901-3_0_4_line_74 | NAYY 4x150 SE | 60 | 65 | 0.031964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4901-3_0_4_line_75 | NAYY 4x150 SE | 60 | 66 | 0.0092884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4901-3_0_4_line_76 | NAYY 4x150 SE | 61 | 102 | 0.017321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4901-3_0_4_line_77 | NAYY 4x150 SE | 62 | 108 | 0.07357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4901-3_0_4_line_78 | NAYY 4x150 SE | 63 | 104 | 0.020215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4901-3_0_4_line_79 | NAYY 4x150 SE | 65 | 105 | 0.023275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4901-3_0_4_line_80 | NAYY 4x150 SE | 66 | 95 | 0.037537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4901-3_0_4_line_81 | NAYY 4x150 SE | 67 | 68 | 0.035288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4901-3_0_4_line_82 | NAYY 4x150 SE | 68 | 69 | 0.020614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4901-3_0_4_line_83 | NAYY 4x150 SE | 68 | 70 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_4901-3_0_4_line_84 | NAYY 4x150 SE | 70 | 71 | 0.0030531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_4901-3_0_4_line_85 | NAYY 4x150 SE | 71 | 78 | 0.039579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_4901-3_0_4_line_86 | NAYY 4x150 SE | 72 | 73 | 0.046649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4901-3_0_4_line_87 | NAYY 4x150 SE | 72 | 74 | 0.032976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4901-3_0_4_line_88 | NAYY 4x150 SE | 75 | 76 | 0.009455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4901-3_0_4_line_89 | NAYY 4x150 SE | 77 | 143 | 0.001534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4901-3_0_4_line_90 | NAYY 4x150 SE | 78 | 141 | 0.065043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_4901-3_0_4_line_91 | NAYY 4x150 SE | 79 | 80 | 0.0106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4901-3_0_4_line_92 | NAYY 4x150 SE | 79 | 81 | 0.0038545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4901-3_0_4_line_93 | NAYY 4x150 SE | 80 | 82 | 0.015339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4901-3_0_4_line_94 | NAYY 4x150 SE | 80 | 83 | 0.02547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4901-3_0_4_line_95 | NAYY 4x150 SE | 81 | 84 | 0.038501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4901-3_0_4_line_96 | NAYY 4x150 SE | 82 | 85 | 0.013472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4901-3_0_4_line_97 | NAYY 4x150 SE | 82 | 86 | 0.0077073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4901-3_0_4_line_98 | NAYY 4x150 SE | 83 | 87 | 0.010348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4901-3_0_4_line_99 | NAYY 4x150 SE | 84 | 89 | 0.035062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4901-3_0_4_line_100 | NAYY 4x150 SE | 85 | 88 | 0.014749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4901-3_0_4_line_101 | NAYY 4x150 SE | 86 | 90 | 0.014442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4901-3_0_4_line_102 | NAYY 4x150 SE | 89 | 91 | 0.061685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4901-3_0_4_line_103 | NAYY 4x150 SE | 90 | 123 | 0.012647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4901-3_0_4_line_104 | NAYY 4x150 SE | 92 | 93 | 0.013367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4901-3_0_4_line_105 | NAYY 4x150 SE | 92 | 94 | 0.018606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4901-3_0_4_line_106 | NAYY 4x150 SE | 93 | 95 | 0.03831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4901-3_0_4_line_107 | NAYY 4x150 SE | 94 | 96 | 0.035883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4901-3_0_4_line_108 | NAYY 4x150 SE | 94 | 97 | 0.026251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4901-3_0_4_line_109 | NAYY 4x150 SE | 96 | 98 | 0.033106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4901-3_0_4_line_110 | NAYY 4x150 SE | 97 | 99 | 0.019887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4901-3_0_4_line_111 | NAYY 4x150 SE | 98 | 100 | 0.030844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4901-3_0_4_line_112 | NAYY 4x150 SE | 99 | 101 | 0.001226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4901-3_0_4_line_113 | NAYY 4x150 SE | 100 | 110 | 0.016893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4901-3_0_4_line_114 | NAYY 4x150 SE | 101 | 134 | 0.076592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4901-3_0_4_line_115 | NAYY 4x150 SE | 102 | 103 | 0.0054305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4901-3_0_4_line_116 | NAYY 4x150 SE | 104 | 122 | 0.042204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4901-3_0_4_line_117 | NAYY 4x150 SE | 108 | 109 | 0.022811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4901-3_0_4_line_118 | NAYY 4x150 SE | 109 | 127 | 0.05236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4901-3_0_4_line_119 | NAYY 4x150 SE | 110 | 111 | 0.0039202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4901-3_0_4_line_120 | NAYY 4x150 SE | 111 | 112 | 0.012076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4901-3_0_4_line_121 | NAYY 4x150 SE | 112 | 121 | 0.010146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4901-3_0_4_line_122 | NAYY 4x150 SE | 113 | 114 | 0.016875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4901-3_0_4_line_123 | NAYY 4x150 SE | 114 | 115 | 0.039816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4901-3_0_4_line_124 | NAYY 4x150 SE | 114 | 116 | 0.044011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4901-3_0_4_line_125 | NAYY 4x150 SE | 115 | 117 | 0.20023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4901-3_0_4_line_126 | NAYY 4x150 SE | 117 | 118 | 0.080158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4901-3_0_4_line_127 | NAYY 4x150 SE | 117 | 119 | 0.018352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4901-3_0_4_line_128 | NAYY 4x150 SE | 118 | 145 | 0.0010848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4901-3_0_4_line_129 | NAYY 4x150 SE | 119 | 120 | 0.00020736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4901-3_0_4_line_130 | NAYY 4x150 SE | 120 | 121 | 0.022583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4901-3_0_4_line_131 | NAYY 4x150 SE | 125 | 126 | 0.020581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4901-3_0_4_line_132 | NAYY 4x150 SE | 127 | 128 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4901-3_0_4_line_133 | NAYY 4x150 SE | 129 | 130 | 0.046783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4901-3_0_4_line_134 | NAYY 4x150 SE | 131 | 132 | 0.014615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4901-3_0_4_line_135 | NAYY 4x150 SE | 131 | 133 | 0.0068882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4901-3_0_4_line_136 | NAYY 4x150 SE | 132 | 134 | 0.023921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4901-3_0_4_line_137 | NAYY 4x150 SE | 133 | 135 | 0.015955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4901-3_0_4_line_138 | NAYY 4x150 SE | 135 | 136 | 0.012846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4901-3_0_4_line_139 | NAYY 4x150 SE | 136 | 137 | 0.0086969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4901-3_0_4_line_140 | NAYY 4x150 SE | 137 | 142 | 0.0431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
141 | LV_4901-3_0_4_line_141 | NAYY 4x150 SE | 138 | 139 | 0.014323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
142 | LV_4901-3_0_4_line_142 | NAYY 4x150 SE | 138 | 140 | 0.010184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
143 | LV_4901-3_0_4_line_143 | NAYY 4x150 SE | 139 | 141 | 0.0026044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
144 | LV_4901-3_0_4_line_144 | NAYY 4x150 SE | 140 | 142 | 0.017726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
145 | LV_4901-3_0_4_line_145 | NAYY 4x150 SE | 143 | 144 | 0.002262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4901-3_0_4_line_146 | NAYY 4x150 SE | 145 | 146 | 0.025851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4901-3_0_4_trafo_195 | 0.25 MVA 20/0.4 kV | 148 | 137 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2733441.6756 | 1270081.6067 | 2733443.9705 | 1270074.8339
1 | 2733449.889 | 1270057.3668 | 2733443.9705 | 1270074.8339
2 | 2733449.889 | 1270057.3668 | 2733450.4035 | 1270055.8483 | 2733450.4035 | 1270055.8483
3 | 2733501.9253 | 1270073.2068 | 2733450.4035 | 1270055.8483
4 | 2733501.9253 | 1270073.2068 | 2733494.3747 | 1270095.817
5 | 2733517.1046 | 1270027.7507 | 2733501.9253 | 1270073.2068
6 | 2733658.223 | 1269962.3012 | 2733661.3621 | 1269965.1136
7 | 2733687.6298 | 1269988.6475 | 2733683.3508 | 1269984.8136 | 2733661.3621 | 1269965.1136
8 | 2733658.223 | 1269962.3012 | 2733666.0879 | 1269951.7134 | 2733667.1443 | 1269950.1556
9 | 2733727.8451 | 1269991.7496 | 2733721.1308 | 1269991.4195 | 2733707.7442 | 1269991.8947 | 2733693.7901 | 1269994.1588 | 2733687.6298 | 1269988.6475
10 | 2733667.1443 | 1269950.1556 | 2733672.8359 | 1269941.7623
11 | 2733727.8451 | 1269991.7496 | 2733728.427 | 1269985.668
12 | 2733727.8451 | 1269991.7496 | 2733724.8103 | 1270023.147
13 | 2733678.8199 | 1269933.2838 | 2733675.8999 | 1269937.2438 | 2733672.8359 | 1269941.7623
14 | 2733683.6228 | 1270035.9467 | 2733666.1303 | 1270033.4062
15 | 2733683.6228 | 1270035.9467 | 2733696.2081 | 1270037.7752
16 | 2733665.3284 | 1270033.2898 | 2733666.1303 | 1270033.4062
17 | 2733698.4805 | 1270038.1054 | 2733696.2081 | 1270037.7752
18 | 2733724.4137 | 1270027.2504 | 2733722.8906 | 1270041.652
19 | 2733724.4137 | 1270027.2504 | 2733724.8103 | 1270023.147
20 | 2733722.1903 | 1270048.3092 | 2733722.8906 | 1270041.652
21 | 2733722.8906 | 1270041.652 | 2733698.4805 | 1270038.1054
22 | 2733745.2807 | 1269984.9933 | 2733741.7296 | 1269984.9129 | 2733728.427 | 1269985.668
23 | 2733728.427 | 1269985.668 | 2733726.9309 | 1269972.6327 | 2733724.625 | 1269965.901
24 | 2733521.9154 | 1269923.2606 | 2733498.4285 | 1269921.5444
25 | 2733498.4285 | 1269921.5444 | 2733494.6686 | 1269921.2697
26 | 2733678.8199 | 1269933.2838 | 2733679.096 | 1269930.0648 | 2733677.1634 | 1269925.9949 | 2733674.6545 | 1269921.1112 | 2733673.1281 | 1269917.0506 | 2733672.1701 | 1269914.8156 | 2733672.2202 | 1269912.6035 | 2733674.0789 | 1269910.6326 | 2733676.5515 | 1269908.4754 | 2733678.997 | 1269907.5187
27 | 2733678.8199 | 1269933.2838 | 2733681.0257 | 1269933.9344 | 2733683.815 | 1269935.41 | 2733688.2784 | 1269943.9411
28 | 2733722.1903 | 1270048.3092 | 2733743.2995 | 1270049.4993 | 2733761.3339 | 1270048.2031
29 | 2733722.1903 | 1270048.3092 | 2733720.6741 | 1270062.6707
30 | 2733745.2807 | 1269984.9933 | 2733746.2549 | 1269977.8752 | 2733751.1892 | 1269970.7245
31 | 2733745.2807 | 1269984.9933 | 2733747.1934 | 1269985.0367
32 | 2733717.5549 | 1269945.2609 | 2733724.625 | 1269965.901
33 | 2733667.9186 | 1270657.3988 | 2733662.8676 | 1270652.859 | 2733657.6887 | 1270646.5802
34 | 2733681.9407 | 1270664.4135 | 2733679.8649 | 1270663.6986 | 2733669.6463 | 1270658.9516 | 2733667.9186 | 1270657.3988
35 | 2733655.1732 | 1270635.0233 | 2733655.261 | 1270639.7854 | 2733657.6887 | 1270646.5802 | 2733657.6887 | 1270646.5802
36 | 2733681.9407 | 1270664.4135 | 2733683.988 | 1270665.1186
37 | 2733655.1732 | 1270635.0233 | 2733647.4775 | 1270631.2011 | 2733644.3079 | 1270630.7088
38 | 2733655.1732 | 1270635.0233 | 2733660.2692 | 1270619.0455 | 2733660.6256 | 1270617.9289
39 | 2733697.0739 | 1270669.6257 | 2733683.988 | 1270665.1186
40 | 2733708.0395 | 1270180.1934 | 2733682.5035 | 1270489.2457
41 | 2733708.0395 | 1270180.1934 | 2733710.7723 | 1270154.8702
42 | 2733678.3501 | 1270521.2494 | 2733682.5035 | 1270489.2457
43 | 2733710.7723 | 1270154.8702 | 2733714.7238 | 1270118.255
44 | 2733644.3079 | 1270630.7088 | 2733635.74 | 1270629.3782 | 2733633.0748 | 1270629.5821
45 | 2733660.6256 | 1270617.9289 | 2733667.0256 | 1270597.878 | 2733668.3428 | 1270588.3708
46 | 2733633.0748 | 1270629.5821 | 2733624.2157 | 1270630.2597
47 | 2733671.2544 | 1270567.3554 | 2733668.3428 | 1270588.3708
48 | 2733683.827 | 1269743.2016 | 2733680.19 | 1269715.7208
49 | 2733677.4302 | 1269694.868 | 2733680.19 | 1269715.7208
50 | 2733683.827 | 1269743.2016 | 2733687.5728 | 1269771.5044
51 | 2733717.2396 | 1269786.4123 | 2733699.5212 | 1269781.7068 | 2733692.1867 | 1269777.8371 | 2733687.5728 | 1269771.5044
52 | 2733714.2832 | 1269809.2562 | 2733717.2396 | 1269786.4123
53 | 2733718.2355 | 1269765.3814 | 2733717.2396 | 1269786.4123
54 | 2733504.0327 | 1269569.4026 | 2733495.166 | 1269580.1739
55 | 2733510.7087 | 1269561.2926 | 2733504.0327 | 1269569.4026
56 | 2733416.1766 | 1269678.9582 | 2733495.166 | 1269580.1739
57 | 2733543.5602 | 1269521.3844 | 2733510.7087 | 1269561.2926
58 | 2733408.7242 | 1269691.9468 | 2733416.1766 | 1269678.9582
59 | 2733714.2832 | 1269809.2562 | 2733710.8006 | 1269831.4348
60 | 2733718.2355 | 1269765.3814 | 2733718.2648 | 1269756.2667
61 | 2733182.13 | 1270005.7178 | 2733181.1171 | 1270005.6786 | 2733170.6833 | 1270004.7719
62 | 2733215.1053 | 1270003.5429 | 2733205.4997 | 1270005.5838 | 2733195.6243 | 1270006.2396 | 2733182.13 | 1270005.7178
63 | 2733170.6833 | 1270004.7719 | 2733167.9458 | 1270004.534
64 | 2733216.5844 | 1269977.0286 | 2733213.9219 | 1269995.275 | 2733214.035 | 1269999.9375 | 2733215.1053 | 1270003.5429
65 | 2733215.1053 | 1270003.5429 | 2733218.7706 | 1270008.8974 | 2733221.6189 | 1270012.5207
66 | 2733132.9952 | 1269999.7104 | 2733164.6949 | 1270004.2515 | 2733167.9458 | 1270004.534
67 | 2733216.5844 | 1269977.0286 | 2733217.4209 | 1269970.4793
68 | 2733216.5844 | 1269977.0286 | 2733191.3561 | 1269969.8786
69 | 2733225.4957 | 1270021.0829 | 2733224.3926 | 1270016.9319 | 2733222.5535 | 1270013.7095 | 2733221.6189 | 1270012.5207
70 | 2733135.9982 | 1269969.6938 | 2733132.9952 | 1269999.7104
71 | 2733083.5197 | 1269994.0124 | 2733132.9952 | 1269999.7104
72 | 2733228.8368 | 1269952.1033 | 2733223.5378 | 1269956.766 | 2733219.9924 | 1269962.1023 | 2733217.6084 | 1269969.0107 | 2733217.4209 | 1269970.4793
73 | 2733176.594 | 1269966.2262 | 2733179.8308 | 1269966.6122 | 2733191.3561 | 1269969.8786
74 | 2733225.4957 | 1270021.0829 | 2733224.7498 | 1270029.4519 | 2733223.5693 | 1270034.7303 | 2733221.2631 | 1270041.1956 | 2733216.7441 | 1270051.5403
75 | 2733225.4957 | 1270021.0829 | 2733234.1613 | 1270022.6688 | 2733234.615 | 1270022.8223
76 | 2733135.9982 | 1269969.6938 | 2733124.0528 | 1269961.6725 | 2733121.1666 | 1269961.1554
77 | 2733010.252 | 1269985.2539 | 2733083.5197 | 1269994.0124
78 | 2733228.8368 | 1269952.1033 | 2733210.2679 | 1269944.1144
79 | 2733216.7441 | 1270051.5403 | 2733207.4268 | 1270072.8689
80 | 2733269.0295 | 1270037.7073 | 2733254.6205 | 1270031.65 | 2733241.1682 | 1270025.0402 | 2733234.615 | 1270022.8223
81 | 2733718.51 | 1270083.1705 | 2733714.7238 | 1270118.255
82 | 2733718.51 | 1270083.1705 | 2733720.6741 | 1270062.6707
83 | 2733718.51 | 1270083.1705 | 2733702.3807 | 1270082.0487
84 | 2733699.335 | 1270081.8369 | 2733702.3807 | 1270082.0487
85 | 2733659.9326 | 1270078.1866 | 2733681.9859 | 1270080.6303 | 2733699.335 | 1270081.8369
86 | 2733671.2544 | 1270567.3554 | 2733678.3501 | 1270521.2494
87 | 2733671.2544 | 1270567.3554 | 2733644.2862 | 1270548.3776
88 | 2733614.8226 | 1270631.3101 | 2733620.8194 | 1270630.5195 | 2733624.2157 | 1270630.2597
89 | 2733761.3339 | 1270048.2031 | 2733762.864 | 1270048.0931
90 | 2733659.9326 | 1270078.1866 | 2733647.6732 | 1270076.8281 | 2733623.1594 | 1270070.7566 | 2733596.6419 | 1270063.6465
91 | 2733721.2044 | 1269863.5873 | 2733731.3884 | 1269866.5258
92 | 2733735.0919 | 1269867.5944 | 2733731.3884 | 1269866.5258
93 | 2733706.4271 | 1269859.3154 | 2733721.2044 | 1269863.5873
94 | 2733731.3107 | 1269840.4605 | 2733730.3449 | 1269843.8864 | 2733729.8785 | 1269845.533 | 2733729.4212 | 1269847.113 | 2733729.0865 | 1269848.2621 | 2733728.2724 | 1269851.6358 | 2733725.3711 | 1269856.4303 | 2733722.9945 | 1269860.6583 | 2733721.2044 | 1269863.5873
95 | 2733772.0719 | 1269878.3086 | 2733760.6907 | 1269874.981 | 2733735.0919 | 1269867.5944
96 | 2733706.4271 | 1269859.3154 | 2733708.5126 | 1269846.0054
97 | 2733706.4271 | 1269859.3154 | 2733704.3079 | 1269866.7256
98 | 2733731.3107 | 1269840.4605 | 2733741.2823 | 1269843.2265
99 | 2733772.0719 | 1269878.3086 | 2733765.973 | 1269900.6364 | 2733763.5738 | 1269909.8465 | 2733762.5958 | 1269912.0373
100 | 2733708.5126 | 1269846.0054 | 2733710.8006 | 1269831.4348
101 | 2733701.8277 | 1269880.9209 | 2733703.1816 | 1269870.6639 | 2733704.3079 | 1269866.7256
102 | 2733717.5549 | 1269945.2609 | 2733731.2757 | 1269943.6588 | 2733744.521 | 1269940.7892 | 2733749.1913 | 1269936.324 | 2733752.5882 | 1269929.917 | 2733755.5418 | 1269924.145 | 2733759.3075 | 1269919.4035 | 2733762.5958 | 1269912.0373
103 | 2733701.8277 | 1269880.9209 | 2733691.0198 | 1269887.4886
104 | 2733308.2105 | 1270025.2689 | 2733303.6033 | 1270037.8165 | 2733303.6033 | 1270037.8165
105 | 2733314.6235 | 1270007.8031 | 2733308.2105 | 1270025.2689
106 | 2733269.0295 | 1270037.7073 | 2733286.7722 | 1270045.166 | 2733297.5424 | 1270043.2183 | 2733303.6033 | 1270037.8165
107 | 2733314.6235 | 1270007.8031 | 2733308.1797 | 1269983.5011 | 2733308.0295 | 1269972.7611
108 | 2733314.6235 | 1270007.8031 | 2733319.8299 | 1270005.9077 | 2733340.4115 | 1270003.6023
109 | 2733306.0952 | 1269939.7236 | 2733307.9091 | 1269964.1542 | 2733308.0295 | 1269972.7611
110 | 2733360.2008 | 1270002.0181 | 2733355.6898 | 1270001.891 | 2733340.4115 | 1270003.6023
111 | 2733303.8113 | 1269908.9644 | 2733306.0952 | 1269939.7236
112 | 2733361.4263 | 1270002.0527 | 2733360.2008 | 1270002.0181
113 | 2733303.8113 | 1269908.9644 | 2733320.6889 | 1269909.6793
114 | 2733361.4263 | 1270002.0527 | 2733427.348 | 1270003.911 | 2733437.8874 | 1270005.401
115 | 2733121.1666 | 1269961.1554 | 2733115.8212 | 1269960.1978
116 | 2733197.0343 | 1269911.3565 | 2733195.0753 | 1269920.8342 | 2733196.289 | 1269938.1004 | 2733210.2679 | 1269944.1144
117 | 2733010.252 | 1269985.2539 | 2733013.0538 | 1269962.6153
118 | 2732997.9041 | 1269927.4876 | 2733017.1083 | 1269929.8552 | 2733013.0538 | 1269962.6153
119 | 2733320.6889 | 1269909.6793 | 2733324.6056 | 1269909.8453
120 | 2733336.6711 | 1269910.3564 | 2733324.6056 | 1269909.8453
121 | 2733336.6711 | 1269910.3564 | 2733346.8085 | 1269910.7858
122 | 2733408.7242 | 1269691.9468 | 2733400.8394 | 1269706.8664
123 | 2733408.7242 | 1269691.9468 | 2733422.6155 | 1269703.4716 | 2733437.3871 | 1269719.4583
124 | 2733408.7242 | 1269691.9468 | 2733396.5156 | 1269677.2459 | 2733388.8223 | 1269669.5871 | 2733379.462 | 1269663.0807 | 2733377.104 | 1269661.8795
125 | 2733387.8595 | 1269913.4649 | 2733437.3871 | 1269719.4583
126 | 2733467.8047 | 1269919.3067 | 2733387.8595 | 1269913.4649
127 | 2733369.5566 | 1269912.1275 | 2733387.8595 | 1269913.4649
128 | 2733467.8047 | 1269919.3067 | 2733468.8867 | 1269919.3857
129 | 2733369.3498 | 1269912.1124 | 2733369.5566 | 1269912.1275
130 | 2733346.8085 | 1269910.7858 | 2733357.2491 | 1269911.2281 | 2733369.3498 | 1269912.1124
131 | 2733747.1934 | 1269985.0367 | 2733755.1438 | 1269985.2169 | 2733767.4213 | 1269988.1755 | 2733767.4213 | 1269988.1755
132 | 2732997.9041 | 1269927.4876 | 2732985.4968 | 1269925.9579
133 | 2733718.2648 | 1269756.2667 | 2733718.4155 | 1269709.4841
134 | 2733475.822 | 1270011.801 | 2733469.3958 | 1270009.8554 | 2733461.5726 | 1270008.7494
135 | 2733482.4146 | 1270013.7971 | 2733475.822 | 1270011.801
136 | 2733437.8874 | 1270005.401 | 2733461.5726 | 1270008.7494
137 | 2733482.4146 | 1270013.7971 | 2733497.5428 | 1270018.3774 | 2733497.6766 | 1270018.4415
138 | 2733509.2616 | 1270023.9926 | 2733497.6766 | 1270018.4415
139 | 2733517.1046 | 1270027.7507 | 2733509.2616 | 1270023.9926
140 | 2733517.1046 | 1270027.7507 | 2733552.8702 | 1270049.1908 | 2733554.1451 | 1270049.77
141 | 2733580.2916 | 1270059.2625 | 2733594.1264 | 1270062.972
142 | 2733580.2916 | 1270059.2625 | 2733570.4551 | 1270056.6251
143 | 2733596.6419 | 1270063.6465 | 2733594.1264 | 1270062.972
144 | 2733554.1451 | 1270049.77 | 2733567.4807 | 1270055.8275 | 2733570.4551 | 1270056.6251
145 | 2733765.1163 | 1270047.8849 | 2733763.1809 | 1270048.0703 | 2733762.864 | 1270048.0931
146 | 2733468.8867 | 1269919.3857 | 2733494.6686 | 1269921.2697

## bus_geodata
| x | y | coords
0 | 2733441.6756 | 1270081.6067
1 | 2733443.9705 | 1270074.8339
2 | 2733449.889 | 1270057.3668
3 | 2733450.4035 | 1270055.8483
4 | 2733501.9253 | 1270073.2068
5 | 2733661.3621 | 1269965.1136
6 | 2733658.223 | 1269962.3012
7 | 2733687.6298 | 1269988.6475
8 | 2733667.1443 | 1269950.1556
9 | 2733727.8451 | 1269991.7496
10 | 2733672.8359 | 1269941.7623
11 | 2733683.6228 | 1270035.9467
12 | 2733666.1303 | 1270033.4062
13 | 2733696.2081 | 1270037.7752
14 | 2733724.4137 | 1270027.2504
15 | 2733722.8906 | 1270041.652
16 | 2733724.8103 | 1270023.147
17 | 2733728.427 | 1269985.668
18 | 2733521.9154 | 1269923.2606
19 | 2733498.4285 | 1269921.5444
20 | 2733678.8199 | 1269933.2838
21 | 2733665.3284 | 1270033.2898
22 | 2733698.4805 | 1270038.1054
23 | 2733722.1903 | 1270048.3092
24 | 2733745.2807 | 1269984.9933
25 | 2733724.625 | 1269965.901
26 | 2733667.9186 | 1270657.3988
27 | 2733657.6887 | 1270646.5802
28 | 2733681.9407 | 1270664.4135
29 | 2733655.1732 | 1270635.0233
30 | 2733683.988 | 1270665.1186
31 | 2733708.0395 | 1270180.1934
32 | 2733682.5035 | 1270489.2457
33 | 2733710.7723 | 1270154.8702
34 | 2733644.3079 | 1270630.7088
35 | 2733660.6256 | 1270617.9289
36 | 2733697.0739 | 1270669.6257
37 | 2733633.0748 | 1270629.5821
38 | 2733668.3428 | 1270588.3708
39 | 2733680.19 | 1269715.7208
40 | 2733683.827 | 1269743.2016
41 | 2733677.4302 | 1269694.868
42 | 2733687.5728 | 1269771.5044
43 | 2733717.2396 | 1269786.4123
44 | 2733504.0327 | 1269569.4026
45 | 2733495.166 | 1269580.1739
46 | 2733510.7087 | 1269561.2926
47 | 2733416.1766 | 1269678.9582
48 | 2733543.5602 | 1269521.3844
49 | 2733714.2831 | 1269809.2562
50 | 2733718.2355 | 1269765.3814
51 | 2733182.13 | 1270005.7178
52 | 2733170.6833 | 1270004.7719
53 | 2733215.1053 | 1270003.5429
54 | 2733167.9458 | 1270004.534
55 | 2733216.5844 | 1269977.0286
56 | 2733221.6189 | 1270012.5207
57 | 2733132.9952 | 1269999.7104
58 | 2733217.4209 | 1269970.4793
59 | 2733191.3561 | 1269969.8786
60 | 2733225.4957 | 1270021.0829
61 | 2733135.9982 | 1269969.6938
62 | 2733083.5197 | 1269994.0124
63 | 2733228.8368 | 1269952.1033
64 | 2733176.594 | 1269966.2262
65 | 2733216.7441 | 1270051.5403
66 | 2733234.615 | 1270022.8223
67 | 2733714.7238 | 1270118.255
68 | 2733718.51 | 1270083.1705
69 | 2733720.6741 | 1270062.6707
70 | 2733702.3807 | 1270082.0487
71 | 2733699.335 | 1270081.8369
72 | 2733671.2544 | 1270567.3554
73 | 2733678.3501 | 1270521.2494
74 | 2733644.2862 | 1270548.3776
75 | 2733624.2157 | 1270630.2597
76 | 2733614.8226 | 1270631.3101
77 | 2733761.3339 | 1270048.2031
78 | 2733659.9326 | 1270078.1866
79 | 2733731.3884 | 1269866.5258
80 | 2733721.2044 | 1269863.5873
81 | 2733735.0919 | 1269867.5944
82 | 2733706.4271 | 1269859.3154
83 | 2733731.3107 | 1269840.4605
84 | 2733772.0719 | 1269878.3086
85 | 2733708.5126 | 1269846.0054
86 | 2733704.3079 | 1269866.7256
87 | 2733741.2823 | 1269843.2265
88 | 2733710.8006 | 1269831.4348
89 | 2733762.5958 | 1269912.0373
90 | 2733701.8277 | 1269880.9209
91 | 2733717.5549 | 1269945.2609
92 | 2733308.2105 | 1270025.2689
93 | 2733303.6033 | 1270037.8165
94 | 2733314.6235 | 1270007.8031
95 | 2733269.0295 | 1270037.7073
96 | 2733308.0295 | 1269972.7611
97 | 2733340.4115 | 1270003.6023
98 | 2733306.0952 | 1269939.7236
99 | 2733360.2008 | 1270002.0181
100 | 2733303.8113 | 1269908.9644
101 | 2733361.4263 | 1270002.0527
102 | 2733121.1666 | 1269961.1554
103 | 2733115.8212 | 1269960.1978
104 | 2733210.2679 | 1269944.1144
105 | 2733207.4268 | 1270072.8689
106 | 2733688.2784 | 1269943.9411
107 | 2733678.997 | 1269907.5187
108 | 2733010.252 | 1269985.2539
109 | 2733013.0538 | 1269962.6153
110 | 2733320.6889 | 1269909.6793
111 | 2733324.6056 | 1269909.8453
112 | 2733336.6711 | 1269910.3564
113 | 2733400.8394 | 1269706.8664
114 | 2733408.7242 | 1269691.9468
115 | 2733437.3871 | 1269719.4583
116 | 2733377.104 | 1269661.8795
117 | 2733387.8595 | 1269913.4649
118 | 2733467.8047 | 1269919.3067
119 | 2733369.5566 | 1269912.1275
120 | 2733369.3498 | 1269912.1124
121 | 2733346.8085 | 1269910.7858
122 | 2733197.0343 | 1269911.3565
123 | 2733691.0198 | 1269887.4886
124 | 2733751.1892 | 1269970.7245
125 | 2733747.1934 | 1269985.0367
126 | 2733767.4213 | 1269988.1755
127 | 2732997.9041 | 1269927.4876
128 | 2732985.4968 | 1269925.9579
129 | 2733718.2648 | 1269756.2667
130 | 2733718.4155 | 1269709.4841
131 | 2733475.822 | 1270011.801
132 | 2733461.5726 | 1270008.7494
133 | 2733482.4146 | 1270013.7971
134 | 2733437.8874 | 1270005.401
135 | 2733497.6766 | 1270018.4415
136 | 2733509.2616 | 1270023.9926
137 | 2733517.1046 | 1270027.7507
138 | 2733580.2916 | 1270059.2625
139 | 2733594.1264 | 1270062.972
140 | 2733570.4551 | 1270056.6251
141 | 2733596.6419 | 1270063.6465
142 | 2733554.1451 | 1270049.77
143 | 2733762.864 | 1270048.0931
144 | 2733765.1163 | 1270047.8849
145 | 2733468.8867 | 1269919.3857
146 | 2733494.6686 | 1269921.2697
147 | 2733494.3746 | 1270095.817
148 | 2733501.9253 | 1270073.2068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1