## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4901-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4901-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4901-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4901-5_0_6_node_145 | 0.4 | n |  | TRUE
4 | bus_LV_4901-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4901-5_0_6_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_4901-5_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4901-5_0_6_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_4901-5_0_6_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_4901-5_0_6_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_4901-5_0_6_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_4901-5_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4901-5_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4901-5_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4901-5_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4901-5_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4901-5_0_6_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_4901-5_0_6_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_4901-5_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4901-5_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4901-5_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4901-5_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4901-5_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4901-5_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4901-5_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4901-5_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4901-5_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_4901-5_0_6_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4901-5_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4901-5_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4901-5_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4901-5_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4901-5_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4901-5_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_4901-5_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_4901-5_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4901-5_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_4901-5_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4901-5_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4901-5_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4901-5_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_4901-5_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4901-5_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_4901-5_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_4901-5_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4901-5_0_6_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_4901-5_0_6_node_119 | 0.4 | n |  | TRUE
47 | bus_LV_4901-5_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_4901-5_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_4901-5_0_6_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4901-5_0_6_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4901-5_0_6_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_4901-5_0_6_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_4901-5_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_4901-5_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4901-5_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4901-5_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_4901-5_0_6_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_4901-5_0_6_node_144 | 0.4 | n |  | TRUE
59 | bus_LV_4901-5_0_6_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_4901-5_0_6_node_141 | 0.4 | n |  | TRUE
61 | bus_LV_4901-5_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_4901-5_0_6_node_134 | 0.4 | n |  | TRUE
63 | bus_LV_4901-5_0_6_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4901-5_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4901-5_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4901-5_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4901-5_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4901-5_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4901-5_0_6_node_135 | 0.4 | n |  | TRUE
70 | bus_LV_4901-5_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4901-5_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_4901-5_0_6_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4901-5_0_6_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_4901-5_0_6_node_143 | 0.4 | n |  | TRUE
75 | bus_LV_4901-5_0_6_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_4901-5_0_6_node_136 | 0.4 | n |  | TRUE
77 | bus_LV_4901-5_0_6_node_139 | 0.4 | n |  | TRUE
78 | bus_LV_4901-5_0_6_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_4901-5_0_6_node_120 | 0.4 | n |  | TRUE
80 | bus_LV_4901-5_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_4901-5_0_6_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_4901-5_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4901-5_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4901-5_0_6_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_4901-5_0_6_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4901-5_0_6_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4901-5_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4901-5_0_6_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_4901-5_0_6_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4901-5_0_6_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_4901-5_0_6_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_4901-5_0_6_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_4901-5_0_6_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4901-5_0_6_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_4901-5_0_6_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_4901-5_0_6_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_4901-5_0_6_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_4901-5_0_6_node_131 | 0.4 | n |  | TRUE
99 | bus_LV_4901-5_0_6_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4901-5_0_6_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_4901-5_0_6_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_4901-5_0_6_node_75 | 0.4 | n |  | TRUE
103 | bus_LV_4901-5_0_6_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_4901-5_0_6_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_4901-5_0_6_node_132 | 0.4 | n |  | TRUE
106 | bus_LV_4901-5_0_6_node_121 | 0.4 | n |  | TRUE
107 | bus_LV_4901-5_0_6_node_127 | 0.4 | n |  | TRUE
108 | bus_LV_4901-5_0_6_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_4901-5_0_6_node_123 | 0.4 | n |  | TRUE
110 | bus_LV_4901-5_0_6_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_4901-5_0_6_node_115 | 0.4 | n |  | TRUE
112 | bus_LV_4901-5_0_6_node_82 | 0.4 | n |  | TRUE
113 | bus_LV_4901-5_0_6_node_95 | 0.4 | n |  | TRUE
114 | bus_LV_4901-5_0_6_node_83 | 0.4 | n |  | TRUE
115 | bus_LV_4901-5_0_6_node_84 | 0.4 | n |  | TRUE
116 | bus_LV_4901-5_0_6_node_85 | 0.4 | n |  | TRUE
117 | bus_LV_4901-5_0_6_node_124 | 0.4 | n |  | TRUE
118 | bus_LV_4901-5_0_6_node_88 | 0.4 | n |  | TRUE
119 | bus_LV_4901-5_0_6_node_89 | 0.4 | n |  | TRUE
120 | bus_LV_4901-5_0_6_node_91 | 0.4 | n |  | TRUE
121 | bus_LV_4901-5_0_6_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_4901-5_0_6_node_92 | 0.4 | n |  | TRUE
123 | bus_LV_4901-5_0_6_node_93 | 0.4 | n |  | TRUE
124 | bus_LV_4901-5_0_6_node_99 | 0.4 | n |  | TRUE
125 | bus_LV_4901-5_0_6_node_100 | 0.4 | n |  | TRUE
126 | bus_LV_4901-5_0_6_node_94 | 0.4 | n |  | TRUE
127 | bus_LV_4901-5_0_6_node_129 | 0.4 | n |  | TRUE
128 | bus_LV_4901-5_0_6_node_102 | 0.4 | n |  | TRUE
129 | bus_LV_4901-5_0_6_node_103 | 0.4 | n |  | TRUE
130 | bus_LV_4901-5_0_6_node_106 | 0.4 | n |  | TRUE
131 | bus_LV_4901-5_0_6_node_107 | 0.4 | n |  | TRUE
132 | bus_LV_4901-5_0_6_node_108 | 0.4 | n |  | TRUE
133 | bus_LV_4901-5_0_6_node_138 | 0.4 | n |  | TRUE
134 | bus_LV_4901-5_0_6_node_111 | 0.4 | n |  | TRUE
135 | bus_LV_4901-5_0_6_node_112 | 0.4 | n |  | TRUE
136 | bus_LV_4901-5_0_6_node_114 | 0.4 | n |  | TRUE
137 | bus_LV_4901-5_0_6_node_122 | 0.4 | n |  | TRUE
138 | bus_LV_4901-5_0_6_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_4901-5_0_6_node_128 | 0.4 | n |  | TRUE
140 | bus_LV_4901-5_0_6_node_130 | 0.4 | n |  | TRUE
141 | bus_LV_4901-5_0_6_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_4901-5_0_6_node_147 | 0.4 | n |  | TRUE
143 | bus_MV_409_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4901-5_0_6_load_0 | 0 | 0.0020944 | 0.00052492 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4901-5_0_6_load_145 | 3 | 0.00050038 | 0.00012541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4901-5_0_6_load_4 | 4 | 0.00029953 | 7.507e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4901-5_0_6_load_3 | 6 | 0.0015285 | 0.00038308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4901-5_0_6_load_22 | 7 | 0.0006718 | 0.00016837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4901-5_0_6_load_37 | 8 | 0.0022525 | 0.00056453 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4901-5_0_6_load_5 | 11 | 0.0017724 | 0.00044421 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4901-5_0_6_load_6 | 12 | 0.0012614 | 0.00031613 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4901-5_0_6_load_7 | 13 | 0.0011259 | 0.00028219 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4901-5_0_6_load_8 | 14 | 0.0010757 | 0.0002696 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4901-5_0_6_load_32 | 16 | 0.00092727 | 0.0002324 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4901-5_0_6_load_28 | 17 | 0.002984 | 0.00074786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4901-5_0_6_load_10 | 18 | 0.002996 | 0.00075086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4901-5_0_6_load_11 | 19 | 0.00029674 | 7.4369e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4901-5_0_6_load_17 | 21 | 0.00046433 | 0.00011637 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4901-5_0_6_load_26 | 22 | 0.00092614 | 0.00023211 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4901-5_0_6_load_13 | 23 | 0.001184 | 0.00029673 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4901-5_0_6_load_14 | 24 | 0.0019453 | 0.00048753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4901-5_0_6_load_16 | 25 | 0.0024453 | 0.00061284 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4901-5_0_6_load_31 | 26 | 0.0014533 | 0.00036424 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4901-5_0_6_load_30 | 27 | 0.002095 | 0.00052505 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4901-5_0_6_load_18 | 29 | 0.00025702 | 6.4414e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4901-5_0_6_load_19 | 30 | 0.00025702 | 6.4414e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4901-5_0_6_load_21 | 31 | 0.00029444 | 7.3794e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4901-5_0_6_load_38 | 33 | 0.00054545 | 0.0001367 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4901-5_0_6_load_25 | 34 | 0.0011012 | 0.00027599 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4901-5_0_6_load_24 | 35 | 0.0013959 | 0.00034985 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4901-5_0_6_load_36 | 36 | 0.0011204 | 0.00028079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4901-5_0_6_load_34 | 38 | 0.0016854 | 0.0004224 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4901-5_0_6_load_35 | 39 | 0.00077758 | 0.00019488 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4901-5_0_6_load_39 | 40 | 0.0074434 | 0.0018655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4901-5_0_6_load_40 | 41 | 0.00049547 | 0.00012418 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4901-5_0_6_load_42 | 43 | 0.0012696 | 0.0003182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4901-5_0_6_load_43 | 44 | 0.0040295 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4901-5_0_6_load_118 | 45 | 0.00083261 | 0.00020867 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4901-5_0_6_load_119 | 46 | 0.0035742 | 0.00089578 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4901-5_0_6_load_44 | 47 | 0.005951 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4901-5_0_6_load_50 | 49 | 0.0033591 | 0.00084187 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4901-5_0_6_load_51 | 50 | 0.0016263 | 0.0004076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4901-5_0_6_load_61 | 51 | 0.001037 | 0.0002599 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4901-5_0_6_load_47 | 54 | 0.00091784 | 0.00023003 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4901-5_0_6_load_48 | 55 | 0.0022759 | 0.0005704 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4901-5_0_6_load_116 | 57 | 0.0015712 | 0.00039377 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4901-5_0_6_load_144 | 58 | 0.00084317 | 0.00021132 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4901-5_0_6_load_117 | 59 | 0.00076351 | 0.00019135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4901-5_0_6_load_60 | 61 | 0.0025016 | 0.00062696 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4901-5_0_6_load_134 | 62 | 0.002671 | 0.00066942 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4901-5_0_6_load_52 | 63 | 0.001543 | 0.0003867 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4901-5_0_6_load_53 | 64 | 0.00065039 | 0.000163 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4901-5_0_6_load_55 | 66 | 0.00070088 | 0.00017566 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4901-5_0_6_load_58 | 68 | 0.0030778 | 0.00077136 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4901-5_0_6_load_135 | 69 | 0.0010712 | 0.00026847 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4901-5_0_6_load_56 | 70 | 0.00077781 | 0.00019494 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4901-5_0_6_load_80 | 71 | 0.00064866 | 0.00016257 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4901-5_0_6_load_59 | 72 | 0.0028388 | 0.00071146 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4901-5_0_6_load_143 | 74 | 0.0021771 | 0.00054563 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4901-5_0_6_load_81 | 75 | 0.00041735 | 0.0001046 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4901-5_0_6_load_139 | 77 | 0.0010777 | 0.0002701 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4901-5_0_6_load_120 | 79 | 0.0032215 | 0.00080738 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4901-5_0_6_load_78 | 80 | 0.0014967 | 0.00037511 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4901-5_0_6_load_79 | 81 | 0.00067182 | 0.00016837 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4901-5_0_6_load_74 | 82 | 0.0011283 | 0.00028279 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4901-5_0_6_load_62 | 83 | 0.0071563 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4901-5_0_6_load_63 | 84 | 0.00059473 | 0.00014905 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4901-5_0_6_load_65 | 86 | 0.00079816 | 0.00020004 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4901-5_0_6_load_86 | 87 | 0.00057671 | 0.00014454 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4901-5_0_6_load_87 | 88 | 0.00057642 | 0.00014446 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4901-5_0_6_load_66 | 89 | 0.0048626 | 0.0012187 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4901-5_0_6_load_67 | 90 | 0.0016581 | 0.00041556 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4901-5_0_6_load_70 | 93 | 0.00054748 | 0.00013721 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4901-5_0_6_load_71 | 94 | 0.00088593 | 0.00022203 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4901-5_0_6_load_72 | 96 | 0.00057671 | 0.00014454 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4901-5_0_6_load_105 | 97 | 0.00044627 | 0.00011185 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4901-5_0_6_load_131 | 98 | 0.0011408 | 0.00028592 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4901-5_0_6_load_96 | 99 | 0.0013534 | 0.0003392 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4901-5_0_6_load_73 | 100 | 0.0012247 | 0.00030694 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4901-5_0_6_load_104 | 101 | 0.00075737 | 0.00018981 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4901-5_0_6_load_75 | 102 | 0.0023957 | 0.00060042 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4901-5_0_6_load_110 | 104 | 0.00075582 | 0.00018943 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4901-5_0_6_load_132 | 105 | 0.0022786 | 0.00057107 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4901-5_0_6_load_121 | 106 | 0.0034916 | 0.00087507 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4901-5_0_6_load_127 | 107 | 0.0070702 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4901-5_0_6_load_101 | 108 | 0.00075584 | 0.00018943 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4901-5_0_6_load_123 | 109 | 0.0017249 | 0.00043231 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4901-5_0_6_load_82 | 112 | 0.0026501 | 0.00066417 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4901-5_0_6_load_95 | 113 | 0.00032501 | 8.1455e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4901-5_0_6_load_83 | 114 | 0.00091449 | 0.00022919 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4901-5_0_6_load_84 | 115 | 0.00091462 | 0.00022923 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4901-5_0_6_load_85 | 116 | 0.0008763 | 0.00021962 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4901-5_0_6_load_124 | 117 | 0.00081681 | 0.00020471 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4901-5_0_6_load_88 | 118 | 0.00053845 | 0.00013495 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4901-5_0_6_load_89 | 119 | 0.0028305 | 0.00070938 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4901-5_0_6_load_90 | 121 | 0.00045953 | 0.00011517 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4901-5_0_6_load_92 | 122 | 0.0010981 | 0.0002752 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4901-5_0_6_load_93 | 123 | 0.00052585 | 0.00013179 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4901-5_0_6_load_99 | 124 | 0.0010894 | 0.00027304 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4901-5_0_6_load_94 | 126 | 0.00096824 | 0.00024266 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4901-5_0_6_load_129 | 127 | 0.00042078 | 0.00010546 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4901-5_0_6_load_102 | 128 | 0.0011916 | 0.00029865 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4901-5_0_6_load_103 | 129 | 0.0012733 | 0.00031912 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4901-5_0_6_load_106 | 130 | 0.0013467 | 0.00033751 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4901-5_0_6_load_107 | 131 | 0.0023842 | 0.00059754 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4901-5_0_6_load_108 | 132 | 0.0014078 | 0.00035282 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4901-5_0_6_load_138 | 133 | 0.0021779 | 0.00054582 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4901-5_0_6_load_111 | 134 | 0.0017933 | 0.00044944 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4901-5_0_6_load_112 | 135 | 0.00058094 | 0.0001456 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4901-5_0_6_load_114 | 136 | 0.00073255 | 0.0001836 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4901-5_0_6_load_122 | 137 | 0.0027621 | 0.00069225 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4901-5_0_6_load_125 | 138 | 0.00051045 | 0.00012793 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4901-5_0_6_load_128 | 139 | 0.0022386 | 0.00056106 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4901-5_0_6_load_130 | 140 | 0.0021494 | 0.0005387 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4901-5_0_6_load_148 | 141 | 0.0017806 | 0.00044626 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4901-5_0_6_load_147 | 142 | 0.0017594 | 0.00044095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 114 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4901-5_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4901-5_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.046506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4901-5_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.60816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4901-5_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4901-5_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.027926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4901-5_0_6_line_5 | NAYY 4x150 SE | 4 | 8 | 0.032809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4901-5_0_6_line_6 | NAYY 4x150 SE | 5 | 114 | 0.27889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4901-5_0_6_line_7 | NAYY 4x150 SE | 6 | 7 | 0.019742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4901-5_0_6_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4901-5_0_6_line_9 | NAYY 4x150 SE | 8 | 10 | 0.020208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4901-5_0_6_line_10 | NAYY 4x150 SE | 9 | 32 | 0.050972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4901-5_0_6_line_11 | NAYY 4x150 SE | 9 | 29 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4901-5_0_6_line_12 | NAYY 4x150 SE | 10 | 14 | 0.035074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4901-5_0_6_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0084575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4901-5_0_6_line_14 | NAYY 4x150 SE | 11 | 13 | 0.034865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4901-5_0_6_line_15 | NAYY 4x150 SE | 12 | 14 | 0.029281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4901-5_0_6_line_16 | NAYY 4x150 SE | 13 | 15 | 0.013522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4901-5_0_6_line_17 | NAYY 4x150 SE | 15 | 16 | 0.034975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4901-5_0_6_line_18 | NAYY 4x150 SE | 16 | 17 | 0.010246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4901-5_0_6_line_19 | NAYY 4x150 SE | 17 | 28 | 0.02863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4901-5_0_6_line_20 | NAYY 4x150 SE | 18 | 19 | 0.01865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4901-5_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0042073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4901-5_0_6_line_22 | NAYY 4x150 SE | 20 | 21 | 0.012738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4901-5_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.007981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4901-5_0_6_line_24 | NAYY 4x150 SE | 22 | 28 | 0.058757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4901-5_0_6_line_25 | NAYY 4x150 SE | 23 | 24 | 0.003873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4901-5_0_6_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0068679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4901-5_0_6_line_27 | NAYY 4x150 SE | 25 | 26 | 0.016334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4901-5_0_6_line_28 | NAYY 4x150 SE | 26 | 27 | 0.015157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4901-5_0_6_line_29 | NAYY 4x150 SE | 27 | 34 | 0.020274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4901-5_0_6_line_30 | NAYY 4x150 SE | 28 | 37 | 0.044525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4901-5_0_6_line_31 | NAYY 4x150 SE | 29 | 30 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4901-5_0_6_line_32 | NAYY 4x150 SE | 30 | 31 | 0.010855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4901-5_0_6_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0080749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4901-5_0_6_line_34 | NAYY 4x150 SE | 32 | 34 | 0.037317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4901-5_0_6_line_35 | NAYY 4x150 SE | 32 | 35 | 0.033586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4901-5_0_6_line_36 | NAYY 4x150 SE | 33 | 36 | 0.016237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4901-5_0_6_line_37 | NAYY 4x150 SE | 36 | 39 | 0.021975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4901-5_0_6_line_38 | NAYY 4x150 SE | 37 | 38 | 0.031468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4901-5_0_6_line_39 | NAYY 4x150 SE | 38 | 39 | 0.02667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4901-5_0_6_line_40 | NAYY 4x150 SE | 40 | 41 | 0.026071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4901-5_0_6_line_41 | NAYY 4x150 SE | 40 | 42 | 0.025393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4901-5_0_6_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0075666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4901-5_0_6_line_43 | NAYY 4x150 SE | 42 | 44 | 0.012554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4901-5_0_6_line_44 | NAYY 4x150 SE | 44 | 45 | 0.036388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4901-5_0_6_line_45 | NAYY 4x150 SE | 45 | 46 | 0.029108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4901-5_0_6_line_46 | NAYY 4x150 SE | 46 | 79 | 0.0033838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4901-5_0_6_line_47 | NAYY 4x150 SE | 47 | 48 | 0.032459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4901-5_0_6_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0018407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4901-5_0_6_line_49 | NAYY 4x150 SE | 48 | 50 | 0.027904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4901-5_0_6_line_50 | NAYY 4x150 SE | 49 | 51 | 0.010775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4901-5_0_6_line_51 | NAYY 4x150 SE | 50 | 52 | 0.018942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4901-5_0_6_line_52 | NAYY 4x150 SE | 51 | 61 | 0.0024931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4901-5_0_6_line_53 | NAYY 4x150 SE | 52 | 62 | 0.017815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4901-5_0_6_line_54 | NAYY 4x150 SE | 53 | 54 | 0.035547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4901-5_0_6_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0079991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4901-5_0_6_line_56 | NAYY 4x150 SE | 53 | 56 | 0.013571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4901-5_0_6_line_57 | NAYY 4x150 SE | 54 | 57 | 0.018526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4901-5_0_6_line_58 | NAYY 4x150 SE | 56 | 58 | 0.042534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4901-5_0_6_line_59 | NAYY 4x150 SE | 57 | 59 | 0.037946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4901-5_0_6_line_60 | NAYY 4x150 SE | 58 | 60 | 0.15671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4901-5_0_6_line_61 | NAYY 4x150 SE | 59 | 62 | 0.0066388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4901-5_0_6_line_62 | NAYY 4x150 SE | 60 | 141 | 0.03864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4901-5_0_6_line_63 | NAYY 4x150 SE | 60 | 142 | 0.016365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4901-5_0_6_line_64 | NAYY 4x150 SE | 61 | 68 | 0.019142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4901-5_0_6_line_65 | NAYY 4x150 SE | 63 | 64 | 0.025688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4901-5_0_6_line_66 | NAYY 4x150 SE | 63 | 65 | 0.039151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4901-5_0_6_line_67 | NAYY 4x150 SE | 64 | 66 | 0.0018354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4901-5_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.016183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4901-5_0_6_line_69 | NAYY 4x150 SE | 65 | 68 | 0.022593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4901-5_0_6_line_70 | NAYY 4x150 SE | 66 | 69 | 0.069226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4901-5_0_6_line_71 | NAYY 4x150 SE | 67 | 70 | 0.011495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_4901-5_0_6_line_72 | NAYY 4x150 SE | 69 | 74 | 0.015203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4901-5_0_6_line_73 | NAYY 4x150 SE | 70 | 71 | 0.035845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4901-5_0_6_line_74 | NAYY 4x150 SE | 71 | 75 | 0.0058804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4901-5_0_6_line_75 | NAYY 4x150 SE | 72 | 73 | 0.034984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4901-5_0_6_line_76 | NAYY 4x150 SE | 73 | 80 | 0.015201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_4901-5_0_6_line_77 | NAYY 4x150 SE | 73 | 81 | 0.05175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4901-5_0_6_line_78 | NAYY 4x150 SE | 73 | 82 | 0.017953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4901-5_0_6_line_79 | NAYY 4x150 SE | 75 | 112 | 0.00068533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4901-5_0_6_line_80 | NAYY 4x150 SE | 76 | 77 | 0.021862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_4901-5_0_6_line_81 | NAYY 4x150 SE | 76 | 78 | 0.037926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_4901-5_0_6_line_82 | NAYY 4x150 SE | 76 | 79 | 0.026185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4901-5_0_6_line_83 | NAYY 4x150 SE | 77 | 133 | 0.020624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_4901-5_0_6_line_84 | NAYY 4x150 SE | 78 | 113 | 0.0098642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4901-5_0_6_line_85 | NAYY 4x150 SE | 78 | 112 | 0.027883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_4901-5_0_6_line_86 | NAYY 4x150 SE | 80 | 106 | 0.020221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4901-5_0_6_line_87 | NAYY 4x150 SE | 81 | 107 | 0.011409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_4901-5_0_6_line_88 | NAYY 4x150 SE | 82 | 102 | 0.012375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4901-5_0_6_line_89 | NAYY 4x150 SE | 83 | 84 | 0.014747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4901-5_0_6_line_90 | NAYY 4x150 SE | 83 | 85 | 0.010251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4901-5_0_6_line_91 | NAYY 4x150 SE | 85 | 86 | 0.053025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4901-5_0_6_line_92 | NAYY 4x150 SE | 86 | 87 | 0.025249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4901-5_0_6_line_93 | NAYY 4x150 SE | 87 | 88 | 0.013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4901-5_0_6_line_94 | NAYY 4x150 SE | 88 | 100 | 0.0032165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4901-5_0_6_line_95 | NAYY 4x150 SE | 89 | 90 | 0.018862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4901-5_0_6_line_96 | NAYY 4x150 SE | 89 | 91 | 0.0032787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4901-5_0_6_line_97 | NAYY 4x150 SE | 90 | 92 | 0.021279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4901-5_0_6_line_98 | NAYY 4x150 SE | 91 | 93 | 0.0161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4901-5_0_6_line_99 | NAYY 4x150 SE | 91 | 94 | 0.031947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4901-5_0_6_line_100 | NAYY 4x150 SE | 92 | 95 | 0.004076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4901-5_0_6_line_101 | NAYY 4x150 SE | 93 | 96 | 0.028518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4901-5_0_6_line_102 | NAYY 4x150 SE | 94 | 97 | 0.093498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4901-5_0_6_line_103 | NAYY 4x150 SE | 95 | 98 | 0.020933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4901-5_0_6_line_104 | NAYY 4x150 SE | 95 | 99 | 0.03041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4901-5_0_6_line_105 | NAYY 4x150 SE | 96 | 100 | 0.010353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4901-5_0_6_line_106 | NAYY 4x150 SE | 97 | 101 | 0.019725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4901-5_0_6_line_107 | NAYY 4x150 SE | 98 | 127 | 0.026353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4901-5_0_6_line_108 | NAYY 4x150 SE | 99 | 126 | 0.010051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4901-5_0_6_line_109 | NAYY 4x150 SE | 101 | 129 | 0.01823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4901-5_0_6_line_110 | NAYY 4x150 SE | 102 | 103 | 0.011301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4901-5_0_6_line_111 | NAYY 4x150 SE | 103 | 104 | 0.0067776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4901-5_0_6_line_112 | NAYY 4x150 SE | 103 | 105 | 0.031219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4901-5_0_6_line_113 | NAYY 4x150 SE | 104 | 108 | 0.0093363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4901-5_0_6_line_114 | NAYY 4x150 SE | 105 | 109 | 0.00012618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4901-5_0_6_line_115 | NAYY 4x150 SE | 106 | 110 | 0.010391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_4901-5_0_6_line_116 | NAYY 4x150 SE | 107 | 111 | 0.037874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_4901-5_0_6_line_117 | NAYY 4x150 SE | 108 | 125 | 0.036398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4901-5_0_6_line_118 | NAYY 4x150 SE | 109 | 137 | 0.012503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4901-5_0_6_line_119 | NAYY 4x150 SE | 110 | 133 | 0.0099712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
120 | LV_4901-5_0_6_line_120 | NAYY 4x150 SE | 110 | 131 | 0.044151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4901-5_0_6_line_121 | NAYY 4x150 SE | 111 | 117 | 0.035116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4901-5_0_6_line_122 | NAYY 4x150 SE | 111 | 116 | 0.01122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
123 | LV_4901-5_0_6_line_123 | NAYY 4x150 SE | 113 | 126 | 0.022756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4901-5_0_6_line_124 | NAYY 4x150 SE | 114 | 115 | 0.035928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
125 | LV_4901-5_0_6_line_125 | NAYY 4x150 SE | 115 | 116 | 0.065698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
126 | LV_4901-5_0_6_line_126 | NAYY 4x150 SE | 117 | 138 | 0.0079881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4901-5_0_6_line_127 | NAYY 4x150 SE | 118 | 119 | 0.0060235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4901-5_0_6_line_128 | NAYY 4x150 SE | 118 | 120 | 0.18951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4901-5_0_6_line_129 | NAYY 4x150 SE | 119 | 121 | 0.021241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4901-5_0_6_line_130 | NAYY 4x150 SE | 120 | 122 | 0.026598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4901-5_0_6_line_131 | NAYY 4x150 SE | 121 | 123 | 0.0065865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4901-5_0_6_line_132 | NAYY 4x150 SE | 123 | 124 | 0.0033666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4901-5_0_6_line_133 | NAYY 4x150 SE | 124 | 125 | 0.038205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4901-5_0_6_line_134 | NAYY 4x150 SE | 125 | 128 | 0.025428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4901-5_0_6_line_135 | NAYY 4x150 SE | 127 | 139 | 0.021389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4901-5_0_6_line_136 | NAYY 4x150 SE | 130 | 131 | 0.0097232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4901-5_0_6_line_137 | NAYY 4x150 SE | 130 | 132 | 0.038085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4901-5_0_6_line_138 | NAYY 4x150 SE | 134 | 135 | 0.0008445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4901-5_0_6_line_139 | NAYY 4x150 SE | 135 | 136 | 0.027631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4901-5_0_6_line_140 | NAYY 4x150 SE | 136 | 137 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4901-5_0_6_line_141 | NAYY 4x150 SE | 139 | 140 | 0.024007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4901-5_0_6_trafo_83 | 0.25 MVA 20/0.4 kV | 143 | 114 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2735041.765 | 1270471.9139 | 2735076.239 | 1270443.7491
1 | 2735112.2536 | 1270414.3256 | 2735076.239 | 1270443.7491
2 | 2734748.2162 | 1271004.5386 | 2735041.765 | 1270471.9139
3 | 2735112.2536 | 1270414.3256 | 2735123.1141 | 1270422.5709 | 2735147.1342 | 1270434.1402
4 | 2734721.9226 | 1271013.423 | 2734733.7388 | 1271007.7982 | 2734748.2162 | 1271004.5386
5 | 2735176.6929 | 1270448.3773 | 2735176.6929 | 1270448.3773 | 2735147.1342 | 1270434.1402
6 | 2734446.2064 | 1271055.3936 | 2734721.9226 | 1271013.423
7 | 2735173.0858 | 1270358.5275 | 2735167.9905 | 1270366.2876 | 2735161.2549 | 1270374.2891
8 | 2735180.149 | 1270347.7701 | 2735173.0858 | 1270358.5275
9 | 2735196.0071 | 1270454.2583 | 2735187.1323 | 1270451.9975 | 2735176.6929 | 1270448.3773
10 | 2735201.5693 | 1270301.4934 | 2735180.149 | 1270347.7701
11 | 2735180.149 | 1270347.7701 | 2735194.6551 | 1270353.4624
12 | 2735196.0071 | 1270454.2583 | 2735193.5648 | 1270489.2474
13 | 2735231.1879 | 1270492.1663 | 2735222.7505 | 1270491.5838
14 | 2735231.1879 | 1270492.1663 | 2735237.7142 | 1270492.6168 | 2735240.0218 | 1270484.5396 | 2735236.5682 | 1270466.7544 | 2735236.1742 | 1270464.9929
15 | 2735222.7505 | 1270491.5838 | 2735208.0534 | 1270490.5692 | 2735193.5648 | 1270489.2474 | 2735193.5648 | 1270489.2474
16 | 2735233.2229 | 1270451.7967 | 2735236.1742 | 1270464.9929
17 | 2735233.2229 | 1270451.7967 | 2735256.5697 | 1270446.2592 | 2735265.0682 | 1270444.2519 | 2735267.3001 | 1270443.9821
18 | 2735267.3001 | 1270443.9821 | 2735277.4716 | 1270442.7527
19 | 2735305.9052 | 1270444.0536 | 2735285.9525 | 1270441.7277 | 2735277.4716 | 1270442.7527
20 | 2735305.5748 | 1270545.6494 | 2735305.563 | 1270540.7171 | 2735305.1689 | 1270527.0047
21 | 2735305.0481 | 1270522.7991 | 2735305.1689 | 1270527.0047
22 | 2735305.0481 | 1270522.7991 | 2735303.541 | 1270515.9802 | 2735302.6197 | 1270510.3003
23 | 2735302.6197 | 1270510.3003 | 2735301.3419 | 1270502.4222
24 | 2735305.9052 | 1270444.0536 | 2735300.6598 | 1270484.7284 | 2735300.7054 | 1270498.4983 | 2735301.3419 | 1270502.4222
25 | 2735114.2982 | 1270264.2698 | 2735110.9778 | 1270262.276
26 | 2735120.1862 | 1270267.8053 | 2735114.2982 | 1270264.2698
27 | 2735134.2365 | 1270276.1208 | 2735133.6161 | 1270275.8693 | 2735120.1862 | 1270267.8053
28 | 2735134.2365 | 1270276.1208 | 2735145.7423 | 1270280.7848 | 2735148.4514 | 1270281.204
29 | 2735148.4514 | 1270281.204 | 2735162.1081 | 1270283.3172 | 2735168.3825 | 1270284.8332
30 | 2735313.8194 | 1270400.2369 | 2735305.9052 | 1270444.0536
31 | 2735206.5114 | 1270358.1152 | 2735203.3563 | 1270356.8767 | 2735194.6551 | 1270353.4624
32 | 2735206.5114 | 1270358.1152 | 2735216.6156 | 1270362.0814
33 | 2735224.1322 | 1270365.0319 | 2735216.6156 | 1270362.0814
34 | 2735201.5693 | 1270301.4934 | 2735174.1597 | 1270286.2291 | 2735168.3825 | 1270284.8332
35 | 2735201.5693 | 1270301.4934 | 2735215.2789 | 1270270.8331
36 | 2735239.2462 | 1270370.9646 | 2735224.1322 | 1270365.0319
37 | 2735239.2462 | 1270370.9646 | 2735259.702 | 1270378.9942
38 | 2735313.8194 | 1270400.2369 | 2735284.5277 | 1270388.739
39 | 2735284.5277 | 1270388.739 | 2735259.702 | 1270378.9942
40 | 2734395.0858 | 1271187.0473 | 2734392.3392 | 1271194.145 | 2734380.9767 | 1271202.3499 | 2734379.1306 | 1271206.3933
41 | 2734406.0863 | 1271164.1844 | 2734396.9851 | 1271182.1391 | 2734395.0858 | 1271187.0473
42 | 2734379.1306 | 1271206.3933 | 2734375.9879 | 1271213.2765
43 | 2734406.0863 | 1271164.1844 | 2734393.7476 | 1271166.4982
44 | 2734357.9832 | 1271173.2049 | 2734393.7476 | 1271166.4982
45 | 2734357.9832 | 1271173.2049 | 2734329.3742 | 1271178.5698
46 | 2734326.0484 | 1271179.1935 | 2734329.3742 | 1271178.5698
47 | 2734168.4311 | 1271204.2197 | 2734168.467 | 1271206.9454 | 2734167.761 | 1271208.2083 | 2734165.4722 | 1271208.9126 | 2734139.7961 | 1271212.2475
48 | 2734168.4311 | 1271204.2197 | 2734170.2625 | 1271204.0342
49 | 2734168.4311 | 1271204.2197 | 2734155.5929 | 1271205.5182 | 2734140.716 | 1271207.4361
50 | 2734180.9828 | 1271202.9481 | 2734180.9828 | 1271202.9481 | 2734170.2625 | 1271204.0342
51 | 2734121.9297 | 1271209.8579 | 2734140.716 | 1271207.4361
52 | 2734183.4699 | 1271202.7745 | 2734180.9828 | 1271202.9481
53 | 2734121.9297 | 1271209.8579 | 2734107.732 | 1271211.7039 | 2734104.2637 | 1271212.1552
54 | 2734006.4307 | 1271224.8841 | 2734041.6805 | 1271220.2978
55 | 2734006.4307 | 1271224.8841 | 2734001.8153 | 1271218.3508
56 | 2733992.8844 | 1271226.2114 | 2734006.4307 | 1271224.8841
57 | 2734041.6805 | 1271220.2978 | 2734060.0516 | 1271217.9075
58 | 2733992.8844 | 1271226.2114 | 2733980.1295 | 1271266.7876
59 | 2734097.6803 | 1271213.0117 | 2734060.0516 | 1271217.9075
60 | 2733980.1295 | 1271266.7876 | 2733824.4881 | 1271248.5594
61 | 2734097.6803 | 1271213.0117 | 2734104.2637 | 1271212.1552
62 | 2733824.4881 | 1271248.5594 | 2733824.4721 | 1271257.5567 | 2733821.8402 | 1271268.4186 | 2733815.4278 | 1271285.7365
63 | 2733824.4881 | 1271248.5594 | 2733808.2547 | 1271250.635
64 | 2734183.4699 | 1271202.7745 | 2734202.5654 | 1271201.4422
65 | 2734211.1875 | 1271235.6819 | 2734201.4404 | 1271259.4493
66 | 2734225.0284 | 1271199.0784 | 2734219.3823 | 1271215.6995 | 2734211.1875 | 1271235.6819
67 | 2734201.4404 | 1271259.4493 | 2734200.744 | 1271261.1474
68 | 2734225.0284 | 1271199.0784 | 2734240.9424 | 1271195.8926
69 | 2734225.0284 | 1271199.0784 | 2734209.2339 | 1271200.9769 | 2734202.5654 | 1271201.4422
70 | 2734200.744 | 1271261.1474 | 2734196.4757 | 1271271.5552 | 2734191.6954 | 1271283.2023 | 2734176.1049 | 1271325.8273
71 | 2734239.6425 | 1271207.0516 | 2734241.651 | 1271199.8125 | 2734240.9424 | 1271195.8926
72 | 2734170.8826 | 1271340.105 | 2734176.1049 | 1271325.8273
73 | 2734239.6425 | 1271207.0516 | 2734274.3094 | 1271216.167
74 | 2734274.3094 | 1271216.167 | 2734279.9965 | 1271217.6624
75 | 2734258.1361 | 1271109.6779 | 2734251.3457 | 1271116.3856 | 2734243.3796 | 1271127.4708 | 2734238.4823 | 1271138.194
76 | 2734258.1361 | 1271109.6779 | 2734271.7587 | 1271116.4234
77 | 2734258.1361 | 1271109.6779 | 2734275.4955 | 1271094.5801 | 2734297.8341 | 1271076.4918
78 | 2734258.1361 | 1271109.6779 | 2734248.6811 | 1271101.5217 | 2734245.0382 | 1271097.4469
79 | 2734279.9965 | 1271217.6624 | 2734280.6593 | 1271217.8367
80 | 2734300.312 | 1271184.0197 | 2734296.9605 | 1271166.9381 | 2734297.1202 | 1271162.4862
81 | 2734300.312 | 1271184.0197 | 2734306.9136 | 1271216.023 | 2734307.9781 | 1271221.1633
82 | 2734300.312 | 1271184.0197 | 2734326.0484 | 1271179.1935
83 | 2734298.3896 | 1271141.9126 | 2734297.5783 | 1271149.7133 | 2734297.1202 | 1271162.4862
84 | 2734307.9781 | 1271221.1633 | 2734309.9722 | 1271230.8238
85 | 2734307.9781 | 1271221.1633 | 2734300.3348 | 1271222.0347 | 2734295.5324 | 1271221.7475 | 2734280.6593 | 1271217.8367
86 | 2734271.7587 | 1271116.4234 | 2734289.8796 | 1271125.3963
87 | 2734297.8341 | 1271076.4918 | 2734306.701 | 1271069.312
88 | 2734245.0382 | 1271097.4469 | 2734241.7897 | 1271093.8132 | 2734238.1946 | 1271087.2299
89 | 2734535.0565 | 1271364.5317 | 2734541.2568 | 1271367.8034 | 2734548.5581 | 1271370.3614
90 | 2734525.9906 | 1271359.7479 | 2734535.0565 | 1271364.5317
91 | 2734525.9906 | 1271359.7479 | 2734511.978 | 1271350.5087 | 2734490.281 | 1271339.326 | 2734479.2244 | 1271335.1148
92 | 2734455.6432 | 1271326.0905 | 2734459.9977 | 1271327.792 | 2734479.2244 | 1271335.1148
93 | 2734455.6432 | 1271326.0905 | 2734443.0045 | 1271321.1521
94 | 2734443.0045 | 1271321.1521 | 2734440.0085 | 1271319.9815
95 | 2734387.42 | 1271295.035 | 2734370.3583 | 1271286.9935
96 | 2734390.3858 | 1271296.4328 | 2734387.42 | 1271295.035
97 | 2734351.1098 | 1271277.9213 | 2734370.3583 | 1271286.9935
98 | 2734390.3858 | 1271296.4328 | 2734404.7722 | 1271303.6609
99 | 2734390.3858 | 1271296.4328 | 2734399.0085 | 1271309.7196 | 2734406.2099 | 1271324.1272
100 | 2734351.1098 | 1271277.9213 | 2734347.4564 | 1271276.092
101 | 2734404.7722 | 1271303.6609 | 2734427.625 | 1271315.1428 | 2734430.3657 | 1271316.2137
102 | 2734406.2099 | 1271324.1272 | 2734421.0401 | 1271353.797 | 2734443.1233 | 1271409.9383
103 | 2734347.4564 | 1271276.092 | 2734343.583 | 1271288.8829 | 2734341.9129 | 1271296.2644
104 | 2734347.4564 | 1271276.092 | 2734329.5538 | 1271267.1317 | 2734322.956 | 1271262.4104 | 2734321.3659 | 1271260.7801
105 | 2734440.0085 | 1271319.9815 | 2734430.3657 | 1271316.2137
106 | 2734450.3436 | 1271428.2942 | 2734443.1233 | 1271409.9383
107 | 2734337.3318 | 1271322.1958 | 2734337.5363 | 1271320.7763 | 2734339.5749 | 1271306.5978 | 2734341.9129 | 1271296.2644
108 | 2734321.3659 | 1271260.7801 | 2734317.1095 | 1271256.4161 | 2734315.4659 | 1271252.8183
109 | 2734457.0167 | 1271445.2588 | 2734450.3436 | 1271428.2942
110 | 2734233.7688 | 1271076.8701 | 2734236.0026 | 1271083.2159 | 2734238.1946 | 1271087.2299
111 | 2734233.7688 | 1271076.8701 | 2734232.4836 | 1271070.2155
112 | 2734233.7688 | 1271076.8701 | 2734222.5366 | 1271076.0363 | 2734203.0333 | 1271071.8095
113 | 2734232.4836 | 1271070.2155 | 2734231.8163 | 1271066.7604 | 2734232.3205 | 1271060.9649
114 | 2734203.0333 | 1271071.8095 | 2734202.91 | 1271071.7827
115 | 2734297.5067 | 1271132.0279 | 2734294.1328 | 1271127.5023 | 2734289.8796 | 1271125.3963
116 | 2734336.1352 | 1271045.4782 | 2734306.701 | 1271069.312
117 | 2734236.5131 | 1271025.0491 | 2734237.036 | 1271031.8342 | 2734236.3001 | 1271039.7028 | 2734232.9984 | 1271053.1742 | 2734232.3205 | 1271060.9649
118 | 2734190.5071 | 1271070.2981 | 2734200.8636 | 1271071.3393 | 2734202.91 | 1271071.7827
119 | 2734297.5067 | 1271132.0279 | 2734298.5995 | 1271139.8937 | 2734298.3896 | 1271141.9126
120 | 2734297.5067 | 1271132.0279 | 2734311.5008 | 1271138.8082 | 2734318.1563 | 1271140.6725 | 2734323.3129 | 1271140.2782 | 2734327.5012 | 1271137.4596 | 2734331.0594 | 1271132.2355 | 2734333.5637 | 1271127.7375
121 | 2734336.1352 | 1271045.4782 | 2734363.4269 | 1271023.381
122 | 2734336.1352 | 1271045.4782 | 2734340.4227 | 1271048.2228 | 2734344.5176 | 1271049.5061 | 2734346.3554 | 1271049.4832
123 | 2734315.4659 | 1271252.8183 | 2734313.726 | 1271249.0098 | 2734309.9722 | 1271230.8238
124 | 2734446.2064 | 1271055.3936 | 2734436.7 | 1271050.9271 | 2734429.5487 | 1271048.3619 | 2734420.1476 | 1271046.435 | 2734411.9273 | 1271046.0214
125 | 2734411.9273 | 1271046.0214 | 2734407.6238 | 1271045.8049 | 2734354.3041 | 1271049.3841 | 2734346.3554 | 1271049.4832
126 | 2734363.4269 | 1271023.381 | 2734369.6351 | 1271018.3544
127 | 2734183.4997 | 1270972.3509 | 2734187.9041 | 1270976.4599
128 | 2734183.4997 | 1270972.3509 | 2734054.3846 | 1270833.628
129 | 2734203.621 | 1270990.7394 | 2734199.7375 | 1270987.4994 | 2734187.9041 | 1270976.4599
130 | 2734054.3846 | 1270833.628 | 2734039.0424 | 1270824.1929 | 2734031.072 | 1270820.9979
131 | 2734203.621 | 1270990.7394 | 2734208.6785 | 1270994.9588
132 | 2734211.2636 | 1270997.1155 | 2734208.6785 | 1270994.9588
133 | 2734236.5131 | 1271025.0491 | 2734233.7211 | 1271018.7573 | 2734230.1907 | 1271013.8279 | 2734220.2257 | 1271004.5925 | 2734211.2636 | 1270997.1155
134 | 2734236.5131 | 1271025.0491 | 2734237.3868 | 1271020.053 | 2734240.7488 | 1271014.1904 | 2734248.1234 | 1271002.7659
135 | 2734334.1988 | 1271343.3537 | 2734335.695 | 1271333.5579 | 2734337.3318 | 1271322.1958
136 | 2734338.2935 | 1271119.2422 | 2734333.5637 | 1271127.7375
137 | 2734366.5202 | 1271105.8277 | 2734356.474 | 1271101.8286 | 2734350.6329 | 1271102.2072 | 2734345.7406 | 1271105.8662 | 2734338.2935 | 1271119.2422
138 | 2734150.3471 | 1271066.5351 | 2734149.5047 | 1271066.476
139 | 2734177.8647 | 1271068.9935 | 2734162.4588 | 1271067.3852 | 2734150.3471 | 1271066.5351
140 | 2734190.5071 | 1271070.2981 | 2734186.5671 | 1271069.9019 | 2734177.8647 | 1271068.9935
141 | 2734334.1988 | 1271343.3537 | 2734330.5738 | 1271367.086

## bus_geodata
| x | y | coords
0 | 2735076.239 | 1270443.7491
1 | 2735041.765 | 1270471.9139
2 | 2735112.2536 | 1270414.3256
3 | 2734748.2162 | 1271004.5386
4 | 2735147.1342 | 1270434.1402
5 | 2734721.9226 | 1271013.423
6 | 2735161.2549 | 1270374.2891
7 | 2735173.0858 | 1270358.5275
8 | 2735176.6929 | 1270448.3773
9 | 2735180.149 | 1270347.7701
10 | 2735196.0071 | 1270454.2583
11 | 2735231.1879 | 1270492.1663
12 | 2735222.7505 | 1270491.5838
13 | 2735236.1742 | 1270464.9929
14 | 2735193.5648 | 1270489.2474
15 | 2735233.2229 | 1270451.7967
16 | 2735267.3 | 1270443.9821
17 | 2735277.4716 | 1270442.7527
18 | 2735305.5748 | 1270545.6494
19 | 2735305.1689 | 1270527.0046
20 | 2735305.0481 | 1270522.7991
21 | 2735302.6197 | 1270510.3003
22 | 2735301.3419 | 1270502.4222
23 | 2735110.9778 | 1270262.276
24 | 2735114.2982 | 1270264.2698
25 | 2735120.1862 | 1270267.8053
26 | 2735134.2365 | 1270276.1208
27 | 2735148.4514 | 1270281.204
28 | 2735305.9052 | 1270444.0536
29 | 2735194.6551 | 1270353.4624
30 | 2735206.5114 | 1270358.1152
31 | 2735216.6156 | 1270362.0814
32 | 2735201.5693 | 1270301.4934
33 | 2735224.1322 | 1270365.0319
34 | 2735168.3825 | 1270284.8332
35 | 2735215.2789 | 1270270.8331
36 | 2735239.2462 | 1270370.9646
37 | 2735313.8194 | 1270400.2369
38 | 2735284.5277 | 1270388.739
39 | 2735259.702 | 1270378.9942
40 | 2734395.0858 | 1271187.0473
41 | 2734379.1306 | 1271206.3933
42 | 2734406.0863 | 1271164.1844
43 | 2734375.9879 | 1271213.2765
44 | 2734393.7476 | 1271166.4982
45 | 2734357.9832 | 1271173.2049
46 | 2734329.3742 | 1271178.5698
47 | 2734139.7961 | 1271212.2475
48 | 2734168.4311 | 1271204.2197
49 | 2734170.2625 | 1271204.0342
50 | 2734140.716 | 1271207.4361
51 | 2734180.9828 | 1271202.9481
52 | 2734121.9297 | 1271209.8579
53 | 2734006.4307 | 1271224.8841
54 | 2734041.6805 | 1271220.2978
55 | 2734001.8153 | 1271218.3508
56 | 2733992.8844 | 1271226.2114
57 | 2734060.0516 | 1271217.9075
58 | 2733980.1295 | 1271266.7876
59 | 2734097.6803 | 1271213.0117
60 | 2733824.4881 | 1271248.5594
61 | 2734183.4699 | 1271202.7745
62 | 2734104.2637 | 1271212.1552
63 | 2734211.1875 | 1271235.6819
64 | 2734201.4404 | 1271259.4493
65 | 2734225.0284 | 1271199.0784
66 | 2734200.744 | 1271261.1474
67 | 2734240.9424 | 1271195.8926
68 | 2734202.5654 | 1271201.4422
69 | 2734176.1049 | 1271325.8273
70 | 2734239.6425 | 1271207.0516
71 | 2734274.3094 | 1271216.167
72 | 2734238.4823 | 1271138.194
73 | 2734258.1361 | 1271109.6779
74 | 2734170.8826 | 1271340.105
75 | 2734279.9965 | 1271217.6624
76 | 2734300.312 | 1271184.0197
77 | 2734297.1202 | 1271162.4862
78 | 2734307.9781 | 1271221.1633
79 | 2734326.0484 | 1271179.1935
80 | 2734271.7587 | 1271116.4234
81 | 2734297.8341 | 1271076.4918
82 | 2734245.0382 | 1271097.4469
83 | 2734535.0565 | 1271364.5317
84 | 2734548.5581 | 1271370.3614
85 | 2734525.9906 | 1271359.7479
86 | 2734479.2244 | 1271335.1148
87 | 2734455.6432 | 1271326.0905
88 | 2734443.0045 | 1271321.1521
89 | 2734387.42 | 1271295.035
90 | 2734370.3583 | 1271286.9935
91 | 2734390.3858 | 1271296.4328
92 | 2734351.1098 | 1271277.9213
93 | 2734404.7722 | 1271303.6609
94 | 2734406.2099 | 1271324.1272
95 | 2734347.4564 | 1271276.092
96 | 2734430.3657 | 1271316.2137
97 | 2734443.1233 | 1271409.9383
98 | 2734341.9129 | 1271296.2644
99 | 2734321.3659 | 1271260.7801
100 | 2734440.0085 | 1271319.9815
101 | 2734450.3436 | 1271428.2942
102 | 2734238.1946 | 1271087.2299
103 | 2734233.7688 | 1271076.8701
104 | 2734232.4836 | 1271070.2155
105 | 2734203.0333 | 1271071.8095
106 | 2734289.8796 | 1271125.3963
107 | 2734306.701 | 1271069.312
108 | 2734232.3205 | 1271060.9649
109 | 2734202.91 | 1271071.7827
110 | 2734297.5067 | 1271132.0279
111 | 2734336.1352 | 1271045.4782
112 | 2734280.6593 | 1271217.8367
113 | 2734309.9722 | 1271230.8238
114 | 2734446.2064 | 1271055.3936
115 | 2734411.9273 | 1271046.0214
116 | 2734346.3554 | 1271049.4832
117 | 2734363.4269 | 1271023.381
118 | 2734183.4997 | 1270972.3509
119 | 2734187.9041 | 1270976.4599
120 | 2734054.3846 | 1270833.628
121 | 2734203.621 | 1270990.7394
122 | 2734031.072 | 1270820.9979
123 | 2734208.6785 | 1270994.9588
124 | 2734211.2636 | 1270997.1155
125 | 2734236.5131 | 1271025.0491
126 | 2734315.4659 | 1271252.8183
127 | 2734337.3318 | 1271322.1958
128 | 2734248.1234 | 1271002.7659
129 | 2734457.0166 | 1271445.2588
130 | 2734338.2935 | 1271119.2422
131 | 2734333.5637 | 1271127.7375
132 | 2734366.5202 | 1271105.8277
133 | 2734298.3896 | 1271141.9126
134 | 2734149.5047 | 1271066.476
135 | 2734150.3471 | 1271066.5351
136 | 2734177.8647 | 1271068.9935
137 | 2734190.5071 | 1271070.298
138 | 2734369.6351 | 1271018.3544
139 | 2734334.1988 | 1271343.3537
140 | 2734330.5738 | 1271367.086
141 | 2733815.4278 | 1271285.7365
142 | 2733808.2547 | 1271250.635
143 | 2734336.1352 | 1271045.4782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1