## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_491-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_491-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_491-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_491-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_491-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_491-1_0_3_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_491-1_0_3_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_491-1_0_3_node_88 | 0.4 | n |  | TRUE
8 | bus_LV_491-1_0_3_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_491-1_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_491-1_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_491-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_491-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_491-1_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_491-1_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_491-1_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_491-1_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_491-1_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_491-1_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_491-1_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_491-1_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_491-1_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_491-1_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_491-1_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_491-1_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_491-1_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_491-1_0_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_491-1_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_491-1_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_491-1_0_3_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_491-1_0_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_491-1_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_491-1_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_491-1_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_491-1_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_491-1_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_491-1_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_491-1_0_3_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_491-1_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_491-1_0_3_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_491-1_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_491-1_0_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_491-1_0_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_491-1_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_491-1_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_491-1_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_491-1_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_491-1_0_3_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_491-1_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_491-1_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_491-1_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_491-1_0_3_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_491-1_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_491-1_0_3_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_491-1_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_491-1_0_3_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_491-1_0_3_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_491-1_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_491-1_0_3_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_491-1_0_3_node_96 | 0.4 | n |  | TRUE
60 | bus_LV_491-1_0_3_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_491-1_0_3_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_491-1_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_491-1_0_3_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_491-1_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_491-1_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_491-1_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_491-1_0_3_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_491-1_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_491-1_0_3_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_491-1_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_491-1_0_3_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_491-1_0_3_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_491-1_0_3_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_491-1_0_3_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_491-1_0_3_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_491-1_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_491-1_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_491-1_0_3_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_491-1_0_3_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_491-1_0_3_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_491-1_0_3_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_491-1_0_3_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_491-1_0_3_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_491-1_0_3_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_491-1_0_3_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_491-1_0_3_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_491-1_0_3_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_491-1_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_491-1_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_491-1_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_491-1_0_3_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_491-1_0_3_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_491-1_0_3_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_491-1_0_3_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_491-1_0_3_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_491-1_0_3_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_491-1_0_3_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_491-1_0_3_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_491-1_0_3_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_491-1_0_3_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_491-1_0_3_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_491-1_0_3_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_491-1_0_3_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_491-1_0_3_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_491-1_0_3_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_491-1_0_3_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_491-1_0_3_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_491-1_0_3_node_108 | 0.4 | n |  | TRUE
109 | bus_MV_324_1_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_491-1_0_3_load_0 | 0 | 0.0046495 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_491-1_0_3_load_1 | 1 | 0.0020189 | 0.000506 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_491-1_0_3_load_2 | 2 | 0.0010951 | 0.00027446 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_491-1_0_3_load_3 | 3 | 0.00076497 | 0.00019172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_491-1_0_3_load_4 | 4 | 0.0024647 | 0.0006177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_491-1_0_3_load_68 | 5 | 0.0030977 | 0.00077635 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_491-1_0_3_load_67 | 6 | 0.0085027 | 0.002131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_491-1_0_3_load_88 | 7 | 0.0015729 | 0.00039421 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_491-1_0_3_load_66 | 8 | 0.0023473 | 0.00058829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_491-1_0_3_load_5 | 9 | 0.0030098 | 0.00075432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_491-1_0_3_load_6 | 10 | 0.0055828 | 0.0013992 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_491-1_0_3_load_8 | 12 | 0.0014569 | 0.00036512 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_491-1_0_3_load_9 | 13 | 0.0023468 | 0.00058816 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_491-1_0_3_load_10 | 14 | 0.005133 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_491-1_0_3_load_56 | 15 | 0.0021036 | 0.00052721 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_491-1_0_3_load_11 | 16 | 0.0027164 | 0.00068079 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_491-1_0_3_load_30 | 17 | 0.0010377 | 0.00026007 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_491-1_0_3_load_24 | 18 | 0.0030472 | 0.00076369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_491-1_0_3_load_12 | 19 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_491-1_0_3_load_31 | 20 | 0.0011858 | 0.00029719 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_491-1_0_3_load_13 | 21 | 0.0021177 | 0.00053074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_491-1_0_3_load_14 | 22 | 0.0012704 | 0.00031839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_491-1_0_3_load_15 | 23 | 0.0029219 | 0.00073229 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_491-1_0_3_load_16 | 24 | 0.001982 | 0.00049674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_491-1_0_3_load_17 | 25 | 0.0011174 | 0.00028005 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_491-1_0_3_load_53 | 26 | 0.0028971 | 0.00072609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_491-1_0_3_load_54 | 28 | 0.00071152 | 0.00017832 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_491-1_0_3_load_101 | 29 | 0.0011218 | 0.00028115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_491-1_0_3_load_83 | 30 | 0.00086695 | 0.00021728 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_491-1_0_3_load_18 | 31 | 0.0049272 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_491-1_0_3_load_19 | 32 | 0.0014001 | 0.00035091 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_491-1_0_3_load_21 | 34 | 0.000987 | 0.00024737 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_491-1_0_3_load_23 | 36 | 0.00063826 | 0.00015996 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_491-1_0_3_load_89 | 37 | 0.0013383 | 0.00033542 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_491-1_0_3_load_50 | 38 | 0.0043302 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_491-1_0_3_load_62 | 39 | 0.00098685 | 0.00024733 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_491-1_0_3_load_33 | 40 | 0.00249 | 0.00062404 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_491-1_0_3_load_49 | 41 | 0.0062355 | 0.0015628 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_491-1_0_3_load_63 | 42 | 0.0012207 | 0.00030594 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_491-1_0_3_load_34 | 43 | 0.0023286 | 0.0005836 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_491-1_0_3_load_25 | 44 | 0.0013366 | 0.00033499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_491-1_0_3_load_26 | 45 | 0.00076771 | 0.00019241 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_491-1_0_3_load_105 | 47 | 0.0014126 | 0.00035403 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_491-1_0_3_load_28 | 48 | 0.0032645 | 0.00081815 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_491-1_0_3_load_29 | 49 | 0.00063748 | 0.00015977 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_491-1_0_3_load_42 | 50 | 0.00066365 | 0.00016633 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_491-1_0_3_load_100 | 51 | 0.00064441 | 0.00016151 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_491-1_0_3_load_106 | 53 | 0.0017493 | 0.00043841 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_491-1_0_3_load_58 | 54 | 0.0012297 | 0.0003082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_491-1_0_3_load_102 | 55 | 0.0017745 | 0.00044473 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_491-1_0_3_load_81 | 56 | 0.00041366 | 0.00010367 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_491-1_0_3_load_35 | 57 | 0.00068698 | 0.00017217 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_491-1_0_3_load_95 | 58 | 0.001836 | 0.00046014 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_491-1_0_3_load_96 | 59 | 0.0037324 | 0.00093542 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_491-1_0_3_load_36 | 60 | 0.0022794 | 0.00057127 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_491-1_0_3_load_39 | 62 | 0.0052987 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_491-1_0_3_load_40 | 63 | 0.0012196 | 0.00030565 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_491-1_0_3_load_41 | 64 | 0.0018622 | 0.0004667 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_491-1_0_3_load_43 | 65 | 0.00033417 | 8.3751e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_491-1_0_3_load_57 | 66 | 0.00075378 | 0.00018892 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_491-1_0_3_load_103 | 67 | 0.002216 | 0.00055538 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_491-1_0_3_load_85 | 68 | 0.00034317 | 8.6005e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_491-1_0_3_load_104 | 69 | 0.0080859 | 0.0020265 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_491-1_0_3_load_84 | 70 | 0.0015833 | 0.00039682 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_491-1_0_3_load_44 | 71 | 0.0029474 | 0.00073869 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_491-1_0_3_load_45 | 72 | 0.00058977 | 0.00014781 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_491-1_0_3_load_46 | 73 | 0.0013187 | 0.0003305 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_491-1_0_3_load_47 | 74 | 0.0010639 | 0.00026663 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_491-1_0_3_load_48 | 75 | 0.00086354 | 0.00021642 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_491-1_0_3_load_74 | 76 | 0.0020357 | 0.00051019 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_491-1_0_3_load_82 | 77 | 0.00072921 | 0.00018276 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_491-1_0_3_load_90 | 78 | 0.00069194 | 0.00017342 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_491-1_0_3_load_51 | 79 | 0.0036395 | 0.00091215 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_491-1_0_3_load_52 | 80 | 0.0017976 | 0.00045051 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_491-1_0_3_load_98 | 81 | 0.0042703 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_491-1_0_3_load_99 | 82 | 0.010937 | 0.002741 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_491-1_0_3_load_55 | 83 | 0.00097411 | 0.00024413 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_491-1_0_3_load_64 | 84 | 0.0036281 | 0.00090929 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_491-1_0_3_load_59 | 85 | 0.0014095 | 0.00035324 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_491-1_0_3_load_60 | 86 | 0.0016505 | 0.00041366 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_491-1_0_3_load_61 | 87 | 0.0011612 | 0.00029101 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_491-1_0_3_load_79 | 88 | 0.0016371 | 0.00041029 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_491-1_0_3_load_80 | 89 | 0.004204 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_491-1_0_3_load_78 | 90 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_491-1_0_3_load_65 | 91 | 0.0018593 | 0.00046599 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_491-1_0_3_load_69 | 92 | 0.0015799 | 0.00039596 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_491-1_0_3_load_70 | 93 | 0.0015069 | 0.00037766 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_491-1_0_3_load_71 | 94 | 0.0018219 | 0.00045662 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_491-1_0_3_load_72 | 95 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_491-1_0_3_load_73 | 96 | 0.00036409 | 9.1249e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_491-1_0_3_load_75 | 98 | 0.0032346 | 0.00081068 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_491-1_0_3_load_76 | 99 | 0.0019449 | 0.00048743 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_491-1_0_3_load_92 | 100 | 0.0027148 | 0.0006804 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_491-1_0_3_load_91 | 101 | 0.0029865 | 0.0007485 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_491-1_0_3_load_86 | 102 | 0.0005142 | 0.00012887 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_491-1_0_3_load_87 | 103 | 0.00068612 | 0.00017196 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_491-1_0_3_load_93 | 104 | 0.0035436 | 0.00088812 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_491-1_0_3_load_94 | 105 | 0.0026909 | 0.0006744 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_491-1_0_3_load_97 | 106 | 0.0061102 | 0.0015314 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_491-1_0_3_load_108 | 108 | 0.013696 | 0.0034325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_491-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_491-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_491-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0074904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_491-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00052246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_491-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0078016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_491-1_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0042055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_491-1_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.00035422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_491-1_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.024561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_491-1_0_3_line_8 | NAYY 4x150 SE | 7 | 37 | 0.0063213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_491-1_0_3_line_9 | NAYY 4x150 SE | 8 | 91 | 0.0026803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_491-1_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.018425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_491-1_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.013878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_491-1_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0016004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_491-1_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.012456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_491-1_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.037755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_491-1_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.012302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_491-1_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.011402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_491-1_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 1.5461e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_491-1_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.031743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_491-1_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.015959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_491-1_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.028198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_491-1_0_3_line_21 | NAYY 4x150 SE | 18 | 33 | 0.019527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_491-1_0_3_line_22 | NAYY 4x150 SE | 20 | 54 | 0.0035162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_491-1_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.020923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_491-1_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0089218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_491-1_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0019751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_491-1_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.015179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_491-1_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0099883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_491-1_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.026983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_491-1_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0053046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_491-1_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.00644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_491-1_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.01329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_491-1_0_3_line_32 | NAYY 4x150 SE | 28 | 83 | 0.0035359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_491-1_0_3_line_33 | NAYY 4x150 SE | 29 | 55 | 0.014236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_491-1_0_3_line_34 | NAYY 4x150 SE | 30 | 56 | 0.016227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_491-1_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.0036043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_491-1_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.023549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_491-1_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0091775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_491-1_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.027692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_491-1_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.033329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_491-1_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.012059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_491-1_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.012665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_491-1_0_3_line_42 | NAYY 4x150 SE | 35 | 39 | 0.02156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_491-1_0_3_line_43 | NAYY 4x150 SE | 36 | 40 | 0.012875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_491-1_0_3_line_44 | NAYY 4x150 SE | 38 | 41 | 0.037597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_491-1_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.018422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_491-1_0_3_line_46 | NAYY 4x150 SE | 40 | 43 | 0.0036571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_491-1_0_3_line_47 | NAYY 4x150 SE | 41 | 79 | 0.0088591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_491-1_0_3_line_48 | NAYY 4x150 SE | 42 | 84 | 0.013263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_491-1_0_3_line_49 | NAYY 4x150 SE | 43 | 57 | 0.02262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_491-1_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.064887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_491-1_0_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.023915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_491-1_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_491-1_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_491-1_0_3_line_54 | NAYY 4x150 SE | 46 | 49 | 0.016571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_491-1_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.021474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_491-1_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.0016141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_491-1_0_3_line_57 | NAYY 4x150 SE | 50 | 52 | 0.0088913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_491-1_0_3_line_58 | NAYY 4x150 SE | 51 | 53 | 0.25295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_491-1_0_3_line_59 | NAYY 4x150 SE | 52 | 65 | 0.011916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_491-1_0_3_line_60 | NAYY 4x150 SE | 52 | 60 | 0.014537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_491-1_0_3_line_61 | NAYY 4x150 SE | 53 | 107 | 0.40475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_491-1_0_3_line_62 | NAYY 4x150 SE | 56 | 77 | 0.0029273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_491-1_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.00040177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_491-1_0_3_line_64 | NAYY 4x150 SE | 58 | 59 | 0.014438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_491-1_0_3_line_65 | NAYY 4x150 SE | 59 | 63 | 0.005259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_491-1_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.047885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_491-1_0_3_line_67 | NAYY 4x150 SE | 61 | 62 | 0.031002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_491-1_0_3_line_68 | NAYY 4x150 SE | 61 | 63 | 0.019818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_491-1_0_3_line_69 | NAYY 4x150 SE | 61 | 64 | 0.024059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_491-1_0_3_line_70 | NAYY 4x150 SE | 62 | 66 | 0.008509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_491-1_0_3_line_71 | NAYY 4x150 SE | 64 | 67 | 0.0067633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_491-1_0_3_line_72 | NAYY 4x150 SE | 65 | 68 | 0.0059911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_491-1_0_3_line_73 | NAYY 4x150 SE | 67 | 69 | 0.029944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_491-1_0_3_line_74 | NAYY 4x150 SE | 68 | 70 | 0.0069169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_491-1_0_3_line_75 | NAYY 4x150 SE | 70 | 102 | 0.014981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_491-1_0_3_line_76 | NAYY 4x150 SE | 71 | 72 | 0.011923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_491-1_0_3_line_77 | NAYY 4x150 SE | 71 | 73 | 0.0098595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_491-1_0_3_line_78 | NAYY 4x150 SE | 72 | 74 | 0.034381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_491-1_0_3_line_79 | NAYY 4x150 SE | 73 | 75 | 0.022848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_491-1_0_3_line_80 | NAYY 4x150 SE | 74 | 76 | 0.008392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_491-1_0_3_line_81 | NAYY 4x150 SE | 75 | 77 | 0.0082345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_491-1_0_3_line_82 | NAYY 4x150 SE | 76 | 78 | 0.022207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_491-1_0_3_line_83 | NAYY 4x150 SE | 78 | 96 | 0.00741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_491-1_0_3_line_84 | NAYY 4x150 SE | 79 | 80 | 0.003599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_491-1_0_3_line_85 | NAYY 4x150 SE | 80 | 81 | 0.018652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_491-1_0_3_line_86 | NAYY 4x150 SE | 81 | 82 | 0.015829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_491-1_0_3_line_87 | NAYY 4x150 SE | 82 | 106 | 0.024626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_491-1_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.011816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_491-1_0_3_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0052298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_491-1_0_3_line_90 | NAYY 4x150 SE | 86 | 87 | 0.002142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_491-1_0_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.053472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_491-1_0_3_line_92 | NAYY 4x150 SE | 88 | 89 | 0.017251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_491-1_0_3_line_93 | NAYY 4x150 SE | 88 | 90 | 0.0078364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_491-1_0_3_line_94 | NAYY 4x150 SE | 89 | 100 | 0.0010442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_491-1_0_3_line_95 | NAYY 4x150 SE | 92 | 93 | 0.046287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_491-1_0_3_line_96 | NAYY 4x150 SE | 92 | 94 | 0.015985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_491-1_0_3_line_97 | NAYY 4x150 SE | 93 | 95 | 0.032169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_491-1_0_3_line_98 | NAYY 4x150 SE | 94 | 96 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_491-1_0_3_line_99 | NAYY 4x150 SE | 95 | 97 | 0.030994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_491-1_0_3_line_100 | NAYY 4x150 SE | 97 | 98 | 0.0060071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_491-1_0_3_line_101 | NAYY 4x150 SE | 98 | 99 | 0.029451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_491-1_0_3_line_102 | NAYY 4x150 SE | 100 | 101 | 0.033951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_491-1_0_3_line_103 | NAYY 4x150 SE | 101 | 104 | 0.0087595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_491-1_0_3_line_104 | NAYY 4x150 SE | 102 | 103 | 0.0099591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_491-1_0_3_line_105 | NAYY 4x150 SE | 104 | 105 | 0.0056134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_491-1_0_3_line_106 | NAYY 4x150 SE | 105 | 106 | 0.014182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_491-1_0_3_line_107 | NAYY 4x150 SE | 107 | 108 | 0.013496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_491-1_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 109 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2577944.6456 | 1207969.543 | 2577937.2692 | 1207960.1127
1 | 2577944.6456 | 1207969.543 | 2577956.6876 | 1207984.9381
2 | 2577937.2692 | 1207960.1127 | 2577932.6543 | 1207954.2128
3 | 2577957.0095 | 1207985.3496 | 2577956.6876 | 1207984.9381
4 | 2577927.8476 | 1207948.0678 | 2577932.6543 | 1207954.2128
5 | 2577957.0095 | 1207985.3496 | 2577959.6005 | 1207988.6621
6 | 2577927.8476 | 1207948.0678 | 2577927.6294 | 1207947.7888
7 | 2577959.6005 | 1207988.6621 | 2577974.7328 | 1208008.0079
8 | 2577927.6294 | 1207947.7888 | 2577923.7348 | 1207942.8098
9 | 2577976.3841 | 1208010.1191 | 2577974.7328 | 1208008.0079
10 | 2577851.0039 | 1207833.7549 | 2577858.5424 | 1207850.5676
11 | 2577845.3258 | 1207821.0913 | 2577851.0039 | 1207833.7549
12 | 2577858.5424 | 1207850.5676 | 2577859.1972 | 1207852.028
13 | 2577845.3258 | 1207821.0913 | 2577840.0592 | 1207809.8038
14 | 2577845.3258 | 1207821.0913 | 2577875.2472 | 1207798.0668
15 | 2577864.7707 | 1207862.9773 | 2577861.778 | 1207857.7838 | 2577859.1972 | 1207852.028
16 | 2577840.0592 | 1207809.8038 | 2577835.2382 | 1207799.4716
17 | 2577875.2594 | 1207798.0573 | 2577875.2472 | 1207798.0668
18 | 2577880.6191 | 1207890.4804 | 2577864.7707 | 1207862.9773
19 | 2577835.2382 | 1207799.4716 | 2577828.4901 | 1207785.0092
20 | 2577897.6071 | 1207780.8607 | 2577875.2594 | 1207798.0573
21 | 2577892.5502 | 1207905.8849 | 2577882.477 | 1207893.7045 | 2577880.6191 | 1207890.4804
22 | 2577897.6071 | 1207780.8607 | 2577900.3938 | 1207778.7164
23 | 2577843.145 | 1208028.5676 | 2577851.4924 | 1208012.9863 | 2577852.8322 | 1208010.0294
24 | 2577843.145 | 1208028.5676 | 2577838.9318 | 1208036.4319
25 | 2577853.6474 | 1208008.2304 | 2577852.8322 | 1208010.0294
26 | 2577838.9318 | 1208036.4319 | 2577838.2498 | 1208037.7049 | 2577832.4804 | 1208050.1688
27 | 2577857.7698 | 1207999.1325 | 2577853.6474 | 1208008.2304
28 | 2577821.1454 | 1208074.656 | 2577832.4804 | 1208050.1688
29 | 2577857.7698 | 1207999.1325 | 2577859.9591 | 1207994.3008
30 | 2577821.1454 | 1208074.656 | 2577824.8646 | 1208079.9134
31 | 2577821.1454 | 1208074.656 | 2577809.0417 | 1208069.1681
32 | 2577861.2005 | 1207991.0024 | 2577860.8426 | 1207992.351 | 2577859.9591 | 1207994.3008
33 | 2577833.0863 | 1208091.5358 | 2577824.8646 | 1208079.9134
34 | 2577793.5937 | 1208064.8231 | 2577801.7873 | 1208065.8789 | 2577809.0417 | 1208069.1681
35 | 2577908.4304 | 1207923.2439 | 2577910.651 | 1207926.0828
36 | 2577892.5502 | 1207905.8849 | 2577904.9296 | 1207918.7683 | 2577908.4304 | 1207923.2439
37 | 2577910.651 | 1207926.0828 | 2577916.3053 | 1207933.3116
38 | 2577892.5502 | 1207905.8849 | 2577876.7684 | 1207928.6674
39 | 2577892.5502 | 1207905.8849 | 2577916.736 | 1207882.9529
40 | 2577923.7348 | 1207942.8098 | 2577916.3053 | 1207933.3116
41 | 2577876.7684 | 1207928.6674 | 2577864.1929 | 1207930.1672
42 | 2577876.7684 | 1207928.6674 | 2577868.5081 | 1207945.9967 | 2577868.4081 | 1207948.3569
43 | 2577916.736 | 1207882.9529 | 2577926.0786 | 1207874.0947
44 | 2577826.8316 | 1207934.2877 | 2577832.0242 | 1207934.0037 | 2577864.1929 | 1207930.1672
45 | 2577868.4081 | 1207948.3569 | 2577867.6288 | 1207966.7622
46 | 2577928.7325 | 1207871.5784 | 2577926.0786 | 1207874.0947
47 | 2577826.8316 | 1207934.2877 | 2577817.9858 | 1207934.7716
48 | 2577867.6288 | 1207966.7622 | 2577867.6276 | 1207966.7893 | 2577864.2319 | 1207979.582
49 | 2577945.1468 | 1207856.015 | 2577928.7325 | 1207871.5784
50 | 2578046.4059 | 1207747.9259 | 2578044.5883 | 1207745.6767 | 2578018.3201 | 1207718.8255 | 2578003.0485 | 1207699.7544
51 | 2578061.4371 | 1207766.5261 | 2578046.4059 | 1207747.9259
52 | 2578003.0485 | 1207699.7544 | 2577943.3636 | 1207635.4966
53 | 2578061.4371 | 1207766.5261 | 2578048.3233 | 1207773.7306
54 | 2578061.4371 | 1207766.5261 | 2578075.2142 | 1207757.3172
55 | 2578048.3233 | 1207773.7306 | 2578029.5023 | 1207784.0705
56 | 2578075.2142 | 1207757.3172 | 2578076.5561 | 1207756.4202
57 | 2578021.7096 | 1207788.3517 | 2578029.5023 | 1207784.0705
58 | 2578076.5561 | 1207756.4202 | 2578327.2668 | 1207722.854
59 | 2578021.7096 | 1207788.3517 | 2578014.9938 | 1207778.5083
60 | 2578021.7096 | 1207788.3517 | 2578010.0502 | 1207797.0342
61 | 2578327.2668 | 1207722.854 | 2578275.083 | 1207321.483
62 | 2577793.5937 | 1208064.8231 | 2577790.6904 | 1208064.449
63 | 2577945.4384 | 1207855.7386 | 2577945.1468 | 1207856.015
64 | 2577955.9157 | 1207845.8044 | 2577945.4384 | 1207855.7386
65 | 2577959.732 | 1207842.186 | 2577955.9157 | 1207845.8044
66 | 2577974.1133 | 1207828.5502 | 2577980.3498 | 1207823.0018 | 2577996.8487 | 1207806.8651 | 2578010.0502 | 1207797.0342
67 | 2577974.1133 | 1207828.5502 | 2577950.0666 | 1207808.9822
68 | 2577974.1133 | 1207828.5502 | 2577959.732 | 1207842.186
69 | 2577974.1133 | 1207828.5502 | 2577991.8501 | 1207844.8054
70 | 2577950.0666 | 1207808.9822 | 2577943.4667 | 1207803.6116
71 | 2577996.8361 | 1207849.375 | 2577991.8501 | 1207844.8054
72 | 2578011.6172 | 1207773.5593 | 2578014.9938 | 1207778.5083
73 | 2578020.2126 | 1207846.0782 | 2578010.4625 | 1207855.4084 | 2578007.4335 | 1207856.6202 | 2578003.8343 | 1207855.7886 | 2577996.8361 | 1207849.375
74 | 2578007.7189 | 1207767.8456 | 2578011.6172 | 1207773.5593
75 | 2578007.7189 | 1207767.8456 | 2577999.2757 | 1207755.4704
76 | 2577750.0971 | 1208059.1201 | 2577748.9018 | 1208058.9617 | 2577738.3198 | 1208057.2665
77 | 2577750.0971 | 1208059.1201 | 2577759.8712 | 1208060.4155
78 | 2577738.3198 | 1208057.2665 | 2577717.097 | 1208053.8668 | 2577704.4158 | 1208051.5719
79 | 2577759.8712 | 1208060.4155 | 2577776.8013 | 1208062.6594 | 2577782.5234 | 1208063.3967
80 | 2577704.4158 | 1208051.5719 | 2577696.1579 | 1208050.0774
81 | 2577790.6904 | 1208064.449 | 2577782.5234 | 1208063.3967
82 | 2577674.3788 | 1208045.7431 | 2577691.4593 | 1208049.2271 | 2577696.1579 | 1208050.0774
83 | 2577674.3788 | 1208045.7431 | 2577667.1183 | 1208044.2622
84 | 2577814.3921 | 1207934.9681 | 2577817.9858 | 1207934.7716
85 | 2577814.3921 | 1207934.9681 | 2577812.3908 | 1207935.0776 | 2577795.761 | 1207934.3059 | 2577795.761 | 1207934.3059
86 | 2577780.4121 | 1207930.4389 | 2577787.0476 | 1207932.0372 | 2577795.761 | 1207934.3059
87 | 2577780.4121 | 1207930.4389 | 2577770.8202 | 1207925.0162 | 2577761.6408 | 1207914.9708
88 | 2577861.2005 | 1207991.0024 | 2577864.2319 | 1207979.582
89 | 2577757.0839 | 1207821.7596 | 2577754.3025 | 1207817.3308
90 | 2577758.2231 | 1207823.5735 | 2577757.0839 | 1207821.7596
91 | 2577712.3942 | 1207851.1238 | 2577758.2231 | 1207823.5735
92 | 2577723.3256 | 1207864.4448 | 2577714.9397 | 1207853.7079 | 2577712.3942 | 1207851.1238
93 | 2577706.8949 | 1207845.5411 | 2577712.3942 | 1207851.1238
94 | 2577723.9683 | 1207865.2678 | 2577723.3256 | 1207864.4448
95 | 2577641.6485 | 1208037.719 | 2577625.9646 | 1208033.1421 | 2577608.6733 | 1208030.25 | 2577596.258 | 1208030.0013
96 | 2577641.6485 | 1208037.719 | 2577656.9938 | 1208042.1971
97 | 2577564.6145 | 1208025.5125 | 2577581.1123 | 1208029.698 | 2577596.258 | 1208030.0013
98 | 2577667.1183 | 1208044.2622 | 2577656.9938 | 1208042.1971 | 2577656.9938 | 1208042.1971
99 | 2577535.1868 | 1208015.8859 | 2577555.4217 | 1208023.1802 | 2577564.6145 | 1208025.5125
100 | 2577535.1868 | 1208015.8859 | 2577529.219 | 1208015.1995
101 | 2577529.219 | 1208015.1995 | 2577499.961 | 1208011.8339
102 | 2577743.0762 | 1207893.2794 | 2577740.7978 | 1207890.576 | 2577727.7357 | 1207870.0913 | 2577723.9683 | 1207865.2678
103 | 2577743.0762 | 1207893.2794 | 2577748.7214 | 1207899.9772
104 | 2577993.6628 | 1207747.2437 | 2577999.2757 | 1207755.4704
105 | 2577748.7214 | 1207899.9772 | 2577752.339 | 1207904.2695
106 | 2577752.339 | 1207904.2695 | 2577758.0029 | 1207910.9897 | 2577761.6408 | 1207914.9708
107 | 2578275.083 | 1207321.483 | 2578286.8437 | 1207314.803

## bus_geodata
| x | y | coords
0 | 2577944.6456 | 1207969.543
1 | 2577937.2692 | 1207960.1127
2 | 2577956.6876 | 1207984.9381
3 | 2577932.6543 | 1207954.2128
4 | 2577957.0095 | 1207985.3496
5 | 2577927.8476 | 1207948.0678
6 | 2577959.6005 | 1207988.6621
7 | 2577927.6294 | 1207947.7888
8 | 2577974.7328 | 1208008.0079
9 | 2577851.0039 | 1207833.7549
10 | 2577858.5424 | 1207850.5676
11 | 2577845.3258 | 1207821.0913
12 | 2577859.1972 | 1207852.028
13 | 2577840.0592 | 1207809.8038
14 | 2577875.2472 | 1207798.0668
15 | 2577864.7707 | 1207862.9773
16 | 2577835.2382 | 1207799.4716
17 | 2577875.2594 | 1207798.0573
18 | 2577880.6191 | 1207890.4804
19 | 2577828.4901 | 1207785.0092
20 | 2577897.6071 | 1207780.8607
21 | 2577843.145 | 1208028.5676
22 | 2577852.8322 | 1208010.0294
23 | 2577838.9318 | 1208036.4319
24 | 2577853.6474 | 1208008.2304
25 | 2577832.4804 | 1208050.1688
26 | 2577857.7698 | 1207999.1325
27 | 2577821.1454 | 1208074.656
28 | 2577859.9591 | 1207994.3008
29 | 2577824.8646 | 1208079.9134
30 | 2577809.0417 | 1208069.1681
31 | 2577908.4304 | 1207923.2439
32 | 2577910.651 | 1207926.0828
33 | 2577892.5502 | 1207905.8849
34 | 2577916.3053 | 1207933.3116
35 | 2577876.7684 | 1207928.6674
36 | 2577916.736 | 1207882.9529
37 | 2577923.7348 | 1207942.8098
38 | 2577864.1929 | 1207930.1672
39 | 2577868.4081 | 1207948.3569
40 | 2577926.0786 | 1207874.0947
41 | 2577826.8316 | 1207934.2878
42 | 2577867.6288 | 1207966.7622
43 | 2577928.7325 | 1207871.5784
44 | 2578046.4059 | 1207747.9259
45 | 2578003.0485 | 1207699.7544
46 | 2578061.4371 | 1207766.5261
47 | 2577943.3636 | 1207635.4966
48 | 2578048.3233 | 1207773.7306
49 | 2578075.2142 | 1207757.3172
50 | 2578029.5023 | 1207784.0705
51 | 2578076.5561 | 1207756.4202
52 | 2578021.7096 | 1207788.3517
53 | 2578327.2668 | 1207722.854
54 | 2577900.3938 | 1207778.7164
55 | 2577833.0863 | 1208091.5358
56 | 2577793.5937 | 1208064.8231
57 | 2577945.1468 | 1207856.015
58 | 2577945.4384 | 1207855.7386
59 | 2577955.9157 | 1207845.8044
60 | 2578010.0502 | 1207797.0342
61 | 2577974.1133 | 1207828.5502
62 | 2577950.0666 | 1207808.9822
63 | 2577959.732 | 1207842.186
64 | 2577991.8501 | 1207844.8054
65 | 2578014.9938 | 1207778.5083
66 | 2577943.4667 | 1207803.6116
67 | 2577996.8361 | 1207849.375
68 | 2578011.6172 | 1207773.5593
69 | 2578020.2126 | 1207846.0782
70 | 2578007.7189 | 1207767.8456
71 | 2577750.0971 | 1208059.1201
72 | 2577738.3198 | 1208057.2665
73 | 2577759.8712 | 1208060.4155
74 | 2577704.4158 | 1208051.5719
75 | 2577782.5234 | 1208063.3967
76 | 2577696.1579 | 1208050.0774
77 | 2577790.6904 | 1208064.449
78 | 2577674.3788 | 1208045.7431
79 | 2577817.9858 | 1207934.7716
80 | 2577814.3921 | 1207934.9681
81 | 2577795.761 | 1207934.3059
82 | 2577780.4121 | 1207930.4389
83 | 2577861.2005 | 1207991.0024
84 | 2577864.2319 | 1207979.582
85 | 2577754.3025 | 1207817.3308
86 | 2577757.0839 | 1207821.7596
87 | 2577758.2231 | 1207823.5735
88 | 2577712.3942 | 1207851.1238
89 | 2577723.3256 | 1207864.4448
90 | 2577706.8949 | 1207845.5411
91 | 2577976.3841 | 1208010.1191
92 | 2577641.6485 | 1208037.719
93 | 2577596.258 | 1208030.0013
94 | 2577656.9938 | 1208042.1971
95 | 2577564.6145 | 1208025.5125
96 | 2577667.1183 | 1208044.2622
97 | 2577535.1868 | 1208015.8859
98 | 2577529.219 | 1208015.1995
99 | 2577499.961 | 1208011.8339
100 | 2577723.9683 | 1207865.2678
101 | 2577743.0762 | 1207893.2794
102 | 2577999.2757 | 1207755.4704
103 | 2577993.6628 | 1207747.2437
104 | 2577748.7214 | 1207899.9772
105 | 2577752.339 | 1207904.2695
106 | 2577761.6408 | 1207914.9708
107 | 2578275.083 | 1207321.483
108 | 2578286.8437 | 1207314.803
109 | 2577892.5502 | 1207905.8849

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1