## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4911-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4911-14_0_3_node_85 | 0.4 | n |  | TRUE
2 | bus_LV_4911-14_0_3_node_93 | 0.4 | n |  | TRUE
3 | bus_LV_4911-14_0_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_4911-14_0_3_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_4911-14_0_3_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_4911-14_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4911-14_0_3_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_4911-14_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_4911-14_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_4911-14_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_4911-14_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4911-14_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4911-14_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4911-14_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4911-14_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4911-14_0_3_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_4911-14_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_4911-14_0_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_4911-14_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4911-14_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4911-14_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4911-14_0_3_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_4911-14_0_3_node_84 | 0.4 | n |  | TRUE
24 | bus_LV_4911-14_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_4911-14_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4911-14_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4911-14_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4911-14_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4911-14_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4911-14_0_3_node_113 | 0.4 | n |  | TRUE
31 | bus_LV_4911-14_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4911-14_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4911-14_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4911-14_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4911-14_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4911-14_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4911-14_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4911-14_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4911-14_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4911-14_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_4911-14_0_3_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_4911-14_0_3_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_4911-14_0_3_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_4911-14_0_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_4911-14_0_3_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_4911-14_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4911-14_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4911-14_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4911-14_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4911-14_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4911-14_0_3_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_4911-14_0_3_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_4911-14_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_4911-14_0_3_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_4911-14_0_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_4911-14_0_3_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_4911-14_0_3_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_4911-14_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4911-14_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4911-14_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4911-14_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4911-14_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4911-14_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4911-14_0_3_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_4911-14_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4911-14_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_4911-14_0_3_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_4911-14_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4911-14_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4911-14_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_4911-14_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4911-14_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4911-14_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4911-14_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4911-14_0_3_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_4911-14_0_3_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_4911-14_0_3_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_4911-14_0_3_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_4911-14_0_3_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_4911-14_0_3_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4911-14_0_3_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_4911-14_0_3_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_4911-14_0_3_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4911-14_0_3_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_4911-14_0_3_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_4911-14_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_4911-14_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_4911-14_0_3_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_4911-14_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_4911-14_0_3_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_4911-14_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4911-14_0_3_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_4911-14_0_3_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_4911-14_0_3_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_4911-14_0_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_4911-14_0_3_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_4911-14_0_3_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_4911-14_0_3_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4911-14_0_3_node_111 | 0.4 | n |  | TRUE
100 | bus_LV_4911-14_0_3_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_4911-14_0_3_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_4911-14_0_3_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_4911-14_0_3_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_4911-14_0_3_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_4911-14_0_3_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_4911-14_0_3_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_4911-14_0_3_node_106 | 0.4 | n |  | TRUE
108 | bus_MV_487_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4911-14_0_3_load_0 | 0 | 0.0066839 | 0.0016751 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4911-14_0_3_load_85 | 1 | 0.00057766 | 0.00014478 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4911-14_0_3_load_93 | 2 | 0.0030434 | 0.00076275 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4911-14_0_3_load_1 | 4 | 0.00065836 | 0.000165 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4911-14_0_3_load_2 | 5 | 0.0031549 | 0.0007907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4911-14_0_3_load_17 | 6 | 0.00075014 | 0.000188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4911-14_0_3_load_43 | 7 | 0.0012599 | 0.00031575 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4911-14_0_3_load_18 | 9 | 0.0027802 | 0.00069678 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4911-14_0_3_load_13 | 10 | 0.0027782 | 0.00069627 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4911-14_0_3_load_15 | 11 | 0.00062579 | 0.00015684 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4911-14_0_3_load_7 | 12 | 0.0032114 | 0.00080486 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4911-14_0_3_load_14 | 13 | 0.00070954 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4911-14_0_3_load_8 | 15 | 0.00060853 | 0.00015251 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4911-14_0_3_load_5 | 16 | 0.004339 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4911-14_0_3_load_36 | 17 | 0.00091984 | 0.00023053 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4911-14_0_3_load_35 | 18 | 0.00033953 | 8.5095e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4911-14_0_3_load_9 | 19 | 0.0047471 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4911-14_0_3_load_10 | 20 | 0.00071144 | 0.0001783 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4911-14_0_3_load_11 | 21 | 0.002619 | 0.00065638 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4911-14_0_3_load_83 | 22 | 0.0018403 | 0.00046123 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4911-14_0_3_load_84 | 23 | 0.0016799 | 0.00042101 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4911-14_0_3_load_29 | 24 | 0.0017103 | 0.00042864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4911-14_0_3_load_30 | 25 | 0.0006411 | 0.00016068 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4911-14_0_3_load_19 | 26 | 0.00062097 | 0.00015563 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4911-14_0_3_load_20 | 27 | 0.00073895 | 0.0001852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4911-14_0_3_load_23 | 29 | 0.00092669 | 0.00023225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4911-14_0_3_load_113 | 30 | 0.0013118 | 0.00032878 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4911-14_0_3_load_24 | 31 | 0.0013414 | 0.00033618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4911-14_0_3_load_25 | 32 | 0.0016366 | 0.00041016 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4911-14_0_3_load_26 | 33 | 0.0016455 | 0.00041241 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4911-14_0_3_load_27 | 34 | 0.0022475 | 0.00056327 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4911-14_0_3_load_28 | 35 | 0.0014678 | 0.00036786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4911-14_0_3_load_33 | 37 | 0.0035343 | 0.00088577 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4911-14_0_3_load_34 | 38 | 0.0027385 | 0.00068634 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4911-14_0_3_load_31 | 39 | 0.00090917 | 0.00022786 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4911-14_0_3_load_42 | 40 | 0.00059886 | 0.00015009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4911-14_0_3_load_99 | 41 | 0.00075118 | 0.00018826 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4911-14_0_3_load_67 | 42 | 0.0030924 | 0.00077502 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4911-14_0_3_load_90 | 43 | 0.00084081 | 0.00021073 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4911-14_0_3_load_54 | 44 | 0.0023014 | 0.00057679 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4911-14_0_3_load_91 | 45 | 0.0041114 | 0.0010304 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4911-14_0_3_load_37 | 46 | 0.0019669 | 0.00049296 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4911-14_0_3_load_38 | 47 | 0.0016126 | 0.00040417 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4911-14_0_3_load_39 | 48 | 0.0036731 | 0.00092058 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4911-14_0_3_load_41 | 50 | 0.002697 | 0.00067593 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4911-14_0_3_load_66 | 51 | 0.00083088 | 0.00020824 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4911-14_0_3_load_60 | 52 | 0.0010803 | 0.00027075 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4911-14_0_3_load_94 | 53 | 0.0019526 | 0.00048937 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4911-14_0_3_load_59 | 55 | 0.0014431 | 0.00036168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4911-14_0_3_load_100 | 57 | 0.003062 | 0.00076741 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4911-14_0_3_load_44 | 58 | 0.0025128 | 0.00062976 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4911-14_0_3_load_45 | 59 | 0.0018924 | 0.00047428 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4911-14_0_3_load_46 | 60 | 0.0022845 | 0.00057256 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4911-14_0_3_load_47 | 61 | 0.0015671 | 0.00039275 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4911-14_0_3_load_48 | 62 | 0.0032853 | 0.00082337 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4911-14_0_3_load_56 | 63 | 0.0022645 | 0.00056754 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4911-14_0_3_load_57 | 65 | 0.0019181 | 0.00048071 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4911-14_0_3_load_53 | 66 | 0.0017169 | 0.00043029 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4911-14_0_3_load_49 | 68 | 0.0021811 | 0.00054663 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4911-14_0_3_load_50 | 70 | 0.0022043 | 0.00055244 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4911-14_0_3_load_55 | 72 | 0.0034305 | 0.00085976 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4911-14_0_3_load_73 | 73 | 0.0019824 | 0.00049683 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4911-14_0_3_load_74 | 74 | 0.0021155 | 0.0005302 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4911-14_0_3_load_109 | 75 | 0.0030045 | 0.000753 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4911-14_0_3_load_81 | 76 | 0.0016133 | 0.00040434 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4911-14_0_3_load_108 | 77 | 0.001093 | 0.00027394 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4911-14_0_3_load_110 | 78 | 0.003292 | 0.00082504 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4911-14_0_3_load_58 | 79 | 0.0019333 | 0.00048454 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4911-14_0_3_load_63 | 80 | 0.0019265 | 0.00048282 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4911-14_0_3_load_64 | 81 | 0.0021054 | 0.00052767 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4911-14_0_3_load_61 | 82 | 0.0020663 | 0.00051785 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4911-14_0_3_load_62 | 83 | 0.0017029 | 0.0004268 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4911-14_0_3_load_65 | 84 | 0.0016697 | 0.00041846 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4911-14_0_3_load_86 | 85 | 0.0028295 | 0.00070913 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4911-14_0_3_load_68 | 87 | 0.0016618 | 0.00041649 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4911-14_0_3_load_69 | 88 | 0.0042947 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4911-14_0_3_load_71 | 90 | 0.0023134 | 0.00057979 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4911-14_0_3_load_72 | 91 | 0.0022077 | 0.00055329 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4911-14_0_3_load_89 | 92 | 0.0021305 | 0.00053394 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4911-14_0_3_load_78 | 94 | 0.0021127 | 0.00052949 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4911-14_0_3_load_82 | 95 | 0.0010118 | 0.00025359 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4911-14_0_3_load_79 | 96 | 0.00085547 | 0.0002144 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4911-14_0_3_load_80 | 97 | 0.0020293 | 0.00050859 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4911-14_0_3_load_92 | 98 | 0.0018203 | 0.00045622 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4911-14_0_3_load_111 | 99 | 0.0012888 | 0.000323 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4911-14_0_3_load_107 | 100 | 0.0018503 | 0.00046372 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4911-14_0_3_load_102 | 101 | 0.0021278 | 0.00053329 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4911-14_0_3_load_103 | 102 | 0.0039629 | 0.00099319 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4911-14_0_3_load_97 | 104 | 0.0024972 | 0.00062586 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4911-14_0_3_load_105 | 105 | 0.0031414 | 0.00078732 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4911-14_0_3_load_104 | 106 | 0.0018745 | 0.00046979 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4911-14_0_3_load_106 | 107 | 0.0030122 | 0.00075493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4911-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.061494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4911-14_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4911-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4911-14_0_3_line_3 | NAYY 4x150 SE | 3 | 20 | 0.018321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4911-14_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.040638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4911-14_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.062282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4911-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.12801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4911-14_0_3_line_7 | NAYY 4x150 SE | 6 | 11 | 0.029944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4911-14_0_3_line_8 | NAYY 4x150 SE | 7 | 16 | 0.29461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4911-14_0_3_line_9 | NAYY 4x150 SE | 7 | 15 | 0.027656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4911-14_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.016596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4911-14_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.026494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4911-14_0_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.021032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4911-14_0_3_line_13 | NAYY 4x150 SE | 9 | 24 | 0.019048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4911-14_0_3_line_14 | NAYY 4x150 SE | 10 | 21 | 0.024539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4911-14_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.03353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4911-14_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.025706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4911-14_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.063542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4911-14_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.31785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4911-14_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.025434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4911-14_0_3_line_20 | NAYY 4x150 SE | 18 | 29 | 0.004459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4911-14_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.011055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4911-14_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.018791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4911-14_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.017202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4911-14_0_3_line_24 | NAYY 4x150 SE | 23 | 35 | 0.018528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4911-14_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.021316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4911-14_0_3_line_26 | NAYY 4x150 SE | 25 | 39 | 0.013226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4911-14_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0069094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4911-14_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.013526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4911-14_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.034946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4911-14_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.053704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4911-14_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.010135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4911-14_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.022476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4911-14_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.017537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4911-14_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.0090853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4911-14_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.016458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4911-14_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.012994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4911-14_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.020502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4911-14_0_3_line_38 | NAYY 4x150 SE | 37 | 42 | 0.030368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4911-14_0_3_line_39 | NAYY 4x150 SE | 38 | 43 | 0.016988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4911-14_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.016147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4911-14_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4911-14_0_3_line_42 | NAYY 4x150 SE | 41 | 57 | 0.0076537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4911-14_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0012675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4911-14_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0019485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4911-14_0_3_line_45 | NAYY 4x150 SE | 44 | 69 | 0.025275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_4911-14_0_3_line_46 | NAYY 4x150 SE | 45 | 57 | 0.013454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4911-14_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0056819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4911-14_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.01769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4911-14_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.014179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4911-14_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0048618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4911-14_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.019925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4911-14_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.0042924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4911-14_0_3_line_53 | NAYY 4x150 SE | 50 | 53 | 0.01515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4911-14_0_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.013189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4911-14_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.022008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4911-14_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.0025296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4911-14_0_3_line_57 | NAYY 4x150 SE | 54 | 86 | 0.053234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4911-14_0_3_line_58 | NAYY 4x150 SE | 55 | 82 | 0.011784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4911-14_0_3_line_59 | NAYY 4x150 SE | 56 | 103 | 0.013016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4911-14_0_3_line_60 | NAYY 4x150 SE | 56 | 104 | 0.015603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4911-14_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.013629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4911-14_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.021129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4911-14_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.004302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4911-14_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.0018388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4911-14_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.021072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4911-14_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.018896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4911-14_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0035849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4911-14_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.018742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4911-14_0_3_line_69 | NAYY 4x150 SE | 64 | 67 | 0.00484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4911-14_0_3_line_70 | NAYY 4x150 SE | 65 | 79 | 0.025276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4911-14_0_3_line_71 | NAYY 4x150 SE | 67 | 83 | 0.020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4911-14_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.019719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4911-14_0_3_line_73 | NAYY 4x150 SE | 69 | 72 | 0.013894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4911-14_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.014562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4911-14_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.012086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4911-14_0_3_line_76 | NAYY 4x150 SE | 71 | 74 | 0.01457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4911-14_0_3_line_77 | NAYY 4x150 SE | 72 | 75 | 0.019244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4911-14_0_3_line_78 | NAYY 4x150 SE | 73 | 76 | 0.019814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4911-14_0_3_line_79 | NAYY 4x150 SE | 74 | 77 | 0.004033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4911-14_0_3_line_80 | NAYY 4x150 SE | 75 | 78 | 0.00071679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4911-14_0_3_line_81 | NAYY 4x150 SE | 76 | 95 | 0.00026868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4911-14_0_3_line_82 | NAYY 4x150 SE | 78 | 104 | 0.020537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4911-14_0_3_line_83 | NAYY 4x150 SE | 79 | 80 | 0.003164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4911-14_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.022732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4911-14_0_3_line_85 | NAYY 4x150 SE | 81 | 84 | 0.0015324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4911-14_0_3_line_86 | NAYY 4x150 SE | 82 | 83 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4911-14_0_3_line_87 | NAYY 4x150 SE | 84 | 85 | 0.023389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4911-14_0_3_line_88 | NAYY 4x150 SE | 86 | 101 | 0.022655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4911-14_0_3_line_89 | NAYY 4x150 SE | 86 | 98 | 0.024048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4911-14_0_3_line_90 | NAYY 4x150 SE | 87 | 88 | 0.058528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4911-14_0_3_line_91 | NAYY 4x150 SE | 87 | 89 | 0.0087515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4911-14_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0028513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4911-14_0_3_line_93 | NAYY 4x150 SE | 89 | 91 | 0.032432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4911-14_0_3_line_94 | NAYY 4x150 SE | 90 | 92 | 0.025519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4911-14_0_3_line_95 | NAYY 4x150 SE | 91 | 93 | 0.012611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4911-14_0_3_line_96 | NAYY 4x150 SE | 93 | 94 | 0.012219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4911-14_0_3_line_97 | NAYY 4x150 SE | 94 | 96 | 0.029992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4911-14_0_3_line_98 | NAYY 4x150 SE | 95 | 99 | 0.021072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4911-14_0_3_line_99 | NAYY 4x150 SE | 96 | 97 | 0.015053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4911-14_0_3_line_100 | NAYY 4x150 SE | 97 | 98 | 0.00098085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4911-14_0_3_line_101 | NAYY 4x150 SE | 99 | 100 | 0.0083985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4911-14_0_3_line_102 | NAYY 4x150 SE | 100 | 107 | 0.01632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4911-14_0_3_line_103 | NAYY 4x150 SE | 101 | 102 | 0.027139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4911-14_0_3_line_104 | NAYY 4x150 SE | 103 | 105 | 0.013383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4911-14_0_3_line_105 | NAYY 4x150 SE | 105 | 106 | 0.011966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4911-14_0_3_line_106 | NAYY 4x150 SE | 106 | 107 | 0.0051425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4911-14_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 108 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2729507.8226 | 1267824.1754 | 2729516.1607 | 1267885.1013
1 | 2729507.8226 | 1267824.1754 | 2729479.7056 | 1267831.0137
2 | 2729522.5385 | 1267820.5965 | 2729507.8226 | 1267824.1754
3 | 2729522.5385 | 1267820.5965 | 2729540.3359 | 1267816.2463
4 | 2729682.3296 | 1267845.2351 | 2729642.8131 | 1267854.7155
5 | 2729668.3228 | 1267784.5485 | 2729682.3296 | 1267845.2351
6 | 2729682.3296 | 1267845.2351 | 2729739.299 | 1267959.8691
7 | 2729668.3228 | 1267784.5485 | 2729639.2923 | 1267791.8877
8 | 2729739.299 | 1267959.8691 | 2730023.2131 | 1268038.5298
9 | 2729733.154 | 1267986.834 | 2729739.299 | 1267959.8691
10 | 2729618.9016 | 1267797.0427 | 2729615.1582 | 1267780.874
11 | 2729618.9016 | 1267797.0427 | 2729593.1651 | 1267803.3334
12 | 2729618.9016 | 1267797.0427 | 2729639.2923 | 1267791.8877
13 | 2729613.8461 | 1267762.0777 | 2729613.3348 | 1267763.1889 | 2729614.1629 | 1267776.5751 | 2729615.1582 | 1267780.874
14 | 2729593.1651 | 1267803.3334 | 2729569.328 | 1267809.1598
15 | 2729660.1908 | 1268041.9827 | 2729693.4993 | 1268045.8344
16 | 2729719.0355 | 1268048.7872 | 2729693.4993 | 1268045.8344
17 | 2729719.0355 | 1268048.7872 | 2729733.154 | 1267986.834
18 | 2730261.5762 | 1267828.2699 | 2730023.2131 | 1268038.5298
19 | 2730261.5762 | 1267828.2699 | 2730255.5746 | 1267803.5539
20 | 2730254.5224 | 1267799.2209 | 2730255.5746 | 1267803.5539
21 | 2729551.0748 | 1267813.6214 | 2729540.3359 | 1267816.2463
22 | 2729551.0748 | 1267813.6214 | 2729569.328 | 1267809.1598
23 | 2729517.495 | 1267788.1678 | 2729519.8816 | 1267776.9529 | 2729523.1856 | 1267772.2646
24 | 2729533.8586 | 1267757.1201 | 2729523.1856 | 1267772.2646
25 | 2729623.7959 | 1267743.3521 | 2729620.6251 | 1267747.345 | 2729613.8461 | 1267762.0777
26 | 2729623.7959 | 1267743.3521 | 2729628.0206 | 1267738.0318 | 2729631.0268 | 1267732.3457
27 | 2730266.5863 | 1267762.9976 | 2730259.7194 | 1267763.7633
28 | 2730246.2765 | 1267765.2621 | 2730259.7194 | 1267763.7633
29 | 2730246.2765 | 1267765.2621 | 2730254.5224 | 1267799.2209
30 | 2730246.2765 | 1267765.2621 | 2730195.5691 | 1267747.5726
31 | 2729557.8787 | 1267723.0364 | 2729552.04 | 1267731.3212
32 | 2729539.0923 | 1267749.6936 | 2729552.04 | 1267731.3212
33 | 2729557.8787 | 1267723.0364 | 2729567.9811 | 1267708.7014
34 | 2729533.8586 | 1267757.1201 | 2729539.0923 | 1267749.6936
35 | 2729580.0884 | 1267697.7651 | 2729570.4527 | 1267705.1942 | 2729567.9811 | 1267708.7014
36 | 2729580.0884 | 1267697.7651 | 2729576.267 | 1267685.346
37 | 2729580.0884 | 1267697.7651 | 2729598.9108 | 1267689.6369
38 | 2729576.267 | 1267685.346 | 2729567.3357 | 1267656.3205
39 | 2729598.9108 | 1267689.6369 | 2729615.6193 | 1267686.5671
40 | 2729632.4995 | 1267716.4877 | 2729632.4995 | 1267716.4877 | 2729632.1765 | 1267730.1712 | 2729631.0268 | 1267732.3457
41 | 2729632.4995 | 1267716.4877 | 2729628.8934 | 1267703.882
42 | 2729628.8934 | 1267703.882 | 2729626.7883 | 1267696.5235
43 | 2729566.9629 | 1267655.1091 | 2729567.3357 | 1267656.3205
44 | 2729615.6193 | 1267686.5671 | 2729617.1959 | 1267687.712
45 | 2729559.5296 | 1267630.9518 | 2729566.9629 | 1267655.1091
46 | 2729617.1959 | 1267687.712 | 2729626.1217 | 1267694.1935 | 2729626.7883 | 1267696.5235
47 | 2729501.6601 | 1267574.5172 | 2729496.1905 | 1267576.0555
48 | 2729501.6601 | 1267574.5172 | 2729518.6898 | 1267569.7277
49 | 2729482.5408 | 1267579.8944 | 2729496.1905 | 1267576.0555
50 | 2729518.6898 | 1267569.7277 | 2729523.37 | 1267568.4114
51 | 2729482.5408 | 1267579.8944 | 2729474.7374 | 1267561.5614
52 | 2729482.5408 | 1267579.8944 | 2729483.8675 | 1267583.9767
53 | 2729537.9545 | 1267564.3095 | 2729523.37 | 1267568.4114
54 | 2729469.572 | 1267549.4262 | 2729474.7374 | 1267561.5614
55 | 2729490.6694 | 1267604.9076 | 2729483.8675 | 1267583.9767
56 | 2729540.3896 | 1267563.6247 | 2729537.9545 | 1267564.3095
57 | 2729420.1408 | 1267569.1842 | 2729422.6931 | 1267568.1725 | 2729446.4614 | 1267558.7398 | 2729469.572 | 1267549.4262
58 | 2729490.6694 | 1267604.9076 | 2729494.3115 | 1267616.115
59 | 2729540.3896 | 1267563.6247 | 2729552.9521 | 1267560.0856
60 | 2729540.3896 | 1267563.6247 | 2729544.6577 | 1267578.6325
61 | 2729501.2035 | 1267686.8591 | 2729493.9783 | 1267698.4155
62 | 2729501.2035 | 1267686.8591 | 2729501.2035 | 1267686.8591 | 2729504.0001 | 1267665.9163
63 | 2729493.9783 | 1267698.4155 | 2729491.6977 | 1267702.0633
64 | 2729504.0001 | 1267665.9163 | 2729504.2435 | 1267664.0937
65 | 2729480.3708 | 1267719.8274 | 2729482.4982 | 1267716.7773 | 2729491.6977 | 1267702.0633
66 | 2729506.7446 | 1267645.3639 | 2729504.2435 | 1267664.0937
67 | 2729480.3708 | 1267719.8274 | 2729478.3199 | 1267722.7677
68 | 2729506.7446 | 1267645.3639 | 2729524.8243 | 1267640.4275
69 | 2729501.892 | 1267645.5132 | 2729506.7446 | 1267645.3639
70 | 2729478.3199 | 1267722.7677 | 2729463.8602 | 1267743.4987
71 | 2729501.892 | 1267645.5132 | 2729500.8106 | 1267636.1141 | 2729497.505 | 1267625.9422
72 | 2729559.5296 | 1267630.9518 | 2729578.4973 | 1267625.5623
73 | 2729559.5296 | 1267630.9518 | 2729555.7319 | 1267617.587
74 | 2729614.3585 | 1267615.3728 | 2729600.3511 | 1267619.3528
75 | 2729614.3585 | 1267615.3728 | 2729611.2394 | 1267603.696
76 | 2729614.3585 | 1267615.3728 | 2729628.4215 | 1267611.5646
77 | 2729555.7319 | 1267617.587 | 2729550.6031 | 1267599.5378 | 2729550.4717 | 1267599.076
78 | 2729611.2394 | 1267603.696 | 2729606.126 | 1267584.5528
79 | 2729628.4215 | 1267611.5646 | 2729632.3144 | 1267610.5105
80 | 2729550.2756 | 1267598.3865 | 2729550.4717 | 1267599.076
81 | 2729606.126 | 1267584.5528 | 2729606.0567 | 1267584.2932
82 | 2729550.2756 | 1267598.3865 | 2729544.6577 | 1267578.6325
83 | 2729462.0502 | 1267746.0938 | 2729463.8602 | 1267743.4987
84 | 2729462.0502 | 1267746.0938 | 2729449.0455 | 1267764.7387
85 | 2729449.0455 | 1267764.7387 | 2729448.1688 | 1267765.9956
86 | 2729497.505 | 1267625.9422 | 2729494.3115 | 1267616.115
87 | 2729448.1688 | 1267765.9956 | 2729434.7884 | 1267785.1792
88 | 2729420.1408 | 1267569.1842 | 2729398.9315 | 1267577.1468
89 | 2729420.1408 | 1267569.1842 | 2729428.0973 | 1267591.8773
90 | 2729411.5572 | 1267682.6944 | 2729377.4111 | 1267682.0877 | 2729367.5003 | 1267659.8166
91 | 2729420.3073 | 1267682.8499 | 2729411.5572 | 1267682.6944
92 | 2729420.3073 | 1267682.8499 | 2729418.6767 | 1267685.1889
93 | 2729420.3073 | 1267682.8499 | 2729439.7921 | 1267656.9235
94 | 2729418.6767 | 1267685.1889 | 2729404.0826 | 1267706.1231
95 | 2729447.3686 | 1267646.8422 | 2729439.7921 | 1267656.9235
96 | 2729447.3686 | 1267646.8422 | 2729443.3256 | 1267635.311
97 | 2729443.3256 | 1267635.311 | 2729433.4025 | 1267607.0086
98 | 2729600.6187 | 1267563.9352 | 2729606.0567 | 1267584.2932
99 | 2729433.4025 | 1267607.0086 | 2729428.4218 | 1267592.8029
100 | 2729428.4218 | 1267592.8029 | 2729428.0973 | 1267591.8773
101 | 2729600.6187 | 1267563.9352 | 2729598.9182 | 1267557.5689 | 2729597.392 | 1267556.5978
102 | 2729582.3123 | 1267551.8951 | 2729590.7715 | 1267552.3854 | 2729597.392 | 1267556.5978
103 | 2729373.6508 | 1267587.0063 | 2729382.4668 | 1267583.3281 | 2729398.9315 | 1267577.1468
104 | 2729552.9521 | 1267560.0856 | 2729565.8358 | 1267556.4633
105 | 2729577.355 | 1267553.2247 | 2729565.8358 | 1267556.4633
106 | 2729577.355 | 1267553.2247 | 2729582.1229 | 1267551.8841 | 2729582.3123 | 1267551.8951

## bus_geodata
| x | y | coords
0 | 2729516.1607 | 1267885.1013
1 | 2729507.8226 | 1267824.1754
2 | 2729479.7056 | 1267831.0137
3 | 2729522.5385 | 1267820.5965
4 | 2729642.8131 | 1267854.7155
5 | 2729682.3296 | 1267845.2351
6 | 2729668.3228 | 1267784.5485
7 | 2729739.299 | 1267959.8691
8 | 2729618.9016 | 1267797.0427
9 | 2729615.1582 | 1267780.874
10 | 2729593.1651 | 1267803.3334
11 | 2729639.2923 | 1267791.8877
12 | 2729693.4993 | 1268045.8344
13 | 2729660.1908 | 1268041.9827
14 | 2729719.0355 | 1268048.7872
15 | 2729733.154 | 1267986.834
16 | 2730023.2131 | 1268038.5298
17 | 2730261.5762 | 1267828.2699
18 | 2730255.5746 | 1267803.5539
19 | 2729551.0748 | 1267813.6214
20 | 2729540.3359 | 1267816.2463
21 | 2729569.328 | 1267809.1598
22 | 2729517.495 | 1267788.1678
23 | 2729523.1856 | 1267772.2646
24 | 2729613.8461 | 1267762.0777
25 | 2729623.7959 | 1267743.3521
26 | 2730259.7194 | 1267763.7633
27 | 2730266.5863 | 1267762.9976
28 | 2730246.2765 | 1267765.2621
29 | 2730254.5224 | 1267799.2209
30 | 2730195.5691 | 1267747.5726
31 | 2729552.04 | 1267731.3212
32 | 2729557.8787 | 1267723.0364
33 | 2729539.0923 | 1267749.6936
34 | 2729567.9811 | 1267708.7014
35 | 2729533.8586 | 1267757.1201
36 | 2729580.0884 | 1267697.7651
37 | 2729576.267 | 1267685.346
38 | 2729598.9108 | 1267689.6369
39 | 2729631.0268 | 1267732.3457
40 | 2729632.4995 | 1267716.4877
41 | 2729628.8934 | 1267703.882
42 | 2729567.3357 | 1267656.3205
43 | 2729615.6193 | 1267686.5671
44 | 2729566.9629 | 1267655.1091
45 | 2729617.1959 | 1267687.712
46 | 2729501.6601 | 1267574.5172
47 | 2729496.1905 | 1267576.0555
48 | 2729518.6898 | 1267569.7277
49 | 2729482.5408 | 1267579.8944
50 | 2729523.37 | 1267568.4114
51 | 2729474.7374 | 1267561.5614
52 | 2729483.8675 | 1267583.9767
53 | 2729537.9545 | 1267564.3095
54 | 2729469.572 | 1267549.4262
55 | 2729490.6694 | 1267604.9076
56 | 2729540.3896 | 1267563.6247
57 | 2729626.7883 | 1267696.5235
58 | 2729501.2035 | 1267686.8591
59 | 2729493.9783 | 1267698.4155
60 | 2729504.0001 | 1267665.9163
61 | 2729491.6977 | 1267702.0633
62 | 2729504.2435 | 1267664.0937
63 | 2729480.3708 | 1267719.8274
64 | 2729506.7446 | 1267645.3639
65 | 2729478.3199 | 1267722.7677
66 | 2729524.8243 | 1267640.4275
67 | 2729501.892 | 1267645.5132
68 | 2729578.4974 | 1267625.5623
69 | 2729559.5296 | 1267630.9518
70 | 2729600.3511 | 1267619.3528
71 | 2729614.3585 | 1267615.3728
72 | 2729555.7319 | 1267617.587
73 | 2729611.2394 | 1267603.696
74 | 2729628.4215 | 1267611.5646
75 | 2729550.4717 | 1267599.076
76 | 2729606.126 | 1267584.5528
77 | 2729632.3144 | 1267610.5105
78 | 2729550.2756 | 1267598.3865
79 | 2729463.8602 | 1267743.4987
80 | 2729462.0502 | 1267746.0938
81 | 2729449.0455 | 1267764.7387
82 | 2729494.3115 | 1267616.115
83 | 2729497.505 | 1267625.9422
84 | 2729448.1688 | 1267765.9956
85 | 2729434.7884 | 1267785.1792
86 | 2729420.1408 | 1267569.1842
87 | 2729411.5572 | 1267682.6944
88 | 2729367.5003 | 1267659.8166
89 | 2729420.3073 | 1267682.8499
90 | 2729418.6767 | 1267685.1889
91 | 2729439.7921 | 1267656.9235
92 | 2729404.0826 | 1267706.1231
93 | 2729447.3686 | 1267646.8422
94 | 2729443.3256 | 1267635.311
95 | 2729606.0567 | 1267584.2932
96 | 2729433.4025 | 1267607.0086
97 | 2729428.4218 | 1267592.8029
98 | 2729428.0973 | 1267591.8773
99 | 2729600.6187 | 1267563.9352
100 | 2729597.392 | 1267556.5978
101 | 2729398.9315 | 1267577.1468
102 | 2729373.6508 | 1267587.0063
103 | 2729552.9521 | 1267560.0856
104 | 2729544.6578 | 1267578.6325
105 | 2729565.8358 | 1267556.4633
106 | 2729577.355 | 1267553.2247
107 | 2729582.3123 | 1267551.8951
108 | 2729580.0884 | 1267697.7651

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1