## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_492-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_492-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_492-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_492-5_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_492-5_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_492-5_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_492-5_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_492-5_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_492-5_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_492-5_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_492-5_0_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_492-5_0_3_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_492-5_0_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_492-5_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_492-5_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_492-5_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_492-5_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_492-5_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_492-5_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_492-5_0_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_492-5_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_492-5_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_492-5_0_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_492-5_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_492-5_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_492-5_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_492-5_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_492-5_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_492-5_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_492-5_0_3_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_492-5_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_492-5_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_492-5_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_492-5_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_492-5_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_492-5_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_492-5_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_492-5_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_492-5_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_492-5_0_3_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_492-5_0_3_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_492-5_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_492-5_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_492-5_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_492-5_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_492-5_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_492-5_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_492-5_0_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_492-5_0_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_492-5_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_492-5_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_492-5_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_492-5_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_492-5_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_492-5_0_3_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_492-5_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_492-5_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_492-5_0_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_492-5_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_492-5_0_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_492-5_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_492-5_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_492-5_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_492-5_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_492-5_0_3_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_492-5_0_3_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_492-5_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_492-5_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_492-5_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_492-5_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_492-5_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_492-5_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_492-5_0_3_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_492-5_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_492-5_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_492-5_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_492-5_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_492-5_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_492-5_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_492-5_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_492-5_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_492-5_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_492-5_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_MV_325_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_492-5_0_3_load_0 | 0 | 0.0024422 | 0.00061208 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_492-5_0_3_load_1 | 1 | 0.0084496 | 0.0021177 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_492-5_0_3_load_4 | 3 | 0.00085473 | 0.00021422 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_492-5_0_3_load_9 | 5 | 0.0014571 | 0.00036518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_492-5_0_3_load_5 | 6 | 0.0058391 | 0.0014634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_492-5_0_3_load_6 | 7 | 0.0019598 | 0.00049116 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_492-5_0_3_load_8 | 8 | 0.00076566 | 0.00019189 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_492-5_0_3_load_44 | 9 | 0.00078569 | 0.00019691 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_492-5_0_3_load_57 | 10 | 0.0012552 | 0.00031458 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_492-5_0_3_load_43 | 11 | 0.0033527 | 0.00084027 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_492-5_0_3_load_55 | 12 | 0.0023367 | 0.00058563 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_492-5_0_3_load_10 | 13 | 0.0024932 | 0.00062485 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_492-5_0_3_load_11 | 14 | 0.001881 | 0.00047143 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_492-5_0_3_load_12 | 15 | 0.0019562 | 0.00049026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_492-5_0_3_load_13 | 16 | 0.0024342 | 0.00061006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_492-5_0_3_load_14 | 17 | 0.001877 | 0.00047042 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_492-5_0_3_load_51 | 18 | 0.0029524 | 0.00073993 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_492-5_0_3_load_52 | 19 | 0.0022289 | 0.00055862 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_492-5_0_3_load_31 | 20 | 0.0018861 | 0.00047269 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_492-5_0_3_load_21 | 23 | 0.002535 | 0.00063533 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_492-5_0_3_load_15 | 25 | 0.0023512 | 0.00058926 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_492-5_0_3_load_16 | 26 | 0.006994 | 0.0017529 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_492-5_0_3_load_17 | 27 | 0.0071308 | 0.0017871 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_492-5_0_3_load_18 | 28 | 0.0083486 | 0.0020924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_492-5_0_3_load_71 | 29 | 0.0067277 | 0.0016861 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_492-5_0_3_load_22 | 31 | 0.0021658 | 0.00054279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_492-5_0_3_load_23 | 32 | 0.0034332 | 0.00086045 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_492-5_0_3_load_25 | 33 | 0.0040121 | 0.0010055 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_492-5_0_3_load_27 | 34 | 0.0027802 | 0.00069677 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_492-5_0_3_load_29 | 35 | 0.0032754 | 0.00082088 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_492-5_0_3_load_28 | 36 | 0.0025843 | 0.00064767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_492-5_0_3_load_84 | 40 | 0.0017702 | 0.00044366 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_492-5_0_3_load_33 | 41 | 0.0044854 | 0.0011241 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_492-5_0_3_load_34 | 42 | 0.0028212 | 0.00070706 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_492-5_0_3_load_35 | 43 | 0.0035217 | 0.00088261 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_492-5_0_3_load_36 | 44 | 0.0024013 | 0.00060183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_492-5_0_3_load_37 | 45 | 0.0041424 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_492-5_0_3_load_75 | 46 | 0.0026065 | 0.00065325 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_492-5_0_3_load_80 | 47 | 0.0042339 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_492-5_0_3_load_81 | 48 | 0.0026508 | 0.00066435 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_492-5_0_3_load_38 | 49 | 0.002503 | 0.00062731 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_492-5_0_3_load_39 | 50 | 0.0026878 | 0.00067362 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_492-5_0_3_load_40 | 51 | 0.0025173 | 0.0006309 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_492-5_0_3_load_41 | 52 | 0.0027955 | 0.00070061 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_492-5_0_3_load_82 | 54 | 0.0032225 | 0.00080763 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_492-5_0_3_load_73 | 56 | 0.002505 | 0.0006278 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_492-5_0_3_load_83 | 57 | 0.00040577 | 0.0001017 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_492-5_0_3_load_72 | 59 | 0.0026722 | 0.00066971 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_492-5_0_3_load_47 | 60 | 0.0024613 | 0.00061686 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_492-5_0_3_load_48 | 61 | 0.0007748 | 0.00019418 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_492-5_0_3_load_49 | 62 | 0.00083959 | 0.00021042 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_492-5_0_3_load_50 | 63 | 0.00063662 | 0.00015955 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_492-5_0_3_load_78 | 64 | 0.00021825 | 5.4698e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_492-5_0_3_load_79 | 65 | 0.00069584 | 0.00017439 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_492-5_0_3_load_54 | 67 | 0.0014315 | 0.00035876 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_492-5_0_3_load_56 | 68 | 0.001635 | 0.00040977 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_492-5_0_3_load_58 | 69 | 0.001783 | 0.00044687 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_492-5_0_3_load_59 | 70 | 0.0019634 | 0.00049208 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_492-5_0_3_load_60 | 71 | 0.0026969 | 0.00067591 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_492-5_0_3_load_61 | 72 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_492-5_0_3_load_62 | 73 | 0.0020623 | 0.00051687 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_492-5_0_3_load_63 | 74 | 0.0019481 | 0.00048823 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_492-5_0_3_load_64 | 76 | 0.0029128 | 0.00073002 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_492-5_0_3_load_65 | 77 | 0.0015102 | 0.0003785 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_492-5_0_3_load_66 | 78 | 0.001571 | 0.00039373 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_492-5_0_3_load_67 | 79 | 0.003232 | 0.00081002 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_492-5_0_3_load_68 | 80 | 0.0021709 | 0.00054407 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_492-5_0_3_load_77 | 81 | 0.003531 | 0.00088496 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_492-5_0_3_load_74 | 82 | 0.0030784 | 0.00077153 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_492-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_492-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_492-5_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_492-5_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.020139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_492-5_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.034768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_492-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_492-5_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.019147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_492-5_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0017013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_492-5_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.017759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_492-5_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.00038982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_492-5_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0036561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_492-5_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.015521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_492-5_0_3_line_12 | NAYY 4x150 SE | 11 | 58 | 0.025969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_492-5_0_3_line_13 | NAYY 4x150 SE | 12 | 67 | 0.0019577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_492-5_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.015748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_492-5_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.023544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_492-5_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0023237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_492-5_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0010499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_492-5_0_3_line_18 | NAYY 4x150 SE | 16 | 21 | 0.012658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_492-5_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.02402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_492-5_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.040706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_492-5_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.012041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_492-5_0_3_line_22 | NAYY 4x150 SE | 20 | 35 | 0.033569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_492-5_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.038666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_492-5_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.019541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_492-5_0_3_line_25 | NAYY 4x150 SE | 22 | 29 | 0.011002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_492-5_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.1111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_492-5_0_3_line_27 | NAYY 4x150 SE | 23 | 30 | 0.010805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_492-5_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.024163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_492-5_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.051059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_492-5_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.012797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_492-5_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.005048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_492-5_0_3_line_32 | NAYY 4x150 SE | 29 | 66 | 0.0070778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_492-5_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.028643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_492-5_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.00066569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_492-5_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.038102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_492-5_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.00077478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_492-5_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.02231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_492-5_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.077403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_492-5_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.02071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_492-5_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.059015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_492-5_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.049029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_492-5_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.00368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_492-5_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.017456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_492-5_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.021038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_492-5_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_492-5_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.021971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_492-5_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.025872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_492-5_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.004518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_492-5_0_3_line_49 | NAYY 4x150 SE | 48 | 55 | 0.01434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_492-5_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0035028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_492-5_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0038968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_492-5_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.0051126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_492-5_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.03529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_492-5_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0085714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_492-5_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.003283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_492-5_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.023028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_492-5_0_3_line_57 | NAYY 4x150 SE | 54 | 57 | 0.0099452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_492-5_0_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.024498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_492-5_0_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.0063597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_492-5_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.021785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_492-5_0_3_line_61 | NAYY 4x150 SE | 59 | 82 | 0.0070534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_492-5_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.01564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_492-5_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0069761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_492-5_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0082614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_492-5_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.010015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_492-5_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.001129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_492-5_0_3_line_67 | NAYY 4x150 SE | 66 | 75 | 0.018919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_492-5_0_3_line_68 | NAYY 4x150 SE | 66 | 74 | 0.01247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_492-5_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0095496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_492-5_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.014781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_492-5_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.07713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_492-5_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.022911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_492-5_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.02823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_492-5_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.035118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_492-5_0_3_line_75 | NAYY 4x150 SE | 75 | 82 | 0.0061948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_492-5_0_3_line_76 | NAYY 4x150 SE | 75 | 81 | 0.012204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_492-5_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.016219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_492-5_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.0020288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_492-5_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.083809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_492-5_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.01879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_492-5_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.03386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_492-5_0_3_trafo_63 | 0.25 MVA 20/0.4 kV | 83 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2574245.9077 | 1210401.3646 | 2574288.4068 | 1210422.7702
1 | 2574226.6671 | 1210391.6736 | 2574245.9077 | 1210401.3646
2 | 2574226.6671 | 1210391.6736 | 2574232.7104 | 1210377.3313
3 | 2574240.5303 | 1210358.7728 | 2574232.7104 | 1210377.3313
4 | 2574240.5303 | 1210358.7728 | 2574209.7406 | 1210342.6239
5 | 2574240.5303 | 1210358.7728 | 2574246.3034 | 1210348.1064
6 | 2574192.7844 | 1210333.7305 | 2574209.7406 | 1210342.6239
7 | 2574246.3034 | 1210348.1064 | 2574247.1132 | 1210346.6102
8 | 2574255.5659 | 1210330.9915 | 2574252.1407 | 1210337.3215 | 2574247.1132 | 1210346.6102
9 | 2574255.7514 | 1210330.6486 | 2574255.5659 | 1210330.9915
10 | 2574257.4913 | 1210327.4331 | 2574255.7514 | 1210330.6486
11 | 2574179.0392 | 1210326.5213 | 2574179.0392 | 1210326.5213 | 2574192.7844 | 1210333.7305
12 | 2574269.8503 | 1210304.593 | 2574257.4913 | 1210327.4331
13 | 2574177.2222 | 1210325.7924 | 2574179.0392 | 1210326.5213
14 | 2574337.9529 | 1210070.9811 | 2574351.5866 | 1210078.8627
15 | 2574317.5698 | 1210059.1977 | 2574337.9529 | 1210070.9811
16 | 2574353.5984 | 1210080.0257 | 2574351.5866 | 1210078.8627
17 | 2574317.5698 | 1210059.1977 | 2574316.6608 | 1210058.6722
18 | 2574364.5572 | 1210086.361 | 2574353.5984 | 1210080.0257
19 | 2574275.5441 | 1210189.8422 | 2574297.5225 | 1210199.5335
20 | 2574275.5441 | 1210189.8422 | 2574238.2981 | 1210173.4186
21 | 2574308.5397 | 1210204.3915 | 2574297.5225 | 1210199.5335
22 | 2574238.2981 | 1210173.4186 | 2574207.5826 | 1210159.8747
23 | 2574364.5572 | 1210086.361 | 2574381.5088 | 1210051.6089
24 | 2574364.5572 | 1210086.361 | 2574355.9844 | 1210103.9301
25 | 2574308.5397 | 1210204.3915 | 2574304.5838 | 1210214.658
26 | 2574308.5397 | 1210204.3915 | 2574355.9844 | 1210103.9301
27 | 2574386.2456 | 1210041.898 | 2574381.5088 | 1210051.6089
28 | 2574355.9844 | 1210103.9301 | 2574377.6566 | 1210114.6153
29 | 2574428.6091 | 1210126.7201 | 2574420.9535 | 1210138.7587 | 2574389.0611 | 1210120.4122
30 | 2574377.6566 | 1210114.6153 | 2574386.9436 | 1210119.1941 | 2574389.0611 | 1210120.4122
31 | 2574431.3179 | 1210122.4605 | 2574428.6091 | 1210126.7201
32 | 2574302.0389 | 1210221.2624 | 2574304.5838 | 1210214.658
33 | 2574386.2456 | 1210041.898 | 2574402.3133 | 1210051.0562 | 2574411.2192 | 1210055.923
34 | 2574411.8033 | 1210056.2422 | 2574411.2192 | 1210055.923
35 | 2574411.8033 | 1210056.2422 | 2574445.239 | 1210074.5137
36 | 2574445.9189 | 1210074.8852 | 2574445.239 | 1210074.5137
37 | 2574187.1693 | 1210150.8735 | 2574207.5826 | 1210159.8747
38 | 2574116.3459 | 1210119.6441 | 2574187.1693 | 1210150.8735
39 | 2574106.02 | 1210137.6103 | 2574116.3459 | 1210119.6441
40 | 2574106.02 | 1210137.6103 | 2574098.1467 | 1210158.5453 | 2574131.6805 | 1210173.3298
41 | 2574131.6805 | 1210173.3298 | 2574141.8036 | 1210168.1384 | 2574175.7842 | 1210184.3554
42 | 2574221.1335 | 1210256.2289 | 2574217.7689 | 1210254.7383
43 | 2574221.1335 | 1210256.2289 | 2574237.0934 | 1210263.2993
44 | 2574217.7689 | 1210254.7383 | 2574198.534 | 1210246.2171
45 | 2574237.0934 | 1210263.2993 | 2574238.0508 | 1210263.7234
46 | 2574178.4463 | 1210237.3181 | 2574198.534 | 1210246.2171
47 | 2574261.7058 | 1210274.2027 | 2574238.0508 | 1210263.7234
48 | 2574261.7058 | 1210274.2027 | 2574265.8366 | 1210276.0327
49 | 2574278.9473 | 1210281.8409 | 2574265.8366 | 1210276.0327
50 | 2574315.6197 | 1210295.925 | 2574318.7732 | 1210297.4498
51 | 2574315.6197 | 1210295.925 | 2574312.1115 | 1210294.2287
52 | 2574323.376 | 1210299.6754 | 2574318.7732 | 1210297.4498
53 | 2574280.3404 | 1210278.8665 | 2574312.1115 | 1210294.2287
54 | 2574323.376 | 1210299.6754 | 2574331.0927 | 1210303.4066
55 | 2574280.3404 | 1210278.8665 | 2574278.9473 | 1210281.8409
56 | 2574280.3404 | 1210278.8665 | 2574288.2838 | 1210257.2515
57 | 2574340.0461 | 1210307.7358 | 2574331.0927 | 1210303.4066
58 | 2574269.8503 | 1210304.593 | 2574278.9473 | 1210281.8409
59 | 2574290.4775 | 1210251.2821 | 2574288.2838 | 1210257.2515
60 | 2574269.8503 | 1210304.593 | 2574289.6558 | 1210313.6665
61 | 2574290.4775 | 1210251.2821 | 2574292.9105 | 1210244.6616
62 | 2574303.8748 | 1210320.1806 | 2574289.6558 | 1210313.6665
63 | 2574303.8748 | 1210320.1806 | 2574310.217 | 1210323.0861
64 | 2574317.7278 | 1210326.527 | 2574310.217 | 1210323.0861
65 | 2574326.8324 | 1210330.6981 | 2574317.7278 | 1210326.527
66 | 2574327.8588 | 1210331.1683 | 2574326.8324 | 1210330.6981
67 | 2574302.0389 | 1210221.2624 | 2574295.0473 | 1210238.847
68 | 2574302.0389 | 1210221.2624 | 2574290.5755 | 1210216.3538
69 | 2574177.2222 | 1210325.7924 | 2574168.3594 | 1210322.2367
70 | 2574154.6412 | 1210316.733 | 2574168.3594 | 1210322.2367
71 | 2574133.9744 | 1210266.2313 | 2574119.4152 | 1210302.6005 | 2574154.6412 | 1210316.733
72 | 2574232.3415 | 1210191.4183 | 2574211.2798 | 1210182.3998
73 | 2574232.3415 | 1210191.4183 | 2574258.2928 | 1210202.5305
74 | 2574290.5755 | 1210216.3538 | 2574258.2928 | 1210202.5305
75 | 2574295.0473 | 1210238.847 | 2574292.9105 | 1210244.6616
76 | 2574295.0473 | 1210238.847 | 2574283.9233 | 1210233.8275
77 | 2574191.9561 | 1210221.4165 | 2574178.7165 | 1210212.0472 | 2574178.7165 | 1210212.0472
78 | 2574193.6121 | 1210222.5884 | 2574191.9561 | 1210221.4165
79 | 2574178.7165 | 1210212.0472 | 2574174.4704 | 1210203.8054 | 2574182.0844 | 1210189.5865 | 2574213.4417 | 1210202.0241 | 2574235.9331 | 1210212.1729
80 | 2574253.0603 | 1210219.9012 | 2574235.9331 | 1210212.1729
81 | 2574253.0603 | 1210219.9012 | 2574283.9233 | 1210233.8275

## bus_geodata
| x | y | coords
0 | 2574245.9077 | 1210401.3646
1 | 2574288.4068 | 1210422.7702
2 | 2574226.6671 | 1210391.6736
3 | 2574232.7104 | 1210377.3313
4 | 2574240.5303 | 1210358.7728
5 | 2574209.7406 | 1210342.6239
6 | 2574246.3034 | 1210348.1064
7 | 2574247.1132 | 1210346.6102
8 | 2574255.5659 | 1210330.9914
9 | 2574255.7514 | 1210330.6486
10 | 2574192.7844 | 1210333.7306
11 | 2574257.4913 | 1210327.4331
12 | 2574179.0392 | 1210326.5213
13 | 2574337.9529 | 1210070.9811
14 | 2574351.5866 | 1210078.8627
15 | 2574317.5698 | 1210059.1977
16 | 2574353.5984 | 1210080.0257
17 | 2574316.6608 | 1210058.6722
18 | 2574275.5441 | 1210189.8422
19 | 2574297.5225 | 1210199.5335
20 | 2574238.2981 | 1210173.4186
21 | 2574364.5572 | 1210086.361
22 | 2574308.5397 | 1210204.3915
23 | 2574381.5088 | 1210051.6089
24 | 2574355.9844 | 1210103.9301
25 | 2574389.0611 | 1210120.4122
26 | 2574428.6091 | 1210126.7201
27 | 2574377.6566 | 1210114.6152
28 | 2574431.3179 | 1210122.4605
29 | 2574304.5838 | 1210214.658
30 | 2574386.2456 | 1210041.898
31 | 2574411.2192 | 1210055.923
32 | 2574411.8033 | 1210056.2422
33 | 2574445.239 | 1210074.5137
34 | 2574445.9189 | 1210074.8852
35 | 2574207.5826 | 1210159.8747
36 | 2574187.1693 | 1210150.8735
37 | 2574116.3459 | 1210119.6441
38 | 2574106.02 | 1210137.6103
39 | 2574131.6805 | 1210173.3298
40 | 2574175.7842 | 1210184.3554
41 | 2574221.1335 | 1210256.2289
42 | 2574217.7689 | 1210254.7383
43 | 2574237.0934 | 1210263.2993
44 | 2574198.534 | 1210246.2171
45 | 2574238.0508 | 1210263.7234
46 | 2574178.4463 | 1210237.3181
47 | 2574261.7058 | 1210274.2027
48 | 2574265.8366 | 1210276.0327
49 | 2574315.6197 | 1210295.925
50 | 2574318.7732 | 1210297.4498
51 | 2574312.1115 | 1210294.2287
52 | 2574323.376 | 1210299.6754
53 | 2574280.3404 | 1210278.8665
54 | 2574331.0927 | 1210303.4066
55 | 2574278.9473 | 1210281.8409
56 | 2574288.2838 | 1210257.2515
57 | 2574340.0461 | 1210307.7358
58 | 2574269.8503 | 1210304.593
59 | 2574290.4775 | 1210251.2821
60 | 2574289.6558 | 1210313.6665
61 | 2574303.8748 | 1210320.1806
62 | 2574310.217 | 1210323.0861
63 | 2574317.7278 | 1210326.527
64 | 2574326.8324 | 1210330.6981
65 | 2574327.8588 | 1210331.1683
66 | 2574302.0389 | 1210221.2624
67 | 2574177.2222 | 1210325.7924
68 | 2574168.3594 | 1210322.2367
69 | 2574154.6412 | 1210316.733
70 | 2574133.9744 | 1210266.2313
71 | 2574232.3415 | 1210191.4183
72 | 2574211.2798 | 1210182.3998
73 | 2574258.2928 | 1210202.5305
74 | 2574290.5755 | 1210216.3538
75 | 2574295.0473 | 1210238.847
76 | 2574191.9561 | 1210221.4165
77 | 2574178.7165 | 1210212.0472
78 | 2574193.6121 | 1210222.5884
79 | 2574235.9331 | 1210212.1729
80 | 2574253.0603 | 1210219.9012
81 | 2574283.9233 | 1210233.8275
82 | 2574292.9105 | 1210244.6616
83 | 2574302.0389 | 1210221.2624

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1