## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4921-3_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_4921-3_1_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_4921-3_1_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_4921-3_1_2_node_130 | 0.4 | n |  | TRUE
4 | bus_LV_4921-3_1_2_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_4921-3_1_2_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_4921-3_1_2_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_4921-3_1_2_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_4921-3_1_2_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_4921-3_1_2_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_4921-3_1_2_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_4921-3_1_2_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_4921-3_1_2_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_4921-3_1_2_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_4921-3_1_2_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_4921-3_1_2_node_113 | 0.4 | n |  | TRUE
16 | bus_LV_4921-3_1_2_node_125 | 0.4 | n |  | TRUE
17 | bus_LV_4921-3_1_2_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_4921-3_1_2_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_4921-3_1_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_4921-3_1_2_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_4921-3_1_2_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_4921-3_1_2_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_4921-3_1_2_node_100 | 0.4 | n |  | TRUE
24 | bus_LV_4921-3_1_2_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_4921-3_1_2_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_4921-3_1_2_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_4921-3_1_2_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_4921-3_1_2_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_4921-3_1_2_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_4921-3_1_2_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_4921-3_1_2_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_4921-3_1_2_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_4921-3_1_2_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_4921-3_1_2_node_116 | 0.4 | n |  | TRUE
35 | bus_LV_4921-3_1_2_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4921-3_1_2_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_4921-3_1_2_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_4921-3_1_2_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_4921-3_1_2_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_4921-3_1_2_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_4921-3_1_2_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_4921-3_1_2_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_4921-3_1_2_node_115 | 0.4 | n |  | TRUE
44 | bus_LV_4921-3_1_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_4921-3_1_2_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_4921-3_1_2_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_4921-3_1_2_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_4921-3_1_2_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_4921-3_1_2_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_4921-3_1_2_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_4921-3_1_2_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_4921-3_1_2_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_4921-3_1_2_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_4921-3_1_2_node_112 | 0.4 | n |  | TRUE
55 | bus_LV_4921-3_1_2_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_4921-3_1_2_node_106 | 0.4 | n |  | TRUE
57 | bus_LV_4921-3_1_2_node_126 | 0.4 | n |  | TRUE
58 | bus_LV_4921-3_1_2_node_124 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4921-3_1_2_load_128 | 0 | 0.00017014 | 4.264e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4921-3_1_2_load_127 | 1 | 0.0002503 | 6.273e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4921-3_1_2_load_129 | 2 | 0.00014579 | 3.6538e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4921-3_1_2_load_130 | 3 | 0.0009732 | 0.00024391 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4921-3_1_2_load_47 | 6 | 0.00012909 | 3.2353e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4921-3_1_2_load_48 | 7 | 0.00030649 | 7.6814e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4921-3_1_2_load_102 | 10 | 0.00020139 | 5.0474e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4921-3_1_2_load_57 | 11 | 0.00079982 | 0.00020045 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4921-3_1_2_load_58 | 12 | 0.00043805 | 0.00010979 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4921-3_1_2_load_60 | 14 | 0.001111 | 0.00027844 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4921-3_1_2_load_125 | 16 | 0.00010569 | 2.6489e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4921-3_1_2_load_64 | 17 | 0.00031828 | 7.9769e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4921-3_1_2_load_65 | 18 | 0.00024453 | 6.1284e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4921-3_1_2_load_67 | 20 | 0.00069452 | 0.00017406 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4921-3_1_2_load_100 | 23 | 0.00010408 | 2.6084e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4921-3_1_2_load_82 | 24 | 0.0001139 | 2.8546e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4921-3_1_2_load_107 | 25 | 0.00042774 | 0.0001072 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4921-3_1_2_load_88 | 26 | 0.00092628 | 0.00023215 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4921-3_1_2_load_74 | 27 | 0.0016372 | 0.00041033 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4921-3_1_2_load_70 | 28 | 0.0015561 | 0.00038999 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4921-3_1_2_load_71 | 29 | 0.00018599 | 4.6614e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4921-3_1_2_load_73 | 31 | 5.2073e-05 | 1.3051e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4921-3_1_2_load_75 | 32 | 0.000256 | 6.4159e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4921-3_1_2_load_85 | 33 | 0.0013664 | 0.00034245 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4921-3_1_2_load_116 | 34 | 0.00025587 | 6.4127e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4921-3_1_2_load_76 | 35 | 0.00036861 | 9.2382e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4921-3_1_2_load_77 | 36 | 5.2381e-05 | 1.3128e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4921-3_1_2_load_78 | 37 | 0.00013305 | 3.3345e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4921-3_1_2_load_79 | 38 | 0.00018782 | 4.7072e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4921-3_1_2_load_80 | 39 | 0.00014642 | 3.6696e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4921-3_1_2_load_81 | 40 | 0.00047971 | 0.00012023 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4921-3_1_2_load_83 | 41 | 0.0006211 | 0.00015566 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4921-3_1_2_load_84 | 42 | 0.00045346 | 0.00011365 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4921-3_1_2_load_92 | 44 | 0.00026457 | 6.6307e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4921-3_1_2_load_89 | 45 | 0.0001224 | 3.0677e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4921-3_1_2_load_90 | 46 | 0.00012852 | 3.221e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4921-3_1_2_load_91 | 47 | 0.00024548 | 6.1524e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4921-3_1_2_load_93 | 48 | 0.0031234 | 0.0007828 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4921-3_1_2_load_123 | 49 | 0.0018193 | 0.00045595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4921-3_1_2_load_99 | 50 | 0.0002712 | 6.7968e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4921-3_1_2_load_101 | 51 | 0.00051251 | 0.00012845 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4921-3_1_2_load_103 | 52 | 0.00114 | 0.00028571 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4921-3_1_2_load_104 | 53 | 0.00033252 | 8.3336e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4921-3_1_2_load_105 | 55 | 0.00010309 | 2.5837e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4921-3_1_2_load_106 | 56 | 0.00017455 | 4.3748e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4921-3_1_2_load_126 | 57 | 0.0029646 | 0.00074299 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4921-3_1_2_load_124 | 58 | 0.0015038 | 0.00037688 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4921-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4921-3_1_2_line_1 | NAYY 4x150 SE | 1 | 38 | 0.025368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4921-3_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.030459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4921-3_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.057426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4921-3_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.2323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4921-3_1_2_line_5 | NAYY 4x150 SE | 5 | 16 | 0.14684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4921-3_1_2_line_6 | NAYY 4x150 SE | 5 | 13 | 0.29864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4921-3_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.021143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4921-3_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.10517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4921-3_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.27594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4921-3_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.17061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4921-3_1_2_line_11 | NAYY 4x150 SE | 10 | 52 | 0.033528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4921-3_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.062313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4921-3_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.027859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4921-3_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.036681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4921-3_1_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.15848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4921-3_1_2_line_16 | NAYY 4x150 SE | 15 | 54 | 0.057926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4921-3_1_2_line_17 | NAYY 4x150 SE | 16 | 58 | 0.0057092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4921-3_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.006311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4921-3_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.015859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4921-3_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.015362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4921-3_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.027888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4921-3_1_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.027828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4921-3_1_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.0022021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4921-3_1_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0037671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4921-3_1_2_line_25 | NAYY 4x150 SE | 21 | 25 | 0.01694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4921-3_1_2_line_26 | NAYY 4x150 SE | 22 | 26 | 0.030467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4921-3_1_2_line_27 | NAYY 4x150 SE | 22 | 27 | 0.011069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4921-3_1_2_line_28 | NAYY 4x150 SE | 23 | 50 | 0.043788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4921-3_1_2_line_29 | NAYY 4x150 SE | 24 | 40 | 0.023043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4921-3_1_2_line_30 | NAYY 4x150 SE | 25 | 55 | 0.014317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4921-3_1_2_line_31 | NAYY 4x150 SE | 26 | 44 | 0.011823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4921-3_1_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.025356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4921-3_1_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.020657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4921-3_1_2_line_34 | NAYY 4x150 SE | 28 | 30 | 0.039091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4921-3_1_2_line_35 | NAYY 4x150 SE | 29 | 31 | 0.048055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4921-3_1_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0089962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4921-3_1_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.028543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4921-3_1_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.0099597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4921-3_1_2_line_39 | NAYY 4x150 SE | 34 | 39 | 0.012392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4921-3_1_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.023767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4921-3_1_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.013854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4921-3_1_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.046373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4921-3_1_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.01472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4921-3_1_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.02751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4921-3_1_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0025859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4921-3_1_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.32844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4921-3_1_2_line_47 | NAYY 4x150 SE | 43 | 57 | 0.21573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4921-3_1_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.00076346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4921-3_1_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0088987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4921-3_1_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.013181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4921-3_1_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4921-3_1_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.033739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4921-3_1_2_line_53 | NAYY 4x150 SE | 49 | 58 | 0.0021746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4921-3_1_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0088303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4921-3_1_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.02049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4921-3_1_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.037847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4921-3_1_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0032876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4921-3_1_2_trafo_123 | 0.25 MVA 20/0.4 kV | 59 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2726914.6205 | 1267184.2375 | 2726944.6277 | 1267185.2464
1 | 2726889.2665 | 1267183.3851 | 2726914.6205 | 1267184.2375
2 | 2727181.8288 | 1266943.8839 | 2727212.1848 | 1266941.3787
3 | 2727124.5975 | 1266948.6071 | 2727181.8288 | 1266943.8839
4 | 2727124.5975 | 1266948.6071 | 2726904.4261 | 1266967.0038 | 2726896.9315 | 1266966.3757 | 2726892.7359 | 1266964.6729
5 | 2726892.7359 | 1266964.6729 | 2726847.6033 | 1266990.6726 | 2726837.3145 | 1266998.826 | 2726830.4475 | 1267007.1975 | 2726791.9045 | 1267057.7618 | 2726787.426 | 1267063.4239
6 | 2726892.7359 | 1266964.6729 | 2727052.9096 | 1266877.7001 | 2727061.4227 | 1266871.9444 | 2727072.3513 | 1266860.68 | 2727112.2981 | 1266810.8484 | 2727116.8909 | 1266802.8509 | 2727120.2149 | 1266793.9697 | 2727121.5298 | 1266785.7126
7 | 2726703.6796 | 1266445.6068 | 2726699.4519 | 1266435.7824 | 2726695.5851 | 1266426.0769
8 | 2726746.2438 | 1266541.7723 | 2726722.3286 | 1266488.9441 | 2726703.6796 | 1266445.6068
9 | 2726919.4142 | 1266326.7117 | 2726910.2957 | 1266336.4249 | 2726874.5197 | 1266377.8618 | 2726830.9615 | 1266434.8575 | 2726766.0884 | 1266518.6209 | 2726746.2438 | 1266541.7723
10 | 2726919.4142 | 1266326.7117 | 2726925.3056 | 1266341.6965 | 2726978.6741 | 1266468.1261 | 2726984.2431 | 1266484.4844
11 | 2726984.2431 | 1266484.4844 | 2726985.1275 | 1266487.0823 | 2726988.4129 | 1266503.8128 | 2726990.1651 | 1266517.4345
12 | 2727149.2886 | 1266785.2889 | 2727155.2625 | 1266785.9829 | 2727164.1825 | 1266783.7282 | 2727171.4615 | 1266778.9916 | 2727176.2118 | 1266768.9289 | 2727178.7936 | 1266754.3043 | 2727186.1786 | 1266744.2984
13 | 2727121.5298 | 1266785.7126 | 2727131.3134 | 1266784.622 | 2727143.3934 | 1266784.604 | 2727149.2886 | 1266785.2889
14 | 2727121.5298 | 1266785.7126 | 2727120.8839 | 1266780.3827 | 2727119.489 | 1266774.5139 | 2727115.4622 | 1266763.2168 | 2727108.9952 | 1266751.6106
15 | 2727036.0083 | 1266611.0457 | 2727042.6492 | 1266627.5704 | 2727095.7616 | 1266727.8605 | 2727108.9952 | 1266751.6106
16 | 2727004.7471 | 1266573.5504 | 2727015.3734 | 1266579.1617 | 2727022.92 | 1266581.248 | 2727030.9431 | 1266581.8321 | 2727030.38 | 1266588.4038 | 2727031.9028 | 1266599.1909 | 2727036.0083 | 1266611.0457
17 | 2726787.426 | 1267063.4239 | 2726783.8843 | 1267067.9017
18 | 2726710.0783 | 1267138.5969 | 2726708.6954 | 1267132.4393
19 | 2726713.5533 | 1267154.0706 | 2726710.0783 | 1267138.5969
20 | 2726705.3292 | 1267117.4505 | 2726708.6954 | 1267132.4393
21 | 2726713.5533 | 1267154.0706 | 2726686.4897 | 1267147.0172
22 | 2726737.0518 | 1267168.9882 | 2726724.8528 | 1267160.2074 | 2726713.5533 | 1267154.0706
23 | 2726704.8467 | 1267115.3019 | 2726705.3292 | 1267117.4505
24 | 2726686.4897 | 1267147.0172 | 2726682.7611 | 1267146.4798
25 | 2726686.4897 | 1267147.0172 | 2726683.6163 | 1267163.7115
26 | 2726737.0518 | 1267168.9882 | 2726744.7114 | 1267153.1489 | 2726748.1106 | 1267140.7326
27 | 2726737.0518 | 1267168.9882 | 2726744.6877 | 1267177.0016
28 | 2726695.252 | 1267072.5785 | 2726704.8467 | 1267115.3019
29 | 2726659.9534 | 1267143.1925 | 2726682.7611 | 1267146.4798
30 | 2726681.1878 | 1267177.8214 | 2726683.6163 | 1267163.7115
31 | 2726750.1603 | 1267129.0887 | 2726748.1106 | 1267140.7326
32 | 2726761.6418 | 1267195.8515 | 2726748.5847 | 1267181.0912 | 2726744.6877 | 1267177.0016
33 | 2726788.2483 | 1267222.917 | 2726808.8895 | 1267223.7349
34 | 2726761.6418 | 1267195.8515 | 2726776.7638 | 1267215.7943 | 2726780.6572 | 1267219.9929 | 2726785.6269 | 1267222.8132 | 2726788.2483 | 1267222.917
35 | 2726856.7803 | 1267226.7339 | 2726848.4009 | 1267225.2179 | 2726823.6228 | 1267224.3187 | 2726808.8895 | 1267223.7349
36 | 2726761.6418 | 1267195.8515 | 2726768.5357 | 1267190.0718
37 | 2726883.2586 | 1267237.0198 | 2726862.6307 | 1267227.7924 | 2726856.7803 | 1267226.7339
38 | 2726768.5357 | 1267190.0718 | 2726778.4608 | 1267189.2434
39 | 2726790.8103 | 1267188.2127 | 2726778.4608 | 1267189.2434
40 | 2726819.2858 | 1267185.8361 | 2726842.97 | 1267183.8594
41 | 2726819.2858 | 1267185.8361 | 2726805.4798 | 1267186.9884
42 | 2726889.2665 | 1267183.3851 | 2726860.3149 | 1267182.4118 | 2726842.97 | 1267183.8594
43 | 2726790.8103 | 1267188.2127 | 2726805.4798 | 1267186.9884
44 | 2726659.9534 | 1267143.1925 | 2726657.6619 | 1267142.8622 | 2726632.4675 | 1267142.7655
45 | 2726629.8817 | 1267142.7556 | 2726632.4675 | 1267142.7655
46 | 2726319.813 | 1267100.4481 | 2726381.4223 | 1267145.0175 | 2726395.5559 | 1267152.4488 | 2726416.3337 | 1267158.3653 | 2726436.3231 | 1267158.8934 | 2726513.8907 | 1267145.6855 | 2726548.3592 | 1267142.4427 | 2726629.8817 | 1267142.7556
47 | 2726319.813 | 1267100.4481 | 2726309.5198 | 1267095.1232 | 2726238.2404 | 1267092.8205 | 2726159.8647 | 1267086.4077 | 2726129.9747 | 1267088.594 | 2726105.9682 | 1267091.7826
48 | 2726750.1603 | 1267129.0887 | 2726750.2926 | 1267128.3368
49 | 2726751.7716 | 1267119.5622 | 2726751.198 | 1267123.1937 | 2726750.2926 | 1267128.3368
50 | 2726751.7716 | 1267119.5622 | 2726753.8281 | 1267106.5428
51 | 2726753.8281 | 1267106.5428 | 2726754.3266 | 1267103.3869 | 2726758.5277 | 1267093.2565
52 | 2726782.5352 | 1267069.6073 | 2726780.6341 | 1267072.011 | 2726767.5612 | 1267083.9305 | 2726758.5277 | 1267093.2565 | 2726758.5277 | 1267093.2565
53 | 2726782.5352 | 1267069.6073 | 2726783.8843 | 1267067.9017
54 | 2726695.252 | 1267072.5785 | 2726693.3171 | 1267063.9627
55 | 2726993.3541 | 1266537.665 | 2726991.5617 | 1266528.2919 | 2726990.1651 | 1266517.4345
56 | 2727004.7471 | 1266573.5504 | 2727000.1548 | 1266564.3654 | 2726995.0618 | 1266546.5951 | 2726993.3541 | 1266537.665
57 | 2726681.1878 | 1267177.8214 | 2726680.6302 | 1267181.0614

## bus_geodata
| x | y | coords
0 | 2726944.6277 | 1267185.2464
1 | 2726914.6205 | 1267184.2375
2 | 2727181.8288 | 1266943.8839
3 | 2727212.1848 | 1266941.3787
4 | 2727124.5975 | 1266948.6071
5 | 2726892.7359 | 1266964.6729
6 | 2726703.6796 | 1266445.6068
7 | 2726695.5851 | 1266426.0769
8 | 2726746.2438 | 1266541.7723
9 | 2726919.4142 | 1266326.7117
10 | 2726984.2431 | 1266484.4844
11 | 2727149.2886 | 1266785.2889
12 | 2727186.1786 | 1266744.2984
13 | 2727121.5298 | 1266785.7126
14 | 2727108.9952 | 1266751.6106
15 | 2727036.0083 | 1266611.0457
16 | 2726787.426 | 1267063.4239
17 | 2726710.0783 | 1267138.5969
18 | 2726708.6954 | 1267132.4393
19 | 2726713.5533 | 1267154.0706
20 | 2726705.3292 | 1267117.4505
21 | 2726686.4897 | 1267147.0172
22 | 2726737.0518 | 1267168.9882
23 | 2726704.8467 | 1267115.3019
24 | 2726682.7611 | 1267146.4798
25 | 2726683.6163 | 1267163.7115
26 | 2726748.1106 | 1267140.7326
27 | 2726744.6877 | 1267177.0016
28 | 2726788.2483 | 1267222.917
29 | 2726808.8895 | 1267223.7349
30 | 2726761.6418 | 1267195.8515
31 | 2726856.7803 | 1267226.7339
32 | 2726768.5357 | 1267190.0718
33 | 2726883.2586 | 1267237.0198
34 | 2726778.4608 | 1267189.2434
35 | 2726819.2858 | 1267185.8361
36 | 2726842.97 | 1267183.8594
37 | 2726805.4798 | 1267186.9884
38 | 2726889.2665 | 1267183.3851
39 | 2726790.8103 | 1267188.2127
40 | 2726659.9534 | 1267143.1925
41 | 2726632.4675 | 1267142.7655
42 | 2726629.8817 | 1267142.7556
43 | 2726319.813 | 1267100.4481
44 | 2726750.1603 | 1267129.0887
45 | 2726751.7716 | 1267119.5622
46 | 2726750.2926 | 1267128.3368
47 | 2726753.8281 | 1267106.5428
48 | 2726758.5277 | 1267093.2565
49 | 2726782.5352 | 1267069.6073
50 | 2726695.252 | 1267072.5785
51 | 2726693.3171 | 1267063.9627
52 | 2726990.1651 | 1266517.4345
53 | 2726993.3541 | 1266537.665
54 | 2727004.7471 | 1266573.5504
55 | 2726681.1878 | 1267177.8214
56 | 2726680.6302 | 1267181.0614
57 | 2726105.9682 | 1267091.7826
58 | 2726783.8843 | 1267067.9017
59 | 2726782.5352 | 1267069.6073

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1