## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4921-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4921-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4921-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4921-4_0_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_4921-4_0_3_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_4921-4_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4921-4_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4921-4_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_4921-4_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_4921-4_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_4921-4_0_3_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_4921-4_0_3_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_4921-4_0_3_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_4921-4_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_4921-4_0_3_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4921-4_0_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_4921-4_0_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_4921-4_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4921-4_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4921-4_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4921-4_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4921-4_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4921-4_0_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_4921-4_0_3_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_4921-4_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4921-4_0_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_4921-4_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4921-4_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4921-4_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4921-4_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4921-4_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4921-4_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4921-4_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4921-4_0_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_4921-4_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_4921-4_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4921-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4921-4_0_3_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_4921-4_0_3_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_4921-4_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4921-4_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4921-4_0_3_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_4921-4_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4921-4_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4921-4_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_4921-4_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_4921-4_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_4921-4_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_4921-4_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_4921-4_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4921-4_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4921-4_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4921-4_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_4921-4_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_4921-4_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_4921-4_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4921-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_4921-4_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4921-4_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4921-4_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4921-4_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4921-4_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_4921-4_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_4921-4_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_4921-4_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_4921-4_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_MV_487_1_node_236 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4921-4_0_3_load_0 | 0 | 0.0035458 | 0.00088867 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4921-4_0_3_load_45 | 4 | 0.0022008 | 0.00055157 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4921-4_0_3_load_22 | 7 | 0.00075471 | 0.00018915 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4921-4_0_3_load_40 | 10 | 0.00075509 | 0.00018924 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4921-4_0_3_load_66 | 11 | 0.0015281 | 0.00038299 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4921-4_0_3_load_37 | 14 | 0.0021709 | 0.00054407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4921-4_0_3_load_50 | 15 | 0.00134 | 0.00033585 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4921-4_0_3_load_51 | 16 | 0.0019933 | 0.00049956 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4921-4_0_3_load_8 | 17 | 0.0011515 | 0.0002886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4921-4_0_3_load_9 | 18 | 0.0002271 | 5.6917e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4921-4_0_3_load_11 | 20 | 0.0013204 | 0.00033093 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4921-4_0_3_load_62 | 22 | 0.00056163 | 0.00014076 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4921-4_0_3_load_13 | 24 | 0.00027647 | 6.9289e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4921-4_0_3_load_69 | 25 | 0.001731 | 0.00043382 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4921-4_0_3_load_14 | 26 | 0.000131 | 3.2832e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4921-4_0_3_load_16 | 27 | 0.0024489 | 0.00061376 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4921-4_0_3_load_17 | 28 | 0.0039336 | 0.00098586 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4921-4_0_3_load_20 | 31 | 0.01014 | 0.0025414 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4921-4_0_3_load_64 | 33 | 0.0044412 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4921-4_0_3_load_55 | 34 | 0.0044407 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4921-4_0_3_load_24 | 35 | 0.0039287 | 0.00098462 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4921-4_0_3_load_29 | 36 | 0.0020123 | 0.00050433 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4921-4_0_3_load_65 | 37 | 0.0044406 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4921-4_0_3_load_54 | 38 | 0.0044364 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4921-4_0_3_load_60 | 41 | 0.0059389 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4921-4_0_3_load_28 | 42 | 0.0018189 | 0.00045587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4921-4_0_3_load_47 | 44 | 0.0087941 | 0.002204 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4921-4_0_3_load_57 | 45 | 0.0061909 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4921-4_0_3_load_61 | 48 | 0.010601 | 0.0026568 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4921-4_0_3_load_30 | 49 | 0.0030542 | 0.00076545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4921-4_0_3_load_31 | 50 | 0.0029987 | 0.00075153 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4921-4_0_3_load_32 | 52 | 0.00036198 | 9.0721e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4921-4_0_3_load_33 | 53 | 0.00069509 | 0.00017421 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4921-4_0_3_load_36 | 54 | 0.00066341 | 0.00016627 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4921-4_0_3_load_49 | 56 | 0.00042711 | 0.00010704 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4921-4_0_3_load_39 | 57 | 0.0017349 | 0.00043481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4921-4_0_3_load_41 | 58 | 0.0014065 | 0.00035251 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4921-4_0_3_load_53 | 61 | 0.0013368 | 0.00033504 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4921-4_0_3_load_67 | 62 | 0.068919 | 0.017273 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4921-4_0_3_load_68 | 63 | 0.0070938 | 0.0017779 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4921-4_0_3_load_63 | 64 | 0.019577 | 0.0049064 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4921-4_0_3_load_52 | 65 | 0.0056023 | 0.0014041 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4921-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4921-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.04963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4921-4_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.034762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4921-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4921-4_0_3_line_4 | NAYY 4x150 SE | 3 | 9 | 0.007136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4921-4_0_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.048817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4921-4_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.094012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4921-4_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.07495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4921-4_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.037803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4921-4_0_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.053856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4921-4_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.070442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4921-4_0_3_line_11 | NAYY 4x150 SE | 9 | 60 | 0.060262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4921-4_0_3_line_12 | NAYY 4x150 SE | 9 | 61 | 0.040914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4921-4_0_3_line_13 | NAYY 4x150 SE | 10 | 58 | 0.013234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4921-4_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.042453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4921-4_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.022444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4921-4_0_3_line_16 | NAYY 4x150 SE | 13 | 51 | 0.014108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4921-4_0_3_line_17 | NAYY 4x150 SE | 13 | 50 | 0.021401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4921-4_0_3_line_18 | NAYY 4x150 SE | 14 | 57 | 0.018693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4921-4_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.02581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4921-4_0_3_line_20 | NAYY 4x150 SE | 16 | 65 | 0.007232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4921-4_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.023848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4921-4_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.01714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4921-4_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.015325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4921-4_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.044661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4921-4_0_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.38193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4921-4_0_3_line_26 | NAYY 4x150 SE | 20 | 24 | 0.020578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4921-4_0_3_line_27 | NAYY 4x150 SE | 21 | 25 | 0.023542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4921-4_0_3_line_28 | NAYY 4x150 SE | 22 | 23 | 0.1791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4921-4_0_3_line_29 | NAYY 4x150 SE | 23 | 47 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4921-4_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.016013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4921-4_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.058826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4921-4_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.033907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4921-4_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.013895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4921-4_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.019166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4921-4_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.022343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4921-4_0_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.0017725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4921-4_0_3_line_37 | NAYY 4x150 SE | 30 | 34 | 0.02465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4921-4_0_3_line_38 | NAYY 4x150 SE | 31 | 35 | 0.018512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4921-4_0_3_line_39 | NAYY 4x150 SE | 32 | 36 | 0.011711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4921-4_0_3_line_40 | NAYY 4x150 SE | 33 | 37 | 0.00047885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4921-4_0_3_line_41 | NAYY 4x150 SE | 34 | 38 | 0.00030963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4921-4_0_3_line_42 | NAYY 4x150 SE | 35 | 39 | 0.047835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4921-4_0_3_line_43 | NAYY 4x150 SE | 36 | 42 | 0.0091641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4921-4_0_3_line_44 | NAYY 4x150 SE | 37 | 65 | 0.027416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4921-4_0_3_line_45 | NAYY 4x150 SE | 38 | 61 | 0.042582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4921-4_0_3_line_46 | NAYY 4x150 SE | 39 | 43 | 0.079229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4921-4_0_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.042329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4921-4_0_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.046113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4921-4_0_3_line_49 | NAYY 4x150 SE | 41 | 48 | 0.011323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4921-4_0_3_line_50 | NAYY 4x150 SE | 42 | 49 | 0.01421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4921-4_0_3_line_51 | NAYY 4x150 SE | 43 | 44 | 0.015672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4921-4_0_3_line_52 | NAYY 4x150 SE | 43 | 45 | 0.034778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4921-4_0_3_line_53 | NAYY 4x150 SE | 44 | 46 | 0.028854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4921-4_0_3_line_54 | NAYY 4x150 SE | 45 | 47 | 0.02953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4921-4_0_3_line_55 | NAYY 4x150 SE | 46 | 59 | 0.046328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4921-4_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.017288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4921-4_0_3_line_57 | NAYY 4x150 SE | 51 | 54 | 0.0099265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4921-4_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.023395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4921-4_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.022569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4921-4_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.11705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4921-4_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.099296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4921-4_0_3_line_62 | NAYY 4x150 SE | 59 | 62 | 0.03945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_4921-4_0_3_line_63 | NAYY 4x150 SE | 59 | 63 | 0.039578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4921-4_0_3_line_64 | NAYY 4x150 SE | 60 | 64 | 0.039064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4921-4_0_3_trafo_67 | 0.25 MVA 20/0.4 kV | 66 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2723672.5606 | 1268712.251 | 2723658.3332 | 1268722.3888
1 | 2723670.8012 | 1268669.3858 | 2723681.387 | 1268697.3665 | 2723670.5475 | 1268708.8056 | 2723672.5606 | 1268712.251
2 | 2723654.292 | 1268638.8122 | 2723661.6266 | 1268651.2994 | 2723670.8012 | 1268669.3858
3 | 2723670.8012 | 1268669.3858 | 2723672.5287 | 1268669.9336 | 2723674.6578 | 1268669.6446 | 2723688.589 | 1268662.2738 | 2723689.2987 | 1268662.042
4 | 2723647.3235 | 1268637.2427 | 2723650.4827 | 1268637.7315 | 2723654.292 | 1268638.8122
5 | 2723654.292 | 1268638.8122 | 2723663.1858 | 1268607.4139 | 2723666.0361 | 1268591.4836
6 | 2723760.299 | 1268698.0638 | 2723756.0651 | 1268691.0242 | 2723755.6352 | 1268679.9273 | 2723753.9088 | 1268673.9412 | 2723748.8433 | 1268669.2196 | 2723733.4711 | 1268663.0809 | 2723717.8947 | 1268659.8629 | 2723707.8655 | 1268658.852 | 2723697.3215 | 1268659.4207 | 2723689.2987 | 1268662.042
7 | 2723760.299 | 1268698.0638 | 2723758.2569 | 1268706.7735 | 2723757.5303 | 1268710.5507 | 2723756.8397 | 1268714.7623 | 2723753.9479 | 1268732.4069 | 2723749.7217 | 1268758.3978 | 2723745.441 | 1268766.8826 | 2723743.4147 | 1268770.5324
8 | 2723743.4147 | 1268770.5324 | 2723732.7717 | 1268783.0099 | 2723717.8955 | 1268798.3973
9 | 2723760.299 | 1268698.0638 | 2723765.5712 | 1268684.6619 | 2723773.6666 | 1268664.0793 | 2723781.1315 | 1268648.4324
10 | 2723765.753 | 1268591.2465 | 2723757.6657 | 1268611.0843 | 2723758.0321 | 1268623.7703 | 2723762.5824 | 1268637.2669 | 2723768.3418 | 1268643.3598 | 2723781.1315 | 1268648.4324
11 | 2723605.5306 | 1268624.8013 | 2723604.1971 | 1268620.8921 | 2723603.7478 | 1268615.7446 | 2723608.0405 | 1268615.3118 | 2723610.9725 | 1268613.705 | 2723647.3235 | 1268637.2427
12 | 2723647.3235 | 1268637.2427 | 2723639.1074 | 1268637.3709 | 2723627.2965 | 1268639.1143 | 2723617.5001 | 1268641.3669 | 2723610.7345 | 1268644.128 | 2723607.7948 | 1268645.8332
13 | 2723666.0361 | 1268591.4836 | 2723666.1019 | 1268591.1155 | 2723666.5151 | 1268581.8156 | 2723665.9391 | 1268578.3115
14 | 2723411.054 | 1268686.1927 | 2723414.4963 | 1268692.5816 | 2723422.0274 | 1268705.0503 | 2723431.4988 | 1268723.3761
15 | 2723431.4988 | 1268723.3761 | 2723451.8119 | 1268713.8318
16 | 2723402.4034 | 1268675.0574 | 2723406.9036 | 1268680.1783 | 2723411.054 | 1268686.1927
17 | 2723411.054 | 1268686.1927 | 2723427.3284 | 1268672.2954
18 | 2723468.7305 | 1268705.8824 | 2723451.8119 | 1268713.8318
19 | 2723511.3276 | 1268733.1437 | 2723522.5481 | 1268723.2454 | 2723530.3612 | 1268715.7202
20 | 2723530.3612 | 1268715.7202 | 2723535.5701 | 1268710.7032
21 | 2723304.1639 | 1267956.9706 | 2723303.6632 | 1267957.3046 | 2723284.738 | 1267970.8036
22 | 2723318.4228 | 1267947.4592 | 2723304.1639 | 1267956.9706
23 | 2723284.738 | 1267970.8036 | 2723272.2617 | 1267979.7028
24 | 2723318.4228 | 1267947.4592 | 2723292.5075 | 1267911.0295
25 | 2723535.3432 | 1268261.8104 | 2723318.4228 | 1267947.4592
26 | 2723255.5088 | 1267991.6524 | 2723272.2617 | 1267979.7028
27 | 2723292.5075 | 1267911.0295 | 2723274.415 | 1267926.1548
28 | 2723606.1251 | 1268426.3314 | 2723535.3432 | 1268261.8104
29 | 2723616.1097 | 1268434.8815 | 2723606.1251 | 1268426.3314
30 | 2723255.5088 | 1267991.6524 | 2723242.4721 | 1268000.9513
31 | 2723546.72 | 1268680.7062 | 2723503.4625 | 1268640.8404
32 | 2723478.5289 | 1268617.8618 | 2723503.4625 | 1268640.8404
33 | 2723556.9379 | 1268690.1228 | 2723546.72 | 1268680.7062
34 | 2723478.5289 | 1268617.8618 | 2723482.8797 | 1268613.2151 | 2723491.1138 | 1268603.4149
35 | 2723463.2361 | 1268634.1906 | 2723478.5289 | 1268617.8618
36 | 2723556.9379 | 1268690.1228 | 2723555.6612 | 1268691.3524
37 | 2723556.9379 | 1268690.1228 | 2723574.9412 | 1268673.2855
38 | 2723503.0224 | 1268589.2415 | 2723491.1138 | 1268603.4149
39 | 2723463.2361 | 1268634.1906 | 2723455.2486 | 1268642.7549
40 | 2723555.3163 | 1268691.6846 | 2723555.6612 | 1268691.3524
41 | 2723574.9412 | 1268673.2855 | 2723575.1674 | 1268673.074
42 | 2723531.6125 | 1268550.8987 | 2723524.2442 | 1268560.8761 | 2723505.1846 | 1268586.668 | 2723503.0224 | 1268589.2415
43 | 2723448.9983 | 1268649.4567 | 2723455.2486 | 1268642.7549
44 | 2723535.5701 | 1268710.7032 | 2723555.3163 | 1268691.6846
45 | 2723607.7948 | 1268645.8332 | 2723604.554 | 1268647.7131 | 2723585.7251 | 1268663.2001 | 2723575.1674 | 1268673.074
46 | 2723576.5473 | 1268485.5672 | 2723556.5287 | 1268515.4316 | 2723544.5779 | 1268532.4862 | 2723531.6125 | 1268550.8987
47 | 2723497.3318 | 1268526.2373 | 2723518.4452 | 1268539.0237 | 2723531.6125 | 1268550.8987
48 | 2723497.3318 | 1268526.2373 | 2723505.8316 | 1268505.3625 | 2723509.2048 | 1268495.624 | 2723510.8429 | 1268482.4573
49 | 2723510.8429 | 1268482.4573 | 2723509.716 | 1268471.19 | 2723509.716 | 1268471.19
50 | 2723448.9983 | 1268649.4567 | 2723439.3067 | 1268659.8482
51 | 2723576.5473 | 1268485.5672 | 2723588.6527 | 1268495.5205
52 | 2723576.5473 | 1268485.5672 | 2723585.9644 | 1268472.6745 | 2723597.6954 | 1268457.9674
53 | 2723610.9404 | 1268513.8459 | 2723588.6527 | 1268495.5205
54 | 2723616.1097 | 1268434.8815 | 2723597.6954 | 1268457.9674
55 | 2723610.9404 | 1268513.8459 | 2723614.8528 | 1268544.1667 | 2723605.1887 | 1268556.6315
56 | 2723427.3284 | 1268672.2954 | 2723429.1437 | 1268670.7452 | 2723439.3067 | 1268659.8482
57 | 2723402.4034 | 1268675.0574 | 2723397.9047 | 1268671.6603 | 2723394.1085 | 1268669.6635
58 | 2723402.4034 | 1268675.0574 | 2723401.1756 | 1268666.446 | 2723398.6294 | 1268656.4392 | 2723397.7366 | 1268652.1604
59 | 2723397.7366 | 1268652.1604 | 2723395.6322 | 1268642.0745 | 2723395.2093 | 1268637.0945 | 2723396.3156 | 1268629.911
60 | 2723300.3392 | 1268728.5424 | 2723328.3763 | 1268700.702 | 2723344.1676 | 1268686.0738 | 2723347.3555 | 1268683.0264 | 2723351.4999 | 1268679.5986 | 2723360.2424 | 1268673.7313 | 2723370.5003 | 1268668.841 | 2723378.1429 | 1268666.9766 | 2723385.7043 | 1268666.8344 | 2723392.2901 | 1268668.707 | 2723394.1085 | 1268669.6635
61 | 2723352.7092 | 1268647.3054 | 2723315.2234 | 1268684.5349 | 2723308.4856 | 1268700.0307 | 2723300.3392 | 1268728.5424
62 | 2723605.1887 | 1268556.6315 | 2723581.0086 | 1268587.8545
63 | 2723568.9662 | 1268549.2227 | 2723582.1679 | 1268545.7845 | 2723595.5826 | 1268549.0681 | 2723605.1887 | 1268556.6315
64 | 2723605.5306 | 1268624.8013 | 2723598.777 | 1268625.5496 | 2723588.6596 | 1268625.5158 | 2723581.7107 | 1268626.9606 | 2723577.0239 | 1268630.3991 | 2723574.1204 | 1268633.519 | 2723574.3098 | 1268638.4942

## bus_geodata
| x | y | coords
0 | 2723658.3332 | 1268722.3888
1 | 2723672.5606 | 1268712.251
2 | 2723670.8012 | 1268669.3858
3 | 2723654.292 | 1268638.8122
4 | 2723689.2987 | 1268662.042
5 | 2723743.4147 | 1268770.5324
6 | 2723760.299 | 1268698.0638
7 | 2723717.8955 | 1268798.3973
8 | 2723781.1315 | 1268648.4324
9 | 2723647.3235 | 1268637.2427
10 | 2723666.0361 | 1268591.4836
11 | 2723765.753 | 1268591.2465
12 | 2723431.4988 | 1268723.3761
13 | 2723411.054 | 1268686.1927
14 | 2723451.8119 | 1268713.8318
15 | 2723511.3276 | 1268733.1437
16 | 2723530.3612 | 1268715.7202
17 | 2723304.1639 | 1267956.9706
18 | 2723284.738 | 1267970.8036
19 | 2723318.4228 | 1267947.4592
20 | 2723272.2617 | 1267979.7028
21 | 2723292.5075 | 1267911.0295
22 | 2723535.3432 | 1268261.8104
23 | 2723606.1251 | 1268426.3314
24 | 2723255.5088 | 1267991.6524
25 | 2723274.415 | 1267926.1548
26 | 2723242.4721 | 1268000.9513
27 | 2723503.4625 | 1268640.8404
28 | 2723546.72 | 1268680.7062
29 | 2723478.5289 | 1268617.8618
30 | 2723556.9379 | 1268690.1228
31 | 2723491.1138 | 1268603.4149
32 | 2723463.2361 | 1268634.1906
33 | 2723555.6612 | 1268691.3524
34 | 2723574.9412 | 1268673.2855
35 | 2723503.0224 | 1268589.2415
36 | 2723455.2486 | 1268642.7549
37 | 2723555.3163 | 1268691.6846
38 | 2723575.1674 | 1268673.074
39 | 2723531.6125 | 1268550.8987
40 | 2723497.3318 | 1268526.2373
41 | 2723510.8429 | 1268482.4573
42 | 2723448.9983 | 1268649.4567
43 | 2723576.5473 | 1268485.5672
44 | 2723588.6527 | 1268495.5205
45 | 2723597.6954 | 1268457.9674
46 | 2723610.9404 | 1268513.8459
47 | 2723616.1097 | 1268434.8815
48 | 2723509.716 | 1268471.19
49 | 2723439.3067 | 1268659.8482
50 | 2723427.3284 | 1268672.2954
51 | 2723402.4034 | 1268675.0574
52 | 2723397.7366 | 1268652.1604
53 | 2723396.3156 | 1268629.911
54 | 2723394.1085 | 1268669.6635
55 | 2723300.3392 | 1268728.5424
56 | 2723352.7092 | 1268647.3054
57 | 2723468.7305 | 1268705.8824
58 | 2723665.9391 | 1268578.3115
59 | 2723605.1887 | 1268556.6315
60 | 2723605.5306 | 1268624.8013
61 | 2723607.7948 | 1268645.8332
62 | 2723581.0086 | 1268587.8545
63 | 2723568.9662 | 1268549.2227
64 | 2723574.3098 | 1268638.4942
65 | 2723535.5701 | 1268710.7032
66 | 2723605.1887 | 1268556.6315

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1