## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4941-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4941-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4941-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4941-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4941-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4941-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4941-2_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4941-2_0_3_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_4941-2_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_4941-2_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_4941-2_0_3_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_4941-2_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_4941-2_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4941-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4941-2_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4941-2_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4941-2_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4941-2_0_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_4941-2_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_4941-2_0_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_4941-2_0_3_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_4941-2_0_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_4941-2_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_4941-2_0_3_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_4941-2_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4941-2_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_4941-2_0_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_4941-2_0_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_4941-2_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_4941-2_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_4941-2_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_4941-2_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4941-2_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4941-2_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_4941-2_0_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_4941-2_0_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_4941-2_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_4941-2_0_3_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_4941-2_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_4941-2_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_4941-2_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4941-2_0_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_4941-2_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4941-2_0_3_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_4941-2_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_4941-2_0_3_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4941-2_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4941-2_0_3_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_4941-2_0_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_4941-2_0_3_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4941-2_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4941-2_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4941-2_0_3_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_4941-2_0_3_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_4941-2_0_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_4941-2_0_3_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_4941-2_0_3_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4941-2_0_3_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_4941-2_0_3_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_4941-2_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_4941-2_0_3_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_4941-2_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_4941-2_0_3_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_4941-2_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4941-2_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_4941-2_0_3_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_4941-2_0_3_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_4941-2_0_3_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_4941-2_0_3_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_4941-2_0_3_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_4941-2_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_4941-2_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_4941-2_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4941-2_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4941-2_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_4941-2_0_3_node_39 | 0.4 | n |  | TRUE
76 | bus_LV_4941-2_0_3_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_4941-2_0_3_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_4941-2_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4941-2_0_3_node_44 | 0.4 | n |  | TRUE
80 | bus_LV_4941-2_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4941-2_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4941-2_0_3_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_4941-2_0_3_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_4941-2_0_3_node_50 | 0.4 | n |  | TRUE
85 | bus_LV_4941-2_0_3_node_51 | 0.4 | n |  | TRUE
86 | bus_LV_4941-2_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4941-2_0_3_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_4941-2_0_3_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_4941-2_0_3_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4941-2_0_3_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_4941-2_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_MV_439_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4941-2_0_3_load_0 | 0 | 0.0047041 | 0.001179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4941-2_0_3_load_1 | 1 | 0.0044147 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4941-2_0_3_load_3 | 3 | 0.0049409 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4941-2_0_3_load_4 | 4 | 0.0028466 | 0.00071343 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4941-2_0_3_load_5 | 5 | 0.006536 | 0.0016381 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4941-2_0_3_load_19 | 9 | 0.0038296 | 0.00095979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4941-2_0_3_load_33 | 11 | 0.0016731 | 0.00041933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4941-2_0_3_load_6 | 12 | 0.0035194 | 0.00088205 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4941-2_0_3_load_82 | 17 | 0.0047429 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4941-2_0_3_load_22 | 18 | 0.0048967 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4941-2_0_3_load_86 | 20 | 0.019143 | 0.0047977 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4941-2_0_3_load_83 | 21 | 0.0051783 | 0.0012978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4941-2_0_3_load_68 | 23 | 0.0040127 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4941-2_0_3_load_20 | 24 | 0.00085446 | 0.00021415 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4941-2_0_3_load_54 | 26 | 0.0028627 | 0.00071747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4941-2_0_3_load_12 | 28 | 0.00041177 | 0.0001032 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4941-2_0_3_load_13 | 29 | 0.00025786 | 6.4625e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4941-2_0_3_load_16 | 32 | 0.0013719 | 0.00034384 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4941-2_0_3_load_42 | 33 | 0.00016625 | 4.1667e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4941-2_0_3_load_81 | 34 | 0.00015627 | 3.9165e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4941-2_0_3_load_40 | 36 | 0.00013456 | 3.3724e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4941-2_0_3_load_45 | 39 | 0.0036534 | 0.00091564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4941-2_0_3_load_30 | 42 | 0.004294 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4941-2_0_3_load_92 | 43 | 0.0010942 | 0.00027422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4941-2_0_3_load_21 | 45 | 0.0033566 | 0.00084125 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4941-2_0_3_load_23 | 46 | 0.00096024 | 0.00024066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4941-2_0_3_load_69 | 47 | 0.0015007 | 0.00037611 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4941-2_0_3_load_70 | 48 | 0.00036313 | 9.1008e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4941-2_0_3_load_24 | 49 | 0.0025242 | 0.00063263 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4941-2_0_3_load_25 | 50 | 0.0072289 | 0.0018117 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4941-2_0_3_load_84 | 53 | 0.003083 | 0.00077267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4941-2_0_3_load_90 | 54 | 0.0036945 | 0.00092593 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4941-2_0_3_load_91 | 55 | 0.00062562 | 0.0001568 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4941-2_0_3_load_89 | 56 | 0.00032812 | 8.2234e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4941-2_0_3_load_29 | 57 | 0.0077943 | 0.0019534 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4941-2_0_3_load_31 | 58 | 0.0014157 | 0.00035482 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4941-2_0_3_load_96 | 60 | 0.00086848 | 0.00021766 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4941-2_0_3_load_88 | 62 | 0.0014902 | 0.00037348 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4941-2_0_3_load_75 | 64 | 0.00090824 | 0.00022763 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4941-2_0_3_load_80 | 65 | 0.0015159 | 0.00037992 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4941-2_0_3_load_34 | 66 | 0.0033955 | 0.00085099 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4941-2_0_3_load_35 | 67 | 0.0010733 | 0.00026898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4941-2_0_3_load_36 | 68 | 0.00071719 | 0.00017975 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4941-2_0_3_load_37 | 69 | 0.0038739 | 0.0009709 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4941-2_0_3_load_55 | 71 | 0.0016945 | 0.00042467 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4941-2_0_3_load_67 | 73 | 0.0022578 | 0.00056586 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4941-2_0_3_load_59 | 74 | 0.002306 | 0.00057793 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4941-2_0_3_load_39 | 75 | 0.00012865 | 3.2242e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4941-2_0_3_load_56 | 78 | 0.00042534 | 0.0001066 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4941-2_0_3_load_65 | 80 | 0.0041966 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4941-2_0_3_load_63 | 81 | 0.00063865 | 0.00016006 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4941-2_0_3_load_48 | 82 | 0.0055753 | 0.0013973 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4941-2_0_3_load_50 | 84 | 0.0049782 | 0.0012477 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4941-2_0_3_load_51 | 85 | 0.0051472 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4941-2_0_3_load_98 | 87 | 0.00054191 | 0.00013582 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4941-2_0_3_load_64 | 88 | 0.00063742 | 0.00015975 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4941-2_0_3_load_66 | 89 | 0.002199 | 0.00055112 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4941-2_0_3_load_97 | 90 | 0.0017274 | 0.00043293 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4941-2_0_3_load_87 | 91 | 0.001463 | 0.00036667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4941-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0061514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_4941-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_4941-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4941-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.043239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4941-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0084974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_4941-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4941-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.013713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4941-2_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.02422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4941-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.04289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4941-2_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.008177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4941-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.022254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4941-2_0_3_line_11 | NAYY 4x150 SE | 8 | 38 | 0.004133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4941-2_0_3_line_12 | NAYY 4x150 SE | 8 | 39 | 0.014959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4941-2_0_3_line_13 | NAYY 4x150 SE | 10 | 23 | 0.013575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4941-2_0_3_line_14 | NAYY 4x150 SE | 10 | 16 | 0.037307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4941-2_0_3_line_15 | NAYY 4x150 SE | 11 | 58 | 0.021366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4941-2_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.0071902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4941-2_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.036396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4941-2_0_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.044176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4941-2_0_3_line_19 | NAYY 4x150 SE | 14 | 17 | 0.014999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4941-2_0_3_line_20 | NAYY 4x150 SE | 14 | 18 | 0.0072545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4941-2_0_3_line_21 | NAYY 4x150 SE | 15 | 19 | 0.011934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4941-2_0_3_line_22 | NAYY 4x150 SE | 15 | 20 | 0.03572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4941-2_0_3_line_23 | NAYY 4x150 SE | 16 | 17 | 0.0068004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4941-2_0_3_line_24 | NAYY 4x150 SE | 18 | 24 | 0.0096515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4941-2_0_3_line_25 | NAYY 4x150 SE | 19 | 25 | 0.02916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4941-2_0_3_line_26 | NAYY 4x150 SE | 19 | 26 | 0.0094184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4941-2_0_3_line_27 | NAYY 4x150 SE | 20 | 27 | 0.037931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4941-2_0_3_line_28 | NAYY 4x150 SE | 21 | 22 | 0.012958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4941-2_0_3_line_29 | NAYY 4x150 SE | 22 | 53 | 0.063946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4941-2_0_3_line_30 | NAYY 4x150 SE | 22 | 50 | 0.0041777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4941-2_0_3_line_31 | NAYY 4x150 SE | 23 | 73 | 0.0011612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4941-2_0_3_line_32 | NAYY 4x150 SE | 24 | 45 | 0.0075118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4941-2_0_3_line_33 | NAYY 4x150 SE | 25 | 85 | 0.016254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4941-2_0_3_line_34 | NAYY 4x150 SE | 27 | 35 | 0.025493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4941-2_0_3_line_35 | NAYY 4x150 SE | 28 | 29 | 0.016325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4941-2_0_3_line_36 | NAYY 4x150 SE | 28 | 30 | 0.011231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4941-2_0_3_line_37 | NAYY 4x150 SE | 30 | 31 | 0.023139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4941-2_0_3_line_38 | NAYY 4x150 SE | 30 | 32 | 0.019433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4941-2_0_3_line_39 | NAYY 4x150 SE | 31 | 33 | 0.0077325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4941-2_0_3_line_40 | NAYY 4x150 SE | 31 | 34 | 0.018334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4941-2_0_3_line_41 | NAYY 4x150 SE | 32 | 35 | 0.019811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4941-2_0_3_line_42 | NAYY 4x150 SE | 33 | 36 | 0.022063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4941-2_0_3_line_43 | NAYY 4x150 SE | 34 | 37 | 0.018376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4941-2_0_3_line_44 | NAYY 4x150 SE | 36 | 75 | 0.0028051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4941-2_0_3_line_45 | NAYY 4x150 SE | 37 | 86 | 0.009549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4941-2_0_3_line_46 | NAYY 4x150 SE | 38 | 43 | 0.029175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4941-2_0_3_line_47 | NAYY 4x150 SE | 39 | 44 | 0.0023942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4941-2_0_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.020924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4941-2_0_3_line_49 | NAYY 4x150 SE | 40 | 42 | 0.012203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4941-2_0_3_line_50 | NAYY 4x150 SE | 41 | 64 | 0.013417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4941-2_0_3_line_51 | NAYY 4x150 SE | 41 | 59 | 0.0098522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4941-2_0_3_line_52 | NAYY 4x150 SE | 42 | 57 | 0.038079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4941-2_0_3_line_53 | NAYY 4x150 SE | 44 | 82 | 0.010947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4941-2_0_3_line_54 | NAYY 4x150 SE | 44 | 83 | 0.004597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4941-2_0_3_line_55 | NAYY 4x150 SE | 45 | 46 | 0.021307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4941-2_0_3_line_56 | NAYY 4x150 SE | 46 | 47 | 0.015507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4941-2_0_3_line_57 | NAYY 4x150 SE | 47 | 48 | 0.023462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4941-2_0_3_line_58 | NAYY 4x150 SE | 48 | 79 | 0.047995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4941-2_0_3_line_59 | NAYY 4x150 SE | 49 | 50 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4941-2_0_3_line_60 | NAYY 4x150 SE | 49 | 51 | 0.017756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4941-2_0_3_line_61 | NAYY 4x150 SE | 51 | 52 | 0.010965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4941-2_0_3_line_62 | NAYY 4x150 SE | 52 | 54 | 0.010341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4941-2_0_3_line_63 | NAYY 4x150 SE | 53 | 55 | 0.013222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4941-2_0_3_line_64 | NAYY 4x150 SE | 54 | 56 | 0.010613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4941-2_0_3_line_65 | NAYY 4x150 SE | 55 | 83 | 0.014535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4941-2_0_3_line_66 | NAYY 4x150 SE | 57 | 58 | 0.0025069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4941-2_0_3_line_67 | NAYY 4x150 SE | 59 | 60 | 0.0065699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4941-2_0_3_line_68 | NAYY 4x150 SE | 60 | 90 | 0.020701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4941-2_0_3_line_69 | NAYY 4x150 SE | 61 | 62 | 0.077143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4941-2_0_3_line_70 | NAYY 4x150 SE | 61 | 63 | 0.11078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4941-2_0_3_line_71 | NAYY 4x150 SE | 62 | 91 | 0.013622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4941-2_0_3_line_72 | NAYY 4x150 SE | 63 | 65 | 0.024631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4941-2_0_3_line_73 | NAYY 4x150 SE | 63 | 64 | 0.024439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4941-2_0_3_line_74 | NAYY 4x150 SE | 66 | 67 | 0.0042885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4941-2_0_3_line_75 | NAYY 4x150 SE | 66 | 68 | 0.020014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4941-2_0_3_line_76 | NAYY 4x150 SE | 67 | 69 | 0.013514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4941-2_0_3_line_77 | NAYY 4x150 SE | 68 | 70 | 0.035694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4941-2_0_3_line_78 | NAYY 4x150 SE | 69 | 71 | 0.02925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4941-2_0_3_line_79 | NAYY 4x150 SE | 70 | 72 | 0.025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4941-2_0_3_line_80 | NAYY 4x150 SE | 71 | 73 | 0.018096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4941-2_0_3_line_81 | NAYY 4x150 SE | 72 | 74 | 0.043331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4941-2_0_3_line_82 | NAYY 4x150 SE | 75 | 76 | 0.055598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4941-2_0_3_line_83 | NAYY 4x150 SE | 76 | 77 | 0.01519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4941-2_0_3_line_84 | NAYY 4x150 SE | 77 | 78 | 0.054202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4941-2_0_3_line_85 | NAYY 4x150 SE | 79 | 80 | 0.035138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4941-2_0_3_line_86 | NAYY 4x150 SE | 80 | 81 | 0.0080967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4941-2_0_3_line_87 | NAYY 4x150 SE | 81 | 88 | 0.01854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4941-2_0_3_line_88 | NAYY 4x150 SE | 84 | 85 | 0.0022641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4941-2_0_3_line_89 | NAYY 4x150 SE | 86 | 87 | 0.017751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4941-2_0_3_line_90 | NAYY 4x150 SE | 88 | 89 | 0.013954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4941-2_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 92 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2722496.8411 | 1272534.7492 | 2722497.4057 | 1272540.8746
1 | 2722495.7082 | 1272522.4593 | 2722496.8411 | 1272534.7492
2 | 2722496.8722 | 1272554.4465 | 2722497.9555 | 1272546.8397 | 2722497.4057 | 1272540.8746
3 | 2722495.7082 | 1272522.4593 | 2722457.9072 | 1272543.4518
4 | 2722495.7082 | 1272522.4593 | 2722497.1489 | 1272519.0193 | 2722496.9547 | 1272514.2553
5 | 2722432.8808 | 1272551.094 | 2722454.3191 | 1272545.4444 | 2722457.9072 | 1272543.4518
6 | 2722496.3963 | 1272500.5532 | 2722496.9547 | 1272514.2553
7 | 2722432.8808 | 1272551.094 | 2722420.9993 | 1272554.4619 | 2722409.1957 | 1272556.2522
8 | 2722432.8808 | 1272551.094 | 2722448.921 | 1272590.8721
9 | 2722504.5943 | 1272500.312 | 2722496.3963 | 1272500.5532
10 | 2722496.3963 | 1272500.5532 | 2722489.8544 | 1272500.7511 | 2722474.232 | 1272502.3975
11 | 2722405.1865 | 1272557.3034 | 2722409.1957 | 1272556.2522
12 | 2722409.1957 | 1272556.2522 | 2722415.0975 | 1272569.9978
13 | 2722504.5943 | 1272500.312 | 2722502.9218 | 1272492.8148 | 2722502.0614 | 1272486.9842
14 | 2722539.0043 | 1272513.8051 | 2722524.6971 | 1272505.3671 | 2722512.5148 | 1272501.4774 | 2722504.5943 | 1272500.312
15 | 2722474.232 | 1272502.3975 | 2722452.9837 | 1272504.6367
16 | 2722540.118 | 1272540.5976 | 2722533.0276 | 1272541.7912
17 | 2722540.118 | 1272540.5976 | 2722554.0383 | 1272532.1675 | 2722556.7044 | 1272522.614 | 2722560.5794 | 1272513.1745
18 | 2722540.118 | 1272540.5976 | 2722554.0383 | 1272532.1675 | 2722563.3811 | 1272549.244 | 2722568.7913 | 1272555.7178
19 | 2722560.5794 | 1272513.1745 | 2722550.1967 | 1272515.0052 | 2722545.7659 | 1272514.5301
20 | 2722560.5794 | 1272513.1745 | 2722566.723 | 1272509.3166
21 | 2722568.7913 | 1272555.7178 | 2722578.0765 | 1272563.2509
22 | 2722568.7913 | 1272555.7178 | 2722575.6963 | 1272551.802 | 2722602.3636 | 1272559.5924
23 | 2722539.0043 | 1272513.8051 | 2722545.7659 | 1272514.5301
24 | 2722566.723 | 1272509.3166 | 2722568.8425 | 1272507.9857 | 2722574.5274 | 1272503.6513
25 | 2722605.5887 | 1272572.6864 | 2722598.6785 | 1272571.0636 | 2722594.5233 | 1272570.0876 | 2722586.8765 | 1272567.7044 | 2722578.0765 | 1272563.2509
26 | 2722578.0765 | 1272563.2509 | 2722576.6762 | 1272572.5646
27 | 2722638.7724 | 1272570.2287 | 2722602.3636 | 1272559.5924
28 | 2722447.3962 | 1272658.6059 | 2722459.6883 | 1272654.5041
29 | 2722447.3962 | 1272658.6059 | 2722430.1637 | 1272617.8552 | 2722422.5549 | 1272599.6824
30 | 2722447.3962 | 1272658.6059 | 2722448.9743 | 1272662.474
31 | 2722501.8919 | 1272485.8354 | 2722502.0614 | 1272486.9842
32 | 2722574.5274 | 1272503.6513 | 2722579.3078 | 1272500.0066 | 2722580.3831 | 1272498.9602
33 | 2722605.5887 | 1272572.6864 | 2722602.5378 | 1272588.6513
34 | 2722638.7724 | 1272570.2287 | 2722642.2896 | 1272562.0831 | 2722643.204 | 1272554.6508 | 2722642.0002 | 1272548.8648 | 2722640.7682 | 1272545.8809
35 | 2722680.8723 | 1272514.5404 | 2722679.2864 | 1272530.7879
36 | 2722678.1954 | 1272541.9658 | 2722679.2864 | 1272530.7879
37 | 2722678.1954 | 1272541.9658 | 2722699.9109 | 1272550.1357
38 | 2722678.1954 | 1272541.9658 | 2722666.8612 | 1272538.1824 | 2722659.5359 | 1272539.7149
39 | 2722699.9109 | 1272550.1357 | 2722701.253 | 1272547.4611 | 2722703.4505 | 1272543.2612
40 | 2722699.9109 | 1272550.1357 | 2722691.6872 | 1272566.5222
41 | 2722640.7682 | 1272545.8809 | 2722653.4187 | 1272540.9947 | 2722659.5359 | 1272539.7149
42 | 2722713.6789 | 1272523.7119 | 2722703.4505 | 1272543.2612
43 | 2722683.4446 | 1272582.9463 | 2722691.6872 | 1272566.5222
44 | 2722713.6789 | 1272523.7119 | 2722714.9793 | 1272521.2264
45 | 2722683.4446 | 1272582.9463 | 2722675.0151 | 1272578.4114
46 | 2722405.1865 | 1272557.3034 | 2722401.6933 | 1272558.5099 | 2722378.979 | 1272570.0526
47 | 2722416.0421 | 1272572.1978 | 2722415.0975 | 1272569.9978
48 | 2722400.7914 | 1272512.4151 | 2722398.3855 | 1272506.5375 | 2722394.5069 | 1272505.6452 | 2722391.6988 | 1272504.2857 | 2722388.9604 | 1272502.1047 | 2722386.5745 | 1272498.8856
49 | 2722400.7914 | 1272512.4151 | 2722412.8088 | 1272510.2973
50 | 2722386.5745 | 1272498.8856 | 2722385.1157 | 1272495.5857 | 2722384.4562 | 1272492.9251 | 2722384.1495 | 1272489.9382 | 2722383.273 | 1272486.4946 | 2722383.079 | 1272486.0208
51 | 2722377.3826 | 1272502.4317 | 2722381.6146 | 1272500.7957 | 2722386.5745 | 1272498.8856
52 | 2722412.8088 | 1272510.2973 | 2722420.7788 | 1272508.8928 | 2722439.6011 | 1272506.0471 | 2722450.4906 | 1272504.8995
53 | 2722416.0421 | 1272572.1978 | 2722420.5587 | 1272582.1697
54 | 2722411.8351 | 1272574.079 | 2722416.0421 | 1272572.1978
55 | 2722594.0917 | 1272482.7929 | 2722592.8616 | 1272484.9629 | 2722587.9463 | 1272491.6004 | 2722580.3831 | 1272498.9602
56 | 2722594.0917 | 1272482.7929 | 2722596.8992 | 1272477.8401 | 2722600.8799 | 1272468.8699
57 | 2722600.8799 | 1272468.8699 | 2722606.3472 | 1272456.5498 | 2722610.5007 | 1272447.4721
58 | 2722649.1594 | 1272423.0745 | 2722642.0994 | 1272423.9398 | 2722635.0354 | 1272425.3611 | 2722629.0594 | 1272428.0061 | 2722621.9052 | 1272433.407 | 2722615.6547 | 1272439.8498 | 2722610.5007 | 1272447.4721 | 2722610.5007 | 1272447.4721
59 | 2722452.7917 | 1272671.8308 | 2722448.9743 | 1272662.474
60 | 2722461.6184 | 1272687.0717 | 2722457.8901 | 1272682.568 | 2722455.2853 | 1272677.943 | 2722452.7917 | 1272671.8308
61 | 2722452.6188 | 1272693.3242 | 2722458.301 | 1272689.5941 | 2722461.6184 | 1272687.0717
62 | 2722452.6188 | 1272693.3242 | 2722442.293 | 1272692.7659
63 | 2722417.4485 | 1272587.4862 | 2722422.5549 | 1272599.6824
64 | 2722431.7496 | 1272693.373 | 2722437.5969 | 1272692.512 | 2722442.293 | 1272692.7659
65 | 2722411.8351 | 1272574.079 | 2722417.4485 | 1272587.4862
66 | 2722452.9837 | 1272504.6367 | 2722450.4906 | 1272504.8995
67 | 2722377.3826 | 1272502.4317 | 2722379.9232 | 1272508.4906
68 | 2722379.9232 | 1272508.4906 | 2722387.9282 | 1272527.5809
69 | 2722387.5139 | 1272381.7965 | 2722406.4472 | 1272408.0688 | 2722411.4202 | 1272413.5103 | 2722418.9959 | 1272416.0697 | 2722426.0903 | 1272416.0835 | 2722443.4869 | 1272413.7976 | 2722448.0955 | 1272412.6445
70 | 2722372.5141 | 1272464.0286 | 2722369.7879 | 1272459.4456 | 2722367.9765 | 1272455.3709 | 2722359.2099 | 1272434.0584 | 2722349.0567 | 1272408.858 | 2722348.621 | 1272405.924 | 2722349.2245 | 1272402.5779 | 2722350.9169 | 1272399.3321 | 2722353.2642 | 1272397.1565 | 2722356.2092 | 1272395.5494 | 2722365.678 | 1272391.3528 | 2722387.5139 | 1272381.7965
71 | 2722461.3097 | 1272409.338 | 2722448.0955 | 1272412.6445
72 | 2722395.6189 | 1272455.3104 | 2722372.5141 | 1272464.0286
73 | 2722372.5141 | 1272464.0286 | 2722376.461 | 1272471.0613 | 2722378.5971 | 1272475.076 | 2722383.079 | 1272486.0208
74 | 2722502.2161 | 1272425.4422 | 2722502.2358 | 1272423.3138 | 2722501.9253 | 1272421.1763
75 | 2722495.6714 | 1272402.2915 | 2722499.0387 | 1272409.8906 | 2722501.1694 | 1272415.9738 | 2722501.9253 | 1272421.1763
76 | 2722502.2161 | 1272425.4422 | 2722502.1631 | 1272431.164 | 2722500.9738 | 1272438.8648
77 | 2722487.6369 | 1272367.6705 | 2722488.1956 | 1272374.822 | 2722494.0798 | 1272398.6996 | 2722495.6714 | 1272402.2915
78 | 2722499.2504 | 1272467.9337 | 2722498.9712 | 1272466.0413 | 2722498.8862 | 1272452.3824 | 2722500.9738 | 1272438.8648
79 | 2722511.9434 | 1272363.0593 | 2722493.2435 | 1272368.3207 | 2722487.6369 | 1272367.6705
80 | 2722499.2504 | 1272467.9337 | 2722501.8919 | 1272485.8354
81 | 2722511.9434 | 1272363.0593 | 2722516.0414 | 1272363.5337 | 2722519.7122 | 1272364.6553 | 2722522.0187 | 1272367.3501 | 2722523.5867 | 1272370.0963 | 2722526.6859 | 1272375.5545 | 2722530.8569 | 1272380.846 | 2722535.7388 | 1272384.1504 | 2722541.2009 | 1272385.5984 | 2722545.2491 | 1272384.9667
82 | 2722735.9861 | 1272470.1778 | 2722734.088 | 1272481.4933 | 2722729.9871 | 1272491.6509 | 2722724.6635 | 1272502.7172 | 2722714.9793 | 1272521.2264
83 | 2722735.9861 | 1272470.1778 | 2722735.8941 | 1272460.1333 | 2722740.7971 | 1272461.6922
84 | 2722740.7971 | 1272461.6922 | 2722746.9302 | 1272465.2341 | 2722783.8136 | 1272494.5579
85 | 2722649.1594 | 1272423.0745 | 2722649.1647 | 1272432.2275 | 2722645.8121 | 1272438.9642 | 2722637.1026 | 1272445.7118 | 2722633.128 | 1272452.0041
86 | 2722628.8041 | 1272458.8496 | 2722633.128 | 1272452.0041
87 | 2722628.8041 | 1272458.8496 | 2722625.6202 | 1272463.8902 | 2722620.8689 | 1272472.7664 | 2722620.6004 | 1272475.262
88 | 2722602.1128 | 1272590.8752 | 2722602.5378 | 1272588.6513
89 | 2722675.0151 | 1272578.4114 | 2722680.5943 | 1272561.5561
90 | 2722620.4215 | 1272489.1442 | 2722619.806 | 1272482.6424 | 2722620.6004 | 1272475.262

## bus_geodata
| x | y | coords
0 | 2722496.8411 | 1272534.7492
1 | 2722497.4057 | 1272540.8746
2 | 2722495.7082 | 1272522.4593
3 | 2722496.8722 | 1272554.4465
4 | 2722457.9072 | 1272543.4518
5 | 2722496.9547 | 1272514.2553
6 | 2722432.8808 | 1272551.094
7 | 2722496.3963 | 1272500.5532
8 | 2722409.1957 | 1272556.2522
9 | 2722448.921 | 1272590.8721
10 | 2722504.5943 | 1272500.312
11 | 2722474.232 | 1272502.3975
12 | 2722533.0276 | 1272541.7912
13 | 2722540.118 | 1272540.5976
14 | 2722560.5794 | 1272513.1745
15 | 2722568.7913 | 1272555.7178
16 | 2722539.0043 | 1272513.8051
17 | 2722545.7659 | 1272514.5301
18 | 2722566.723 | 1272509.3166
19 | 2722578.0765 | 1272563.2509
20 | 2722602.3636 | 1272559.5924
21 | 2722459.6883 | 1272654.5041
22 | 2722447.3962 | 1272658.6059
23 | 2722502.0614 | 1272486.9842
24 | 2722574.5274 | 1272503.6513
25 | 2722605.5887 | 1272572.6864
26 | 2722576.6762 | 1272572.5646
27 | 2722638.7724 | 1272570.2287
28 | 2722679.2864 | 1272530.7879
29 | 2722680.8723 | 1272514.5404
30 | 2722678.1954 | 1272541.9658
31 | 2722699.9109 | 1272550.1357
32 | 2722659.5359 | 1272539.7149
33 | 2722703.4505 | 1272543.2612
34 | 2722691.6872 | 1272566.5222
35 | 2722640.7682 | 1272545.8809
36 | 2722713.6789 | 1272523.7119
37 | 2722683.4446 | 1272582.9463
38 | 2722405.1865 | 1272557.3034
39 | 2722415.0975 | 1272569.9978
40 | 2722400.7914 | 1272512.4151
41 | 2722386.5745 | 1272498.8856
42 | 2722412.8088 | 1272510.2973
43 | 2722378.979 | 1272570.0526
44 | 2722416.0421 | 1272572.1978
45 | 2722580.3831 | 1272498.9602
46 | 2722594.0917 | 1272482.7929
47 | 2722600.8799 | 1272468.8699
48 | 2722610.5007 | 1272447.4721
49 | 2722452.7917 | 1272671.8308
50 | 2722448.9743 | 1272662.474
51 | 2722461.6184 | 1272687.0717
52 | 2722452.6188 | 1272693.3242
53 | 2722422.5549 | 1272599.6824
54 | 2722442.293 | 1272692.7659
55 | 2722417.4485 | 1272587.4862
56 | 2722431.7496 | 1272693.373
57 | 2722450.4906 | 1272504.8995
58 | 2722452.9837 | 1272504.6367
59 | 2722377.3826 | 1272502.4317
60 | 2722379.9232 | 1272508.4906
61 | 2722387.5139 | 1272381.7965
62 | 2722448.0955 | 1272412.6445
63 | 2722372.5141 | 1272464.0286
64 | 2722383.079 | 1272486.0208
65 | 2722395.6189 | 1272455.3104
66 | 2722501.9253 | 1272421.1763
67 | 2722502.2161 | 1272425.4422
68 | 2722495.6714 | 1272402.2915
69 | 2722500.9738 | 1272438.8648
70 | 2722487.6369 | 1272367.6705
71 | 2722499.2504 | 1272467.9337
72 | 2722511.9434 | 1272363.0593
73 | 2722501.8919 | 1272485.8354
74 | 2722545.2491 | 1272384.9667
75 | 2722714.9793 | 1272521.2264
76 | 2722735.9861 | 1272470.1778
77 | 2722740.7971 | 1272461.6922
78 | 2722783.8136 | 1272494.5579
79 | 2722649.1594 | 1272423.0745
80 | 2722633.128 | 1272452.0041
81 | 2722628.8041 | 1272458.8496
82 | 2722420.5587 | 1272582.1697
83 | 2722411.8351 | 1272574.079
84 | 2722602.1128 | 1272590.8752
85 | 2722602.5378 | 1272588.6513
86 | 2722675.0151 | 1272578.4114
87 | 2722680.5943 | 1272561.5561
88 | 2722620.6004 | 1272475.262
89 | 2722620.4215 | 1272489.1442
90 | 2722387.9282 | 1272527.5809
91 | 2722461.3097 | 1272409.338
92 | 2722496.8722 | 1272554.4465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1